# General Abstract of cost

| S.No | name of Work | Sch; Amount | Non Sch: Amount | Total |
| --- | --- | --- | --- | --- |
| Part – I | INTERNAL & EXTERNAL DRAINS | Rs.1167062/- | --- | Rs.1167062/- |
| Part – II | SCREENING CHAMBER | Rs.164948/- | --- | Rs.164948/- |
| Part – III | INTER CONNECTION | Rs.5085/- | --- | Rs.5085/- |
| Part-- iv | PUMP HOUSE | Rs.257309/- | --- | Rs.257309/- |
| Part – v | PUMPING MACHINERY (DIESEL OIL ENGINE) | --- | Rs.203000/- | Rs.203000/- |
| Part – VI | INTER CONNECTION | RS.42910/- | Rs.12150/- | Rs.55060/- |
| Part – VII | P.E RISING MAIN | Rs.136686/- | --- | Rs.136686/- |
| Part – VII | CC TOPPING | Rs.229562/- | --- | Rs.229562/- |
|  | Total: | Rs.2003562/- | Rs.215150/- | Rs.2218712/- |

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				                    EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE-B

NAME OF WORK:-	 DRAINAGE SCHEME AATERI MUHALLA WADERO MUHAMMAD U/C MEHAR ALI TALUKA & DISTRICT KHAIRPUR

Part-I			Internal & external Drains

1.	Excavation in foundation of building bridges and other structure i/c dag belling refilling around the structure with excavated earth watering ramming lead up to one chain and lift up to 5 ft. (PH Sch. No.18 P.NO.4)

Qty. 7823.00	 cft	           @Rs.3176/25		P%o cft		Rs.	22964/-

2.	Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering (CSI No.5 (i) P.NO.17)

(a) Ratio 1:4:8

Qty. 1507.50 	cft		@Rs.11288/75	P% cft			Rs:	170178/-

3.	Pacca Brick work in foundation and plinth in cement sand Ratio (1;6)  (CSI No.7 P.NO.23)

Qty. 4050	cft		@Rs.11946/36	P% cft.			Rs.      483828/-

4.	Construction of standard of open drains cunnette block of cement concrete 1:2:4 in situ to design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the exposed face finished smooth curing etc complete as per detail drawing   (PHSI No.D P.NO.44)

Type – I

Qty. 1500	 rft		@Rs. 94/-		P rft			Rs.    	  141000

Type – II

Qty. 800	 cft		@Rs.174/-		P rft.			Rs.	139200/-

5.   	Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

- Ratio 1:2:4

Qt. 159.72 cft.			@Rs. 14429/25	P% cft.			Rs. 	23046/-

6.	Cement plaster 1:4 12’ height ½” thick (CSI No.11 P.NO.57)

Qty. 6150.00	sft		@Rs. 2283/93		P% sft			Rs.	140461/-

7.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect 1:2:4  (CSI No.7 P.NO.17)

Qty. 90	 cft		@Rs.337/-		P cft			Rs.	30330/-

8.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making K=joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7(ii) P.NO.19).

Qty. 3.21	 cwt		 @Rs.5001/70		P cwt			Rs.	16055/-

Total		Rs.	1167062

part – i		rcc screening chamber 8’x5’

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 649.68	cft		@Rs: 3173/25		P%0 cft		Rs:	2063/-

2.	Extra for earth work

Qty: 157.50	cft		@Rs: 1053/75		P% cft			Rs:	167/-

3.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.4 P.No.15).

Qty: 59.06	cft		@Rs: 9416/28		P% cft			Rs:	5561/-

4.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 253.32	cft		@Rs: 337/-		P. cft			Rs:	85369/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.8 (a) P.NO.17)

Qty: 10.16	cwt		@Rs: 5001/70		P. cwt			Rs:	50817/-

6.	Providing cement joints in concrete work of 9” (225mm) wise corrugated PVC water stop (with bulbs) i/c soldering cost of materials and labor (PHSI NO – 2 Page 43)

Qty: 29.0	rft		@Rs: 86/		P. rft			Rs:	2494/-

7.	Small iron work as guest in best plate knees bends stops etc i/c cutting drilling riveting handling assembling and fixing excluded erection and in position covers  (CSI No 1.P.No. 58)

Qty: 1.47	Cwt		@Rs: 6420/61		P-cwt			Rs:	9438/-

8.	Erection and fitting in position of iron trusses staging of water tank etc complete (CSI no - 3 Page 96)

Qty: 1.47	cwt		@Rs: 271/04		P. cwt			Rs:	  398/-

9.	Providing & fixing jointing C.I main hole course frame etc complete (PHSI No. 1 P- No, 35)

Qty: 1.00 No			@Rs.6985/-		Each			Rs.	6985/-

10. 	Paca bricks work in foundation plinth in cement sand mortar .

Qty: 9.56 Cft			@Rs.11948/36/-		P-Cwt		Rs.	1142/-

11.	Cement plaster (1:4) ½ thick up to 20hight (CSI No.11P-52)

Qty: 22.50 Cwt		@Rs.2283/93s			P%-sft		Rs.	514/-

Total	Rs:	164948/-

Part – iV 		inter connection

1.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flanges and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 46)

For 15” dia RCC Pipe

Qty: 84.0	cft		@Rs: 3600/		P%0      cft		Rs:	302/-

2.	Excavation for pipe line in trenches and wet soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flanges and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 46)

For 15” dia RCC Pipe

Qty: 84.0	cft		@Rs: 5400/60		P%0 cft		Rs:	454/-

3.	Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete. (PHSI No – 24 Page 53)

Qty: 75.60	cft		@Rs: 2760/-		P%0 cft		Rs:	209/-

4.	Providing RCC pipe of A.S.T.M – 76 – 62 – 70 class II wall B and fixing in trench i/c cutting and jointing with rubber rings i/c testing with water to specified pressure. (PHSI No1 P-17 )

For 15” Dia Pipe

Qty: 8.0	rft		@Rs: 515/		P. rft			Rs:	4120/-

#### Total	Rs:	50585/-

Part – v 		pump house 10 x 12)

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 193.62	cft		@Rs:3176/25		P% cft			Rs:	615/-

2.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.6 P.No.16).

Qty: 88.77	cft		@Rs: 9416/28		P% cft			Rs:	8349/-

3.	Random rubble masonry (un-coursed) in cement and mortar Ratio 1:6 (CSI No.1 P.No.27)

Qty: 105.74	cft		@Rs: 17723/		P% cft			Rs:	18741/-

4.	Course rubble masonry i/c hammers dressing in sand mortar (CSI No.2 P.No.32)

Qty: 220.31	cft		@Rs: 25321/		P% cft			Rs:	55785/-

5.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.28 P.No.19)

Qty: 58.75	cft		@Rs: 4982/18		P% cft			Rs:	2927/-

6.	Pacca brick work in ground floor i/c striking of jointing cement sand mortar 1:6 (CSI No: 5

P-24)

Qty: 308.63	cft		@Rs: 12674/36		P% cft		Rs:	39117/-

7. 	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No – 4 Page  23 )

Qty: 20.00	cft		@Rs: 11948/36	P% cft			Rs:	2390/-

8.	Fabrication of heavy steel work with angles tees flat iron and sheet iron making trusses girders tanks etc i/c cutting riveting handing assembling and fixing but eluding eriction in position (CSI No.2 (a) P.NO.90)

Qty: 4.41	cwt		@Rs: 4928/49		P. cwt			Rs:	21735/-

`

9.	Errection & fitting in position iron trusses fixing in position (C,S,I No.6 P-No.91)

Qty: 4.41	cwt		@Rs: 271/04		P. cwt			Rs:	1195/-

10.	Cement painting striking raised on stone work  (CSI No – Page) .

Qty: 195.00	sft		@Rs: 1758/08		P% sft			Rs:	3428/-

11	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 105.35	cft		@Rs: 337/-		P. cft			Rs:	35505/-

12.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 4.23 	cwt		@Rs: 5001/70		P. cwt			Rs:	21157/-

13.	Filling water and ramming earth in floor with earth from foundation up to one chain and lift up to 5’ ft (CSI No. 21 P-No. 5)

Qty: 409.68 Cft		@Rs.1512/50		P% Cft			Rs.	620/-

14.	Preparing surface painting doors & windows any type i/c edge (CSI No – 5 page 77)

Qty: 104	sft		@Rs.2116/41		P% sft			Rs:	2201/-

15.	Cement painting struck joint on walls 1:3 (CSI No – 19 Page 59) (Ratio 1.3)

Qty: 445.50	sft		@Rs: 1213/58		P% sft			Rs:	5406/-

16.	Cement Plaster (1:6) up to 12 ft: Height ½ “thick. (CSI No 1.P.No. 58)

Qty: 434.00	sft		@Rs.2206/60		P% sft			Rs:	9577/-

17.	Cement Plaster (1:4) up to 20 ft: Height ½ “thick. (CSI No 1.P.No. 58)

Qty: 434.00	sft		@Rs.2197/52		P% sft			Rs:	9537/-

18	White washing (one Coat) (CSI No – 26 Page 60)

Qty: 440.00	sft		@Rs: 416/63		P% sft			Rs:	1833/-

19	Three Coats (CSI No26 P-60)

Qty: 207.00	sft		@Rs: 829/95		P% sft			Rs:	1718/-

19	Color Washing Two Coats (CSI No – 25 Page 60)

Qty: 879.50 	sft		@Rs: 859/90		P% sft			Rs:	7563/-

20.	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels. (CSI No 16 P No 42)

Qty: 109.25	sft		@Rs.3275/50		P% sft			Rs:	  3578/-

21.	Supplying & fixing in position iron steel gril using sold squire bars of size ¾” & 1/4” etc complete (			)

Qty: 24.00	sft		@Rs.180/50		P% sft			Rs:	  4332/-

Total	Rs:	257309/-

PART VI			PUMPING MACHINERY( DIESEL OIL ENGINE)

1.	Hence Provide oil engine 16 BHP Golden coupled with Golden non clogging sludge pump type GSWE 4”x3” giving discharge of 65 GPM against a head of 40 ft it will be used case power failure.

Qty: 1 Sets 			@Rs. 203000/-		P.set 		Rs:	203000/-

Total	Rs:	203000/-

Prt-VII	Inter Connection

1.	P.E Pipe HDPE-1000

For Delivery 4” dia

Qty. 20.0 	rft		@Rs. 268/-		P rft.			Rs. 	7504/-

2.	CI foot valve heavy pattern with type (SMOI No 4 Page10)

3” Dia

Qty: 1.0 No.			@Rs: 893/75		Each			Rs:	894/-

3.	CI Bend with flanged end with holes i/c trenches and facing of flanged for all size (SMI No.8 P.11).

4” Bend 90o

Qty: 0.27	cwt		@Rs: 6096/-		P. cwt			Rs:	1646/-

4	M.S Pipe made out of MS Sheet of 3/16 mm thickness cutting folding to concrete an shape i/c welding etc complete (Schedule item )

4” Dia

Qty: 8.0	rft		@Rs: 506/60		P. rft			Rs:	4053/-

5	M.S flange 3/8”  thick  ( Base on schedule )

4” dia

Qty: 10	Nos.		@Rs: 596/75		each 			Rs:	5968/-

6	But fusion joint   (SMI No H P-19)

4” dia

Qty: 10	Nos.		@Rs: 1000/-		each 			Rs:	10000/

7	CI tapers flat bottomed central flanged end with tapered holes i/c turning and facing of flanged of size (CMI No – 9 Page 11)

Qty: 0.09	cwt		@Rs: 6096/-		P. cwt			Rs:	549/-

8	Jointing CI/MS flanged pipe to special flanged and inside threaded i/c supplying rubber packing the required thickness nuts and bolts with wisher and other required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 P.35).

4” dia

Qty: 10.00	Joints		@Rs: 513/		P. Joint		Rs:	5130/-

9.	Supplying CI sluice valve heavy pattern test pressure 21.0 kg sq cm 300 lbs sq inch. (SNI-2(6) P-10)

4” Dia

Qty. 01 Nos.			@Rs. 5460/-		Each			Rs.	5460/-

10	Supplying reflex valve heavy pattern test pressure 21.0 kg or CM or 300 lbs sq inch. (SMI-6P-10)

4” Dia  for Suction

Qty. 1 Nos.			@Rs. 1706/25		Each			Rs. 	1706/-/-

Total: -	Rs.    42910/-

NON SCHEDULE ITEM

1	flange adopter

6” dia

Qty: 10.0	No.		@Rs: 1215/-		each 			Rs:	12150/-

Total: -	Rs.    12150/-

Part – VIII		P.e Rising main

1.	Providing P.e pipe PN-8 and fixing in trenches i/c cutting fitting and jointing with rubber rings

i/c testing with water to a head of 110 meter or 400 ft.(SPHE-1 NoP-8(h) Page No25)

P.EPipe 4” Dia

Qty: 500	rft		@Rs: 224/-		P. rft			Rs:	112000/-

2	P.E Bend 90 degree PN-8 Schedule item

4” Dia	(110mm)

Qty: 2		Nos		@Rs: 1655/-		Each			Rs:	3310/-

6.	C.I Bend 45 degree PN-8 Schedule item

4” (110mm)

Qty: 1		No		@Rs: 1324/-		Each			Rs:	1324/-

7	But fusion joint   (SMI(H)P-19)

Qty: 3.00	Nos.		@Rs: 600/-		each 			Rs:	1800/-

8.	Excavation for pipe line in trenches and pits soil or ordinary soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer incharge providing fence guards lights flanges and temporary crossing for non vehicular traffic where ever required lift up to 5 ft lead up to one chain (CSI NO 1 page 48)

Qty: 3000	cft		@Rs: 3600/-		P%0 cft		Rs:	10800/-

9.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.55).

Qty: 2700	cft		@Rs: 2760/-		P. %0 cft		Rs:	 7452/-

Total	Rs.	136686/-

Part-IX			C.C Topping

1.	Barrow pit excavation undressed lead up to 100 rft in ordinary soil (CSI no 3 Page 1)

Qty. 3000	  cft		@Rs. 2117/50		P%o cft		Rs. 	6352/-

2.	Erath work in compaction, laying earth in 6 layers leveling etc compete ( CSI No11 P-1)

Qty: 3000 	cft		@Rs: 263/-		P%0 cft		Rs: 	789/-

3.	Cement concrete brick or stone ballast 1 ½” to 2” gauge Ratio 1:2:4 (CSI No. 9 P. 16).

Qty. 990 	cft		@Rs.9416/28		P% cft			Rs. 	93221/-

4.	Cement concrete plain 1:2:4 i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering (CSI No.5 P.No.18)

Ratio 1: 2 : 4

Qty. 750.0 cft			@Rs. 14429/25	P% cft			Rs.	108219/-

5.	Extra for every 50 ft: additional lead or part therefore earth work soft or ordinary hard very hard.(CSI No: 8 P.No:3)

Qty: 3000	cft		@Rs: 5039/-		P.%o cft		Rs:	15117/-

6.	Erection and removal of centering for RCC and Plain CC work of partial wood, (CSI No.18(b) P.No.20)

Qty. 187.50	 sft		@Rs.3127/41		P% sft			Rs. 	5864/-

Total		Rs:    229562/-