## Schedule B
SCHEDULE “B”
NAME OF WORK: |  |  |  |  | DRAINAGE SCHEME HASSU KANHAR TALUKA KINGRI DISTRICT KHAIRPUR
S No. |  | Qty: |  | Item of Work |  |  |  | Rate |  | Unit |  |  |  |  | Amount
PART - I |  |  | INTERNAL & EXTERNAL DRAIN
1 | Excavation in foundation of building bridges & other structure i/c dag belling dressing
refilling around the structure with excavated earth watering ramming lead, up to one
chain & lift upto 5”ft ( CSI-No:18, P-No:4) In Ordinary soil.
| Qty: | 10402.5 |  |  | cft |  | .@Rs: | 3176.25 |  |  | P.%ocft |  |  | Rs: | 33040.9406 | /=
2 | Cement concrete plain i/c placing compacting finishing and curring complete i/c
Screening & washing of stone aggregates without shuttering. (CSI.No:5(i) P.No:16)
a) | Ratio 1:4:8
| Qty: | 2792.5 |  |  | cft |  | .@Rs: | 11288.75 |  |  | P.%cft |  |  | Rs: | 315238.3438 | /=
b) | Ratio 1:2:4
| Qty: | 95.83 |  |  | cft |  | .@Rs: | 11429.25 |  |  | P.%cft |  |  | Rs: | 13828 | /=
3 | Pacca brick work in foundation plinth in cement sand mortor (1:6)
(CSI.No:4 (e )P.No:20)
| Qty: | 7275 |  |  | cft |  | .@Rs: | 11948.36 |  |  | P.%cft |  |  | Rs: | 869243.19 | /=
4 | Constt: of standard of open drains cunette block of cement concrete (1.2.4.) in situ to
The design profile i/c cost of mould as per drawing i/c applying floating coat of cement
1/32”inch thick to exposed face finished smooth curing etc complete (as per detail drawing)
(PHSI No. D (I) P-58)
Type I
| Qty: | 3500 |  |  | rft |  | .@Rs: | 94 |  |  | P.rft |  |  | Rs: | 329000 | /=
Type II
| Qty: | 900 |  |  | rft |  | .@Rs: | 174 |  |  | P.rft |  |  | Rs: | 156600 | /=
5 | Cement plaster 1:4 upto 20” height ½ thick (C.S.I No11 (b) .P No 52)
| Qty: | 11450 |  |  | sft |  | .@Rs: | 2283.93 |  |  | P.%sft |  |  | Rs: | 261509.985 | /=
6 | R.C.C work in roof, slabs, beams, columns raft lintel & other structural members laid in situ
or preCost lead position complete in all respect Ratio (1:2:4) (C.S.I No: 6 (a)(i) P.No: 16)
| Qty: | 143.08 |  |  | cft |  | .@Rs: | 337 |  |  | P,cft |  |  | Rs: | 48217.96 | /=
7 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in
position making joints & fastening i/c cost of binding wire also removal of rust from bars
(C.S.I No: 8(b), PNo:17)
| Qty: | 5.11 |  |  | cwt |  | .@Rs: | 5001.7 |  |  | P.cwt |  |  | Rs: | 25558.687 | /=
8 | Providing R.C.C pipe with collers class-B and digging the trenches
to required depth & fixingin position i/c cutting fixing & jointing
with max phalt composition & cement mortar 1:1 andtesting
with water pressure to a head of 4” ft above the top of the highest
pipe & refilling with excavated earth (WSSI No:2 P.No: 21)
9" dia pipe
| Qty: | 40 |  |  | rft |  | .@Rs: | 250.6 |  |  | P.rft |  |  | Rs: | 10024 | /=
[13 empty] | Total | Rs: | 2062261.1064
PART - II |  |  |  | C.C TOPPING
1 | Borrow pit excavation dressed lead upto 100 ft
ordinary soil (CSI .No: 3 (a) P. No:1)
| Qty: | 32400 |  |  | cft |  | .@Rs: | 2117.5 |  |  | P.%ocft |  |  | Rs: | 68607 | /=
2 | Earth work compaction (soft ordinary or hard
soil ) laying earth in 6” layer and dressing
complete (CSI No: 13 P-3)
| Qty: | 32400 |  |  | cft |  | .@Rs: | 263 |  |  | P.%ocft |  |  | Rs: | 8521.2 | /=
3 | Extra for every 50” ft additional lead or part there of (C.S.I No:8(a)P-3)
Total lead (2600-100)= 50 Leads @Rs: 30/40 per lead 1520/= %o cft
| Qty: | 32400 |  |  | cft |  | .@Rs: | 5039 |  |  | P.%ocft |  |  | Rs: | 163263.6 | /=
4 | Cement concrete brick or stone ballast 1-1/2" 2" gague
(CSI.No:4 P.No: 17)
Ratio: 1:4:8
| Qty: | 10692 |  |  | cft |  | .@Rs: | 9416.28 |  |  | P.%cft |  |  | Rs: | 1006788.6576 | /=
5 | Cement concrete plain i/c placing comacting finishing and curring complete
i/c screening and washing of stone aggregate (CSI.No:5 P.No: 17)
Ratio: 1:2:4
| Qty: | 8100 |  |  | cft |  | .@Rs: | 14429.25 |  |  | P.%cft |  |  | Rs: | 1168769.25 | /=
6 | Errection & removal of centring for R.C.C or plain C.C of partal wool
(C.S.I.No:18 P.No: 20)
| Qty: | 1800 |  |  | sft |  | .@Rs: | 3127.41 |  |  | P.%sft |  |  | Rs: | 56293.38 | /=
[13 empty] | Total | Rs | 2472243.0876 | /=
PART-III RCC COLLECTING TANK 12' FT DIA
1 | Excavation of well in dry soil up to 20" ft. below ground level
and disposal of soil within one chain (CSI No.1 P.-86)
(a) | in ordanary soil or sand)
Qty: | 1004.8 |  | Cft. |  |  | .@Rs: | 2247.58 |  | ‰ Cft. |  |  |  |  | Rs: | 2258.3684 | /=
2 | RCC work in roof slab beam cloumns rafts lintels and other
structure member laid in citu or pre cost laid in position making
complete in all respect Ratio 1:2:4 lbs. of cement Cft. Of sand
4 Cft. of shingle 1/2 to 1/4 guage (CSI No.6 P-17)
Qty: | 739.75 |  | Cft. |  |  | .@Rs: | 337 |  | P.Cft. |  |  |  |  | Rs: | 249295.75 | /=
3 | Fabrication of mild steel reinforcement for cement concrete i/c
cutting hendign laying in position making joints and fastening
i/c cost of binding wire (also includes removal of rust from bars
| (CSI No.8 (b) P-17) |  |  |  | Qt: of curb = 259.50 (-)52 =207.4
Qty: | 30.88 |  | cwt |  |  | .@Rs: | 5001.7 |  | P.cwt |  |  |  |  | Rs: | 154452.496 | /=
4 | Wet sinking of wells for depth below spring level by means driving
i/c all charges for shorting loading and removing excavated material
one chain (CSI No.3 P-87)
a)0-5' depth
Qty: | 825.23 |  | Cft. |  |  | .@Rs: | 11763 |  | ‰ Cft. |  |  |  |  | Rs: | 9708 | /=
b)5'-10' depth
Qty: | 825.25 |  | Cft. |  |  | .@Rs: | 24200 |  | ‰ Cft. |  |  |  |  | Rs: | 19971.05 | /=
5 | Providing construction joints in concrete work of 9" (225mm)wide
corrugated PVC water stop (with bulbs) i/c soldering cost of
materials and labour (PHSI No.1 P-56)
Qty: | 81.64 |  | rft |  |  | .@Rs: | 86 |  | P.rft |  |  |  |  | Rs: | 7021.04 | /=
6 | Cement concrete or brick stone ballast 1/2 to 2 guage ratio 1:4:8
(CSI No.4 P-15)
Qty: | 240.92 |  | Cft. |  |  | .@Rs: | 9416.28 |  | %Cft. |  |  |  |  | Rs: | 22685.7018 | /=
7 | Cement concrete plain compacting finishing and curing complete
i/c screening and washing of stone aggregate without
shuttering (CSI No.5 P-16)
a) Ratio 1:4:8
Qty: | 113.04 |  | Cft. |  |  | .@Rs: | 11288.75 |  | %Cft. |  |  |  |  | Rs: | 12760.803 | /=
b) Ratio 1:3:6
Qty: | 113.04 |  | Cft. |  |  | .@Rs: | 12595 |  | %Cft. |  |  |  |  | Rs: | 14237.388 | /=
c) Ratio 1:2:4
Qty: | 113.04 |  | Cft. |  |  | .@Rs: | 14429.25 |  | %Cft. |  |  |  |  | Rs: | 16310.8242 | /=
8 | Bailing or pumping out sub soil water during excavation concreting
cost in sity concrete or masonary work in foundation etc (1) onely
three operations to be allowed trench volume under water to be
measured first time for concreting and second tome for cost in citu
or masonary work in foundation etc. (CSI No.18 P-75)
Qty: | 2034.72 |  | Cft. |  |  | .@Rs: | 543 |  | %Cft. |  |  |  |  | Rs: | 11048.5296 | /=
[14 empty] | Rs: | 519749.951 | /=
PART-IV INTER CONNECTION
1 | Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal work of surplus earth within one chain as directed by Engineer incharge providing fence guards, lights, flanges and temporary crossing for non vehicular traffic wherever required lift up to 5’ft. (1.50m) and lead up to one chain (30.50m) (PH SCHI No.1 P.No.60).
Qty: | 140 |  | Cft. |  |  | .@Rs: | 3600 |  | ‰ Cft. |  |  |  |  | Rs: | 504 | /=
2 | Excavation for pipe lines in trenches. And pits in wet soil clay or
mud i/c trimming and dressing sides to true alignment and
shape levelling of heds of trenches ot correct level and grade.
cutting joint holes and disposal of surplus earth within a one chain as
directed y engineering incharge. Providing lence guards. Lights. Flages
and temporary crossing for non vehicular traffic where ever
required lift upto 5 ft and lead upto one chain (PHSI-No:14, P-No:66)
Qty: | 28 |  | Cft. |  |  | .@Rs: | 5950 |  | ‰ Cft. |  |  |  |  | Rs: | 166.6 | /=
3 | Providing RC.C pipe of A.S.T.M -76-62-T/C -76-70 Calss II wall B and
fixing in trnnch i/c cutting fitting and jointing with rubber rings i/c testing with
water to specified pressure (PHSI-No:1 (b) P-No:17)
15" Dia
Qty: | 8 |  | rft |  |  | .@Rs: | 515 |  | Prft |  |  |  |  | Rs: | 4120 | /=
4 | Refilling the excavated stuff in trenches 6" thick layer i/c
watering ramming to full compaction etc complete
(PHSI-No:24, P-No:77)
Qty: | 151.2 |  | rft |  |  | .@Rs: | 2760 |  | P‰.rft |  |  |  |  | Rs: | 417.312 | /=
[13 empty] | Total | Rs: | 5207.912 | /=
PART-V SCREENING CHEMBER (8'x5')
1 | Excavation in foundation of building bridges & other structure i/c dag belling dressing
refilling around the structure with excavated earth watering ramming lead, up to one
chain & lift upto 5”ft In Ordinary soil.( CSI-No:18, P-No:51)
| Qty: | 551.25 |  |  | cft |  | .@Rs: | 3176.25 |  |  | P.%ocft |  |  | Rs: | 1750.9078 | /=
2 | Excavation for pipe line wet soil.
Qty: | 157.5 |  | Cft. |  |  | .@Rs: | 1058.75 |  | ‰ Cft. |  |  |  |  | Rs: | 166.7531 | /=
3 | Cement concrete or brick stone ballast 1/2 to 2 guage ratio 1:4:8
(CSI No.4 P-16)
Qty: | 59.06 |  | Cft. |  |  | .@Rs: | 9416.28 |  | %Cft. |  |  |  |  | Rs: | 5561.255 | /=
4 | RCC work in roof slab beam cloumns rafts lintels and other
structure member laid in citu or pre cost laid in position making
complete in all respect Ratio 1:2:4 lbs. of cement Cft. Of sand
4 Cft. of shingle 1/2 to 1/4 guage (CSI No.6 P-17)
Qty: | 231.18 |  | Cft. |  |  | .@Rs: | 337 |  | P.Cft. |  |  |  |  | Rs: | 77907.66 | /=
5 | Fabrication of mild steel reinforcement for cement concrete i/c
cutting hendign laying in position making joints and fastening
i/c cost of binding wire (also includes removal of rust from bars
| (CSI No.8 (b) P-17) |  |  |  | Qt: of curb = 84.78 (-)14.70 =70.06
Qty: | 9.28 |  | cwt |  |  | .@Rs: | 5001.7 |  | P.cwt |  |  |  |  | Rs: | 46415.776 | /=
6 | Pacca brick work in foundation and plinth in cement sand mortar
(CSI No.4 (e) P-21)
Qty: | 10.98 |  | Cft. |  |  | .@Rs: | 11948.36 |  | %Cft. |  |  |  |  | Rs: | 1311.9299 | /=
7 | Cement plaster (1:4) upto 12' ft height 1/2 thick
(CSI No.11 P-52)
Qty: | 40.15 |  | Sft. |  |  | .@Rs: | 2283.93 |  | P%Sft.. |  |  |  |  | Rs: | 916.9979 | /=
8 | Providing construction joints in concrete work of 9" (225mm)wide
corrugated PVC water stop (with bulbs) i/c soldering cost of
materials and labour (PHSI No.1 P-56)
Qty: | 29 |  | rft |  |  | .@Rs: | 86 |  | P.rft |  |  |  |  | Rs: | 2494 | /=
9 | Small iron work such as guessed in best plate knees bends strops sings etc i/c cutting drilling riveting handling assembling and fixing excluded erection and in position (covers of catch pits). (CSI NO. 1, P. NO. 96).
Qty: | 1.72 |  | Cft. |  |  | .@Rs: | 6420.61 |  | P.Cwt. |  |  |  |  | Rs: | 11043.4492 | /=
10 | Erection and fitting in position of iron trusses staging of water
tank etc (CSI No..3 P-91)
Qty: | 1.72 |  | cwt |  |  | .@Rs: | 271.04 |  | P.cwt |  |  |  |  | Rs: | 446 | /=
[13 empty] | Total | Rs: | 148014.7289 | /=
PART- VI PUMP HOUSE 10X12
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI No: 18 P.No: 05)
Qty: | 188 |  | Cft. |  |  | .@Rs: | 3176.25 |  | ‰ Cft. |  |  |  |  | Rs: | 597.135 | /=
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No: 4 P-No: 16)
Qty: | 88.99 |  | Cft. |  |  | .@Rs: | 9416.28 |  | % Cft. |  |  |  |  | Rs: | 8379.5476 | /=
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI.No: 4 P.No: 23)
Qty: | 333.97 |  | Cft. |  |  | .@Rs: | 11948.36 |  | % Cft. |  |  |  |  | Rs: | 39903.9379 | /=
4 | D.P.C (cement sand & shingle (1:2:4) i/c two coats of miax phlat mixture
(CSI No 16(d) P-42)
Qty: | 52.77 |  | sft |  |  | .@Rs: | 4982.18 |  | %Sft. |  |  |  |  | Rs: | 2629.0964 | /=
5 | Pacca Brick work in ground floor including
stricking of joints cement sand motor motor 1:6
(CSI No: 5 P-No; 24)
Qty: | 308.63 |  | Cft. |  |  | .@Rs: | 12674.36 |  | %Cft. |  |  |  |  | Rs: | 39116.8773 | /=
6 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI No: 6 P-No: 17)
Qty: | 105.35 |  | Cft. |  |  | .@Rs: | 337 |  | P.Cft. |  |  |  |  | Rs: | 35502.95 | /=
7 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI No: 7 P-No: 19)
Qty: | 4.23 |  | cwt |  |  | .@Rs: | 5001.7 |  | P.Cwt |  |  |  |  | Rs: | 21157.191 | /=
8 | Supplying & fixing in position iron / steel grill using solid square bars
of size 3/4" x 1/4" size etc complete. (C.S.I.No: 20P.No: 93 )
Qty: | 24 |  | sft |  |  | .@Rs: | 180.5 |  | P.Sft. |  |  |  |  | Rs: | 4332 | /=
9 | Filling watering and ramming earth in floors with
surplus earth from foundation and lead upto one
chain and lift upto 5’ ft (CSI No: 21 P-No: 5)
Qty: | 382.37 |  | Cft. |  |  | .@Rs: | 1512.3 |  | ‰ Cft. |  |  |  |  | Rs: | 578.2582 | /=
10 | Fabrication of heavy steel work with angle tees flate iron round steel iron trues girder tanks etc i/c cutting revitting drilling bending assembling and fixing erecting in position excluding erection in position. (CSI NO. 2, P. NO. 96)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 4928.49 |  | P.Cwt |  |  |  |  | Rs: | 21734.6409 | /=
11 | Errection and rolled steel beams of old slabs in roof etc errection fixing in position (CSI-No-1 page 96)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 271.04 |  | P.Cwt |  |  |  |  | Rs: | 1195.2864 | /=
12 | Preparing surface painting of doors and windows
any type i/c edge (CSI No: 5 P-No: 76) Three coats
Qty: | 104 |  | sft |  |  | .@Rs: | 2116.41 |  | P.%Sft. |  |  |  |  | Rs: | 2201.0664 | /=
13 | Cement Pointing struck joints on walls (1:3)
(CSI No: 19 P-No: 58)
Qty: | 441.5 |  | sft |  |  | .@Rs: | 1213.58 |  | P.%Sft. |  |  |  |  | Rs: | 5357.9557 | /=
14 | Cement plaster (1;6) upto 12 ft height (1/2" thick)
(CSI No: 1 P-58)
Qty: | 642 |  | sft |  |  | .@Rs: | 2206.6 |  | P.%Sft. |  |  |  |  | Rs: | 14166.372 | /=
15 | Cement plaster (1;4) upto 12 ft height (3/8" thick)
(CSI No: 11 P-58)
Qty: | 642 |  | sft |  |  | .@Rs: | 2197.52 |  | P.%Sft. |  |  |  |  | Rs: | 14108.0784 | /=
16 | White washing one coats (CSI No: 26 P-60)
Qty: | 388 |  | sft |  |  | .@Rs: | 416.63 |  | P.%Sft. |  |  |  |  | Rs: | 1616.5244 | /=
17 | White washing three coats (CSI No: 25 P-59)
Qty: | 204 |  | sft |  |  | .@Rs: | 829.95 |  | P.%Sft. |  |  |  |  | Rs: | 1693.098 | /=
18 | Colour washing to coads (CSI No: 25(a) P-60)
Qty: | 836 |  | sft |  |  | .@Rs: | 859.9 |  | P.%Sft. |  |  |  |  | Rs: | 7188.764 | /=
19 | Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels 3" thick
Qty: | 109.25 |  | sft |  |  | .@Rs: | 4411.82 |  | P.%Sft. |  |  |  |  | Rs: | 4819.9133 | /=
[13 empty] | Total | Rs | 226278.6928 | /=
PART-VII PUMPING MACHINERY 10 BHP
A 1 | PUMPING MACHINERY | [6 empty] | NON SCHEDULE
Supplying & installing in position at site of Drainage Scheme Hassu Kanhar Taluka Kingri District Khairpur Electric motor set 7.50 BHP (Sieman made ) 4 pole 1500 RPM 3 -phase 400 VAC 50 cycle coupled KSB Non-Closing Pump (type KWPZ 65-315) size 3” x 2 1/2” i/c steel frame and coupling with sleeve etc complete capable of discharging 150 gallons per minute against a head of 45 ft i/c installing of pumping set on CC foundation Ratio 1:2:4 with MS nuts and bolts to be embedded in CC foundation i/c Providing & Fixing motor control unit (MCU) consist oil starter (MEECO Pakistan ) MCCB breaker 10-A to 50-A (shihlin Taiwan ) cutout 60-A (China ) ampere meter (60-A) (SELCO) Chaina ) volt meter (500-V ) (SELCO China) Phase indication light (China ) i/c tranformer oil (2 litter ) (panel board 18" x 26" x 9 " and internal wiring etc complete ) and providing internal electric wiring for main or sub main PVC insulated with size 3-7/.044 (6mm2) i/c providing & fixing earthing set with 0.6m x 6.3mm 2’x 2 ½ C.I plate buried in the ground at depth 3.7mm (12’)or less per Pak. PWD specification & testing of the pumping set against the required head or 72 hours etc complete. (R.A atteched )
Qty: | 1 |  | Set |  |  | .@Rs: | 686000 |  | P.set |  |  |  |  | Rs: | 686000 | /=
2 | DIESEL PUMPING MACHINERY
Supplying & installing Diesel oil engine 16 BHP (Golden made ) model GD- 1100 B 2200 RPM coupled with golden Non clogging Horizantal semi open impeller pump type G3WG -103 size 4" x 3" discharging 150 charge per minutes a head of 47 ft frame pully for Engine & pump with belt and installing of pump set C.C foundation nuts and bolts and testing of pumping set against the required head 48 hours (R.A attached )
Qty: | 1 |  | Set |  |  | .@Rs: | 204000 |  | P.set |  |  |  |  | Rs: | 204000 | /=
2 | Providing & Installing of MS pipe made out of MS sheet 3/16” thick cutting folding to curvature & shape i/c welding etc complete (RA)
3" Dia
Qty: | 16 |  | Rft |  |  | .@Rs: | 385.89 |  | P.Rft |  |  |  |  | Rs: | 6174.24 | /=
3 | MS flange 3/8” thick
(a) | 3" Dia
Qty: | 8 |  | No |  |  | .@Rs: | 500.89 |  | P.Rft |  |  |  |  | Rs: | 4007.12 | /=
(b) | 4" Dia
Qty: | 8 |  | No |  |  | .@Rs: | 596.75 |  | P.Rft |  |  |  |  | Rs: | 4774 | /=
10 | Flange Adapter
3" Dia
Qty: | 8 |  | No |  |  | .@Rs: | 675 |  | Each |  |  |  |  | Rs: | 5400 | /=
Qty: | 8 |  | No |  |  | .@Rs: | 1215 |  | Each |  |  |  |  | Rs: | 9720 | /=
[13 empty] | Total | Rs: | 920075.36 | /=
B INTER CONNECTION | [6 empty] | Schedule item
1 | P.E Pipe HDPE 100 P.N -10
(a) | 3" Dia
Qty: | 24 |  | Rft |  |  | .@Rs: | 178 |  | P.Rft |  |  |  |  | Rs: | 4272 | /=
(b) | 4" Dia
Qty: | 19 |  | Rft |  |  | .@Rs: | 268 |  | P.Rft |  |  |  |  | Rs: | 5092 | /=
4 | Supplying reflex valve heavy pattern test pressure
21.0 kg or CM or 300 lbs sq: inch (SMI No. 6 P-10)
(a) | 3" Dia
Qty: | 2 |  | No |  |  | .@Rs: | 1543.75 |  | Each |  |  |  |  | Rs: | 3087.5 | /=
(b) | 4" Dia
Qty: | 2 |  | No |  |  | .@Rs: | 1706.25 |  | Each |  |  |  |  | Rs: | 3412.5 | /=
5 | Supplying CI sluice valve heavy pattern test pressure
21.0 kg or CM or 300 lbs sq: inch (SMI No. 2 P-09).
4" Dia
Qty: | 2 |  | No |  |  | .@Rs: | 5460 |  | Each |  |  |  |  | Rs: | 10920 | /=
6 | C.I Bend with flanged end with holes i/c trenches and facing
of flanged for all size (schedule rate)
Qty: | 0.848 |  | No |  |  | .@Rs: | 6096 |  | P.cwt |  |  |  |  | Rs: | 5169.408 | /=
7 | CI tapers flat bottomed or central tapered flanged ends with
holes i/c turning and facing of flanged all size (SMI No. p P-11)
Qty: | 0.33 |  | No |  |  | .@Rs: | 6096 |  | P.cwt |  |  |  |  | Rs: | 2011.68 | /=
8 | C I Tees flanged ends with holes i/c turning and facing of
flanges for all size (SRMI No. 12 (a) P. 11)
Qty: | 0.267 |  | No |  |  | .@Rs: | 6096 |  | P.cwt |  |  |  |  | Rs: | 1627.632 | /=
9 | C.I foot value heavy pattern with type (SMOI No.4 Page 10)
3" Dia
Qty: | 2 |  | No |  |  | .@Rs: | 731.25 |  | Each |  |  |  |  | Rs: | 1462.5 | /=
10 | Butt Fusion
3" Dia
Qty: | 8 |  | No |  |  | .@Rs: | 600 |  | Each |  |  |  |  | Rs: | 4800 | /=
Qty: | 8 |  | No |  |  | .@Rs: | 1000 |  | Each |  |  |  |  | Rs: | 8000 | /=
11 | Jointing CI/MS flanged pipe to special flanged and inside threaded
i/c supplying rubber packing the required thickness nuts and bolts
with wisher and other required for jointing and testing the joint to
the specified pressure etc complete. (PHSI No. 1 P-35)
3" Dia
Qty: | 8 |  | Joint |  |  | .@Rs: | 499 |  | P.Joint |  |  |  |  | Rs: | 3992 | /=
4" Dia
Qty: | 8 |  | Joint |  |  | .@Rs: | 513 |  | P.Joint |  |  |  |  | Rs: | 4104 | /=
[13 empty] | Total | Rs: | 57953 | /=
PART- VIII STAFF QUARTER
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI No: 18 P.No: 05)
Qty: | 285 |  | Cft. |  |  | .@Rs: | 3176.25 |  | ‰ Cft. |  |  |  |  | Rs: | 905.2313 | /=
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No: 4 P-No: 16)
Qty: | 137.79 |  | Cft. |  |  | .@Rs: | 9416.28 |  | % Cft. |  |  |  |  | Rs: | 12974.6922 | /=
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI.No: 4 P.No: 23)
Qty: | 461.29 |  | Cft. |  |  | .@Rs: | 11948.36 |  | % Cft. |  |  |  |  | Rs: | 55116.5898 | /=
4 | D.P.C (cement sand & shingle (1:2:4) i/c two coats of miax phlat mixture
(CSI No 16(d) P-42)
Qty: | 80.8 |  | sft |  |  | .@Rs: | 4982.18 |  | %Sft. |  |  |  |  | Rs: | 4025.6014 | /=
5 | Pacca Brick work in ground floor including
stricking of joints cement sand motor motor 1:6
(CSI No: 5 P-No; 24)
Qty: | 333.09 |  | Cft. |  |  | .@Rs: | 12674.36 |  | %Cft. |  |  |  |  | Rs: | 42218 | /=
6 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI No: 6 P-No: 17)
Qty: | 166.3 |  | Cft. |  |  | .@Rs: | 337 |  | P.Cft. |  |  |  |  | Rs: | 56043.1 | /=
7 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI No: 7 P-No: 19)
Qty: | 6.68 |  | cwt |  |  | .@Rs: | 5001.7 |  | P.Cwt |  |  |  |  | Rs: | 33411.356 | /=
8 | Fabrication of heavy steel work with angle tees flate iron round steel iron trues girder tanks etc i/c cutting revitting drilling bending assembling and fixing erecting in position excluding erection in position. (CSI NO. 2, P. NO. 96)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 4928.49 |  | P.Cwt |  |  |  |  | Rs: | 21734.6409 | /=
9 | Errection and fitting in position of iron trusses staging of water tank etc (CSI-No-1 page 96)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 271.04 |  | P.Cwt |  |  |  |  | Rs: | 1195.2864 | /=
10 | Supplying & fixing in position iron / steel grill using solid square bars
of size 3/4" x 1/4" size etc complete. (C.S.I.No: 20P.No: 93 )
Qty: | 24 |  | sft |  |  | .@Rs: | 180.5 |  | P.Sft. |  |  |  |  | Rs: | 4332 | /=
11 | Filling watering and ramming earth in floors with
surplus earth from foundation and lead upto one
chain and lift upto 5’ ft (CSI No: 21 P-No: 5)
Qty: | 532.42 |  | Cft. |  |  | .@Rs: | 1512.5 |  | ‰ Cft. |  |  |  |  | Rs: | 805.2853 | /=
12 | Cement plaster (1;6) upto 12 ft height (1/2" thick)
(CSI No: 1 P-58)
Qty: | 712 |  | sft |  |  | .@Rs: | 2206.6 |  | P.%Sft. |  |  |  |  | Rs: | 15710.992 | /=
13 | Cement plaster (1;4) upto 12 ft height (3/8" thick)
(CSI No: 11 P-58)
Qty: | 712 |  | sft |  |  | .@Rs: | 2197.52 |  | P.%Sft. |  |  |  |  | Rs: | 15646.3424 | /=
14 | Cement Pointing struck joints on walls (1:3)
(CSI No: 19 P-No: 58)
Qty: | 448 |  | sft |  |  | .@Rs: | 1213.58 |  | P.%Sft. |  |  |  |  | Rs: | 5436.8384 | /=
15 | Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels 3" thick
Qty: | 172.5 |  | sft |  |  | .@Rs: | 4411.82 |  | P.%Sft. |  |  |  |  | Rs: | 7610.3895 | /=
16 | Preparing surface painting of doors and windows
any type i/c edge (CSI No: 5 P-No: 76) Three coats
Qty: | 104 |  | sft |  |  | .@Rs: | 2116.41 |  | P.%Sft. |  |  |  |  | Rs: | 2201.0664 | /=
17 | White washing three coats (CSI No: 25 P-59)
Qty: | 248 |  | sft |  |  | .@Rs: | 829.95 |  | P.%Sft. |  |  |  |  | Rs: | 2058.276 | /=
18 | White washing one coats (CSI No: 26 P-60)
Qty: | 932.5 |  | sft |  |  | .@Rs: | 416.63 |  | P.%Sft. |  |  |  |  | Rs: | 3885.0748 | /=
19 | Colour washing to coads (CSI No: 25(a) P-60)
Qty: | 932.5 |  | sft |  |  | .@Rs: | 859.9 |  | P.%Sft. |  |  |  |  | Rs: | 8018.5675 | /=
[13 empty] | Total | Rs | 293329.3302 | /=
PART-IX: PE RISING MAIN
1 | Dismantling and removing road metaling. (CSI-No:51, P-No:13)
| Qty: | 750 |  |  | cft |  | .@Rs: | 605 |  |  | P.%cft |  |  | Rs: | 4537.5 | /=
2 | Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal work of surplus earth within one chain as directed by Engineer in charge providing fence guards, lights, flanges and temporary crossing for non vehicular traffic wherever required lift up to 5’ft. (1.50m) and lead up to one chain (30.50m) (PHSI No.18 P.No.60).
| Qty: | 13250 |  |  | cft |  | .@Rs: | 3600 |  |  | P.%ocft |  |  | Rs: | 47700 | /=
3 | Providing Laying & fixing in trench i/c fitting jointing & testing etc complete In all respect the high density polyethylene PE pipes (HDPE-100) for W/S confirming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051. (PHS I. No. 1 P.No.25)
(a) | PN-08 (6” Dia (Out Dia 160 mm)
Qty: | 2000 |  | rft |  |  | .@Rs: | 440 |  | P.rft |  |  |  |  | Rs: | 880000 | /=
4 | High Density-PE fitting (PE-100) per each equivalent make
(i) Elbow 90 (6” Dia) 225 mm
Qty: | 2 |  | No |  |  | .@Rs: | 4349 |  | Each |  |  |  |  | Rs: | 8698 | /=
5 | Butt Fusion Joint (SMI No H P-No 20)
8" Dia (225 mm)
Qty: | 2 |  | No |  |  | .@Rs: | 1000 |  | Each |  |  |  |  | Rs: | 2000 | /=
6 | Refilling the excavated stuff in trenches in 6” thick layers i/c watering
ramming or full etc complete. (PHSI-No:24, P-No:77)
| Qty: | 12600 |  |  | cft |  | .@Rs: | 2760 |  |  | P.%ocft |  |  | Rs: | 34776 | /=
[14 empty] | Rs: | 977711.5
PART- X COMPOUND WALL
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI-No:18 P-No:04)
Qty: | 972 |  | Cft. |  |  | .@Rs: | 3176.25 |  | ‰ Cft. |  |  |  |  | Rs: | 3087.315 | /=
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No:4, P-No:16)
Qty: | 243 |  | Cft. |  |  | .@Rs: | 9416.28 |  | %Cft. |  |  |  |  | Rs: | 22881.5604 | /=
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI.No: 4 P.No: 23)
Qty: | 1266.46 |  | Cft. |  |  | .@Rs: | 11948.36 |  | %Cft. |  |  |  |  | Rs: | 151321.2001 | /=
4 | D.P.C with (cement sand and shingle concrete (1:2:4)
i/c two coats of max phalt mixture .
| (CSI-No:28-c, P-No:19) 3" thick. | [5 empty] | 3” Thick
Qty: | 266.62 |  | sft |  |  | .@Rs: | 4982.18 |  | %Sft. |  |  |  |  | Rs: | 13284 | /=
5 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI No: 6 P-No: 17)
Qty: | 51.5 |  | Cft. |  |  | .@Rs: | 337 |  | P.Cft |  |  |  |  | Rs: | 17355.5 | /=
6 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI No: 7 P-No: 19)
Qty: | 2.06 |  | Cwt |  |  | .@Rs: | 5001.7 |  | P.Cwt |  |  |  |  | Rs: | 10303.502 | /=
7 | Pacca Brick work other then building i/c stricly
of joint 20' heght in cement sand motor motor 1:6
(CSI-No:7-i-e, P-No:22)
Qty: | 414.75 |  | Cft. |  |  | .@Rs: | 12346.65 |  | %Cft. |  |  |  |  | Rs: | 51207.7309 | /=
8 | Cement pointing struck joint on walls .
(CSI-No:19-b, P-No:53)
Qty: | 800 |  | sft |  |  | .@Rs: | 1213.58 |  | %Sft. |  |  |  |  | Rs: | 9708.64 | /=
9 | Cement plaster (1;6) upto 12 ft height (1/2 thick)
(CSI-No:11-a, P-No:52)
Qty: | 2784.68 |  | sft |  |  | .@Rs: | 2206.6 |  | %Sft. |  |  |  |  | Rs: | 61446.7489 | /=
10 | Cement Plaster (1:4) upto 12 height 1/2" thick
(CSI-No:13(b), P-No:52)
Qty: | 2784.68 |  | sft |  |  | .@Rs: | 2197.52 |  | %Sft. |  |  |  |  | Rs: | 61193.8999 | /=
11 | Making & fixing steel grated doors complete with locking arrangement
i/c angle iron frame 2"x2" 3/4" square bars 4" center to center
locking arrangment (CSI-No:24, P-No:92)
Qty: | 60 |  | sft |  |  | .@Rs: | 726.72 |  | P.sft |  |  |  |  | Rs: | 43603.2 | /=
12 | White washing one coats (CSI-No:26-a, P-No:54)
Qty: | 2784.68 |  | sft |  |  | .@Rs: | 416.63 |  | %Sft. |  |  |  |  | Rs: | 11601.8123 | /=
13 | Colour washing two coats (CSI-No:25(b), P-No:54)
Qty: | 2784.68 |  | sft |  |  | .@Rs: | 859.9 |  | %Sft. |  |  |  |  | Rs: | 23945.4633 | /=
14 | Preparing surface painting of doors and windows
any type i/c edge (CSI-No:4-c, P-No:68) Three coats
Qty: | 120 |  | sft |  |  | .@Rs: | 2116.41 |  | %Sft. |  |  |  |  | Rs: | 2539.692 | /=
[13 empty] | Total | Rs: | 483482 | /=
GENERAL ABSTRACT
S.No. | Name of Work | [7 empty] | Schedule |  |  | Non Schedule |  | G. Total
1 | INTERNAL & EXTERNAL DRAIN | [7 empty] | Rs | 2062261.1064 |  | Rs |  | Rs | 2062261.1064 | /=
2 | C.C TOPPING | [7 empty] | Rs | 2472243.0876 |  | Rs |  | Rs | 2472243.0876 | /=
3 | RCC COLLECTING TANK | [7 empty] | Rs | 519749.951 |  | Rs |  | Rs | 519749.951 | /=
4 | INTER CONNECTION | [7 empty] | Rs | 5207.912 |  | Rs |  | Rs | 5207.912 | /=
5 | RCC SCREEN CHAMBER | [7 empty] | Rs | 148014.7289 |  | Rs |  | Rs | 148014.7289 | /=
6 | PUMP HOUSE (10 X 12) | [7 empty] | Rs | 226278.6928 |  | Rs |  | Rs | 226278.6928 | /=
7 | PUMPING MAHINERY | [7 empty] | Rs | 57953 |  | Rs | 920075.36 | Rs | 978028.36 | /=
i/c INTER CONNECTION
8 | STAFF QUARTER | [7 empty] | Rs | 293329.3302 |  | Rs |  | Rs | 293329.3302 | /=
9 | RISING MAIN | [7 empty] | Rs | 977711.5 |  | Rs |  | Rs | 977711.5 | /=
10 | COMPOUND WALL | [7 empty] | Rs | 483482 |  | Rs |  | Rs | 483482 | /=
|  |  |  | G.TOTAL = |  |  |  |  | Rs | 7246231.3089 |  | Rs | 920075.36 | Rs | 7246231.3089 | /=
1 | Any error commission in the description of itme of work rates original schedule B
correct accordingly in the instruciton of the Executive Engineer PHE Division No.1Khairpur
2 | No Premium will be allowed on Non Schedule item.
3 | The Work will be carred out as per PWD / PHE specificaiton approval rates working
CONTRACTOR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
SUB: ENGINEER
Taluka Municipal Administration
KHAIRPUR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
SUB: ENGINEER
Taluka Municipal Administration
KHAIRPUR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
SUB: ENGINEER
Taluka Municipal Administration
KHAIRPUR
DEPUTY TALUKA OFFICER (I&S)
Taluka Municipal Administration
KHAIRPUR
SUB: ENGINEER
Taluka Municipal Administration
KHAIRPUR
EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING
DIVISION -I KHAIRPUR