# general Abstract of cost

PART  - I		Surface Drains				Rs. 	2327736/-

PART  - II	CC Paver Block				Rs. 	5695704/-

Total:			Rs.	8023440/-

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				            	           EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE-B

NAME OF WORK: -	 PROVIDING NEW SCHEME MUHALLA DABBAR (2 NOS)

TALUKA & DISTRICT KHAIRPUR

PART –  I			Surface Drains

1.	Dismantling cement concrete plain R – 1:3:6  (CSI No. 19 P. No.11)

Qty.195.00 cft.		@Rs.1306/80		P% cft.				Rs.	2548/-

2	 Dismantling and removing road mantling (CSI No. 51 P-14)

Qty: 1500.00 cft		@Rs.605/-			P% Cft			Rs.	9075/-

3.	Dismantling Brick work lime or cement mortar (CSI No.13 P-10)

Qty: 113.10 cft		@Rs.1285/63-			P% Cft			Rs.	1454/-

4.   Excavation in foundation of building bridges and other structure i/c dag belling refilling around the

structure with excavated earth watering ramming lead up to one chain and lift up to 5 ft. (PH Sch.

No.18 P.NO.4)

Qty.12689.80 cft.		@Rs.3176/25			P%0 cft.		Rs. 	40306/-

5.   Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing

stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

- Ratio 1:4:8

Qty. 2984.95 cft.		@Rs. 11288/75		P% cft.			Rs. 	336964/-

6.   Pacca Brick work in foundation and plinth in cement sand Ratio (1;6)  (CSI No.7 P.NO.23)

Qty. 8085.00cft.		@Rs. 11948/36		P% cft.			Rs. 	966025/-

7.     Construction of standard of open drains cunette block of cement concrete 1:2:4 in situ to design

profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the

exposed face finished smooth curing etc complete as per detail drawing  (PHSI No.D P.NO.44)

Type-I

Qty. 4190.00 rft.		Rs. 94/-			P rft.			Rs. 	393860/-

Type-II

Qty. 600 rft.			@Rs. 174/-			P rft.			Rs. 	104400/-

8.   Cement plaster 1:4 20’ height ½” thick (CSI No.11 P.NO.57)

Qty. 12875.00 Sft.		@Rs. 2283/93			P% Sft.		Rs. 	294056/-

9.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre 	cost laid in position complete in all respect 1:2:4  (CSI No.7 P.NO.17)

Qty. 308.40 cft.		Rs 337/-		P cft.			Rs. 	103931/-

10. 	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in

position making K=joints and fastering i/c cost of binding wire also i/c removal of rust

from bars (CSI No.7 (ii) P.NO.19).

Qty.11.01cwt			@Rs. 5001/70		P cwt.			Rs. 	55069/-

11.	Providing RCC Pipe with collars class B and digging the trenches to required depth and 	Fixing to in position cutting and jointing with maxphalt composition and cement 	mortar 	1:1 and testing with rater pressure etc a head executed stuff. (PHSI No 1 P-	24)

a) 9” Dia Pipe

Qty: 80.0 Rft  		@Rs.250/-		P-Rft	 		Rs. 	20048/-

Total		Rs:	2327736/-

PART - II		Paver Block

01.	Barrow pit excavation undressed led up to 100 rft in ordinary soil (CSI no.3 p.1)..

Qty.11925.00 cft.		@Rs.2117/50		P%o cft.		Rs. 	25251/-

02.	Extra for every 50 ft: additional lead or part therefore earth work soft or ordinary hard very hard.(CSI No: 8 P.No:3) Total land 2600 (-) 100 =  50 leads  @Rs. 100/78 Per Lead Rs. 5039/=

Qty: 11925.00cft		@Rs: 5039/-		P%0 cf		Rs. 	60090/-

03.	Earth work compaction (soft ordinary hard soil Laying earth in 6” thick layer, leveling and dressing complete. (CSI.NO.13 (b) P/03)

Qty: 1925.00	 Cft 		@Rs:-263/-		P%0 Cft	 	Rs. 	3136/-

0.4      Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Ratio 1:4:8

Qty. 5964.75 cft.		@Rs. 11288/75		P% cft.			Rs.	673346/-

0.5	Crushed Fire Brick Grated As Sand . (SMI no.51 p.04)

Qty.4054.50 cft.		@Rs.2500/00			P% cft.			Rs. 	101363/-

0.6      Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Ratio 1:2:4

Qty. 365.62 cft.		@Rs. 14429/25		P% cft.			Rs.	52757/-

07	Erection and removal of centering for RCC and Plain CC work of partial wood,

(CSI No.19 (b) P.No.18)

Qty. 487.50 sft.		@Rs. 3127/41			P% sft.			Rs. 	15246/-

0.8	Providing & Fixing Cement Paving Blocks Flooring Having Size Of 197x97x60(Mm) Of City /Quddra/ Cobble Shape With Pigmented Having Strength B/W 5000 Psi To 8500 Psi I/C Filling The Joint With Hill Sand Laying In Specified Manner / Pattern And Design Etc Complete.

(CSI No-71 P-49)

Qty. 23850.0 cft.		@Rs. 233/97			P. cft.			Rs.	4764515/-

Total:-		Rs:	5695704/-