# abstract of cost

| S.No | name of Work | Sch; Amount | Non Sch: Amount | Total |
| --- | --- | --- | --- | --- |
| Part – I | Tubwell 04 Nos | Rs.131741/-x4 | --- | Rs.526964/- |
| Part – II | Pump house 04 Nos | Rs.172300/-x4 | --- | Rs.689200/- |
| Part – III | pumping machinery 04 Nos | --- | Rs.1160000/- | Rs.1160000/- |
| Part-- iv | SUCTION & DELIVERY 04 Nos | Rs.182432/- | --- | Rs.182432/- |
| Part – v | P.e Rising main | Rs.5406367/- | Rs.70340/- | Rs.5483247/- |
| Part – VI | P.E DISTRIBUTION SYSTEM | RS.5412907/- | Rs.9790/- | Rs.1484829/- |
| Part – VII | Staff quorter | Rs.273816/- | --- | Rs.273816/- |
| Part – VII | LSR | Rs.175292/- | Rs.3005/- | Rs.178297/- |
|  | Total: | Rs.8735650/- | Rs.1243135/- | Rs.9978785/- |

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				              EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE-B

NAME OF WORK:-		 SWEET WATER SUPPLY SCHEME FOR VILLAGE WISRIO

WAHAN TC-II THERHI TALUKA & DISTRICT KHAIRPUR

PART – I		TUBE WELL

- Boring for tube well in all water bearing soil from ground level up ro 100” ft 30.50

meter depth i/c sinking and will drawing of crossing pipe 12 dia boring (PHSI No.1

P-36)

12” Dia

Qty: 80.00 Rft. 		@Rs.743/-		P-Rft		Rs.	59440/-

2.	Supplying and installing PVC strainer “B”  class of approved design quality and make necessary sockets etc complete for 8” Dia PVC  strainer (PHSI.NO:1 P-43)

8” Dia

Qty: 54.00 Rft. 		@Rs.554/05		P-Rft		Rs.	29919/-

3.	Supplying and installing PVC Blind Pipe “B”  class of approved design quality and make necessary sockets etc complete for 8” Dia PVC  strainer (PHSI.NO:1 P-37)

8” dia

Qty: 26.00 Rft. 		@Rs516/80		P-Rft		Rs.	13437/-

4.	Surrounding with grated Bajri size 3/8 40 1/8 Ca to 3 mm in between bare and bind pipe for the  following dia meter of strainer (PHSI No:13 P-35)

12” dia

Qty: 80.00 Rft. 		@Rs.105/-		P-Rft		Rs.	8400/-

5.	Supplying MS bail plug (PHSI No: 8 P-43)

Qty: 1.00 No.	 		@Rs.2607/-		Each		Rs.	2607/-

6.	Development of Tub well ( PHSI No8 (a) P-43)

Qty: 80 rft			@Rs.200/-		P-Rft		Rs.	16000/-

7.	Taking and preserving 21 lbs (Kg) samples of Estrte from bore hole (PHSI No.6 P.43)

Qty: 4.00 Sample		@Rs.101/-		P-Sample	Rs.	404/-

8.	Taking Samples of water from bore hole and placing into two separate bottles

(PHSI No: 7 P-43)

Qty: 4.00 Sample 		@Rs. 131/-		P.Sample	Rs.	534/-

- PVC end Plug (PHSI (M) ch No.1 P-29)

Qty: 1.00 No	 		@Rs. 1000/-		Each		Rs.	1000/-

Total:	Rs.	131741/-

131741x4=Rs 526964/-

Part – iI 		pump house 8 x 8 (4nos)

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.4)

Qty: 147.50	cft		@Rs: 3176/25		P% cft			Rs:	468/-

2.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.6 P.No.16).

Ratio: 1:4:8

Qty: 59.16	cft		@Rs: 9416/28		P% cft			Rs:	5571/-

3. 	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No – 4 Page  23 )

Qty: 265.95	cft		@Rs: 11948/36	P% cft			Rs:	31777/-

4.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.28 P.No.18)

Qty: 39.75	cft		@Rs: 4982/18		P% cft			Rs:	1980/-

5.	Pacca brick work in ground floor i/c striking of jointing cement sand mortar 1:6 (CSI No: 5

P-24)

Qty: 218.63	cft		@Rs: 12674/36		P% cft		Rs:	27709/-

6.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 70.50	cft		@Rs: 337/-		P. cft			Rs:	23759/-

7.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 2.83 	cwt		@Rs: 5001/70		P. cwt			Rs:	14168/-

8.	Filling water and ramming earth in floor with surplus earth from foundation and lead upto one chain and lift upto 5’ ft (CSI No 21 page 5)

Qty: 218.31 cft		@Rs: 1512/30		P%0 cft		Rs:	330/-

9	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels. (CSI No 16 P No 42)

Qty: 58.22	sft		@Rs: 4411/82		P% sft			Rs:	  2568/-

10.	Fabrication of heavy steel work with angles tees flat iron and sheet iron making trusses girders tanks etc i/c cutting revering handing assembling and fixing but eluding eriction in position (CSI No.2 (a) P.NO.90)

Qty: 4.41	cwt		@Rs: 4928/49		P. cwt			Rs:	21735/-

11.	Errection & fitting  in position iron trusses fixing in position (C,S,I No.6 P-No.91)

Qty: 4.41	cwt		@Rs: 271/04		P. cwt			Rs:	1195/-

12.	Supplying fixing in position iron steel gril using sold square bars of size ¾” x ¼” etc complete (CSI NO 20 – Page 93)

Qty: 24.00	sft		@Rs: 180/50		P. sft			Rs:	4332/-

13.	Aster Plaster (1:6) up to 12 ft: Height ½”thick. (CSI No 11.P.No. 59)

Qty: 425.92	sft		@Rs: 2206/60		P% sft			Rs:	9398/-

14.	Cement Plaster (1:4) up to 12 ft: Height3/8. (CSI No 11.P.No. 58)

Qty: 456.58	sft		@Rs: 2197/52		P% sft			Rs:	10033/-

15.	Cement painting struck joint on walls 1:3 (CSI No – 19 Page 58) (Ratio 1.3)

Qty: 328.00	sft		@Rs: 1213/58		P% sft			Rs:	3981/-

16.	White washing (one Coat) (CSI No – 26 Page 60)

Qty: 784.58	sft		@Rs: 416/63		P% sft			Rs:	3269/-

17.	White washing (Three coats) CSI No – 26 Page 59)

Qty: 130.00	sft		@Rs: 829/95		P% sft			Rs:	1079/-

18.	Colour Washing Two Coats (CSI No – 25 Page 60)

Qty: 784.58 	sft		@Rs: 859/90		P% sft			Rs:	6742/-

23.	Preparing surface painting doors & windows any type i/c edge (CSI No – 5 page 76)

Qty: 104.00	sft		@Rs: 2116/41		P% sft			Rs:	2201/-

Total	Rs:	172300/-

172300x4=	Rs 	689200/-

NON SCHEDULE ITEM

PART – III			PUMPING MACHINERY FOR DUG WELL

PUMPING MACHINERY

1	supplying installing in position i/c transportation  at site of work electric Pumping  set consisting electric motor (Siemens made)  10 BHP 2900RPM coupled with ETA NORMS

40-200size 2”x1-1/2” Mounted on KSB S steel frame or base plate capable of discharge 100 gallons against the head of 155 ft i/c installation pumping set on CC foundation 1:2:4 ration 1:4:8 with stone ballast with MS nuts and bolts of 5/8” dia to be embedded in cc foundation i/c providing and fixing automatic motor control unit (MCU) consist oil stator (MECO Pakistan) MCCB Breaker 10-A to 50-A (Shihlin Taiwan) cutout 60-A (China) ampere meter (60/5-A) (SELCO China) volt meter (500-V) (SELCO China) phase indication light (China) i/c transformer oil (2 Letter) (Panel Board 18’x26’x9’ & internal wiring etc complete) and providing internal electric wiring fro MCU to electric motor providing and laying main or sub-main PVC insulated with size 4-3/036copper conductor in 1” dia PVC conduct on surface i/c providing and fixing earthing set 0.6m in to 0.6mm (2x2x1/4) copper  plate buried in the ground at depth of 3.7m (12”)or less as per PAK PWD specification and testing of the pumping set against the required head and discharge of 72 hours etc complete (R.A)

Qty: 1.00	 Set		@Rs.290000/-		P. set		Rs.	290000/-

Total	Rs.	290000/-

B)SUCTION AND DELIVERY

1.	Providing laying and fixing tranches i/c fitting jointing and testing etc complete in all respect the high density polyethylene PF pipe (HDPE-100) for W/S confirming ISO conforming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (GSI -1 P-25)

PN-10 (3” dia 90 mm)

Qty: 48.00	rft		@Rs: 178/-			P. Rft		Rs:	8544/-

2.	CI Bend with flanged end with holes i/c trenches and facing of flanged for all size (SMI No.8 P.12).

Qty. 0.53 cwt			@Rs. 6096/-			P. cwt		Rs. 	3200/-

3.	CI tapers flat bottomed central flanged end with tapered holes i/c turning and facing of flanged of size (CMI No – 9 Page 11)

Qty: 0.21	cwt		@Rs:6096/-			P. cwt		Rs:	1280/-

4.	flange adopter 3” dia (N.S.I)

3” Dia

Qty. 8.00 Nos			@Rs.675/-			Each		Rs.	5400/-

5.	GI Pipe  3” dia

3” Dia

Qty. 8.00 Rft			@Rs.304/02			P-Rft		Rs.	2432/-

6.	C.I Tail pieces  with one end flanged and socket at the other and for all size (PHS(M)I No4 P-12)

Qty. 1.05 Cwt			@Rs.6096/-			P-CWT	Rs.	6401/-

7.	But Fusion joint

3” Dia

Qty. 8.00 Nos			@Rs.600/-			Each		Rs.	4800/-

8.	Supplying CI sluice valve heavy pattern test pressure 21.0 kg sq cm 300 lbs sq inch.

(PHSI (M)I No.16 P.11)

3” Dia

Qty. 1.00 No			@Rs.4290/-			Each		Rs.	4290/-

9.	Supplying reflex valve heavy pattern test pressure 21.0 kg or CM or 300 lbs sq inch. (PHSI (M)I No.16 P.11)

3” Dia

Qty. 1.00 No			@Rs. 1543/75			Each		Rs. 	1544/-

10.	CI Foot valve heavy pattern with cone type gate (PHS (M) I No-4 P-10)

3” Dia

Qty. 1.00 No			@Rs. 731/25			Each		Rs. 	731/-

11.	Jointing CI/MS flanged pipe to special pipes and inside tranches  i/c supplying rubber packing the required thickness nuts and bolts and wisher etc and other  tools required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 P.40).

3” dia

Qty: 14.00	Joints		@Rs:499/-			P. Joint	Rs:	6986/-

Total: -	Rs.	45608/-

45608x4=		Rs 	182432/-

Part –IV  		P.E PIPE Line

RISING MAIN 6” DIA

1.	Dismantling and removing road mettaling (CSI No. 5 P-No.14)

Qty:2000.00 Cft		@Rs.605/-		P% Cft			Rs.	12100/-

2.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards, lights flanges and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 60)

Qty: 74900.00 cft		@Rs:3600/40		P%o c ft		Rs:	269640/-

3.	Providing Laying & fixing in trenches i/c cutting fitting and jointing out testing in all respect the high testing polyethylene P.E pipe (PHSI No-1 P- No 25)

(110 mm)

4” Dia

Qty: 10700	rft		@Rs:440/-		P. rft			Rs:	4708000/-

4.	Bend 90o degree 6” Dia (SMI NO 1 P No 13 )

Qty: 2.00	Nos		@Rs:3480/-		Each			Rs:	6960/-

5	Equal Tee160x16x160

Qty: 1.00	No		@Rs:4175		Each			Rs:	4175/-

6	Butt fusion joint (SMI No.H P.20).

6’ Dia

Qty: 10.00	Joints		@Rs: 1000/-		Each			Rs:	10000/-

7	Air valve double acting 3” x 1” (Local) (SMI No.8 P-No.12)

Qty: 2.00	Nos		@Rs: 4000/-		Each			Rs:	8000/-

8	Providing chamber 2 ½ x 2 ½ (750x750 mm) inside dimension 4 ½ (1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457 mm) dia inside cast iron cover and frame cwt=  (cwt 3 qe) fixed in RCC 1:2:4 (102 mm) thick brick masonry walls set in 1:6 cement mortar 6” (1152 mm) thick cement plaster 1:3 to all inside wall surfaces and to top i/c providing and fixing MS foot rest at every one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus earth etc complete (PHSI No.1  P.  49).

Qty. 2.00 Nos			@RS: 18820/20		Each		Rs:	 37640/-

9.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 67410 cft			@Rs: 29135/-		P. %o cft		Rs:	186052/-

total	Rs.	5342567/-

NON SCHEDULE ITEM

1.	Tee un equal  6x6x6 3 (NSI)

Qty: 6.00	Nos		@Rs: 8690/-		Each			Rs:	52140/-

2	Tee un equal 6x6x4 dia (NSI)

Qty: 2.00	Nos		@Rs:9100/-		Each			Rs:	18200/-

total	Rs.	70340/-

PART – V	P.E  DISTRIBUTION SYSTEM

1.	Dismantling C.C Plain 1:3:6 (CSI No.19 P-No.10)

Qty: 600.00Cft		@Rs.1306/80		P% Cft			Rs.	7841/-

2	Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal work of surplus earth within one chain as directed by Engineer in charge providing fence guards, lights, flanges and temporary crossing for non vehicular traffic wherever required lift up to 5’ ft. (1.50m) and lead up to one chain (30.50m) (PHSI No.1 P.No.60).

Qty: 42000.00 Cft		@Rs.3600/		P% Cft		          Rs.   151200/-

3	Providing Laying Pressure pipes of class & Fixing in trenches i/c cutting fitting and testing etc complete (PHSI No-1 P- No 25)

4” Dia

Qty: 600.00	rft		@Rs:224/-		P. rft			Rs:	134400/-

3” Dia

Qty: 6500.00	rft		@Rs:148/-		P. rft			Rs:	962000/-

4.	Jointing CI/MS flanged

3” dia

Qty: 6.00 Nos			@Rs.499/-		Each			Rs.	2994/-

5.	Tee Equal (3” x 3” x 3”) Dia (SMI No. 6 P-No. 14)

Qty:3.00	Nos		@Rs:1341/-		Each			Rs:	4023/-

6.	Bend 90 degree 3” Dia (SMI NO  P No  13)

160 mm

Qty: 2.00	Nos		@Rs: 1118/-		Each			Rs:	2236/-

7.	Bend 90 degree 4” Dia (SMI NO  P No  13)

Qty: 1.00	No.		@Rs: 3480/-		Each			Rs:	3480/-

8.	Bend 45 degree 3” Dia (SMI NO  P No  13)

Qty: 2.00	Nos		@Rs: 894/-		Each			Rs:	1788/-

9.	MS flange 3” dia

Qty: 2.00	Nos		@Rs: 500/89		Each			Rs:	1002/-

10.	Sluice valve heavy pattern (Test pressure 21.0 kg/sq c. 300 lbs/sginth) imported (SMI No.2 P.11).

3” Dia

Qty: 2.00	Nos		@Rs: 4290/-		Each			Rs:	8580/-

11.	Flange adopter 3” dia

Qty: 4.00	Nos		@Rs: 675/-		Each			Rs:	2700/-

12.	Providing chamber 2 ½ x 2 ½ (750x750 mm) inside dimension 4 ½ (1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457 mm) dia inside cast iron cover and frame cwt=  (cwt 3 qe) fixed in RCC 1:2:4 (102 mm) thick brick masonry walls set in 1:6 cement mortar 6” (1152 mm) thick cement plaster 1:3 to all inside wall surfaces and to top i/c providing and fixing MS foot rest at every one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus earth etc complete (PHSI No.1  P.  49).

Qty. 4.00 Nos			@RS: 18820/20		Each		Rs:	75280/-

13	Butt fujion joints for special for PE pipe (SMI No. 11 P.No- 20)

4” Dia

Qty: 4.00	Nos		@Rs: 1000/-		Each			Rs:	4000/-

3” Dia

Qty: 12.00	Nos		@Rs: 600/-		Each			Rs:	7200/-

14.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 38520.0 cft		@Rs: 2760/-		P. %o cft		Rs:	106315/-

Total:	Rs.	1475039/-

NON SCHEDULE ITEM

5.	P.E Reducer 6” x 4” Dia (NSI)

Qty: 2.00 Nos			@Rs.3270/-		Each			Rs.	6540/-

7.	Reducer 6” x 3” Dia (NSI)

Qty: 1.00 No.			@Rs.3250/-		Each			Rs.	3250/-

Total:	Rs.	9790/-

Part – Vi 		STAFF QUARTER

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.4)

Qty: 290.62	cft		@Rs: 3176/25		P% cft			Rs:	923/-

2.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.6 P.No.16).

Ratio: 1:4:8

Qty: 143.30	cft		@Rs: 9416/28		P% cft			Rs:	13494/-

3. 	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No – 5 Page  24)

Qty: 544.30	cft		@Rs: 11948/36	P% cft			Rs:	54401/-

4.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.27 P.No.23)

Qty: 81.10	cft		@Rs: 4982/18		P% cft			Rs:	4041/-

5.	Pacca brick work in ground floor i/c striking of jointing cement sand mortar 1:6 (CSI No: 5

P-25)

Qty: 365.30	cft		@Rs: 12674/36		P% cft		Rs:	46616/-

6.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 137.89	cft		@Rs: 337/-		P. cft			Rs:	46468/-

7.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 5.54 	cwt		@Rs: 5001/70		P. cwt			Rs:	27709/-

8.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 4.41 cft			@Rs:4928/49		P%0 cft		Rs:	21735/-

9.	Errection & fitting  in position iron trusses fixing in position (C,S,I No.6 P-No.91)

Qty: 4.41	cwt		@Rs: 271/04		P. cwt			Rs:	1195/-

10.	Supplying fixing in position iron steel gril using sold square bars of size ¾” x ¼” etc complete (CSI NO 26 – Page 97)

Qty: 24.00	sft		@Rs:180/50		P. sft			Rs:	4332/-

11.	Filling water and ramming earth in floor with surplus earth from foundation and lead upto one chain and lift upto 5’ ft (CSI No 7 page 21)

Qty: 531.84 cft		@Rs.1512/50		P%0 cft		Rs:	804/-

12.	Cement Plaster (1:6) up to 12 ft: Height 3/8” thick (CSI No 11.P.No. 58)

Qty: 581.24	sft		@Rs.2206/60		P% sft			Rs:	12826/-

13.	Cement Plaster (1:4) up to 20 ft: Height 3/5 thick (CSI No 11.P.No. 58)

Qty: 581.24	sft		@Rs.2197/52		P% sft			Rs:	12773/-

14.	Cement painting struck joint on walls 1:3 (CSI No – 19 Page 59) (Ratio 1.3)

Qty: 347.50	sft		@Rs.1213/58		P% sft			Rs:	4241/-

15.	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels. (CSI No 16 P No 47)

Qty: 177.08	sft		@Rs.4411/82		P% sft			Rs:	  7812/-

16.	Preparing surface painting doors & windows any type i/c edge (CSI No – 5 page 76)

Qty: 104.00	sft		@Rs.2116/41		P% sft			Rs:	2201/-

17.	White washing (Three coats) CSI No – 26 Page 55)

Qty: 219.00	sft		@Rs.829/95		P% sft			Rs:	1818/-

18.	White washing (one Coat) (CSI No – 26 Page 55)

Qty: 581.24 sft		@Rs.416/63		P% sft			Rs:	2422/-

23.	Color Washing Two Coats (CSI No – 25 Page 55)

Qty: 930.74 	sft		@Rs.859/90		P% sft			Rs:	8005/-

Total	Rs:	273816/-

PART - VI			 L.S.R

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 	5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 140.00 Cft		@Rs. 3176/25		P%0 Cft		Rs. 	445/-

2	Cement concrete brick or stone ballast ½ to 2 gauge Ratio 1:4:8 (CSI No.6 P.No.16).

Qty: 35.00 Cft			@Rs. 9416/28		P%0 Cft		Rs. 	3296/-

3	Pacca Brick work in foundation and plinth in cement send mortar 1:4 (CSI No.4 P.No.20)

Qty: 137.79 Cft		@Rs. 11948/36		P% Cft		Rs. 	16464/-

4.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.16)

Qty: 176.21Cft		@Rs. 337/-			P% Cft		Rs. 	59383/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.16)

Qty: 7.86 Cwt			@Rs. 5001/70			P- Cwt		Rs. 	39313/-

6.	Cement Plaster (1:6) up to 12 ft: Height 3/8 “thick. (CSI No 1.P.No. 58)

Qty: 490.00 Sft		@Rs. 2206/60			P% Sft		Rs. 	10812/-

7.	Cement Plaster (1:4) up to 12 ft: Height 3/8 “thick. (CSI No 1.P.No. 58)

Qty: 490.00 Sft		@Rs. 2197/52			P% Sft		Rs. 	10768/-

8	Providing and fixing C-I man hole cover frames of material etc complete (PHSI No.1 P-23

Qty: 1.0   Cwt			@Rs. 6985/			P-Cwt		Rs. 	6985/-

9	Supply Puddlo/Dampo (M.S.L 4 P-No 16)

Qty: 55  kg 			@Rs.3850/-			P-lbs		Rs. 	8470/-

10.	Pointing G.I Pipe & special etc i/c fixing cutting and fitting complete with i/c the cost of cutting trenches 200 ft and handling (SMI No. 1 P- No. 12)

Qty: 6.00  Rft			@Rs: 47/72			P-Rft		Rs: 	286/-

11.	Special G I Socket (SMI No 2 P- 07)

Qty: 3.00 Nos			@Rs. 18/-			Each		Rs.	54/-

13.	Special and fixing in position C P Bip cock (SSMI No 9 P-No.13)

Qty: 3.00 Nos			@Rs. 125/-			Each		Rs.	375/-

14.	Manufacturing & installing with welding MS flange 3” Dia made out of MS sheet 3/16” thick cutting welding drilling etc complete (Based on Schedule item)

Qty: 25.00  Rft		@Rs: 385/89			P-Rft		Rs: 	9647/-

15.	CI Bend with flange (CSII No.   P.   ).

3” Dia

Qty: 0.26 Cwt			@Rs. 6096/-			P-Cwt		Rs. 	1583/-

16.	P/F CI ventilator (weight not less than 80 lbs each) in tank roof of approved design with water tight joint i/c painted etc complete.(SCI No. 4 page 43)

Qty: 1.00 No			@Rs: 4870/-			Each		Rs: 	4870/-

17.	Supplying and Filling sand under floor and plugging in walls (CSI No. 29 P-No.26)

Qty: 87.32  Cft		@Rs.1141/25			P% Cft		Rs.	997/-

18.	Sluice valve heavy pattern (Test pressure 21.0 kg/sq c. 300 lbs/sginth) imported (SMI No.2 P.11).

3” Dia

Qty: 1.00	No		@Rs: 1543/75			Each		Rs:	1544/-

Total:	Rs. 	175294/-

NON SCHEDULE ITEM

1.	Manufacturing & installing with welding MS flange 3” Dia made out of MS sheet 3/8” thick cutting welding drilling etc complete (RA)

Qty: 6.00  Nos			@Rs: 500/89			Each		Rs: 	3005/-

Total:	Rs. 	3005/-