BILL OF QUANTITIES

NAME OF WORK:-	 Water Supply scheme at village New Sonahari U.C Aamri  (Taluka 					Manjhand) (District Jamshoro)

(A) 	Description and rate of item based on Composite schedule of Rates

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | GROUP ‘A’ PROVIDING INSTALLING TUBE WELL |  |  |  |
| 01 |  | Boring tube well in water bearing soil from G.I. upto 100’ft depth i/c sinking and with drawing of cashing pipe. (P.H.S.I.NO:1, P/41) |  |  |  |
|  | 100.0 Rft | 12” dia | 743/- | P/Rft | 74,300/- |
| 02 |  | Boring tube well in water bearing soil from depth 100.1’ft to 200’ft or 30.51 to 61 meter below ground level i/c sinking and with drawing of cashing pipe. (P.H.S.I.NO:2, P/41) |  |  |  |
|  | 10.00 Rft | 12” dia | 849/- | P/Rft | 8,490/- |
| 03 | 1 No; | Providing strong substantially build wooden locked box with compartments for preserving 2 lbs (1 kg) samples of strats.(P.H.S.I.NO:5, P/43) | 3530/- | Each | 3,530/- |
| 04 | 08 Nos: | Taking & preserving in box 2 lbs (1 kg) sample of starts from bore holes (P.H.S.INO:6, P/43) | 101/- | Each | 808/- |
| 05 | 08 Samples | Taking samples of water from bore holes and placing in two separate bottles. (P.H.S.I.NO: 7, P/43) | 131/- | P/Sample | 1,048/- |
| 06 |  | Supply and installing PVC Blind pipe “B” Class of approved design quality and make i/c necessary socket etc: complete. (P.H.S.O.M.I.NO;12 P/44) |  |  |  |
|  | 72.00 Rft | 8” dia | 516/80 | P/Rft | 37,210/- |
| 07 |  | Supplying and installing PVC strainer ‘B’ Class of approved design quality and make i/c necessary socket etc: complete. (P.H.S.O.M.I.NO;9, P/ 43) |  |  |  |
|  | 38.00 Rft | 8” dia | 554/05 | P/Rft | 21,054/- |
| 08 | 110.0 Rft | Shrouding with graded bajri (3/8” to 1/8” or 9 to 3 mm) in between bore and blind pipe for the following diameter or strainers (P.H.S.I.NO:13, P/45) | 193/- | P/Rft | 21,230/- |
| 09 | 24 Hours | Development of tube well testing of charges samples from laboratory (PHSINO:8(a),P-43) | 2222/- | P/Hour | 53,328/- |
| 10 | 10 Nos: | Providing and fixing suspension clamps Centralizer (M.R.) | 500/- | Each | 5,000/- |

(cont: on page No:02)

(Page No:02)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 11 | 1 No: | Supplying and fixing M.S. Bail plug 5’feet long etc: complete (P.H.S.I.M-8 (b) P/43) | 2607/- | Each | 2,607/- |
| 12 | 1 No; | Construct concrete 1:2:4 around well hand casing complete (R.A. Approved) | 1285/- | Each | 1,285/- |
|  |  | Cost for 2 nos:229,890 x 2=459780/- |  | Total | 4,73,274/- |
|  |  | GROUP ‘B’ CONSTT: OF PUMP HOUSE SIZE (12’ X 10’) |  |  |  |
| 01 | 1284.0 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in ordinary soil) (G.S.I.NO;18,. P/4) | 3176/25 | P%0cft | 4,078/- |
| 02 | 226.51 Cft | Cement concrete brick or stone ballast 1½” to 2” gauge Ratio 1:4:8) (G.S.I.NO;4(b)P/16) | 9416/28 | P%cft | 21,329/- |
| 03 | 754.88 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering currying rendering and finishing the exposed surface)\ (including screening and washing of shingle)(a) R.C.C. Work in roof slab, beams, columns, rafts, lintels and other structural members laid in suite or precuts laid in position complete in all respect (i) Ratio 1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” gauge.(G.S.I.NO;6(a) (i)P/19) | 337/- | P/Cft | 254,395/- |
| 04 | 33.70 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars (G.S.I.NO;7(ii)(a)P/20) | 5001/70 | P/Cwt | 168,537/- |
| 05 | 893.95 cft | Pacca brick work in ground floor in cement sand mortor (1:6) (G.S.I.NO:7(e)P-26) | 12674/36 | P%cft | 113,302/- |
| 06 | 1620.00 Sft | Cement plaster (1:4) ½” thick upto 12’ height (G.S.I.NO;11, P/52) | 2197/52 | P%sft | 35,600/- |
| 07 | 1620.0Sft | Cement plaster (1:6) ¾” thick upto 12’ height (G.S.I.NO;13, P/52) | 2206/60 | P%sft | 35,746/- |
| 08 | 480.0 Sft | Providing & laying 2” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panels (G.S.I.NO;16( c ) P/43) | 3275/50 | P%sft | 15,722/- |
| 09 | 720.0 Cft | Filling Watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5’ft (G.S.I.NO;21, P/4) | 1512/50 | P%0cft | 1,089/- |
| 10 | 56.0Sft | Making and fixing steel grated door with 1/16” thick sheeting i/c angle iron frame 2”x2”x3/8” and ¾” square bars 4” centre to centre with locking arrangement (G.S.I.NO;28, P/97) | 726/72 | P/Sft | 40,696/- |

(Cont: on page 03)

(Page NO:03)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 11 | 3.39 Cwt | Fabrication of heavy steel work with angles tees, flat iron , round iron and sheet iron for making trusses girdes tands etc including cutting tanks etc.i/c cutting drilling riverting handling assembling and fixing but excluding erection in position (G.S.I.No.2,P-91) | 4928/49 | P/Cwt | 16,708/- |
| 12 | 40.00 Sft | Supplying and fixing in position iron / steel grill of ¾” x ¼” size flate iron of approved design i/c painting 3 coats etc: complete (weight not to be less than 3.7 lbs/sq: feet of finished (G.S.I.NO:26 P/92) | 180/50 | P/sft | 7,220/- |
| 13 | 3.39 Cwt | Erection and fitting in position of iron trusses staging of water tanks etc. (G.S.I.No.3,P-90). | 271/04 | P%sft | 919/- |
| 14 | 192.00 Sft | PAINTING NEW SURFACE. Preparing surface and painting guards bars gates of iron bars gratings railings) i/c standards braces etc and similar open work(G.S.I.NO;5)d)P/ ) Three coats. | 2116/41 | P%sft | 4,064/- |
| 15 | 1620.00 Sft | White washing (2 coats) (G.S.I.NO;26, P/60) | 416/63 | P%sft | 6,749/- |
|  | 478.50Sft |  | 829/95 | P%sft | 3,971/- |
| 16 | 1620.0 Sft | Colour Washing (2 coats) (G.S.I.NO;25, P/60) | 859/90 | P%sft | 13,930/- |
|  |  |  |  | Total | 744,075/- |
|  |  | GROUP ‘C’ P/I ELECTRIC SUBMERSIBLE PUMP 15 BHP |  |  |  |
| 01 | 2 Sets | Providing & installing position i/c transportation to the site of work at village New Sonahari taluka Manjhand Grund fos submersible pump type HVP-17-13+15 HP/2 Motor complete capable to discharge 125 G.P.M. against a head of 240 ft 15 HP Groundfos motor (3x400Vx2 pole) i/c M.S. riser pipe of 2” dia 25 Nos: of 10’ft each with flanged ends. The flanges are no touched to accommodate the cable i/c of 2” dia containing bore hole cover plate with 90 bend sluice valve jacket, nuts and bolts and 2 sets of installation clamps (M.S) i/c nipple 2” dia (M.S) i/c 7.50 HP motor control unit consist of metallic box circuit breaker. Am-Meter selector switch volt meter volt meter selector switch electronic over current relay magnetic contractor under over voltage relay (EVR)dry running protection relay indication lamps and off switch i/c Electodes and cable 1x1.50mmx90 m drop cable 3x6 mm x 131 meter cable clamps 45 Nos: cable termination kit etc: complete. | 1025000/- | P/Set | 20,50,000/- |

(Cont: on page No:04)

(Page No:04)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 02 |  | Providing G.I. Pipe of approved quality (S.S.I.NO;1, P/5) |  |  |  |
|  | 30.00 Rft | 4” dia | 431/93 | P/Rft | 12,958/- |
| 03 |  | Manufacturing supplying M.S. flange of different dia made out Of M.S. Steel of 3/8” thick i/c cutting drilling holes and welding Of flange with M.S pipe etc: |  |  |  |
|  | 6 Nos: | 4” dia | 596/75 | Each | 3,581/- |
| 04 | 10.50 Kg: | C.I. Tapper flate bottomed or central tapered flanged ends with holes Including turning and facing turning and facing of flanges for all size (P.H.S.I.M.I.NO;8, P/13) | 120/- | P/Kg: | 1,268/- |
| 05 |  | Reflex valve heavy pattern test pressure 300 lbs/sq; inch (P.H.S.(M)I-16, P/97) |  |  |  |
|  | 2 Nos: | 4” dia | 1706/75 | Each | 3,412/- |
| 06 |  | C.I Sluice valve heavy pattern test pressure 300 lbs/sq; inch (P.H.S.(M)I-16, P/97) |  |  |  |
|  | 2 Nos: | 4” dia | 5460/- | Each | 10,920/- |
| 07 | 76.40 Kg: | Bend with flanged and work i/c jointing and fixing pf flanges for All size (PHSM.I.No.8,P-12) | 120/- | P/Kg: | 9,168/- |
| 08 |  | Jointing C.I/M.S flanged pipes and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the joints to the specified pressure etc: complete. (P.H.S.I.NO;1, P/40) |  |  |  |
|  | 22 Joints | 4” dia | 513/- | P/Joint | 11,286/- |
|  |  |  |  | Total | 21,02,593/- |
|  |  | GROUP ‘’D’ P/LJ & TESTING RISING MAIN 6”DIA |  |  |  |
| 01 | 47250.0 Cft | Excavation for pipe lines into trenches and pits in hard soils i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm (P.H.S.I.NO;3, P/61) | 3900/- | P%0cft | 184,275/- |
| 02 |  | Providing PVC pipe of class ‘C’ (equivalent make)fixing in trenches i/c cutting and jointing with “Z” joints with one rubber rings i/c testing with water to head of 61 meter or 200’ft. (P.H.S.I.NO;1,P/21) |  |  |  |
|  | 6000.0 Rft | 6” dia | 262/- | P/Rft | 15,72,000/- |

(Cont: on page No:05)

(Page No:05)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 03 |  | Supplying of G.I. Pipe approved quality to be tested with pressure 200’ft (P.H.S.I.NO;:1, P/ ) |  |  |  |
|  | 200.0 Rft | 6” dia | 695/04 | P/Rft | 139,008/- |
| 04 |  | Providing & fixing M.S. flange made of M.S plate, having thickness and total weight as mentioned against each item. It includes the cost of making holes, facing, welding, nuts bolts, rubber packing, white lead fitter, cartage etc. complete.(P.H. Sch: of M. S. Specials Part D item no.8 Page No.6) |  |  |  |
|  | 20 Nos: | 6” dia | 804/77 | Each | 16.095/- |
| 05 |  | Laying C.I/M.S pipe (S&S) flanged and specials and fixing in Trenches i/c cutting fitting and testing with water to specified Pressure (P.H.S.I.M.NO;B, P/54) |  |  |  |
|  | 200.0 Rft | 6” dia | 11/64 | P/Rft | 2,328/- |
| 06 | 111.66 Kg: | C.I. bends with flanged ends with holes including tuning and facing of flanges for all sizes (P.H.S.M. I.NO.8 P-98) | 120/- | P/Kg: | 13,399/- |
| 07 |  | P.V.C. ‘Z’ Jointing fitting (P.H.S.I.I-16, P/28) |  |  |  |
|  | 4 Nos: | P.V.C. Bend | 1913/- | Each | 7,652/- |
| 08 | 4 Nos: | P.V.C. Socket (P.H.S.(M)I-16, P/28) 6” dia | 1575/- | Each | 6,300/- |
| 09 |  | Supplying C.I. Sluice valve heavy pattern test pressure 300 lbs / sq; inch (P.H.S.I.NO;2, P/7) |  |  |  |
|  | 2 Nos: | 6” dia | 9360/- | Each | 18,720/- |
| 10 | 4 Nos: | Supplying C.I. Short Piece(S.M.I.NO;9,P/15) | 618/75 | Each | 2,475/- |
| 10 | 3 Nos: | Air Valve Double acting (P.H.S.M.NO:8, P/98) | 4000/- | Each | 12,000/- |
| 11 | 3 Nos: | Fire Hydrent tee 6”dia (Sch: M.I.NO;3, (b) P/16) | 1375/- | Each | 4,125/- |
| 12 |  | Jointing C.I/M.S flanged pipes and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the joints to the specified pressure etc: complete.(P.H.S.I.NO;1, P/35) |  |  |  |
|  | 10 joints | 6” dia | 938/- | P/Joint | 15,008/- |
| 13 |  | Making joints specials fitting (i/c laying of specials and cost of solvent cement of required diameter and testing the joints alongwith PVC Pipe line ‘B’, ‘C’ and ‘D’ class of the specified pressure and making Good to all leaky joints etc; complete(PHSI.NO;1, P/35) |  |  |  |
|  | 10 Nos: | 6” dia | 96/- | Each | 960/- |

(Cont: on page No:06)

(Page No:06)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 14 | 5 Nos: | Providing chamber 3”x2” (915x615mm) inside dimension 4½”(1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt= 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick with 5 lbs steel per cft)9” (299 mm) thick brick masonary wall set in 1:6 cement mortar 6” (1152mm ) thick cement concrete 1:3:6 in foundation 1” thick cement concrete 1:2:4 flooring ½” (12.5mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S. foot beyond 2½” depth curring excavation back filling and disposal of surplus earth etc; complete (P.H.S.I.NO:1, P/49) | 18820/- | Each | 94,100/- |
| 15 | 42525.0 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P%0cft | 117,369/- |
|  |  |  |  | Total | 22,05,814/- |
|  |  | GROUP ‘’E’ P/L/J & TESTING DISTB:SYSTEM P.V.C. PIPE 3” DIA |  |  |  |
| 01 | 34608.0 Cft | Excavation for pipe lines into trenches and pits in all kinds soil Of murum i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm)(P.H.S.I.NO;5,P/62) | 3900/- | P%0cft | 134,971/- |
| 02 |  | Providing PVC pipe of class ‘B’ (equivalent make)fixing in trenches i/c cutting and jointing with “Z” joints with one rubber rings i/c testing with water to head of 61 meter or 200’ft.(P.H.S.I.NO;1,P/21) |  |  |  |
|  | 5768.0 Rft | 3” dia | 90/- | P/Rft | 519,120/- |
| 03 |  | P.V.C.’Z’ Jointing (P.H.S.O.M.I.NO;18, P/112) |  |  |  |
|  | 12 Nos: | I) BEND 3” DIA | 731/- | Each | 8,772/- |
|  | 10 Nos: | ii) Tee Equal 3” dia | 900/- | Each | 9,000/- |
| 04 |  | Supplying C.I. Sluice valve heavy pattern test pressure 300 lbs / sq; inch (P.H.S.I.NO;2, P/7) |  |  |  |
|  | 3 Nos: | 4” DIA | 5460/- | Each | 16,380/- |
|  | 3 Nos: | 3” DIA | 4290/- | Each | 12,870/- |
| 05 |  | C.I.Tail piece for PVC Pipe (P.H.S.(M)I.NO:14, P/29) |  |  |  |
|  | 6 Nos: | 4”DIA | 487/50 | Each | 2,925/- |
|  | 6 Nos: | 3” DIA | 375/- | Each | 2,250/- |

(Cont: on page NO:07)

(Page No:07)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 06 |  | Cost iron specials for A.C. Pressure pipe (standared weight for A.C.I.L. ‘B’ Class (P.H,.S.I.NO;15, P./99 |  |  |  |
|  | 9 Nos: | C.I. Jibault Joint 4” dia | 731/25 | Each | 6,581/- |
|  | 9 Nos: | C.I. Jibault Joint 3” dia | 568/75 | Each | 5,119/- |
| 07 |  | Making joints C.I. specials fitting (i/c laying of required diameter and testing the joint alongwith the asbestos cement pressure pipe line to the specified pressure and making good to all leaky joints etc: complete. (P.H.S.I.NO:1, P/56) |  |  |  |
|  | 12 Nos: | 3” DIA | 59/- | Each | 708/- |
|  | 12 Nos: | 4” DIA | 70/- | Each | 840/- |
| 08 | 31147.20 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P%0cft | 85,966/- |
| 09 | 5 Nos: | Providing chamber 3”x2” (915x615mm) inside dimension 4½”(1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt= 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick with 5 lbs steel per cft)9” (299 mm) thick brick masonary wall set in 1:6 cement mortar 6” (1152mm ) thick cement concrete 1:3:6 in foundation 1” thick cement concrete 1:2:4 flooring ½” (12.5mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S. foot beyond 2½” depth curring excavation back filling and disposal of surplus earth etc; complete (P.H.S.I.NO:1, P/49) | 18820/- | Each | 94,100/- |
|  |  |  |  | Total | 899,602/- |

A   B  S   T   R   A   C   T

| Group Name | Schedule Item | Non Schedule | Total |
| --- | --- | --- | --- |
| Group ‘A’ P/Installing Tube Well | 447,210/- | 12,570/- | 459,780/- |
| Group ‘B’ Construction of Pump House. | 744,075/- | ------ | 744,075/- |
| Group ‘C’ Providing Installing Submersible pump 15BHP | 52,593/- | 20,50,000/- | 21,02,593/- |
| Group ‘D’ P/L/J Rising Main 6” dia | 22,05,814/- | ------ | 22,05,814/- |
| Group ‘E’ P/L/J Distb:system PVC Pipe 3” dia | 899,602/- | ------ | 899,602/- |
| Total | 43,49,294/- | 20,50,000/- | 64,11,864/- |

(Cont; on page No:08)

(Page No:08)

Amount Total (a) + (b) Rs:___________________

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

Contractor 						 	EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVISION

JAMSHORO