BILL OF QUANTITIES

NAME OF WORK:-	 Water Supply Scheme Akro (Rehabilitation) U.C. Morho Jabal Taluka Kotri 			(District Jamshoro)

(A) 	Description and rate of item based on Composite schedule of Rates

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | GROUP ‘A’ P/L/J & TESTING D/MAIN 6” DIA |  |  |  |
| 01 | 281.25 Cft | Dismantling and removing road (G.S.I.NO; 5,P/14) | 605/- | P%cft | 1,702/- |
| 02 | 262.75 Cft | Dismantling brick work in lime or cement sand mortor (G.S.I.NO;13, /11) | 1285/63 | P%cft | 3,378/- |
| 03 | 135.00 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO;19( c)P/11) | 3327/50 | P%cft | 4,492/- |
| 04 | 227.00 Cft | Dismantling cement concrete plain (1:4:8)(G.S.INO;19( c)P/11) | 1663/75 | P%cft | 3,777/- |
| 05 | 2700.0 Cft | Excavation for pipe lines into trenches and pits in Soft soils i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 1, P/60) | 3600/- | P%0cft | 9,720/- |
| 06 | 2700.0 Cft | Excavation for pipe lines into trenches and pits in soft Rock i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 6, P/62) | 10770/- | P%0cft | 29,079/- |
| 07 | 4050.0 Cft | Excavation for pipe lines into trenches and pits in hard Rock Hammering i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 10, P/64) | 24150/- | P%0cft | 97,808/- |

(cont: on page No:02)

(Page No:02)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 08 |  | Providing G.I. Pipe of approved quality. (S.S.I.NO;1, P/12) |  |  |  |
|  | 40.00 Rft | 6” DIA | 818/86 | P/Rft | 32,754/- |
| 09 | 2 Nos: | Manufacturing installing with welding M.S. Flanged (P.H.S.I.NO;B,P/1 Part-D) | 1520/- | Each | 3,040/- |
| 10 | 2 Nos: | G.I. Fitting China .(P.H.S(M)I.NO;2, P/126) | 1900/- | Each | 3,800/- |
| 11 |  | Laying C.I/M.S. Pipe (S&S) flanged end fixing in trenches i/c Cutting fitting and testing (P.H.S.I.NO;B1, P/78) |  |  |  |
|  | 40.0 rft | 6” DIA | 11/64 | P/Rft | 466/- |
| 12 |  | Providing P.E. Pipe (P-N-8)160mm i/c fixing in trenches and cutting fitting i/c testing water etc complete (P.H.S.I.NO;F P/25) |  |  |  |
|  | 8200.0 Rft | 6” DIA | 440/- | P/Rft | 528,000/- |
| 13 |  | P.E. Specials ‘B’ Class test pressure 122 meter or 400’ft (S.O.P.H.(M) NO:B, P/47) |  |  |  |
|  | 2 Nos: | Elbow Bend 900 | 3480/- | Each | 6,960/- |
|  | 2 Nos: | Elbow Bend 450 | 2784/- | Each | 5,568/- |
| 14 |  | Air valve double acting( Local) (S.M.I.NO;8, P/12) |  |  |  |
|  | 1 No: | 6” DIA | 4000/- | Each | 4,000/- |
| 15 |  | Fire Hydrent tee 10” dia (Sch: M.I.NO;3, (b) P/16) |  |  |  |
|  | 1 No: | 6” DIA | 1375/- | Each | 1,375/- |
| 16 |  | C.I. Sluice valve heavy pattern test pressure 300 lbs/sq: inch (P.H.S.I.NO;M. 2,P/ 11) |  |  |  |
|  | 1 No; | 6” DIA | 9360/- | Each | 9,360/- |
| 17 | 1 No; | Providing chamber 3”x2” (915x615mm) inside dimension 4½”(1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt= 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick with 5 lbs steel per cft)9” (299 mm) thick brick masonary wall set in 1:6 cement mortar 6” (1152mm ) thick cement concrete 1:3:6 in foundation 1” thick cement concrete 1:2:4 flooring ½” (12.5mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S. foot beyond 2½” depth curring excavation back filling and disposal of surplus earth etc; complete (P.H.S.I.NO:1, P/49) | 18820/- | Each | 18,820/- |
| 18 | 2 Nos: | C.I. Short Piece (P.H.S.M.I.NO; P/ ) | 375/- | Each | 750/- |
| 19 | 4 Nos: | Butt Fusion Joint (P.H.S.M.I.NO;H, P/21) | 1000/- | Each | 4,000/- |
| 18 | 9320.40 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P%0cft | 25,724/- |
|  |  |  |  | Total | 794,573/- |

(Cont: on page 03)

(Page NO:03)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | GROUP ‘B’ P/L/J 6” DIA |  |  |  |
| 01 | 393.75 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO;19( c)P/10) | 3327/50 | P%cft | 13,102/- |
| 02 | 661.50 Cft | Dismantling cement concrete plain (1:4:8)(G.S.INO;19( c)P/11) | 1663/75 | P%cft | 11,006/- |
| 03 | 1926.0 Cft | Excavation for pipe lines into trenches and pits in Soft soils i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 1, P/60) | 3600/- | P%0cft | 6,934/- |
| 04 | 5963.00 Cft | Excavation for pipe lines into trenches and pits in Hard soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 5, P/61) | 3900/- | P%0cft | 23,256/- |
| 05 | 1491.00 Cft | Excavation for pipe lines into trenches and pits in hard Rock Hammering i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 10, P/64) | 24150/- | P%0cft | 36,008/- |
| 06 |  | Providing PVC pipe of class ‘B’ (equivalent make)fixing in trenches i/c cutting and jointing with “Z” joints with one rubber rings i/c testing with water to head of 61 meter or 200’ft. (P.H.S.I.NO;1,P/21) |  |  |  |
|  | 1325.00 Rft | 4” dia | 262/- | P/Rft | 347,150/- |
| 07 |  | P.V.C.’Z’ Jointing (P.H.S.O.M.I.NO;18, P/112) |  |  |  |
|  | 05 Nos: | i)PVC Bend 900 6” dia | 1913/- | Each | 9,565/- |
|  | 05 Nos: | ii)P.V.C.Socket 6” dia | 1575/- | Each | 7,875/- |
| 08 |  | C.I. Sluice valve heavy pattern test pressure 300 lbs/sq: inch (P.H.S.I.NO;M. 7,P/12) (Imported) |  |  |  |
|  | 1 No: | 6” dia | 9360/- | Each | 9,360/- |

(Cont: on page No:04)

(Page No:04)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 09 |  | C.I. Tail piece for PVC Pipe (P.H.S.(M)I.NO;9, P/16) |  |  |  |
|  | 2 Nos: | 6” dia | 618/75 | Each | 1,238/- |
|  | 6 Nos: | C.I. Jibault Joint 3” dia | 1062/50 | Each | 6,375/- |
| 10 |  | Supplying fixing Air valve |  |  |  |
|  | 1 No: | 6” dia | 4000/- | Each | 4,000/- |
| 11 | 1 No; | Fire Hydrent tee | 1375/- | Each | 1,375/- |
| 12 |  | Making joints to PVC. specials fitting (i/c laying specials and cost of sovent cement of required diameter and testing the joint along with the asbestos cement pressure pipe line to the specified pressure and making good to all leaky joints etc: complete.(P.H.S.I.NO:1, P/56) |  |  |  |
|  | 5 Nos: | 6” dia | 96/- | Each | 480/- |
| 13 |  | Jointing C.I/M.S flanged pipes and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the joints to the specified pressure etc: complete.(P.H.S.I.NO;1, P/35) |  |  |  |
|  | 8 Joints | 6” dia | 938/- | P/joint | 7,504/- |
| 14 | 9391.72 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P%0cft | 25,921/- |
| 15 | 2 Nos: | Providing chamber 3”x2” (915x615mm) inside dimension 4½”(1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt= 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick with 5 lbs steel per cft)9” (299 mm) thick brick masonary wall set in 1:6 cement mortar 6” (1152mm ) thick cement concrete 1:3:6 in foundation 1” thick cement concrete 1:2:4 flooring ½” (12.5mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S. foot beyond 2½” depth curring excavation back filling and disposal of surplus earth etc; complete (P.H.S.I.NO:1, P/49) | 18820/- | Each | 37,640/- |
|  |  |  |  | Total | 5,48,789/- |
|  |  | GROUP ‘C’ CONSTT: OF PUMP HOUSE SIZE (10’ x 12’) |  |  |  |
| 01 | 180.00 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in hard soil) (G.S.I.NO;18,. P/4) | 3554/33 | P%0cft | 640/- |
| 02 | 94.00 Cft | Cement concrete brick or stone ballast 1½” to 2” gauge Ratio 1:4:8) (G.S.I.NO;4(b)P/16) | 9416/28 | P%cft | 8,851/- |
| 03 | 165.00 Cft | Cement concrete plain including placing compacting finishing and curring complete including screening and washing of stone aggregate without shuttering (Ratio 1:2:4) (G.S.I.NO;5(c)P/05) | 12595/- | P%cft | 20,782/- |

(Cont: on page No:05)

(Page No:05)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 04 | 329.0 Sft | Errection and removal of centering for R.C.C or plain cement concrete works of deodar wood)2nd class)(for partal wood) (Vertical)(G.S.I.NO;19,(b) P/17) | 3127/41 | P%sft | 10,289/- |
| 05 | 172.00 Cft | Filling watering and ramming earth under floor with new earth (Excavated from out side)Lead upto one chain and lift upto 5’ft(G.S.I.NO;22, P/44) | 3630/- | P%0cft | 624/- |
| 06 | 312.00 Cft | Pacca brick work other than building i/c sticking of joint Upto joint upto 20’ height in (1:6) cement (G.S.I.5, P/20) | 12674/36 | P%cft | 39,544/- |
| 07 | 105.00 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering currying rendering and finishing the exposed surface)\ (including screening and washing of shingle)(a) R.C.C. Work in roof slab, beams, columns, rafts, lintels and other structural members laid in suite or precuts laid in position complete in all respect (i) Ratio 1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” gauge.(G.S.I.NO;6(a) (i)P/19) | 337/- | P/Cft | 35,385/- |
| 08 | 4.17 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars (G.S.I.NO;8(ii)P/24) | 5001/70 | P/Cwt | 20,857/- |
| 09 | 28.00 Sft | Making and fixing steel grated door with 1/16” thick sheeting i/c angle iron frame2”x2”x3/8” and ¾” square bars 4” center to center with locking arrangement (G.S.I.NO;28, P/97) | 726/72 | P/Sft | 20,348/- |
| 10 | 2.03 Cwt | Fabrication of heavy steel with angles tees (G.S.I.NO;2, P/91) | 4928/49 | P/Sft | 10,005/- |
| 11 | 2.03 Cwt | Erection and fitting in position of trusses staging of water tank etc: complete (G.S.I.NO;3, P/91) | 271/04 | P/Cwt | 550/- |
| 12 | 24.00 Sft | Supplying and fixing in position iron / steel grill of ¾” x ¼” size flate iron of approved design i/c painting 3 coats etc: complete (weight not to be less than 3.7 lbs/sq: feet of finished(G.S.I.NO:26, P/92) | 180/50 | P/Sft | 4,332/- |
| 13 | 120.0 Sft | Providing & laying 3” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panels(G.S.I.NO;16( c ) P/41) | 3275/50 | P%sft | 3,931/- |
| 14 | 454.00 Sft | Cement plaster (1:4) ½” thick upto 20’height (G.S.I.NO;11, P/41) | 2283/93 | P%sft | 10,369/- |
| 15 | 487.50 Sft | Cement pointing struck joint on wall (in cement mortar (1:3) (G.S.I.NO;19(ii)P/52) | 1213/58 | P%sft | 5,916/- |
| 16 | 633.00 Sft | White washing (2 coats) (G.S.I.NO;26, P/54) | 829/95 | P%sft | 5,254/- |
| 17 | 487.50 Sft | Colour washing (2 coats) (G.S.I.NO;25, P/54) | 859/90 | P%sft | 4,192/- |

(Cont: on page No:06)

(Page No:06)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 18 | 104.0 Sft | PAINTING NEW SURFACE Preparing surface and painting of doors and windows in any type (3 coats) (G.S.I.NO;5,P/68) | 2116/41 | P%sft | 2,201/- |
|  |  |  |  | Total | 204,070/- |
|  |  | GROUP ‘D’ P/L/J 3” DIA DISTB: SYSTEM |  |  |  |
| 01 | 450.00 Cft | Dismantling and removing road (G.S.I.NO; 5,P/14) | 605/- | P%cft | 2,723/- |
| 02 | 175.00 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO;19( c)P/11) | 3327/50 | P%cft | 5,823/- |
| 03 | 259.00 Cft | Dismantling cement concrete plain (1:4:8)(G.S.INO;19( c)P/11) | 1663/75 | P%cft | 4,309/- |
| 04 | 5566.0 Cft | Excavation for pipe lines into trenches and pits in Soft soils i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 1, P/60) | 3600/- | P%0cft | 20,033/- |
| 05 | 9000.0 Cft | Excavation for pipe lines into trenches and pits in soft Rock i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 6, P/62) | 10770/- | P%0cft | 96,930/- |
| 06 | 3000.0 Cft | Excavation for pipe lines into trenches and pits in hard Rock i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 10, P/64) | 24150/- | P%0cft | 72,450/- |
| 07 |  | Providing PVC pipe of class ‘B’ (equivalent make)fixing in trenches i/c cutting and jointing with “Z” joints with one rubber rings i/c testing with water to head of 61 meter or 200’ft. (P.H.S.I.NO;1,P/21) |  |  |  |
|  | 3000.0 Rft | 3” dia | 90/- | P/Rft | 270,000/- |
| 08 |  | P.V.C.’Z’ Jointing (P.H.S.O.M.I.NO;18, P/112) |  |  |  |
|  | 06 Nos: | i)PVC Bend 900 3” dia | 731/- | Each | 4,386/- |
|  | 08 Nos: | ii)Socket 3” dia | 405/- | Each | 3,240/- |
| 09 |  | C.I. Sluice valve heavy pattern test pressure 300 lbs/sq: inch (P.H.S.I.NO;M. 7,P/12) (Imported) |  |  |  |
|  | 4 Nos: | 3” dia | 4290/- | Each | 17,160/- |

(Cont: on page NO:07)

(Page No:07)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 10 |  | C.I. Tail piece for PVC Pipe (P.H.S.(M)I.NO;9, P/16) |  |  |  |
|  | 8 Nos: | 3” dia | 375/- | Each | 3,000/- |
|  | 6 Nos: | C.I. Jibault Joint 3” dia | 568/75 | Each | 3,413/- |
| 11 |  | Jointing C.I/M.S flanged pipes and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the joints to the specified pressure etc: complete.(P.H.S.I.NO;1, P/35) |  |  |  |
|  | 14 Joints | 3” dia | 499/- | P/Joint | 6,986/- |
| 12 |  | Making joints to PVC. specials fitting (i/c laying specials and cost of sovent cement of required diameter and testing the joint along with the asbestos cement pressure pipe line to the specified pressure and making good to all leaky joints etc: complete.(P.H.S.I.NO:1, P/56) |  |  |  |
|  | 8 Nos: | 3” dia | 59/- | Each | 472/- |
| 13 | 4 Nos: | Providing chamber 3”x2” (915x615mm) inside dimension 4½”(1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cast iron cover and frame (wt= 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick with 5 lbs steel per cft)9” (299 mm) thick brick masonary wall set in 1:6 cement mortar 6” (1152mm ) thick cement concrete 1:3:6 in foundation 1” thick cement concrete 1:2:4 flooring ½” (12.5mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S. foot beyond 2½” depth curring excavation back filling and disposal of surplus earth etc; complete (P.H.S.I.NO:1, P/49) | 18820/- | Each | 75,280/- |
| 14 | 16605.00 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P%0cft | 45,830/- |
|  |  |  |  | Total | 6,32,040/- |
|  |  | GROUP ‘E’ CONSTT: OF STORAGE TANK |  |  |  |
| 01 | 14040.0 Cft | Excavation for tanks and reservoirs in Soft soil i/c trimming and dressing sides to true lignment /design sections / profiles and shape leveling of beds of trenches to correct level and grade i/c laying of earth in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer incharge i/c providing fence guards lights flags where ever required lift upto 5’ft (1.52m) and lead upto one chain (30.50mm) (P.H.S.I.NO;1, P/67) | 3000/- | P%0cft | 42,120/- |

(Cont: on page no:08)

(Page No:08)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 02 | 28080.0 Cft | Excavation for tanks and reservoirs in all kind of soils mumum hard average or soil i/c trimming and dressing sides to true alignment /design sections / profiles and shape leveling of beds of trenches to correct level and grade i/c laying of earth in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer incharge i/c providing fence guards lights flags where ever required lift upto 5’ft (1.52m) and lead upto one chain (30.50mm) (P.H.S.I.NO;5, P/69) | 4050/- | P%0cft | 113,724/- |
| 03 | 28080.0 Cft | Excavation for tanks and reservoirs in soft rock by hammering and chi setting where blesting in not practicable is prohibited i/c trimming and dressing sides to true alignment /design sections / profiles and shape leveling of beds of trenches to correct level and grade i/c laying of earth in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer incharge i/c providing fence guards lights flags where ever required lift upto 5’ft (1.52m) and lead upto one chain (30.50mm) (P.H.S.I.NO;6, P/70) | 10170/- | P%0cft | 285,574/- |
| 04 | 14040.0 Cft | Excavation for tanks and reservoirs in hard rock i/c trimming and dressing sides to true alignment /design sections / profiles and shape leveling of beds of trenches to correct level and grade i/c laying of earth in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer incharge i/c providing fence guards lights flags where ever required lift upto 5’ft (1.52m) and lead upto one chain (30.50mm) (P.H.S.I.NO;10, P/72) | 23550/- | P%0cft | 330,642/- |
| 05 | 14040.0 Cft | Add: for additional lift of every three of. | 550/- | P%0cft | 7,722/- |
| 06 | 7020.0 Sft | Cement concrete brick or stone ballast 1½” to 2” guage (Ratio 1:4:8) (G.S.I.NO;4(b)P/15) | 9416/28 | P%sft | 661,022/- |
| 07 | 4455.00 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering(Ratio 1:2:4)(G.S.I.NO;5(h)p/15) | 14429/25 | P%cft | 642,823/- |
| 08 | 9187.0 Cft | Pacca brick work in foundation and plinth in cement sand mortor (1:4)(G.S.I.NO;4,P/20) | 11948/36 | P%cft | 10,97,696/- |
| 09 | 5757.0 Sft | Cement plaster (1:6) upto 12’ft height ½” thick (G.S.I.NO;11 ( c) P/52) | 2206/90 | P%sft | 127,034/- |
| 10 | 5757.0 Sft | Cement plaster (1:4) upto 12’ft height 3/8” thick (GSI.NO;9(a)P/58) | 2197/50 | P%sft | 126,511/- |
|  |  |  |  | Total | 34,34,869/- |

(Cont: on page NO:09)

(Page No:09)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
|  |  | GROUP ‘F’ P/I ELECTRIC MOTOR 15 BHP @ WATER WORKS |  |  |  |
| 01 | 1 Set | Supplying and installing i/c transportation to site of work at Akro electric pumping set 1450 RPM (Siemens) made 15 BHP Electric Motor 3 Phase 50 cycles 400/420volts with centrifugal pump type Nurum 65-200 Size 3” x 2½” mounted on common steel frame on base plate (capable of discharge 200 G.P.M against the required head of 100’ft i/c installed on cement concrete Ratio 1:2:4 M.S. nuts and bolts of 5/8” dia to be embedded in cement concrete foundation providing fixing MCU star delta starter (Siemens made) and providing internal electric wiring for main switch 3.7/0.44 PVC insulated wire 660 volts grade in 25 mm (i) buried on the ground at depth of 3.7m (12’ft) as per Pak PWD specifications and testing pumping set against the required head for 72 hours etc: complete. | 366040/- | P/Set | 366,040/- |
| 02 |  | Manufacturing supplying and fixing M.S. Pipe 6”x4” made out of M.S. sheet 3/16” thick cutting folding extremely and shape i/c welding etc: complete(R.A. A based on schedule item) |  | ` |  |
|  | 22.0 Rft | 34” dia for suction | 385/89 | P/Rft | 8,490/- |
|  | 39.0 Rft | 6” dia for delivery | 749/34 | P/Rft | 15,736/- |
| 03 |  | Manufacturing supplying M.S. flange 3”x4” of different dia made out of M.S. sheet of ½” various thickness i/c cutting drilling holes and welding Flange with M.S. Pipe etc: complete (R.A. A based on schedule item) |  |  |  |
|  | 04 Nos: | For 3” dia | 500/89 | Each | 2,004/- |
|  | 04 Nos: | For 6” dia | 804/77 | Each | 3,219/- |
| 04 |  | Supplying C.I. Reflex valve heavy pattern (test pressure 21 kg: sq: cm or 300 lbs sq: inch (S.I.NO;6, P/12) |  |  |  |
|  | 1 No: | 3” dia | 1543/75 | Each | 1,544/- |
| 05 |  | Supplying C.I. Sluice valve heavy pattern (Test pressure 21.kg: sq: cm or 300 lbs sq: inch (S.M.I.NO;06, P/9) |  |  |  |
|  | 1 No: | 3” dia | 4290/- | Each | 4,290/- |
| 06 | 0.86 CWT | Supplying C.I. Bend with flanged ends with holes i/c turning and facing of flanges for all size (S.M.I.NO;8, P/11) | 6096/- | P/Cwt | 5,242/- |
| 07 |  | Foot valve heavy pattern with flange gate (Imported)(S.M.I.NO;4, P/10) |  |  |  |
|  | 1 No: | 3” dia | 731/25 | Each | 731/- |

(Cont: on page No:10)

(Page No:10)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 |  |
| 08 | 0.40 Cwt | Supplying C.I. Tee flanged ends with holes i/c trimming facing of flange for all size (Sch: of Mat: No:11, P/.11) | 6096/- | P/Cwt | 2,438/- |
| 09 |  | Jointing C.I/M.S flanged pipes and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the joints to the specified pressure etc: complete.(P.H.S.I.NO;1, P/35) |  |  |  |
|  | 8 Joints | 3” dia | 499/- | P/Joint | 3,992/- |
|  | 4 Joints | 6” dia | 938/- | P/Joint | 3,752/- |
|  |  | Cost for 3 Nos: 3x418,748 = Rs:12,56,244/- |  | Total | 4,18,748/- |

A   B  S   T   R   A   C   T

| Group Name | Schedule Item | Non Schedule | Total |
| --- | --- | --- | --- |
| Group ‘A’ Delivery Main 6” dia P.E. Pipe | 794,573/- | ----- | 794,573/- |
| Group ‘B’ P/L/J/ PVC PIPE 6” DIA | 548,789/- | ----- | 548,789/- |
| Group ‘C’ Construction of Pump House | 204,070/- | ----- | 204,070/- |
| Group ‘D’ P/L/J PVC Pipe 3” dia Distribution system | 6,32,040/- | ----- | 6,32,040/- |
| Group ‘E’ Construction of Storage Tank | 34,34,869/- | ----- | 34,34,869/- |
| Group ‘F’ P/I P/Machinery 15 BHP (AT Water works) | 158,124/- | 10,98,120/- | 12,56,244/- |
| Total | 57,72,465/- | 10,98,120/- | 68,70,585/- |

Amount Total (a) + (b) Rs:___________________

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

Contractor 						 	EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVISION

JAMSHORO