## Judicial court Schedule B
| Name of Work | M/R OF JUDICIAL SESSION COURT COMPLEX AT CENTRAL PRISON KARACHI, (CIVIL WATER SUPPLY & SANITARY FITTING & MISC: WORKS)
| PART 'A' CIVIL WORK |  |  | Schedule B
S# | DESCRIPTION OF ITEM |  | QUANTITY |  | RATE | UNIT | Amount
1 | Dismentling CC plain ratio 1:2:4 (SI 19c/p.10)
|  |  | 427.25 |  | 3327.5 | %cft | 14216.7437
Rs: three thousand three hundred twenty seven & fifty only
2 | P/L 1" thick topping cement concrete 1:2:4 i/c surface finishing and dividing into panles ©2 " thick) (SI 16c/p.42)
|  |  | 2513.36 |  | 3275.5 | %sft | 82326
Rs: three thousand two hundred sevnty five & Ps fifty
3 | Dismentling glazed or encaustic tiles etc (SI 55/p.13
|  |  | 2513.36 |  | 786.5 | %sft | 19767.5764
Rs: seven hundred eighty six & Ps. Fifty only
4 | Dismentling cement block masonry (SI 14/p.10)
|  |  | 156 |  | 1134.38 | %cft | 1769.6328
Rs: one thousand one hundred thirty four & Ps thirty eight only
5 | P/L 1:3:6 cement concrete solid block masonary wall 6" and below in thickness set in 1:6 cement mortar in ground floor supr structure i/c racking out joints & curing etc complete (SI 24/p.19)
|  |  | 255 |  | 15771.01 | %cft | 40216.0755
Rs: fifteen thousand seven hundred seventy one Ps one
6 | White Glazed tile dado 1/4" thick jointed in white cement & laid over 1:2 cement sand mortar 3/4" thick i/c finishing (SI 37/p.45)
|  |  | 820 |  | 28253.61 | %sft | 231679.602
Rs: twenty eight thousand two hundred fifty three Ps sixty one
7 | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 ove 3/4" thick cement mortar 1:2 compelte (SI 24/p.43
|  |  | 225 |  | 27678.86 | %sft | 62277.435
Rs; twenty seven thousand six hundred seventy eight Ps eighty six
8 | P/F G.I frame/chwokats of size 7"x2" or 4-1/2"x3" for door using 20 gauge GI sheet i/c welded hinges and fixng at site with necessary hold fats filling with cement sand slurry of ratio 1:6 and reparing the jambs. The cost also i/c all carriage tools and plant used in making & fixing (SI 29/p.93)
|  |  | 201 |  | 228.9 | P.rft | 46008
Rs: two hundred twenty eight & Ps. Ninty
9 | P/F in position doors windows & ventilators of 1st class dedoar wood frames and 1-3/4" thick C/ply vaneer shutter of first class deodar skeleton (Hollow) and C/ply wood (3ply) on both sides i/c hold fats hinges iron tower bolts handles and cleats with cord and one mortic lock & hook (SI 9/p.58)
|  |  | 259 |  | 1227.36 | P.sft | 317886.24
Rs: one thousand two hundred twenty seven & Ps. Thirty six
10 | P/F aluminium sheet on doors pasted with glue as per requirement (SI 61/p.66)
|  |  | 100 |  | 63.77 | P.sft | 6377
Rs; sixty three & Ps. Seventy seven
11 | P/F with jute felt paper of 60Lbs over roof i/c cleaning of roof with wire brush an removing dust applying bitumen coat at the rate of 34Lbs per %sft as premix inter coats and tehn laying felt paper with 10% over laps then applying and spreading hill sand at the rate of 1cft for 100sft. The cost also i/c neesary fire material kerosen oil wood etc (SI 42/p.39)
|  |  | 2513.36 |  | 106.73 | P.sft | 268251
Rs: one hundred six & Ps. Seventy three
12 | Removing cement plaster or lime plaster (SI 53/p.13)
|  |  | 1428 |  | 121 | %sft | 1727.88
Rs: one hundred twenty one
13 | Applying floating coat of cement 1/32" thick (SI 14/p.53)
|  |  | 1428 |  | 660 | %sft | 9424.8
Rs: one thousand twenty nine & Ps. Five
14 | Cement plaster 1:4 upto 12ft height © 3/4" thick (SI 11c/p.52)
|  |  | 1428 |  | 3015.76 | %sft | 43065.0528
Rs: three thousand fifteen & Ps. Seventy six
15 | Distempering 2 coats (SI 24/p.54)
|  |  | 1764 |  | 1043.9 | %sft | 18414.396
Rs: one thousand forty three & Ps. Ninty
16 | Preparing the surface & painting with matt finish i/c rubbing the surface with bathy (silicon carbide rubbing brick 0 filing the voids with zink/ chalk/ plaster of paris mixture applying first coat premix making the surface smooth and then painting 3 cotas with matt finish of approved make etc compelte (new surface) (SI 36A/p.55)
|  |  | 3546 |  | 3444.38 | %sft | 122137.7148
Rs: three thousand four hundred forty four & Ps. Eighty three
17 | Preparing new surface(e) Preparing surface and painting of fillerts framing skiring pipes gutters similar liner work net exceeding 6" girth (SI 70/p.5e)
|  |  | 518 |  | 2116.41 | %sft | 10963.0038
Rs: two thousand one hundred sixteen & Ps. Forty one
18 | P/F colour crete to wall surface to provide durable crust and aesthetic having thickness upto 3/4" with specified colour having water fire and terimite resistance (upto 20ft height) SI 44/p.56)
|  |  | 1494 |  | 6319.5 | %sft | 94413.33
Rs; six thousand three hundred ninteen & Ps fifty
19 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge (Ratio 1:4:8) SI 4/p.15)
|  |  | 6465.5 |  | 9416.28 | %cft | 608809.5834
Rs: nine thousand four hundred sixteen & Ps. Twenty eight
20 | P/F precast edge block 3750 PSI industrial made size 6 inches thick x 12 inches long x12 inches high i/c the cost of cartage excavatin form work for haunching 1450 PSI lean concrete 2250 PSI concrete from hanching 1:4 cement sand mortor (SI 14/p.16) High way
|  |  | 310 |  | 297.01 | P.rft | 92073.1
Rs: two hundred ninty seven & Ps. Three
21 | P/F cement paving blocks flooring having size of 197x97x80(mm) of city/quddra/coble shape with pigmented having strngth b/w 5000 PSI to and laying in specified manner /pattern and design etc complete (SI 74/p.50)
|  |  | 12931 |  | 199.77 | P.sft | 2583225.87
Rs: two hundred forty eight & ps. Seventeen
22 | Earth work compaction (soft, ordinary or hard soil) (a) laying earth in 6" layers levelling & dressing complete (SI 13a/p.3
|  |  | 1612.5 |  | 263 | %ocft | 424
|  |  | Part A total |  |  |  | 4675455
Add diff cost of steel
Add diff cost of cement
Thatta at Karachi
Above / below
B | NON SCHEDULE ITEMS
1 | P/F false ceiling of gypsum fibre board i/c frame work of aluminum double channel section hanged with nails hooks wire to ceiling etc as directed by the consultant
|  |  | 1722 |  |  | p.sft
2 | P/L porcelain Master granite or spanish tiles glazed or matt glazed jointed in white cement and laid over 1:2 grey cement sand mortar 3/4" thick i/c finishing & filling of joints with slurry of white cement or tile grout in desired shape i/c cutting of tiles to proper profile (on floor or facing ) size 24"x24"x1/4"
|  |  | 3920.3 |  |  | P.sft
3 | Making of windows edge with cement plaster 3/4" thick smooth surface i/c new windows fixing at place.
|  |  | 200 |  |  | p.rft
4 | P/F lime or white stone tiles 8"x16" of approved quality on wall or floor as well as fcing jointed in white cement & pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning i/c cutting tiles to proper profile upto 20ft height as per instructin of the Engineer Incharge rate i/c all cost of labour matrial etc complete
|  |  | 664 |  |  | p.sft
5 | P/F graphito paint to wall surface to provide durable & anthestic surface having thickness between 1.6 -2 mm in specified colour / shade & working upto height of 90 ft using scafolding as directed by the Engineer Incharge
|  |  | 664 |  |  | P.sft
6 | P/F fibre glass shade with fibre glass sheet 2-3mm thick i/c necessary frame work of angle iron GI pipe & fixing sheet with screws in proper desgin & shape as directed by Engineer incharge
|  |  | 1050 |  |  | P.sft
7 | S/F in position aluminum channels framing for sliding windows & ventilators of lucky or equivalent made with 5mm thick tinted glass glazing (belgium) & aluminum fly screen handels stoppers & locking arrangement etc complete (b) delux model (bronze of champion color)
|  |  | 304 |  |  | P.sft
8 | M/f steel grated gate with MS channel/GI sheet/iron square bars of size 1-1/2"x1-1/2" at 3" C/c & 3"x1-1/4" bars at top & botom i/c fixing flat iron patti in required shape /design & locking arrangement & 2 coats of enamel paint after one coat of red oxide etc compelte as per instructin of Engineer
|  |  | 84 |  |  | P.sft
9 | P/F iron steel grill using solid square bars of size 1/2"x1/2" placed at 4" centre to centre in approved design & pattern i/c frame of flat iron patti of 1/4"x1/8" fixed with scres or pins & painting with two or required coats after first coat of red oxide. The cost i/c all cartage tools plants welding machineetc used in making as directed by the Engineer Incharge.
|  |  | 304 |  |  | P.sft
C | Water Supply & Sanitry fitting
1 | P/F orisa type white or colour glazed earthen ware WC pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requisite No of holes in wall plinth & floor and making good in cement concrete 1:2:4 (ii) WC pan orisa type 23" with plstic tank of low down 3 galon CI trap & CI thumble (Superior quality (ii) with 4" dia earthen ware trape & palstic thumble (SI 3a/p.2)
|  |  | 8 |  | 6166.6 | each | 49332.8
Rs: six thousand one hundred sixty six & Ps sixty
2 | P/F European white glazed earthen ware wash down WC pan complete with & i/c cost of white/black plastic seat (best quality) & lid with CP brass hinges and buffers 3 gallons white glazed earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisit No: of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Foreign quality) SI 5/p.2
|  |  | 4 |  | 11477.4 | Each | 45909.6
Rs: eleven thusand four hundred seventy seven & Ps. Forty
3 | P/F 24"x18" lavatory basin in white glazed earthen ware complete with & I/c the cost of WI or CI cantilever brackets 6" built into walls painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia malleable iron or CP brass taps malleable iron or brass union and making requisite No: of holes in walls plinth and floor for pipe connection and making good in CC 1:2:4 (Forign or equivalent) SI 10/p.3)
|  |  | 9 |  | 4928 | each | 59136
Rs: four thousand nine hundred twenty eight
4 | Add extra for labour for P/F of earthen ware pedestal white or coloured glazed (Foreign or equivalent ) SI 11/p.3)
|  |  | 9 |  | 2533.47 | each | 22801.23
Rs: two thousand five hundred thirty three Ps forty seven
5 | P/F 24"x18" bevelled edge mirror of Belgium glass compete with 1/8" thick hard board and CP scress fixed to woden please (b0 superiror quallity (SI 3b/p.7)
|  |  | 9 |  | 2376 | each | 21384
Rs; two thusand three hundred seventy six
6 | S/F fibre tank of approved quality & design & wall thickness as specified i/c cost of bolts & fixing in platefrom of cement concrete 1:3:6 & making concrete for inlet outlet & over flow inlet out let floor pipes and etc complete(SI 3d /p.21)
| a. 250 gl |  | 5 |  | 21989.61 | each | 109948.05
Rs; twenty one thousand nine hundred eighty nine Ps sixty one
| b. 350 gl |  | 1 |  | 30773.42 | each | 30773.42
Rs: thrity thousand seven hundred seventy three Ps forty two
7 | Providing chamber 15"x19" (inside diamentin) x24" deep for house meter with 6" thcik CC 1:3:6 blocks set on 1:6 cement mortor 6" thick CC 1:4:8 in foudnation 1/2" thick cement plaster 1;3 to all inside wall surface and to top 1" thcik CC 1:2:4 flooring complete with hinged cast iron cover & frame 15"9" (inside) clear opening (qt qr) etc fixed in cement concrete 1:2:4 i/c curing excavatin back filling & disposal of surplus arth etc compelte (SI 2/p.20)
|  |  | 18 |  | 5913.22 | each | 106437.96
Rs; five thousand nine hundred thirteen & Ps. Twenty two
8 | S/F bathroom accessories set (7 piece) i/c towel rod,brush holder soap tray shelf of approved design i/c cost of screws nuts etc complete (Master brand) SI 23/p.19)
|  |  | 1 |  | 10322.4 | Each | 10322.4
Rs; ten thousand three hundred twenty two Ps forty
9 | Providing RCC pipe with collars class B and digging the trenches to required depth & fixing in posiion i/c cutting fitting & jointing with maxphalt composition & cement mortor 1:1 & testing with water pressure to a head of 4ft above the top of the highest pipe & refilling with execavated staff (SI 2c/p.24) (c) 6" dia RCC pipe
|  |  | 266 |  | 199.25 | P.rft | 53000.5
Rs: one hundred ninty nine Ps twenty five
10 | Constt: of Main hole or inspection chamber for the req: dia of circular swer and 3"x6" (1067mm) depth with wall of BB in cement mortor 1:3 1/2" thick inside of walls and 1" (25mm) thick over benching and channel I/c fixing CI main hole cover with frame of clear opening 1-1/2"x1-1/2" (457x457mm) of 1.75cwt 88.9kg) embeded in plain Cc 1:2:4 and fixing 1" (25mm) MS step 6" (150mm) wide projecting 4" (102mm) from the face of wall at 12" (305mm)C/C duly painted etc. complete as per specification and drawing no: DP1a/p.39)PHD (a) 4" to 12" dia 2x2x3x6.0 with CI main hole cover (SI 1a/P.46) P.H.E.(14748 -7556.50 ) =7191.50
|  |  | 12 |  | 7191.5 | each | 86298
Rs; seven thousand one hundred ninty two
595343.96
Above /below
RCC pipe above/below
D | Non Schedule Items
1 | P/F U PVC floor trap 6x2X or 6x2" grade i/c cutting fitting with collars clamps & rubber slvent this i/c all i/c making holes in CC 1:2:4 testing pressure hed 200 ft etc compelte in all respect (RA)
|  |  | 18 |  |  | Each
2 | P/f U PVC pipe 1/2" dia (Pak arab i/c cutting making & jointing with solution paste with special all required fittings approved quality i/c all cost of labour upto height ground to 7th floor 80ft height as per directed by Enginer
|  |  | 216 |  |  | Prft
3 | P/f U PVC union 1/2" dia (Pak arab i/c cutting making & jointing with upto height ground to 7th floor 80ft height as per directed by Enginer
|  |  | 12 |  |  | Each
4 | P/f U PVC pipe 3/4" dia (Pak arab i/c cutting making & jointing with solution paste with special all required fittings approved quality i/c all cost of labour upto height ground to 7th floor 80ft height as per directed by Enginer
|  |  | 2106 |  |  | P.rft
5 | P/F U PVC handle valve 3/4" i/c cutting fitting fixing etc
|  |  | 12 |  |  | Each
6 | P/f U PVC pipe 1" dia (Pak arab i/c cutting making & jointing with solution paste with special all required fittings approved quality i/c all cost of labour upto height ground to 7th floor 80ft height as per directed by Enginer
|  |  | 720 |  |  | P.rft
7 | P/F U PVC pipe 4" i/c cutting making jointing with switch pest with special approved quality i/c all cost of labour as directed by the Engineer
|  |  | 56 |  |  | P.rft
8 | P/F 4" dia U PVC plug tee /Y tee of Pak arab of approved quality on wallupto height of 50ft with plastic clamp paid seprately this i/c making jointing with U PVC fitting by using approved pest solution (AGM) make etc complete as per instruction of the Engineer
|  |  | 10 |  |  | P.No.
9 | P/F 4" dia U PVC plain bend of Pak arab of approved quality on wallupto height of 50ft with plastic clamp paid seprately this i/c making jointing with U PVC fitting by using approved pest solution (AGM) make etc complete as per instruction of the Engineer
|  |  | 10 |  |  | P.No.
10 | P/F english commode set make porta USA approved quality make & design i/c with match of colour with existing tiles colour i/c three gallon flushing tank with P trap and waste pipe i/c finishing curing etc
|  |  | 1 |  |  | P.No.
11 | S/F of lavatory basin in approved matching colour of bath tiles fully glazed eathen ware complete i/c the cost of basin bracket hight quality brass waste and PVC waste pipe each 1-1/4" dia imported or as approved quality by the Executive incharge etc complete
|  |  | 1 |  |  | P.No.
12 | S/F indian earthen ware WC pan squatting type glazed i/c making required No: of holes in walls floor with thumble P-trap 23" size i/ fixing with all respect labour and necessry required material as directed by Engineer
|  |  | 1 |  |  | P.No.
13 | S/F tee stop cock of superior quality with CP head 1/2" dia 9USA claver make)
|  |  | 6 |  |  | P.No.
14 | P/F long bib cock master make i/c fixing fitting etc.
|  |  | 2 |  |  | P.No.
15 | S/F muslim shower (Master make) with duble bib cock approved quality
|  |  | 2 |  |  | P.No.
Total : D
E | Electric work
1 | Wiring for light or fan point with with 3/.029 PVC insulated wire in 20mm (3/4" channel patti on surface as required (SI 129/p.15)
|  |  | 85 |  | 910 | p.pts | 77350
Rs: nine hundred ten only
2 | Wiring for plut point with with 3/.029 PVC insulated wire in 20mm (3/4" channel patti on surface as required (SI 130/p.15)
|  |  | 45 |  | 742 | p.pts | 33390
Rs; seven hundred forty two
3 | P/F bake lit ceiling rose with two terminal (SI 228 /p.33)
|  |  | 85 |  | 72 | p.pts | 6120
Rs; seventy two
4 | P/L (Main or sub main PVC insulated with size 2-7/.036 (4mm2) copper conductor in 3/4" dia PVC conduit on surface (SI 4/p.1)
|  |  | 610 |  | 200 | P.mtr | 122000
Rs; two hundred
5 | P/F street light 400 watts (son-T) having IP classification with 400 W lamp chcok capacitor & internal wiring complete in all respect at the height with the help of Hydraulic crane as per site requirement & instruction (EI SI 168/p.26)
|  |  | 2 |  | 26330 | P.No. | 52660
Rs: twenty six thusand three hundred thirty
6 | Manufacturing P/F GI single arm duble arch as per site requirement instruction of EI with following specification GI pipe 2" 10 SWG 5ft long 2 Nos MS clamp with nuts bolts (SI 143/p.21)
|  |  | 18 |  | 1546 | P.No. | 27828
Rs: one thousand five hundred forty six
7 | P/F of street light 250 watts (HPMV) having IP 54 classification with 250W lamp chock capacitor & internal wiring complete in all respect at the height upto 31 ft as per site requirement & instructin of EI make of the above light as follow (SI 160/p.25)
|  |  | 8 |  | 8455 | P.No. | 67640
Rs: eight thousand four hundred fifty five
8 | P/F circuit breaker 6,10,15,20,30,40,50 & 63 Amps SP (TB-5S) on prepared board as required (SI 203/p.31)
|  |  | 24 |  | 916 | P.No. | 21984
Rs; nine hundred sixteen only
9 | P/F circuit breaker 6,10,15,20,30,40,50 & 63 Amps SP (TB-5S) on prepared board as required (SI 204/p.31)
|  |  | 6 |  | 2456 | P.No. | 14736
Rs: two thousand four hundred fifty six only
10 | P/F circuit breaker 15,20,30,40,50 & 60 Amps TP (XE-100CS) on prepared board as required (SI 206/p.31)
|  |  | 2 |  | 5521 | P.No. | 11042
Rs: five thousand five hundred twenty one
11 | P/F circuit breaker 15,20,30,40,50 & 60 Amps TP (XE-100NS) on prepared board as required (SI 207/p.31)
|  |  | 1 |  | 9261 | P.No. | 9261
Rs: nine thousand two hundred sixty one only
12 | P/L (Main or sub main) PVC insulated with size 4-7/.044(6mm2) copper conductor in 1-1/2" dia PVC conduit on surface (SI 33/p.5)
|  |  | 79 |  | 566 | P.Mtr | 44714
Rs: five hundred sixty six only
13 | P/L (Main or sub main) PVC insulated with size 2-7/.029(6mm2) copper conductor in 3/4" dia PVC conduit on surface (SI 3/p.1)
|  |  | 244 |  | 171 | P.Mtr | 41724
Rs: one hundred seventy one
14 | P/L (Main or sub main) PVC insulated with size 4-7/.064(6mm2) copper conductor in 1-1/2" dia PVC conduit on surface (SI 35/p.5)
|  |  | 129 |  | 1169 | P.Mtr | 150801
Rs: one thousand one hundred sixty nine only
681250
Above /below
Total :E
F | Non Schedule Items
1 | P/F energy saver superior quality i/c fixing on existing holder etc complete
|  |  | 75 |  |  | P.No.
2 | P/F switch 5 Amps with fancy type sheet i/c plastic board imported make etc complete
|  |  | 85 |  |  | P.No.
3 | P/F 2 pin 5 Amps plug socket with fancy type sheet imported make i/c plstic board with necessry electric connection etc complete
|  |  | 45 |  |  | P.No.
4 | P/F fan dimmer facny type imported make with necessary connection
|  |  | 10 |  |  | P.No.
5 | P/F ceiling fan 56" sweep approved quality i/c necessary connectin etc compelte
|  |  | 4 |  |  | P.No.
6 | P/F wall bracket fan 18" size i/c its necessary connection etc complete (Royal or Pak fan make)
|  |  | 6 |  |  | P.No.
7 | P/F 1-40 watt tube light complete with 40 watt 4"-0 long rod chcok sarter and putty with philips component i/c necessary electric connectin & fixing on wall / ceiling etc complete
|  |  | 10 |  |  | P.No.
8 | P/F SMDfalse ceiling light 1-0x1-0 LED 18 watts i/c cost of fitting material as instructin by Engineer Incharge
|  |  | 32 |  |  | Each
Total F
Summary
A | Civil Items |  |  |  |  | Rs:
B | Civil (NSI) |  |  |  |  | Rs:
C | W/S & S/F(SI) |  |  |  |  | Rs:
D | W/S & S/F (NSI) |  |  |  |  | Rs:
E | Electric work (SI) |  |  |  |  | Rs:
F | Electric work (NSI) |  |  |  |  | Rs:
Total
Terms & Conditions
1 | Any typographical erros in the Schedul B are subject to correct with the reference to the schedule of rates General item water supply & sanitary item 2012 in force from 12-7-2012 Publication No: 52 & 54 as approved by the standing rates committee Sindh Karachi.
2 | 100% well graded crushed bajri shall be used in item of RCC 1:2:4
3 | Water shall be arranged by the contrctor at site of work without any extra payment
4 | No premium shall be paid on non schedule item.
5 | No: cartage or any items of material either suplied by the Department or arranged by the contractor shall be paid.
6 | C.C.block shall be Machine made.
7 | All RCC/CC cast in situe shall be mechanically vibrated.
8 | Contractor has to bring samples of the material & handed to the Engineer Incharge free of cost.
9 | All Building debries & surplus stuff not req: for use and constructin shall be removed from the site the suitable disposal of by the contractor for which no extra cartage shall be paid
10 | The work will be carried out as per PWD specification.
| Contactor | Assistant Engineer |  |  |  | Executive Engineer
|  | Provincial Buildings Sub Divn-VI |  |  |  | Provincial Buildings Divn-II
|  |  | Karachi |  |  | Karachi