#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (03)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

PROVIDING / FIXING SUBMERSIBLE PUMP & BORING WORK IN VARIOUS MASAJID IN UC-06 SITE ZONE DMC (WEST).

| Estimated Construction Cost: | Rs. 10.00 Millions |
| --- | --- |
| Bid Security: - | Rs. 02% O/R |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 07 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION (WEST),

KARACHI

SUBJECT:	PROVIDING / FIXING SUBMERSIBLE PUMP & BORING WORK IN VARIOUS MASAJID IN UC-06 SITE ZONE

DMC (WEST)

Tender Reference No. 1(3) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling of Cement Concrete plain 1:2:4 laying etc. | 267 | 3327.50 | Three Thousand Three Hundred Twenty Seven & Fifty Paisa Only | %Cft | 8884/- |
| 2. | Ordinary distemper oil bound distemper or paint on walls | 36347 | 226.88 | Two Hundred Twenty Six & Eighty Eight Paisa Only | %Sft | 82173/- |
| 3. | P/L 1:3:6 cc soild block masnary wall 6" thick and below thickness set in 1:6 cement motor in ground floor superstructure i/c raking out joints and curing etc complete. | 165 | 14621.44 | Fourteen Thousand Six Hundred Twenty One & Forty Four Paisa Only | %Cft | 24125/- |
| 4. | Cement plaster 1:4 upto 20' height (1/2") | 1018 | 2283.93 | Two Thousand Two Hundred Eight Three & Ninety Three Paisa Only | %Sft | 23250/- |
| 5. | 1” thick battened doors and windows fitted in position complete with Iron Fittings without chowkhats | 987 | 583.67 | Five Hundred Eighty Three & Sixty Seven Paisa Only | P.Sft | 576082/- |
| 6. | P/F 1 ¼” deodar wood window shutter i/c providing / fixing 3mm plain glass with hindges tower bolts & etc in all respect | 2500 | Open Rate | - | - |  |
| 7. | Providing / Fixing wardrob 15”depth i/c shelf, shutters, drawers such as handle & locking arangement i/c P/F beading in all respect | 3080 | Open Rate | - | - |  |
| 8. | P/F iron grill using solid square bars of size 3/4"×3/4" flat iron pati 2"×¼i/c cost of all side welding i/c painting 3 coat etc complet | 85 | 194.16 | One Hundred Ninety Four & Sixteen Paisa Only | P.Sft | 16503/- |
| 9. | Making and fixing steel grated door with 1/16” sheeting i/c angle iron frame 2”×2”×3/8” and 3/4” square bar 4" center to center with locking arrangement. | 68 | 726.72 | Seven Hundred Twenty Six & Seventy Two Paisa Only | P.Sft | 49417/- |
| 10. | Distempering two Coat | 72315 | 1043.90 | One Thousand Forty Three & Ninety Paisa Only | %Sft | 754896/- |
| 11. | Painting Doors and windows any time (iii) First Class | 4705 | 657.91 | Six Hundred Fifty Seven & Ninety One Paisa Only | %Sft | 30955/- |

SIGNATURE & STAMP CONTRACTOR

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 12. | P/L UPVC Pressure pipe of Class D fixing in trench i/c cutting fitting and jointing with Z joint with one rubber ring i/c testing with water to a head 122 meter or 400ft 4”dia 1”dia ½”dia | 120 1500 200 | 400/- 44/- 28/- | Four Hundred Only Forty Four Only Twenty Eight Only | P.Rft P.Rft P.Rft | 48000/- 66000/- 5600/- |
| 13. | P/F 24"x18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I cantilever brackets 6" built into wall, painted white in two coat after a primary coat red lead paint, a pair of 1/2"dia rubber plug & chrome plated brass chain 1-1/4"dia malleable iron or c.p brass traps & i/c pedestal. | 10 Nos | 4253.70 | Four Thousand Two Hundred Fifty Three & Seventy Paisa Only | Each | 42537/- |
| 14. | W.C Pan of Not less than 23” clear opening between flushing tank with 4:dia C.I trape | 05 Nos | 5044.66 | Five Thousand Forty Four & Sixty Six Paisa Only | Each | 25223/- |
| 15. | P/F handle valves (China) | 20 Nos | 365.42 | Three Hundred Sixty Five & Forty Two Paisa Only | Each | 7308/- |
| 16. | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required color and appternm of SITE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor ¾” thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile | 2018 | 30509.77 | Thirty Thousand Five Hundred Nine & Seventy Seven Paisa Only | %Sft | 615687/- |
| 17. | S/F in position brass cocks (b) ½” dia brass bib cock standard pattern | 30 Nos | 337.92 | Three Hundred Thirty Seven & Ninety Two Paisa Only | Each | 10138/- |
| 18. | S/F Swan type pillar cock of superior quality single C.P head ½” dia | 12 Nos | 795.30 | Seven Hundred Ninety Five & Thirty Paisa Only | Each | 9455/- |
| 19. | Supplying and fixing fiber glass tank of approved quality and design and wall thickness as specified i/c cost of nut, bolts and fixing in plateform and making connections for in let & out let & over flow pipes etc complete 1500 gallons | 01 No | 80764.94 | Eighty Thousand Seven Hundred Sixty Four & Ninety Four Paisa Only | Each | 80765/- |

SIGNATURE & STAMP CONTRACTOR

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 20. | P/F 3/8" thick marble tiles of approved quality and colour and shade size 8"x4"/6"x4 in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortor 1:3 setting of tiles in slurry of white cement over mortar base i/c fillimg the joints and washing the tiels with white cement slurry, curring finishing cleaning and polishing etc complete | 2366 | 186.04 | One Hundred Eighty Six & Four Paisa Only | P.Sft | 440170/- |
| 21. | Applying chemical polishing on existing mosaic / marble flooring / dado including cleaning, grinding with carborandum stone / sand paper and applying chemical polish as per requirement | 2100 | 36.60 | Thirty Six & Sixty Paisa Only | P.Sft | 75684/- |
|  | PART B |  |  |  |  |  |
| 22. | Earth work of Excavation undressed lead upto single throw of Kassi Phwarah of shavel in ordinary siol . | 30000 | 1663.75 | One Thousand Six Hundred Sixty Three & Seventy Five Paisa Only | %0Cft | 49912/- |
| 23. | Cartage of 100 Cft 5 tons all materials like stone aggregate spwals lime surkhi BG rail fasting points crossing bridge guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood by trenches owned by the contractor withing 5 miles etc comp: | 24000 | 714.29 | Seven Hundred Fourteen & Twenty Nine Paisa Only | %Cft | 216528/- |
| 24. | P/L aggtt base course material over prepared sub-grade in conformity with lines, grades, thickness and typical cross section as shown in drawing for new pavements at grade/widening existing pavements using well graded granular crushed stone with sand silt having smooth gradations curve with in the limit for grading C or D as per AASHTO M-147-65 (1980) and compacting to 100% of the minium dry density according to AASHTO-180 method D using approved mechanical means of i/c watering with all lead and lift complete as per specification as directed by the Engineer Inch. | 24000 | 5542.24 | Five Thousand Five Hundred Forty Two & Twenty Four Paisa Only | %Cft | 1330138/- |

SIGNATURE & STAMP CONTRACTOR

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 25. | Providing 1” t hick (Consolidate) premix carpet in proper camber and grade i/c supplying 10/Cft bajri 4Cft hill sand of approved quality and grade bitumen of 80/100 Penetration i/c mixing in mechanical mixed is required proportion i/c heating matriot end cleaning the road surface (Hill sand 2cft for mixing and 2cft for destiny rate i/c all cost of material T&A and carriage up to 3 chain | 48000 | 4107.84 | Four Thousand One Hundred Seven & Eighty Four Paisa Only | %Sft | 1971763/- |
|  | PART C |  |  |  |  |  |
| 26. | Supply of Office Table 6’ x 4 ½’ including side racks with 8mm glass (Executive) | 01 No | Open Rate | - | - | - |
| 27. | Supply of Office Table 5 ½ x 3 ½” including side racks with 8mm glass (Executive) | 04 No | Open Rate | - | - | - |
| 28. | Supply of Executive Revolving Chair with best quality lather & foam | 01 No | Open Rate | - | - | - |
| 29. | Supply of Executive Revolving Chair (Can) with best quality | 04 Nos | Open Rate | - | - | - |
| 30. | Supply of Office Wooden Chair (Can) with best quality | 24 Nos | Open Rate | - | - | - |
| 31. | Supply of School Desk with approved design and make wooden with 2 seater frame best quality including polishing etc complete | 100 Nos | Open Rate | - | - | - |
| Total Amount |  |  |  |  |  | 65,61,193/+O/R |
| Say in Million |  |  |  |  |  | 10.00 Million |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   10.00 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| 2 | PART- (Item Based on O/R) | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs. _____________  (equivalent to 2% of bid amount) as per

NIT in shape of pay order bearing No._______________________ dated ____________ issued from_____________________________ Bank amounting to Rs.___________/- as per NIT.

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.