#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (02)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

PROVIDING / FIXING SUBMERSIBLE PUMP & BORING WORK IN VARIOUS MASAJID IN UC-06 SITE ZONE DMC (WEST).

| Estimated Construction Cost: | Rs. 6.8 Millions |
| --- | --- |
| Bid Security: - | Rs. 02% O/R |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 04 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION (WEST),

KARACHI

SUBJECT:	PROVIDING / FIXING SUBMERSIBLE PUMP & BORING WORK IN VARIOUS MASAJID IN UC-06 SITE ZONE

DMC (WEST)

Tender Reference No. 1(2) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Boring for tube well in all water bearing soils from depth 100.1 to 200ft or 30.51 meter below ground level i/c sinking and with drawing of casing pipe | 2000/Rft | 849/- | Eight Hundred & Forty Nine Only | P.Rft | 2377200/- |
| 2. | Supplying and installing PVC blind pipe ‘B’ class of approved design quality and make i/c necessary sockets etc complete | 2000/Rft | 338.90/- | Three Hundred Thirty Eight & Ninety Paisa Only | P.Rft | 677800/- |
| 3. | Supplying and installing PVC stainers ‘B’ class of approved design quality and make i/c necessary sockets etc complete | 140/Rft | 166.35/- | One Hundred Sixty Six & Thirty Five Paisa Only | P.Rft | 23289/- |
| 4. | Shrounding with graded bajri 3/8” to 1/8” or (9 to 3mm) in between bore and blind pipe for the following diameters of stainers Page No.45/13g | 2000/Rft | 193/- | One Hundred & Ninety Three Only | P.Rft | 386000/- |
| 5. | Providing laying UPVC pressure pipe of Class “D” equivalent make fixing in trench i/c cutting fitting and jointing with Z joint with one rubber ring i/c testing with water to a head 122 meter or 400ft | 5600/Rft | 27/- | Twenty Seven Only | P.Rft | 151200/- |
| 6. | Providing / Fixing Submersible Pump 3”dia forieng make fixing in 2”dia UPV Pipe i/c 2Core PVC insulated Cable i/c P/F panel board with all necessary fitting i.c connection from main line testing in all respect (Excluding the cost of cable & panel) | 14 Nos | O/R | - | Each | - |
| 7. | Providing and fixing 2 core 10mm insulated cable (Pakistan Cable) | 2800 Meter | O/R | - | Meter | - |
| 8. | Providing fixing 12x12 Panel Board including necessary fitting breaker, starter, etc Complete 01 job | 14 Nos | O/R | - | Each | - |
| Total Amount |  |  |  |  |  | 36,15,489/-O/R |
| Say in Million |  |  |  |  |  | 6.8 Million |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   6.8 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| 2 | PART- (Item Based on O/R) | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs. _____________  (equivalent to 2% of bid amount) as per

NIT in shape of pay order bearing No._______________________ dated ____________ issued from_____________________________ Bank amounting to Rs.___________/- as per NIT.

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.