#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (01)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

IMP / REHABILITATION OF SEWERAGE SYSTEM I/C LAYING OF CC FLOORING IN MUSLIMABAD, MISTARY KHAN VILLAGE & HASSAN OLIYA VILLAGE SITE ZONE DMC (WEST)

| Estimated Construction Cost: | Rs. 10.00 Millions |
| --- | --- |
| Bid Security: - | Rs. 02% O/R |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 05 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION (WEST),

KARACHI

SUBJECT:	IMP / REHABILITATION OF SEWERAGE SYSTEM I/C LAYING OF CC FLOORING IN MUSLIMABAD,

MISTARY KHAN VILLAGE & HASSAN OLIYA VILLAGE SITE ZONE DMC (WEST)

Tender Reference No. 1(1) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation of pipe line trenches pipe all kind of soil murum i/c trimming dressing leveling beds trenches correct level and graded cutting joints holes disposal of surplus earth with in 1 chains as directed by the Engg: Inch: P. fence guard lights flags temporary crossing non vehicler traffic where ever req: a lift upto 5 ft & lead up to 1 chain. | 18000/Cft | 4650/- | Four Thousand Six Hundred & Fifty Only | %0Cft | 83700/- |
| 2. | P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70 class II wall ‘B’ and fixing in trenches i/c cutting fitting jointing with rubber ring i/c testing with water to specified pressure 12″dia pipe 18″dia pipe | 1400/P.Rft 600/P.Rft | 412/- 618/- | Four Hundred & Twelve Only Six Hundred & Eighteen Only | P.Rft P.Rft | 576800/- 370800/- |
| 3. | Const of Main Holes 4 inside with Rcc covers 21″dia 3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC cost in situ 9″ thick wall and disposal of surplus stuff etc comp: | 80 No | 13028/- | Thirteen Thousand & Twenty Eight Only | Each | 1042240/- |
| 4. | Add or deduct for depth of man holes above or beyond 5 ft (RA). | 80/Rft | 2245/55 | Two Thousand Two Hundred Forty Five & Fifty Five Paisa Only | P.Rft | -179644/- |
| 5. | Refilling the excavated stuff in trenches 6″ thick layer i/c watering ramming to full compaction etc comp: | 16200/Cft | 2760/- | Two Thousand Seven Hundred & Sixty Only | %0Cft | 44712/- |
| 6. | Earth work of Excavation undressed lead upto single throw of Kassi Phwarah of shavel in ordinary siol . | 35090/Cft | 1663.75 | One Thousand Six Hundred Sixty Three & Seventy Five Paisa Only | %0Cft | 58381/- |
| 7. | Cartage of 100 Cft 5 tons all materials like stone aggregate spwals lime surkhi BG rail fasting points crossing bridge guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood by trenches owned by the contractor withing 10 miles etc comp: | 28072/Cft | 902.20 | Nine Hundred Two & Twenty Paisa Only | %Cft | 253266/- |

SIGNATURE & STAMP CONTRACTOR

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 8. | CC plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio 1:4:8 | 39930/Cft | 9416.28 | Nine Thousand Four Hundred Sixteen & Twenty Eight Paisa Only | %Cft | 3759921/- |  |
| 9. | P/L 2" thick toping cement concrete 1:2:4 i/c surface finishing and dividing into panels etc completed. | 121000/Sft | 3275.50 | Three Thousand Two Hundred Seventy Five & Fifty Paisa Only | %Sft | 3963355/- |  |
| Total Amount |  |  |  |  |  | 99,73,531/- |  |
| Say in Million |  |  |  |  |  | 10.00 Million |  |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   10.00 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs. _____________  (equivalent to 2% of bid amount) as per

NIT in shape of pay order bearing No._______________________ dated ____________ issued from_____________________________ Bank amounting to Rs.___________/- as per NIT.

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.