## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- Construction of Watch Tower and Installation of CC TV Camera at High Court Circuit Bench at Sukkur.
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
PART "A" SCHEDULE ITEM
1 | 582 | Excavation in foundation of building bridges and other structure including dressing refeling arround structure with excavated earth watering and ramming lead upto one chain and lift upto 5ft (b) in ordinary soil(C.S.I No:18 (b)P.5. | 3176.25 | %0Cft | 1848.5775
2 | 160 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:4:8 (C.S.I No: 4 (b) Page No:15) | 9416.28 | %Cft | 15066.048
3 | 25 | Pacca brick work in foundation and plinth in cement sand mortor ratio 1:6(C.S.I No:4 (e) P.21). | 11948.36 | %Cft | 2987.09
4 | 218 | Random ruble mosonary uncossed in cement sand mortor ratio 1:6 ( C.S.I No: 1 (d-iv) Page No: 27). | 17723 | %Cft | 38680
5 | 97 | Coursed ruble mosonary including hammer derssing in cement sand mortor 1:6 (C.S.I No: 2 (d-iv)Page No: 32). | 25321 | %Cft | 24561.37
6 |  | Rein forced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid sepretely this rate also includes all kinds of forms moulds:lifting shuttering curing rending and finishing the exposed surface (including screening and washing of shingle) (a) RC work in slabe bams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respects. (I)Ratio (1:2:4) 90 Lbs cement 2 Cft. sand 4 Cft . shingle 1/8" to 1/4" guage.(C.S.I No:6 A (1) P.17).
i) | 382 | G.Floor | 337 | P.Cft | 128808
ii) | 551 | 1St.Floor | 349.1 | P.Cft | 192207
ii) | 355 | 2nd.Floor | 361.2 | P.Cft | 128226
7 | 57.911 | Fabrication of Tor steel reinforecement for cement concrete including cutting bending and laying in position making joints and fastings including cost of binding wire also includes removal of rust from bars (C.S.I No:7 B P.20). | 5001.7 | P.Cwt | 289653
8 |  | Pacca brick work in ground floor in cement sand mortor ratio: (C.S.I No: 5 (e) Page No: 21)
i) | 388 | G.Floor | 12674.36 | %Cft | 49184
ii) | 441 | 1St.Floor | 13112.86 | %Cft | 57828
ii) | 239 | 2nd.Floor | 13687.74 | %Cft | 32714
9 | 1.071 | S/F T-Iron at the site of Work | 3575 | P.Cwt | 3830
10 | 54 | 1st class tiles roofing consisting of 4"earth and 1" mud plaster with leeping over 1/2"thick cement plaster 1:6 with 34 lbs of hot bitumen coating sand blinded provided over one layer of 12"x6"x1"1/4 tiles laid in 1"6 cement mortor icluding 1:2 cement pointing under neath of tiles complete including curing etc (C.S.I No:1 P.33). | 11443 | %Sft | 6179.22
11 | 528 | P/F Colour Crete into Walls Surface to provide Durable crust and Asthetic having thickness upto3/4" with specifiedcolour having water,fire and Termite Resistance.(Upto 20' Height) | 6319.5 | %Sft | 33366.96
12 |  | Cement plaster upto 20' height 1/2" thick rario 1:6 (C.S.I No: 13 (b)Page No: 52).
i) | 854 | 1St.Floor | 2347.57 | %Cft | 20046
ii) | 823 | 2nd.Floor | 2488.54 | %Cft | 20481
13 |  | Cement plaster upto 20' height 3/8" thick rario 1:4 (C.S.I No: 11 (a) Page No: 52).
i) | 854 | 1St.Floor | 2338.49 | %Cft | 19969
ii) | 823 | 2nd.Floor | 2479.46 | %Cft | 20406
14 | 173 | Providing and lying 2" thick topping cement concrete 1:2:4. Including surface finishing dividing into panels(C.S.I No:16 (c) P-42) . | 3275.5 | %Sft | 5666.615
15 | 34 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for door using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ration 1:6 and reparing the jambs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:29 P.93). | 228.9 | P.Rft | 7782.6
16 | 79 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for Windows using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ration 1:6 and reparing the jambs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:29 P.93). | 240.5 | P.Rft | 18999.5
17 | 71 | Fist class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. only shutter (CSI No. 7 (b) Page No. 58). | 903.92 | P.Sft | 64178.32
18 | 29 | Cement Concrete plain including placing compacting finishing and curing complete including screening complete and washing of stone agreegate without shuttring Ratio: 1:2:4. (C.S.I No. 5 (f) Page No:16) | 14429.25 | %Cft | 4184.4825
19 | 435 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and apttern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (C.S.I No:60 P-47) . | 30509.77 | %Sft | 132660
20 | 159 | Laying white marble flooring fine dressed in the surface without winging sate in lie mortor 1:2 including rubbing and polishing of the joints(C.S.I No:28 (a) P-43) . | 567.48 | P.Sft | 90195
21 | 93 | Providing and fixing 3/8" thick marble tiles of approved quality and coloum shade size 8" x 4/6" x 4" in dado skitring and facing removal / tucking of exiting plaster surface etc over 1/2" thick base of cement mortor 1:3 setting mortor base including filling the joints and washing of tiles wiht white cement slurry current finishing cleaning and polishing etc complete (for new work) (C.SI No: 68 (i) P-49). | 186.04 | P.Sft | 17209
22 | 337 | Primary coat of chalk under destember (C.S.I No:23 P-54). | 442.75 | %Sft | 1669
23 | 337 | Destember three coats (C.S.I No:24 (c) P-54). | 1079.65 | %Sft | 4070
24 | 178 | Painting new surface, and paiting of doors and windows any type (i/c edges) 3 coats (C.S.I No:4 (c) P-76). | 2116.41 | %Sft | 3767
|  |  | TOTAL :- |  | 1436229
PART "B" W/S & S/F
1 | 1 | Providing & fixing squating type white glazed of flushe cisten with internal fitting&flush pippe with bend and making requesite numbers of holes in wall plinth & floor for pipe conection & making good in cement concrete 1:2:4. W.C not less than 19" clear opening between flushing rims and 3 gallons flushing tank with4" dia C.I trap with C.I thumble. (S.I No:1 (b) i P-No:1) | 4802.6 | Each | 4802.6
2 | 1 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into wall, painted white in two coast after a primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or c.P brass traps malloable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection and making good in cement concrete 1: 2: 4 (Standard pattern). (S.I No:8 P-No:3). | 4253.7 | Each | 4253.7
3 | 1 | Add: extra labour for providing and fixing of earthen wire padestle whiute or colored glass standared pattern (S.I No:9 P-No:3). . | 938.47 | Each | 938.47
4 | 2 | P/F in position nyloon connections complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nyloon connection (S.I No:23 P-No:6). | 447.15 | Each | 894.3
5 | 20 | P/F 4"dia C.I soil and vent pipes including cutting and fitting and extra painting to match the colour of the building (S.I No:1 P-No:9). | 333.29 | P.Rft | 6665.8
6 |  | RCC pipe with colar class "B" and didding the traches to the required depth an fixing in positin I/c cutting fitting and jointing with max phalt composition and cemen mortor 1:1 and testing with water presure to head of 4 Ft aboe the top of the heigh
i) | 100 | 4"dia | 146.57 | P.Rft | 14657
ii) | 50 | 6"dia | 199.25 | P.Rft | 9962.5
7 | 1 | Providing & fixing 6" x 2" or 6" x 3" C.I floor trap of the approved selt cleaning design with a C.I scrrewed down gratting with or without a vent arm complete with & I/c making requisite number of holes in walls, plinth & floor for Pipe connections & making good cement concrete 1:2:4. (S.I No.. 20 Page No.3). | 2042.43 | P.Rft | 2042.43
8 |  | Providing G.I Pipes, specials, and clamps etc, including fixing cutting & fitting complete with and I/c the cost of breaking thorugh walls and roof, making good etc. painting two coats after cleaning the Pipe etc. with white zink paint with pigment to match the colour5 of the building and testing with water to a pressure head of 200 feet and handling. (SI No. 1 Page No.12)
i) | 100 | 1/2"dia | 73.21 | P.Rft | 7321
ii) | 100 | 3/4"dia | 95.79 | P.Rft | 9579
9 | 50 | Add : Extra labor for concealed G.I pipe and Fitting i/c making recess in the wall for pipe and making good in Cement motor etc Complete | 7.82 | P.Rft | 391
10 |  | Providing and fixing full way gun metal values with wheels threaded or flanged ends with rubber washing (b) standared pattern (Note standared Manufacture by M/S Anwar Mechnical works (S.I No:4 (b) P-No:17).
i) | 1 | 1/2"dia | 161.92 | Each | 161.92
ii) | 1 | 3/4 dia | 227.92 | Each | 227.92
11 | 2 | S/F concelled stop cock of superior quality with crystal head head 1/2" dia. (S.I No:13 (b) P-No:15). | 478.28 | Each | 956.56
12 | 1 | S/F long bib cock of crystal head with c.p head1/2" dia (S.I No:13 (b) P-No:19). | 1109.46 | Each | 1109.46
12 | 1 | S./F wash been mixture of superior quality with c.p head 1/2" dia with crystal head (S.I No:16 (b) P-No:15). | 2882 | Each | 2882
13 |  | P/F handle values (China) (S.I No:7 P-No:14).
i) | 1 | 3/4" dia | 271.92 | Each | 271.92
ii) | 1 | 1" dia | 365.42 | Each | 365.42
14 |  | Supplying & fixing fibre glass tank of approved quality and design and wall thicness as specified I/c cost of nutes, bolts and fixing in plateform of cement concerete 1: 3: 6 and makin connections for in -let ,& ou-let & over flow pipes etc. complete.
i) | 1 | 250 Gallons | 21989.61 | Each | 21989.61
15 |  | Providing PVC Pipes of class D equalvalent make) fixinbg in trench i/c cutting fitting and jointing with "Z" joint with one rubber Ring i/c testing with water to head of 122 metere or400ft. (S.I.No:3 Page No:23)
i) | 50 | 3" dia | 137 | R.Ft | 6850
ii) | 50 | 4" dia | 226 | R.Ft | 11300
16 | 1 | Constructiong manhole or inspectionchamb er for the required dia of circular sewer and 3'-6" (1067 mm) dpth with walls of BB in cement motor 1:3 cement plaster 1:3, 1/2' thick inside of walls and I" (25 mm) thick over benchingh and channel i/c fixing CI manhole cover with fram of clear opening 1-1/2' x 1., 1/2' (457x457 mm) of 1.75 Cwt. (88.9 Kg) embedded in plain C.C 1:2:4 and fixing I" (25 mm) dia M.S steps 6' (150 mm) waide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C.C dully painted etc. complete as per spacification and drawing (SI No. P Page No. 46). (PHE) | 14748 | Each | 14748
|  |  | TOTAL :- |  | 122370.61
Amount Total (CSR)
Part "A" |  | % Above / Below ____________ | Total Amount
Part "B" |  | % Above / Below ____________ | Total Amount
Total "A+B"
PART-C NON SCHEDULE ITEMS
1 | 58 | S/F Fixed Camera IR Cameras Model SCO-5083 made by ( Samsung) company. |  | Each
2 | 9 | S/F Fixed Cameras WDR Cameras Model SCO-500 (Samsung) Company. |  | Each
3 | 7 | S/F Lens Verifocal Lens 5-50m Model SLA-550D(Samsung) Company. |  | Each
4 | 10 | S/F PTZ Cammeras Weather Prof PTZ Dome Model SCP-2370 RH (Samsung) COmpany. |  | Each
5 | 4 | S/F DVRS 16 Channel DVR Model SRD-1676 D (Samsung) Company. |  | Each
6 | 2 | S/F Key Board Controller with 5" TFT Model SPC-6000 (Samsung) COmpany/. |  | Each
7 | 5 | S/F Lead 40" LCD Screen (Samsung) Company. |  | Each
8 | 1 | S/F UPS ( KVA) UPS Battery) (in works) Company. |  | Each
9 | 1 | S/F Stablizer 5 KVA Servo Motors (Stambmatic) Company. |  | Each
10 | 3 | S/F Aircondition with fitting (Mitsbushi) Company. |  | Each
11 | 60 | S/F Housing Out door water prof |  | Each
12 | 60 | S/F Brackets. |  | Each
13 | 1 | S/F Public Adderesing PA unit 5 zone Brnads TDA Microphone TDA Amplifier TDA Speakers Model TOVM 2120 RM 200 CS 304. |  | Each
14 | 8 | S/F Iron Pole with iron foundation Stright L-Shape . |  | Each
15 | 941 | S/F Fiber Coxxial dedicated power cable B.) Coaxial fiber & Electric cable splicing , pVC pipe labour & material , electric cable PVC pipe labour material |  | P.Rft
16 | 2500 | Service Head and Soft Digging |  | Each
17 | 1 | S/F Video Converter (Caaxial to Fiber Channel 1) |  | Each
i) | 2 | Chaneel 4 |  | Each
ii) | 3 | Chaneel 8 |  | Each
iii) | 2 | Chaneel 16 |  | Each
18 | 6 | S/F J.B (06) |  | Each
19 | 64 | S/F Power Supply Box |  | Each
20 | 64 | S/F Power Supply for Cammeras |  | Each
21 | 1 | S/F Auto Cut of Circuit (Universal) |  | Each
22 | 2 | S/F Stablizer |  | Each
23 | 1 | S/F Stablizer for AC for 1st year free & 2nd year (Fixed Cameras PTZ Cameras DVRS) |  | Each
24 | 32 | S/F Steel Railing @ the site of work etc complete |  | Each
TOTAL :-
Total (b) in words & figures
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR

## Schedule (2)
BILL OF QUANTITIES
Discription and Rate of Items based on Market (Offered Rates)
NAME OF WORK :- REHABILITATION OF THQ HOSPITAL TALUKA PANO AKIL.
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
1 | 1 | P/F piston pump set 1 H.P single phase 220 valts with 1/1/4" x 1/1/4" suction and delivery (Local made ) (Electric) |  | Each
TOTAL :-
Total (b) in words & figures
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR