## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- Construction of Administration Block & Guest House @ Sukkur Gymkhana Sukkur (Remaining Work).
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
PART "A" SCHEDULE ITEM
1 | 4272 | Excavation in foundation of building bridges and other structure including dressing refeling arround structure with excavated earth watering and ramming lead upto one chain and lift upto 5ft (b) in ordinary soil(C.S.I No:18 (b)P.5. | 3176.25 | %0Cft | 13568.94
2 | 2380 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:4:8 (C.S.I No: 4 (b) Page No:15) | 9416.28 | %Cft | 224107.464
3 | 3633 | Rein forced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid sepretely this rate also includes all kinds of forms moulds:lifting shuttering curing rending and finishing the exposed surface (including screening and washing of shingle) (a) RC work in slabe bams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respects. (I)Ratio (1:2:4) 90 Lbs cement 2 Cft. sand 4 Cft . shingle 1/8" to 1/4" guage.(C.S.I No:6 A (1) P.17). | 337 | P.Cft | 1224321
4 | 194.625 | Fabrication of Tor steel reinforecement for cement concrete including cutting bending and laying in position making joints and fastings including cost of binding wire also includes removal of rust from bars (C.S.I No:8 B P.17). | 5001.7 | P.Cwt | 973455.8625
5 | 7552 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and apttern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (C.S.I No:60 P-47) . | 30509.77 | %Sft | 2304097.8304
6 | 7431 | Supplying & Fixing false ceeling of plaster paris, in panels including making farme work of deodar wood including painting with soligia paint (C.SI No: 52 P-64). | 25293.42 | %Sft | 1879554.0402
7 | 4661 | Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with pigmented, having strength b/w 5000 psi to 8500 psi I/c filling the joints with hill sand and laying in specified manner/ pattern and design etc: complete. (CSI No. 72 Page No. 49). | 223.97 | P.Sft | 1043924.17
8 | 1998 | Suppling and fixing in position iron steel grill of 3/4"x 1/4" size flate iron of approved design I/c painting three coats etccomplete weightg not less than 3.7 lbs of finshed grill (C.S.I No:26 P.93). | 180.5 | P.Sft | 360639
9 | 9453 | Primary coat of chalk under destember (C.S.I No:23 P-54). | 442.75 | %Sft | 41853.1575
10 | 9453 | Destember three coats (C.S.I No:24 (c) P-54). | 1079.65 | %Sft | 102059.3145
11 | 19791 | Praparing the surface and painting with matt finish i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/ chalj/ plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coat with matt finish of aproved make etc complet (New Surface) Three Coat. (CSI No. 36 (C) Page No. 55). | 3444.38 | %Sft | 681677.2458
12 | 868 | Supplying & fixing in position aluminuim channels framing for hanged doors or alcop made with 5 mm thick tinted glass glazing (Belguim) and alpha Japan locks i/c handels stoppers etc deluxe model (Bronze) (C.S.I No. 83 (b) P-108). | 1507.66 | P.Sft | 1308648.88
13 | 396 | Pacca brick work in foundation and plinth in cement sand mortor ratio 1:6(C.S.I No:4 (e) P.21). | 11948.36 | %Cft | 47315.5056
14 | 2740 | Filling watering and raming earth in floor with surplus from foundation lead upto one chain and lift upto 5ft. (C.S.I No: 21 P.4). | 1512.5 | %0Cft | 4144.25
15 | 2514 | Filling watering and raming earth under floor with new earth excavated from outside lead upto on chain and lift upto 5ft. (C.S.I No: 22 P.4). | 3630 | %0Cft | 9125.82
16 | 2514 | Extra lead upto 5 miles | 714.29 | %Cft | 17957.2506
17 | 2714 | Pacca brick work in ground floor in cement sand mortor ratio: (C.S.I No: 5 (e) Page No: 21) | 12674.36 | %Cft | 343982.1304
18 | 144 | Supplying and fixing in position Aluminium channels framing for sliding windows and ventilators of alco made with 5 mm thick tinted glass glazing (Belgium) & Aluminium glass Glazing (Blgium) & Aluminium fly screen I/c handles stoppers locking arrangement etc complete Deluxe model (Blonze) (C.S.I No:84 (b) P-108). | 1647.69 | P.Sft | 237267.36
19 | 7151 | Cement plaster upto 20' height 1/2" thick rario 1:6 (C.S.I No: 13 (b)Page No: 52). | 2206.6 | %Sft | 157793.966
20 | 7151 | Cement plaster upto 20' height 3/8" thick rario 1:4 (C.S.I No: 11 (a) Page No: 52). | 2197.52 | %Sft | 157144.6552
21 | 165 | Cement Concrete plain including placing compacting finishing and curing complete including screening complete and washing of stone agreegate without shuttring Ratio: 1:2:4. (C.S.I No. 5 (f) Page No:16) | 14429.25 | %Cft | 23808.2625
22 | 100 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for door using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ration 1:6 and reparing the jambs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:29 P.93). | 228.9 | P.Rft | 22890
23 | 130 | First class deodar wood wrought joinery in doors and windos etcfied inosition I/c in chwoakts holds fasts hings iron tower bolts chowks cleats handles and cards with hooks etc Deodar paneled or paned are fully glazed 1/3/4"only shutter (C.S.I No:7 (b) P.58). | 902.93 | P.Sft | 117380.9
24 | 435 | Laying white marble flooring fine dressed in the surface without winging sate in lie mortor 1:2 including rubbing and polishing of the joints(C.S.I No:28 (a) P-43) . | 567.48 | P.Sft | 246853.8
25 | 152 | Providing and fixing 3/8" thick marble tiles of approved quality and coloum shade size 8" x 4/6" x 4" in dado skitring and facing removal / tucking of exiting plaster surface etc over 1/2" thick base of cement mortor 1:3 setting mortor base including filling the joints and washing of tiles wiht white cement slurry current finishing cleaning and polishing etc complete (for new work) (C.SI No: 68 (i) P-49). | 186.04 | P.Sft | 28278.08
26 | 1736 | Providing and lying 2" thick topping cement concrete 1:2:4. Including surface finishing dividing into panels(C.S.I No:16 (c) P-42) . | 3275.5 | %Sft | 56862.68
27 | 1736 | Two coats of bitumen laid hot using 34"Lbs for 100sft over roof and blinded with sand at 1Sft per 100sft (C.S.I No:13 P.35). | 1887.4 | %Sft | 32765.264
28 | 3455 | Praparing the surface and painting with matt finish i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/ chalj/ plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coat with matt finish of aproved make etc complet (New Surface) Three Coat. (CSI No. 36 (C) Page No. 55). | 3444.38 | %Sft | 119003.329
29 | 3696 | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. Three coats (CSI No. 38 (c) P. No. 56) | 2567.95 | %Sft | 94911.432
30 | 260 | Painting new surface, and paiting of doors and windows any type (i/c edges) 3 coats (C.S.I No:4 (c) P-76). | 2116.41 | %Sft | 5502.666
31 | 224 | Providing and fixing deodar Almirah 9"-12" depth including boxing with back shalves shutters rass fitting complete. (C.S.I No:23 P.61). | 1778.5 | P.Sft | 398384
|  |  | TOTAL :- |  | 12279278.2562
PART "B" SCHEDULE ITEMS
1 | 250 | P/F 4"dia C.I soil and vent pipes including cutting and fitting and extra painting to match the colour of the building (S.I No:1 P-No:9). | 333.29 | P.Rft | 83322.5
2 |  | RCC pipe with colar class "B" and didding the traches to the required depth an fixing in positin I/c cutting fitting and jointing with max phalt composition and cemen mortor 1:1 and testing with water presure to head of 4 Ft aboe the top of the heigh
| 300 | 4"dia | 146.57 | P.Rft | 43971
| 300 | 6"dia | 199.25 | P.Rft | 59775
| 300 | 9"dia | 250 | P.Rft | 75000
3 |  | Providing G.I Pipes, specials, and clamps etc, including fixing cutting & fitting complete with and I/c the cost of breaking thorugh walls and roof, making good etc. painting two coats after cleaning the Pipe etc. with white zink paint with pigment to match the colour5 of the building and testing with water to a pressure head of 200 feet and handling. (SI No. 1 Page No.12)
I | 400 | 1/2"dia | 73.21 | P.Rft | 29284
ii | 250 | 3/4"dia | 95.79 | P.Rft | 23947.5
iii | 100 | 1"dia | 128.55 | P.Rft | 12855
vi | 150 | 1-1/4" dia | 153.19 | P.Rft | 22978.5
4 |  | Add : Extra labor for concealed G.I pipe and Fitting i/c making recess in the wall for pipe and making good in Cement motor etc Complete
| 50 | 1/2" dia | 7.82 | P.Rft | 391
| 50 | 3/4" dia | 8.45 | P.Rft | 422.5
|  |  | TOTAL :- |  | 351947
PART "C" SCHEDULE ITEMS
1 |  | Providing PVC Pipes of class D equalvalent make) fixinbg in trench i/c cutting fitting and jointing with "Z" joint with one rubber Ring i/c testing with water to head of 122 metere or400ft. (S.I.No:3 Page No:23)
| 500 | 4"dia | 137 | P.Rft | 68500
| 500 | 6"dia | 226 | P.Rft | 113000
| 600 | 10"dia | 1375 | P.Rft | 825000
2 | 18 | Constructiong manhole or inspectionchamb er for the required dia of circular sewer and 3'-6" (1067 mm) dpth with walls of BB in cement motor 1:3 cement plaster 1:3, 1/2' thick inside of walls and I" (25 mm) thick over benchingh and channel i/c fixing CI manhole cover with fram of clear opening 1-1/2' x 1., 1/2' (457x457 mm) of 1.75 Cwt. (88.9 Kg) embedded in plain C.C 1:2:4 and fixing I" (25 mm) dia M.S steps 6' (150 mm) waide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C.C dully painted etc. complete as per spacification and drawing (SI No. P Page No. 46). (PHE) | 14748 | Each | 265464 | 1271964
|  |  | TOTAL :- |  | 1271964 |  | 1623911
Part "A" |  | % Above / Below ____________ | Total Amount
Part "B" |  | % Above / Below ____________ | Total Amount
Part "C" |  | % Above / Below ____________ | Total Amount
Total "A+B"
PART-C NON SCHEDULE ITEMS
1 | 17 | P/F europeon type camode |  | Each
2 | 11 | P/F Wash basin of coloured glazed |  | Each
3 | 2 | S/F W.C set of superior quality (Porta) |  | Each
4 | 2 | S/F kitchen bowel of stainless fullguage of superior quality of Hi-land make. |  | Each
5 | 2 | S/F sink mixture of steel superior quality |  | Each
6 | 11 | S/F Bath Room set with wall shower bib cock, Tea stop cock, wash basin mixture wash basin jalli, nyloon connection complete set made by Germany. |  | Each
7 | 11 | S/F Bath Room set of 5 pieces |  | Each
8 | 1 | P/F piston pump set 1 H.P single phase 220 valts with 1/1/4" x 1/1/4" suction and delivery (Local made ) (Electric) |  | Each
9 | 8 | P/F long bib cock 1/2" dia |  | Each
10 | 6 | P/F Muslim Shower |  | Each
11 | 2700 | Providing and laying Guttca brick facing 2 1/4" x 9" x 2 1/4" size of approved design set in cement sand mortor 1:3 i/c filling the joints with white cement slutty using colour pigment for matching, i/c levelling smooth finishing, curring and scaffolding etc complete as per specification and directed by the Engineer Incharge. |  | P.Sft
12 | 630 | Teak wood flooring 1" thick required size on two layers of wood flooring i/c iron spring for Squash Court completed. |  | P.Sft
13 | 8 | Supplying sofa five seat full upholstered with best quality foam with approved by officer incharge. |  | P.Set
14 | 5 | Supplying table set consist on one table and two side table size centre table 4'-0x2'-0 and size table 2'-ox20". |  | P.Set
15 | 10 | Suppying rugs (centre peice) carper woolen size 4.0x8.0 |  | Each
16 | 1 | Supplying Dinning table with chairs for top sheesham wood i/c polish fine quality and design approved by officer incharge. |  | Each
17 | 30 | Supplying easy chair seat cushioned back wooden frame all made of solid sheesham wood matt polish finish.approved by officer incharge. |  | Each
18 | 4 | S/F Double bed Set fancy approved by Engineer Incharge |  | Each
19 | 4 | S/F Single bed Set fancy approved by Engineer Incharge |  | Each
20 | 14 | Supply of Air Condition Superior Quality 1.50 Ton made by Mitsubishi |  | Each
21 | 8 | Supply of LED 40" Made by Samsubng Company |  | Each
22 | 14 | Supply of Stablizer 10000 Watts for Air Condition |  | Each
23 | 40 | Supplying squash court fixed chairs with bolts and all fitting |  | Each
TOTAL :-
Total (b) in words & figures
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR

## Schedule (2)
BILL OF QUANTITIES
Discription and Rate of Items based on Market (Offered Rates)
NAME OF WORK :- REHABILITATION OF THQ HOSPITAL TALUKA PANO AKIL.
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
1 | 1 | P/F piston pump set 1 H.P single phase 220 valts with 1/1/4" x 1/1/4" suction and delivery (Local made ) (Electric) |  | Each
TOTAL :-
Total (b) in words & figures
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR