## SUMMARY (3)
BILL OF QUANTITIES
OF
CONSTRUCTION OF SCHOOL
AT
GGPS MUNAWAR MASJID (418010221)
SUMMARY OF BID
|  | Cost of Items | Premium Quoted by Contractor (CIVIL WORKS ONLY) | Amount quoted of Non-Scheduled items | Total Cost
|  | Items (Rs.) |  |  | (Rs.)
NEW WORK
Civil Works
| Schedule Item | 6480647.9959 |  |  | 10849105.4559
| Non Schedule Item | 4368457.46
Plumbing Works
| Schedule Item | 110925.74 |  |  | 668481.74
| Non Schedule Item | 557556
Electrical Works
| Schedule Item | 63475 |  |  | 147091
| Non Schedule Item | 83616
REHABILITATION WORK
Civil Works
| Schedule Item | 454993.7598 |  |  | 5905420.6348
| Non Schedule Item | 5450426.875
Plumbing Works
| Schedule Item | 113491.4375 |  |  | 113491.4375
Non Schedule Item
Electrical Works
| Schedule Item | 71370 |  |  | 106510
| Non Schedule Item | 35140
| TOTAL |  |  |  | 17790100.2682

## Rehabil( est)
BILL OF QUANTITIES
OF
REHABILITION OF SCHOOL
AT
GGPS MUNAWAR MASJID (418010221)
N.B: | These items and their rates given in the are based on Schedule Rate 2012 of Govt. of Sindh. However Rates of Non-Schedule Items and Premium are to be filled by the Contractor .
1) SCHEDULE OF ITEM (A)
S.No | Description of Item | Unit | Qty | Rate | Amount
(Rs.)
1 | Providing and laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on bed of 3/4" thick cement mortar 1:2, complete in all respect as per drawing and specification or as directed by the engineer.
| Floors (S.I. No. 25/P-42). | %Sft | 160 | 27747.06 | 44395.296
2 | Supply & fixing glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick including finishing Dado (S.I. No. 38/P-44). | %Sft | 560 | 28299.3 | 158476.08
3 | Providing and laying cement sand plaster in walls and ceiling including applying nero. Mixing and applying mortar to perfect line & level as per drawings, specifications (S.I. No. 11 & 13/P-51).
| b. In walls 1/2" inches thick (1:4) (Internal Plaster)) | %Sft | 893.75 | 2283.93 | 20412.6244
4 | Providing and laying topping cement concrete (1:2:4) including surface finishing and dividing into panels (S.I. No. 16(c)/P-41).
| a. 2" thick (Under Floor) | %Sft | 2620 | 3275.5 | 85818.1
5 | Preparing the surface and painting with weather coat including rubbing the surface with rubbing brick / sand paper filling the voids with chalk / plaster of paris and then painting with weather coat of approved make. 3 coats (S.I No. (B) 38/P-55). | %Sft | 5681.25 | 2567.95 | 145891.6594
|  |  |  | TOTAL= | 454993.7598
B | PLUMBING
1 | Providing and fixing orisa type white or color glazed earthen ware w.c pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requiste numbers of holes in walls , plinth & floor and making good in cement concrete 1:2:4 W.C pan orisa type 23" with plastic tank of low down 3 gallons C.I trap & C.I thumble (Superior Quality ) With 4" dia. earthen ware trap and plastic thumble (S.No 3 / P-2 ) | Each | 6.25 | 6166.6 | 38541.25
2 | Supplying & fixing soap tray of made of plastic of superior quality and design with fine finishing with c.p screws etc complete (S.I. No.6/P-8). | Each | 6.25 | 169.4 | 1058.75
3 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with and including the cost of W.I or C.I cantilever brackets 6 inches built into wall, painted white in to two coats after a primary coat of red lead paint , a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or c.p brass traps malloable iron or brass unions and making requiste number of holes in wall plinth & floor for pipe connection and making good in cement concrete 1:2:4 (Standard pattern ) (S.No 8 / P-3 ) | Each | 6.25 | 4253.9 | 26586.875
4 | Add extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed (S.No 9 / P-3 ) | Each | 6.25 | 938.47 | 5865.4375
5 | Providing & fixing C.P muslim shower with double bib cock & ring pipe (S.I. No.19(a)/P-19). | Each | 6.25 | 3432 | 21450
6 | (b) S/Fixing long bib-cock of superior quality with c.p head 1/2" dia (S.I. No. 13(a)/P-19).
|  | Each | 2.5 | 1109.46 | 2773.65
7 | Providing & fixing full way gun metal values with wheels threaded or flanged ends with rubber washing (S.I. No.6(A)/P-17)
| (v) 1-1/2" dia | Each | 2.5 | 695.42 | 1738.55
| (vii) 2" dia | Each | 2.5 | 956.12 | 2390.3
8 | Providing & fixing 1/2" dia, lead connection complete with a 1/2" dia brass stop cock, two brass nuts & lining jointed to lead pipe with plumber wiped solder joints 1/2" inches lead pipe to be of not less than 4lbs per lineal yard (S.I. No. 22/P-6). | Each | 6.25 | 689.7 | 4310.625
9 | (b) S/Fixing concealed Tee stop cock of superior quality with c.p head 1/2" dia (S.I.No. 14(A)/P-18).
|  | Each | 8 | 1097 | 8776
TOTAL= |  |  |  |  | 113491.4375
C | ELECTRIFICATION
1 | Providing & fixing one way SP 5 amp switch flush type on metal board & covered with plastic sheet (S.No-219, Pg-33). | No | 13 | 54 | 702
2 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.No.124, Pg-15). | Point | 4 | 1130 | 4520
3 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduit recessed required in the wall or column as required including 1mm2 PVC insulated wire as ECC as required (S.No.126, Pg-15). | Point | 56 | 985 | 55160
4 | Providing & fixing one way SP 5 amp switch flush type on metal board & covered with plastic sheet (S.No-219, Pg-33). | No | 77 | 54 | 4158
5 | Providing & fixing two pin 5 amp plug & socket switch flush type on metal board & covered with plastic sheet (S.No-222, Pg-33). | No | 13 | 83 | 1079
6 | Providing & fixing three pin 5 amp plug & socket switch flush type on metal board & covered with plastic sheet (S.No-226, Pg-33). | No | 13 | 151 | 1963
7 | Providing & fixing bakelite / plastic ceiling rose with two terminals (S.No-228, Pg-33). | No | 4 | 72 | 288
8 | Providing & fixing brass / PVC batten holder superior quality (S.No-232, Pg-33). | No | 50 | 70 | 3500
TOTAL = |  |  |  |  | 71370
2) NON - SCHEDULE OF ITEM
A | CIVIL WORKS
1 | Screeding on Roof with Rubber lining and bitumen while also maintaining the slope of the roof for concrete spouts. | Sft | 1180 | 202 | 238360
2 | Cracks repair on wall , col, beam stair etc. | Sft | 812.5 | 150 | 121875
3 | Scratch and finish the roof surface and make base for new paint using prime coat and distemper the surface with maximum of two coats. | Sft | 3848.75 | 84 | 323295
4 | Scratch the rough paint of the wall and make the surface smooth and make ground by filling filler or prime coat or any other filling material and prepare a smooth surface. After preparing the surface paint it with matt finish paint (two coats) only. | Sft | 11041.25 | 91 | 1004753.75
5 | Painting door by first making the surface smooth and filling it with filler and after making the surface two coats of paint as required by engineer in charge. | P.Sft | 455 | 64 | 29120
6 | Painting windows by first making the surface smooth with filler and later two coats of paint as required by engineer in charge. | P.Sft | 740 | 64 | 47360
7 | Window grill painting. Cleaning existing grill with steel brush and sand paper to surface get smooth. Applying red oxide one coat and later two coats of enamel paint. | P.Sft | 855 | 24 | 20520
8 | Extension of Boundary Wall to a height of 9' as per the method given in rehabilitation drawings. | P.Rft | 437.5 | 1817 | 794937.5
9 | Dampnees in wall is treated by pouring damp proof course (as item # 5 of rehabilitation drawing) by filling after chiseling along the width of wall using a mixture of Cement, Coarse Sand, Pea Gravel and Pudlo in ratio 1:1-1/2:3 as per direction given in rehabilitation sheet and as per direction of engineer in charge. | Sft | 2371.875 | 131 | 310715.625
10 | Plaster after erosion of clear cover:- Plastering the eroded surface in one layer or two with a ratio of 1:3 (Cement : Sand). Applying zinc rich and SBR work in as per direction given as 1st rehabilitation drawing (01). For further construction detail refer to the site supervision or design consultant if required. | Sft | 750 | 131 | 98250
11 | Plaster after dampness for 2.5' height plastering will be done by first weeking the entire surface rough and its plastering the _________. | Sft | 750 | 42 | 31500
12 | Porcelain tile will be laid with plastic sheet for water proofing at base. Details of layer are given in rehabilitation sheet (see fixing 13&14, detail # 7 & drawing no 2). | Sft | 6543.75 | 282 | 1845337.5
13 | Room skirting of proceline tile by first remove, or surface rough and fixing skirting long mortar and. | Sft | 825 | 186 | 153450
14 | Doors repair will be done by having the same design as for existing door as per direction of engineer in charge. | Sft | 157.5 | 275 | 43312.5
15 | Windows repair will be done by having the same design as for other existing windows as per direction of engineer in charge. | Sft | 420 | 275 | 115500
16 | Window new grill providing & fixing new grill of design as given in drawing. Fixing to wall. | Sft | 240 | 538 | 129120
17 | Window grill painting cleaning existing grill with steel brush and sand paper will the surface get smooth. Applying red oxide one coat and later two coats of raced enamel paint. | Sft | 855 | 24 | 20520
18 | Chajja erosion repairing same procedure as for plaster repair for erosion as given in Chajja erosion. | Sft | 875 | 140 | 122500
TOTAL = |  |  |  |  | 5450426.875
C | ELECTRICAL WORKS
1 | Providing and fixing 25 watt saver lamp Philips quality or equivalent as approved by Engineer in charge | No | 50 | 280 | 14000
2 | Providing & fixing ceiling fan 56" good quality (Royal/ Pak/ Millat or equivalent as directed by Engineer) | No | 4 | 3980 | 15920
3 | Providing and fixing 6 Amps Piano fan dimmer fixed on plastic or fiber top cover sheet on 14 SWG metal board recessed in the wall and column including connection as required. | No | 6 | 333 | 1998
4 | Providing and fixing 4 1/2" x 4 1/2" MS dia casted powder coated recessed type fan clamp box with 3/8" dia MS bar fan clamp fixed on roof at casting time as required. | No | 4 | 318 | 1272
5 | Concealed switch board base with switch board of switch kid or equivalent | No | 13 | 150 | 1950
TOTAL = |  |  |  |  | 35140

## Rehabil (m.s)
MEASUREMENT SHEET OF REHABILATION
|  |  | Building 2 |  |  |  | Building 3 |  |  |  | Building4
S.No | Description | Unit | Room 1 | Room 2 | Room 3 | C=2 | Room 1 | Room 2 | Room 3 | C=3 | Room 1 | Room 2 | corridor | Wash room | Total
A | CIVIL
1 | Distemper Coat | Sft | 245 | 245 | 245 | 180 | 288 | 288 | 288 | 368 | 288 | 288 | 228 | 128 | 3848.75
2 | Matt finish | Sft | 693 | 693 | 693 | 792 | 770 | 770 | 770 | 1188 | 748 | 748 | 968 |  | 11041.25
3 | Weather Coat | Sft | 2400 |  |  |  | 2145 | [7 empty] | 5681.25
4 | External Plaster | Sft | [12 empty] | 0
5 | Internal Plaster | Sft |  | 715 | [10 empty] | 893.75
6 | Ceiling Plaster | Sft | [12 empty] | 0
7 | Internal Plaster ( Seepage DPC ) | Sft | 162.5 | 162.5 | 162.5 | 360 |  |  |  | 270 | 170 | 170 | 440 |  | 2371.875
9 | Screeding plus water proof on roof | Sft | [7 empty] | 368 | 288 | 288 |  |  | 1180
10 | Cracks repair on wall , col, beam stair etc. | Sft |  |  |  |  | 150 | 150 | 150 |  | 100 | 100 |  |  | 812.5
11 | Patches on roof | Sft | 200 | 200 | 200 | [9 empty] | 750
14 | 1:2:4 ratio 2" thick flooring | Sft |  |  |  |  | 288 | 288 | 288 | 368 | 288 | 288 | 288 |  | 2620
15 | Porcelin tile on existing floor | Sft | 245 | 245 | 245 | 180 | 288 | 2800 | 288 | 368 | 288 | 288 |  |  | 6543.75
16 | Dismentling of existing tile | Sft | [12 empty] | 0
17 | skirting | Sft | 50 | 50 | 50 | 36 | 58 | 58 | 58 | 75 | 75 | 75 | 75 |  | 825
18 | Marble on stair | Sft |  | 21.25 | [10 empty] | 26.5625
20 | Window and ventilator chowkhat | Rft | [11 empty] | 8 | 10
21 | New door including chowkhat | Sft | [8 empty] | 21 | 21 |  | 105 | 183.75
25 | Door palla repair | Sft | 21 | 21 | 21 |  | 21 | 21 | 21 | [5 empty] | 157.5
26 | Window & vent. palla repair | Sft | 32 | 32 | 32 |  | 36 | 52 | 36 |  | 48 | 48 |  | 20 | 420
28 | New Steel Grill | Sft | [7 empty] | 192 |  |  |  |  | 240
29 | Painting of doors | Sft | 42 | 42 | 42 |  | 42 | 42 | 42 | 112 |  |  |  |  | 455
30 | Painting of widows & ventilators | Sft | 64 | 64 | 64 |  | 72 | 72 | 72 |  | 92 | 92 |  |  | 740
| GRILL REPAIR |  |  |  |  | 96 | 36 | 36 | 36 |  | 48 | 48 |  |  | 375
31 | Enamel paint on grill | Sft |  |  |  | 96 | 36 | 36 | 36 | 192 | 48 | 48 | 192 |  | 855
35 | Glaze tile | Sft | [11 empty] | 128 | 160
36 | Dado tile | Sft | [11 empty] | 448 | 560
40 | Blackboard repair and paint | Each | [8 empty] | 1 | 1 |  |  | 2.5
41 | angle iron with barbed wire | Rft | [12 empty] | 0
42 | cemented tiles | Sft | [12 empty] | 0
43 | 1:3:6 plain C.C bed | Cft | [12 empty] | 0
44 | polyrthene sheet | Sft | [12 empty] | 0
45 | 1:10 concrete | Cft | [12 empty] | 0
46 | stone filling | Cft | [12 empty] | 0
47 | new earth outside | Cft | [12 empty] | 0
48 | Rubber lining | Sft | [12 empty] | 0
49 | chajja erosion | Sft |  |  |  | 200 |  |  |  | 300 | 100 | 100 |  |  | 875
46 | boundary wall | Rft | 350 | [11 empty] | 437.5
B | PLUMBING | [13 empty] | 0
1 | W.C | Each | [11 empty] | 5 | 6.25
2 | Flash tank | Each | [11 empty] | 5 | 6.25
3 | Floor trap | Each | [11 empty] | 5 | 6.25
4 | Soap tray | Each | [11 empty] | 5 | 6.25
5 | wash basin | Each | [11 empty] | 5 | 6.25
6 | Pedestal | Each | [11 empty] | 5 | 6.25
7 | Muslim Shower | Each | [11 empty] | 5 | 6.25
8 | Bib Cock | Each | [11 empty] | 2 | 2.5
9 | Gun metal Valve | Each | [11 empty] | 2 | 2.5
10 | TAP | Each | [11 empty] | 5 | 6.25
11 | LEAD CONNECTION | Each | [11 empty] | 5 | 6.25
C | ELECTRIFICATION | [13 empty] | 0
1 | Saver | Each | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 6 | 6 |  | 50
2 | Fans | Each |  |  |  | 2 | 2 | [7 empty] | 4
3 | Dimmer | Each | [8 empty] | 3 | 3 |  |  | 6
4 | Switch board | Each | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 2 |  | 13
5 | Wirring point for fan | Point |  |  |  | 2 | 2 | [7 empty] | 4
6 | Wirring point for plug | Point |  |  |  | 4 | 4 | 4 | 4 | 4 | 15 | 15 | 6 |  | 56
7 | Switches | No | 6 | 6 | 6 | 7 | 6 | 6 | 6 | 8 | 8 | 8 | 10 |  | 77
8 | 2 pin switch | No | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 2 |  | 13
| 3 pin switch | No | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 2 |  | 13
9 | Ceiling rose | No |  |  |  | 2 | 2 | [7 empty] | 4
10 | fan clamp | No |  |  |  | 2 | 2 | [7 empty] | 4
11 | holder | No | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 6 | 6 |  | 50

## N.W.C(M.S)
MEASUREMENT SHEET OF NEW WORK
S.No | Description | Unit | building 1 | 6 class room | 3 Wash room+ filter | Corridor | OHWT | walk way | Main gate | Septic Tank | Stair Case | TOTAL
1 | Excavation | Cft |  | 2250 | 844 |  |  |  | 100 | 500 |  | 4432.8
2 | Lean 1:4:8 | Cft |  | 225 | 84 |  |  |  | 20 | 50 |  | 454.8
3 | New earth outside | Cft |  | 3828 | 480 | 1200 |  | 2700 |  |  |  | 9849.6
4 | Concrete 1:1.5:3 | Cft |  | 2808 | 800 |  | 260 |  | 300 | 200 | 110 | 5373.6
5 | Steel reinforcement | Cwt |  | 168 | 48 |  | 20 |  | 20 | 15 | 10 | 337.2
6 | 1:2:4 ( 2" thick flooring) | Sft |  | 1914 | 240 | 600 |  | 2700 |  |  |  | 6544.8
7 | Poly thene sheet | Sft |  | 1914 | 240 | 600 | [5 empty] | 3304.8
8 | 1:3:6 ( conc) | Sft |  | 478.5 | 60 | 200 |  | 675 |  |  |  | 1696.2
9 | Stone filling | Cft |  | 960 | 120 | 120 | [5 empty] | 1440
10 | Block masonry | Cft |  | 2478 | 560 | 144 | [5 empty] | 3818.4
11 | New door | Sft |  | 147 | 96 | [6 empty] | 291.6
12 | New window & ventilator | Sft |  | 432 | 24 | [6 empty] | 547.2
13 | Steel grill | Sft |  | 288 | 24 | 72 | [5 empty] | 460.8
14 | Painting on door | Sft |  | 294 | 216 | [6 empty] | 612
15 | Painting on window / ventilator | Sft |  | 648 | 54 | [6 empty] | 842.4
16 | Porcelin tile | Sft |  | 1914 |  | 600 | [5 empty] | 3016.8
17 | skirting | Sft |  | 222 |  | 120 | [5 empty] | 410.4
18 | Marble on stair | Sft |  |  |  | 242 |  |  |  |  | 350 | 710.4
19 | Glaze tile | Sft |  |  | 140 | [6 empty] | 168
20 | Dado tile | Sft |  |  | 600 | [6 empty] | 720
21 | External plaster | Sft |  | 5712 | 1200 | 60 | 710 |  | 1000 |  |  | 10418.4
22 | Internal plaster | Sft |  | 5000 | 1240 |  |  |  |  | 350 |  | 7908
23 | Ceiling plaster | Sft |  | 1914 | 280 | [6 empty] | 2632.8
24 | Matt finish | Sft |  | 5000 | 1240 | [6 empty] | 7488
25 | Weather Coat | Sft |  | 5712 | 1200 | 60 | 525 |  | 300 |  |  | 9356.4
26 | Distemper | Sft |  | 1914 | 280 | [6 empty] | 2632.8
27 | 3" th roofing plus water proofing | Sft |  | 1914 | 280 | [6 empty] | 2632.8
28 | DPC | Sft |  | 360 | 100 |  |  |  | 20 |  |  | 576
29 | Spout | Each |  | 12 | 2 | [6 empty] | 16.8
30 | Mortice lock | Each |  | 6 | 4 | [6 empty] | 12
31 | 1:10 concrete | Cft |  | 478.5 | 60 | [6 empty] | 646.2
32 | Anti termite on existing wall | Sft |  | 1500 | 804 | [6 empty] | 2764.8
33 | boring | Rft |  | 250 | [7 empty] | 300
34 | Sub base | Cft | [5 empty] | 2700 |  |  |  | 3240
35 | cemented tiles | Sft | [5 empty] | 2700 |  |  |  | 3240
36 | new red soil | Cft | [5 empty] | 1380 |  |  |  | 1656
37 | barb wire ( angle iron ) | Rft | 600 | [8 empty] | 720
38 | Dismentaling roof | Cft | 1598 | [8 empty] | 1917.6
39 | Dismentaling door | No | 10 | [8 empty] | 12
40 | Dismentaling window/vent | No | 15 | [8 empty] | 18
41 | Dismentaling floor | Cft | 399 | [8 empty] | 478.8
42 | Dismentaling walls | Cft | 1800 | [8 empty] | 2160
43 | Steel gate | Sft | [6 empty] | 288 |  |  | 345.6
44 | Enamel paint on grill | Sft |  | 576 |  |  |  |  | 576 |  |  | 1382.4
B | PLUMBING
1 | lead connection | Each |  |  | 2 | [6 empty] | 2
2 | nylon connection | Each |  |  | 2 | [6 empty] | 2
3 | 4" M.S clamp | Each |  |  | 10 | [6 empty] | 10
4 | 3" M.S clamp | Each |  |  | 10 | [6 empty] | 10
5 | Tee cock | Each |  |  | 4 | [6 empty] | 4
6 | Bib Cock | Each |  |  | 4 | [6 empty] | 4
7 | W.C | Each |  |  | 3 | [6 empty] | 3
8 | wash basin | Each |  |  | 3 | [6 empty] | 3
9 | Pedestal | Each |  |  | 3 | [6 empty] | 3
10 | Gully trap | Each |  |  | 1 | [6 empty] | 1
11 | man hole | Each |  |  | 1 | [6 empty] | 1
12 | Soap tray | Each |  |  | 3 | [6 empty] | 3
13 | Muslim Shower | Each |  |  | 3 | [6 empty] | 3
14 | ball valve | Each |  |  | 2 | [6 empty] | 2
15 | Gun metal Valve | Each |  |  | 2 | [6 empty] | 2
16 | chamber | Each |  |  | 1 | [6 empty] | 1
NON
17 | 3/4" dia | Rft |  |  | 50 | [6 empty] | 50
18 | 1" dia | Rft |  |  | 100 | [6 empty] | 100
19 | 2" dia | Rft |  |  | 100 | [6 empty] | 100
20 | 4" dia | Rft |  |  | 100 | [6 empty] | 100
21 | 3" dia | Rft |  |  | 100 | [6 empty] | 100
22 | Floor trap | Each |  |  | 7 | [6 empty] | 7
23 | 8" | Rft |  |  | 250 | [6 empty] | 250
C | ELECTRIFICATION
1 | Saver | Each |  | 24 | 7 | 3 | [5 empty] | 34
2 | Fans | Each |  | 16 | [7 empty] | 16
3 | Dimmer | Each |  | 16 | [7 empty] | 16
4 | Switch board | Each |  | 4 | 1 | 1 | [5 empty] | 6
5 | Wirring point for fan | Point |  | 16 | [7 empty] | 16
6 | Wirring point for plug | Point |  | 24 | 10 | 3 | [5 empty] | 37
7 | Switches | No |  | 40 | 20 | 10 | [5 empty] | 70
8 | 2 pin switch | No |  | 4 | 2 | 1 | [5 empty] | 7
9 | 3 pin switch | No |  | 4 | 2 | 1 | [5 empty] | 7
10 | Ceiling rose | No |  | 16 | [7 empty] | 16
11 | fan clamp | No |  | 16 | [7 empty] | 16
12 | Batten holder | No |  | 24 | 7 | 3 | [5 empty] | 34

## CIVIL EST
BILL OF QUANTITIES
OF
CONSTRUCTION OF SCHOOL
AT
GGPS MUNAWAR MASJID (418010221)
N.B: | These items and their rates given in the are based on Schedule Rate 2012 of Govt. of Sindh. However Rates of Non-Schedule Items and Premium are to be filled by the Contractor .
1) SCHEDULE OF ITEM (A), CIVIL WORKS
S.No | Description of Item | Unit | Qty | Rate | Amount
(Rs.)
1 | Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead up to 5ft (S.I. No. 18 (b)/P-4) (for foundation)
| (a) In Ordinary Soil | %oCft | 4432.8 | 3176.25 | 14079.681
2 | Cement concrete plain including placing compacting, finishing and curing, complete (includingscreening and washing of stone aggregate without shuttering).
| (a) Ratio 1:4:8 (S.I. No. 5(i)/P-15). | %Cft | 454.8 | 11288.75 | 51341.235
3 | Filling, watering and ramming earth under floor with new earth excavated from outside lead upto the one chain and lift upto 5 ft.(S.I. No. 22/P-4). | %oCft | 9849.6 | 3630 | 35754.048
4 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finsihing the exposed surface .
a) R.C work in roof slab, beams columns rafts,lintels and other structural members laid in situ or precast laid in position complete in all respects.
| (I) Ratio (1:1 1/2:3) or more 90 Lbs cement 2 Cft sand 4 Cft. Shingle 1/8" to 1/4" guage.must have cylinder strength >3750psi (S.I. No.6(a)(ii)/P-16). | P.Cft | 5373.6 | 349 | 1875386.4
5 | Providing and laying topping cement concrete (1:2:4) including surface finishing and dividing into panels (S.I. No. 16(c)/P-41).
| a. 2" thick (Under Floor) | %Sft | 6544.8 | 3275.5 | 214374.924
6 | Providing and laying single layer of polythene sheet 0.13mm thick for water proofing as per specification and instructions of Engineer incharge. (S.I. No. 38/P-37). | P.Sft | 3304.8 | 10.7 | 35361.36
7 | Cement concrete plain including placing compacting, finishing and curing, complete (includingscreening and washing of stone aggregate without shuttering). Ratio (1:3:6 ) (SNo.5 h / P - 15 ) | %Cft | 1696.2 | 12595 | 213636.39
8 | Providing and Laying stone or spawl filling on level (S.I No. 28(b)/P-31). | %Cft | 1440 | 563.86 | 8119.584
9 | Providing & laying 1:3:6 cement concrete solid block masonary wall 6" and below in thickness set in 1:6 cement mortar in ground floor superstructure including raking out joints & curing etc complete (S.I. No. 24/P-18). | %Cft | 3818.4 | 15771.01 | 602200.2458
10 | Supply & fixing first class deodar wood wrought joinery in doors and windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts, chock cleats, handles and cords with hooks, etc, Deodar paneled or paneled and glazed or fully glazed, complete in all respects as per specifications and drawings (S.I. No. 7/P-57).
| b. 1-3/4" thick | P.Sft | 838.8 | 1273.76 | 1068429.888
11 | Preparing surface and painting of doors and windows any type.(including Edges)(S.I. No. 5c/P-68,69).
| (i) Priming coat | %Sft | 1454.4 | 862.95 | 12550.7448
| (ii) Two coat of paint | %Sft | 1454.4 | 626.73 | 9115.1611
12 | Providing and laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on bed of 3/4" thick cement mortar 1:2, complete in all respect as per drawing and specification or as directed by the engineer.
| Floors (S.I. No. 25/P-42). | %Sft | 168 | 27747.06 | 46615.0608
13 | Supply & fixing glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick including finishing Dado (S.I. No. 38/P-44). | %Sft | 720 | 28299.3 | 203754.96
14 | Providing and laying cement sand plaster in walls and ceiling including applying nero. Mixing and applying mortar to perfect line & level as per drawings, specifications (S.I. No. 11 & 13/P-51).
| a. In walls 3/4 inches thick (1:6) (External Plaster) | %Sft | 10418.4 | 2590.5 | 269888.652
| b. In walls 1/2" inches thick (1:4) (Internal Plaster)) | %Sft | 7908 | 2283.93 | 180613.1844
| c. 3/8" inches thick (1:4) (Ceiling) | %Sft | 2632.8 | 2197.52 | 57856.3066
15 | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk/plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete (S.I. No. 36(a) / P-54). | %Sft | 7488 | 1989.62 | 148982.7456
16 | Preparing the surface and painting with weather coat including rubbing the surface with rubbing brick / sand paper filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I No. (A) 38/P-55). | %Sft | 9356.4 | 1328.25 | 124276.383
| 2nd & subsequent coat (S.I No. (B) 38/P-55). | %Sft | 9356.4 | 619.85 | 57995.6454
17 | Primary coat of Chalk under distemper (for ceiling)(S.I. No. 23/P-53). | %Sft | 2632.8 | 442.75 | 11656.722
| Distempering (c) three coats.(for ceiling) (S.I No. 24/P-53). | %Sft | 2632.8 | 1079.65 | 28425.0252
18 | Damp proof course with cement sand Ratio ( 1: 2 ) mixed with dampo (S.No 69 / P- 106 ) 1-1/2" Thick | %Sft | 576 | 1934.82 | 11144.5632
19 | Reinforced cement concrete spout including fixing in position 2 1/2" x 6" x 5" .(S.I. No. 14/P-17). | Each | 16.8 | 261.25 | 4389
20 | Providing and fixing approved quality mortice lock ( S.No 21 / P- 59 ) | Each | 12 | 1786.13 | 21433.56
21 | Preparing sub base by supplying and spreading stone metal 1-1/2" - 2" gauge of approved quality from approved quarry in required thickness to proper camber and grade including hand packing filling voids with 10 cft screening and non plastic quarry fines of approved source, watering and compacting to achieve 98-100 % density as per modified AASHO specification .( Rate includes all cost of materiaks T& P and carriages up to 3 chains )( S.No 11 c / P - 3 of 16 ) | %Cft | 3240 | 4359.76 | 141256.224
22 | Cement tiles (8"x 8"x 3/4") laid flat in 1:2 cement mortar over 3/4" thick cement motar 1:2(S.No13 / P- 40 ) | %Sft | 3240 | 10916.65 | 353699.46
23 | Dismentaling cement conrete reinforced separating reinfor cement from concrete cleaning and straightening the same. (S.I No.21/P-10) | %Cft | 1917.6 | 5445 | 104413.32
24 | Removing door with chowket. (S.l No.33(a)/P-12) | No | 12 | 142.18 | 1706.16
25 | Removing window and sky light with chowket. (S.l No.33(b)/P-12) | No | 18 | 102.85 | 1851.3
26 | Dismentaling cement concrete plain 1:2:4 (S.l No.19(c)/P-10) | %Cft | 478.8 | 3227.5 | 15453.27
27 | Dismentaling brick work in lime or cement motar (S.l No.13/P-10) | %Cft | 2160 | 1285.63 | 27769.608
28 | Making and fixing steel grated doors with 1/16" thick sheeting including angle iron frame 2" x 2" x 3/8" and 3/4" squre bars 4" centre to centre with locking arrangement ( S.No 24 / P- 91) | P.sft | 345.6 | 726.72 | 251154.432
29 | Preparing the surface and painting of doors, windows and ventilator with enamel paint.(including Edges)(S.I. No. 30 a+b /P-72). | %Sft | 1382.4 | 837.1 | 11572.0704
| 2 nd & subsequent coat | %Sft | 1382.4 | 584.65 | 8082.2016
30 | Providing Anti-Termite treatment by Spraying / sprinling spreading Neptachlar 0.5% Emulsion as on overall pre-construction tretment in slab type construction under the slab and along the attached perches or entrances etc, complete as per the directiobns of Engineer Incharge (S.I No. 92/ P-108) | P.Sft | 2764.8 | 9.74 | 26929.152
31 | Providing and fixing iron steel grill using solid square bars of size 1/2" x 1/2" placed at 4" i/c and frame of flat iron patti of 3/4" x 3/4" i/c circle shape at 1'-0 apart equivalent fitted with screws are pins i/c painting 3coats with 1st coat of red oxide paint etc (S.No30 /P-93) | P.Sft | 460.8 | 194.16 | 89468.928
32 | Providing and fixing angle iron vertical posts for barbed wire fencing of size 2" x 2" 1/4" embedded in RCC/Masonry pillars i/c making cuts/holders @12" i/c fixing in pillars by chiseling and filling with cement sand mortar, repairing & finishing the surface. (S.I NO 8/ P-94) | P.Rft | 720 | 169.18 | 121809.6
33 | Providing and fixing barbed wire fencing with 12 gauge 4 points @ 6" apart barbed wire i/c straightening & fixing in angle iron vertical posts. (S.I NO 9/ P-95) | P.Rft | 2160 | 8.38 | 18100.8
TOTAL = |  |  |  |  | 6480647.9959
2) NON - SCHEDULE OF ITEM
1 | Providing & laying light/colour unglazed vitrified porcelain tiles (polished) not exceeding 1600 sq.cm each on wall & floors foreign make (Italian or equivalent except china make) in any floor laid with dry bond (site bond) over existing floor including jointing the tiles with joint floor of approved quality as per direction of engineer incharge. | P.Sft | 3016.8 | 282 | 850737.6
2 | Providing & laying light/colour unglazed vitrified porcelain tiles skirting (polished) not exceeding 1600 sq.cm each on wall & floors foreign make (Italian or equivalent except china make) in any floor laid with dry bond (site bond) over existing floor including jointing the tiles with joint floor of approved quality as per direction of engineer incharge. | P.Sft | 410.4 | 186 | 76334.4
3 | Screeding on Roof with Rubber lining and bitumen while also maintaining the slope of the roof for concrete spouts. | Sft | 2632.8 | 202 | 531825.6
4 | Providing and laying 1:10 cement concrete in flooring, laid stone soling using SR cement with screened graded bajri as specified in drawing in all respect as per instruction of engineer encharge. | Cft | 646.2 | 110.3 | 71275.86
5 | Providing and laying red soil flooring as specified in drawings. | Cft | 1656 | 80 | 132480
6 | Providing and fabrication of deformed steel reinforcement of attleast Grade 60 having yield strength at 0.2% strain for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also including removal of rust from bars). | Ton | 16.86 | 125000 | 2107500
7 | Providing and fixing 3/8" thick Verona marble tiles of approved quality and colour shade size on stairs as specified in drawings in steps and risers skirting and facing removal / tucking of existing plaster surface etc over 1/2" thick base of cement mortar 1:3 setting mortar base including fillings the joints and washing the tiles with white cement , slurry current , finishing cleaning and polishing etc complete . (a) for new work | P.Sft | 710.4 | 510 | 362304
8 | Providing and fixing emergency lights | Each | 10 | 1000 | 10000
9 | Providing and fixing fire extinguishers | Each | 4 | 10000 | 40000
10 | Providing First Aid Kit | Each | 2 | 500 | 1000
11 | Providing and fixing Water Cooler. | Each | 3 | 20000 | 60000
12 | Boring | Rft | 250 | 500 | 125000
TOTAL = |  |  |  |  | 4368457.46

## Plumb
BILL OF QUANTITIES
CONSTRUCTION OF SCHOOL
AT
GGPS MUNAWAR MASJID (418010221)
SCHEDULE OF ITEM (B), PLUMBING WORKS
S.No | Description of Item | Unit | Qty | Rate | Amount
|  |  |  | (Rs.) | (Rs.)
1 | Providing & fixing 1/2" dia, lead connection complete with a 1/2" dia brass stop cock, two brass nuts & lining jointed to lead pipe with plumber wiped solder joints 1/2" inches lead pipe to be of not less than 4lbs per lineal yard (S.I. No. 22/P-6). | Each | 2 | 689.7 | 1379.4
2 | Providing & fixing in position nylon connections complete with 1/2" dia brass stop cock with pair of brass nuts and lining joints to nylon connection (S.I. No. 23/P-6). | Each | 2 | 447.15 | 894.3
3A | Providing & fixing M.S clamps of the approved design to 4" i/c the cost of cutting and making good to wall or M.S bolts and nuts, 4" into wall including pipe distance pieces extra painting to match the colour of the building (S.I. No. 2/P-9). | Each | 10 | 72.16 | 721.6
3B | Providing & fixing M.S clamps of the approved design to 3" i/c the cost of cutting and making good to wall or M.S bolts and nuts,3" into wall including pipe distance pieces extra painting to match the colour of the building (S.I. No. 14/P-10). | Each | 10 | 264 | 2640
4 | (b) S/Fixing concealed Tee stop cock of superior quality with c.p head 1/2" dia (S.I.No. 14(A)/P-18).
|  | Each | 4 | 1097 | 4388
5 | (b) S/Fixing long bib-cock of superior quality with c.p head 1/2" dia (S.I. No. 13(a)/P-19).
|  | Each | 4 | 1109.46 | 4437.84
6 | Providing and fixing orisa type white or color glazed earthen ware w.c pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requiste numbers of holes in walls , plinth & floor and making good in cement concrete 1:2:4 W.C pan orisa type 23" with plastic tank of low down 3 gallons C.I trap & C.I thumble (Superior Quality ) With 4" dia. earthen ware trap and plastic thumble (S.No 3 / P-2 ) | Each | 3 | 6166.6 | 18499.8
7 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with and including the cost of W.I or C.I cantilever brackets 6 inches built into wall, painted white in to two coats after a primary coat of red lead paint , a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or c.p brass traps malloable iron or brass unions and making requiste number of holes in wall plinth & floor for pipe connection and making good in cement concrete 1:2:4 (Standard pattern ) (S.No 8 / P-3 ) | Each | 3 | 4253.9 | 12761.7
8 | Add extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed (S.No 9 / P-3 ) | Each | 3 | 938.47 | 2815.41
9 | Supplying & fixing 6" x 4" earthen gully trap with 4" outlet complete with 4" thick 1:2:4 C.C for bed & 1/2 thick cement plaster (1:3) to the karb C.I grating 6" x 6" and C.I. cover and frame 12"x12" (inside) etc Complete (b) earthen ware glazed gully trap(a) (i) 6'x6"x4" (i) With C.I Cover and Frame(S.I. No. 1(i)/P-23. | Each | 1 | 1220.67 | 1220.67
10 | Construction manhole for the required dia of circular sewer and 7'-9" depth with walls of B.B in cement mortar 1:3 cement plaster 1:3, 1/2" thick inside of wall and 1" (25mm) thick over benching and channel including fixing C.I manhole cover with frame of clear opening 2'x2' (610 x 610mm) of 4.5 cwt embedded inplain C.C 1:2:4 and two way reinforecement 6" thick includind fixing 1" (25mm) dia dia M.S steps 6" (150mm) wide projecting 4" (102mm) from the face of wall at 12" (305mm) c/c duly painted etc complete as per specification and drawing (a) 4" to 9" dia 4" x3'x7'-9" (S.I.No. 2/P-47) ).(if the depth of main hole is less than 7'-9" deduct from the cost @rate 2143/each). | Each | 1 | 42745 | 42745
11 | Supplying & fixing soap tray of made of plastic of superior quality and design with fine finishing with c.p screws etc complete (S.I. No.6/P-8). | Each | 3 | 169.4 | 508.2
12 | Providing & fixing C.P muslim shower with double bib cock & ring pipe (S.I. No.19(a)/P-19). | Each | 3 | 3432 | 10296
13 | Supplying & fixing ball valves (with unsoldered copper ball) 2" dia (S.I. No.8/P-18) | Each | 2 | 593.37 | 1186.74
14 | Providing & fixing full way gun metal values with wheels threaded or flanged ends with rubber washing (S.I. No.6(A)/P-17)
| (v) 1-1/2" dia | Each | 2 | 695.42 | 1390.84
| (vii) 2" dia | Each | 2 | 956.12 | 1912.24
15 | Constructing small wheel value chamber clear inside size 12" x 12" x 12" with walls of 9" thick of B.B cement mortar 1:3 over 4" thick cement concrete 1:3:6 cement plastered 1/2" thick 1:3 inside including supplying & fixing C.I light weight manhole cover with frame and locking arrangement of 12" x 12" clear opening etc complete (S.I. No.8/P-52). | Each | 1 | 3128 | 3128
Total |  |  |  |  | 110925.74
NON SCHEDULE OF ITEM (B), PLUMBING WORKS
1 | Supply & fix UPVC (Dadex or Equivalent or approved by engineer incharge) fitting with 'Z' joint & rubber ring etc.
| (a) Elbow / Bend 110 mm or 4" dia | Each | 10 | 3885 | 38850
| (b) Tee 110 mm dia | Each | 10 | 8076 | 80760
| (c) Socket 110 mm dia | Each | 10 | 799 | 7990
| (d) UPVC Tee With Door 110 mm dia | Each | 10 | 5517 | 55170
2 | Supply & fix UPVC (Dadex or Equivalent or approved by engineer incharge) fitting with 'Z' joint & rubber ring etc.
| (a) Elbow / Bend 75 mm or 3" dia | Each | 10 | 3118 | 31180
| (b) Tee 75 mm dia | Each | 10 | 3201 | 32010
| (c) Socket 75 mm dia | Each | 10 | 550 | 5500
| (d) UPVC Tee With Door 75 mm dia | Each | 10 | 4428 | 44280
3 | Providing & laying PPR PN-20 (Dadex or approved by engineer incharge) pipe with all fittings i.e socket, bend tee, elbow where required.(for cold water pipe )
| (a) 20mm (3/4") dia PPR | Rft | 50 | 56.4 | 2820
| (b) 1 mm ( 1" ) | Rft | 100 | 72.81 | 7281
| d) 50 mm (2") dia | Rft | 100 | 264 | 26400
4 | Supply & laying UPVC (Dadex or approved by engineer incharge) soil and waste pipe complete 'Z' joint and rubber ring all as specified including socket, bend, tee all fittings 4" dia (110 mm) etc complete. | Rft | 100 | 247.19 | 24719
5 | Supply & laying UPVC (Dadex or approved by engineer incharge) soil and waste pipe complete 'Z' joint and rubber ring all as specified including socket, bend, tee all fittings 3" dia (75 mm) etc complete. | Rft | 100 | 165.36 | 16536
6 | Supply & fix UPVC Dadex or approved by engineer incharge vent cowel 110mm (4" dia) on top of vent pipe. | Each | 10 | 311 | 3110
7 | Supply & fix UPVC Dadex or approved by engineer incharge vent cowel 110mm (3" dia) on top of vent pipe. | Each | 10 | 280 | 2800
8 | Providing & fixing UPVC floor trap(DADEX or approved by engineer incharge) with 4" dia inlet and 4" dia outlet of the approved self cleaning design with a UPVC Grating with or without a vent arm i/c cost of making requisite number of holes in walls plinth and floor for pipe connectons and making good cement concrete 1:2:4. | Each | 7 | 450 | 3150
9 | Providing UPVC pipe with collars class "B" and digging the trenches to required depth and fixing imposition i/c cutting, fitting & jointing with maxphalt composition & cement mortar 1:1 and testing with water pressure to a head of 4 feet above the top of the highest pipe and refilling with excavated staff.
| a. 8" dia RCC Pipe Class B | Rft | 250 | 700 | 175000
Total |  |  |  |  | 557556

## ELE
BILL OF QUANTITIES
OF
CONSTRUCTION OF SCHOOL
AT
GGPS MUNAWAR MASJID (418010221)
N.B: | These items and their rates given in the are based on Schedule Rate 2012 of Govt. of Sindh. However Rates of Non-Schedule Items and Premium are to be filled by the Contractor .
SCHEDULE OF ITEM (C), ELECTRICAL WORKS
S.No | Description of Item | Unit | Quantity | Rate | Amount
|  |  |  | (Rs.) | (Rs.)
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.No.124, Pg-15). | Point | 16 | 1130 | 18080
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm (3/4") PVC conduit recessed required in the wall or column as required including 1mm2 PVC insulated wire as ECC as required (S.No.126, Pg-15). | Point | 37 | 985 | 36445
3 | Providing & fixing one way SP 5 amp switch flush type on metal board & covered with plastic sheet (S.No-219, Pg-33). | No | 70 | 54 | 3780
4 | Providing & fixing two pin 5 amp plug & socket switch flush type on metal board & covered with plastic sheet (S.No-222, Pg-33). | No | 7 | 83 | 581
5 | Providing & fixing three pin 5 amp plug & socket switch flush type on metal board & covered with plastic sheet (S.No-226, Pg-33). | No | 7 | 151 | 1057
7 | Providing & fixing bakelite / plastic ceiling rose with two terminals (S.No-228, Pg-33). | No | 16 | 72 | 1152
8 | Providing & fixing brass / PVC batten holder superior quality (S.No-232, Pg-33). | No | 34 | 70 | 2380
Total |  |  |  |  | 63475
PART C- ELECTRICAL WORKS (NON SCHEDULE)
1 | Providing and fixing 4 1/2" x 4 1/2" MS dia casted powder coated recessed type fan clamp box with 3/8" dia MS bar fan clamp fixed on roof at casting time as required. | No | 16 | 318 | 5088
2 | Providing and fixing 6 Amps Piano fan dimmer fixed on plastic or fiber top cover sheet on 14 SWG metal board recessed in the wall and column including connection as required. | No | 16 | 333 | 5328
3 | Providing and fixing 25 watt saver lamp Philips quality or equivalent as approved by Engineer in charge | No | 34 | 280 | 9520
4 | Providing & fixing ceiling fan 56" good quality (Royal/ Pak/ Millat or equivalent as directed by Engineer) | No | 16 | 3980 | 63680
Total Rs. |  |  |  |  | 83616

## cartge
PACKAGE 2- MATERIAL CARTAGE STATEMENT
GGPS MUNAWAR MASJID (418010221)
Sr. # | Description | Qty | Cement |  | Hill Sand |  | Stone Metal |  | Stone Bajri |  | Steel |  | Bricks
|  |  | Ratio | Qty | Ratio | Qty | Ratio | Qty | Ratio | Qty | Ratio | Qty | Ratio | Qty
|  |  | % | Bags | % | Cft | % | Cft | % | Cft | % | Ton. | % | 1000 Nos
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1 | Cement Concrete( 1:4:8) | 454.8 | 9.6% | 43.6608 | 48% | 218.304 | 96% | 436.608 | - | - | - | - | - | -
2 | R.C.C 1:1.5:3 | 5373.6 | 21.91% | 1177.3558 | 41.08% | 2208.5496 | - | - | 82% | 4406.352 | - | - | - | -
3 | Block Masonry(1:3:6)(1:6) c.m | 3818.4 | 16.44% | 627.745 | 73.7% | 2814.1608 | 147.4% | 5628.3216 | - | - | - | - | - | -
4 | Cement plaster (1:6 )3/4" thick | 10418.4 | 0.8% | 83.3472 | 6% | 625.104 | - | - | - | - | - | - | - | -
5 | Cement plaster (1:4)1/2" thick | 8801.75 | 0.73% | 64.2528 | 3.6% | 316.863 | - | - | - | - | - | - | - | -
6 | Cement plaster(1:4) 3/8" thick | 2632.8 | 0.57% | 15.007 | 3% | 78.984 | - | - | - | - | - | - | - | -
7 | Cement Concrete( 1:3:6) | 1696.2 | 13% | 220.506 | 46% | 780.252 | - | - | 92% | 1560.504 | - | - | - | -
8 | Cement Concrete Plain (1:2:4) | 9164.8 | 17.6% | 1613.0048 | 44% | 4032.512 | - | - | 88% | 8065.024 | - | - | - | -
9 | DPC | 576 | 1.6% | 9.216 | 4.7% | 27.072
10 | Cemented tile | 3240 | 1.8% | 58.32 | 4.7% | 152.28 | - | - | - | - | - | - | - | -
11 | Glaze tiles floor & dado | 1608 | 2.16% | 34.7328 | 5.2% | 83.616 | - | - | - | - | - | - | - | -
| Total Quantities :- |  |  | 3947.1481 |  | 11337.6974 |  | 6064.9296 |  | 14031.88 |  | 0 |  | 0
| Rate as per R.A.A |  |  | 199.53 |  | 8391 |  | 2367.4 |  | 2367.4 |  | 2675.69 |  | 1032.44
| Unit |  |  | per bag |  | %Cft |  | %Cft |  | %Cft |  | Per Ton |  | %Cft
| Amount :- |  |  | 787574.4514 |  | 951346.1888 |  | 143581.1434 |  | 332190.7271 |  | 0
| Total Amount :- |  | 2214692.5107

## mile
RATE ANALYSIS
EDUCATION & LITERACY DEPARTMENT (PACKAGE-2)
GGPS MUNAWAR MASJID (418010221) TALUKA: Panoaqil DISTRICT: Sukkur
1 | CEMENT
| Avg. Lead from Lucky Cement Factory to Site of Work: |  | 322 | MILES
| For 1st 2 mile at rate | RS | 7.53 | / BAG
| EACH SUBSEQUENT @ 0.60 PER MILE |  | 320 | MILES
|  | RS | 192
|  | TOTAL= | 199.53 | per mile
2 | HILL SAND
| Avg.Lead from Bholari quarry to site of work: |  | 240 | MILES
| 1st six mile : | RS | 771.96
| EACH SUBSEQUENT @32.56 PER MILE |  | 234
|  | RS | 7619.04
|  | TOTAL= | 8391 | %Cft
3 | STONE METAL
| Lead from quarry to site of work: |  | 55 | MILES
| 1st six mile : | RS | 771.96
| EACH SUBSEQUENT @ 32.56 PER MILE |  | 49 | MILES
|  | RS | 1595.44
|  | TOTAL= | 2367.4 | % Cft
4 | STONE BAJRI
| Lead from quarry to site of work: |  | 55 | MILES
| 1st six mile : | RS | 771.96
| EACH SUBSEQUENT @ 32.56 PER MILE |  | 49 | MILES
|  | RS | 1595.44
|  | TOTAL= | 2367.4 | % Cft
5 | STEEL
| Lead from Karachi Site Area to Site of Work: |  | 358 | MILES
| 1st six mile : | RS | 771.96
| EACH SUBSEQUENT @ 32.56 PER MILE |  | 352 | MILES
|  | RS | 11461.12
|  | TOTAL= | 3058.27 | per ton
4 | BRICK
| Lead from brick kiln to Site of Work: |  | 24 | MILES
| 1st six mile : | RS | 617.54
| EACH SUBSEQUENT @ 26.05 PER MILE |  | 18
|  | RS | 468.9
|  | TOTAL= | 1086.44 | % 0No