GBPS BEHAR COLONY

NEED AssessmentREPORT

\

| SEMIS CODE | 418050081 |
| --- | --- |
| CITY | SUKKUR |
| LOCATION | NEW SUKKUR |
| SUBMITTED BY | ESS-I-AAR CONSULTANTS (KARACHI OFFICE) ADDRESS: 314, MASHRIQUE CENTER BLOCK 4, GULSHAN-E-IQBAL KARACHI |
| EMAIL | eia1946@hotmail.com |
| PHONE | 0092-21-34941059 |
| FAX | 0092-21-34852589 |
| WEBSITE | www.ess-i-aar.com |
| SUBMITTED TO | GOVERNMENT OF SINDH EDUCATION AND LITERACY DEPARTMENT PROJECT MANAGEMENT AND IMPLEMENTATION UNIT (PMIU) SERP II |

HISTORY OF VISITS

VISIT BY CONSULTANT TEAM:

Visited by consultant team on: 28/1/2016

People involved in team:

1.) ENGINEERS: Engr.Umair Hassan and Engr. Aqeel.                                                   2.) ASSOCIATE SURVEYOR: Mr. Saddam.                                                                              3.) Helpers: Mr.Adil and Mr Asif.

CONTACT PERSON/ HEAD MASTER:

Muhammad Nawab Soomro (0300-3157066).

STUDENTS ENROLLMENT:

Enrollment: 250 (Boys=160, Girls=90).

REMARKS ON ENROLLMENT (BY CONTACT PERSON / HM):

The buildings in the school are in very bad condition due to which most of the parents in the area are concerned and does not send their children to the school. Although the toilet in the school is not functional as there is no soak pit available due to area availability problem. The enrollment can be raised up to “500” if all the facilities requested are provided.

ENROLLMENT ON WHICH NEED IS DEVELOPED:

Since this is primary school and has little space available for future construction, hence to accommodate 250 student enrollments, construction of 5 class room will be required.

Hence the existing structure should be demolished to meet the need.

SCHOOLSTATISTICS

- Headmaster:  Muhammad Nawab Soomro.

- Contact no: 0300-3157066.

- Enrollment: 250.

- Boys=160

- Girls=90

- Semis code: 418050081.

- Number of class rooms: 6

- Number of toilets: 2

- Number of Head Master Room: 1

- Number of Staff room: No

- Number of store room: No

- Number of Chokidaar / Lower Staff room: zero

- Number of boring exists: 1 exists

- Underground Tank exists: No

- Overhead tank exists: No

Any Other:

- Water source Available: No

- Water source connection or not:  No

- Soak pit available for sewerage: No

- Septic Tank available for Sewerage: No

- Sewerage line available: Yes

- Electrical connection available: No

- Existing Health and safety features recommended:                                                                                      1.) Fire extinguisher available: No

2.) Exit area and exit light exist: No

3.) First Aid Box available: No

4.) Disable ramp: No

5.) One toilet for disable: No

NEED BASED ON ENROLLMENT

Basic Requirement:

For 40 Students= 1 Class Room

For 50 Students= 1 Bath Room

Based on existing enrollment of 250 students, 7 class rooms and 5 bath rooms are required.

REQUIREMENTS (NEED) BY SCHOOL OFFICIALS

- Illegal connection of electricity.

- No gas connection.

- Boring and 1 motor exist.

- Sewerage line exist.

- Additional 3 class rooms are required.

- Additional 2 toilets are required.

- Additional teaching staff required=2

- Furniture required.

- Electrification required of whole building.

- 1 OHWT required.

- Floor level to be increased.

- HM office requested to be shifted in the back verandah and present HM office to be converted in the classroom.

SUMMARY OF NEED

We are completely demolishing the structure however if any work will be required for rehabilitation, following work will be done:

- Repair Room no: All rooms to be demolished.

- Demolition of existing washroom.

- Provide a water cooler with water filter,

- Paint work door and windows paint repair or change where as required.

Must require at all schools

- DPC at plinth level for all walls at ground floor except at RCC.

- Anti-termite treatment near all walls or as required by Anti-termite expert.

- Water proofing\ Roof screeding at Roof.

- Water Connection required and two water filter required.

- Sewerage system up to the Nullah.

- Electrification checks where required.

For Rehabilitation this is the Required Summary

SURVEY PLAN OF BUILDING

BUILDING:

EXTERNAL (H=30’):

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Plinth protection req. | 743 Sft |
| Weather shield req. | 4950 Sft |
| Cracks | 400 Sft |

# FIGURE 1-2 (External Part of School)

ROOM 1 (18'-3"X 16'-4"):

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Distampar | 320 sft |
| Matt finish | 792 sft |
| Seepage wall treatment (DPC) | 216 sft |
| Roof screeding | 320 sft |
| Cracks | 10 sft |
| 2” thick flooring | 320 sft |
| Porcelien tile | 320 sft |
| Skirting | 36 sft |
| New door | 48 sft |
| New window | 48 sft |
| Paint on window | 96 sft |
| Paint on door | 96 sft |
| Enamel paint on grill | 48 sft |
| Blackboard repair and paint | 1 Each |

# FIGURE 3-8(Room1)

ROOM 2 (11'-7"X19'-10"):

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Distemper | 210 Sft |
| Matt Finish | 638 Sft |
| Seepage wall treatment (DPC) | 174 Sft |
| Roof screeding | 210 Sft |
| Cracks | 10 Sft |
| 2’ thick flooring | 210 Sft |
| Porcelien tile | 320 Sft |
| Skirting | 29 Sft |
| New door | 24 Sft |
| New window | 22 Sft |
| Painting of door | 48 Sft |
| Painting of window | 44 Sft |
| Enamel Paint | 22 Sft |
| Antitermite | 64 Sft |

# FIGURE 9-14(Room 2)

ROOM 3 (12' X 19'-10"):

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Distemper | 230 Sft |
| Matt Finish | 693 Sft |
| Internal Plaster | 95 Sft |
| Seepage wall treatment (DPC) | 189 Sft |
| Roof screeding | 230 Sft |
| Cracks | 10 Sft |
| 2’ thick flooring | 230 Sft |
| Porcelien tile | 230 Sft |
| New door | 26 Sft |
| New window | 66 Sft |
| Painting of door | 52 Sft |
| Painting of window | 132 Sft |
| Enamel Paint | 66 Sft |
| Black board repair | 1 Each |
| Antitermite | 70 Sft |

# FIGURE 15-20 (Room 3)

CORRIDOR:

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Distemper | 188 sft |
| Matt Finish | 946 sft |
| Seepage wall treatment (DPC) | 258 sft |
| Roof screeding | 188 sft |
| Cracks | 30 sft |
| 2’ thick flooring | 94 sft |
| Porcelien tile | 188 sft |
| Skirting | 43 Sft |
| Enamel Paint | 60 sft |

# FIGURE 21-26 (Corridor)

TOILETS(2) (4'-6"x 3'-6"):

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Distemper | 34 sft |
| Matt Finish | 132 sft |
| Glaze Tile | 34 sft |
| Seepage wall treatment (DPC) | 99 sft |
| Roof screeding | 34 sft |
| Dado tile | 132 sft |
| New door | 30 sft |
| Painting of doors | 60 sft |
| Cracks | 15 sft |

# FIGURE 17-19 (Toilets)

# FIGURE 27-31 (TOILETS)

STAIRCASE:

| Detail | Size |
| --- | --- |
| Plaster | 30 sft |
| Marble on stairs | 120 sft |

# FIGURE 32 (STAIRCASE)

1ST FLOOR:

ROOM 1 (11'-7" X 19'-10"):

| Detail | Size |
| --- | --- |
| Distemper | 230 Sft |
| Matt Finish | 693 Sft |
| Internal Plaster | 126 Sft |
| Seepage wall treatment (DPC) | 189 Sft |
| Roof screeding | 230 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 230 Sft |
| New door | 24 Sft |
| Skirting | 32 Sft |
| New window | 22 Sft |
| Painting of door | 48 Sft |
| Painting of window | 44 Sft |
| Enamel Paint | 22 Sft |
| Black board repair | 1 Each |
| Antitermite | 70 Sft |

# FIGURE 33-38 (ROOM 1)

ROOM 2(11'-7" X 19'-10"):

| Detail | Size |
| --- | --- |
| Distemper | 230 Sft |
| Matt Finish | 693 Sft |
| Internal Plaster | 126 Sft |
| Seepage wall treatment (DPC) | 189 Sft |
| Roof screeding | 230 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 230 Sft |
| New door | 24 Sft |
| Skirting | 32 Sft |
| New window | 22 Sft |
| Painting of door | 48 Sft |
| Painting of window | 44 Sft |
| Enamel Paint | 22 Sft |
| Black board repair | 1 Each |
| Antitermite | 70 Sft |

# FIGURE 39-44 (ROOM 2)

ROOM 3(18'-3" X 16'-4"):

| Detail | Size |
| --- | --- |
| Distemper | 300 Sft |
| Matt Finish | 770 Sft |
| Internal Plaster | 60 Sft |
| Seepage wall treatment (DPC) | 210 Sft |
| Roof screeding | 300 Sft |
| Cracks | 20 Sft |
| Porcelien tile | 300 Sft |
| New door | 24 Sft |
| New window | 54 Sft |
| Painting of door | 48 Sft |
| Painting of window | 108 Sft |
| Enamel Paint | 54 Sft |
| Black board repair | 1 Each |
| Antitermite | 231 Sft |
| Skirting | 35 Sft |

# FIGURE 45-50 (ROOM 3)

CORRIDOR:

| Detail | Size |
| --- | --- |
| Distemper | 220 sft |
| Matt Finish | 1012 sft |
| Seepage wall treatment (DPC) | 276 sft |
| Roof screeding | 220 sft |
| Cracks | 30 sft |
| Internal plaster | 276 sft |
| Porcelien tile | 220 sft |
| Skirting | 46 Sft |
| Enamel Paint | 60 sft |

# FIGURE 51-56 (CORRIDOR)

STAIRCASE:

| Detail | Size |
| --- | --- |
| Plaster | 30 sft |
| Marble on stairs | 120 sft |

# FIGURE 57 (STAIRCASE)

EXTERNAL DEVELOPMENT:

| Detail | Size |
| --- | --- |
| Weather Shield | 4950 sft |
| Plinth protection | 743 sft |
| Cracks | 400 sft |

(14)

# FIGURE 58-61 (External Development)

Summary of Need after In House Discussion with Engineers of SERP-II and need based on Enrollment and Need of Head Master:

Based on the number of enrollment which is 250 students we need at least 6 class rooms and 5 bath rooms. Therefore after all the discussion, it was finalized to demolish the existing structure. Hence to meet the need of student enrollments, it has been decided to construct 5 class rooms, 1 head master room, 4 toilets, 1 filter room, 5 outdoor learning center, new boundary wall and 1 pergola gate.

(15)