GGPS MEW PIND SUKKUR

NEED AssessmentREPORT

\

| SEMIS CODE | 418050053 |
| --- | --- |
| CITY | SUKKUR |
| LOCATION | NEW SUKKUR |
| SUBMITTED BY | ESS-I-AAR CONSULTANTS (KARACHI OFFICE) ADDRESS: 314, MASHRIQUE CENTER BLOCK 4, GULSHAN-E-IQBAL KARACHI |
| EMAIL | eia1946@hotmail.com |
| PHONE | 0092-21-34941059 |
| FAX | 0092-21-34852589 |
| WEBSITE | www.ess-i-aar.com |
| SUBMITTED TO | GOVERNMENT OF SINDH EDUCATION AND LITERACY DEPARTMENT PROJECT MANAGEMENT AND IMPLEMENTATION UNIT (PMIU) SERP II |

HISTORY OF VISITS

VISIT BY CONSULTANT TEAM:

Visited by consultant team on: 28/1/2016

People involved in team:

1.) ENGINEERS: Engr.Umair Hassan and Engr. Aqeel.                                                   2.) ASSOCIATE SURVEYOR: Mr. Saddam.                                                                              3.) Helpers: Mr.Adil and Mr Asif.

CONTACT PERSON/ HEAD MASTER:

Najma Pathan (0314-7120436).

STUDENTS ENROLLMENT:

Enrollment: 645 (Boys=3, Girls=642).

REMARKS ON ENROLLMENT (BY CONTACT PERSON / HM):

The buildings in the school are in very bad condition due to which most of the parents in the area are concerned and does not send their children to the school. Although the toilet in the school is not functional as there is no soak pit available due to area availability problem. The enrollment can be raised up to “500” if all the facilities requested are provided.

ENROLLMENT ON WHICH NEED IS DEVELOPED:

Since this is primary school and has little space available for future construction, hence to accommodate 206 student enrollments, construction of 5 class room will be required.

Hence the existing structure should be demolished to meet the need.

SCHOOLSTATISTICS

- Headmaster:  Najma pathan.

- Contact no: 0314-7120436.

- Enrollment: 645.

- Boys=3

- Girls=642

- Semis code: 418050053.

- Number of class rooms: 13

- Number of toilets: 6

- Number of Head Master Room: 1

- Number of Staff room: No

- Number of store room: No

- Number of Chokidaar / Lower Staff room: zero

- Number of boring exists: No

- Underground Tank exists: No

- Overhead tank exists: 1(Damaged)

Any Other:

- Water source Available: Yes

- Water source connection or not:  Yes

- Soak pit available for sewerage: No

- Septic Tank available for Sewerage: No

- Sewerage line available: Yes

- Electrical connection available: No

- Existing Health and safety features recommended:                                                                                      1.) Fire extinguisher available: No

2.) Exit area and exit light exist: No

3.) First Aid Box available: No

4.) Disable ramp: No

5.) One toilet for disable: No

NEED BASED ON ENROLLMENT

Basic Requirement:

For 40 Students= 1 Class Room

For 50 Students= 1 Bath Room

Based on existing enrollment of 645 students, 17 class rooms and 13 bath rooms are required.

REQUIREMENTS (NEED) BY SCHOOL OFFICIALS

- Illegal connection of electricity.

- No gas connection.

- OHWT=1 (Damaged, Not functional).

- 1 fiber tank and 1 motor exist.

- Water supply exist.

- Sewerage line exist.

- Classes= 13 , Additional classes=3 required.

- Toilets=6(2 functional) , Additional toilets=4 required.

- Teaching Staff=21(including HM) , Additional teaching staff=4 required.

- Non-teaching staff=4 , Additional Non-teaching staff=5 required.

- 1 OHWT required.

- Boundary wall to be raised and barbed wires to be provided.

- 1 science lab and 1 computer lab required.

- 1 store room required for books.

- 1 staff room with bath required.

- Electric water coolers=2 required.

- 1 Auditorium and 1 playground required.

- Generator required.

- Furniture required.

- Colorful furniture for KG class required.

SUMMARY OF NEED

We are completely demolishing the structure however if any work will be required for rehabilitation, following work will be done:

- Repair Room no: All rooms to be demolished.

- Demolition of existing washroom.

- Provide a water cooler with water filter,

- Paint work door and windows paint repair or change where as required.

Must require at all schools

- DPC at plinth level for all walls at ground floor except at RCC.

- Anti-termite treatment near all walls or as required by Anti-termite expert.

- Water proofing\ Roof screeding at Roof.

- Water Connection required and two water filter required.

- Sewerage system up to the Nullah.

- Electrification checks where required.

For Rehabilitation this is the Required Summary

SURVEY PLAN OF BUILDING

BUILDING 1:

EXTERNAL (H=15’):

(See Drawing # 1 on Page 4)

| Detail | Size |
| --- | --- |
| Plinth protection req. | 290 Sft |
| Weather shield req. | 2295 Sft |
| External Plaster | 858 Sft |

# FIGURE 1-2 (External)

ROOM 1 (19'-11"X 13'-11"):

| Detail | Size |
| --- | --- |
| Distampar | 280 sft |
| Matt finish | 748 sft |
| Seepage wall treatment (DPC) | 204 sft |
| Roof screeding | 280 sft |
| Cracks | 10 sft |
| 2” thick flooring | 140 sft |
| Porcelien tile | 280 sft |
| Skirting | 34 sft |
| Enamel paint on grill | 125 sft |
| Blackboard repair and paint | 1 Each |
| Antitermite | 75 sft |
| Internal plaster | 68 sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 3-6(Room1)

ROOM 2 (19'-11"X13'-11"):

| Detail | Size |
| --- | --- |
| Distampar | 280 sft |
| Matt finish | 748 sft |
| Seepage wall treatment (DPC) | 204 sft |
| Roof screeding | 280 sft |
| Cracks | 10 sft |
| 2” thick flooring | 224 sft |
| Porcelien tile | 280 sft |
| Skirting | 34 sft |
| Enamel paint on grill | 120 sft |
| Blackboard repair and paint | 1 Each |
| Antitermite | 75 sft |
| Internal plaster | 68 sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 7-10(Room 2)

ROOM 3 (19'-11" X 13'-14"):

| Detail | Size |
| --- | --- |
| Distampar | 280 sft |
| Matt finish | 748 sft |
| Seepage wall treatment (DPC) | 204 sft |
| Roof screeding | 280 sft |
| Cracks | 10 sft |
| 2” thick flooring | 196 sft |
| Porcelien tile | 280 sft |
| Skirting | 34 sft |
| Enamel paint on grill | 115 sft |
| Blackboard repair and paint | 1 Each |
| Antitermite | 75 sft |
| Internal plaster | 68 sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 11-14 (Room 3)

CORRIDOR:

| Detail | Size |
| --- | --- |
| Distemper | 336 sft |
| Matt Finish | 1100 sft |
| Seepage wall treatment (DPC) | 300 sft |
| Roof screeding | 336 sft |
| Cracks | 20 sft |
| 2’ thick flooring | 366 sft |
| Porcelien tile | 366 sft |
| Skirting | 50 sft |
| Enamel Paint | 203 sft |
| New steel grill | 203 sft |
| Antitermite | 110 sft |
| Saver | 8 Each |
| Switch board | 2 Each |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Batten holder | 8 No |
| Bulb point | 8 No |

# FIGURE 15-18 (Corridor)

BUILDING 2 :

EXTERNAL:

| Detail | Size |
| --- | --- |
| Plinth protection req. | 528 Sft |
| Weather shield req. | 3960 Sft |
| External Plaster | 264 Sft |
| Antitermite | 596 Sft |

# FIGURE 19-21 (EXTERNAL)

ROOM 1 (20'-4" X 14'-4"):

| Detail | Size |
| --- | --- |
| Distampar | 290 sft |
| Matt finish | 759 sft |
| Seepage wall treatment (DPC) | 207 sft |
| Roof screeding | 290 sft |
| Cracks | 10 sft |
| Porcelien tile | 290 sft |
| Skirting | 35 sft |
| New door | 26 sft |
| New window | 48 sft |
| Paint on window | 96 sft |
| Paint on door | 52 sft |
| Enamel paint on grill | 48 sft |
| Blackboard repair and paint | 1 Each |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 22-25 (ROOM 1)

ROOM 2 (10'-3" X 14'-5"):

| Detail | Size |
| --- | --- |
| Distemper | 145 Sft |
| Matt Finish | 539 Sft |
| Seepage wall treatment (DPC) | 147 Sft |
| Roof screeding | 145 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 145 Sft |
| New door | 26 Sft |
| Skirting | 25 Sft |
| New window | 16 Sft |
| Painting of door | 52 Sft |
| Painting of window | 32 Sft |
| Enamel Paint | 16 Sft |
| Black board repair | 1 Each |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 26-28 (ROOM 2)

ROOM 3(18' X 14'-5"):

| Detail | Size |
| --- | --- |
| Distemper | 261 Sft |
| Matt Finish | 715 Sft |
| Seepage wall treatment (DPC) | 195 Sft |
| Roof screeding | 261 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 261 Sft |
| New door | 26 Sft |
| Skirting | 33 Sft |
| New window | 48 Sft |
| Painting of door | 52 Sft |
| Painting of window | 96 Sft |
| Enamel Paint | 48 Sft |
| Black board repair | 1 Each |
| Antitermite | 72 Sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 29-32 (ROOM 3)

ROOM 4(18' X 14'-5"):

| Detail | Size |
| --- | --- |
| Distemper | 261 Sft |
| Matt Finish | 715 Sft |
| Seepage wall treatment (DPC) | 195 Sft |
| Roof screeding | 261 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 261 Sft |
| New door | 26 Sft |
| Skirting | 33 Sft |
| New window | 48 Sft |
| Painting of door | 52 Sft |
| Painting of window | 96 Sft |
| Enamel Paint | 48 Sft |
| Black board repair | 1 Each |
| Antitermite | 72 Sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 33-36 (ROOM 4)

ROOM 5 (14'-2" X 22'-8"):

| Detail | Size |
| --- | --- |
| Distemper | 315 Sft |
| Matt Finish | 803 Sft |
| Seepage wall treatment (DPC) | 219 Sft |
| Roof screeding | 315 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 315 Sft |
| New door | 26 Sft |
| Skirting | 38 Sft |
| New window | 64 Sft |
| Painting of door | 52 Sft |
| Painting of window | 128 Sft |
| Enamel Paint | 64 Sft |
| Black board repair | 1 Each |
| Antitermite | 82 Sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 37-40 (ROOM 5)

ROOM 6 (20'-2" X 14'-5"):

| Detail | Size |
| --- | --- |
| Distemper | 261 Sft |
| Matt Finish | 715 Sft |
| Seepage wall treatment (DPC) | 195 Sft |
| Roof screeding | 261 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 261 Sft |
| New door | 26 Sft |
| Skirting | 34 Sft |
| New window | 48 Sft |
| Painting of door | 52 Sft |
| Painting of window | 96 Sft |
| Enamel Paint | 48 Sft |
| Black board repair | 1 Each |
| Antitermite | 72 Sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 57 (STAIRCASE)

# FIGURE 41-44 (ROOM 6)

CORRIDOR (59'-6" X 7'-3"):

| Detail | Size |
| --- | --- |
| Distemper | 413 sft |
| Matt Finish | 1375 sft |
| Seepage wall treatment (DPC) | 375 sft |
| Roof screeding | 413 sft |
| Cracks | 20 sft |
| Porcelien tile | 413 sft |
| Skirting | 64 sft |
| Enamel Paint | 156 sft |
| Antitermite | 138 sft |
| Saver | 8 Each |
| Switch board | 2 Each |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Batten holder | 8 No |
| Bulb point | 8 No |

# FIGURE 45-50 (CORRIDOR)

BUILDING 3:

EXTERNAL:

| Detail | Size |
| --- | --- |
| Plinth protection req. | 340 Sft |
| Weather shield req. | 2550 Sft |
| Cracks | 174 Sft |

# FIGURE 51-52 (EXTERNAL)

ROOM 1 (HM ROOM) (18'-6' X 16'):

| Detail | Size |
| --- | --- |
| Distemper | 296 Sft |
| Matt Finish | 759 Sft |
| Seepage wall treatment (DPC) | 207 Sft |
| Roof screeding | 296 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 296 Sft |
| New door | 39 Sft |
| Skirting | 35 Sft |
| New window | 54 Sft |
| Painting of door | 78 Sft |
| Painting of window | 108 Sft |
| Enamel Paint | 54 Sft |
| Antitermite | 76 Sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 53-58 (ROOM 1)

ROOM 2 (18'-6" X 15'-11"):

| Detail | Size |
| --- | --- |
| Distemper | 296 Sft |
| Matt Finish | 759 Sft |
| Seepage wall treatment (DPC) | 207 Sft |
| Roof screeding | 296 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 296 Sft |
| New door | 39 Sft |
| Skirting | 35 Sft |
| New window | 54 Sft |
| Painting of door | 78 Sft |
| Painting of window | 108 Sft |
| Enamel Paint | 54 Sft |
| 2" Thick flooring | 15 Sft |
| Blackboard repair | 1 Each |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 59-62 (ROOM 2)

ROOM 3 (18'-5" X 15'-10"):

| Detail | Size |
| --- | --- |
| Distemper | 296 Sft |
| Matt Finish | 759 Sft |
| Seepage wall treatment (DPC) | 207 Sft |
| Roof screeding | 296 Sft |
| Cracks | 10 Sft |
| Porcelien tile | 296 Sft |
| New door | 39 Sft |
| Skirting | 35 Sft |
| New window | 54 Sft |
| Painting of door | 78 Sft |
| Painting of window | 108 Sft |
| Enamel Paint | 54 Sft |
| Blackboard repair | 1 Each |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 63-66 (ROOM 3)

CORRIDOR:

| Detail | Size |
| --- | --- |
| Distemper | 342 sft |
| Matt Finish | 1386 sft |
| Seepage wall treatment (DPC) | 378 sft |
| Roof screeding | 342 sft |
| Cracks | 20 sft |
| Porcelien tile | 342 sft |
| Skirting | 63 sft |
| Enamel Paint | 325 sft |
| Antitermite | 140 sft |
| New steel grill | 325 sft |
| Saver | 8 Each |
| Switch board | 2 Each |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Batten holder | 8 No |
| Bulb point | 8 No |

# FIGURE 67-70 (CORRIDOR)

BUILDING 4:

EXTERNAL:

| Detail | Size |
| --- | --- |
| Plinth protection req. | 378 Sft |
| Weather shield req. | 1418 Sft |
| Cracks | 100 Sft |
| Marble on stairs | 60 Sft |

# FIGURE 71-72 (EXTERNAL)

ROOM:

| Detail | Size |
| --- | --- |
| Distemper | 470 sft |
| Matt Finish | 957 sft |
| Seepage wall treatment (DPC) | 261 sft |
| Roof screeding | 470 sft |
| Cracks | 10 sft |
| Porcelien tile | 470 sft |
| Skirting | 44 sft |
| Enamel Paint | 70 sft |
| Antitermite | 96 sft |
| New door | 52 sft |
| New window | 70 sft |
| Painting of door | 104 sft |
| Painting of window | 140 sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 73-78 (ROOM)

BUILDING 5:

EXTERNAL:

| Detail | Size |
| --- | --- |
| Plinth protection req. | 160 Sft |
| Weather shield req. | 1200 Sft |
| Marble on stairs | 30 Sft |

# FIGURE 79-80 (EXTERNAL)

ROOM:

| Detail | Size |
| --- | --- |
| Distemper | 328 sft |
| Matt Finish | 803 sft |
| Seepage wall treatment (DPC) | 219 sft |
| Roof screeding | 328 sft |
| Porcelien tile | 328 sft |
| Skirting | 38 sft |
| Enamel Paint | 48 sft |
| Antitermite | 322 sft |
| New door | 26 sft |
| New window | 48 sft |
| Painting of door | 52 sft |
| Painting of window | 96 sft |
| 2" Thick flooring | 66 sft |
| Black board repair | 1 Each |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 81-84 (ROOM)

BUILDING 6:

EXTERNAL:

| Detail | Size |
| --- | --- |
| Plinth protection req. | 276 Sft |
| Weather shield req. | 2070 Sft |

# FIGURE 85-86 (EXTERNAL)

ROOM 1(19'-8" X 15'-9"):

| Detail | Size |
| --- | --- |
| Distemper | 310 sft |
| Matt Finish | 781 sft |
| Seepage wall treatment (DPC) | 213 sft |
| Roof screeding | 310 sft |
| Porcelien tile | 328 sft |
| Skirting | 36 sft |
| Enamel Paint | 38 sft |
| Antitermite | 80 sft |
| New door | 26 sft |
| New window | 38 sft |
| Painting of door | 52 sft |
| Painting of window | 76 sft |
| Blackboard repair and paint | 1 Each |
| 2" Thick flooring | 310 sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 87-90 (ROOM 1)

ROOM 2 (19'-8" X 15'-9"):

| Detail | Size |
| --- | --- |
| Distemper | 310 sft |
| Matt Finish | 781 sft |
| Seepage wall treatment (DPC) | 213 sft |
| Roof screeding | 310 sft |
| Porcelien tile | 328 sft |
| Skirting | 36 sft |
| Enamel Paint | 38 sft |
| Antitermite | 80 sft |
| New door | 26 sft |
| New window | 38 sft |
| Painting of door | 52 sft |
| Painting of window | 76 sft |
| Blackboard repair and paint | 1 Each |
| 2" Thick flooring | 310 sft |
| Saver | 4 Each |
| Fans | 4 Each |
| Dimmer | 4 Each |
| Switch board | 2 Each |
| Wiring point for fan | 4 Point |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Fan clamp | 4 No |
| Batten holder | 4 No |
| Bulb point | 4 No |

# FIGURE 91-96 (ROOM 2)

CORRIDOR:

| Detail | Size |
| --- | --- |
| Distemper | 246 sft |
| Matt Finish | 1034 sft |
| Seepage wall treatment (DPC) | 282 sft |
| Roof screeding | 246 sft |
| Cracks | 20 sft |
| Porcelien tile | 246 sft |
| Skirting | 47 sft |
| Enamel Paint | 195 sft |
| Antitermite | 210 sft |
| New steel grill | 195 sft |
| 2" Thick flooring | 246 sft |
| Saver | 8 Each |
| Switch board | 2 Each |
| Switches | 10 No |
| 2-pin switch | 2 No |
| Batten holder | 8 No |
| Bulb point | 8 No |

# FIGURE 97-100 (CORRIDOR)

Summary of Need after In House Discussion with Engineers of SERP-II and need based on Enrollment and Need of Head Master:

Based on the number of enrollment which is 645 students we need at least 17 class rooms and 13 bath rooms. Therefore after all the discussion, it was finalized to demolish the existing structure. Hence to meet the need of student enrollments, it has been decided to construct 5 class rooms, 1 head master room, 4 toilets, 1 filter room, 5 outdoor learning center, new boundary wall and 1 pergola gate.