**SCHEDULE-B**

NAME OF WORK:- M/R TO TRAUMA CENTRE P.M.C & H AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling glazed or encaustic tiles etc. (S.:55 P.13) = 396.Sft. 786/50 %Sft. 3114/=

2/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete. = 216.Sft. 27747/06 %Sft. 59934/=

3/- Glazed tile dado ¼”thick laid in pigment over 1:2 cement sand

Mortar ¾”thick i/c finishing.(S.I.No:38 P.No:44). = 900.Sft. 28299/30 %Sft. 254694/=

4/- Removing lime or cement plaster.(So:53 P.13) = 660.Sft. 121/- %Sft. 799/=

5/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. = 660.Sft. 2206/60 %Sft. 14564/=

6/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 660.Sft. 2197/52 %Sft. 14500/=

7/- Scraping distemper oil distemper. (S.N54(b)P.13) = 18229.Sft. 226/88 %Sft. 41358/=

8/- Scraping white wash or colour wash. (S.:54(a)P.13) = 9186Sft. 75/63 %Sft. 6947/=

9/- Distemper on walls 2.coats. (S.I.No:24(b)P.:54) = 9186Sft. 1043/90 %Sft. 95892/=

10/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc comp:(N.surface)2nd & subsequent coat.(S.:36(b)P.54) = 9764 Sft. 1772/38 %Sft. 173055/=

11/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.:4(a)P.68) = 6462Sft. 1072/06 %Sft. 69276/=

12/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.38(b)P.55) = 22137Sft. 1498/48 %Sft. 331718/=

13/- Preparing surface painting doors and windows any type i/c edges

(Old surface)3.coats.(S.I.No:5(c)P.No:69). = 2190.Sft. 1160/06 %Sft. 25405/=

14/- Galvanized wire gauze fixed to chowkats with ¾” deodar wood strip

And screws.(S.I.No:4(c)P.No:58). = 290.Sft. 190.72 PSft. 55309/=

15/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface). = 2164.Sft. 674/19 %Sft. 14590/=

16/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). =2782. Sft. 674/60 %Sft. 18767/=

17/- Glazing with panes (16oz to 18)using deodar wooden(Ist class)

Fillets and putty.(S.I.No:45(b)P.No:63). = 81.Sft. 142/90 PSft. 11575/=

18/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.7(b)P.:58) = 117.Sft. 902/93 PSft. 105596/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1297093/=

PART “B”INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims 3gallons flushing tank with 4”dia C.I trape. (S.:1(A)P.1) = 9.Nos. 5044/60 Each. 45401/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the coat of WI or CI cantilever brackets 6” inches built

Into wall painted white in two coats after a primary coat of red

Lead paint a pair of ½”dia rubber plug & chrome plate brass chain

1-1/4”dia malleable iron or CP brass traps malleable iron or brass

Unions and making req:member of holes in walls plinth & floor for

Pipe connection and making good in cement concrete 1:2:4(Std:

Pattern)(S.I.No: 8 P.No:3). = 9.Nos. 4253/90 Each. 38285/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.:9 P.:3) = 9.Nos. 938/47 Each. 8446/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 16.Nos. 1109/46 Each. 16642/=

**5/-** S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 5.Nos. 889/46 Each. 4447/=

6/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 18.Nos. 447/15 Each. 8049/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 180Rft. 344/- PRFt. 61920/=
2. ¾”dia. = 200Rft. 126/- PRFT. 25200/=

8/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 9.Nos. 1290/= Each. 11610/=

17/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 20.Nos. 835/- Each. 16700/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 236700/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO EYE OPD, NEURO SURGERY,NEURO O.P.D,OLD GYNAE

P.M.C & HOSPITAL NAWABSHAH

-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.

1/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 413.Cft. 12674/36 %Cft. 52345/=

2/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 4.51Cwt. 5001/70 PCwt. 22558/=

3/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 104.Cft. 337/- PCft. 35048/=

4/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 3417.Sft. 121/- %Sft. 4135/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11(a)P.No:52). = 3417.Sft. 3015/76 %Sft. 103049/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 282.Sft. 2206/60 %Sft. 62226/=

7/- Cement plaster(1:4)upto 20’ ft:ht:3/8”thick.

(S.I.No:13©P.No:52). = 282.Sft. 2197/52 %Sft. 6197/=

8/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 170Sft. 2401/58 %Sft. 4083/=

9/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling with cement sand slurry of ratio 1:6 and repairing the

Jambs. The cost also i/c all carriage tools and plants used in making

And fixing.(S.I.No:28 P.No:92). = 17.Rft. 240/50 PRft. 4089/=

10/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 17.Rft. 228/90 PRft. 3891/=

11/- First class deodar wood wrought joinery in doors and windows

Etc fixed in position i/c chowkats hold fasts hinges iron tower

bolts chocks cleats handles and cords with hooks etc. Deodar

paneled or paneled and glazed or fully glazed 1-3/4”thick.

(Only Shutter)(S.I.No:7(b)P.NoL:57). = 59.Sft 902/93 PSft. 53273/=

12/- S/F in position Alumunium channels framing for hinged doors or

Alcop make with 5mm thick tinted glass glazing (Belgium) and

Alpha(Japan)locks i/c handles stoppers etc(b)Deluxe model

(Bronze).(S.I.No:83(b)P.No:108). = 301.Sft. 1507/66 PSft. 453806/=

13/- S/F in position Alumunium channels framing for slidding windows

& ventilators of Alcope made with 5mm thick tinted glass glazing

(Belgium)& Alumunium fly screen i/c handles stoppers & locking

Arrangement etc complete(b)Deluxe model(Bronze).

(S.I.No:84(b)P.No:108). = 28.Sft. 1647/69 PSft. 46135/=

14/- Glazing with panes (16oz to 18)using deodar wooden(Ist class)

Fillets and putty.(S.I.No:45(b)P.No:63). = 150.Sft. 142/90 PSft. 21435/=

15/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 4536.Sft. 3275/50 %Sft. 148577/=

16/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 10136.Sft. 1887/40 %Sft. 191307/=

17/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 140.Sft. 180/50 PSft. 25270/=

18/- Cement concrete brick or stone ballast 1-1/2” to 2”guage ratio 1:6:12.

(S.I.No:4 P.No:15). = 29.Cft. 8122/95 %Cft. 2356/=

19/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 473.Cft. 3327/50 %Cft. 15739/=

20/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 3188.Sft. 30509/77 %Sft. 972652/=

21/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 144.Sft. 27678/86 %Sft. 39858/=

22/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 380.Sft. 28253/61 %Sft. 107364/=

23/- Rubbling and polishing old mosaic floor.(S.I.No:26 P.No:43).

= 8695Sft. 1228/92 %Sft. 106855/=

24/- Galvanized wire gauze fixed with ½” strips on square 2”x2”deodar

Wood frame.(S.I.No:14©P.No:60) = 33.Sft. 575/61 PSFt. 18995/=

25/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 390Sft. 190/72 PSft. 74381/=

26/- Scraping white wash or colour wash.(S.I.No:54(b)P.No:13).

= 15243Sft. 75/63 %Sft. 11528/=

27/- Primary coat of chalk under distemper.(S.I.No:23 P.No:53).

= 3346Sft. 442/75 %Sft. 14814/=

28/- Scraping of distemper.(S.I.No:54(b)P.No:13). = 22288Sft. 226/88 %Sft. 50567/=

29/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat.

(S.I.No:36(b)P.No:54). = 22288.Sft. 2717/- %Sft. 605565/=

30/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 3963Sft. 1072/06 %Sft. 42485/=

31/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 5082.Sft. 1160/06 %Sft. 58954/=

32/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

1. 3.Coats. = 228.Sft. 1270/83 %Sft. 2897/=

1. 2.Coats. = 385.Sft. 674/19 %Sft. 2596/=

33/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 579.Sft. 674/60 %Sft. 3906/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 3368933/=

PART “B” INT: W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 2.No. 5088/20 Each. 10176/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 4.Nos. 4694/80 Each. 18779/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 4.Nos. 938/47 Each. 3754/=

4/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 2.Nos. 1142/24 Each. 2284/=

5/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 10.Nos. 1109/46 Each. 11095/=

6/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 12.Nos. 447/15 Each. 5366/=

7/- P/F 24”x18” bavelled edge mirror of Belgium glass complete with 1/8”

Thick hard board and CP screws fixed to wooden pleat(a)Std:Pattern.

(S,I.No:3(a)P.No:7). = 8.Nos. 1711/60 Each. 13693/=

8/- Flush Tank low level plastic 3Gallons(Golden Brand or std:Pattern).

(Superior Qlty:)(S.I.No:25 (b)P.No:122). = 7.Nos. 1400/- Each. 9800/=

9/- P/F 6”x2” or 6”x3”C.I floor trap of the approved selt cleaning design

With a C.I screwed down grating with or without a vent arm complete

With & i/c making requisite number of holes in walls plinth & floor for

Pipe connections & making good cement concrete 1:2:4.

(S.I.No:20 P.No:6). = 4.Nos. 2042/43 Each. 8170/=

10/- P/F C.I trap with 4” dia inlet and 4’dia outlet of the approved

Self cleaning design with a C.I grating with or without a vent

Arm i/c cast of making req:number of holes in walls plinth &

Floor for pipe connection and making good cement concrete

1:2:4.(S.I.No:21 P.No:6). = 6.Nos. 1671/58 Each. 10029/=

11/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 12.Nos. 843/92 Each. 10127/=

12/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 6.Nos. 1290/= Each. 7740/=

13/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 8.Nos. 835/- Each. 6680/=

14/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 50Rft. 334/- PRFt. 16700/=
2. 1” dia. = 200.Rft. 149/- PRFT. 29800/=
3. ¾”dia. = 100Rft. 126/- PRFT. 12600/=
4. 1-1/2” dia. = 150Rft. 160/- PRFT. 24000/=
5. ½” dia. = 150Rft. 105/35 PRft. 15803/=

15/- P/F handlve valve (china).(S.I.No:5 P.No:17).

1. 1-1/2” dia. = 4.Nos. 640/42 Each. 2562/=
2. ¾” dia. = 6.Nos. 271/92 Each. 1632/=
3. 1” dia. = 10.Nos. 365/42 Each. 3654/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 224,444/=

PART “C” EXTERNAL DRAINAGE.

1/- Excavation for pipe line in trenches and pits in soft soils i/c

Trimming and dressing sides to true aligment and shape

Leveling of beds of trenches to correct level and grade

Cutting joint holes and disposal of surplus earth within a

One chain as directed by Engineer Incharge providing fence

guards lights flags and temporary crossing for non vehicular

traffic where ever req:lift upto 5’ft:(1.52m)and lead upto

one chain(30.5m).(P.H.S.I.No:1 P.No:60). = 600.Cft. 3600/- %oCft. 2160/=

2/- P/L RCC pipes & collars of class “A” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15).

1. 9” DIA. = 150.Rft. 163/- PRft. 24450/=

3/- Refilling the excavated stuff in trenches 6”thick layer i/c

watering ramming to full compaction etc complete.

(P.H.S.I.No:24 P.No:77). = 540.Cft. 2760/- %oCft. 1490/=

4/- Constt:of main hole or inspection chamber for the req:diameter

Of circular sewer and 3’-6”(1067mm)depth with walls of B.B in

Cement sand mortar 1:3 cement plaster 1:3 ½”thick inside of

Walls and 1”(25mm)thick over benching and channel i/c fixing

C.I manhole cover with frame of clear opening 1-1/2”x1-1/2”

(457x457mm)of 1.75Cwt (88.9KG)embaded in plain C.C 1:2:4

And fixing 1”(25mm)dia M.S steps 6”(150mm)wide projecting

4”(102mm)from the face of wall at 12”(305mm)c/c duly

Painted etc complete as per standard specification and

Drawing 4” to 12”dia 2’x2’x3’-6”(Without cover).

(P.H.S.I.No: 1 P.No:46). = 3.Nos. 2524/25 Each. 7573/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 35,673/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO COMPOUND WALL OF HOSTPITAL P.M.C AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick woprk in foundation/plinth in cement sand

Mortor 1:6.(S.I.No:4 P.No:18). = 124.Cft. 11948/36 %Cft. 14816/=

2/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28©P.No:19)

= 124.Sft. 4982/18 %Sft. 6178/=

3/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 3645.Cft. 12346/65 %Cft. 450035/=

4/- Cement concrete plain i/c placing compacting trenching and curing

Concrete i/c screening and washing at stone aggregate without

Shuttering 1:2:4.(S.I.No:5 P.No:16). = 1136.Cft. 14429/25 %Cft. 163916/=

5/- Erection and removal ofcentering for RCC or plain cement concrete

Works or Deodar wood(2nd class(ii)Vertical.(S.I.No:19(ii)P.No:18).

= 3030.Sft. 3127/41 %Sft. 94761/=

6/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 1600.Sft. 121/- %Sft. 1936/=

7/- P/F angle iron vertical plsts for barbed wire fencing of size

2”x2”x1/4”embedded in RCC/Masonry pillars i/c making

Cuts/holders @ 12” i/c fixing in pillars by chiseling and filling

The with cement sand mixtar saprining & finishing the surface.

(S.I.No:8 P.No:95) = 1125.Rft. 169/18 PRFt. 190328/=

8/- P/F barbed wire trenching with 12guage points @ 6”a part barbed

Wire i/c strighening & fixing in angle iron vertical posts.

(S.I.No:9 P.No:96). = 8080.Rft. 8/38 PRFT. 67710/=

9/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 15500Sft. 2206/60 %Sft. 342023/=

10/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 15500Sft. 2197/52 %Sft. 340616/=

11/- Scraping of colour wash.(S.I.No:54 (b)P.No:13). = 11370Sft. 75/63 %Sft. 8599 /=

12/- Primary coat of chalk under distemper.

(S.I.No:23 P.No:52). = 15500Sft. 442/75 %Sft. 68626/=

13/- Distempering walls 2.coats.(S.I.No:24(b)P.No:52). = 38240Sft. 1043/90 %Sft. 399187/=

14/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 672.Sft. 674/60 %Sft. 4533/=

15/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 16.Cft. 337/- PCft. 5392/=

16/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 0.896Cwt. 5001/70 PCwt. 4482/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 2,163,138/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO I.C.U P.M.C & H AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling glazed or encaustic tiles etc.

(S.I.No:55 P.No:15). = 490Sft. 786/50 %Sft. 3854/=

2/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 490.Sft. 27747/06 %Sft. 135960/=

3/- Glazed tile dado ¼”thick laid in pigment over 1:2 cement sand

Mortar ¾”thick i/c finishing.(S.I.No:38 P.No:44). = 1385.Sft. 28299/30 %Sft. 391945/=

4/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in req:colour

And a pattern of STILE specification jointed in white cement

And pigment over a base of 1:2 grey cement mortar ¾”thick

i/c washing and filling of joints with slaurry of white cement

and pigment in desired shape with finishing cleaning and cost

of wax polish etc complete i/c cutting.(S.I.No:60 P.No:46).= 568Sft. 30509/77 %Sft. 173295/=

5/- Laying white marble flooring fine dressed on the surface

Without winding set in lime mortar 1:2 i/c rubbing and

Polishing of the joints ¾”thick flooring.

(S.I.No:28(a)P.No:42). = 249.Sft. 567/48 %Sft. 1413/=

6/- Scraping ordinary distemper,oil distemper or paint on walls.

(S.I.No:54(b)P.No:13). = 12894-Sft. 226/88 %Sft. 29253/=

7/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 22947Sft. 1072/06 %Sft. 246005/=

8/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 10076Sft. 1498/48 %Sft. 150986/=

9/- First class deodar wood wrought joinery in doors and windows

Etc fixed in position i/c chowkats hold fasts hinges iron tower

bolts chocks cleats handles and cords with hooks etc. Deodar

paneled or paneled and glazed or fully glazed 1-3/4”thick.

(Only Shutter)(S.I.No:7(b)P.NoL:57). = 256.Sft 902/93 PSft. 231150/=

10/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 236.Sft. 180/50 PSft. 42598/=

11/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 855Sft. 2206/60 %Sft. 18866/=

12/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 855Sft. 2197/52 %Sft. 18788/=

13/- Galvanized wire gauze fixed to chowkats with ¾”teak wood

Strips and screws.(S.I.No:4©P.No:58). = 162.Sft. 345/53 PSft. 55975/=

14/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(old surface).(S.I.No:5(b)P.No:68).

= 590.Sft. 674/19 %Sft. 3977/=

15/- Preparing surface painting doors and windows any type )

i/c edges 2.coats (Old surface).(S.I.No:4(c)P.No:67). = 2366.Sft. 1160/60 %Sft. 27459/=

16/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 411Sft. 674/60 %Sft. 2772/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 15,34,296/=

PART “B”INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape.

(S.I.No:1(ii)P.No:1). = 9.Nos. 5088/20 Each. 45793/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 6.Nos. 4253/70 Each. 25522/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3)= 6.Nos. 938/47 Each. 5630/=

4/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 1.No. 11477/40 Each. 11477/=

5/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 10.Nos. 1109/46 Each. 11094/=

6/- S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 5.Nos. 889/46 Each. 4447/=

7/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 30.Nos. 447/15 Each. 13414/=

8/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 100-Rft. 334/- PRFt. 33400/=
2. ¾”dia. = 120-Rft. 126/- PRFT. 15120/=

9/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 9.Nos. 1290/- Each. 11610/=

18/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 12.Nos. 835/- Each. 10020/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 187,527/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO GENERAL & CHEST OPD P.M.C & H AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4. (S.19(c)P.10 = 333.Cft. 3327/50 %Cft. 11081/=

2/- Removing lime or cement plaster.(S.I.No:53 P.no:13). = 2742.Sft. 121/- %Sft. 3318/=

3/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 2242.Sft. 2206/60 %Sft. 49472/=

4/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 2242.Sft. 2197/52 %Sft. 49268/=

5/- Dismantling glazed or encaustic tiles etc. (S.No:55 P.13) = 270.Sft. 786/50 %Sft. 2123/=

6/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 450.Sft. 27747/06 %Sft. 124862/=

7/- Glazed tile dado ¼”thick laid in pigment over 1:2 cement sand

Mortar ¾”thick i/c finishing.(S.I.No:38 P.No:44). = 447.Sft. 28299/30 %Sft. 126500/=

8/- Cement concrete brick ro stone ballast 1-1/2” to 2”guage ratio 1:6:12.

(S.I.No:4 P.No:15). = 587.Cft. 8122/95 %Cft. 47681/=

9/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing dividing into panels 3”thick. (S.N:16©P.41) = 1778.Sft. 4411/82 %Sft. 78442/=

10/- White wash on walls 2.coats.(S.I.No:26(b)P.No:54). = 8621.Sft. 425/84 %Sft. 36712/=

11/- Scraping ordinary Distemper oil Distemper or paint

On walls.(S.I.No:54(b)P.No:13). = 20553Sft. 226/88 %Sft. 46630/=

12/- Distemper on walls 2.coats.(S.I.No:24(b)P.No:54). = 18088Sft. 1043/90 %Sft. 188821/=

13/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.:4(a)P.N.68) = 7370Sft. 1072/06 %Sft. 79010/=

14/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.:38(b)P.:55 = 14530Sft. 1498/48 %Sft. 217730/=

15/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 393.Sft. 190/72 PSft. 74953/=

16/- First class deodar wood wrought joinery in doors and windows

Etc fixed in position i/c chowkats hold fasts hinges iron tower

bolts chocks cleats handles and cords with hooks etc. Deodar

paneled or paneled and glazed or fully glazed 1-3/4”thick.

(Only Shutter)(S.I.No:7(b)P.NoL:57). = 154.Sft 902/93 PSft. 139051/=

17/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 306.Sft. 180/50 PSft. 55233/=

18/- P/F iron collapsible gate with channel framing of section ¾’x5/16”

At 4” i/c revitted with ¾”x1/8” flat iron patti placed diagonally and

Provided with top & bottom T-section 1”x1” 1/8”along with rollers

Also i/c locking arrangement and fixing in floor/ceiling or wall etc

Completed.(S.I.No:32 P.No:94). = 60.Sft. 387/04 PSft. 23225/=

19/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

(S.I.No:5 P.No:69).

1. 2.coats. = 961.Sft. 674/60 %Sft. 6483/=
2. 3.coats. = 366.Sft. 1270/83 %Sft. 4651/=

20/- Preparing surface painting doors and windows any type )

i/c edges .(S.I.No:4 P.No:67).

1. 2.coats(Old surface). = 1372.Sft. 1160/60 %Sft. 15923/=
2. 3.coats(New surface). = 308.Sft. 2116/40 %Sft. 6519/

21/- Preparing surface painting sashes fan light glazed or gauzed doors

And windows any type (S.I.No:5 P.No:68)

1. 2.coats. = 204.Sft. 674/19 %Sft. 1375/=
2. 3.coats. = 393.Sft. 1270/83 %Sft. 4995/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,394,058/=

PART “B”INT: W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 4.No. 5088/20 Each. 20353/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the coat of WI or CI cantilever brackets 6” inches built

Into wall painted white in two coats after a primary coat of red

Lead paint a pair of ½”dia rubber plug & chrome plate brass chain

1-1/4”dia malleable iron or CP brass traps malleable iron or brass

Unions and making req:member of holes in walls plinth & floor for

Pipe connection and making good in cement concrete 1:2:4(Std:

Pattern)(S.I.No: 8 P.No:3). = 4.Nos. 4253/7 0 Each. 17015/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 4.Nos. 938/47 Each. 3754/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 6.Nos. 1109/46 Each. 6657/=

5/- S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 12.Nos. 889/46 Each. 10674/=

6/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 16.Nos. 447/15 Each. 7154/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 250Rft. 344/- PRFt. 86000/=
2. ¾” dia. = 200Rft. 126/- PRft. 25200/=

8/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 10.Nos. 1290/= Each. 12900/=

9/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 8.Nos. 835/- Each. 6680/=

10/- Providing G.I pipes special and clamps etc i/c fixing cutting & fitting

Complete with and i/c the cost of breaking through walls and roof

Making good etc painting two coats after cleaning the pipe etc with

White zink paint with pigment to match the colour of the building

And testing with water to a pressure head of 200’ft:and handling.

1. 2” dia.(S.I.No:1(vi)P.No:12). = 100.Rft. 233/- PRft. 23300/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 219, 687/=

PART “C” EXTERNAL DRAINAGE.

1/- Constt:of main hole or inspection chamber for the req:diameter

Of circular sewer and 3’-6”(1067mm)depth with walls of B.B in

Cement sand mortar 1:3 cement plaster 1:3 ½”thick inside of

Walls and 1”(25mm)thick over benching and channel i/c fixing

C.I manhole cover with frame of clear opening 1-1/2”x1-1/2”

(457x457mm)of 1.75Cwt (88.9KG)embaded in plain C.C 1:2:4

And fixing 1”(25mm)dia M.S steps 6”(150mm)wide projecting

4”(102mm)from the face of wall at 12”(305mm)c/c duly

Painted etc complete as per standard specification and

Drawing 4” to 12”dia 2’x2’x3’-6”(Without cover).

(P.H.S.I.No: 1 P.No:46). = 10.Nos. 14748/- Each. 147480/=

2/- P/L RCC pipes & collars of class “A” and fixing in trench i/c cutting

Fitting and jointing with maxphalt composition and cement mortar

(1:1) i/c testing with water to a head of 4.5meter or 15’ft:. 6” dia.

(P.H.S.I.No:2(d)P.No:16). = 400.Rft. 163/- PRft. 65200/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 212,680/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO PEADS WARD CIVIL HOSPITAL P.M.C & H AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing lime or cement plaster.(S.I.No:53 P.no:13).

= 744.Sft. 121/- %Sft. 900/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 744.Sft. 2206/60 %Sft. 16417/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 744.Sft. 2197/52 %Sft. 16350/=

4/- Dismantling glazed or encaustic tiles etc.

(S.I.No:55 P.No:13). = 10286.Sft. 786/50 %Sft. 80900/=

5/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 4834.Sft. 30509/77 %Sft. 1474842/=

6/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 1674.Sft. 27678/86 %Sft. 463344/=

7/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 3726.Sft. 28253/61 %Sft. 1052730/=

8/- Scraping distemper oil distemper.

(S.I.No:54(b)P.No:13). = 19843.Sft. 226/88 %Sft. 45020/=

9/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat.

(S.I.No:36(b)P.No:54). = 15725Sft. 1772/38 %Sft. 278707/=

10/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 19327-Sft. 1498/48 %Sft. 289611/=

11/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 1296-Sft. 1072/06 %Sft. 13894/=

12/- First class deodar wood wrought joinery in doors and windows

Etc fixed in position i/c chowkats hold fasts hinges iron tower

bolts chocks cleats handles and cords with hooks etc. Deodar

paneled or paneled and glazed or fully glazed 1-3/4”thick.

(Only Shutter)(S.I.No:7(b)P.NoL:57). = 549.Sft 902/93 PSft. 495709/=

13/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 428Sft. 190/72 PSft. 81628/=

14/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(old surface.(S.I.No:5(d) P.No:69). = 2519Sft. 674/60 %Sft. 16993/=

15/- Preparing surface painting doors and windows any type i/c edges

.(S.I.No:5 P.No:69).

1. 2.coats. = 1997.Sft. 1160/06 %Sft. 23166/=
2. 3.coats. = 1098.Sft. 2116/41 %Sft. 23238/=

16/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)(S.I.No:5 P.No:68).

1. 2.Coats. = 1572.Sft. 674/19 %Sft. 10598/=
2. 3.Coats. = 856.Sft. 1270/83 %Sft. 10878/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 43,94,925/=

PART “B” INT: W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 20.No. 5088/20 Each. 101764/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 24.Nos. 4253/70 Each. 102088/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3)= 24.Nos. 938/47 Each. 22523/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 48.Nos. 1109/46 Each. 53254/=

5/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 128.Nos. 447/15 Each. 57235/=

6/- Add:extra labour for concealed G.I pipe & fittings i/c making recess

In the wall for pipe & making good in cement mortor etc complete.

(ii) 3/4” dia.(S.I.No:2 (ii)P.No:12). = 450.Rft. 8/45 PRft. 3803/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 400Rft. 334/- PRFt. 133600/=
2. ¾”dia. = 450Rft. 126/- PRFT. 56700/=

8/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 64.Nos. 835/- Each. 53440/=

9/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 40.Nos. 1290/- Each. 51600/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 636,007/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO HOUSE OFFICER P.M.C & H AT NAWABSHAH. (PATH)

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-..-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-

1/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4(d)P.No:15). = 2314.Cft. 8122/95 %Cft. 187965/=

2/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing dividing into panels 3”thick. (S.16©P.41 = 4628.Sft. 4411/82 %Sft. 204180/=

3/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 360.Cft. 3176/25 %ocft. 1148/=

4/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). *= 90.Cft.* 8694/95 %Cft. 7825/=

5/- Pacca brick work in foundation/plinth in cement sand

Mortor 1:6.(S.I.No:4 P.No:19). = 237.Cft. 11948/36 %Cft. 28318/=

6/- D:P:C with(cement sand and shingle concrete 1:2:4)

i/c 2coats of asphaltic mixture 3”thick. (S:28©P.18) = 60.Sft. 4982/18 %Sft. 2989/=

7/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 766.Cft. 12674/36 %Cft. 97086/=

8/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.. = 1308.Sft. 2206/60 %Sft. 28862/=

9/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.(S.11(a)P.52) = 1308.Sft. 2197/52 %Sft. 28744/=

10/- White washing walls 2.coats.(S.I.No:26(b)P.No:52). = 1200.Sft. 829/95 %Sft. 9959/=

11/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per inst: of E.Incharge = 42.Sft. 231/60 PSft. 9727/=

12/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

3.coats(New surface)(S.I.No:5(d)P.No:69). = 42.Sft. 1270/83 %Sft. 534/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 607,332/=

PART “B” RCC PIPE..

1/- P/L RCC pipes & collars of class “B” and fixing in trench i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortar(1:1)i/c testing with water to a head of

Of 22.5 meter or 75’ft: 6”dia.(P.H.S.I.No:2 P.No:15). = 60.Rft. 163/- PRFT. 9780/=

\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 9,780/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO MEDICAL SUPERINTENDENT OFFICE P.M.C & H AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work in ground floor in cement sand mortar 1:6.

(Ist Floor)(S.I.No:5 P.No:20). = 180.Cft. 13112/99 %Cft. 23603/=

2/- C/Plaster(1:6)upto 20’ft:ht:1/2”thick.(S.N:13(a)P.52) = 943.Sft. 2206/60 %Sft. 20808/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. 943.Sft. 2197/52 %Sft. 20723/=

4/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.N:6(a)P.N:15) = 16.Cft. 337/- PCft. 5392/=

5/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 0.64Cwt. 5001/70 PCwt. 3201/=

6/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.:16©P.41) = 5382.Sft. 3275/50 %Sft. 176287/=

7/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

cost of wax polish etc complete i/c cutting. (S.N:60 P.46) = 742.Sft. 30509/77 %Sft. 226382/=

8/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

blinded with sand at one cft per %sft.(S.N:13 P.34) = 4640.Sft. 1887/40 %Sft. 87575/=

9/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent 3coat.

(S.I.No:36(b)P.No:54). = 2114Sft. 3444/38 %Sft. 72814/=

10/- Distempering on walls 2.coats.(S.I.No:24(b)P.No:54) = 1593Sft. 1043/90 %Sft. 16629/=

11/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58 = 22.Sft. 1273/76 PSft. 28023/=

12/- S/F in position Aluminium channels for hinged doors or Alcop made

With 5mm thick tinted glass glazing (Belgium)and Alpha (Japan)

Locks i/c handles stoppers etc(b)Deluse model(Bronze). = 53.Sft. 1507/66 P.Sft. 79906/=

13/- S/F in position Alumunium channels framing for slidding windows

& ventilators of Alcope made with 5mm thick tinted glass glazing

(Belgium)& Alumunium fly screen i/c handles stoppers & locking

Arrangement etc complete(b)Deluxe model(Bronze).

(S.I.No:84(b)P.No:108). = 32.Sft. 1647/69 PSft. 52726/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 814069/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 1.No. 5088/20 Each. 5088/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 1.No. 4253/70 Each. 4254/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3)= 1.No. 938/47 Each. 938/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

5/- S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 2.Nos. 889/46 Each. 1779/=

6/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 4.Nos. 447/15 Each. 1789/=

7/- S/F Bath rom accessories set(7pieces i/c towel rod,brush holder,

soap tray,shelf of approved quality and design etc complete.

(S.I.No:22 P.No:19). = 1.Nos. 8122/40 Each. 8122/=

8/- P/F 24”x18”bavelled edge mirror of Belgium glass complete with

1/8”thick hard board and CP screws fixed to wooden pleat(b)

Superior Quality)(S.I.No:3(b)P.No:7). = 1.Nos. 2376/- Each. 2376/=

9/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 20Rft. 334/- PRFt. 6680/=
2. ¾”dia. = 50Rft. 126/- PRFT. 6300/= Total Rs:- 39,545/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO UNION OFFICE P.M.C & H AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty: Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 1132.Cft. 3176/25 %ocft. 3596/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:4:8.(S.I.No:4 P.No:15). *= 261.Cft.* 9416/28 %Cft. 24576/=

3/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 59.86Cwt. 5001/70 PCwt. 299402/=

4/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 1173.Cft. 337/- PCft. 395301/=

5/- Filling, Watering and Ramming earth in Floor with surplus

earth from foundation lead up to one Chain and lift up to 5‘ft:.

(S.I.No:21 P.No:4). = 377.Cft. 1512/50 %oCft. 570/=

6/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 231Cft. 3630/- %oCft. 839/=

7/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 201.Cft. 8122/95 %Cft. 16327/=

8/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(b)P.No:52). = 2544.Sft. 2206/60 %Sft. 56136/=

9/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(c)P.No:52). = 2544.Sft. 2197/52 %Sft. 55905/=

10/- P/F GI frame/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling with cement sand slurry ratio 1:6 and reparing the

Jambs.The cost also i/c all carriage tools and plants used in making/

Fixing.(S.I.No:28 P.No:92). = 46.Rft. 240/50 PRft. 11063/=

11/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 34.Sft. 902/93 PSft. 30700/=

12/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 34.Sft. 180/50 PSft. 6137/=

13/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 48.Sft. 190/72 PSft. 9155/=

14/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 249.Cft. 11948/36 %Cft. 29751/=

15/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 798.Cft. 12674/36 %Cft. 101141/=

16/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 584.Sft. 3275/50 %Sft. 19129/=

17/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 584.Sft. 1887/40 %Sft. 11022/=

18/- Primary coat of chalk under.(S.I.No:23 P.No:53). = 3152Sft. 442/75 %Sft. 13955/=

19/- Distempering walls 3.coats.(S.I.No:24 P.No:54). = 3152Sft. 1079/65 %Sft. 34031/=

20/- Preparing surface painting doors and windows any type i/c edges

3.coats.(New surface) .(S.I.No:5 P.No:69). = 96.Sft. 2116/41 %Sft. 2032/=

21/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats(New surface).

(S.I.No:5(b)P.No:68). = 48.Sft. 1270/83 %Sft. 610/=

22/- P/F porcelain tile grante important tile(24”x24”x1/4”)jointed in white

Cement and laid over a bed of ¾”thick grey cement sand mortar 1:3

i/c washing/filling of joints with white cement loading unloading etc

complete(Q.R). = 1040.Sft. 462/- P.Sft. 480480/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,601,858/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO E-BLOCK P.M.C & HOSPITAL AT NAWABSHAH.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 116.Sft. 180/50 PSft. 20938/=

2/- S/F masonite bacolite celutes or card board sheets etc in panels

i/c supplying and making deodar wood ist:class frame work for

ceiling or partition.(S.I.No:39 P.No:63). = 96.Sft. 42902/15 %Sft. 41186/=

3/- White washing walls 2.coats.(S.I.No:26(b)P.No:52). = 4326-Sft. 425/84 %Sft. 18 392/=

4/- Distempering walls 2.coats.(S.I.No:26(b)P.No:52). = 10989Sft. 1043/90 %Sft. 114714/=

5/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent 3coat.(S.I.No:38(b)P.No:55).

= 18469Sft. 2118/33 %Sft. 391234/=

6/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat.

(S.I.No:36(b)P.No:54). = 1844 Sft. 1772/38 %Sft. 32683/=

7/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 1207Sft. 1072/06 %Sft. 12940/=

8/- Preparing surface painting doors and windows any type i/c edges

(Old surface)3.coats.(S.I.No:5(c)P.No:69). = 1240.Sft. 1160/06 %Sft. 14385/=

9/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 312.Sft. 674/60 %Sft. 2105/=

10/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface).

(S.I.No:5(b)P.No:68). = 1055.Sft. 674/19 %Sft. 7112/=

11/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 12506.Sft. 1887/40 %Sft. 236038/=

12/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 273.Cft. 11948/36 %Cft. 32620/=

13/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 195.Cft. 12674/36 %Cft. 24715/=

14/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28©P.No:19)

= 109.Sft. 4982/18 %Sft. 5431/=

15/- P/F ornamental cement jalli 3”thick 1:2:4 without steel.

(S.I.No: 11 P.No:18). = 291.Sft. 226/02 P.Sft. 65772/=

16/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 174.Cft. 8122/95 %Cft. 14138/=

17/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16(d)P.No:41). = 528.Sft. 4411/32 %Sft. 23291/=

18/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 601.Sft. 2206/60 %Sft. 13253/=

19/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 601.Sft. 2197/52 %Sft. 13207/=

20/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent 3coat.

(S.I.No:36(b)P.No:54). = 601Sft. 3444/38 %Sft. 20700/=

21/- White wash 3.coats.(S.I.No:24 P.No:52). = 291Sft. 829/95 %Sft. 2415/=

22/- Hard wood railing of any shape and design i/c bends and corners

Fixed in position i/c polishing complete as directed(a)Shisham wood.

(S.I.No:30(a) P.No:62). = 60.Rft. 375/78 PRft. 22547/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,129,811/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

**SCHEDULE-B**

NAME OF WORK:- M/R TO I.C.U AT P.M.C & HOSPITAL NAWABSHAH. (STORE)

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 51.13Cwt. 5001/70 PCwt. 255737/=

2/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

(337/-+12/10 = 349/10) = 730.Cft. 349/10 PCft. 254843/=

3/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20)(1267.36+438/63 ) = 948.Cft. 13112/99 %Cft. 124311/=

4/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 18.Rft. 228/90 PRft. 4120/=

5/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling with cement sand slurry of ratio 1:6 and repairing the

Jambs. The cost also i/c all carriage tools and plants used in making

And fixing.(S.I.No:28 P.No:92). = 142.Rft. 240/50 PRft. 34151/=

7/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 2866.Sft. 2206/60 %Sft. 63241/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 2866.Sft. 2197/52 %Sft. 62981/=

9/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 77.Sft. 180/50 PSft. 13899/=

10/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 1138.Sft. 3275/50 %Sft. 37275/=

11/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 569.Sft. 1887/40 %Sft. 10739/=

12/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 180Sft. 190/72 PSft. 20598/=

13/- White washing walls 3.coats.(S.I.No:24 P.No:52). = 773Sft. 829/95 %Sft. 6416/=

14/- Primary coat of chalk under distemper.(S.I.No:23 P.No:52)= 2866Sft. 442/75 %Sft. 12689/=

15/- Distemopering on walls 3.coats.(S.I.No:26 P.No:52). = 2866Sft. 1079/65 %Sft. 30943/=

16/- Preparing surface painting doors and windows any type i/c edges

3.coats(New Surface)(S.I.No:5 P.No:69). = 216Sft. 2116/41 %Sft. 4582/=

17/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats(New Surface).(S.I.No:5(b)P.No:68).

= 108.Sft. 1270/83 %Sft. 1372/=

\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 937,897/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO HOUSE OFFICERS P.M.C & H AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing lime or cement plaster.(S.I.No:53 P.no:13).

= 3686.Sft. 121/- %Sft. 4460/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 3686.Sft. 2206/60 %Sft. 81335/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 3686.Sft. 2197/52 %Sft. 81000/=

4/- Scraping distemper oil distemper.

(S.I.No:54(b)P.No:13). = 24354.Sft. 226/88 %Sft. 55253/=

5/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete.(S.I.No:36(b)P.No:54).

1. 3.Coats. = 4456.Sft. 2717/- %Sft. 121070/=
2. 2.coats. = 25582 Sft. 1772/38 %Sft. 453410/=

6/- Distempering on walls 2.coats.(S.I.No:24(b)P.No:54).

= 14079Sft. 1043/90 %Sft. 146970/=

7/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 21324Sft. 1498/48 %Sft. 319536/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58).

1. With Chowkats. = 386.Sft. 1273/76 PSft. 491671/=
2. Only Shutter. = 373.Sft. 902/93 PSft. 336644/=

9/- 1-1/2”thick deodar wood framing i/c wire gauze with ordinary hinges.

1. Door. (S.I.No:14(b)P.No:59). = 588.Sft. 562/98 PSft. 331032/=

10/- Galvanized wire gauze fixed with ½” strips on separate 2’x2’deodar

Wood frame.(b)Window.(S.I.No:14 (c)P.No:59). = 435.Sft. 575/61 PSft. 250390/=

11/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 870Sft. 190/72 PSft. 165926/=

12/- Preparing surface painting doors and windows any type i/c edges

(Old surface)3.coats.(S.I.No:5 P.No:69).

1. 3.coats. = 3564Sft. 2116/41 %Sft. 75428/=

1. 2.coats. = 8594.Sft. 1160/06 %Sft. 99696/=

13/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface).

(S.I.No: 5(b) P.No:68). = 2616.Sft. 674/19 %Sft. 17637/=

14/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 735Sft. 1072/06 %Sft. 7880/=

15/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 1452.Sft. 674/60 %Sft. 9795/=

16/- Rubbling and polishing old mosaic floor.(S.I.No:26 P.No:43).

= 1987Sft. 1228/92 %Sft. 24419/=

17/- Glazing with panes 16oz to 18oz)i/c cost of putty.

(S.I.No:43(a)P.No:63). = 384Sft. 115/55 PSft. 44371/=

18/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 465.Sft. 30509/77 %Sft. 141870/=

19/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 75.Cft. 337/- PCft. 25275/=

20/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 3.Cwt. 5001/70 PCwt. 15005/=

21/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 87.Cft. 12674/36 %Cft. 11027/=

22/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 722Sft. 2401/58 %Sft. 17332/=

23/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 5135.Sft. 1887/40 %Sft. 96918/=

24/- S/F in position Alumunium channels framing for hinged doors or

Alcop make with 5mm thick tinted glass glazing (Belgium) and

Alpha(Japan)locks i/c handles stoppers etc(b)Deluxe model

(Bronze).(S.I.No:83(b)P.No:108). = 48.Sft. 1507/66 PSft. 72368/=

25/- S/F in position Alumunium channels framing for slidding windows

& ventilators of Alcope made with 5mm thick tinted glass glazing

(Belgium)& Alumunium fly screen i/c handles stoppers & locking

Arrangement etc complete(b)Deluxe model(Bronze).

(S.I.No:84(b)P.No:108). = 40.Sft. 1647/69 PSft. 65908/=

26/- Cement concrete brick or stone ballast 1-1/2” to 2”guage ratio 1:6:12.

(S.I.No: 4 P.No:15). = 476.Cft. 8122/95 %Cft. 38665/=

27/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16©P.No:41). = 1440.Sft. 4411/82 %Sft. 63530/=

28/- Cement concrete plain i/c placing compacting finishing and

Curing complete i/c screening and washing at stone

Aggregate without shuttering ratio 1:2:4.

(S.I.No:5(f)P.No:16). = 122.Cft. 14429/25 %Cft. 17661/=

29/- Mosaic chequer tiles of 11”x8”x1-1/4”of approved shade laid

Flat in 1:2 grey cement mortar over a bed of ¾”thick grey

Cement mortar 1:2.(S.I.No:37 P.No:47). = 720.Sft. 5361/14 %Sft. 38600/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 37,19,082/=

PART “B” INT: W/S & S/F.

1/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 14.Nos. 4253/70 Each. 59552/=

2/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3) = 14.Nos. 938/47 Each. 13139/=

3/- P/F steel sinks stainless local make complete with cast iron or

Wraught iron brackets 6”inches built in wall 1-1/2” c.P rubber

Plug chrome plated brass chain 1-1/2”C.P brass waste with 1-1/2”

PVC waste pipe & making req:number of holes in wall & plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(b)Steel sink stainless sized 36”x18”local make (Std:patterns).

(S.I.No:19(c)P.No:6). = 2.Nos. 5712/30 Each. 11425/=

4/- S/F long bib cock of superior quality with CP head ½”dia. = 30.Nos. 1109/46 Each. 33284/=

**5/-** S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 50.Nos. 889/46 Each. 44473/=

6/- S/F wash beain mixture of superior quality with CP head ½”dia.

(S.I.No:14(b)P.No:19). = 8.Nos. 3179/- Each. 25432/=

7/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 14.Nos. 3432/- Each. 48048/=

8/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 18.Nos. 447/15 Each. 8049/=

9/- /- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete

1. 4” dia. = 20Rft. 344/- PRFt. 68800/
2. ¾”dia. = 160Rft. 126/- PRFT. 20160/

10/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 24.Nos. 1290/- Each. 30960/=

11/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 20.Nos. 835/- Each. 20040/=

12/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 24.Nos. 788/- Each. 18920/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,81,576/=

PART “C” DRAINAGE.

1/- P/L RCC pipes & collars of class “B” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15). = 150.Rft. 163/- PRft. 24450/=

2/- Manutacturing and supplying of 21’ RCC manhole cover cast in

1:2:4 concrete ratio 3 inch deep at center reinforced with ½”dia

For steel bars at 4”c/c welded to 3/16”thick 2” wide M.S plate

Two hook of 3/8” dia for bar i/c compacting i/c curing and

Transportation with in 10 miles.

30”inch dia. = 12.Nos. 1830/94 Each. 21971/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 42,759/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO P.M.C & H AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 1953.Cft. 3176/25 %ocft. 6203/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

.(S.I.No:4 P.No:15).

1. Ratio 1:5:10. *= 344.Cft.* 8694/95 %Cft. 29954/=
2. Ratio 1:6:12. = 499.Cft. 8122/95 %Cft. 40534/=

3/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16©P.No:41). = 998.Sft. 4411/82 %Sft. 44030/=

4/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 1001.Cft. 11948/36 %Cft. 119603/=

5/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 726.Cft. 12674/36 %Cft. 92016/=

6/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28©P.No:19)

= 47.Sft. 4982/18 %Sft. 2342/=

7/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 1452.Sft. 2206/60 %Sft. 32040/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 1452.Sft. 2197/52 %Sft. 31908/=

9/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 4.14Cwt. 5001/70 PCwt. 20707/=

10/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 91.Cft. 337/- PCft. 30667/=

11/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58).

= 45.Sft. 1273/76 PSft. 57319/=

12/- Plain wood work sawn wrought planed and fixed in position i/c

Cost of nails and screws etc (b)Shaham wood.

(S.I.No:1(b)P.No:57). = 6.50Cft. 3742/42 P.Cft. 24326/=

13/- P/F ornamental cement jail 2”thick.(S.I.No:11 P.No:18). = 237Sft. 226/02 PSft. 53567/=

14/- P/F iron collapsible gate with channel framing of section ¾’x5/16”

At 4” i/c revitted with ¾”x1/8” flat iron patti placed diagonally and

Provided with top & bottom T-section 1”x1” 1/8”along with rollers

Also i/c locking arrangement and fixing in floor/ceiling or wall etc

Completed.(S.I.No:32 P.No:94). = 175.Sft. 387/04 PSft. 67732/=

15/- Mosaic chequer tiles opf 11’x8’x1-1/4” of approved shade land flat

In 1:2 grey cement mortar over a bed or ¾”thick grey cement

Mortar 1:2.(S.I.No:57 P.No:47). = 177Sft. 5361/14 %Sft. 9489/=

16/- M/F barbed wire fencing i/c RCC posts upto 4 horzontal and

Cross wires.(S.I.No:7 P.No:95). = 403Rft. 25283/36 PRFT. 101892/=

17/- P/F barbed wire fencing with 12”guage 4points @ 6”aparts barbed

Wire i/c stranghtening & fixing in angle iron vertical post. = 403Rft. 8/38 PRft. 3377/=

(S.I.No:9 P.No:96).

18/- P/F angle iron vertical plsts for barbed wire fencing of size 2”x2” ¼”

Embedded in RCC/Masonry pillars i/c making cuts/holders @ 12”i/c

fixing in pillars by chiseling and filling the with cement sand mortar

saprining & finishing the surface.(S.I.No:8 P.No:95). = 202.Rft. 169/18 PRft. 34259/=

19 /- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69).

1. New surface 3.coats. = 175.Sft. 1270/83 %Sft. 2224/=
2. Old surface 2.coats. = 657.Sft. 674/60 %Sft. 3906/=

20/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 440Sft. 1072/06 %Sft. 4717/=

21/- Preparing surface painted small detached articles exceeding

One sq:ft:and not exceeding three sq:ft;or pinted surface.

2.coats.(S.I.No:4(g)P.No:69). = 1135Sft. 1684/93 %Sft. 19124/=

22/- Distempering on walls 3.coats.(S.I.No:26 P.No:52). = 914Sft. 1079/65 %Sft. 9868/=

23/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent 3.coat.(S.I.No:38(b)P.No:55).

= 659Sft. 2567/95 %Sft. 16923/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 8,59,253/=

PART “B” DRAINAGE.

1/- P/L RCC pipes & collars of class “B” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15). = 150.Rft. 163/- PRft. 24450/=

2/- Manutacturing and supplying of 21’ RCC manhole cover cast in

1:2:4 concrete ratio 3 inch deep at center reinforced with ½”dia

For steel bars at 4”c/c welded to 3/16”thick 2” wide M.S plate

Two hook of 3/8” dia for bar i/c compacting i/c curing and

Transportation with in 10 miles.

(P.B.S.I.No: 1(a)P.No:31).

1. 24” inch dia. = 20.Nos. 1051/25 Each. 21024/=

1. 30”inch dia. = 12.Nos. 1830/94 Each. 21971/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 51,145/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO MAIN OPERATION THEATRE P.M.C & H AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling glazed or encaustic tiles etc.

(S.I.No:55 P.No:13). = 4989.Sft. 786/50 %Sft. 39238/=

2/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 1576.Sft. 27678/86 %Sft. 159430/=

3/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 1530.Sft. 28253/61 %Sft. 432280/=

4/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 2883.Sft. 30509/77 %Sft. 879597/=

5/- Removing lime or cement plaster.(S.I.No:53 P.no:13).

= 2412.Sft. 121/- %Sft. 2919/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 2412.Sft. 2206/60 %Sft. 53223/=

7/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 2412.Sft. 2197/52 %Sft. 53004/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58).

= 217.Sft. 1273/76 PSft. 276406/=

9/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 652Sft. 190/72 PSft. 124350/=

10/- Preparing surface painting doors and windows any type i/c edges

.(S.I.No:5 P.No:69).

1. 2.coats. = 4025.Sft. 1160/06 %Sft. 46692/=
2. 3.coats. = 434.Sft. 2116/41 %Sft. 9185/=

11/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 3965.Sft. 674/60 %Sft. 26748/=

12/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface).

(S.I.No:5(b)P.No:68). = 2810.Sft. 674/19 %Sft. 18945/=

13/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 9849Sft. 1072/06 %Sft. 105587/=

14/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat.

(S.I.No:36(b)P.No:54). = 22557Sft. 1772/38 %Sft. 399796/=

15/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:52).= 5661Sft. 1043/90 %Sft. 59095/=

16/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 11464Sft. 1498/48 %Sft. 2858281/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 28,58,281/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 12.No. 5088/20 Each. 61058/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 9.Nos. 4253/70 Each. 38283/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3)= 9.Nos. 938/47 Each. 8446/=

4/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(

Quality)(S.I.No:5 P.No:2). = 4.NoS. 11477/40 Each. 45910/=

5/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass lining joints to nylon connection. = 50.Nos. 447/15 Each. 22358/=

6/- P/F flat back lipped from urinal basin (of not less than 17” in height)

Of white glazed earthen ware complete with and i/c the cost of 1gallon

C.I automatic flushing cistern with fitting a pot cock C.I or W.I brackets

Standard flush pipe with fitting standard waste pipe(enameled iron)

Connection complete and making requisite number of holes in walls

Plinth & 19 door for pipe connection & making good in cement

Concrete 1:2:4(std:Pattern)(S.I.No:6 P.No:2). = 3.Nos. 3890/70 Each. 11672/=

7/- Flush Tank low level plastic 3Gallons(Golden Brand or std:Pattern).

(Superior Qlty:)(S.I.No:25 (b)P.No:122). = 12.Nos. 1400/- Each. 16800/=

8/- P/F handle valve (China)3/4”dia.(S.I.No:5(b)P.No:17). = 18.Nos. 271/92 Each. 4895/=

9/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 30.Nos. 843/92 Each. 25318/=

10/- P/F 6”x2” or 6”x3”C.I floor trap of the approved selt cleaning design

With a C.I screwed down grating with or without a vent arm complete

With & i/c making requisite number of holes in walls plinth & floor for

Pipe connections & making good cement concrete 1:2:4.

(S.I.No:20 P.No:6). = 20.Nos. 2042/43 Each. 40849/=

11/- S/F long bib cock of superior quality with CP head ½”dia. = 40.Nos. 1109/46 Each. 44378/=

12/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 40.Nos. 835/- Each. 33400/=

13/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 24.Nos. 1290/= Each. 30960/=

14/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete

1. 4” dia. = 465Rft. 344/- PRFt. 159960/=
2. ¾”dia. = 900Rft. 126/- PRFT. 113400/=
3. ½” dia. = 390Rft. 105/- PRFT. 40950/=

15/- Add: extra labour for concealed G.I pipe & fitting i/c making recess in

The wall pipe & making good in cement mortar etc complete.

(S.I.No:2 P.No:12).

1. ½” dia. = 390.Rft. 7/82 P.Rft. 3054/=
2. ¾” dia. = 900.Rft. 8/45 P.Rft. 7605/=

Total Rs:- 28,58,281/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO B-BLOCK P.M.C & H AT NAWABSHAH.

SCHEDULE-B

.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling glazed or encaustic tiles etc.

(S.I.No:55 P.No:13). = 120.Sft. 786/50 %Sft. 944/=

2/- Dismantling brick work lime or cement mortar.

(S.I.No:13 P.No:10). = 60.Cft. 1285/63 %Cft. 770/=

3/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 81.Cft. 13112/99 %Cft. 10622/=

4/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 599.Sft. 2206/60 %Sft. 13218/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 599.Sft. 2197/52 %Sft. 13163/=

6/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 275.Sft. 27678/86 %Sft. 76117/=

7/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 470.Sft. 28253/61 %Sft. 132792/=

8/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 1300Sft. 190/72 PSft. 247936/=

9/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58).

1. With Chowkats. = 175.Sft. 1273/76 PSft. 222908/=
2. Only Shutter. = 115.Sft. 902/53 PSft. 103904/=

10/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 294.Sft. 180/50 PSft. 53067/=

11/- P/F iron collapsible gate with channel framing of section ¾’x5/16”

At 4” i/c revitted with ¾”x1/8” flat iron patti placed diagonally and

Provided with top & bottom T-section 1”x1” 1/8”along with rollers

Also i/c locking arrangement and fixing in floor/ceiling or wall etc

Completed.(S.I.No:32 P.No:94). = 174.Sft. 387/04 PSft. 67345/=

12/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

(S.I.No:5 P.No:69).

1. 3.coats.(New Surface). = 462.Sft. 1270/83 %Sft. 5871/=
2. 2.coats.(Old surface). = 2566.Sft. 674/60 %Sft. 17310/=

13/- Preparing surface painting doors and windows any type i/c edges

.(S.I.No:5 P.No:69).

1. 2.coats. = 1400.Sft. 1160/06 %Sft. 16241/=
2. 3.coats. = 636.Sft. 2116/41 %Sft. 13460/=

14/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

1. 3.Coats. = 1300.Sft. 1270/83 %Sft. 16521/=
2. 2.Coats. = 2130.Sft. 674/19 %Sft. 14360/=

15/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat.

(S.I.No:36(b)P.No:54). = 50487Sft. 1772/38 %Sft. 894821/=

16/- Distemper on walls 2.coats.(S.I.No:24(b)P.No:54). = 30432Sft. 1043/90 %Sft. 317680/=

17/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 15540Sft. 1498/48 %Sft. 232864/=

18/- Extra labour for external surface for distermper/paint above

20’ft: For Each 10’ft:.(S.I.No: P.No: ) = 15540Sft. 456/18 %Sft. 70890/=

19/- S/F in position Alumunium channels framing for hinged doors or

Alcop make with 5mm thick tinted glass glazing (Belgium) and

Alpha(Japan)locks i/c handles stoppers etc(b)Deluxe model

(Bronze).(S.I.No:83(b)P.No:108). = 70.Sft. 1507/66 PSft. 105536/=

20/- S/F in position Alumunium channels framing for slidding windows

& ventilators of Alcope made with 5mm thick tinted glass glazing

(Belgium)& Alumunium fly screen i/c handles stoppers & locking

Arrangement etc complete(b)Deluxe model(Bronze).

(S.I.No:84(b)P.No:108). = 70.Sft. 1647/69 PSft. 115338/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 27,36,678/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 8.No. 5088/20 Each. 40706/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 14.Nos. 4253/70 Each. 59552/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3)= 14.Nos. 938/47 Each. 13139/=

4/- P/F 24”x18”x8”white glazed fire clay sinks complete wioth & i/c the

Cost of C.I or W.I brackets 6”inches built into walls 1-1/2” rubber

Plug & chrome plated brass chain 1-1/2”CP brass washer 1-1/2”dia

Malleable iron or CP brass trap with malleable iron of brass unions

& making requisite number of holes in walls plinth & floor for pipe

Connection & making good in cement concrete 1:2:4(Foreign or

Equivalent)(S.I.No:18 P.No:5). = 1.No. 4722/30 Each. 4722/=

5/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 6.No. 11477/40 Each. 68864/=

6/- P/F flat back lipped from urinal basin (of not less than 17”in height)

Of white glazed earthen ware complete with and i/c the cost of

1gallon C.I automatic flushing cistern with fitting a pot cock C.I or

W.I brackets standard flush pipe with fitting standard waste pipe

(enameled iron)connection complete and making requisite number

Of holes in walls plinth &floor for pipe connection & making good

In cement concrete 1:2:4(std:Pattern)(S.I.No:6 P.No:2).

= 3.Nos. 3890/70 Each. 11672/=

7/- P/F 6”x2” or 6”x3”C.I floor trap of the approved selt cleaning design

With a C.I screwed down grating with or without a vent arm complete

With & i/c making requisite number of holes in walls plinth & floor for

Pipe connections & making good cement concrete 1:2:4.

(S.I.No:20 P.No:6). = 6.Nos. 2042/43 Each. 12255/=

8/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 10.Nos. 843/92 Each. 8439/=

9/- Flush Tank low level plastic 3Gallons(Golden Brand or std:Pattern).

(Superior Qlty:)(S.I.No:25 (b)P.No:122). = 12.Nos. 1400/- Each. 16800/=

10/- P/F handlve valve (china).(S.I.No:5 P.No:17).

1. ¾” dia. = 2.Nos. 271/92 Each. 544/=

11/- S/F Surgical pillars cock with Elbow action CP red etc complete.

(S.I.No:21 P.No:19). = 2.Nos. 6358/- Each. 12716/=

12/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 30.Nos. 447/15 Each. 13414/=

13/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 30.Nos. 1109/46 Each. 33284/=

14/- P/F 24”x18”bavelled edge mirror of Belgium glass complete with

1/8”thick hard board and CP screws fixed to wooden pleat(Superior

Quality)(S.I.No:3 (b)P.No:7). = 2.Nos. 2376/- Each. 4752/=

15/- Add: extra labour for concealed G.I pipe & fitting i/c making recess in

The wall pipe & making good in cement mortar etc complete.

(S.I.No:2 P.No:12).

1. ½” dia. = 290.Rft. 7/82 P.Rft. 2028/=
2. ¾” dia. = 170.Rft. 8/45 P.Rft. 1329/=

16/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 12.Nos. 835/- Each. 10020/=

17/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 5.Nos. 1290/= Each. 6367/=

18/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 50Rft. 344/- PRFt. 1720/=
2. ¾”dia. = 170Rft. 126/- PRFT. 21420/=
3. ½” dia. = 240Rft. 105/- PRFT. 25200/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 3,67,468/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO P.M.C & H AT NAWABSHAH(PUMP ROOM).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 466.Cft. 3176/25 %ocft. 1480/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). *= 146.Cft.* 8694/95 %Cft. 12695/=

3/- Pacca brick work in foundation/plinth in cement sand

Mortor 1:6.(S.I.No:4 P.No:19). = 438.Cft. 11948/36 %Cft. 52334/=

4/- D.P.C with (Cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28(c)P.No:19).

= 88.Sft. 4982/18 %Sft. 3882/=

5/- Filling, Watering and Ramming earth in Floor with surplus

earth from foundation lead up to one Chain and lift up to 5‘ft:.

(S.I.No:21 P.No:4). = 311.Cft. 1512/50 %oCft. 470/=

6/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 56.Cft. 8122/95 %Cft. 4549/=

7/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 573Cft. 12674/36 %Cft. 72624/=

8/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 9.87Cwt. 5001/70 PCwt. 49367/=

9/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 209.Cft. 337/- PCft. 70433/=

10/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 965.Sft. 121/- %Sft. 1168/=

11/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 18.Rft. 228/90 PRft. 4120/=

12/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling with cement sand slurry of ratio 1:6 and repairing the

Jambs. The cost also i/c all carriage tools and plants used in making

And fixing.(S.I.No:28 P.No:92). = 55.Rft. 240/50 PRft. 13228/=

13/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 51.Sft. 902/93 PSft. 46049/=

14/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 26.Sft. 180/50 PSft. 4693/=

15/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 2104Sft. 2206/60 %Sft. 46427/=

16/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 2104Sft. 2197/52 %Sft. 46236/=

17/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels. (S.I.No:16 P.No:41).

1. 3”thick. = 300.Sft. 4411/82 %Sft. 78442/=
2. 2”thick. = 1508Sft. 3275/50 %Sft. 49395/=

18/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.(S.I.No:13 P.No:34).

= 1508Sft. 1887/40 %Sft. 28462/=

19/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11(a)P.No:52). = 202Sft. 3015/76 %Sft. 6092/=

20/- White washing walls 3.coats.(S.I.No:24(b)P.No:52). = 338Sft. 829/95 %Sft. 2805/=

21/- Primary coat of chalk under distemper.(S.I.No:23 P.No:53).

= 2104Sft. 442/75 %Sft. 9315/=

22/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:52). = 338.Sft. 1043/90 %Sft. 3528/=

23/- Preparing surface painting doors and windows any type i/c edges

3.caots(New Surface) .(S.I.No:5 P.No:69). = 128.Sft. 2116/41 %Sft. 2709/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,45,296/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO GYNE OPD P.M.C & H AT NAWABSHAH.(E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface as required.

(E.S.I.No:123 P.No:15). = 36.Nos. 797/- Each. 28692/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)PVC conduit on surface as required.

(E.S.I.No:125 P.No:15). = 10.Nos. 669/- Each. 6690/=

3/- P/L(Main or Sub Main)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.

(E.S.I.No:3 P.No:1). = 248.Meter.171/- P.Mtr:. 42408/=

4/- P/F brass batten holder.(E.S.I.No:232 P.No:33). = 36.Nos. 70/- Each. 2520/=

5/- P/F one way SP10/15Amp:switch surface type.

(E.S.I.No:218 P.No:33). = 36.Nos. 58/- Each. 2088/=

6/- P/F two pin 5amp: plug & Socket.(E.S.I.No:222 P.No:33). = 10.Nos. 80/- Each. 800/=

7/- P/F Circuit breaker 15,20,30,40,50,60,75 & 100amp: TP

(XS-100NS)on prepared board as required.

(E.S.I.No:207 P.No:31). = 3.Nos. 9261/- Each. 27783/=

8/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 26.Nos. 3185/- Each. 82810/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,93,791/=

PART “B” NON SCHEDULE ITEMS.

1/- s/f OF Double Shutter Panel Board. = 5.Sft. PSft.

2/- Erection of ceiling fan. = 26.Nos. Each.

3/- P/F of fancy fan Dimmer. = 26.Nos. Each

4/- P/F of Energy Saver good quality. = 72.Nos. Each.

5/- P/F of tube light 4’ft: long 40walts. = 28.Nos. Each.

6/- P/F of PVC Service wire Aluminium Conductor 2-7.052. = 216.Mtr:. P.Mtr:.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO BACHLAR FLATS AT P.M.C & H AT NAWABSHAH. (E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface as required.

(E.S.I.No:123 P.No:15).

1. Light Point. = 176.Nos. 797/- Each. 140272/=
2. Fan Point. = 53.Nos. 797/- Each. 42241/=

2/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 50.Nos. 80/- Each. 4000/=

3/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(s.No:3 P.No:1).= 603.Meter. 171/- P.Meter. 103113/=

4/- P/F one way SP 10/15Amp: switch surface type.

(E.S.I.No:218 P.No:33). = 229.Nos. 58/- Each. 13282/=

5/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 26.Nos. 916/- Each. 23816/=

6/- P/F Circuit breaker 15,20,30,40,50 & 60Amp TP(XE-100CS[CB])

On prepared board as required.(E.S.I.No:206 P.No:31). = 2.NoS. 5521/- Each. 11042/=

7/- P/F Circuit breaker 15,20,30,40,50,60,75 & 100Amp: TP

(XS-100NS)on prepared board as required. = 1.No. 9261/- Each. 9261/=

8/- P/F brass batten holder.(E.S.I.No:232 P.No:33). = 176Nos. 70/- Each. 12320/=

9/- P/F Bakelite ceiling rose with two terminals.

(E.S.I.No:228 P.No:33). = 53.Nos. 72/- Each. 3816/=

10/- P/F brass ceiling fan 56”(good quality).(E.S.I.No:235 P.No:34).

= 2.Nos. 3185/- Each. 50960/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,14,123/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F Double Shutter panel Board. = 6.Sft. PSft.

2/- P/F of Fancy Dimer. = 50.Nos. Each.

3/- Errection of ceiling fan. = 16.Nos. Each.

4/- P/F of Energy saver good quality. = 176.Nos. Each.

5/- Providing of PVC service wire 2-7.052 Alumium conductor. = 166.Meter. P.Meter.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO EYE O.P.D AT P.M.C & H AT NAWABSHAH. (E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface recessed In the wall

or columns as req:. (E.S.I.No:123 P.No:15).Light Point. = 20.Nos. 1130/- Each. 22600/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)PVC conduit recessed in the wall or columns as req:.

(E.I.S.No:126 P.No:15). = 6.Nos. 985/= Each. 5910/=

3/- P/L(main or sub Main)PVC insulated with size 2-7.029 copper

Conductor in ¾”dia PVC conduit recessed in the wall or col:

As required.(E.S.I.No: P.No: ) = 142.Mtr:. 222/- P.Mtr:. 31524/=

4/- P/L(Main or Sub-Main)PVC insulated with size 2-7.044 (6mm)2

Copper conductor in 1”dia PVC conduit surface. = 330Mtr:. 341/- P.Mtr:. 112530/=

5/- P/L (Main or Sub-Main)PVC insulated with size 2-7.064 (16mm2)

Copper conductior in ¾”dia PVC in the wall or coloumns = 164.Mtr;. 641/- P.Mtr:. 105124/=

6/- P/F Circuit breaker 125,150,200 & 225Amp TP(XS-225NS)on prepared

Board as required.(E.S.I.No:208 P.No:31). = 1.No. 25541/- Each. 25541/=

7/- P/F Circuit breaker 15,20,30,40,50,60,75 & 100amp: TP

(XS-100NS)on prepared board as required.

(E.S.I.No:207 P.No:31). = 2.Nos. 9261/- Each. 18522/=

8/- P/F one way SP 10/15Amp: switch surface type.

(E.S.I.No:218 P.No:33). = 20.Nos. 58/- Each. 1160/=

9/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 6.Nos. 80/- Each. 480/=

10/- P/F brass batten holder.(E.S.I.No:232 P.No:33). = 20Nos. 70/- Each. 1400/=

11/- P/L (Main or Sub-Main)PVC insulated & PVC sheeted with

4core copper conductor 600/1000 volts size 70mm2). = 27Mtr:. 4722/- P.Mtr:. 127494/=

12/- P/F brass ceiling fan 56”(good quality).(E.S.I.No:235 P.No:34).

= 28.Nos. 3185/- Each. 89180/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,41,465/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F panel Board. = 4.SftP Sft.

2/- P/F of Tube light 40watts long complete with chock patti

Holder starter inter connection complete in all respect. = 30.Nos. Each.

3/- P/F of Energy saver good quality. = 103.Nos. Each.

4/- P/F of Over head service wire aluminum conuctor 2-7.-052. = 104.Mtr:. P.Mtr:.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,06,623/=

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO UNION OFFICE P.M.C & H AT NAWABSHAH (E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface recessed In the wall

or columns as req:. (E.S.I.No:123 P.No:15).Light Point. = 14.Nos. 1130/- Each. 15820/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)PVC conduit recessed in the wall or columns as req:.

(E.I.S.No:126 P.No:15). = 6.Nos. 985/= Each. 5910/=

3/- P/L(main or sub Main)PVC insulated with size 2-7.029 copper

Conductor in ¾”dia PVC conduit recessed in the wall or col:

As required.(E.S.I.No: P.No: ) = 42.Mtr:. 222/- P.Mtr:. 9324/=

4/- P/F one way SP 10/15Amp: switch surface type.

(E.S.I.No:218 P.No:33). = 14.Nos. 58/- Each. 812/=

5/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 6.Nos. 80/- Each. 480/=

6/- P/F brass batten holder.(E.S.I.No:232 P.No:33). = 10Nos. 70/- Each. 700/=

7/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 4.Nos. 3185/- Each. 12740/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 45,786/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F of Energy saver. = 14.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- M/R TO I.C.U P.M.C & H AT NAWABSHAH. (E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface recessed In the wall

or columns as req:. (E.S.I.No:123 P.No:15).Light Point. = 16.Nos. 1130/- Each. 18080/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)PVC conduit recessed in the wall or columns as req:.

(E.I.S.No:126 P.No:15). = 6.Nos. 985/= Each. 5910/=

3/- P/L(main or sub Main)PVC insulated with size 2-7.029 copper

Conductor in ¾”dia PVC conduit recessed in the wall or col:

As required.(E.S.I.No: P.No: ) = 68.Mtr:. 222/- P.Mtr:. 15096/=

4/- P/F one way SP 10/15Amp: switch surface type.

(E.S.I.No:218 P.No:33). = 16.Nos. 58/- Each. 928/=

5/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 6.Nos. 80/- Each. 480/=

6/- P/F brass batten holder.(E.S.I.No:232 P.No:33). = 16Nos. 70/- Each. 1120/=

7/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 2.Nos. 3185/- Each. 6370/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 47,984/=

PART “B”NON SCHEDULE ITEMS.

1/- P/F Energy Saver of approved quality. = 14.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

NAME OF WORK:- ESTABLISHMENT OF MAIN RESOURCE CENTRE AND FACILITIES ATI SAKRAND

(MOSQUE PROVIDING E.I WORK).\_

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface recessed In the wall

or columns as req:. (E.S.I.No:123 P.No:15).Light Point.

1. Light Point.
2. Fan Point. = 35.Nos. 1130/- Each. 39550/=

2/- P/L(main or sub Main)PVC insulated with size 2-7.029 copper

Conductor in ¾”dia PVC conduit recessed in the wall or col:

As required.(E.S.I.No: P.No: ) = 82.Mtr:. 222/- P.Mtr:. 18204/=

3/- P/F one way SP 10/15Amp: switch surface type.

(E.S.I.No:218 P.No:33). = 26.Nos. 58/- Each. 1508/=

4/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33).= 8.Nos. 80/- Each. 640/=

5/- P/F brass batten holder.(E.S.I.No:232 P.No:33). = 26Nos. 70/- Each. 1820/=

6/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 9.Nos. 3185/- Each. 28665/=

7/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 4.Nos. 916/- Each. 3664/=

8/- P/F Circuit breaker 15,20,30,40,50 & 60Amp TP(XE-100CS[CB])

On prepared board as required.(E.S.I.No:206 P.No:31). = 1.NoS. 5521/- Each. 5521/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 99,572/=

PART “B” NON SCHEDULE ITEMS.

1/- p/f OF Double Shutter Panal Board. = 2.Sft. PSft.

2/- P/F of Mild Stell Bar Fan hook. = 9.Nos. Each.

3/- P/F of Dimmer for fan. = 9.Nos. Each.

4/- Errection of ceiling fan Down Rod. = 9.Nos. Each.

5/- P/F nergy saver approved quality. = 26.Nos. Each.

6/- P/F of PVC service wire 2-7.052 Alumnium conductor. = 62.Mtr:. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad

SCHEDULE “B”

NAME OF WORK:- CONSTRUCTION OF NEW CIRCUIT HOUSE NAWABSHAH(FIRST FLOOR)(PROVIDING E.I).

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire

In 20mm(3/4”)PVC conduit on surface recessed In the wall

or columns as req:. (E.S.I.No:123 P.No:15).Light Point.

1. Light Point. = 160.Nos. 1130/- Each. 180800/=

1. Fan Point. = 26.Nos. 1130/- Each. 29380/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)PVC conduit recessed in the wall or columns as req:.

(E.I.S.No:126 P.No:15). = 73.Nos. 985/= Each. 71905/=

3/- P/L(main or sub Main)PVC insulated with size 2-7.029 copper

Conductor in ¾”dia PVC conduit recessed in the wall or col:

As required.(E.S.I.No: P.No: ) = 451.Mtr:. 222/- P.Mtr:. 100122/=

4/- P/L(Main or Sub-Main)PVC insulated with size 2-7.044 (6mm)2

Copper conductor in 1”dia PVC conduit surface. = 348Mtr:. 341/- P.Mtr:. 118668/=

5/- P/L (Main or Sub-Main)PVC insulated with size 2-7.064 (16mm2)

Copper conductior in ¾”dia PVC recessed in the wall or coloumns

As required. = 115.Mtr;. 641/- P.Mtr:. 73715/=

6/- P/F Circuit breaker 15,20,30,40,50,60,75 & 100amp: TP

(XS-100NS)on prepared board as required.

(E.S.I.No:207 P.No:31). = 4.Nos. 9261/- Each. 37044/=

7/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 46.Nos. 916/- Each. 42136/=

8/- P/F voltmeter size 96/96mm 500 volts as req:and as per

Instruction iof E.I (E.S.I.No:285 P.No:41). = 4.Nos. 999/- Each. 3996/=

9/- P/F Dip i/c change over switch 500 volts 500amp and prepared

Board.(E.S.I.No: 201 P.No:30). = 1.No. 40126/- Each. 40126/=

10/- P/L(Main or Sub-Main PVC insulated and PVC sheeted with 4core

Copper conductor 600/1000 volts size 50mm2.(E.S.I.No:102 P.No:12).

= 32Mtrs;. 3312/- PMtr:. 105984/=

11/- P/F of street Light 250-watt.(E.S.I.No: 160 P.No:25). = 8.Nos. 8455/- P.Mtr:. 67640/=

12/- S/F Bracket fan 18”(good quality)(E.S.I.No: 236 P.No:34)= 8.Nos. 2791/- Each. 22328/=

13/- P/F brass button holder.(E.S.I.No: 232 P.No:33). = 160Nos. 70/- Each. 11200/=

14/- P/F three pein 5amp plug & socket a Flush type switches.

(E.S.I.No: 227 P.No:33). = 16.Nos. 162/- Each. 2592/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 9,85,218/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F main panel board double shutter to accommodate heavy

Duty Circuit bracker i/c painting with enameled paint for other

Similar job on surface. = 7.Sft. P.Sft.

2/- P/F of fan Dimmer approved quality suitable for 56”ceiling fan

As directed by site incharge. = 26.Nos. Each.

3/- Eerrection of ceiling fan i/c wiring of down rod with 1.13(3/.029)PVC

Wire fixing in regular block canopy etc as required. = 26.Nos. Each

4/- P/F of LED ceiling light of 8”size approved quality i/c fixing in fall

Ceiling with internal connection etc complete in all respects.

= 134.Nos. Each

5/- P/F of Energy Saver(Superior Quality). = 72.Nos. Each.

6/- P/F of fancy wall bracket Light with internal connection

Complete in all respect. = 26.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

Contractor Executive Engineer

Provincial Buildings Division

Shahheed Benazir Abad