## Schedule-B
Name of Work:- M&R to Session Court (Old) Sanghar. (Electric Work)
Schedule-B
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Items.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.129, P-15) | 160 | -Nos: | 910 | P.Point. | 145600 | 145600
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.130, P-15) | 70 | -Nos: | 742 | P.Point. | 51940 | 51940
3 | Wiring for call bell with (3/.029) PVC insulated wire in 20mm (3/4") Channal patti as required. (S.I.No.131, P-15) | 10 | -No: | 1590 | P.Point. | 15900 | 15900
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit on surface. (S.I.No.03, P-01) | 250 | -Met: | 171 | P.Met: | 42750 | 42750
5 | P/L (MAIN SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1'' dia PVC conduit on surface.(S.I.No.5, P-1) | 80 | Mtr | 305 | P.Rft: | 24400 | 24400
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.052 (10 mm 2) copper conductor in 1" dia PVC conduit on surface. (S.I.No.06, P-01) | 60 | -Met: | 428 | P.Met: | 25680 | 25680
7 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required.. (S.I.No.203, P-31) | 20 | -No: | 916 | Each. | 18320 | 18320
8 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp DP (TB-5S) on prepared board as required.. (S.I.No.204, P-31) | 3 | -No: | 2456 | Each. | 7368 | 7368
9 | P/F Circuit Circuit breaker 15,20,30,40,50, & 60 amp TP (XE-100CS[CB]) on prepared board as required.. (S.I.No.206, P-31) | 2 | -No: | 5521 | Each. | 11042 | 11042
10 | P/F Circuit Circuit breaker 15,20,30,40,50,60,75 & 100 amp TP (XE-100NS) on prepared board as required.. (S.I.No.207, P-31) | 1 | -No: | 9261 | Each. | 9261 | 9261
11 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) | 160 | -No: | 58 | Each. | 9280 | 9280
12 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) | 70 | -No: | 83 | Each. | 5810 | 5810
13 | P/F brass battern holder.(S.I.No 232, P-33). | 90 | -No: | 70 | Each. | 6300 | 6300
14 | P/F Bakelit celling rose with two terminals. (S.I.No B-228, P-33) | 70 | -No: | 72 | Each. | 5040 | 5040
15 | P/F Voltmeter size 96/96mm 500 volt as required & as per instuction of E.I (S.I.No.285 P-41) | 3 | -No: | 999 | Each. | 2997 | 2997
16 | P/F Channel Patti 3/4" as requied as per instruction of E.I (S.No: 295 page No: 43) | 650 | Rft | 34 | P'Rft | 22100 | 22100
|  | T o t a l :- |  |  |  | 403788 | 403788
Part (B) Non Shedule Item.
1 | P/F Energy Saver 24 watts superior quality an existing holder as required. | 12 | -Nos: |  | Each. | 0
2 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. | 8 | -Sft: |  | -P-Sft: | 0
3 | P/F Pilot Lamp as required. | 8 | -Nos: |  | Each. | 0
4 | P/F Ceiling fan 56" sweep Celling Fan complete with rod fald canopy etc as required. Pak Royal G.F.C etc complete. | 5 | -No: |  | Each. | 0
5 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. | 30 | -No: |  | Each. | 0
6 | P/F universal 15 amp fixed on a board and necessary connection as required. | 15 | -Nos: |  | Each. | 0
7 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 20 | -No: |  | Each. | 0
8 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 35 | -Nos: |  | Each. | 0
|  | T o t a l :- |  |  |  | 0
Contractor |  |  |  | Executive Engineer Provincial Buildings Division Shaheed Benazirabad

## Sb
M&R to Session Court (Old) Sanghar. (Electric Work)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Items.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.129, P-15) | 160 | -Nos: | 910 | P.Point. | 145600 | 145600
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20 mm (3/4") channel patti on surface as required. (S.I.No.130, P-15) | 70 | -Nos: | 742 | P.Point. | 51940 | 51940
3 | Wiring for call bell with (3/.029) PVC insulated wire in 20mm (3/4") Channal patti as required. (S.I.No.131, P-15) | 10 | -No: | 1590 | P.Point. | 15900 | 15900
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit on surface. (S.I.No.03, P-01) | 250 | -Met: | 171 | P.Met: | 42750 | 42750
5 | P/L (MAIN SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1'' dia PVC conduit on surface.(S.I.No.5, P-1) | 80 | Mtr | 305 | P.Rft: | 24400 | 24400
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.052 (10 mm 2) copper conductor in 1" dia PVC conduit on surface. (S.I.No.06, P-01) | 60 | -Met: | 428 | P.Met: | 25680 | 25680
7 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required.. (S.I.No.203, P-31) | 20 | -No: | 916 | Each. | 18320 | 18320
8 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp DP (TB-5S) on prepared board as required.. (S.I.No.204, P-31) | 3 | -No: | 2456 | Each. | 7368 | 7368
9 | P/F Circuit Circuit breaker 15,20,30,40,50, & 60 amp TP (XE-100CS[CB]) on prepared board as required.. (S.I.No.206, P-31) | 2 | -No: | 5521 | Each. | 11042 | 11042
10 | P/F Circuit Circuit breaker 15,20,30,40,50,60,75 & 100 amp TP (XE-100NS) on prepared board as required.. (S.I.No.207, P-31) | 1 | -No: | 9261 | Each. | 9261 | 9261
11 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) | 160 | -No: | 58 | Each. | 9280 | 9280
12 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) | 70 | -No: | 83 | Each. | 5810 | 5810
13 | P/F brass battern holder.(S.I.No 232, P-33). | 90 | -No: | 70 | Each. | 6300 | 6300
14 | P/F Bakelit celling rose with two terminals. (S.I.No B-228, P-33) | 70 | -No: | 72 | Each. | 5040 | 5040
15 | P/F Voltmeter size 96/96mm 500 volt as required & as per instuction of E.I (S.I.No.285 P-41) | 3 | -No: | 999 | Each. | 2997 | 2997
16 | P/F Channel Patti 3/4" as requied as per instruction of E.I (S.No: 295 page No: 43) | 650 | Rft | 34 | P'Rft | 22100 | 22100
|  | T o t a l :- |  |  |  | 403788 | 403788
Part (B) Non Shedule Item.
1 | P/F Energy Saver 24 watts superior quality an existing holder as required. | 12 | -Nos: | 598 | Each. | 7176 | 7176
2 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. | 8 | -Sft: | 3000 | -P-Sft: | 24000 | 24000
3 | P/F Pilot Lamp as required. | 8 | -Nos: | 300 | Each. | 2400 | 2400
4 | P/F Ceiling fan 56" sweep Celling Fan complete with rod fald canopy etc as required. Pak Royal G.F.C etc complete. | 5 | -No: | 5000 | Each. | 25000 | 25000
5 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. | 30 | -No: | 270 | Each. | 8100 | 8100
6 | P/F universal 15 amp fixed on a board and necessary connection as required. | 15 | -Nos: | 650 | Each. | 9750 | 9750
7 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 20 | -No: | 310 | Each. | 6200 | 6200
8 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 35 | -Nos: | 380 | Each. | 13300 | 13300
|  | T o t a l :- |  |  |  | 75450 | 95926
G E N E R A L A B S T R A C T.
1) | Part (A) E.I Schedule Items. |  |  | RS:- |  | 403788 | 403788
2) | Part (B) Non Shedule Item. |  |  | RS:- |  | 75450 | 95926
|  |  |  | G. TOTAL :- |  | 479238 | 499714
N O T E :-
1) | Premium on non schedule item will not be allowed.
2) | Cartage of any item either supplied y the Department if the contractor arrang will be not allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Provincial Buildings Division Shaheed Benazirabad