JINNAH SINDH MEDICAL UNIVERSITY, KARACHI

BIDDING DOCUMENT FOR

TENDER FOR SUPPLY OF MAJOR EQUIPMENTS, DENTAL CHAIRS, DENTAL MATERIALS AND INSTRUMENTS FOR SINDH INSTITUTE OF ORAL HEALTH SCIENCES, J.S.M.U, KARACHI.

April, 2016

Jinnah Sindh Medical University

Rafiqui H.J. Shaheed Road, Karachi. Postal Code# 75510

www.Jsmu.edu.pk Tel: 99204776, 35223812-15 (Ext- 350) Fax # 99201372

LIST OF CONTENTS

| PART | DESCRIPTION |
| --- | --- |
| Part-I | NOTICE INVITING TENDERS |
| Part-II | INSTRUCTIONS TO BIDDERS |
| Part-III | GENERAL CONDITIONS OF CONTRACT |
| Part-IV | BID DATA SHEET |
| Part-V | SPECIAL CONDITIONS OF CONTRACT |
| Part-VI | SCHEDULE OF REQUIREMENT |
| Part-VII | SAMPLE FORMS |
| Part-VIII | TECHNICAL SPECIFICATION |

JINNAH SINDH MEDICAL UNIVERSITY KARACHI.

PLANNING & DEVELOPMENT DEPARTMENT

Ref: JSMU/P.D/NIT/1019/						Dated: ______________

NOTICE INVITING TENDER

Sealed Bids are invited form manufacturers or authorized agents registered with Tax Authorities for the supply and fixing of following items: (Single Stage two envelopes procedure):

- The Bidding shall be Single Stage – Two Envelopes Procedure. First Envelope should contain Technical Proposal only and be clearly marked as TECHNICAL PROPOSAL.

- Second Envelope should contain Financial Proposal (Rates) along with earnest money @ 2% of the quoted rates in shape of Pay Order / Demand Draft (Refundable).

- Both the Envelopes should be sealed separately and placed in a Third Envelope. The Name of the Bidder to be clearly marked on all Envelopes.

- Bidding Documents fee in the form of pay order / demand draft Rs. 3000/- in favor of Jinnah Sindh Medical University, Karachi. (Non – Refundable)

- SUPPLY OF MAJOR EQUIPMENTS, DENTAL CHAIRS, DENTAL MATERIALS AND INSTRUMENTS FOR SINDH INSTITUTE OF ORAL HEALTH SCIENCES, J.S.M.U, KARACHI.

TERMS AND CONDITIONS:

- Bidding Documents can be collected from the Planning & Development Department, 3rd Floor, Jinnah Sindh Medical University, Karachi. Telephone No. 021-35223812-15 Ext-350, Fax 021-99201372 from 12-08-2015 to 29-08-2015 during office hours.

- Bidding Documents can also be downloaded from SPPRA i.e. www.pprasindh.gov.pk and this university website www.jsmu.edu.pk.

- The details / specifications are mentioned in bidding documents.

- The tenders will be received back up to 29-08-2015 at 11:00 AM and will be opened on the same day at 11:30 AM in the presence of Procurement Committee and the bidders or their authorized representatives who wish to be present.

- Bid Security amounting to 2% of Bid Price should be submitted along with Bid in shape of Pay Order in favor of Jinnah Sindh Medical University, issued by any scheduled Bank of Pakistan.

- The bid security will be forfeited to the Government, if the bidder withdraws his bid after opening and before the expiry of the bid validity period or fails to sign the contract if the bid is accepted.

- The bidder must compulsory participate in complete package on Bid.

- Conditional Bid and Bid without bid security shall not be considered.

- GST / Income Tax certificates, as the case may be, must be accompanied with the tender/Bid.

- The Procuring agency may reject all or any bid at any time prior to the acceptance of a bid or proposal, subject to the relevant provisions of SPPRA Rules-2010 (amended 2013).

Advisor P&D / Procurement

Planning & Development Department

Jinnah Sindh Medical University,

Karachi.

Part-II

Instruction to bidders

Preparation of Bids

|  | Scope | 1.1 | The Jinnah Sindh Medical University, Karachi intend to Purchase “MAJOR EQUIPMENTS, DENTAL CHAIRS, DENTAL MATERIALS AND INSTRUMENTS FOR SINDH INSTITUTE OF ORAL HEALTH SCIENCES, J.S.M.U, KARACHI” through National Competitive Bidding Single Stage Two Envelope Procedure as per SPPRA Rules-2010 (Amended 2013). |
| --- | --- | --- | --- |
|  | Language of Bid | 2.1 | The bid prepared by the Bidder, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Procuring agency shall be written in the English language. |
|  | Documents Comprising the Bid | 3.1 | The bid prepared by the Bidder shall comprise the following components: - Price Schedule completed in accordance with ITB Clauses 4, 5 and 6. - bid security furnished in accordance with ITB Clause-9. |
|  | Bid Prices | 4.1 | The Bidder shall indicate on the appropriate Price Schedule the unit prices (where applicable) and total bid price of the goods it proposes to supply under the contract. |
|  |  | 4.2 | The prices shall be quoted on delivery to consignee’s end inclusive of all taxes, stamps, duties, levies, fees and installation and integration charges imposed till the delivery location specified in the schedule of Requirements. No separate payment shall be made of the incidental services. |
|  |  | 4.3 | Prices quoted by the by the Bidder shall be fixed during the Bidder’s performance of the contract and not subject to variation on any account, unless otherwise specified in the Bid Data Sheet. |
|  |  | 4.4 | Prices shall be quoted in Pak Rupees unless otherwise specified in the Bid Data Sheet. |
|  | Bid Form | 5.1 | The Bidder shall complete the Bid Form and the appropriate Price Schedule furnished in the bidding documents, indicating the goods to be supplied, a brief description of the goods, their country of origin, quantity, and prices. |
|  | Bid Currencies | 6.1 | Prices Shall be quoted in Pak Rupees. |
|  | Documents Establishing Bidder’s Eligibility and Qualification | 7.1 | The Bidder shall furnish, as part of its bid, documents establishing the Bidder’s eligibility to bid and its qualifications to perform the contract if its bid is accepted. - that, in the case of a Bidder offering to supply goods under the contract which the bidder did not manufacture or otherwise produce, the bidder has been duly authorized by the good Manufacture or producer to supply the goods in the Islamic Republic of Pakistan. - that the Bidder has the financial ,technical ,and production capability necessary to perform the contract; - that the Bidders meets the qualification criteria listed in the Bid Data Sheet. |
|  | Documents Establishing Goods’ Eligibility and Conformity to Bidding Documents | 8.1 | The documents evidence of conformity of the goods and services to the bidding documents may be in the form of literature, drawings, and Data, and shall consist of: - a detailed description of the essential technical and performance characteristics of the goods; - the Bidder shall note that standards for workmanship, material ,and equipment, as well as references to brand names or catalogue numbers designated by the Procuring agency in its Technical Specification are intended to be descriptive only and not restrictive :till stated otherwise in Technical Specifications or Bid Data Sheet .The Bidder may substitute alternative standards, brand names , and /or catalogue numbers in its bid , provided that demonstrates to the Procuring agency’s satisfaction that the substitutions ensure substantial equivalence to those designated in the in the Technical Specifications |
|  | Bid Security | 9.1 | The bid security is required to protect the Procuring agency against the risk of Bidder’s conduct, which would warrant the security’s forfeiture The bid security shall be denominated in the currency of the of the bid: - at the Bidder’s option, be in the form of either demand draft/call deposit or an unconditional bank guarantee from a reputable Bank: - be submitted in its original form: copies will not be accepted; - remain valid for a period of at least 14 days beyond the original validity period of bids, or at least 14 days beyond any extended period of bid validity. |
|  |  | 9.2 | bid security shall released to the unsuccessful bidders once the contract has been signed with the successful bidder or the validity period has expired. |
|  |  | 9.3 | The successful Bidder’s bid security shall be discharged upon the Bidder signing the contract, and furnishing the performance security. |
|  |  | 9.4 | The bid security may be forfeited: - if a Bidder withdraws its bid during the period of bid validity or - in the case of a successful Bidder, if the bidder fails: - to sign the contract in accordance or - to furnish performance security |
| 10. | Period of Validity of Bids | 10.1 | Bids shall remain valid for the period specified in the Bid Data Sheet after the date of bid opening prescribed by the Procuring agency. A bid valid for a shorter period shall be rejected by the Procuring agency as non responsive. |
|  |  | 10.2 | In exceptional circumstances, the Procuring agency may solicit the Bidder’s consent to an extension of the period of validity. The request and the responses thereto shall be made in writing. The bid security shall also be suitable extended. A Bidder may refuse the request without forfeiting its bid security. A Bidder granting the request will not be required not be required nor per mitted to modify its bid. |
| 11. | Format and Signing of Bid | 11.1 | The Bidder shall prepared an original and the number of copies of the bid indicated in the Bid Data Sheet, clearly marking each “ORIGINAL BID” as appropriate. In the event of any discrepancy between them, the original shall govern. |
|  |  | 11.2 | The original and the copy or copies of the bid shall be typed or written in indelible ink and shall be signed by the Bidder or a person or persons duly authorized to bind the Bidder to the contract. All pages of the bid, except for unamended printed literature, shall be initialed by the person or persons signing the bid. |
|  |  | 11.3 | Any interlineations, erasures, or overwriting shall be valid only if they are initialed by the person or persons signing the bid. |

Submission of Bids

| 12. | Sealing and Marking of Bids | 12.1 | The Bidder shall seal the original and each copy of the bid in separate envelopes, duly marking the envelopes as “ORIGINAL BID” The envelopes shall then be sealed in an outer envelope. The inner and outer envelopes shall be addressed to the Procuring agency at the address given in the BDS, and carry statement “DO NOT OPEN BEFORE20-04-2016 at 11.30 AM” |
| --- | --- | --- | --- |
|  |  | 12.2 | If the outer envelope is not sealed and marked as required, the Procuring agency shall assume no responsibility for the bid’s misplacement or premature opening. |
| 13. | Deadline for Submission of Bids | 13.1 | Bids must be received by the Procuring agency at the address specified in BDS, not later than the time and date specified in Bid Data Sheet. |
|  |  | 13.2 | The Procuring agency may, at its discretion, extend this deadline for the submission of bids by amending the bidding documents, in such case all rights and obligations of the Procuring agency and bidders previously subject to the deadline will thereafter be subject to the deadline. |
| 14. | Late Bids | 14.1 | Any bid received by the Procuring agency after the deadline for submission of bids prescribes by the Procuring agency shall be rejected and returned unopened to the Bidder. |
| 15. | Modification and Withdrawal of Bids | 15.1 | The Bidder may modify or withdraw its bid after the bid’s submission, provided that written notice of the modification, including substitution or withdrawal of the bids, is received by the Procuring agency prior to the deadline prescribed for submission of bids. |
|  |  | 15.2 | No bid may be modified after the deadline for submission of bids. |
|  |  | 15.3 | No bid may be withdrawn in the interval between the deadline for submission of bids and the expiry of the period of bid validity withdrawal of a bid during this interval may result in the Bidder’s forfeiture of its bid security. |

Opening and Evaluation of Bids

| 16. | Opening of Bids by the Procuring agency | 16.1 | The Procuring agency shall open all bids in the presence of bidder’s representatives who choose to attend, at the time, on the date, and at the place specified in the Bid Data Sheet. The bidders’ representatives who are present shall sign a register/attendance sheet evidencing their attendance. |
| --- | --- | --- | --- |
|  |  | 16.2 | The bidders’ names, bid modifications or withdrawals, bid prices, discounts, and the presences or absence of requisite bid security and such other details as the Procuring agency, at its discretion, may consider appropriate, will be announced at the opening. |
| 17. | Clarification of Bids | 17.1 | During evaluation of the bids, the Procuring agency may, at its discretion, ask the Bidder for a clarification of its bid. The request for clarification and the response shall be in writing, and no change in the prices or substance of the bid shall be sought, offered, or permitted. |
| 18. | Preliminary Examination | 18.1 | The Procuring agency shall examine the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed, and whether the bids are generally in order. |
|  |  | 18.2 | Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail, and the correction of the errors, its bid will be rejected, and its bid security may be forfeited. If there is a discrepancy between words and figures, the amount in words will prevail. |
|  |  | 18.3 | Prior to the detailed evaluation, the Procuring agency will determine the substantially responsive bid is one which conforms to all the terms and conditions of the bidding documents without material deviations. Procuring agency’s determination of a bid’s responsiveness is to be based on the contents of the bid itself. |
|  |  | 18.4 | If a bid is not substantially responsive, it will be rejected by the Procuring agency and may not subsequently be made responsive by the Bidder by correction of the nonconformity. |
| 19. | Evaluation and Comparison of Bids | 19.1 | The Procuring agency will evaluate and compare the bids which have been determined to be substantially responsive. |
|  |  | 19.2 | The Procuring agency’s evaluation of a bid will be on delivery to consignee’s end inclusive of all taxes, stamps, duties, levies, fees and installation and integration charges imposed till the delivery location and shall exclude any allowance for price adjustment during the period of execution of the contract. |
| 20. | Contacting the procuring agency | 20.1 | No Bidder shall contact the procuring agency on any matter relating to its bid, from the time of bid opening to the time the announcement of Bid Evaluation Report. If the Bidder wishes to bring additional information to the notice of the procuring agency, it should do so in writing. |
|  |  | 20.2 | Any effort by a Bidder to influence the Procuring agency in its decision on bid evaluation, bid comparison, or contract award may result in the rejection of the Bidder’s bid. |

Award of contract

| 21. | Post –Qualification | 21.1 | In the absence of prequalification, the procuring agency may determine to its satisfaction whether that selected Bidder having submitted the lowest evaluation responsive bid is qualified to perform the contract satisfactorily. |
| --- | --- | --- | --- |
|  |  | 21.2 | The determination will take into account the Bidder’s financial, technical, and production capabilities. It will be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the documentary evidence of the Bidder’s qualifications submitted by the Bidder, pursuant to ITB Claus-7 as well as such other information as the Procuring agency deems necessary and appropriate. |
|  |  | 21.3 | An affirmative determination will be a prerequisite for award of the contract to the Bidder. A negative determination will result in rejection of the Bidder’s bid, in which event the Procuring agency will proceed to the next lowest evaluated bid to perform satisfactorily. |
| 22. | Award Criteria | 22.1 | The Procuring agency will award the contract to the successful Bidder whose bid has been determined to be substantially responsive and has been determined to be the lowest evaluated bid, provided further that the Bidder is determined to be qualified to perform the contract satisfactorily. |
| 23. | Procuring agency’s Right to Accept any Bid and to Reject any or All Bids | 23.1 | Subject to relevant provisions of SPP Rules 2010 (Amended 2013), the Procuring agency reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award. |
|  |  | 23.2 | Pursuant to Rule 45 of SPP Rules 2010 (Amended 2013), Procuring agency shall hoist the evaluation report on Authority’s web site, and intimate to all the bidders seven days prior to notify the award of contract. |
| 24. | Notification of Award | 24.1 | Prior to the expiration of the period of bid validity, the Procuring agency shall notify the successful Bidder in writing, that its bid has been accepted. |
|  |  | 24.2 | Upon the successful Bidder’s furnishing of the performance security pursuant to ITB Clause 26, the Procuring agency will promptly notify each unsuccessful Bidder and will discharge its bid security. |
| 25. | Signing of Contract | 25.1 | At the same time as the Procuring agency notifies the successful Bidder that its bid has been accepted, the Procuring agency will send the Bidder the Contract Form provided in the bidding documents, incorporating all agreements between the parties. |
|  |  | 25.2 | Within fourteen (14) days, or any other period specified in BDS, of receipt of the Contract Form, the successful Bidder shall sign and date the contract and return it to the Procuring agency. |
| 26. | Performance Security | 26.1 | Within seven (07) days, or any other period specified in BDS, of the receipt of notification of award from the Procuring agency, the successful Bidder shall furnish the performance security in accordance with the Conditions of Contract, in the Performance Security Form provided in the bidding documents, or in another form acceptable to the Procuring agency. |
|  |  | 26.2 | Failure of the successful Bidder to comply with the requirement of ITB Clause 25 shall constitute sufficient grounds for the annulment of the award and forfeiture of the bid security, in which event the Procuring agency may make the award to the next lowest evaluated Bidder or call for new bids. |
| 27. | Corrupt or Fraudulent Practices | 27.1 | The Government of Sindh requires that Procuring agency’s (including beneficiaries of donor agencies’ loans), as well as Bidders/Suppliers/Contractors under Government-financed contracts, observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the SPPRA, in accordance with the SPP Act, 2009 and Rules made there under: - “Corrupt and Fraudulent Practices” means either one or any combination of the practices given below; - “Coercive Practice” means any impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence the actions of a party to achieve a wrongful gain or to cause a wrongful loss to another party; - “Collusive Practice” means any arrangement between two or more parties to the procurement process or contract execution, designed to achieve with or without the knowledge of the procuring agency to establish prices at artificial, noncompetitive levels for any wrongful gain; - “Corrupt Practice” means the offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence the acts of another party for wrongful gain; - “Fraudulent Practice” means any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; b)“Obstructive Practice” means harming or threatening to harm, directly or indirectly, persons or their property to influence their participation in a procurement process, or affect the execution of a contract or deliberately destroying, falsifying, altering or concealing of evidence material to the investigation or making false statements before investigators in order to materially impede an investigation into allegations of a corrupt, fraudulent, coercive or collusive practice; or threatening, harassing or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation, or acts intended to materially impede the exercise of inspection and audit rights provided for under the Rules. |

Part – III

General Conditions of Contract

| 1. Definitions | 1.1 In this Contract, the following terms shall be interpreted as indicated: (a) “The Contract” means the agreement entered into between the Procuring agency and the Supplier, as recorded in the Contract Form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein. (b) “The Contract Price” means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations. (c) “The Goods” means all of the equipment, machinery, and/or other materials, which the Supplier is required to supply to the Procuring agency under the Contract. (d) “The Services” means those services ancillary to the supply of the Goods, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training, and other such obligations of the Supplier covered under the Contract. (e) “GCC” means the General Conditions of Contract contained in this section. (f) “SCC” means the Special Conditions of Contract. (g) “The Procuring agency” means the Sindh Public Procurement Regulatory Authority (SPPRA), Government of Sindh. (h) “The Supplier” means the individual or firm supplying the Goods and Services under this Contract. (i) “SPP Rules 2010” means the Sindh Public Procurement Rules 2010 (Amended 2013). (j) “Day” means calendar day. |
| --- | --- |
| 2. Standards | The Goods supplied under this Contract shall conform to the standards mentioned in the Technical Specifications, and, when no applicable standard is mentioned, to the authoritative standards appropriate to the Goods’ country of origin. Such standards shall be the latest issued by the concerned institution. |
| 3. Patent Rights | The Supplier shall indemnify the Procuring agency against all third- party claims of infringement of patent, trademark, or industrial design rights arising from use of the Goods or any part thereof in the Islamic Republic of Pakistan. |
| 4. Performance Security | 4.1 Within seven (07) days, or any other duration as specified in SCC, of receipt of the notification of Contract award, the successful Bidder shall furnish to the Procuring agency the performance security in the amount specified in SCC. 4.2 The proceeds of the performance security shall be payable to the Procuring agency as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract. 4.3 The performance security shall be denominated in the Pak rupees and shall be an unconditional bank guarantee, pay order, call deposit as, provided in the bidding documents or another form acceptable to the Procuring agency; 4.4 The performance security will be discharged by the Procuring agency and returned to the Supplier not later than thirty (30) days following the date of completion of the Supplier’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in SCC. |
| 5 Inspections and Tests | 5.1 The Procuring agency or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract specifications at no extra cost to the Procuring agency. The Procuring agency shall notify the Supplier in writing, in a timely manner, of the identity of any representatives retained for these purposes. 5.2 Should any inspected or tested Goods fail to conform to the Specifications, the Procuring agency may reject the Goods, and the Supplier shall either replace the rejected Goods or make alterations necessary to meet specification requirements free of cost to the Procuring agency. 5.4 The Procuring agency’s right to inspect, test and, where necessary, reject the Goods after the Goods’ arrival shall in no way be limited or waived by reason of the Goods having previously been inspected, tested, and passed by the Manufacturer. 5.5 Nothing in GCC Clause 5 shall in any way release the Supplier from any warranty or other obligations under this Contract. |
| 6. Packing | The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. . |
| 7. Delivery and Documents | Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in the Schedule of Requirements. The details of shipping/ transportation and/or other documents to be furnished by the Supplier are specified in SCC. |
| 8. Insurance | The Goods supplied under the Contract shall be delivered consignee’s end under which risk is transferred to the Procuring agency after having been delivered; hence insurance coverage is Supplier’s responsibility. |
| 9. Transportation | The Supplier is required under the Contact to transport the Goods to a specified place of destination and shall be arranged by the Supplier, and related costs shall be deemed to have been included in the Contract Price. |
| 10. Incidental Services | 10.1 The Supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC: (a) performance or supervision of on-site assembly and/or start-up of the supplied Goods; (b) furnishing of tools required for assembly and/or maintenance of the supplied Goods; (c) furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods; (d) performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and |
| 11. Spare Parts | 11.1 The Supplier should provide any or all of the notifications, and information pertaining to spare parts manufactured or distributed by the Supplier: (a) such spare parts as the Procuring agency may elect to purchase from the Supplier, provided that this election shall not relieve the Supplier of any warranty obligations under the Contract; and (b) in the event of termination of production of the spare parts: (i) advance notification to the Procuring agency of the pending termination, in sufficient time to permit the Procuring agency to procure needed requirements; and (ii) following such termination, furnishing at no cost to the Procuring agency, the blueprints, drawings, and specifications of the spare parts, if requested. |
| 12. Warranty | 12.1 The Supplier warrants that the Goods supplied under the Contract are new, unused, of desired models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the Contract. The Supplier further warrants that all Goods supplied under this Contract shall have no defect, arising from design, materials, or workmanship (except when the design and/or material is required by the Procuring agency’s specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination. - This warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the Contract 12.3 If the Supplier, having been notified, fails to remedy the defect(s) within the period specified in SCC, within a reasonable period, the Procuring agency may proceed to take such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Procuring agency may have against the Supplier under the Contract. |
| 13. Payment | 13.1 The method and conditions of payment to be made to the Supplier under this Contract shall be specified in SCC. 13.2 The Supplier’s request(s) for payment shall be made to the Procuring agency in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and Services performed, and upon fulfillment of other obligations stipulated in the Contract. 13.3 Payments shall be made promptly by the Procuring agency, but in no case later than thirty (30) days after submission of an invoice or claim by the Supplier. 13.4 The currency of payment is Pak. Rupees. |
| 14. Prices | Prices charged by the Supplier for Goods delivered and Services performed under the Contract shall not vary from the prices quoted by the Supplier in its bid, |
| 15. Contract Amendments | No variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties. |
| 16. Delays in the Supplier’s Performance | 16.1 Delivery of the Goods and performance of Services shall be made by the Supplier in accordance with the time schedule prescribed by the Procuring agency in the Schedule of Requirements. 16.2 If at any time during performance of the Contract, the Supplier or its subcontractor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the Supplier shall promptly notify the Procuring agency in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier’s notice, the Procuring agency shall evaluate the situation and may at its discretion extend the Supplier’s time for performance, with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of Contract. - Except as provided under GCC Clause 17 a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages unless an extension of time is agreed upon pursuant to GCC Clause 16.2 without the application of liquidated damages. |
| 17. Liquidated Damages | Subject to GCC Clause 20, if the Supplier fails to deliver any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Procuring agency shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in SCC of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in SCC. Once the maximum is reached, the Procuring agency may consider termination of the Contract pursuant to GCC Clause 18. |
| 18. Termination for Default | 18.1 The Procuring agency, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate this Contract in whole or in part: (a) if the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or within any extension thereof granted by the Procuring agency pursuant to GCC Clause 16; or (b) if the Supplier fails to perform any other obligation(s) under the Contract. (c) if the Supplier, in the judgment of the Procuring agency has engaged in corrupt or fraudulent practices in competing for or in executing the Contract. |
| 19. Force Majeure | 19.1 Notwithstanding the provisions of GCC Clauses 16, 17 and 18, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. 19.2 For purposes of this clause, “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but are not restricted to, acts of the Procuring agency in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes. 19.3 If a Force Majeure situation arises, the Supplier shall promptly notify the Procuring agency in writing of such condition and the cause thereof. Unless otherwise directed by the Procuring agency in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event. |
| 20. Resolution of Disputes | Resolution of dispute shall be through Mechanism for Redressal of Grievances as provided in the rules or through Arbitration Act 1942. |
| 21. Governing Language | The Contract shall be written in English language all correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language. |
| 22. Applicable Law | The Contract shall be interpreted in accordance with the SPP Rules 2010 (amended 2013). |
| 24. Taxes and Duties | Supplier shall be entirely responsible for all taxes, duties (including stamp duty), license fees, etc., incurred until delivery of the contracted Goods to the Procuring agency. |
| 25. Overriding effect of Sindh Public Procurement Rules 2010 (Amended 2013) | In case of conflict or primacy of interpretation the provisions of SPP Rules 2010 (amended 2013) shall have an overriding effect notwithstanding anything to the contrary contained in these bidding documents |

Part-IV

# Bid Data Sheet

The following specific data for “SUPPLY OF MAJOR EQUIPMENTS, DENTAL CHAIRS, DENTAL MATERIALS AND INSTRUMENTS FOR SINDH INSTITUTE OF ORAL HEALTH SCIENCES, J.S.M.U, KARACHI.” to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB) Part One.  Whenever there is a conflict, the provisions herein shall prevail over those in ITB.

| Introduction |  |  |
| --- | --- | --- |
| ITB 1 | Name of Procuring Agency: Planning & Development Department, Jinnah Sindh Medical University, Karachi. Telephone No. 021-35223811-15 Ext-350, Fax 021-99201372. |  |
| ITB 1 | Name of Contract. “SUPPLY OF MAJOR EQUIPMENTS, DENTAL CHAIRS, DENTAL MATERIALS AND INSTRUMENTS FOR SINDH INSTITUTE OF ORAL HEALTH SCIENCES, J.S.M.U, KARACHI.” |  |
| Bid Price and Currency |  |  |
| ITB 4 |  | Prices quoted by the Bidder shall be “fixed” and in” Pak Rupees” |
| Preparation and Submission of Bids |  |  |
| ITB 7 |  | Qualification requirements: - Bidders must be a direct authorized agent of the manufacturer of required items with a minimum of five (05) years of experience in manufacturing or supplies; as applicable. - Authorized agent should be in possession of a valid verifiable Authorization Certificate. - Bidder /Supplier should have a documented track of completing at least 3 similar assignments, during last 3 (three) years, involving the supply, installation, and after sale support. - They should have annual sale volume of at least Rs.03 (three) million in of last 3 years relevant documents should be provided. - Valid Registration with tax authorities is required Qualification Criteria: In this section the Purchaser specifies the financial situation, experience, and supply capacity criteria that it will take into account to postqualify the lowest-evaluated Bidder. All these criteria shall be evaluated on a pass-fail basis only. Financial Criteria The Purchaser will take account of the following financial criteria to verify the qualifications of the lowest-evaluated Bidder. These criteria must be evaluated on a pass-fail basis only. For example; (a) Financial Situation Submit audited statements of accounts for the last three (3) years, and evaluate: - -Liquidity ratio - -Indebtedness ratio - -Profitability ratio (b)Availability of Financial Resources -Bank references Availability of funds or credit to successfully perform the Contract The financial criteria must only be used to determine whether a Bidder has the financial capacity to successfully perform the Contract. It shall not be used as a factor to be weighted with price to determine the lowest evaluated Bidder. Experience Criteria The Purchaser shall specify the minimum experience required of a Bidder to qualify for supplying the Goods and Related Services. The minimum level of experience required must be such to assure the Purchaser that the Contract will be properly executed. For example: - has an average annual turnover [insert turnover in US Dollars] (defined as the total payments received by the Supplier for contracts completed or under execution) over the [insert period, i.e. three-year period} ending on the deadline for bid submission. - has successfully completed as main Supplier of goods similar to those included in the Contract at least [insert number of contracts, i.e. three] contracts of scope of supply and complexity comparable to the proposed Contract, over a [insert period, i.e. three-year period] ending on the deadline for bid submission. - has successfully completed as main provider of Related Services at least [insert number of contracts, i.e. three] contracts of scope of supply and complexity comparable to the proposed Contract over a [insert period, i.e. three-year period] ending on the deadline for bid submission. - has service facilities in the Purchaser’s country to deliver the Related Services as specified in Section VI, Schedule of Supply. - can ensure the availability of the spare parts of the kinds and in the quantities as specified in Section VI, Schedule of Supply. Supply Capacity The Purchaser shall specify the minimum supply capacity of a Bidder to qualify for supplying the Goods and Related Services. The minimum supply capacity required must be such to assure the Purchaser that the Bidder is capable of supplying the type, size, and quantity of the Goods required and that the Contract will be properly executed [insert the supply capacity criteria.]. For example: - Technical capability to supply the Goods as specified in the Section VI, Schedule of Supply [insert requirements.] - Capability to supply the Goods of the size and in the quantity required. [insert minimum requirements in terms of size and supply capacity of the firm] - Capability to complete the supply within the terms specified in Section VI, Schedule of supply. [insert requirement] Litigation The Purchaser shall consider the litigation record of Bidders to verify their qualifications. [Insert submission requirements]. For example: Bidder shall submit all claims, arbitration, or other litigation, pending or already resolved, with a possible impact of more than [insert a percentage figure, i.e. 50 percent] of total assets. |
| ITB 9 |  | Amount of bid security. 2% of Bid Value |
| ITB 10 |  | Bid validity period. 90 days |
| ITB 11 |  | Number of copies. Original Only |
| ITB 13 |  | Deadline for bid submission. 20.04.2016 at 11.00 AM |
| ITB 19.1 |  | Bid Evaluation: Lowest evaluated bid |

Part-V

# Special Conditions of Contract

The following Special Conditions of Contract shall supplement the General Conditions of Contract.  Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract.  The corresponding clause number of the GCC is indicated in parentheses.

1.	Definitions (GCC Clause 1)

GCC 1 (g)—The Procuring Agency is: Office of the Planning & Development Department Jinnah Sindh Medical University, Karachi.

2.	Performance Security (GCC Clause 4)

GCC 4—The amount of performance security, as a percentage of the Contract Price, shall be:  10%.

3.	Inspections and Tests (GCC Clause 5)

Inspection of JSMU shall inspect the procured good and ensure that it meets the tender specifications before its acceptance

4.	Delivery and Documents (GCC Clause 7)

GCC 10—Supplier shall supply and install the good within 30 Days after signing the contract and shall submit the following.

- Supplier's invoice showing Goods' description, quantity, unit price, and total amount;

- Packing List identifying the contents of Supply;

- Delivery note.

- Warranty and guarantee certificate;

7.	Warranty (GCC Clause 12)

The equipment shall bear Standard warranty (with free parts & labor) from the date of installation / acceptance. Upon expiration of warranty, Purchaser at its option may enter into a Service Level Maintenance Agreement upon expiry of the warranty period in accordance with terms embodied in Appendix-A hereto

8.	Payment (GCC Clause 13)

Hundred percent (100%) of the Contract Price shall be paid upon delivery, and satisfactory Installation, integration and testing of the products at the Project site (s), subject to the production of installation and Operational Acceptance certificates duly signed by authorized Inspection Committee of JSMU.

9.	Liquidated Damages (GCC Clause 18)

If the Supplier fails to deliver the goods or perform the services within the time period(s) specified in the contract, the Purchaser shall, without prejudice to its other remedies under the contract deduct from the Contract Price, as liquidated damages, a sum equivalent to 0.07 percent of the Contract Price for each day of delay until actual delivery or performance, up to a maximum deduction of 10% of the Contract Price. Once the maximum is reached, the purchaser may consider termination of the contract.

10.	Resolution of Disputes (GCC Clause 21)

In the case of a dispute between the Procuring agency and the Supplier, the dispute shall be referred to the dispute resolution mechanism as defined in rule 31, 32  and 34 of the (SPPR 2010) Amended 2013

11.	Applicable Law (GCC Clause 23)

GCC 29.1 Contract shall be interpreted in accordance with the Sindh Public Procurement law of Sindh.

Part-VI

SCHEDULE OF REQUIREMENTS

The delivery schedule hereafter expressed the date of delivery required.

| LIST OF MAJOR EQUIPMENTS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Product | Quantity | Required Delivery Schedule from the Date of Contract Award | Unit Price in PKR | Total Price in PKR |
|  | 3D - Digital Dental Panoramic And Cephalometric X-Ray Unit (CBCT) Computer with LCD Digital Printer Dry Laser Printer | 01 No. | Supply and install all the goods within 30 Days |  |  |
|  | Central Sterile Supplies Department (CSSD) | 01 No. | DO |  |  |
|  | CAD CAM System for Digital Dental Laboratory | 01 No. | DO |  |  |
|  | Compressor (Oil Free) With Drier for 04 Surgeries | 01 No. | DO |  |  |
|  | Suction Machine for 04 Surgeries | 01 No. | DO |  |  |
|  | High Speed Air Turbine | 20 Nos. | DO |  |  |
|  | Slow Speed Air Motor | 10 Nos. | DO |  |  |
|  | Light Curing Machine | 05 Nos. | DO |  |  |
|  | Dental Scalar (Piezon Technology) | 10 Nos. | DO |  |  |
|  | Amalgamator | 04 Nos. | DO |  |  |
|  | Portable Dental Unit | 03 Nos. | DO |  |  |
|  | Piezo Ultrasonic & Implant Motor | 01 Nos. | DO |  |  |
|  | Prophylaxis System | 05 Nos. | DO |  |  |
|  | Gutta Percha Cutter | 05 Nos. | DO |  |  |
|  | Wireless Obturation Device | 02Nos. | DO |  |  |
|  | Portable Dental X-Rays | 02 Nos. | DO |  |  |
|  | Digital Imaging PSP Sensor Computer with LCD | 01 No. | DO |  |  |
|  | Autoclave | 04 Nos. | DO |  |  |
|  | Automatic Washer & Disinfection System with force Drying | 01 Nos. | DO |  |  |
|  | Pouch Sealer | 04 Nos. | DO |  |  |
|  | Water Distiller | 04 Nos. | DO |  |  |
|  | Ultrasonic Cleaner | 04 Nos. | DO |  |  |
|  | Dry Heat Sterilizer | 03 Nos. | DO |  |  |
|  | PH Meter | 01 Nos. | DO |  |  |
|  | Infrared Thermometer | 05 Nos. | DO |  |  |
|  | Medical Oxygen Cylinder Therapy Unit Portable and Trolley Mounted | 02 Nos. | DO |  |  |
|  | First Aid Box | 05 Nos. | DO |  |  |
|  | Wheel Chair | 05 Nos. | DO |  |  |
|  | Intra Oral Camera with VGA Arm and LCD | 05 Nos. | DO |  |  |
|  | Transport Stretcher | 05 Nos. | DO |  |  |
|  | Pediatric Dental Unit | 03 Nos. | DO |  |  |
|  | Digital SLR Camera with Ring Flash | 02 Nos. | DO |  |  |
|  | Bio-Medical Engineering Tool Kit | 01 Nos. | DO |  |  |
|  | Light Therapy & Teeth Whitening Machine | 05 Nos. | DO |  |  |
|  | B.P Apparatus with stethoscope | 05 Nos. | DO |  |  |
|  | Digital Glucometer | 05 Nos. | DO |  |  |
|  | Induction Casting Machine | 01 No. | DO |  |  |
|  | Polymerizing Units | 01 No. | DO |  |  |
|  | Surveyor Manual | 05 Nos. | DO |  |  |
|  | Micro motor (Bench Top) | 06 Nos. | DO |  |  |
|  | Porcelain Pressing Furnace | 01 No. | DO |  |  |
|  | Sand Blaster | 02 Nos. | DO |  |  |
|  | Duplicating Machine With Duplicating Flask | 01 No. | DO |  |  |
|  | Vacuum Mixture for Alginate and Plaster | 01 No. | DO |  |  |
|  | Automated Divesting Unit | 01 No. | DO |  |  |
|  | Water and Special Liquid Dispenser | 01 No. | DO |  |  |
|  | Digital Wax Pot | 02 Nos. | DO |  |  |
|  | Fully Adjustable Articulator with mandibular Recording Device | 01 No | DO |  |  |
|  | Semi Adjustable Articulator with Face Bow | 06 Nos. | DO |  |  |
|  | High Speed Alloy Grinder | 02 Nos. | DO |  |  |
|  | Electrolytic Polisher | 02Nos. | DO |  |  |
|  | Fine Blasting Unit | 02 Nos. | DO |  |  |
|  | Dental Surgical Binocular Loups With LED Headlights | 05 Nos. | DO |  |  |
|  | Hanau Alcohol Torch | 10 Nos. | DO |  |  |
|  | Dental Laser Soft Tissue Cutting Machine | 01 No. | DO |  |  |
|  | Die Cutting Saw | 01 Nos. | DO |  |  |
|  | Laser Pindex Hole Machine | 01. Nos. | DO |  |  |
|  | Vacuum Former for Retainer | 02 Nos. | DO |  |  |
|  | Burn Out Furnace | 01 Nos. | DO |  |  |
|  | Bench Press Manual (Heavy Duty) | 10 Nos. | DO |  |  |
|  | Dental Polishing Lathe cut | 05 Nos. | DO |  |  |
|  | Vibrator Heavy Duty | 05 Nos. | DO |  |  |
|  | Digital Electric Wax Carving knife (Dual) | 01 Nos. | DO |  |  |
|  | Weighing Balance | 02 Nos. | DO |  |  |
|  | Hydraulic Dental Press | 03 Nos. | DO |  |  |
|  | Plaster Dispensing Unit | 01 Nos. | DO |  |  |
|  | Vacuum Mixer With Vibrator | 01 Nos. | DO |  |  |
|  | Hanging Engine Motor | 10 Nos. | DO |  |  |
|  | Press Double Flask | 10 Nos. | DO |  |  |
|  | Flask | 10 Nos. | DO |  |  |
|  | Microtome | 01 No. | DO |  |  |
|  | Binocular Compound Microscope | 15 Nos. | DO |  |  |
|  | Dental Models | 01 No. each | DO |  |  |
|  | Dental Moulds | 06 Nos. each | DO |  |  |
|  | Kennedy’s Dental Moulds | 01 No. each | DO |  |  |
|  | Phantom Head With Table Mount Assembly Complete Removal Teeth and Jaws for Work Stations | 15 Nos. | DO |  |  |
|  | Centrifuge Machine for Oral Pathology Lab | 01 No. | DO |  |  |
|  | Colorimeter for Oral Pathology Lab | 01 No. | DO |  |  |
|  | Incubator for Oral Pathology Lab | 01 No. | DO |  |  |
|  | Dental Milling Machine | 01 No. | DO |  |  |
|  | Bunsen Burner | 50 Nos. | DO |  |  |
|  | X Ray Manual Developing Unit | 04 Nos. | DO |  |  |
|  | Platelet Rich Fibrin (PRF& CGF Machine) | 01 No. | DO |  |  |
|  | Electric Cautery Machine | 01 No. | DO |  |  |

| LIST OF DENTAL MATERIALS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Glass ionomer Luting Cement | 05 Nos. | Supply and install the good within 60 Days |  |  |  |
|  | Glass ionomer-Light Cure | 05 Nos. | DO |  |  |  |
|  | Glass ionomer High Strength Posterior Restorative (GC Gold Label 9) | 05 Nos. | DO |  |  |  |
|  | Glass ionomer lining material | 05 Nos. | DO |  |  |  |
|  | Glass ionomer Universal Restorative Material | 05 Nos. | DO |  |  |  |
|  | Zinc phosphate cement | 05 Nos. | DO |  |  |  |
|  | Zinc Polycarboxylate Cavity liner and Luting Cement | 05 Nos. | DO |  |  |  |
|  | Zinc Oxide Eugenol cements | 05 Nos. | DO |  |  |  |
|  | Reinforced Zinc Oxide Eugenol cements | 05 Nos. | DO |  |  |  |
|  | Dental Hybrid Composite | 05 Nos. | DO |  |  |  |
|  | Dental Flowable Composite( Flowable Composite) | 05 Nos. | DO |  |  |  |
|  | Dental Composite Nanocomposite (Paradigm Nano Hybrid Restorative) | 05 Nos. | DO |  |  |  |
|  | Micro Hybrid Composite | 05 Nos. | DO |  |  |  |
|  | Dental Composite(Silorane Low Shrinkage Posterior Restorative System) | 05 Nos. | DO |  |  |  |
|  | Amalgam Non-gamma 2 alloy (Non gamma 2) | 04 Nos. | DO |  |  |  |
|  | Mercury (100 gm) | 02 Nos. | DO |  |  |  |
|  | Amalgam(Logic + Regular Capsules) | 10 Boxes | DO |  |  |  |
|  | Dental Alloy (Zinc Free) | 02 Nos. | DO |  |  |  |
|  | Dental modeling wax | 05 Nos. | DO |  |  |  |
|  | Bite and Boxing Wax | 05 Nos.. | DO |  |  |  |
|  | Carving Wax | 05 Nos. | DO |  |  |  |
|  | Dental Inlay Wax (Inlay Casting Wax) | 05 Nos. | DO |  |  |  |
|  | Sticky Wax | 05 Nos.. | DO |  |  |  |
|  | Dental Casting Wax | 10 Nos. | DO |  |  |  |
|  | Boxing Wax | 10 Nos. | DO |  |  |  |
|  | Dental Impression Wax | 10 Nos. | DO |  |  |  |
|  | Bite Registration Wax | 10 Nos. | DO |  |  |  |
|  | Pro-Utility wax | 10 Nos. | DO |  |  |  |
|  | Sprue Wax | 10 Nos. | DO |  |  |  |
|  | Occlusal Indicator Wax | 10 Nos. | DO |  |  |  |
|  | Corrective Impression Wax | 10 Nos. | DO |  |  |  |
|  | Impression Compound | 10 Nos. | DO |  |  |  |
|  | Impression Compound Green Stick | 10 Nos. | DO |  |  |  |
|  | Agar Impression Material(Supergel) | 02 Nos. | DO |  |  |  |
|  | Dental Alginate | 50 Nos. | DO |  |  |  |
|  | Dental Silicone Putty | 10 Nos. | DO |  |  |  |
|  | Dental Silicone(Light Body) | 10 Nos. | DO |  |  |  |
|  | C-Silicone putty | 10 Nos. | DO |  |  |  |
|  | Polysulphide Impression Material | 02 Nos. | DO |  |  |  |
|  | Polysulphide (Impregum Soft) | 02 Nos. | DO |  |  |  |
|  | Polyether Impression Material(Impregum F) | 02 Nos. | DO |  |  |  |
|  | Gypsum Bonded Investment | 01 No. | DO |  |  |  |
|  | Phosphate Bonded Investmen(Deguvest Impact Phosphate Bonded investment) | 01 No. | DO |  |  |  |
|  | Calcium Hydroxide (short setting) | 05 Nos. | DO |  |  |  |
|  | Calcium Hydroxide (long setting) | 05 Nos. | DO |  |  |  |
|  | Calcium Hydroxide (non setting) | 02 Nos. | DO |  |  |  |
|  | Temporary Calcium Hydroxide Canal Treatment Paste | 03 Nos. | DO |  |  |  |
|  | Resin Dental Cement (Third Generation Universal Adhesive Resin Dental Cement) | 02 Nos. | DO |  |  |  |
|  | MTA(Pro root MTA) | 01 No. | DO |  |  |  |
|  | Pulperyl | 05 Nos. | DO |  |  |  |
|  | Cresophene | 05 Nos. | DO |  |  |  |
|  | 15% EDTA gel | 10 Nos. | DO |  |  |  |
|  | Bioactive Dentine Substitute | 03 Nos. | DO |  |  |  |
|  | Sodium Hypochlorite Solution | 05 Nos. | DO |  |  |  |
|  | ChlorhexidineGluconate | 03 Nos. | DO |  |  |  |
|  | Sodium Chloride Irrigation(0.9%) | 05 Nos. | DO |  |  |  |
|  | EDTA solution(17%) | 05 Nos. | DO |  |  |  |
|  | Root Canal Preparation Cream | 05 Nos. | DO |  |  |  |
|  | Root Canal Sealer | 05 Nos. | DO |  |  |  |
|  | Root Canal Sealer(AH-26) | 05 Nos. | DO |  |  |  |
|  | GuttaPercha Points(15-40) | 20 Nos. | DO |  |  |  |
|  | GuttaPercha Points(45-80) | 20 Nos. | DO |  |  |  |
|  | Paper Points(15-40) | 20 Nos. | DO |  |  |  |
|  | Paper Points(45-80) | 20 Nos. | DO |  |  |  |
|  | Super EBA | 05 Nos. | DO |  |  |  |
|  | Intermediate Restorative Material(IRM) | 02 Nos. | DO |  |  |  |
|  | Alveogyl | 05 Nos. | DO |  |  |  |
|  | Caustinerf Fort | 05 Nos. | DO |  |  |  |
|  | Gates Glidden (28mm Stainless Steel) | 05 Nos. | DO |  |  |  |
|  | Disposible Syringe (12cc) | 100 Nos. | DO |  |  |  |
|  | Dental Dappen Dish | 10 Nos. | DO |  |  |  |
|  | H-File(Size 6,8,10)SS | 10 Nos. | DO |  |  |  |
|  | H-File(Size 15-40)SS | 10 Nos. | DO |  |  |  |
|  | H-File(Size 45-80)SS | 10 Nos. | DO |  |  |  |
|  | H-File(Size 90-140)SS | 10 Nos. | DO |  |  |  |
|  | K-File(Size 6,8,10)SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | K-File(Size 15-40) SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | K-File(Size 45-80)SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | H-File(Size 90-140)SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | Protaper (Size SX, S-1, S-2)Ni/Ti | 05 Nos. | DO |  |  |  |
|  | Protaper (F1-F5)Ni/Ti | 05 Nos. | DO |  |  |  |
|  | Ni/Ti Spreaders (Size 8,10,15,20,25,30,35,40) | 05 Nos. | DO |  |  |  |
|  | Stainless Steel Hand Spreader (Size 8,10,15,20,25,30,35,40) | 05 Nos. Each | DO |  |  |  |
|  | Peso Reamers | 05 Nos. | DO |  |  |  |
|  | Reamers (Size 8,10,15,20,25,30,35,40,45) SS 21mm and 25mm | 02 Nos. Each | DO |  |  |  |
|  | Endodontic Explorer (DG16 DE Endodontic Explorer) | 05 Nos. | DO |  |  |  |
|  | Periodontal Dressing (Cellulose Based) | 05 Nos. | DO |  |  |  |
|  | Absorbable Collagen WoundDressing | 05 Nos. | DO |  |  |  |
|  | Periodontal Dressing | 05 Nos. | DO |  |  |  |
|  | Surgical Cement for Periodontal Dressing | 05 Nos. | DO |  |  |  |
|  | Acrylic Resin (Self Cure) | 05 Nos. | DO |  |  |  |
|  | Monomer (Self Cure) | 05 Nos. | DO |  |  |  |
|  | Acrylic Resin (Heat Cure) | 05 Nos. | DO |  |  |  |
|  | Monomer (Heat Cure) | 05 Nos. | DO |  |  |  |
|  | Soft Plaster | 100 Kg. | DO |  |  |  |
|  | Hard Plaster | 100 Kg. | DO |  |  |  |
|  | Die stone | 05 Kg. | DO |  |  |  |
|  | Quartz (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Aluminiumoxide (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Cuttlebone(Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Keiselghur (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Rouge(Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Tripoli (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Fixer Solution for X-Ray Films | 05 Litter | DO |  |  |  |
|  | Developer Solutions for X-Ray Films | 05 Litter | DO |  |  |  |
|  | Orthodontic Bands for Molar and Premolar U/L (various sizes) | 100 Nos. | DO |  |  |  |
|  | Orthodontic Brackets (Roth press) | 10 Sets. | DO |  |  |  |
|  | Orthodontic Headgear | 02 Nos. | DO |  |  |  |
|  | Sprit | 10 Litter | DO |  |  |  |
|  | Bleaching Kit 38% hydrogen per oxide | 10 Nos. | DO |  |  |  |
|  | sterile cotton wool rolls | 20 PKT | DO |  |  |  |
|  | Napkin | 20 PKT | DO |  |  |  |
|  | Sterilization Pouch Self Sealing Small , Medium | 10 Boxes Each | DO |  |  |  |
|  | Dental Implant with Abutment Bone Level w (Internal SLA Surface, taper FDA approve Self Tapping Plate form Switching different sizes | 50 Pcs. | DO |  |  |  |
|  | Resorbale Bone (0.3cc) | 05 Nos. | DO |  |  |  |
|  | Pericardium Membrane 15 mm X 30mm, flexible and moldable customized titanium membrane (kit for GBR procedure) | 05 Nos. | DO |  |  |  |
|  | Lab Analogue, for Implant | 05 Nos. | DO |  |  |  |
|  | Angle Abutment for Implant | 05 Nos. | DO |  |  |  |
|  | Impression coping for Implant | 05 Nos. | DO |  |  |  |
|  | Implant Kit Complete with Sinus Lift | 02 Kits | DO |  |  |  |
|  | Sterile Cotton Pallets | 10 PKT | DO |  |  |  |
| LIST OF DENTAL INSTRUMENTS |  |  |  |  |  |  |
|  | Examination Instruments (Mouth Mirror, Probe and twizer) SS | 200 Sets. | Supply and install the good within 60 Days |  |  |  |
|  | Condensor (Plugger)-Smooth | 10 Nos. | DO |  |  |  |
|  | Condensor (Plugger)-Serrated | 10 Nos. | DO |  |  |  |
|  | Interproximal Condensor | 10 Nos. | DO |  |  |  |
|  | Liner Applicator | 10 Nos. | DO |  |  |  |
|  | Burnisher-Football | 10 Nos. | DO |  |  |  |
|  | Burnisher-Ball | 10 Nos. | DO |  |  |  |
|  | Burnisher-Acorn | 10 Nos. | DO |  |  |  |
|  | T-Ball Burnisher | 10 Nos. | DO |  |  |  |
|  | Beavertail Burnisher | 10 Nos. | DO |  |  |  |
|  | Tanner Carver | 10 Nos. | DO |  |  |  |
|  | Discoid-Cleoid Carver | 10 Nos. | DO |  |  |  |
|  | Gold Carving Knife | 10 Nos. | DO |  |  |  |
|  | Interproximal Carving Knife | 10 Nos. | DO |  |  |  |
|  | Tofflemire/Matrix Band Retainer | 10 Nos. | DO |  |  |  |
|  | Matrix Bands Strips | 10 PKT. | DO |  |  |  |
|  | Wooden Wedges | 10Boxes. | DO |  |  |  |
|  | Amalgam Well | 05 Nos. | DO |  |  |  |
|  | Articulating Paper Holder | 05 Nos. | DO |  |  |  |
|  | Composite Placement Instrument | 05 Nos. | DO |  |  |  |
|  | Composite Burnisher | 10 Nos. | DO |  |  |  |
|  | Finishing Strip | 05 Nos. | DO |  |  |  |
|  | Crown and Bridge Scissors | 03 Nos. | DO |  |  |  |
|  | Provisional Crown Removing Forceps | 05 Nos. | DO |  |  |  |
|  | Trail Crown Remover | 05 Nos. | DO |  |  |  |
|  | Endodontic Explorer | 05 Nos. | DO |  |  |  |
|  | Endodontic Long Shank Spoon Excavator | 05 Nos. | DO |  |  |  |
|  | Endodontic Locking Forceps | 05 Nos. | DO |  |  |  |
|  | Broach | 05 Nos. | DO |  |  |  |
|  | Endodontic Millimeter Ruler | 10 Nos. | DO |  |  |  |
|  | Gates Glidden Bur | 05 Nos. | DO |  |  |  |
|  | Endodontic Irrigating Syringe | 100 Nos. | DO |  |  |  |
|  | Sterile Absorbent Paper Points | 05 Nos. | DO |  |  |  |
|  | Endodontic Spreader | 05 Nos. | DO |  |  |  |
|  | Endodontic Plugger | 05 Nos. | DO |  |  |  |
|  | Micro Retro Amalgam Carrier | 03 Nos. | DO |  |  |  |
|  | Micro Retro Mouth Mirror | 20 Nos. | DO |  |  |  |
|  | Universal Curettes | 05 Nos. | DO |  |  |  |
|  | Langer Universal Curettes | 05 Nos. | DO |  |  |  |
|  | Area Specific Curettes-Anterior | 05 Nos. | DO |  |  |  |
|  | Area Specific Curettes-Posterior | 05 Nos. | DO |  |  |  |
|  | Extended Area Specific Curettes-Anterior | 05 Nos. | DO |  |  |  |
|  | Extended Area Specific Curettes-Posterior | 05 Nos. | DO |  |  |  |
|  | Mini Extended Area Specific Curettes-Anterior | 05 Nos. | DO |  |  |  |
|  | Mini Extended Area Specific Curettes-Posterior | 05 Nos. | DO |  |  |  |
|  | Straight Sickle Scaler | 05 Nos. | DO |  |  |  |
|  | Curved Sickle Scaler | 05 Nos. | DO |  |  |  |
|  | Sharpening Stones | 05 Nos. | DO |  |  |  |
|  | Scissors-Short Blade | 05 Nos. | DO |  |  |  |
|  | Elastic Separating Pliers | 05 Nos. | DO |  |  |  |
|  | Steel Spring Separators | 05 Nos. | DO |  |  |  |
|  | Band Pusher | 05 Nos. | DO |  |  |  |
|  | Band Seater | 05 Nos. | DO |  |  |  |
|  | Arch Bending Pliers | 05 Nos. | DO |  |  |  |
|  | Tweed Loop Forming Pliers | 05 Nos. | DO |  |  |  |
|  | Three Prong Pliers | 05 Nos. | DO |  |  |  |
|  | Bird Beak Pliers | 05 Nos. | DO |  |  |  |
|  | Howe Pliers | 05 Nos. | DO |  |  |  |
|  | Distal End Cutting Pliers | 05 Nos. | DO |  |  |  |
|  | Orthodontic Hemostat | 05 Nos. | DO |  |  |  |
|  | Ligature Tying Pliers | 05 Nos. | DO |  |  |  |
|  | Ligature/Wire Cutter | 05 Nos. | DO |  |  |  |
|  | Lip Retractors | 05 Nos. | DO |  |  |  |
|  | Posterior Band Remover | 05 Nos. | DO |  |  |  |
|  | Bracket Remover | 05 Nos. | DO |  |  |  |
|  | Adhesive Removing Pliers | 05 Nos. | DO |  |  |  |
|  | Model Casing for patients record (Orthodontics) | 100 Nos. | DO |  |  |  |
|  | Orthoscrew implant Different Sizes | 20 Nos. | DO |  |  |  |
|  | Mouth Prop | 05 Nos. | DO |  |  |  |
|  | Mouth Gag | 05 Nos. | DO |  |  |  |
|  | Scalpel Handle with Blades | 05 Nos. | DO |  |  |  |
|  | Scalpel Blade Remover | 05 Nos. | DO |  |  |  |
|  | Tissue Scissor | 05 Nos. | DO |  |  |  |
|  | Tissue Forceps | 05 Nos. | DO |  |  |  |
|  | Periosteal Elevator | 05 Nos. | DO |  |  |  |
|  | Surgical Curette | 05 Nos. | DO |  |  |  |
|  | Tongue and Cheek Retractor | 10 Nos. | DO |  |  |  |
|  | Needle Holder | 05 Nos. | DO |  |  |  |
|  | Suture Needles and Sutures | 05 Nos. | DO |  |  |  |
|  | Suture Scissors | 10 Nos. | DO |  |  |  |
|  | Universal Surgical | 05 Nos. | DO |  |  |  |
|  | Interdental File | 05 Nos. | DO |  |  |  |
|  | Micro periostal Elevator | 05 Nos. | DO |  |  |  |
|  | Periostal Curve angle | 05 Nos. | DO |  |  |  |
|  | Tissue graft plugger | 05 Nos. | DO |  |  |  |
|  | Mucosal flap perpetrator | 05 Nos. | DO |  |  |  |
|  | Suture and membranes tweezers | 05 Nos. | DO |  |  |  |
|  | Atraumatic twezzer | 05 Nos. | DO |  |  |  |
|  | Disecting tweezers | 05 Nos. | DO |  |  |  |
|  | Cheek retector | 05 Nos. | DO |  |  |  |
|  | CPITN probe | 05 Nos. | DO |  |  |  |
|  | sterile cotton wool rolls dispenser | 10 Nos. | DO |  |  |  |
|  | Sterile cotton pallet dispenser | 10 Nos. | DO |  |  |  |
|  | Magnetic Bur Holder | 10 Nos. | DO |  |  |  |
|  | Endo Box Autoclavable | 25 Nos. | DO |  |  |  |
|  | Napkin holder | 100 Nos. | DO |  |  |  |
|  | Straight Elevator | 05 Nos. | DO |  |  |  |
|  | Luxating Elevator | 05 Nos. | DO |  |  |  |
|  | Periotomes | 05 Nos. | DO |  |  |  |
|  | Root Elevators | 05 Nos. | DO |  |  |  |
|  | T Bar Elevators | 05 Nos. | DO |  |  |  |
|  | Root Tip Elevators | 05 Nos. | DO |  |  |  |
|  | Root Tip Picks | 05 Nos. | DO |  |  |  |
|  | Rongeurs | 05 Nos. | DO |  |  |  |
|  | Bone File | 05 Nos. | DO |  |  |  |
|  | Laboratory Coat different Sizes with monogram as per required | 20 Nos. | DO |  |  |  |
|  | Protective Glasses | 05 Nos. | DO |  |  |  |
|  | Sharps Container | 10 Nos. | DO |  |  |  |
|  | Flexible Rubber Bowl | 10 Nos. | DO |  |  |  |
|  | Flexible Alginate Spatula | 10 Nos. | DO |  |  |  |
|  | Disposable Plastic Perforated Full Arch Impression Trays | 05Sets. | DO |  |  |  |
|  | Metal Perforated Full Arch Impression Tray | 05Sets. | DO |  |  |  |
|  | Disposable Plastic Perforated Quadrant and Anterior Impression Trays | 05 Sets. | DO |  |  |  |
|  | Triple Tray | 05 Nos. | DO |  |  |  |
|  | Mixing Gun for Final Impression Material | 02 Nos. | DO |  |  |  |
|  | Bite Registration Tray | 02 Nos. | DO |  |  |  |
|  | Laboratory Spatula | 05 Nos. | DO |  |  |  |
|  | Flexible Mixing Spatula | 05 Nos. | DO |  |  |  |
|  | Paper Mixing Pads | 10 Nos. | DO |  |  |  |
|  | Glass Sprit lamp | 20 Nos. | DO |  |  |  |
|  | Hypochloride Bleach | 20 Litter | DO |  |  |  |
|  | Normal Saline | 50 Nos. | DO |  |  |  |
|  | Intra Oral X-Ray Film (Manual) Box of 150 Pcs | 10 Pkts. | DO |  |  |  |
|  | Extra Oral X-Rays-Cephalometric and Panoramic (Dry Laser Printer Sheets) 100 sheets | 05 Pkts. Each | DO |  |  |  |
|  | Film Holder For Intra Oral X-Rays | 05 Nos. | DO |  |  |  |
|  | Lead Aprons | 05 Nos. | DO |  |  |  |
|  | X Ray View Luminator 24” x 36” | 05 Nos. | DO |  |  |  |
|  | High collar waste coat Apron for patient | 05 Nos. | DO |  |  |  |
|  | X-ray protective Mask | 05 Nos. | DO |  |  |  |
|  | New clear disposable dental impression trays (Upper & Lower Arch) | 10 Sets Each | DO |  |  |  |
|  | Alginate spatula | 10 Nos. | DO |  |  |  |
|  | Curved end plaster spatula | 10 Nos. | DO |  |  |  |
|  | Alginate Bowl | 10 Nos. | DO |  |  |  |
|  | Plaster Bowl | 10 Nos. | DO |  |  |  |
|  | Resin Mixing cups for acrylics | 05 Nos. | DO |  |  |  |
|  | High Speed burs (Plain taper fissure, Straight fissure, Tapered fissure | 10 Nos. Each | DO |  |  |  |
|  | Slow speed hand piece (Plain taper fissure, Straight fissure, Tapered fissure | 10 Nos. Each | DO |  |  |  |
|  | Diamond burs (Round, Tapered fissure, Inverted cone, Straight) for high Speed Hand Piece | 10 Nos. Each | DO |  |  |  |
|  | Diamond burs (Round, Tapered fissure, Inverted cone, Straight) for Slow Speed Hand Piece | 10 Nos. Each | DO |  |  |  |
|  | Stainless Steel Wire (0.7mm, 0.5mm) | 05 Rolls | DO |  |  |  |
|  | Nickel Titanium Wire (round: size .012, .014, .016, 0.18, .020) | 05 Nos Each | DO |  |  |  |
|  | Nickel Titanium(Rectangular) Sizes: .016X.016 .016X.022 .017X.025 .018X.018 .018X.025 .019X.025 .020X.020 .021X.025 | 05 Sets | DO |  |  |  |
|  | Glass slab (6×6) | 10 Nos. | DO |  |  |  |
|  | Conical Flask (100ml, 250ml, 500ml, 1000ml) | 05 Nos. | DO |  |  |  |
|  | Pipette graduated(Manual &digital) | 05 Each | DO |  |  |  |
|  | Filter paper | 05 Nos. | DO |  |  |  |
|  | Whatman Filter paper No. 40, 41 & 42 | 05 Nos. | DO |  |  |  |
|  | Glass Rod | 05 Nos. | DO |  |  |  |
|  | Burette 50 ml, 10ml (with Teflon stopper) | 05 Each | DO |  |  |  |
|  | Beaker 1000,500,100,50,25,10ml | 05 Each | DO |  |  |  |
|  | Funnel 75 mm,125mm | 05 Each | DO |  |  |  |
|  | Graduated Cylinder 100 ml, 50,25,10 | 05 Each | DO |  |  |  |
|  | Thermometer | 05 Nos. | DO |  |  |  |
|  | Volumetric flask 1000 ,500,100,50,25,10,5 ml | 05 Each | DO |  |  |  |
|  | Pipette 25, 10,5,1 ml | 05 Each | DO |  |  |  |
|  | Micropipette (1-10 micro lit) | 02 Nos. | DO |  |  |  |
|  | Micropipette (10-100 micro lit) | 02 Nos. | DO |  |  |  |
|  | Stop watch | 10 Nos. | DO |  |  |  |
|  | Dispensing jars | 02 Nos. | DO |  |  |  |
|  | Burette stands | 02 Nos. | DO |  |  |  |
|  | Test tubes with screw cap | 50 Nos. | DO |  |  |  |
|  | Tube stands | 05 Nos. | DO |  |  |  |
|  | Sugar tubes | 100 Nos. | DO |  |  |  |
|  | Sugar tubes stand | 10 Nos. | DO |  |  |  |
|  | Membrane filters (small size) | 05 Nos. | DO |  |  |  |
|  | Glass syringes | 05 Nos. | DO |  |  |  |
|  | Petri plates | 05 Nos. | DO |  |  |  |
|  | Mortar and pestle (agate and ceramic) | 05 Nos. | DO |  |  |  |
|  | Test tube holders | 04 Nos. | DO |  |  |  |
|  | Glass droppers | 05 Nos. | DO |  |  |  |
|  | Plastic droppers | 05 Nos. | DO |  |  |  |
|  | Centrifuge tubes (plastic and glass) | 50 Nos. | DO |  |  |  |
|  | Slides (glass) | 50 Nos. | DO |  |  |  |

Note:	Specifications of above items are attached

Part-VII

SAMPLE FORMS

Form-I

Letter of Acceptance

Date:

To:

Advisor Planning & Development Department,

Jinnah Sindh Medical University,

Karachi,

Dear Sir:

Having examined the bidding documents, the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and deliver the required item in conformity with the said bidding documents for the sum of [total bid amount in words and figures] or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this Bid.

We undertake, if our Bid is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our Bid is accepted, we will obtain the guarantee of a bank in a sum equivalent to Five (5) percent of the Contract Price/Pay order for the due performance of the Contract, in the form prescribed by the Purchaser.

We agree to abide by this Bid for a period of 15 days from the date fixed for Bid opening under Clause 10 of the Instructions to Bidders, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal Contract is prepared and executed, this Bid, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We understand that you are not bound to accept the lowest or any bid you may receive.

Dated this ________________ day of ________________ 2014______.

[signature]	[in the capacity of]

Duly authorized to sign Bid for and on behalf of

Form-II

Price Schedule in Pak. Rupees

Name of Bidder 	.  IFB Number 	.  Page 	 of

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Country of origin | Quantity | Unit price | Total | Remarks (if any) |  |
|  |  |  |  | Words; Figure. |  |  |  |

Total Bid amount in words: ______________________________________________

Total Bid amount in figure: ______________________________________________

Signature of Bidder

Note:

- In case of discrepancy between unit price and total, the unit price shall prevail.

- The unit and total prices Delivered at Planning & Development Department, Jinnah Sindh Medical University Karachi should include the price of incidental services. No separate payment shall be made for the incidental services.

Form-III

Experience of Similar Supply and Installation

| S. No | Assignment Description | Name /Contact Details of Client | Cost | Start Date | End Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

#### Form-IV

#### Contract Form

THIS AGREEMENT made the _____ day of __________ 20_____ between Jinnah Sindh Medical University, Karachi. (hereinafter called “the Procuring agency”) of the one part and [name of Supplier] of [city and country of Supplier] (hereinafter called “the Supplier”) of the other part:

WHEREAS the Procuring agency invited bids for certain goods and ancillary services, viz., Supply of MAJOR EQUIPMENTS, DENTAL CHAIRS, DENTAL MATERIALS AND INSTRUMENTS FOR SINDH INSTITUTE OF ORAL HEALTH SCIENCES, J.S.M.U, KARACHI. has accepted a bid by the Supplier for the supply of those goods and services in the sum of [contract price in words and figures] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.	The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

(a)	the Bid Form and the Price Schedule submitted by the Bidder;

(b)	the Schedule of Requirements;

(c)	the Technical Specifications.

(d)	the General Conditions of Contract;

(e)	the Special Conditions of Contract; and

(f)	the Procuring agency’s Notification of Award.

3.	In consideration of the payments to be made by the Procuring agency to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Procuring agency to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract

4.	The Procuring agency hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the contract at the times and in the manner prescribed by the contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, sealed, delivered by 	 the 	 (for the Procuring agency)

Signed, sealed, delivered by 	 the 	 (for the Supplier)

### Form-V

### Performance Security Form

To:

Planning & Development Department

Jinnah Sindh Medical University,

Karachi.

WHEREAS [name of Supplier] (hereinafter called “the Supplier”) has undertaken, in pursuance of Contract No.  [reference number of the contract] dated ____________ 2014_____ to supply [description of goods and services] (hereinafter called “the Contract”).

AND WHEREAS it has been stipulated by you in the said Contract that the Supplier shall furnish you with a bank guarantee by a reputable bank for the sum specified therein as security for compliance with the Supplier’s performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the Supplier a guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of [amount of the guarantee in words and figures], and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the Contract and without cavil or argument, any sum or sums within the limits of [amount of guarantee] as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the _____ day of __________20_____.

Signature and seal of the Guarantors

[name of bank or financial institution]

[address]

[date]

### Form-VI

#### Manufacturer’s Authorization Form

To:

Planning & Development Department

Jinnah Sindh Medical University,

Karachi.

WHEREAS [name of the Manufacturer] who are established and reputable manufacturers of [name and/or description of the goods] having factories at [address of factory]

do hereby authorize [name and address of Agent] to submit a bid, and subsequently sign the Contract with you against NIT No.  [reference of the Invitation to Bid] for the above goods manufactured by us.

We hereby extend our full guarantee and warranty as per Clause 12 of the General Conditions of Contract for the goods offered for supply by the above firm against this Invitation for Bids.

[signature for and on behalf of Manufacturer]

Note:	This letter of authority should be on the letterhead of the Manufacturer and should be signed by a person competent and having the power of attorney to bind the Manufacturer.  It should be included by the Bidder in its bid.