Part-VI

SCHEDULE OF REQUIREMENTS

The delivery schedule hereafter expressed the date of delivery required.

| LIST OF MAJOR EQUIPMENTS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Product | Quantity | Required Delivery Schedule from the Date of Contract Award | Unit Price in PKR | Total Price in PKR |
|  | 3D - Digital Dental Panoramic And Cephalometric X-Ray Unit (CBCT) Computer with LCD Digital Printer Dry Laser Printer | 01 No. | Supply and install the goods within 30 Days |  |  |
|  | Central Sterile Supplies Department (CSSD) with Complete Package | 01 No. | DO |  |  |
|  | CAD CAM System for Digital Dental Laboratory | 01 No. | DO |  |  |
|  | Compressor (Oil Free) With Drier for 04 Surgeries | 01 No. | DO |  |  |
|  | Suction Machine for 04 Surgeries | 01 No. | DO |  |  |
|  | High Speed Air Turbine | 25 Nos. | DO |  |  |
|  | Slow Speed Air Motor | 20 Nos. | DO |  |  |
|  | Light Curing Machine | 05 Nos. | DO |  |  |
|  | Dental Scalar (Piezon Technology) | 10 Nos. | DO |  |  |
|  | Amalgamator | 05 Nos. | DO |  |  |
|  | Portable Dental Unit | 03 Nos. | DO |  |  |
|  | Piezo Ultrasonic & Implant Motor | 01 Nos. | DO |  |  |
|  | Prophylaxis System | 05 Nos. | DO |  |  |
|  | Gutta Percha Cutter | 05 Nos. | DO |  |  |
|  | Wireless Obturation Device | 02Nos. | DO |  |  |
|  | Portable Dental X-Rays | 02 Nos. | DO |  |  |
|  | Digital Imaging PSP Sensor Computer with LCD | 01 No. | DO |  |  |
|  | Autoclave | 04 Nos. | DO |  |  |
|  | Automatic Washer & Disinfection System with force Drying | 01 Nos. | DO |  |  |
|  | Pouch Sealer | 04 Nos. | DO |  |  |
|  | Water Distiller | 04 Nos. | DO |  |  |
|  | Ultrasonic Cleaner | 04 Nos. | DO |  |  |
|  | Dry Heat Sterilizer | 03 Nos. | DO |  |  |
|  | PH Meter | 01 Nos. | DO |  |  |
|  | Infrared Thermometer | 05 Nos. | DO |  |  |
|  | Medical Oxygen Cylinder Therapy Unit Portable and Trolley Mounted | 02 Nos. | DO |  |  |
|  | First Aid Box | 05 Nos. | DO |  |  |
|  | Wheel Chair | 05 Nos. | DO |  |  |
|  | Intra Oral Camera with VGA Arm and LCD | 05 Nos. | DO |  |  |
|  | Transport Stretcher | 05 Nos. | DO |  |  |
|  | Pediatric Dental Unit | 03 Nos. | DO |  |  |
|  | Digital SLR Camera with Ring Flash | 02 Nos. | DO |  |  |
|  | Bio-Medical Engineering Tool Kit | 01 Nos. | DO |  |  |
|  | Light Therapy & Teeth Whitening Machine | 05 Nos. | DO |  |  |
|  | B.P Apparatus with stethoscope | 05 Nos. | DO |  |  |
|  | Digital Glucometer | 05 Nos. | DO |  |  |
|  | Induction Casting Machine | 01 No. | DO |  |  |
|  | Polymerizing Units | 01 No. | DO |  |  |
|  | Surveyor Manual | 05 Nos. | DO |  |  |
|  | Micro motor (Bench Top) | 06 Nos. | DO |  |  |
|  | Porcelain Pressing Furnace | 01 No. | DO |  |  |
|  | Sand Blaster | 02 Nos. | DO |  |  |
|  | Duplicating Machine With Duplicating Flask | 01 No. | DO |  |  |
|  | Vacuum Mixture for Alginate and Plaster | 01 No. | DO |  |  |
|  | Automated Divesting Unit | 01 No. | DO |  |  |
|  | Water and Special Liquid Dispenser | 01 No. | DO |  |  |
|  | Digital Wax Pot | 02 Nos. | DO |  |  |
|  | Fully Adjustable Articulator with mandibular Recording Device (3D Printer with complete set) | 01 No | DO |  |  |
|  | Semi Adjustable Articulator with Face Bow | 06 Nos. | DO |  |  |
|  | High Speed Alloy Grinder | 02 Nos. | DO |  |  |
|  | Electrolytic Polisher | 02Nos. | DO |  |  |
|  | Fine Blasting Unit | 02 Nos. | DO |  |  |
|  | Dental Surgical Binocular Loups With LED Headlights | 05 Nos. | DO |  |  |
|  | Hanau Alcohol Torch | 10 Nos. | DO |  |  |
|  | Dental laser 5th Generation For Hard & Soft tissues 3 in 1 System. | 01 No. | DO |  |  |
|  | Die Cutting Saw | 01 Nos. | DO |  |  |
|  | Laser Pindex Hole Machine | 01. Nos. | DO |  |  |
|  | Vacuum Former for Retainer | 02 Nos. | DO |  |  |
|  | Burn Out Furnace | 01 Nos. | DO |  |  |
|  | Bench Press Manual (Heavy Duty) | 10 Nos. | DO |  |  |
|  | Dental Polishing Lathe cut | 05 Nos. | DO |  |  |
|  | Vibrator Heavy Duty | 05 Nos. | DO |  |  |
|  | Digital Electric Wax Carving knife (Dual) | 01 Nos. | DO |  |  |
|  | Weighing Balance | 02 Nos. | DO |  |  |
|  | Hydraulic Dental Press | 03 Nos. | DO |  |  |
|  | Plaster Dispensing Unit | 01 Nos. | DO |  |  |
|  | Vacuum Mixer With Vibrator | 01 Nos. | DO |  |  |
|  | Hanging Engine Motor | 10 Nos. | DO |  |  |
|  | Press Double Flask | 10 Nos. | DO |  |  |
|  | Flask | 10 Nos. | DO |  |  |
|  | Microtome | 01 No. | DO |  |  |
|  | Binocular Compound Microscope | 25 Nos. | DO |  |  |
|  | Dental Models | 01 No. each | DO |  |  |
|  | Dental Moulds | 06 Nos. each | DO |  |  |
|  | Kennedy’s Dental Moulds | 01 No. each | DO |  |  |
|  | Phantom Head With Table Mount Assembly Complete Removal Teeth and Jaws for Work Stations | 15 Nos. | DO |  |  |
|  | Centrifuge Machine for Oral Pathology Lab | 01 No. | DO |  |  |
|  | Colorimeter for Oral Pathology Lab | 01 No. | DO |  |  |
|  | Incubator for Oral Pathology Lab | 01 No. | DO |  |  |
|  | Dental Milling Machine | 01 No. | DO |  |  |
|  | Bunsen Burner | 50 Nos. | DO |  |  |
|  | X Ray Manual Developing Unit | 04 Nos. | DO |  |  |
|  | Platelet Rich Fibrin (PRF& CGF Machine) | 01 No. | DO |  |  |
|  | Electric Cautery Machine | 01 No. | DO |  |  |
|  | Reagent Refrigerator | 02 Nos | DO |  |  |
|  | Water bath | 01 Nos | DO |  |  |
|  | Staining Rack | 02 Nos | DO |  |  |
|  | Vertical Staining Jar with Cover | 04 Nos | DO |  |  |
|  | Wax Dispenser | 01 Nos | DO |  |  |
|  | Heamoglobinometer | 02 Nos | DO |  |  |
|  | ESR rods | 10 Nos | DO |  |  |

| LIST OF DENTAL MATERIALS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Glass ionomer Luting Cement | 05 Nos. | Supply and install the good within 60 Days |  |  |  |
|  | Glass ionomer-Light Cure | 05 Nos. | DO |  |  |  |
|  | Glass ionomer High Strength Posterior Restorative (GC Gold Label 9) | 05 Nos. | DO |  |  |  |
|  | Glass ionomer lining material | 05 Nos. | DO |  |  |  |
|  | Glass ionomer Universal Restorative Material | 05 Nos. | DO |  |  |  |
|  | Zinc phosphate cement | 05 Nos. | DO |  |  |  |
|  | Zinc Polycarboxylate Cavity liner and Luting Cement | 05 Nos. | DO |  |  |  |
|  | Zinc Oxide Eugenol cements | 05 Nos. | DO |  |  |  |
|  | Reinforced Zinc Oxide Eugenol cements | 05 Nos. | DO |  |  |  |
|  | Dental Hybrid Composite | 05 Nos. | DO |  |  |  |
|  | Dental Flowable Composite( Flowable Composite) | 05 Nos. | DO |  |  |  |
|  | Dental Composite Nanocomposite (Paradigm Nano Hybrid Restorative) | 05 Nos. | DO |  |  |  |
|  | Micro Hybrid Composite | 05 Nos. | DO |  |  |  |
|  | Dental Composite(Silorane Low Shrinkage Posterior Restorative System) | 05 Nos. | DO |  |  |  |
|  | Amalgam Non-gamma 2 alloy (Non gamma 2) | 04 Nos. | DO |  |  |  |
|  | Mercury (100 gm) | 02 Nos. | DO |  |  |  |
|  | Amalgam(Logic + Regular Capsules) | 10 Boxes | DO |  |  |  |
|  | Dental Alloy (Zinc Free) | 02 Nos. | DO |  |  |  |
|  | Dental modeling wax | 05 Nos. | DO |  |  |  |
|  | Bite and Boxing Wax | 05 Nos.. | DO |  |  |  |
|  | Carving Wax | 05 Nos. | DO |  |  |  |
|  | Dental Inlay Wax (Inlay Casting Wax) | 05 Nos. | DO |  |  |  |
|  | Sticky Wax | 05 Nos.. | DO |  |  |  |
|  | Dental Casting Wax | 10 Nos. | DO |  |  |  |
|  | Boxing Wax | 10 Nos. | DO |  |  |  |
|  | Dental Impression Wax | 10 Nos. | DO |  |  |  |
|  | Bite Registration Wax | 10 Nos. | DO |  |  |  |
|  | Pro-Utility wax | 10 Nos. | DO |  |  |  |
|  | Sprue Wax | 10 Nos. | DO |  |  |  |
|  | Occlusal Indicator Wax | 10 Nos. | DO |  |  |  |
|  | Corrective Impression Wax | 10 Nos. | DO |  |  |  |
|  | Impression Compound | 10 Nos. | DO |  |  |  |
|  | Impression Compound Green Stick | 10 Nos. | DO |  |  |  |
|  | Agar Impression Material(Supergel) | 02 Nos. | DO |  |  |  |
|  | Dental Alginate | 50 Nos. | DO |  |  |  |
|  | Dental Silicone Putty | 10 Nos. | DO |  |  |  |
|  | Dental Silicone(Light Body) | 10 Nos. | DO |  |  |  |
|  | C-Silicone putty | 10 Nos. | DO |  |  |  |
|  | Polysulphide Impression Material | 02 Nos. | DO |  |  |  |
|  | Polysulphide (Impregum Soft) | 02 Nos. | DO |  |  |  |
|  | Polyether Impression Material(Impregum F) | 02 Nos. | DO |  |  |  |
|  | Gypsum Bonded Investment | 01 No. | DO |  |  |  |
|  | Phosphate Bonded Investmen(Deguvest Impact Phosphate Bonded investment) | 01 No. | DO |  |  |  |
|  | Calcium Hydroxide (short setting) | 05 Nos. | DO |  |  |  |
|  | Calcium Hydroxide (long setting) | 05 Nos. | DO |  |  |  |
|  | Calcium Hydroxide (non setting) | 02 Nos. | DO |  |  |  |
|  | Temporary Calcium Hydroxide Canal Treatment Paste | 03 Nos. | DO |  |  |  |
|  | Resin Dental Cement (Third Generation Universal Adhesive Resin Dental Cement) | 02 Nos. | DO |  |  |  |
|  | MTA(Pro root MTA) | 01 No. | DO |  |  |  |
|  | Pulperyl | 05 Nos. | DO |  |  |  |
|  | Cresophene | 05 Nos. | DO |  |  |  |
|  | 15% EDTA gel | 10 Nos. | DO |  |  |  |
|  | Bioactive Dentine Substitute | 03 Nos. | DO |  |  |  |
|  | Sodium Hypochlorite Solution | 05 Nos. | DO |  |  |  |
|  | ChlorhexidineGluconate | 03 Nos. | DO |  |  |  |
|  | Sodium Chloride Irrigation(0.9%) | 05 Nos. | DO |  |  |  |
|  | EDTA solution(17%) | 05 Nos. | DO |  |  |  |
|  | Root Canal Preparation Cream | 05 Nos. | DO |  |  |  |
|  | Root Canal Sealer | 05 Nos. | DO |  |  |  |
|  | Root Canal Sealer(AH-26) | 05 Nos. | DO |  |  |  |
|  | GuttaPercha Points(15-40) | 20 Nos. | DO |  |  |  |
|  | GuttaPercha Points(45-80) | 20 Nos. | DO |  |  |  |
|  | Paper Points(15-40) | 20 Nos. | DO |  |  |  |
|  | Paper Points(45-80) | 20 Nos. | DO |  |  |  |
|  | Super EBA | 05 Nos. | DO |  |  |  |
|  | Intermediate Restorative Material(IRM) | 02 Nos. | DO |  |  |  |
|  | Alveogyl | 05 Nos. | DO |  |  |  |
|  | Caustinerf Fort | 05 Nos. | DO |  |  |  |
|  | Gates Glidden (28mm Stainless Steel) | 05 Nos. | DO |  |  |  |
|  | Disposible Syringe (12cc) | 100 Nos. | DO |  |  |  |
|  | Dental Dappen Dish | 10 Nos. | DO |  |  |  |
|  | H-File(Size 6,8,10)SS | 10 Nos. | DO |  |  |  |
|  | H-File(Size 15-40)SS | 10 Nos. | DO |  |  |  |
|  | H-File(Size 45-80)SS | 10 Nos. | DO |  |  |  |
|  | H-File(Size 90-140)SS | 10 Nos. | DO |  |  |  |
|  | K-File(Size 6,8,10)SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | K-File(Size 15-40) SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | K-File(Size 45-80)SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | H-File(Size 90-140)SS and Ni/Ti | 10 Nos. | DO |  |  |  |
|  | Protaper (Size SX, S-1, S-2)Ni/Ti | 05 Nos. | DO |  |  |  |
|  | Protaper (F1-F5)Ni/Ti | 05 Nos. | DO |  |  |  |
|  | Ni/Ti Spreaders (Size 8,10,15,20,25,30,35,40) | 05 Nos. | DO |  |  |  |
|  | Stainless Steel Hand Spreader (Size 8,10,15,20,25,30,35,40) | 05 Nos. Each | DO |  |  |  |
|  | Peso Reamers | 05 Nos. | DO |  |  |  |
|  | Reamers (Size 8,10,15,20,25,30,35,40,45) SS 21mm and 25mm | 02 Nos. Each | DO |  |  |  |
|  | Endodontic Explorer (DG16 DE Endodontic Explorer) | 05 Nos. | DO |  |  |  |
|  | Periodontal Dressing (Cellulose Based) | 05 Nos. | DO |  |  |  |
|  | Absorbable Collagen WoundDressing | 05 Nos. | DO |  |  |  |
|  | Periodontal Dressing | 05 Nos. | DO |  |  |  |
|  | Surgical Cement for Periodontal Dressing | 05 Nos. | DO |  |  |  |
|  | Acrylic Resin (Self Cure) | 05 Nos. | DO |  |  |  |
|  | Monomer (Self Cure) | 05 Nos. | DO |  |  |  |
|  | Acrylic Resin (Heat Cure) | 05 Nos. | DO |  |  |  |
|  | Monomer (Heat Cure) | 05 Nos. | DO |  |  |  |
|  | Soft Plaster | 100 Kg. | DO |  |  |  |
|  | Hard Plaster | 100 Kg. | DO |  |  |  |
|  | Die stone | 05 Kg. | DO |  |  |  |
|  | Quartz (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Aluminiumoxide (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Cuttlebone(Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Keiselghur (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Rouge(Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Tripoli (Abrasive Mat.) | 02 Nos. | DO |  |  |  |
|  | Fixer Solution for X-Ray Films | 05 Litter | DO |  |  |  |
|  | Developer Solutions for X-Ray Films | 05 Litter | DO |  |  |  |
|  | Orthodontic Bands for Molar and Premolar U/L (various sizes) | 100 Nos. | DO |  |  |  |
|  | Orthodontic Brackets (Roth press) | 10 Sets. | DO |  |  |  |
|  | Orthodontic Headgear | 02 Nos. | DO |  |  |  |
|  | Sprit | 10 Litter | DO |  |  |  |
|  | Bleaching Kit 38% hydrogen per oxide | 10 Nos. | DO |  |  |  |
|  | sterile cotton wool rolls | 20 PKT | DO |  |  |  |
|  | Napkin | 20 PKT | DO |  |  |  |
|  | Sterilization Pouch Self Sealing Small , Medium | 10 Boxes Each | DO |  |  |  |
|  | Dental Implant with Abutment Bone Level w (Internal SLA Surface, taper FDA approve Self Tapping Plate form Switching different sizes | 50 Pcs. | DO |  |  |  |
|  | Resorbale Bone (0.3cc) | 05 Nos. | DO |  |  |  |
|  | Pericardium Membrane 15 mm X 30mm, flexible and moldable customized titanium membrane (kit for GBR procedure) | 05 Nos. | DO |  |  |  |
|  | Lab Analogue, for Implant | 05 Nos. | DO |  |  |  |
|  | Angle Abutment for Implant | 05 Nos. | DO |  |  |  |
|  | Impression coping for Implant | 05 Nos. | DO |  |  |  |
|  | Implant Kit Complete with Sinus Lift | 02 Kits | DO |  |  |  |
|  | Sterile Cotton Pallets | 10 PKT | DO |  |  |  |
| LIST OF DENTAL INSTRUMENTS |  |  |  |  |  |  |
|  | Examination Instruments (Mouth Mirror, Probe and twizer) SS | 200 Sets. | Supply and install the good within 60 Days |  |  |  |
|  | Condensor (Plugger)-Smooth | 10 Nos. | DO |  |  |  |
|  | Condensor (Plugger)-Serrated | 10 Nos. | DO |  |  |  |
|  | Interproximal Condensor | 10 Nos. | DO |  |  |  |
|  | Liner Applicator | 10 Nos. | DO |  |  |  |
|  | Burnisher-Football | 10 Nos. | DO |  |  |  |
|  | Burnisher-Ball | 10 Nos. | DO |  |  |  |
|  | Burnisher-Acorn | 10 Nos. | DO |  |  |  |
|  | T-Ball Burnisher | 10 Nos. | DO |  |  |  |
|  | Beavertail Burnisher | 10 Nos. | DO |  |  |  |
|  | Tanner Carver | 10 Nos. | DO |  |  |  |
|  | Discoid-Cleoid Carver | 10 Nos. | DO |  |  |  |
|  | Gold Carving Knife | 10 Nos. | DO |  |  |  |
|  | Interproximal Carving Knife | 10 Nos. | DO |  |  |  |
|  | Tofflemire/Matrix Band Retainer | 10 Nos. | DO |  |  |  |
|  | Matrix Bands Strips | 10 PKT. | DO |  |  |  |
|  | Wooden Wedges | 10Boxes. | DO |  |  |  |
|  | Amalgam Well | 05 Nos. | DO |  |  |  |
|  | Articulating Paper Holder | 05 Nos. | DO |  |  |  |
|  | Composite Placement Instrument | 05 Nos. | DO |  |  |  |
|  | Composite Burnisher | 10 Nos. | DO |  |  |  |
|  | Finishing Strip | 05 Nos. | DO |  |  |  |
|  | Crown and Bridge Scissors | 03 Nos. | DO |  |  |  |
|  | Provisional Crown Removing Forceps | 05 Nos. | DO |  |  |  |
|  | Trail Crown Remover | 05 Nos. | DO |  |  |  |
|  | Endodontic Explorer | 05 Nos. | DO |  |  |  |
|  | Endodontic Long Shank Spoon Excavator | 05 Nos. | DO |  |  |  |
|  | Endodontic Locking Forceps | 05 Nos. | DO |  |  |  |
|  | Broach | 05 Nos. | DO |  |  |  |
|  | Endodontic Millimeter Ruler | 10 Nos. | DO |  |  |  |
|  | Gates Glidden Bur | 05 Nos. | DO |  |  |  |
|  | Endodontic Irrigating Syringe | 100 Nos. | DO |  |  |  |
|  | Sterile Absorbent Paper Points | 05 Nos. | DO |  |  |  |
|  | Endodontic Spreader | 05 Nos. | DO |  |  |  |
|  | Endodontic Plugger | 05 Nos. | DO |  |  |  |
|  | Micro Retro Amalgam Carrier | 03 Nos. | DO |  |  |  |
|  | Micro Retro Mouth Mirror | 20 Nos. | DO |  |  |  |
|  | Universal Curettes | 05 Nos. | DO |  |  |  |
|  | Langer Universal Curettes | 05 Nos. | DO |  |  |  |
|  | Area Specific Curettes-Anterior | 05 Nos. | DO |  |  |  |
|  | Area Specific Curettes-Posterior | 05 Nos. | DO |  |  |  |
|  | Extended Area Specific Curettes-Anterior | 05 Nos. | DO |  |  |  |
|  | Extended Area Specific Curettes-Posterior | 05 Nos. | DO |  |  |  |
|  | Mini Extended Area Specific Curettes-Anterior | 05 Nos. | DO |  |  |  |
|  | Mini Extended Area Specific Curettes-Posterior | 05 Nos. | DO |  |  |  |
|  | Straight Sickle Scaler | 05 Nos. | DO |  |  |  |
|  | Curved Sickle Scaler | 05 Nos. | DO |  |  |  |
|  | Sharpening Stones | 05 Nos. | DO |  |  |  |
|  | Scissors-Short Blade | 05 Nos. | DO |  |  |  |
|  | Elastic Separating Pliers | 05 Nos. | DO |  |  |  |
|  | Steel Spring Separators | 05 Nos. | DO |  |  |  |
|  | Band Pusher | 05 Nos. | DO |  |  |  |
|  | Band Seater | 05 Nos. | DO |  |  |  |
|  | Arch Bending Pliers | 05 Nos. | DO |  |  |  |
|  | Tweed Loop Forming Pliers | 05 Nos. | DO |  |  |  |
|  | Three Prong Pliers | 05 Nos. | DO |  |  |  |
|  | Bird Beak Pliers | 05 Nos. | DO |  |  |  |
|  | Howe Pliers | 05 Nos. | DO |  |  |  |
|  | Distal End Cutting Pliers | 05 Nos. | DO |  |  |  |
|  | Orthodontic Hemostat | 05 Nos. | DO |  |  |  |
|  | Ligature Tying Pliers | 05 Nos. | DO |  |  |  |
|  | Ligature/Wire Cutter | 05 Nos. | DO |  |  |  |
|  | Lip Retractors | 05 Nos. | DO |  |  |  |
|  | Posterior Band Remover | 05 Nos. | DO |  |  |  |
|  | Bracket Remover | 05 Nos. | DO |  |  |  |
|  | Adhesive Removing Pliers | 05 Nos. | DO |  |  |  |
|  | Model Casing for patients record (Orthodontics) | 100 Nos. | DO |  |  |  |
|  | Orthoscrew implant Different Sizes | 20 Nos. | DO |  |  |  |
|  | Mouth Prop | 05 Nos. | DO |  |  |  |
|  | Mouth Gag | 05 Nos. | DO |  |  |  |
|  | Scalpel Handle with Blades | 05 Nos. | DO |  |  |  |
|  | Scalpel Blade Remover | 05 Nos. | DO |  |  |  |
|  | Tissue Scissor | 05 Nos. | DO |  |  |  |
|  | Tissue Forceps | 05 Nos. | DO |  |  |  |
|  | Periosteal Elevator | 05 Nos. | DO |  |  |  |
|  | Surgical Curette | 05 Nos. | DO |  |  |  |
|  | Tongue and Cheek Retractor | 10 Nos. | DO |  |  |  |
|  | Needle Holder | 05 Nos. | DO |  |  |  |
|  | Suture Needles and Sutures | 05 Nos. | DO |  |  |  |
|  | Suture Scissors | 10 Nos. | DO |  |  |  |
|  | Universal Surgical | 05 Nos. | DO |  |  |  |
|  | Interdental File | 05 Nos. | DO |  |  |  |
|  | Micro periostal Elevator | 05 Nos. | DO |  |  |  |
|  | Periostal Curve angle | 05 Nos. | DO |  |  |  |
|  | Tissue graft plugger | 05 Nos. | DO |  |  |  |
|  | Mucosal flap perpetrator | 05 Nos. | DO |  |  |  |
|  | Suture and membranes tweezers | 05 Nos. | DO |  |  |  |
|  | Atraumatic twezzer | 05 Nos. | DO |  |  |  |
|  | Disecting tweezers | 05 Nos. | DO |  |  |  |
|  | Cheek retector | 05 Nos. | DO |  |  |  |
|  | CPITN probe | 05 Nos. | DO |  |  |  |
|  | sterile cotton wool rolls dispenser | 10 Nos. | DO |  |  |  |
|  | Sterile cotton pallet dispenser | 10 Nos. | DO |  |  |  |
|  | Magnetic Bur Holder | 10 Nos. | DO |  |  |  |
|  | Endo Box Autoclavable | 25 Nos. | DO |  |  |  |
|  | Napkin holder | 100 Nos. | DO |  |  |  |
|  | Straight Elevator | 05 Nos. | DO |  |  |  |
|  | Luxating Elevator | 05 Nos. | DO |  |  |  |
|  | Periotomes | 05 Nos. | DO |  |  |  |
|  | Root Elevators | 05 Nos. | DO |  |  |  |
|  | T Bar Elevators | 05 Nos. | DO |  |  |  |
|  | Root Tip Elevators | 05 Nos. | DO |  |  |  |
|  | Root Tip Picks | 05 Nos. | DO |  |  |  |
|  | Rongeurs | 05 Nos. | DO |  |  |  |
|  | Bone File | 05 Nos. | DO |  |  |  |
|  | Laboratory Coat different Sizes with monogram as per required | 20 Nos. | DO |  |  |  |
|  | Protective Glasses | 05 Nos. | DO |  |  |  |
|  | Sharps Container | 10 Nos. | DO |  |  |  |
|  | Flexible Rubber Bowl | 10 Nos. | DO |  |  |  |
|  | Flexible Alginate Spatula | 10 Nos. | DO |  |  |  |
|  | Disposable Plastic Perforated Full Arch Impression Trays | 05Sets. | DO |  |  |  |
|  | Metal Perforated Full Arch Impression Tray | 05Sets. | DO |  |  |  |
|  | Disposable Plastic Perforated Quadrant and Anterior Impression Trays | 05 Sets. | DO |  |  |  |
|  | Triple Tray | 05 Nos. | DO |  |  |  |
|  | Mixing Gun for Final Impression Material | 02 Nos. | DO |  |  |  |
|  | Bite Registration Tray | 02 Nos. | DO |  |  |  |
|  | Laboratory Spatula | 05 Nos. | DO |  |  |  |
|  | Flexible Mixing Spatula | 05 Nos. | DO |  |  |  |
|  | Paper Mixing Pads | 10 Nos. | DO |  |  |  |
|  | Glass Sprit lamp | 20 Nos. | DO |  |  |  |
|  | Hypochloride Bleach | 20 Litter | DO |  |  |  |
|  | Normal Saline | 50 Nos. | DO |  |  |  |
|  | Intra Oral X-Ray Film (Manual) Box of 150 Pcs | 10 Pkts. | DO |  |  |  |
|  | Extra Oral X-Rays-Cephalometric and Panoramic (Dry Laser Printer Sheets) 100 sheets | 05 Pkts. Each | DO |  |  |  |
|  | Film Holder For Intra Oral X-Rays | 05 Nos. | DO |  |  |  |
|  | Lead Aprons | 05 Nos. | DO |  |  |  |
|  | X Ray View Luminator 24” x 36” | 05 Nos. | DO |  |  |  |
|  | High collar waste coat Apron for patient | 05 Nos. | DO |  |  |  |
|  | X-ray protective Mask | 05 Nos. | DO |  |  |  |
|  | New clear disposable dental impression trays (Upper & Lower Arch) | 10 Sets Each | DO |  |  |  |
|  | Alginate spatula | 10 Nos. | DO |  |  |  |
|  | Curved end plaster spatula | 10 Nos. | DO |  |  |  |
|  | Alginate Bowl | 10 Nos. | DO |  |  |  |
|  | Plaster Bowl | 10 Nos. | DO |  |  |  |
|  | Resin Mixing cups for acrylics | 05 Nos. | DO |  |  |  |
|  | High Speed burs (Plain taper fissure, Straight fissure, Tapered fissure | 10 Nos. Each | DO |  |  |  |
|  | Slow speed hand piece (Plain taper fissure, Straight fissure, Tapered fissure | 10 Nos. Each | DO |  |  |  |
|  | Diamond burs (Round, Tapered fissure, Inverted cone, Straight) for high Speed Hand Piece | 10 Nos. Each | DO |  |  |  |
|  | Diamond burs (Round, Tapered fissure, Inverted cone, Straight) for Slow Speed Hand Piece | 10 Nos. Each | DO |  |  |  |
|  | Stainless Steel Wire (0.7mm, 0.5mm) | 05 Rolls | DO |  |  |  |
|  | Nickel Titanium Wire (round: size .012, .014, .016, 0.18, .020) | 05 Nos Each | DO |  |  |  |
|  | Nickel Titanium(Rectangular) Sizes: .016X.016 .016X.022 .017X.025 .018X.018 .018X.025 .019X.025 .020X.020 .021X.025 | 05 Sets | DO |  |  |  |
|  | Glass slab (6×6) | 10 Nos. | DO |  |  |  |
|  | Conical Flask (100ml, 250ml, 500ml, 1000ml) | 05 Nos. | DO |  |  |  |
|  | Pipette graduated(Manual &digital) | 05 Each | DO |  |  |  |
|  | Filter paper | 05 Nos. | DO |  |  |  |
|  | Whatman Filter paper No. 40, 41 & 42 | 05 Nos. | DO |  |  |  |
|  | Glass Rod | 05 Nos. | DO |  |  |  |
|  | Burette 50 ml, 10ml (with Teflon stopper) | 05 Each | DO |  |  |  |
|  | Beaker 1000,500,100,50,25,10ml | 05 Each | DO |  |  |  |
|  | Funnel 75 mm,125mm | 05 Each | DO |  |  |  |
|  | Graduated Cylinder 100 ml, 50,25,10 | 05 Each | DO |  |  |  |
|  | Thermometer | 05 Nos. | DO |  |  |  |
|  | Volumetric flask 1000 ,500,100,50,25,10,5 ml | 05 Each | DO |  |  |  |
|  | Pipette 25, 10,5,1 ml | 05 Each | DO |  |  |  |
|  | Micropipette (1-10 micro lit) | 02 Nos. | DO |  |  |  |
|  | Micropipette (10-100 micro lit) | 02 Nos. | DO |  |  |  |
|  | Stop watch | 10 Nos. | DO |  |  |  |
|  | Dispensing jars | 02 Nos. | DO |  |  |  |
|  | Burette stands | 02 Nos. | DO |  |  |  |
|  | Test tubes with screw cap | 50 Nos. | DO |  |  |  |
|  | Tube stands | 05 Nos. | DO |  |  |  |
|  | Sugar tubes | 100 Nos. | DO |  |  |  |
|  | Sugar tubes stand | 10 Nos. | DO |  |  |  |
|  | Membrane filters (small size) | 05 Nos. | DO |  |  |  |
|  | Glass syringes | 05 Nos. | DO |  |  |  |
|  | Petri plates | 05 Nos. | DO |  |  |  |
|  | Mortar and pestle (agate and ceramic) | 05 Nos. | DO |  |  |  |
|  | Test tube holders | 04 Nos. | DO |  |  |  |
|  | Glass droppers | 05 Nos. | DO |  |  |  |
|  | Plastic droppers | 05 Nos. | DO |  |  |  |
|  | Centrifuge tubes (plastic and glass) | 50 Nos. | DO |  |  |  |
|  | Slides (glass) | 50 Nos. | DO |  |  |  |