Annexure – “A”

SHAHEED MOHTARMA BENAZIR BHUTTO MEDICAL COLLEGE LYARI, GOVERNMENT OF SINDH

TENDER FOR UNIFORMS & PROTECTIVE CLOTHING

| COST OF TENDER DOCUMENTS: | Rs. 2,000/= Rupees Two Thousand Only (Non-Refundable) |
| --- | --- |
| TENDER SELLING DATE : | 11.04.2016 upto 25.04.2016 |
| TENDER SUBMISSION PLACE : | Principal / Project Director, Shaheed Mohtarma Benazir Bhutto Medical College Lyari, Karachi. |
| TENDER SUBMISSION DATE AND TIME: | On 26.04.2016 at 2:00 pm |
| TENDER OPENING DATE AND TIME : | On 26.04.2016 at 3:00 pm |

Note:  No tender will be accepted after closing time of the Tender, whatsoever reason may be.

Bidders are required to comply all the clauses mentioned in the Terms and Conditions of the Tender and any deviation will forbid them from competing in the tender

1.	In this tender TWO Envelopes procedure as per SPPR 2010 Rules will be followed i.e. TECHNICAL and FINANCIAL BIDS will be submitted in separate sealed envelopes.

2.	In the Technical Bid, the bidder must provide Pay Order / Bank Draft/ Bank Guarantee 2% value of the quoted items, original data sheet, technical brochure, all other relevant documents. The technical evaluation will be done on the basis of criteria given in tender document.

3.	A Column is given against the specification of each item, the vendor has to fill up with  YES / NO or put a value as desired in the column. These specifications must be highlighted in the brochure/Technical sheet.

4.	In Financial Bid, the vendor should mention financial offer.

5.	The Financial Proposal   should contain only the prices of the equipments/item which are quoted.

6.	No tender will be entertained without earnest money.

7.	No escalations in rates are allowed in any case after submission of the tender.

8.	Only manufacturer / valid sole agent or Authorized Agent in Pakistan for a foreign manufacturer, can participate in the tender for the item.

9.	The Employer will initially open only the envelopes marked “Technical Proposal” in the presence of Bidders or their representatives who chose to be present at the time of bid opening date, time and place specified in the tender documents. The Bidder or their representative who are present shall sign the attendance sheet. The envelope marked “Financial Proposal“ shall be retained in the custody of Employer without being opened till the completion of the Technical Evaluation.

10.	The first scrutiny of technical bids will be performed by the Technical Committee on the basis of the data sheet and literature provided. Financial bids of technical qualified firms will be opened.

11.	The equipment offered must be of latest version/generation and in case an old model is offered, it will not be considered, even though it is as per the tender specifications.

12.	All documents / papers submitted with the technical and commercial bid should be paginated and certificate should be recorded duly signed and stamped at the end of the bid, else, the bid will be ignored.

13.	Quality Assurance Tools / Test equipment availability with local agent for PPM (Periodic Preventive Maintenance) and periodic calibration along with list of test tools with calibration validity should be provided by firms before entering the agreement.

14.	Certificate from the Manufacturer / Sole Agent has fully equipped workshop, along with the list of Trained Personnel / Engineers and Equipment should be provided with technical bid and it can be physically verified by the Technical Committee of SMBBMCL, Karachi at any time before finalizing the tender.

15.	The successful bidder will be required to submit Performance Security in shape of Pay Order / Bank Draft/ Bank Guarantee @ 10% of the total value within Seven (7) days after receiving of the letter of acceptance.

16.	The vendor will give Two (2) years warranty with parts and consumables, if any, and further one years free service without parts.

17.	The warranty period will commence from the date of commissioning of the unit as per report of the end user or technical person of SMBBMCL, Karachi.

18.	Firm must provide complete details of their financial standing, listing of similar equipment supplied in Pakistan, bio-data of engineers with training certificates/ test equipment, details of local stock of spare parts for similar equipment and details of office with number of personals; else, the bid will be ignored.

19.	The vendor will provide technical / operational training to electro-medical engineer / end user from factory trained engineers. The supplier should provide detail of training program.

20.	All equipment to be supplied should be accompanied with Two (2) original copies of the operation, service / maintenance and schematic diagram and spare parts list, manual in English language.

21.	The vendor has to quote only one rate for each item as per tender specifications.  (Alternate model will be considered. If a separate purchase receipt is attached), First offer will be preferred. All tender must be typed / printed. Hand written tenders or those having any cutting or erasing will be ignored.

22.	The bidder shall submit with the bid, an UNDERTAKING on Non-judicial stamp paper of Rs. 100/- duly attested by Oath Commissioner, stating that the equipment will be supplied is the brand new and of latest version / model, free from defects in design material and workmanship and will bind himself for availability of spares.

23.	If vendor doesn’t supply equipment in accordance with the supply order or fails to supply according to terms and conditions or incase of any other default of terms and condition of the tender, it will be disqualified and the earnest / security money will be forfeited.

24.	If the vendor fails to supply and install the equipment of the purchase order within the stipulated period, the liquidated charges will be imposed.

25.	The decision once taken will be final and will not be challenged in any court of law.

26.	The Interim payment will be made within 30 days after getting the Joint Inspection Report duly signed by the nominated members (End User / Technical Expert, Store officer / Official of SMBBMCL, Karachi).

27.	A copy of Income Tax and GST Registration Certificate should be submitted along with Technical Bid.

28.	Conditional tender(s) against the Govt: rules/policy will not be entertained / accepted.

29.	The Vendor should submit a Data Sheet according to the Tender Specifications Format mentioned in the tender and highlight the tender specifications in their Technical Data Sheet. Additional Feature can be mentioned separately and the same will be considered if found the said features are good/best.

30.	The attached questioner Performa must be properly filled and should be completed in all respect.  In case questioner Performa is incomplete or information/formations provided are   incorrect, the tender shall be rejected and the firm can be disqualified.

31.	The SMBBMCL Committee reserves the right to reject or accept any / all tender(s) subject to relevant provision of  SPPRA Rules 2010.

32.	 The Bid which does not fulfill the prescribed conditions in the tender is liable to be ignored/ rejected.

33.	The Procurement Committee reserves the right to increase or decrease the quantity as per requirement.

34.	All the (applicable) Government taxes (Income Tax/ 0.20% Stamp Duty of the value of the contract amount will be deducted from the bills of the Contractors /Suppliers.

35.	Demonstration of quoted equipment & Machinery is mandatory for technical approval.

I / we agreed above mentioned terms & conditions:

Name of Manufacturer/Sole Agent__________________________ Signature ___________

(CNIC NO ____________________________________________ ( Copy must be attached )

Full Address__________________________________________________________________

______________________________________________________________________________

Rubber Stamp: ________________________________________________________________

Annexure - "B"

QUESTIONNAIRE / PERFORMA

(To be filled in by the vendor all the quoted item.)

Equipment____________________               	Model______________________________

Manufacturer__________________	            Supplier____________________________

1-    	Year of Introduction of the offered model:	______________________________

Version (if same model revised): 			______________________________

2-	Number of equipment installed (Please provide names of institution for

Pakistan/ Karachi)

-	World wide.						______________________________

-	In Pakistan.						______________________________

-	In Karachi 						______________________________

3-	Manuals to be provided:                   	Yes	       		No

-	Service.					____			____

-	Parts List					____			____

-	Electrical Drawing/ Schematics		____			____

-	Operational/ Application			____			____

4-   	Spare parts Availability Guarantee (No of years):	________________________

5-	Source of spares availability	 				Lead time

Local                                ________           Overseas		________

6-	Equipment life period (number of years)				________

7-	Do you hold specialized tools/test equipment required for:

-	Maintenance	Yes		 No	 N/A

-	Calibration	___		___	____

Please provide list of tools/test equipment including their calibration status on a separate sheet.

8-	Annual Maintenance contract Price:

-	Parts and Labor:                         		____________

-	Labor without parts:                    		____________

9-	On call service charges:

-	Minimum:              				____________

-	Per day:                				____________

10-	In case of in house maintenance by CHK engineers are you willing to

provide following during post warranty period.

-	Back up engineer support whenever requested:		Yes		No

-	Prompt supply of spares/ consumables:			____		____

11-	Are you authorized representative of manufacturer:	____		____

12-	No of Factory trained engineer available locally

Locally on offered equipment (provide training

Certificate & years of experience):		____________________________________

13-	Total number of years in business:	____________________________________

14-	Warranty period (please provide following details:

-	Uptime Guarantee:					________%

-	Response time to maintenance requested:	________Hrs

-	No of PPM/Year:					________

-	Any other:						________

15- 	Do you have any objection/ concerns to use similar		Yes		No

specification spares of alternate/ other manufacturer		___		___

during warranty of maintenance contract (if available)

16-	Comprehensive CHK Engineer Training				Yes		No

-	If yes state what included:						___		___

-	Training Fees								_____		____

-	Airfare								_____		____

-	Boarding/Lodging							_____		____

-	Free of charge							_____		____

-	None of the above							_____		____

17-	Up-gradation possibility:

Hardware                           YES / NO              Software	 YES / NO

-	If above has any cost please provide the details of up-gradation with estimated price:

________________________________________________________________________

________________________________________________________________________

Please state safety standard conformance (e.g. IEC 601,FDA, AAMI etc):

________________________________________________________________________

________________________________________________________________________

18-	Pre-Installation services requirements:

Power:	_________________ KW	Voltage:   ________  Single/Three phase

Gas:        _________________ Cu.ft/ hr      Water:     ________ Gallons/ Liter Hour

_________________  PSI (Pascal

(If pre-treated water required, please provide details)

Air______________ PSI           		Vacuum______________________ mmgh

Other:__________________________________________________________________

(e.g. Drain, Exhaust, Physical facility change etc)

Installation time:          			_________________

Installation/ commissioning by whom:	_________________

19-	Environmental Parameters Limits:

-	Temperature__________ to __________ centigrade/ Fahrenheit

-	Humidity _____________to __________ % RH.

IEC 601- International Electro Technical commission (Code 601)

AAMI     - American Association for medical instrumentation.

20-    	Any other specific requirement (e.g. UPS, Voltage Stabilizer etc, provide

details):

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

21-   	Briefly state facilities and benefits provided during warranty period:

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

22-	Please give the rates of consumable, Disposable items and parts required for   proper functioning of Machine /equipment life period of each item (in days 
/months ).

________________________________________________________________________

________________________________________________________________________

Note: (The said Performa should be filled by the vendor to  provide information of  all the quoted item.)

Supplier’s Name: ______________________________________________________________

Authorized Signature:_________________________  Designation_____________________

______________________________________________________________________________

Annexure - "C"

CRITERIA FOR TECHNICAL EVALUATION OF THE BID:-

| Specifications with best quality / features of the quoted item. | Points 50 |  |
| --- | --- | --- |
| Service backup facilities in KARACHI of the quoted item. | Points 30 |  |
| According to the Terms & Conditions mentioned in the Bid Form. | Points 20 |  |

Annexure - “D”

Contract Form

THIS AGREEMENT made the _____ day of __________ 2011_____ between [name of Procuring Agency] of [country of Procuring agency] (here in after called “the Procuring agency”) of the one part and [name of Supplier] of [city and country of Supplier] (here in after called “the Supplier”) of the other part:

WHEREAS the Procuring agency invited bids for certain goods and ancillary services, viz. [brief description of goods and services] and has accepted a bid by the Supplier for the supply of those goods and services in the sum of [contract price in words and figures] (here in after called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.	The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

(a)	the Bid Form and the Price Schedule submitted by the Bidder;

(b)	the Schedule of Requirements;

(c)	the Technical Specifications;

(d)	the General Conditions of Contract;

(e)	the Special Conditions of Contract; and

(f)	the Procuring agency’s Notification of Award.

3.	In consideration of the payments to be made by the Procuring agency to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Procuring agency to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract

4.	The Procuring agency hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the contract at the times and in the manner prescribed by the contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, sealed, delivered ______________ by ______________ the (for the Procuring Agency)

Signed, sealed, delivered ______________ by ______________ the (for the Supplier)

Annexure - “E”

BILL OF QUANTITY