SCHEDULE “B”

PROVIDING, LAYING, JOINTING AND TESTING EXTENSION OF DISTRIBUTION SYSTEM OF MITHI TOWN FOR CONSTRUCTION OF R.C.C UNDERGROUND RESERVOIR FOR R.O PLANT, IMPROVEMENT / EXTENSION OF DISTRIBUTION NETWORK FOR MITHI AND ISLAMKOT TOWNS DISTRICT THARPARKAR

| 1. | Providing Laying and fixing in trenches i/c fitting, jointing & testing etc complete in all respect the high Density Polyethylene P.E pipe (HDPE-100) for w/s confirming ISO 4427/DIN8074 B.S 3580 by PSI 3051 (P.H.S.I. No. F1 P-26). |
| --- | --- |

i)	PN-10 12" Dia 315 mm

3000.0 Rft		@ Rs. 1998/=			P.Rft			Rs. 59,94,000/=

(Rupees One Thousand Nine Hundred Ninety Eight)

only (Per Rft)

ii)	PN-10 8" Dia 225 mm

6000.0 Rft		@ Rs. 1044/=			P.Rft			Rs. 62,64,000/=

(Rupees One Thousand Forty Four) only (Per Rft)

| 2. | Providing UPVC pipe of class “B” equivalent make fixing in trench i/c cutting, fitting & jointing with “Z” Joint with one pair of rubber ring i/c testing with water to head of 61 meter or 200 ft. (P.H.S.I. No. E1 P-22). |
| --- | --- |

6" Dia

12000.0 Rft			@ Rs. 262/=			P.Rft			Rs. 31,44,000/=

(Rupees Two Hundred Sixty Two) only (Per Rft)

4" Dia

15000.0 Rft			@ Rs. 137/=			P.Rft			Rs. 20,55,000/=

(Rupees One Hundred Thirty Seven) only (Per Rft)

3" Dia

18000.0 Rft			@ Rs. 90/=			P.Rft			Rs. 16,20,000/=

(Rupees Ninety ) only (Per Rft)

| 3. | C.I sluice valve heavy pattern test pressure 21 kg/sq:cm or 300 lbs/sq: inch. (P.H.S. of Mat: Vol: III Item No. 2 P-11). |
| --- | --- |

12" Dia

02 Nos:			@ Rs. 78000/=		Each			Rs. 1,56,000/=

(Rupees Seventy Eight Thousand) only (Each)

8" Dia

04 Nos:			@ Rs. 17940/=		Each			Rs. 71,760/=

(Rupees Seventeen Thousand Nine Hundred Forty)

only (Each)

6" Dia

06 Nos:			@ Rs. 9360/=			Each			Rs. 56,160/=

(Rupees Nine Thousand Three Hundred Sixty) only (Each)

4" Dia

10 No:				@ Rs. 5460/=			Each			Rs. 54,600/=

(Rupees Five Thousand Four Hundred Sixty) only (Each)

3" Dia

10 No:				@ Rs. 4290/=			Each			Rs. 42,900/=

(Rupees Four Thousand Two Hundred Ninety) only (Each)

| 4. | Cast iron special for A.C pressure pipe (Standard Weight A.C.I.L “B” Class) (P.H.S.O.M. Vol: III Item No: 7 P-15). |
| --- | --- |

(i)	Short Piece

12" dia

04 Nos:		@ Rs. 2600/=    		Each			Rs. 10,400/=

(Rupees Two Thousand Six Hundred) only (Each)

8" dia

08 Nos:		@ Rs. 1056/25    		Each			Rs. 8,450/=

(Rupees One Thousand Fifty Six and Paisa Twenty Five)

only (Each)

6" dia

12 Nos:		@ Rs. 618/75    		Each			Rs. 7,425/=

(Rupees Six Hundred Eighteen and Paisa Seventy Five)

only (Each)

4" dia

20 Nos:		@ Rs. 487/50    		Each			Rs. 9,750/=

(Rupees Four Hundred Eighty Seven and Paisa Fifty) only (Each)

3" dia

20 Nos:		@ Rs. 375/=    		Each			Rs. 7,500/=

(Rupees Three Hundred Seventy Five) only (Each)

(ii)	Gibault Joint

12" dia

06 Nos:		@ Rs. 2681/25		Each			Rs. 16,088/=

(Rupees Two Thousand Six Hundred Eighty One

and Paisa Twenty Five) only (Each)

8" dia

06 Nos:		@ Rs. 1381/25		Each			Rs. 8,288/=

(Rupees One Thousand Three Hundred Eighty One

and Paisa Twenty Five) only (Each)

6" dia

10 Nos:		@ Rs.1062/50			Each			Rs. 10,625/=

(Rupees One Thousand Sixty Two and Paisa Fifty)

only (Each)

4" dia

15 Nos:		@ Rs. 731/25			Each			Rs. 10,969/=

(Rupees Seven Hundred Thirty One and Paisa Twenty Five)

only (Each)

3" dia

15 Nos:		@ Rs. 568/75			Each			Rs. 8,531/=

(Rupees Five Hundred Sixty Eight and Paisa Seventy Five)

only (Each)

(iii)	Rubber Ring for F.C Pressure Pipe “B” Class (P.H.S.M.I No.7(a,b,c) P-4)

12" dia

16 Nos:		@ Rs. 238/=			Each			Rs. 3,808/=

(Rupees Two Hundred Thirty Eight) 	only (Each)

8" dia

24 Nos:		@ Rs. 161/=			Each			Rs. 3,864/=

(Rupees One Hundred Sixty One) only (Each)

6" dia

20 Nos:		@ Rs. 129/=			Each			Rs. 2,580/=

(Rupees One Hundred Twenty Nine) only (Each)

4" dia

30 Nos:		@ Rs. 95/=			Each			Rs. 2,850/=

(Rupees Ninety Five) only (Each)

3" dia

30 Nos:		@ Rs. 58/=			Each			Rs. 1,740/=

(Rupees Fifty Eight) only (Each)

| (iv). | C.I Tee with spigot and branches and socket and end for all sizes (Sch: of mat: Item No: 7 P-12) |
| --- | --- |

i)	12"x12"x12"

89.25 Kg			@ Rs. 110/=  			P. Kg			Rs. 9,818/=

(Rupees One Hundred Ten) only (Per KG)

| (ii). | C.I tapper flat bottomed or central tappers flanged (Sch: of mat: Item No: 9 P-12) |
| --- | --- |

75.41 Kg		@ Rs. 120/=    		P. Kg 			Rs. 9,049/=

(Rupees One Hundred Twenty) only (Per KG)

| 5. | High Density Polyethylene fitting (PE-100) (Per Each) Equivalent Make Sch: of Mat: Item No: (a) P-20) |
| --- | --- |

(i)	Elbow 45° P.N 10

12" dia

02 Nos:		@ Rs. 13441/=    		Each			Rs. 26,882/=

(Rupees Thirteen Thousand Four Hundred Forty One)

only (Each)

8" dia

02 Nos:		@ Rs. 6874/=    		Each			Rs. 13,748/=

(Rupees Six Thousand Eight Hundred Seventy Four)

only (Each)

(ii)	Elbow 90° P.N 10

12" dia

02 Nos:		@ Rs. 16801/=    		Each			Rs. 33,602/=

(Rupees Sixteen Thousand Eight Hundred One) only (Each)

8" dia

02 Nos:		@ Rs. 8593/=    		Each			Rs. 17,186/=

(Rupees Eight Thousand Five Hundred Ninety Three) only (Each)

(iii)	Tee Unequal (outer dia) PNO-10

315 x 160 x 315

02 Nos:		@ Rs. 15181/=    		Each			Rs. 30,362/=

(Rupees Fifteen Thousand One Hundred Eighty One)

only (Each)

315 x 110 x 315

02 Nos:		@ Rs. 14268/=    		Each			Rs. 28,536/=

(Rupees Fourteen Thousand Two Hundred Sixty Eight)

only (Each)

315 x 90 x 315

02 Nos:		@ Rs. 14000/=    		Each			Rs. 28,000/=

(Rupees Fourteen Thousand) only (Each)

250 x 110 x 250

04 Nos:		@ Rs. 9297/=    		Each			Rs. 37,188/=

(Rupees Nine Thousand Two Hundred Ninety Seven)

only (Each)

250 x 90 x 250

04 Nos:		@ Rs. 9028/=    		Each			Rs. 36,112/=

(Rupees Nine Thousand and Twenty Eight) only (Each)

(iv)	Stib end place PNO-10

12" dia 315mm

02 Nos:		@ Rs. 16332/=    		Each			Rs. 32,664/=

(Rupees Sixteen Thousand Three Hundred Thirty Two)

only (Each)

8" dia 225 mm

04 Nos:		@ Rs. 8362/=    		Each			Rs. 33,448/=

(Rupees Eight Thousand Three Hundred Sixty Two) only (Each)

(v)	Butt fusion joint

12" dia 280-355

12 Nos:		@ Rs. 2200/=    		P.Joint			Rs. 26,400/=

(Rupees Two Thousand Two Hundred) only (Per Joint)

8" dia 180-250

16 Nos:		@ Rs. 1800/=    		P.Joint			Rs. 28,800/=

(Rupees One Thousand Eight Hundred) only (Per Joint)

| 6. | UPVC Fitting (Per Each) (Equivalent make (P.H.S.O.M I No: 18 P-26) |
| --- | --- |

(i)	PVC Tee

6" dia

20 Nos:		@ Rs. 1800/=    		Each			Rs. 36,000/=

(Rupees One Thousand Eight Hundred) only (Each)

4" dia

20 Nos:		@ Rs. 1181/=    		Each			Rs. 23,620/=

(Rupees One Thousand One Hundred Eighty One)

only (Each)

3" dia

40 Nos:		@ Rs. 900/=    		Each			Rs. 36,000/=

(Rupees Nine Hundred) only (Each)

(ii)	PVC Bend

6" dia

15 Nos:		@ Rs. 1913/=    		Each			Rs. 28,695/=

(Rupees One Thousand Nine Hundred Thirteen) only

(Each)

4" dia

15 Nos:		@ Rs. 956/=    		Each			Rs. 14,340/=

(Rupees Nine Hundred Fifty Six) only (Each)

3" dia

30 Nos:		@ Rs. 731/=    		Each			Rs. 21,950/=

(Rupees Seven Hundred Thirty One) only (Each)

(iii)	End Plate (P.H.S.M.I No:   P-28)

4" dia

25 Nos:		@ Rs. 350/=    		Each			Rs. 8,750/=

(Rupees Three Hundred Fifty) only (Each)

3" dia

40 Nos:		@ Rs. 250/=    		Each			Rs. 10,000/=

(Rupees Two Hundred Fifty) only (Each)

(iv)	Reducer

6"x4" dia

10 Nos:		@ Rs. 893/75    		Each			Rs. 8,938/=

(Rupees Eight Hundred Ninety Three and Paisas

Seventy Five) only (Each)

4"x3" dia

15 Nos:		@ Rs. 568/75    		Each			Rs. 8,531/=

(Rupees Five Hundred Sixty Eight and Paisas

Seventy Five) only (Each)

| 7. | Making joints to C.I/M.S specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the specied pressure and making good o all leaky joints etc complete.. (P.H.S.I.No. 1 P-40). |
| --- | --- |

12" dia

18 Joints		@ Rs. 2239/=  		P.Joint			Rs. 40,302/=

(Rupees Two Thousand Two Hundred Thirty Nine)

only (Per Joint)

8" dia

21 Joints		@ Rs. 940/=  			P.Joint			Rs. 19,740/=

(Rupees Nine Hundred Forty) only (Per Joint)

6" dia

32 Joints		@ Rs. 938/=  			P.Joint			Rs. 30,016/=

(Rupees Nine Hundred Thirty Eight) only (Per Joint)

4" dia

50 Joints		@ Rs. 513/=  			P.Joint			Rs. 25,650/=

(Rupees Five Hundred Thirteen) only (Per Joint)

3" dia

50 Joints		@ Rs. 499/=  			P.Joint			Rs. 24,950/=

(Rupees Five Hundred Ninety Nine) only (Per Joint)

| 8. | Making joints to PVC specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the specied pressure and making good o all leaky joints etc complete.. (P.H.S.I.No.1 P-41). |
| --- | --- |

6" dia

65 Joints		@ Rs. 96/=			P.Joint			Rs. 6,240/=

(Rupees Ninety Six) only (Per Joint)

4" dia

95 Joints		@ Rs. 70/=			P.Joint			Rs. 6,650/=

(Rupees Seventy) only (Per Joint)

3" dia

150 Joints		@ Rs. 59/=			P.Joint			Rs. 8,850/=

(Rupees Fifty Nine) only (Per Joint)

| 9. | Dismantling and removing road matling. (G.S.I. No. 51 P-13). |
| --- | --- |

8355.0 Cft		@ Rs. 605/=			P% Cft		Rs. 50,548/=

(Rupees Six Hundred and Five) only (Per Hundred Cft)

| 10. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (P.H.S.I.No. 2 P-60). |
| --- | --- |

365780.0 Cft		@ Rs. 3750/=	P‰ Cft			Rs. 13,71,675/=

(Rupees Three Thousand Seven Hundred Fifty)

only (Per Thousand Cft)

| 11. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No.24 P-53). |
| --- | --- |

336722.0 Cft		@ Rs. 2760/=	P‰ Cft			Rs. 9,29,353/=

(Rupees Two Thousand Seven Hundred Sixty)

only (Per Thousand Cft)

| 12. | Providing chamber 3' x 2' (915 x 615 mm) inside dimension 4 ½' (1372 mm) deep as per approved design for sluice valve 3" to 12" dia with 18" (457 mm) dia inside cost iron cover and frame (wt = 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick (with 5 Lbs steel per cft) 9" (299 mm) thick brick masonry wall set in 1:6 cement mortar 6" (1152 mm) thick cement concrete 1:3:6 in foundation 1" (25 mm) thick cement concrete 1:2:4 flooring ½" (12.5 mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at every one foot beyond 2 ½ ft depth curing, excavation, back filling and disposal of surplus earth etc complete. (P.H.S.I.No. 1 P-49). |
| --- | --- |

32 Nos:		@ Rs. 18820/=	Each				Rs. 6,02,240/=

(Rupees Eighteen Thousand Eight Hundred Twenty)

only (Each)

Total	Rs. 2,32,76,121/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Deputy Commissioner/Project Director will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |