SCHEDULE “B”

UP-GRADATION OF RISING MAIN FROM PUBLIC SCHOOL PUMPING STATION TO CHELHAR ROAD FOR PIPE LINE WATER SUPPLY SCHEME MITHI - ISLAMKOT (PART III)

| 1. | Manufacturing, Supplying & Fixing black steel MS pipe made out of MS sheet confirming to APL 5L grade X-42 Spirally welded and externally asphalt coated with fiber glass 5mm thick (3 layers) & internally C.C lining 8mm thick (AWWA specification) i/c laying jointing with Helical welding in trenches i/c cost of bends of any degree & testing with water specified pressure for different dia of pipes as below ( Spirally welded) (P.H.S I No H/1/I P-32) |
| --- | --- |

5.6 mm thick 14" Dia

3200.0 Rft		@ Rs. 3110/35		P.Rft			Rs. 99,53,120/=

(Rupees Three Thousand One Hundred Ten and

Paisas Thirty Five) only (Per Rft)

| 2. | Supplying C.I reflex valve heavy pattern test pressure 21Kg/sq:cm or 300-lbs / sq: inch (imported) (Sch: of Mat: I No: 6/G (i) P-12) |
| --- | --- |

12" Dia

01 No:			@ Rs. 21937/50		Each			Rs. 21,938/=

(Rupees Twenty One Thousand Nine Hundred Thirty

Seven and Paisas Fifty) only (Each)

14" Dia

01 No:			@ Rs. 31250/=		Each			Rs. 31,250/=

(Rupees Thirty One Thousand Two Hundred Fifty)

only (Each)

| 3. | Providing & Fixing M.S flange made of M.S plate having thickness and total weight as mentioned against each item. Its included the cost of making holes, facing, welding, nuts bolts, rubber packing, white lead, filter cartage etc complete (M.S.Part D Item No: 8 P-8). |
| --- | --- |

12" dia ½" thick, 5.656 weight / each

02 Nos:		@ Rs. 2952/=   		Each			Rs. 5,904/=

(Rupees Two Thousand Nine Hundred Fifty Two) only (Each)

14" dia ½" thick, 6.464 weight / each

02 Nos:		@ Rs. 3535/=   		Each			Rs. 7,070/=

(Rupees Three Thousand Five Hundred Thirty Five) only (Each)

| 4. | Earth work excavation in ashes, sand, soft soil or silt clearance undressed lead upto 50 ft (For Removing dunes). (G.S.I.No: 2 P-1). |
| --- | --- |

94643.0 Cft		@ Rs. 1663/75		P‰ Cft		Rs. 1,57,462/=

(Rupees One Thousand Six Hundred Sixty Three)

and Paisas Seventy Five) only (Per Thousand Cft)

| 5. | Excavation for pipe line trenches and pits in sandy soil i/c trimming & dressing sides to true alignment & shape leveling of beds of trenches to correct level & grade, cutting joint holes & disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) & lead upto one chain (30.5 m). (P.H.S I.No: 2 P-60). |
| --- | --- |

14" dia

37400.0 Cft		@ Rs. 3750/=		P‰ Cft		Rs. 1,40,250/=

(Rupees Three Thousand Seven Hundred Fifty)

only (Per Thousand Cft)

| 6. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. (P.H.S.I. No: 1 P-40). |
| --- | --- |

12" dia

02 Joints		@ Rs. 2239/= 		P.Joint		Rs. 4,478/=

(Rupees Two Thousand Two Hundred Thirty Nine)

only (Per Point)

14" dia

02 Joints		@ Rs. 3348/= 		P.Joint		Rs. 6,696/=

(Rupees Three Thousand Three Hundred Forty Eight)

only (Per Point)

| 7. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No: 24 P-77). |
| --- | --- |

33660.0 Cft		@ Rs. 2760/=		P‰ Cft		Rs. 92,902/=

(Rupees Two Thousand Seven Hundred Sixty)

only (Per Thousand Cft)

| 8. | C.I tapper flat bottomed or central tapered socket and spigot end for all size (G.S.I.No: 9 (iii) P-18). |
| --- | --- |

14" to 12"

55.0 Kg		@ Rs. 110/=		P KG				Rs. 6,050/=

(Rupees One Hundred Ten) only (Per KG)

Total	Rs. 1,04,27,120/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Deputy Commissioner/Project Director will be final and binding on all the parties in any dispute.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |