SCHEDULE “B”

CONSTRUCTION OF R.C.C UNDER GROUND RESERVOIR (0.50 MG CAPACITY) (@ MITHI)

| 1. | Earth work excavation in ashes and soft soil or silt clearance undressed lead upto 50 ft |
| --- | --- |

105000.0 Cft		@ Rs. 1663/75	P‰ Cft			Rs. 1,74,694/=

Rupees One Thousand Six Hundred Sixty Three

And Paisas Seventy Five) Only (Per Thousand Cft)

| 2. | Excavation for tanks and reservoirs in sandy Soil i/c trimming and dressing sides to true alignment / design correct / profiles and shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet and lead upto one chain. |
| --- | --- |

0 to 5.0 ft

133467.50 Cft 	@ Rs 3150/= 		P‰ Cft			Rs. 4,20,423/=

(Rupees Three Thousand One Hundred Fifty) Only

(Per Thousand Cft)

5.1 to 8.0 ft

68542.50 Cft 		@ Rs 3700/= 		P‰ Cft			Rs. 2,53,607/=

(Rupees Three Thousand Seven Hundred) Only

(Per Thousand Cft)

8.1 to 11.0 ft

60456.0 Cft 		@ Rs 4250/= 		P‰ Cft			Rs. 2,56,938/=

(Rupees Four Thousand Two Hundred Fifty) Only

(Per Thousand Cft)

11.1 to 13.0 ft

18445.0 Cft 		@ Rs 4800/= 		P‰ Cft			Rs. 88,536/=

(Rupees Four Thousand Eight Hundred) Only

(Per Thousand Cft)

| 3. | Cement Concrete plain i/c placing compacting finishing & curing complete (i/c screening & washing of stone aggregate without shutting. |
| --- | --- |

Ratio (1:4:8)

9015.0 Cft		@ Rs. 11288/75	P% Cft				Rs. 10,17,681/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five) Only (Per Hundred Cft)

| 4. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate with out shutting. |
| --- | --- |

Ratio (1:3:6)

9015.0 Cft		@ Rs. 12595/=	P% Cft				Rs. 11,35,439/=

(Rupees Twelve Thousand Five Hundred Ninety Five)

Only (Per Hundred Cft)

Ratio (1:2:4)

360.0 Cft		@ Rs. 14429/25	P% Cft				Rs. 51,945/=

(Rupees Fourteen Thousand Four Hundred Twenty Nine

and Paisas Twenty Five) Only (Per Hundred Cft)

| 5. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. |
| --- | --- |

59310.0 Cft		@ Rs. 337/-		P.Cft				Rs.1,99,87,470/=

(Rupees Three Hundred Thirty Seven) Only (Per Cft)

| 6. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (USING TAR BARS). |
| --- | --- |

3214.39 Cwt		@ Rs. 5001/70	P.Cwt				Rs.1,60,77,414/=

(Rupees Five Thousand and One and Paisas Seventy)

Only (Per Cwt)

| 7. | Cement Plaster (1:3) upto 12' height ¾" thick (For Water Proofing). |
| --- | --- |

8200.0 Sft		@ Rs. 2795/30 	P% Sft				Rs. 2,29,215/=

(Rupees Two Thousand Seven Hundred Ninety Five

and Paisas Thirty) Only (Per Hundred Sft)

| 8. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) 3.50 Lbs per bag of cement. |
| --- | --- |

171.88 Kg		@ Rs. 125/=		P.Kg				Rs. 21,485/=

(Rupees One Hundred Twenty Five) Only (Per Kg)

| 9. | Providing and laying single per layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer Incharge. |
| --- | --- |

16943.50		@ Rs. 10/70		P.Sft 				Rs. 1,81,295/=

(Rupees Ten and Paisas Seventy) Only (Per Sft)

| 10. | Providing and fixing C.I.Man Hole cover with frame i/c cost of material. |
| --- | --- |

8.00 Cwt		@ Rs. 6985/=	P.Cwt				Rs. 55,880/=

(Rupees Six Thousand Nine Hundred Eighty Five	) Only

(Per Cwt)

| 11. | Providing / Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. |
| --- | --- |

16 Nos:		@ Rs. 4870/=	Each				Rs. 77,920/=

(Rupees Four Thousand Eight Hundred Seventy) Only 	(Each)

| 12. | Providing construction joint in concrete work of 9" wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete. |
| --- | --- |

1902.0 Rft		@ Rs. 86/=		P.Rft				Rs 1,63,572/=

(Rupees Eighty Six) Only (Per Rft)

| 13. | Supplying C.I Tail Piece with one end flanged and other end spigot (for all size). |
| --- | --- |

6.69 Cwt		@ Rs. 6096/=	Each				Rs. 40,782/=

(Rupees Six Thousand Ninety Six) Only (Per Cwt)

| 14. | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs. |
| --- | --- |

80 Nos:		@ Rs. 965/=			Each			Rs. 77,200/=

(Rupees Nine Hundred Sixty Five) Only (Each)

| 15. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. |
| --- | --- |

3" Thick

15953.0 Sft		@ Rs. 4411/82		P% Sft			Rs. 7,03,818/=

(Rupees Four Thousand Four Hundred Eleven and

Paisas Eighty Two) Only (Per Hundred Sft)

2" Thick

16911.50 Sft		@ Rs. 3275/50		P% Sft			Rs. 5,53,936/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty) Only (Per Hundred Sft)

| 16. | Two coats of bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one cft P% sft |
| --- | --- |

16943.50 Sft		@ Rs. 1887/40		P% Sft			Rs. 3,19,792/=

(Rupees One Thousand Eight Hundred Eighty Seven

and Paisas Forty) Only (Per Hundred Sft)

| 17. | Extra for additional lead or part thereof for earth work (soft, ordinary, hard and very hard). |
| --- | --- |

140456.0 Cft		@ Rs. 1209/36		P‰ Cft		Rs. 1,69,862/=

(Rupees One Thousand Two Hundred Nine and Paisas

Thirty Six) Only (Per Thousand Cft)

| 18. | Water reducing admixture AR-163 @ rate of 0.3 litter per one bag of cement. |
| --- | --- |

3131.56 Ltr		@ Rs.	195/=			P. Ltr			Rs. 6,10,656/=

(Rupees One Hundred Ninety Five) Only (Per Litter)

Total	Rs. 4,26,69,560/=

Cost of 4 Nos: Tanks	2 x 42669560		= 			Rs. 8,53,39,120/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Deputy Commissioner / Project Director will be final and binding on all the parties in any dispute.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |