SCHEDULE “B”

PROVIDING WATER SUPPLY FACILITIES FROM MALANHORE PUMPING STATION TO OLD SETTLEMENT OF MALANHORE VENA DISTRICT THARPARKAR

ABSTRACT OF COST

PART – I	R.C.C U.G RESERVOIR (28 ft dia)		Rs. 15,48,266/=

PART – II 	G.I PIPE 2" DIA					Rs. 5,39,770/=

Total		Rs. 20,88,036

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

PART – I	R.C.C U.G RESERVOIR (28 ft dia) (0.030 MG CAPACITY)

| 1. | Excavation for tanks and reservoirs in sandy Soil i/c trimming and dressing sides to true alignment / design correct / profiles and shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet and lead upto one chain (P.H.S.I.No.2. P-68). |
| --- | --- |

0 - 5'

6280.0 Cft 		@ Rs. 3150/= 		P‰ Cft			Rs. 37,586/=

(Rupees Three Thousand One Hundred Fifty)

only (Per Thousand Cft)

5' - 10'

5652.0 Cft 		@ Rs. 3700/= 		P‰ Cft			Rs. 20,912/=

(Rupees Three Thousand Seven Hundred)

only (Per Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate with out shutting (G.S.I.No.5 (h) P-15). |
| --- | --- |

Ratio (1:4:8)

481.0 Cft		@ Rs. 11288/75	P% Cft			Rs. 54,299/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. (G.S.I.No.6 P-16). |
| --- | --- |

2284.0 Cft		@ Rs. 337/=		P.Cft				Rs. 7,69,708/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 4. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (G.S.I.No.7 (b) P-16) (USING TAR BARS). |
| --- | --- |

112.160 Cwt		@ Rs. 5001/70	P.Cwt				Rs. 5,60,991/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 5. | Cement Plaster (1:3) upto 20’ height ¾” thick (G.S.I.No: 10 (c) P-51) (For Water Proofing). |
| --- | --- |

831.00  Sft		@ Rs. 2795/30 	P% Sft				Rs. 23,229/=

(Rupees Two Thousand Seven Hundred Ninety Five

and Paisas Thirty) only (Per Hundred Sft)

| 6. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) Gen: Sch: of Mat: Item No. 46 P-4) 3.50 Lbs per bag of cement. |
| --- | --- |

20.64 Kg		@ Rs. 125/=		P.Kg				Rs. 2,580/=

(Rupees One Hundred Twenty Five) only (Per KG)

| 7. | Providing and fixing C.I .Main hole cover with frame i/c cost of material (P.H.S.I. No:1 P-35). |
| --- | --- |

3.50 Cwt		@ Rs. 6985/=	P.Cwt				Rs. 24,448/=

(Rupees Six Thousand Nine Hundred Eighty Five)

only (Per Cwt)

| 8. | Providing / Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. (P.H.S.I.No 4 P-55). |
| --- | --- |

2 Nos:			@ Rs. 4870/=	Each				Rs. 9,740/=

(Rupees Four Thousand Eight Hundred Seventy)

only (Each)

| 9. | Providing construction joint in concrete work of 9” wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete (P.H.S.I No.2 P-56). |
| --- | --- |

185.00 Rft		@ Rs. 86/=		P.Rft				Rs 15,910/=

(Rupees Eighty Six) only (Per Rft)

| 10. N.S.I | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs (R.A. Approve). |
| --- | --- |

16 Nos:		@ Rs. 181/65	Each				Rs. 2,906/=

(Rupees One Hundred Eighty One) only (Each)

| 11. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. (G.S.I. No: 16 P-41). |
| --- | --- |

2" thick

1336.00 Sft		@ Rs. 3275/50	P% Sft				Rs. 43,761/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty) only (Per Hundred Cft)

Total	Rs. 15,48,266/=

PART – II 	G.I PIPE 2" DIA

| 1. | G.I pipe of approved quality to be tested with pressure head of 200 ft (Sch: of W/S & Sanitation Vol: III Part – B Item No: 1 P-5) |
| --- | --- |

2" Dia

2500.0 Rft		@ Rs. 187/58	P.Rft				Rs.4,68,950/=

(Rupees One Hundred Eighty Seven and Paisas

Fifty Eight) only (Per Rft)

| 2. | G.I Fitting (China) |
| --- | --- |

i)	G.I Socket 2" Dia

100 Nos:		@ Rs. 90/=		Each				Rs. 9,000/=

(Rupees Ninety) only (Each)

ii)	G.I Bend 2" Dia

04 Nos:		@ Rs. 240/=		Each				Rs. 960/=

(Rupees Two Hundred Forty) only (Each)

iii)	Gate Valve (Gunmetal) Heavy 2" Dia

02 Nos: 		@ Rs. 925/=		Each				Rs. 1,850/=

(Rupees Nine Hundred Twenty Five) only (Each)

iv)	G.I Nipples 2" Dia

01 No: 			@ Rs. 65/=		Each				Rs. 65/=

(Rupees Sixty Five) only (Each)

v)	G.I Union 2" Dia

02 Nos: 		@ Rs. 250/=		Each				Rs. 500/=

(Rupees Two Hundred Fifty) only (Each)

| 3. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (P.H.S I.No: 2 P-60). |
| --- | --- |

9375.0 Cft		@ Rs. 3750/=	P‰ Cft			Rs. 35,156/=

(Rupees Three Thousand Seven Hundred Fifty)

only (Per Thousand Cft)

| 4. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No: 24 P-77). |
| --- | --- |

8438.0 Cft		@ Rs. 2760/=	P‰ Cft			Rs. 23,289/=

(Rupees Two Thousand Seven Hundred Sixty)

only (Per Thousand Cft)

Total	Rs. 5,39,770/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Deputy Commissioner/Project Director will be final and binding on all the parties in any dispute.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |