SCHEDULE “B”

CONSTRUCTION OF DISPOSAL FOR RAIN WATER FROM SIRAN TARAI MITHI DISTRICT THARPARKAR

ABSTRACT

Part-A	Collecting Tank 20' dia			Rs. 13,20,719/=

Part-B	Screening Chamber 10' dia		Rs. 4,43,477/=

Part-C	Pump House 10'x 12' 			Rs. 2,33,393/=

Part-D	Rising Main.				Rs. 45,05,128/=

Total 	Rs. 64,92,717/=

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

PART-A 	COLLECTING TANK 20' DIA

| 1. | Excavation of well in dry upto 20 ft below ground level and disposal of soil within one chain (G.S.I.No. 1 P-85). |
| --- | --- |

- 0-5 ft Depth

2861.0 Cft		@ Rs. 2247/58 		P‰ Cft		Rs. 6,430/=

(Rupees Two Thousand Two Hundred Forty Seven

and Paisas Fifty Eight) only (Per Thousand Cft)

- 5.1-10 ft Depth

2861.0 Cft		@ Rs. 2347/40 		P‰ Cft		Rs. 6,716/=

(Rupees Two Thousand Three Hundred Forty Seven

and Paisas Forty) only (Per Thousand Cft)

- 10.1-15 ft Depth

2861.0 Cft		@ Rs. 2641/= 			P‰ Cft		Rs. 7,556/=

(Rupees Two Thousand Six Hundred Forty One)

only (Per Thousand Cft)

- 15.1-20 ft Depth

2861.0 Cft		@ Rs. 3031/= 			P‰ Cft		Rs. 8,672/=

(Rupees Three Thousand and Thirty One)

only (Per Thousand Cft)

| 2. | Cement concrete brick or stone ballast 1 1/2" to 2" gauge (G.S.I.No. 4 (b) P-16). |
| --- | --- |

Ratio 1:4:8

286.0 Cft		@ Rs. 9416/28		P% Cft			Rs. 26,931/=

(Rupees Nine Thousand Four Hundred Sixteen

and Paisas Twenty Eight) only (Per Hundred Cft)

| 3. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting (G.S.I.No.5 (i) P-15). |
| --- | --- |

Ratio (1:3:6)

286.0 Cft		@ Rs. 12595/=		P% Cft			Rs. 36,022/=

(Rupees Twelve Thousand Five Hundred Ninety Five)

only (Per Hundred Cft)

| 4. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. (G.S.I.No. 6 P-16) |
| --- | --- |

2023.0 Cft		@ Rs. 337/=			P.Cft			Rs. 6,81,751/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 5. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (GSI.No.5 (b) P-17) (USING TAR BARS) |
| --- | --- |

99.34 Cwt		@ Rs. 5001/70		P.Cwt		   	Rs. 4,96,869/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 6. | Cement Plaster (1:3) upto 12’ height (G.S.I.No. 10 P-58). |
| --- | --- |

1/2" Thick

1382.0 Sft		@ Rs. 2344/59		P% Sft			Rs. 32,402/=

(Rupees Two Thousand Three Hundred Forty Four

and Paisas Fifty Nine) only (Per Hundred Swt)

| 7. | Supplying and embedding C.I Footsteps of approved design weight not less than 15 Lbs (R.A. Approved). |
| --- | --- |

18 Nos			@ Rs. 965/-			Each			Rs. 17,370/=

(Rupees Nine Hundred Sixty Five) only (Each)

Total 	Rs. 13,20,719/=

PART-B 	SCREENING CHAMBER 10' DIA

| 1. | Excavation of well in dry upto 20 ft below ground level and disposal of soil within one chain (G.S.I.No. 1 P-85). |
| --- | --- |

- 0-5 ft Depth

1005.0 Cft		@ Rs. 2247/58 		P‰ Cft		Rs. 2,259/=

(Rupees Two Thousand Two Hundred Forty Seven

and Paisas Fifty Eight) only (Per Thousand Cft)

(ii)	5.1-10 ft Depth

1005.0 Cft		@ Rs. 2347/40 		P‰ Cft		Rs. 2,359/=

(Rupees Two Thousand Three Hundred Forty Seven

and Paisas Forty) only (Per Thousand Cft)

| 2. | Cement concrete brick or stone ballast 1 1/2" to 2" gauge (G.S.I.No. 4 (b) P-15). |
| --- | --- |

Ratio 1:4:8

100.0 Cft		@ Rs. 9416/28		P% Cft			Rs. 9,416/=

(Rupees Nine Thousand Four Hundred Sixteen

and Paisas Twenty Eight) only (Per Hundred Cft)

| 3. | Cement Concrete plain i/c placing compacting finishing & curing complete (i/c screening & washing of stone aggregate without shutting (G.S.I.No.5 (i) P-15). |
| --- | --- |

Ratio (1:3:6)

100.0 Cft		@ Rs. 12595/=		P% Cft			Rs. 12,595/=

(Rupees Twelve Thousand Five Hundred Ninety Five)

only (Per Hundred Cft)

| 4. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. (G.S.I.No. 6 P-16) |
| --- | --- |

583.0 Cft		@ Rs. 337/=			P.Cft			Rs. 1,96,471/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 5. | Fabrication of Mild steel reinforcement for C.C i/c cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (GSI.No.7 (b) P-16) (USING TAR BARS) |
| --- | --- |

28.63 Cwt		@ Rs. 5001/70		P.Cwt		   	Rs. 1,43,199/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 6. | Cement Plaster (1:3) upto 20’ height (G.S.I.No. 10 P-58). |
| --- | --- |

1/2" Thick

377.00 Sft		@ Rs. 2344/59	P% Sft				Rs. 8,839/=

(Rupees Two Thousand Three Hundred Forty Four

and Paisas Fifty Nine) only (Per Hundred Sft)

| 7. | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs (R.A. Approve). |
| --- | --- |

10 Nos			@ Rs. 965/-		Each				Rs. 9,650/=

(Rupees Nine Hundred Sixty Five) only (Each)

| 8. | Fabrication heavy steel work with angle, tees, flat iron, iron and sheet iron for making trusses, girder, tanks etc i/c cutting riveting, handing assembling and fixing but eluding erection in position (G.S.I No 1 P-91) |
| --- | --- |

3.62 Cwt		@ Rs. 4928/49	P.Cwt				Rs. 17,841/=

(Rupees Four Thousand Nine Hundred Twenty Eight

and Paisas Forty Nine) only (Per Cwt)

| 9. | Erection and fitting in position of iron tresses, staging of water tank etc. (G.S.I.No. 3 P-90). |
| --- | --- |

3.62 Cwt		@ Rs. 271/04		P.Cwt				Rs. 981/=

(Rupees Two Hundred Seventy One and Paisas Zero Four)

only (Per Cwt)

| 10. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (P.H.S.I.No. 2 P-60). |
| --- | --- |

210.0 Cft		@ Rs. 3750/=		P‰ Cft	        		Rs. 788/=

(Rupees Three Thousand Seven Hundred Fifty)

Only (Per Thousand Cft)

84.0 Cft		@ Rs. 4300/=		P‰ Cft	        		Rs. 361/=

(Rupees Four Thousand Three Hundred) Only

(Per Thousand Cft)

| 11. | Providing, laying uPVC Pressure pipe of Class “B” (equivalent make) fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to a head 61 meter or 200 ft. (P.H.S.I.No. E-1 (j) P-22). |
| --- | --- |

16" dia

19.68 Rft		@ Rs. 1581/=		P.Rft				Rs. 31,114/=

(Rupees One Thousand Five Hundred Eighty One)

Only (Per Rft)

| 12. | Refilling the excavated stuff in trenches 6" thick layer i/c watering, ramming, to full compaction etc complete. (P.H.S.I.No. 24 P-53). |
| --- | --- |

265.0 Cft		@ Rs. 2760/=		P‰ Cft			Rs. 731/=

(Rupees Two Thousand Seven Hundred Sixty)

Only (Per Thousand Cft)

| 13. | P/F C.I. main hole covering frame i/c cost of material (P.H.S.I.No: 1 P-35). |
| --- | --- |

Size 2x2ft

0.984 Cwt		@ Rs. 6985/=		P.Cwt				Rs. 6,873/=

(Rupees Six Thousand Nine Hundred Eighty Five)

Only (Per Cwt)

Total	Rs. 4,43,477/=

PART-C	PUMP HOUSE (10' X 12')

| 1. | Excavation in foundation of building bridges on other structure i/c dag-belling, dressing, refilling around the excavated earth watering and ramming lead upto one chain lift upto 5 ft (in sand ashes loose soil) (G.S.I.No. 18 (a) P-4). |
| --- | --- |

235.0 Cft		@ Rs. 2722/50 	P‰ Cft			Rs. 640/=

(Rupees Two Thousand Seven Hundred Twenty Two

and Paisas Fifty)  only (Per Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting (G.S.I.No.5 (i) P-16). |
| --- | --- |

Ratio (1:4:8)

84.0 Cft		@ Rs. 11288/75	P%Cft				Rs. 9,483/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Thousand Cft)

| 3. | Pucca brick work in foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 P-19). |
| --- | --- |

224.0 Cft		@ Rs. 11948/36	P% Cft				Rs. 26,764/=

(Rupees Eleven Thousand Nine Hundred Forty Eight

and Paisas Thirty Six)  only (Per Hundred Cft)

| 4. | Pucca brick work in ground floor in Cement sand mortar (1:4) (G.S.I. No. 5 P-20). |
| --- | --- |

282.0 Cft		@ Rs. 13227/41	P% Cft				Rs. 37,301/=

(Rupees Thirteen Thousand Two Hundred Twenty Seven

and Paisas Forty One) only (Per Hundred Cft)

| 5. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. (G.S.I.No. 6 (a) P-15). |
| --- | --- |

133.0 Cft		@ Rs. 337/=		P.Cft				Rs.44,821/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 6. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (G.S.I.No.7 P-16) (Using Tar Bars). |
| --- | --- |

5.343 Cwt		@ Rs. 5001/70	P.Cwt		   		Rs. 26,724/=

(Rupees Five Thousand One and Paisas Seventy) only (Per Cwt)

| 7. | Filling Watering & ramming earth in floors with surplus earth form foundation lead upto one chain and lift upto 5’ ft: (G.S.I. No. 21 P-4). |
| --- | --- |

168.0 Cft		@ Rs. 1512/50	P‰ Cft			Rs. 254/=

(Rupees One Thousand Five Hundred Twelve and

Paisas Fifty) only (Per Thousand Cft)

| 8. | Fabrication of heavy steel work with angles, tees, flat iron, iron and sheet iron for making trusses, girders, tanks etc, including cutting riveting, handing assembling and fixing but eluding erection in position (G.S.I.No. 2 P-91). |
| --- | --- |

3.05 Cwt		@ Rs. 4928/48	P.Cwt				Rs. 15,032/=

(Rupees Four Thousand Nine Hundred Twenty Eight

and Paisas Forty Nine) only (Per Cwt)

| 9. | Supplying & fixing in position Iron/ Steel grill of 3/8” x ¼” size flat Iron or approved design i/c painting 3 Coats etc complete (Weight net less than 3.7 lb/sp: ft: of in finished grill. (G.S.I.No.26 P-92). |
| --- | --- |

36.0 Sft		@ Rs. 180/50		P.Sft				Rs. 6,498/=

(Rupees One Hundred Eighty and Paisas Fifty)

only (Per Sft)

| 10. | Making and fixing steel grated door with 1/16" thick sheeting i/c angle iron frame 2" x 2" x 3/8" & 3/4" squire bar 4" center to center with locking arrangement. (G.S.I.No. 24 P-91). |
| --- | --- |

22.75 Sft		@ Rs. 726/72		P.Sft				Rs. 16,533/=

(Rupees Seven Hundred Twenty Six and 	Paisas

Seventy Two) only (Per Sft)

| 11. | Cement Plaster (1:6) upto 12’ height 1/2" thick (G.S.I.NO 13 (a) P-51). |
| --- | --- |

433.0 Sft		@ Rs. 2206/60 	P% Sft				Rs. 9,555/=

(Rupees Two Thousand Two Hundred Six and

Paisas Sixty) only (Per Hundred Sft)

| 12. | Cement Plaster (1:4) upto 12’ height 3/8" thick (G.S.I.No. 11 (a) P-51). |
| --- | --- |

433.0 Sft		@ Rs. 2197/52	P% Sft				Rs. 9,515/=

(Rupees Two Thousand One Hundred Ninety Seven

and Paisas Fifty Two) only (Per Hundred Sft)

| 13. | Cement pointing Struck joints on Walls Ratio (1:3) (G.S.I .No 19 (a) P-52). |
| --- | --- |

471.0 Sft		@ Rs. 1213/58	P% sft				Rs. 5,716/=

(Rupees One Thousand Two Hundred Thirteen

and Paisas Fifty Eight) only (Per Hundred Sft)

| 14. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. (G.S.I. No: 16 (c) P-41). |
| --- | --- |

2" thick

351.0 Sft		@ Rs. 3275/50	P% Sft				Rs. 11,497/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty) only (Per Hundred Sft)

| 15. | Color Wash 2 Coats (G.S.I .NO. 25 P-54). |
| --- | --- |

904.0 Sft		@ Rs. 859/90		P% Sft				Rs. 7,773/=

(Rupees Eight Hundred Fifty Nine and Paisas

Ninety) only (Per Hundred Sft)

| 16. | White Wash 1 Coat (G.S.I .NO. 26 (c) P-54). |
| --- | --- |

(a) 	One Coat

433.0 Sft		@ Rs. 416/63		P% Sft				Rs. 1,804/=

(Rupees Four Hundred Sixteen and Paisas

Sixty Three) only (Per Hundred Sft)

(b) 	Three Coats

204.0 Sft		@ Rs. 829/95		P% Sft				Rs. 1,693/=

(Rupees Eight Hundred Twenty Nine and Paisas

Ninety Five) only (Per Hundred Sft)

| 17. | Painting New Surface preparing surface and painting of door and windows any type (including edges) (3 Coats) (G.S.I. No. 5 (c) P-70). |
| --- | --- |

45.50 Sft		@ Rs. 2116/41	P% Sft				Rs. 963/=

(Rupees Two Thousand One Hundred Sixteen

and Paisas Forty One) only (Per Hundred Sft)

| 18. | Erection and fitting in position of iron tresses, staging of water tank etc. (G.S.I.No. 3 P-91). |
| --- | --- |

3.053 Cwt		@ Rs. 271/04		P.Cwt				Rs. 827/=

(Rupees Two Hundred Seventy One and Paisas Zero Four)

only (Per Cwt)

Total	Rs. 2,33,393/=

PART-D 	FC RISING MAIN.

| 1. | Dismantling and removing road matling. (G.S.I. No. 51 P-13). |
| --- | --- |

135.00 Cft		@ Rs. 605/=			P% Cft			Rs. 817/=

(Rupees Six Hundred Five) only (Per Hundred Sft)

| 2. | Providing, Laying Fiber Cement pressure pipes & Comet joints of Class “B” and fixing in trench i/c cutting, fitting, and jointing with rubber ring i/c testing with water to a head of 122 meter or 400 ft. (P.H.S.I. No. D/1 P-20). |
| --- | --- |

12" Dia

3000.0 Rft		@ Rs. 1425/21		P.Rft			Rs. 42,75,630/=

(Rupees One Thousand Four Hundred Twenty Five

and Paisas Twenty One) only (Per Rft)

| 3. | Reflex valve heavy pattern (Test pressure 21.0 kg/sq cm or 300 Lbs/sq inch) (imported) (P.H.S M.I No. 6 P-11). |
| --- | --- |

12" Dia

01 No:			@ Rs. 21937/50		Each			Rs. 21,938/=

(Rupees Twenty One Thousand Nine Hundred Thirty

Seven and Paisas Fifty) only (Each)

| 4. | Cast iron specials UPVC/AC pressure pipes cast iron specials for PVC/A.C pressure pipe (Standard Weight for A.C.I.L “B” Class) (P.H.S.O.M.I No: P-15). (C.I Bend) |
| --- | --- |

Bend 900 12" dia

1 No:			@ Rs. 9912/50    		Each			Rs. 9,913/=

(Rupees Nine Thousand Nine Hundred Twelve and

Paisas Fifty) only (Each)

C.I Short Piece 12" dia

02 Nos:		@ Rs. 2600/=    		Each			Rs. 5,200/=

(Rupees Two Thousand Six Hundred) only (Each)

| 5. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches i/c applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc. complete (P.H.S.I No: 1 P-40). |
| --- | --- |

12" dia

02 Joints		@ Rs. 2239/=			P.Joint			Rs. 4,478/=

(Rupees Two Thousand Two Hundred Thirty Nine)

only (Per Joint)

| 6. | Making joints to AC specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the special pressure and making good o all leaky joints etc complete.. (P.H.S.I.No.1 P-41). |
| --- | --- |

12" dia

01 Joints		@ Rs. 135/=			P.Joint			Rs. 135/=

(Rupees One Hundred Thirty Five) only (Per Joint)

| 7. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (P.H.S.I.No. 2 P-60). |
| --- | --- |

12" dia

30000.0 Cft		@ Rs. 3750/=			P‰ Cft		Rs. 1,12,500/=

(Rupees Three Thousand Seven Hundred Fifty)

Only (Per Thousand Cft)

| 8. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No.24 P-77). |
| --- | --- |

27000.0 Cft		@ Rs. 2760/=			P‰ Cft		Rs. 74,520/=

(Rupees Two Thousand Seven Hundred Sixty)

Only (Per Thousand Cft)				Total	Rs. 45,05,128/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |