SCHEDULE “B”

UP-GRADATION OF RISING MAIN FROM PUBLIC SCHOOL PUMPING STATION TO CHELHAR ROAD FOR PIPE LINE WATER SUPPLY SCHEME MITHI - ISLAMKOT (PART I)

| 1. | Manufacturing, Supplying & Fixing black steel MS pipe made out of MS sheet confirming to APL 5L grade X-42 Spirally welded and externally asphalt coated with fiber glass 5mm thick (3 layers) & internally C.C lining 8mm thick (AWWA specification) i/c laying jointing with Helical welding in trenches i/c cost of bends of any degree & testing with water specified pressure for different dia of pipes as below ( Spirally welded) (P.H.S I No H/1/I P-32) |
| --- | --- |

5.6 mm thick 14" Dia

5000.0 Rft		@ Rs. 3110/35	P.Rft				Rs. 1,55,51,750/=

(Rupees Three Thousand One Hundred Ten and

Paisas Thirty Five) only (Per Rft)

| 2. | Supplying C.I sluice valve heavy pattern test pressure 21Kg/sq:cm or 300-lbs / sq: inch (imported) (Sch: of Mat: I No: 2 P-12 ) |
| --- | --- |

12" Dia

1 No:			@ Rs. 78000/=	Each				Rs. 78,000/=

(Rupees Seventy Eight Thousand) only (Each)

14" Dia

1 No:			@ Rs. 91000/=	Each				Rs. 91,000/=

(Rupees Ninety One Thousand) only (Each)

| 3. | Providing & Fixing M.S flange made of M.S plate having thickness and total weight as mentioned against each item. Its included the cost of making holes, facing, welding, nuts bolts, rubber packing, white lead, filter cartage etc complete (M.S.Part D Item No: 8 P-8). |
| --- | --- |

12" dia ½" thick, 5.656 weight / each

02 Nos:		@ Rs. 2952/=   	Each				Rs. 5,904/=

(Rupees Two Thousand Nine Hundred Fifty Two)

only (Each)

14" dia ½" thick, 6.464 weight / each

02 Nos:		@ Rs. 3535/=   	Each				Rs. 7,070/=

(Rupees Three Thousand Five Hundred Thirty Five)

only (Each)

| 4. | Dressing & leveling of earth work to dressing section etc complete (a) Ashes sand, silt or soft soil (G.S.I No. 11 (a) P-31). |
| --- | --- |

100000.0 Sft		@ Rs. 96/80		P‰ Sft			Rs. 9,680/=

(Rupees Ninety Six and Paisas Eighty) only

(Per Thousand Sft)

| 5. | Excavation for pipe line trenches and pits in sandy soil i/c trimming & dressing sides to true alignment & shape leveling of beds of trenches to correct level & grade, cutting joint holes & disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) & lead upto one chain (30.5 m). (P.H.S I.No: 2 P-60). |
| --- | --- |

14" dia

58438.0 Cft		@ Rs. 3750/=	P‰ Cft			Rs. 2,19,143/=

(Rupees Three Thousand Seven Hundred Fifty)

only (Per Thousand Cft)

| 6. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. (P.H.S.I. No: 1 P-40). |
| --- | --- |

12" dia

02 Joints		@ Rs. 2239/= 	P.Joint			Rs. 4,478/=

(Rupees Two Thousand Two Hundred Thirty Nine)

only (Per Joint)

14" dia

02 Joints		@ Rs. 2612/16 	P.Joint			Rs. 5,224/=

(Rupees Two Thousand Six Hundred Twelve and

Paisas Sixteen) only (Per Joint)

| 7. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No: 24 P-77). |
| --- | --- |

52594.20 Cft		@ Rs. 2760/=	P‰ Cft			Rs. 1,45,160/=

(Rupees Two Thousand Seven Hundred Sixty)

only (Per Thousand Cft)

| 8. | C.I tapper flat bottomed or central tapered socket and spigot end for all size (G.S.I.No: 9 (iii) P-18). |
| --- | --- |

12" to 10"

55.0 Kg		@ Rs. 110/=		P KG				Rs. 6,050/=

(Rupees One Hundred Ten) only (Per KG)

| 9. | Excavation in foundation of building bridges on other structure i/c dag-belling, dressing, refilling around the excavated earth watering and ramming lead upto one chain lift upto 5 ft (in sand ashes loose soil) (G.S.I.No. 18 (a) P-4). |
| --- | --- |

248.00 Cft		@ Rs. 2722/50 	P‰ Cft			Rs. 675/=

(Rupees Two Thousand Seven Hundred Twenty Two

and Paisas Fifty) only (Per Thousand Cft)

| 10. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting (G.S.I.No.5 (i) P-16). |
| --- | --- |

Ratio (1:4:8)

24.75 Cft		@ Rs. 11288/75	P%Cft				Rs. 2,794/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Hundred Cft)

Ratio (1:2:4)

4.08 Cft		@ Rs. 14429/25	P%Cft				Rs. 589/=

(Rupees Fourteen Thousand Four Hundred Twenty Nine

and Paisas Twenty Five) only (Per Hundred Cft)

| 11. | Pucca brick work in foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 P-19). |
| --- | --- |

140.0 Cft		@ Rs. 11948/36	P% Cft			Rs. 16,728/=

(Rupees Eleven Thousand Nine Hundred Forty Eight

and Paisas Thirty Six) only (Per Hundred Cft)

| 12. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. (G.S.I.No. 6 (a) P-15). |
| --- | --- |

22.75 Cft		@ Rs. 337/=		P.Cft				Rs. 7,667/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 13. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (G.S.I.No.7 P-16) (Using Tar Bars). |
| --- | --- |

0.914 Cwt		@ Rs. 5001/70	P.Cwt		   		Rs. 4,572/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 14. | Cement Plaster (1:4) upto 12’ height 1/2" thick (G.S.I.NO 13 (a) P-51). |
| --- | --- |

140.0 Sft		@ Rs. 2283/93 	P% Sft				Rs. 3,198/=

(Rupees Two Thousand Two Hundred Eighty Three

and Paisas Ninety Three) only (Per Hundred Sft)

| 15. | Providing and fixing Main hole cover with frame i/c cost iron material etc (P.H.S.I No. 1 P-35). |
| --- | --- |

Size 2'x2'

100.0 Kg		@ Rs. 140/=		P.Kg				Rs. 14,000/=

(Rupees One Hundred Forty) only (Per KG)

Total	Rs. 1,61,73,682/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Deputy Commissioner/Project Director will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |