SCHEDULE “B”

CONSTRUCTION OF DRAINAGE SCHEME DIFFERENT MOHALLA MITHI TOWN DISTRICT THARPARKAR

| 1. | Dismantling brick work in lime or cement mortar (G.S.I.No: 13 P-10). |
| --- | --- |

563.0 Sft		@ Rs. 1285/63	P% Cft				Rs. 7,238/=

(Rupees One Thousand Two Hundred Eighty Five

and Paisas Sixty Three) only (Per Hundred Cft)

| 2. | Dismantling and removing road metalling (G.S.I.No: 51 P-13. |
| --- | --- |

638.00 Sft		@ Rs. 605/=		P% Sft				Rs. 3,860/=

(Rupees Six Hundred Five) only (Per Hundred Sft)

| 3. | Dismantling brick or flagged flooring without concrete foundation (G.S.I.No: 30 P-12. |
| --- | --- |

600.0 Sft		@ Rs. 257/13		P%Sft				Rs. 1,543/=

(Rupees Two Hundred Fifty Seven and Paisas Thirteen)

only (Per Hundred Sft)

| 4. | Excavation in foundation of buildings bridges and other structures including dag belling, dressing refilling around structures with excavated earth watering and ramming lead upto 5’ ft: (In sand, ashes, loose Soil) (G.I.S.No.18 (a) P.4). |
| --- | --- |

49386.0		@ Rs. 2722/50	P‰ Cft			Rs. 1,34,453/=

(Rupees Two Thousand Seven Hundred Twenty Two

and Paisas Fifty)  only (Per Thousand Cft)

| 5. | Cement concrete plain i/c placing, compacting, finishing & curing complete i/c screening and washing of stone aggregate without shuttering. (G.S.I. No. 5 P-15). |
| --- | --- |

Ratio 1:4:8

7776.0 		@ Rs. 11288/75	P%Cft				Rs. 8,77,813/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Thousand Cft)

| 6. | Pucca brick work n foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 (i)/e P-21). |
| --- | --- |

22988.0 Cft		 @ Rs. 11948/36	P% Cft				Rs.27,46,689/=

(Rupees Eleven Thousand Nine Hundred Forty Eight

and Paisas Thirty Six)  only (Per Hundred Cft)

| 7. | Construction of standard open drain comet block of cement concrete (1:2:4) in situ design profile i.e. cost of mould as per drawing i/c applying floating coat of cement 1/32" thick to the exposed face finished smooth curing etc complete as per detailed drawing. (P.H.S.I No. D P-58). |
| --- | --- |

Type-A

7900.0 Rft		@ Rs. 94/=		P.Rft				Rs. 7,42,600/=

(Rupees Ninety Four) only (Per Rft)

Type-B

2500.0 Rft		@ Rs. 174/=		P.Rft				Rs. 4,35,000/=

(Rupees One Hundred Seventy Four) only (Per Rft)

Type-C

800.00 Rft		@ Rs. 309/=		P.Rft				Rs. 2,47,200/=

(Rupees Three Hundred Nine) only (Per Rft)

| 8. | Cement Plaster (1:4) upto 12’ height ½” thick (G.S.I.No. 11 (b) P-52) |
| --- | --- |

37248.0 Sft 		@ Rs. 2283/93	P% Sft				Rs. 8,50,718/=

(Rupees Two Thousand Two Hundred Eighty Three

and Paisas Ninety Three) only (Per Hundred Sft)

| 9 (i). | Reinforced cement concrete work including all labour and material except the cost of binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and fining washing of shingle (a) RCC work in roof slab beams columns rafts lintels and others structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 Lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼" gauge (G.S.I. No.6) (a) Page No.16). |
| --- | --- |

1009.0 Cft		@ Rs. 	337/=		P.Cft				Rs. 3,40,033/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 9. (ii) | Precast Reinforced cement concrete in column, beams lintels stair case shelves etc (G.S.I. No.6) (b) Page No.17). |
| --- | --- |

205.0 Cft		@ Rs. 	309/78	P.Cft				Rs. 63,505/=

(Rupees Three Hundred Nine and Paisas Seventy Eight)

only (Per Cft)

| 10. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending laying in position making joints and fastening laying in position binding wire (also includes removal of rust from bars) (G.S.I. No.8 (b) P-17). |
| --- | --- |

43.36 Cwt		@ Rs. 5001/70	P.Cwt				Rs. 2,16,874/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 11. | Re-handling of earth work lead upto 50 ft. (G.S.I.No. 9 (b) P-2) |
| --- | --- |

49386.0 Cft		@ Rs. 1058/75	P‰ Cft			Rs. 52,287/=

(Rupees One Thousand Fifty Eight and Paisas

Seventy Five) only (Per Thousand Cft)

| 12. | Dressing, leveling of earth work to designed section etc complete (G.S.I.No. 11 (b) P-3). Ashes sand silt ot soft soils |
| --- | --- |

49386.0 Cft		@ Rs. 96/80		P‰ Cft			Rs. 4,781/=

(Rupees Ninety Six and Paisas Eighty) only

(Per Thousand Cft)

| 13. | Erection and removal of centering for R.C.C or plain cement concrete works of partal wood (G.S.I.No. 19 (b) P-18) vertical |
| --- | --- |

242.50 Sft 		@ Rs. 3127/41	P% Sft				Rs. 7,584/=

(Rupees Three Thousand One Hundred Twenty Seven

and Paisas Forty One) only (Per Hundred Sft)

Total	Rs. 67,32,178/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |