## summary pahse i
SCHEDULE A (SCHEDULE OF PRICES)
REPAIR & MAINTENANCE OF POLICE STATION HATRI DISTRICT HYDERABAD
Sr. | DESCRIPTION |  | COST
# |  |  | (RS.)
1 | Total Tender Cost of Civil Works Ground Floor
| Part A Schedule Items | =
2 | Total Tender Cost of Public Health Works
| Part B Non Schedule Items | =
3 | Total Tender Cost of Electrical Works
| Part C Schedule Items Electric work | =
| Part D Non Schedule Items Electric work | =
4 | Total Tender Cost (RS.) | =
| SAY (RS.) | = |  | 800000 | 800000
Rupees: - _________________________________________________
____________________________________________________________________
| SIGNATURE OF CONTRACTOR |  | Sr. Superintendent of police District Hyderabad

## Part A Civil works
SCHEDULE-B (SPECIFIC WORKS DATA)
REPAIR & MAINTENANCE OF POLICE STATION HATRI DISTRICT HYDERABAD
PART A CIVIL WORKS (SCHEDULED ITEMS)
BOQ's | CSR-2012 | Description | Unit | Quantity | CSR Rate | Amount
Item # | Item/Page |  |  |  | (RS.) | (RS.)
1 | Item#53 Page# 15 | Removing Cement or lime plaster | %Sft | 200 | 121 | 242
2 | Item#33(A) Page#13 | Removing door with chowkat | PNos | 4 | 142.18 | 568.72
3 | Item#33 b Page#13 | Removing Window and sky light with chowkat | PNos | 6 | 102.85 | 617.1
4 | Item#19 c Page#11 | Dismantling reinforced cement concrete seperating reinforcement from concrete cleaning and straightening the same | %Cft | 50 | 5445 | 2722.5
5 | Item#13 b Page#11 | Dismantling Glazed or encaustic tiles | % Cft | 200 | 1285.63 | 2571.26
6 | Item#5(i)d Page#24 | Pacca brick work in ground floor in: (Specs. 21.1)
| Item#5(i)d Page#24 | Cement sand mortar (1:5).Ground Floor | % Cft | 150 | 12674.36 | 19011.54
7 | Item#29 Page#72 | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing. | P.Rft | 70 | 228.9 | 16023 | 2512
8 | Item#11(c) Page#57 | Cement plaster 1:6 upto 20' height. (Specs.25.1-25.6) a) 1/2'' thick | % Sft | 1500 | 2206.6 | 33099
9 | Item#11(c) Page#57 | Cement plaster 1:4 upto 20' height. (Specs.25.1-25.6) a) 3/8'' thick | % Sft | 1500 | 2197.52 | 32962.8
10 | Item#24(c) Page#59 | Distempring (Three Coats). | %Sft | 8000 | 1079.65 | 86372
11 | Item#30 Page#99 | P/F iron Steel Grill using solid square bars of size ½" x ½" @ 4" i/c frame of flat iron patti of ¾” x ¾" i/c circle shape @ 1’ – 0" apart equivalent fitted with screws or pins i/c painting 3 – coats with first coat of red oxide paint etc. | P.Sft | 45 | 194.16 | 8737.2
12 | Item#44 Page#46 | Providing and fixing plaster of Paris ceiling border of 8" - 10 " with of specified design & thickness i/c fixing besides ceiling with nails/ screws with jetties. | PRft | 20 | 104.22 | 2084.4
13 | Chapter No. 7 Item No. 45 Page No. 45 | Providing & fixing plaster of paris center piece of 2 – 0 ft dia i/c fixing in ceiling with nails / screws | Each | 5 | 346.5 | 1732.5
14 | Item#92 Page#109 | Providing Anti -termmite treatment by spraying /sprinkling /spreading Neptachlar 0.5% Emulsion as an overall pre -construction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per directions of Engineer Incharge. | PSft | 1500 | 9.74 | 14610
15 | Item#6 Page#17 | Reinforced Cement concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid seperately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering
(a) R.C. work in roofslab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects.
|  | i) Ratio (1:2:4) 90 Lbs. Cement 2 Cft. Sand 4 Cft. Shingle 1/8'' to 1/4'' gauge. | Per Cft | 50 | 337 | 16850
16 | Item#7a Page#19 | a) Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also including removal of rust from bars). | Per Cwt
| Item#7b Page#19 | b) Using Tor bars. | Per Cft | 1 | 5000.7 | 5000.7
17 | Chapter No. 9 Item No. 13 | Applying floating coat of high bond (universal) as a bond or as an adhesive link b/w old & fresh concrete or plaster as directed by Engineer Incharge | %Sft | 1500 | 1029.06 | 15435.9
18 | Item#5 Page#17 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing of stone aggregate without shuttering). (Specs. 20.1)
| Item#5(f) Page#17 | a) Ratio 1:2:4 | % Cft | 200 | 14429.25 | 28858.5
19 | Item# 38 P-49 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick including finishing. | P.Sft | 300 | 28299.3 | 84897.9
20 | Item# 25Page#48 | laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortar 1:2. | % Sft | 200 | 27747.06 | 55494.12
21 | Item No 54 Page No 64 | First class deoddar wood wrought framed and fixed in place including chowkhats holdfasts, tower bolts, chocks cleats, handles , cord with hooks and cost of nails and screws etc. panelled or panelled and glazed or fully glazed 1-1/2" thick. (Deducted the chowkat rate 1131.11-370.83=760.28 ) | Psft | 180 | 760.28 | 136850.4 | 760.28
22 | Item#7© Page#70 | French polishing complete (a)(on new work) | %Sft | 150 | 3841.75 | 5762.625
23 |  | Providing & fixing laying Paver blocks flooring having approved size and thickness of approved shape shape with natural/ colours, having strength b/w 5000 psi to 8500 psi I/c filling the joints with hill sand and laying in specified manner /pattern and design etc: complete. | PSFT | 150 | 230 | 34500 | 75
24 | Chapter 2 Item 54 (b) | Scraping ordinary distemper, or oil bund distemper or paint on walls. | % Sft | 8000 | 226.88 | 18150.4
|  | TOTAL (Civil Work Scheduled Items) |  |  |  | 623154.565
Premium _____________% Above/Below
Grand Total (Civil Work Schedule Items)

## GFWS bLANK
SCHEDULE-B (SPECIFIC WORKS DATA)
REPAIR & MAINTENANCE OF POLICE STATION HATRI DISTRICT HYDERABAD
PART B WATER SUPPLY AND SANITARY FITTING (NON SCHEDULED ITEMS)
S.No. | Description of Item | Qty | Rate | Unit | Amount
1 | Providing & fixing European W.C. Local quality or equivalent of approved shade i/c the flush tank etc complete in all respect as directed by Engineer Incharge | 2 |  | Each
2 | Providing & fixing Eastern W.C. local quality of approved shade i/c the flush tank etc complete in all respect as directed by Engineer Incharge | 0 |  | Each
2 | Providing & fixing Wash basin local quality of approved shade etc complete in all respect as directed by Engineer Incharge | 1 |  | Each
3 | Providing & fixing Urinal basin local quality of approved shade i/c the flush tank etc complete in all respect as directed by Engineer Incharge | 1 |  | Each
4 | Providing & fixing upv Floor Trap (Dadex or equivalent) 6" x 3" or 6" x 2" of approved approved quality i/c the cost of cutting of floor etc complete in all respect as directed by Engineer Incharge | 4 |  | Each
5 | Providing & fixing Belgium glass with chrome plated screws size 15" x 21" and 3.2mm thick hard board of approved approved quality etc complete in all respect as directed by Engineer Incharge | 6 |  | Psft
6 | Providing & fixing long Bib cock of Master economy type or equivalent etc complete in all respect as directed by Engineer Incharge | 5 |  | Each
7 | Providing & fixing Stop cock of Master economy type equivalent etc complete in all respect as directed by Engineer Incharge | 7 |  | Each
8 | Providing & fixing Wash basin mixer of Master economy type or equivalent etc complete in all respect as directed by Engineer Incharge | 1 |  | Each
9 | Providing & fixing Nyloon connection of Master economy type or equivalent etc complete in all respect as directed by Engineer Incharge | 2 |  | Each
11 | Providing & fixing stainless steel Kitchen sink of 20 gauge Master economy type or equivalent. The sink will be fitted in cabinet etc complete in all respect as directed by Engineer Incharge | 1 |  | Each
10 | Providing & fixing Muslim shower jet in all W.C. confirming to Master economy type or equivalent etc complete in all respect as directed by Engineer Incharge | 2 |  | Each
11 | Providing & fixing stainless steel floor drain with (16 gauge) stainless steel Grating 5" dia of approved quality etc complete in all respect as directed by Engineer Incharge | 4 |  | Each
12 | Providing & fixing G.I. pipes & fittings medium quality complying to BSS 1387 (1985) shall be workable on 70 PSI working pressure and all piping / fitting shall be tested on 125 PSI i/c cutting / breaking through walls, floor, road or where required etc
A | ½" Dia | 80 |  | P.Rft
B | 1" Dia | 30 |  | P.Rft
S.No. | Description of Item | Qty | Rate | Unit | Amount
13 | Providing & fixing Gate valves of approved quality etc complete in all respect as directed by Engineer Incharge
A | ½" Dia | 2 |  | Each
B | 1" Dia | 1 |  | Each
16 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality (Dadex or equivalent) i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge 4" Dia | 50 |  | P.Rft | 0
17 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality (Dadex or equivalent) Plain Tee i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge 4” x 4” x 4” dia | 2 |  | Each | 0
18 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality(Dadex or equivalent) Plain Bend / Elbow of 90 degree i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharg4” x 4” dia | 2 |  | Each | 0
19 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality(Dadex or equivalent) Plain Bend / Elbow of 45 degree i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharg 4” x 4” dia | 2 |  | Each | 0
20 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality(Dadex or equivalent) Plug Bend / Elbow of any degree i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Inchar 4” x 4” dia | 2 |  | Each | 0
21 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality(Dadex or equivalent) Plug Tee i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge4” x 4” x 4” dia | 2 |  | Each
22 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality (Dadex or equivalent) Y - Tee of any degree i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge 4” x 4” x 4” dia | 2 |  | Each
23 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality(Dadex or equivalent) Cowel i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge 4" Dia | 2 |  | Each
24 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality(Dadex or equivalent) Socket i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge4" Dia | 1 |  | Each
25 | Providing & fixing unplasticized polyvinyl chloride (UPVC) of approved quality (Dadex or equivalent) Pipe Clips i/c the cost of cutting / breaking walls, floor or where required etc complete in all respect as per directions of Engineer Incharge4" Dia | 2 |  | Each
26 | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, Paper holder soaptray, shelf of approved design I/c cost of screws, nuts etc Complete.(Master Braqnd). | 1 |  | Each
27 | Provide Fixing Gas cock 1/2"d ia including labortory Gas burner complete in all respect | 1 |  | Each
Total

## EISI bLANK
SCHEDULE-B (SPECIFIC WORKS DATA)
REPAIR & MAINTENANCE OF POLICE STATION HATRI DISTRICT HYDERABAD
PART (C) ELECTRICAL WORKS (SCHEDULED ITEMS)
BOQ's Item # | CSR-2004 Item/Page# | Description | Unit | Quantity | Unit Rate (Rs.) | Amount (Rs.)
1 | Item#6 CH-I Page#2 | Wiring for light or fan point with 1/1.13(3/.029(PVC) insulated wire in 25mm(3/4”)PVC conduit recessed in the wall or column as | per point | 20 | 1130 | 22600
2 | Item#10 CH-I Page#2 | Wiring for plug point with 3/.029(3/.029) PVC insulated wire in 20mm(3/4") PVC conduit recessed in the wall or column as required. | per point | 5 | 985 | 4925
3 | Item#17 CH-II /page#6 | Wiring for mains with 2-1/1.78(7/.029) PVC insulated wire in 20mm(3/4") PVC conduit recessed in the wall as required. | Pe rmeter | 85 | 222 | 18870
4 | Item#19 CH-II / page#5 | Wiring for mains with 2-7/1.04(7/.044) PVC insulated wire in 25mm(1") PVC conduit recessed in the wall as required. | Per meter | 50 | 341 | 17050
5 | Item#13 CH-I / page#2. | Wiring for call bell with 1/1.13(3/.029(PVC) insulated wire 25mm(3/4”)PVC conduit recessed in the wall or column as required. | Per point | 1 | 1764 | 1764
6 | Item#1page#16 | Providing & Fixing B.C. bakelite angular type batten holder. | Each | 8 | 70 | 560
7 | Item#9 page#17 | Providing & fixing S.W. canopy block and baklite ceiling rose on S.W. Block. | Each | 5 | 72 | 360
| GRAND TOTAL (Electrical Scheduled Items) (Rs.) |  |  |  |  | 66129
Premium________% Above/Below
GRAND TOTAL (Electrical Scheduled Items) (Rs.)

## EINS Blank
SCHEDULE-B (SPECIFIC WORKS DATA)
REPAIR & MAINTENANCE OF POLICE STATION HATRI DISTRICT HYDERABAD
PART (D) ELECTRICAL WORKS (NON- SCHEDULED ITEMS)
BOQ's Item # | CSR-2012 Item/Page# | Description | Unit | Quantity | Unit Rate (Rs.) | Amount (Rs.)
| NSI | (A) INTERNAL ELECTRIFICATION
1 |  | Providing and fixing Distribution board 16 SWG MS sheet with appproprate size angle iron frame (Clipsal ) the Panel has suitable sheet steel cover with buietent lock arrangement The panel shall be applied with Red Oside base paint first and the finally finished in enamel spray phase 4 wire 50 cycle A/C system comprising the following Income 1 No. 100 Amp Tp Out going 5 No. 30 Amp S.P Breaker Pilot light (3 No.) All circuit breaker & T.Ps Hager Terasaki Japan | Each | 1
2 |  | S/F fibber sheet fancy type having provision 6 to 8 holes i/c PVC board complete. Approved by Engineer Incharge. | Each | 3
3 |  | P/F 1-40 Watts tube light complete with 40 Watts 4'-0" long rod, chock, starter and putty with Philip components including necessary electric connection and fixing on wall or ceiling etc. complete.(Philips or equivalent) | Each | 3
4 |  | P/F Energy Saver superior quality including fixing on existing holder etc. complete. | Each | 5
5 |  | Providing and fixing Universal multi purpose fancy type 15 amps with PVC board etc complete as approved by Engineer Incharge | Each | 10
6 |  | Providing and fixing Ceiling fan 56" sweep pak or equivalent as approved by Engineer Incharge | Each | 10
GRAND TOTAL (Electrical Non Scheduled Items) (Rs.)