## Financial Review
FINANCIAL REVIEW
Name of Scheme: - |  | Constt: of Maternal Child Health Care Facility cum Dispensary at Tando Saindad Tal: & District T.M.Khan.
S.No: | Name of Component | As per Rough Cost Estimate |  |  | As per Estimate |  |  | Remarks
|  | Plinth Area | Rate | Amount | Plinth Area | Rate | Amount
1 | Main Bldg: | 2608 | 1780 | 4642240 | 2608 | #REF! | #REF!
2 | W/S & S/F | 2608 | 155 | 404240 | -- | -- | --
3 | E.I. Work | 2608 | 140 | 365120 | -- | -- | --
4 | C/Wall | 400 | 1700 | 680000 | -- | -- | --
5 | Steel Gate | 1 No | -- | 50000 | -- | -- | --
6 | Ext: Development | -- | -- | 811740 | -- | -- | --
7 | Contingency 2% | -- | -- | 108232 | -- | -- | --
8 | Wapda | -- | -- | 300000 | -- | -- | 300000
|  | Total |  | 7361572 |  |  | #REF!
| Within 15% Permissible Limit |  |  | 1104235.8
|  | Total |  | 8465807.8
| Within 15% Permissible Limit Saving |  |  |  | #REF!
| ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
| BUILDINGS SUB- DIVISION |  |  |  |  | BUILDINGS DIVISION
| TANDO MOHAMMAD KHAN |  |  |  |  | TANDO MOHAMMAD KHAN

## G Abstract
NAME OF SCHEME: CONSTRUCTION OF MATERNAL CHILD HEALTH CARE FACILITY AT VILLAGE DISTRICT T.M.KHAN
GENERAL ABSTRACT
CIVIL WORK
| PART "A" |  |  | #REF! | /=
| PART "B" |  |  | #REF! | /=
| CONTEGANCY |  |  | #REF! | /=
| TOTAL AMOUNT |  |  | #REF! | /=
| GRAND TOTAL AMOUNT |  |  | #REF! | /=
| SAY |  | 2863000 |  | /=

## Part ABC (Civil Work) Abstract
SCHEDUL "B"
NAME OF SCHEME: CONSTRUCTION OF MATERNATY HOME AT VILLAGE PIR MOHAMMAD KHOWAJA @ SHAH KAPOOR TALUKA BULRI SHAH KARIM DISTRICT TANDO MOHAMMAD KHAN (MAIN BUILDINGS)
PART-A MAIN BUILDING (CIVIL WORK)
S.No. | Name of Items | Quantity |  | Rate (Rs.) | Unit | Amount (Rs.)
PART-A (i) "Main Buildings"
1 | Excavation in foundation of Bldg: bridges & other structures i/c dagbelling dressing refilling around str:with excavated earth watering & ramming lead upto 5 ft in ordanary siol (S.I.No.18(b)/P-4) | 4223 | Cft | 3176.25 | %OCft | 13413.3037
2 | C.C Brick or stone ballast 1-1/2" to 2" gauge Ratio 1:4:8 (S.I. No:4(b)/P-14) | 1072 | Cft. | 9416.28 | %Cft | 100942.5216
3 | C.C plain i/c placing compacting finishing & curing complete (i/c screening & washing of stone aggregate without shuttering) ratio 1:3:6 (SI No:5(h) P-15) | 2751 | Cft. | 12595 | %Cft | 346488.45
4 | Errection & removal of centering for RCC or plain cement concrete works of deodar wood (2nd: class) (b) for partial wood. (ii) . (SI No:19(b)(i) P-17) | 4453 | Cft. | 3127.41 | %Cft | 139263.5673
5 | Filling, watering and ramming earth under floor with (excavated from outside) lead upto one chain & lift upto 5'ft:(S.I.No:21/P-4) | 2224 | Cft | 1512.5 | %0Cft | 3363.8
6 | Filling, watering and ramming earth under floor with new earth (excavated from outside) lead upto one chain & lift upto 5'ft:(S.I.No:22/P-4) | 10860 | Cft | 3630 | %0Cft | 39421.8
7 | C.C Brick or stone ballast 1-1/2" to 2" gauge Ratio 1:5:10 (S.I. No:4(c)/P-14) | 679 | Cft. | 8694.95 | %Cft | 59038.7105
8 | P.B.Work in foundation & Plinth C.Sand Mortar 1:6 (S.I.No.4-e/P-19) | 2302 | Cft | 11948.36 | %Cft | 275051.2472
9 | Bitumen coating to plastered or cement concrete surface. (SI No:9 P-70) | 0 | Sft | 778.09 | %Sft | 0
9 | RCC work 1:2:4 i/c all labour and material except the cost of steel reinf: & its labour for bending & binding which will be paid separately. This rate also i/cs all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening & washing of shingle) (a) RCC work in roof slabs beams, coloumns, rafts lintels and other structural members laid in situ or precast laid in position complete in all respects.(SI No:6(a) P-16) | 2751 | Cft | 337 | %P.Cft | 927087
10 | Pacca brick work in ground floor in cement sand mortar ratio 1:6 (S.I.No:5(1-e)/P-20) | 5156 | Cft. | 12674.36 | %Cft | 653490.0016
11 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for doors & windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (SI No:28 & 29 P-92)
| (a)Door | 330 | Rft | 228.9 | P.Rft | 75537
| (b)Window | 779 | Rft | 240.5 | P.Rft | 187349.5
12 | Ist: class deodar wood wrought, joinery work in doors & windows etc, fixed in position i/c chowkats hold fasts, hinges iron tower bolts chocks, cleats, handles and cords with hooks etc. (Deodar panelled or panelled and glazed or fully glazed) (b) 1-3/4" thick (S.I.No:7(b)/P-57)
| Shutter only | 56 | Sft | 902.93 | P.Sft | 50564.08
13 | Providing & laying 2" thick topping cement concrete (1:2:4) i/c surface finishing & dividing into panels. (S.I.No:16/P-41). | 2337 | Sft. | 3275.5 | %Sft. | 76548.435
15 | Two coats of bitumen laid hot using 34-lbs: for %sft. Over roof and blinded with sand at one Cft per %sft. (SI No:13 P-34) | 0 | Sft. | 1887.4 | %Sft. | 0
14 | R.C.C. spout i/c fixing in position with top and bottom khuros (S.No:68 P-105) | 10 | Nos | 604.17 | Each | 6041.7
15 | Cement plaster 1:6 upto 12'ft: height 1/2" thick.(S.I.No:13(b)/P-51) | 12995 | Sft. | 2206.6 | %Sft. | 286747.67
16 | Cement plaster 1:4 upto 20'ft: height 3/8" thick.(S.I.No:11(a)/P-51) | 11787 | Sft. | 2197.52 | %Sft. | 259021.6824
21 | Applying chemical polishing on existing mosaic / marble flooring / dado i/c cleaning grinding with carborandum stone / sand paper and applying chemical polish as per requirement. (SI No. 70 P.48) | 0 | Sft. | 36.6 | %Sft. | 0
22 | White washing three coats. (S.I.No:26(c) /P-53) | 0 | Sft. | 829.95 | %Sft. | 0
23 | Rough cost cement plaster 3/4" thick (S.I.No:32 /P-54) | 0 | Sft. | 2306.19 | %Sft. | 0
24 | Primary coat of chalk distemper. (S.I.No:23 /P-53) | 0 | Sft. | 442.75 | %Sft. | 0
25 | Distempering two coats. (S.I.No:24(b)/P-53) | 0 | Sft. | 1043.9 | %Sft. | 0
26 | PNS & Painting of doors & windows any type (i/c edges) 3-coats (S.I.No:5(c) /P-69) | 0 | Sft. | 1489.68 | %Sft. | 0
27 | Ist: class deodar wood wrought joinery work in wire gauze door & windows with 22-SWG. Galvanized wire gauze 144-mesh per square inch iron fittings complete.(d)Galvinized wire gauge fixed to chowkats with 3/4" deodar stips & screws.(S.I.No:14(a)/P-58) | 0 | Sft | 454.19 | P.Sft | 0
17 | PNS & Painting sashes, fan lights, glazed or gauzed doors & windows any type (i/c edges) 3-coats (S.I.No:5(b)/P-68) | 446 | Sft. | 2116.41 | %Sft. | 9439.1886
|  | Total Amount @ Par |  |  |  | 3508807.658 | /=
PART-A (ii) "Main Buildings"
1 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making of joints and fastenings i/c cost of binding wire (also i/cs removal of rust from bars)(b) Tor bars. (SI No:7(ii)(b) P-20) | 146.57 | Cwt | 5001.7 | %P.Cwt | 733099.169
2 | Providing & fixing iron steel grill using solid square bars of size 1/2" x 1/2" placed at 4" i/c and frame of flat iron patti of 3/4" x 3/4" i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3 coats with 1st coat of red oxide paint etc. (S.N. 31/ P.No 93 ) | 238 | Sft | 231.6 | P.Sft | 55120.8
|  | Total Amount |  |  |  | 788219.969
PART-A (iii) "Main Buildings"
1 | Laying floor of approved with glazed tiles 1/4" thick in white cement over 3/4" thick cement mortar 1:2 complete. (S.I.No:24/P-42) | 157 | Sft. | 27678.86 | %Sft. | 43455.8102
2 | White glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4" thick i/c finishing (S.I.No:37/P-44) | 287 | Sft. | 28253.61 | %Sft. | 81087.8607
3 | Laying white marble 3/4" thick flooring fine dressed in the surface without winging set in lime mortar 1:2 i/c rubbing and polishing of the joints.(SI No:28/ P-42) | 90 | Sft | 567.48 | P.Sft | 51073.2
5 | Ist: class deodar wood wrought joinery work in wire gauze door & windows with 22-SWG. Galvanized wire gauze 144-mesh per square inch iron fittings complete.(d)Galvinized wire gauge fixed to chowkats with 3/4" deodar stips & screws.(S.I.No:14(b)/P-58) | 0 | Sft | 190.72 | P.Sft | 0
|  | Total Amount |  |  |  | 175616.8709
GENERAL ABSTRACT
| PART-A ( i+ii+iii ) "Main Buildings" | 4472644.4979 |  | /=
| PART-B ( i+ii ) "Compoud Wall i/c Steel Gate" | #REF! |  | /=
| TOTAL AMOUNT | 4472644.4979 |  | /=
| SAY |  |  | /=
NOTE: -
Any error or ommission in the Schedul "B" will be governed by the schedul of rates.
No. premium will be allowed on Non-Schedule items.
Cartage will not be paid for any meterials.
Mat: use in the work of finished product can be got tested from any approved lab: at the discreation of the XEN or his representitive & all expanses in conn: with such testing should be born by the cont exclusivaly without any re-imburament or cleim against the Government on his account.
CONTRACTOR
EXECUTIVE ENGINEER
BUILDINGS DIVISION
T.M.KHAN

## Measurement Sheet
MEASUREMENT SHEET
NAME OF SCHEME: CONSTRUCTION OF MATERNATY HOME AT VILLAGE PIR MOHAMMAD KHOWAJA @ SHAH KAPOOR TALUKA BULRI SHAH KARIM DISTRICT TANDO MOHAMMAD KHAN (MAIN BUILDINGS)
PART-A MAIN BUILDING (CIVIL WORK)
S.No. | Description | Measurement | [12 empty] | Quantity
|  | No. |  |  | Length |  | Width |  |  | Height/Depth
PART-A CIVIL WORK
01. | Excavation of foundation of building bridges and other structure……
| Plinth/Protection B/F | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 2.00 | × | 2.00 |  | ═ | 1376 | Cft
| Plinth/Protection L/R | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 2.00 | × | 2.00 |  | ═ | 896 | Cft
| Toe Wall | 1 | × | 4 | × | 7.00 | × | 2.00 | × | 2.00 |  |  |  | ═ | 112 | Cft
| Steps | 1 | × | 2 | × | 10.00 | × | 6.00 | × | 2.00 |  |  |  | ═ | 240 | Cft
[13 empty] | Total | ═ | 2624 | Cft
02. | Cement Concrete brick or stone ballast 1.1/2" to 2" gauge ratio (1:4:8)……...
| Plinth/Protection B/F | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 2.00 | × | 0.50 |  | ═ | 344 | Cft
| Plinth/Protection U/Bed | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 2.00 | × | 0.50 |  | ═ | 344 | Cft
| Plinth/Protection L/R | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 2.00 | × | 0.50 |  | ═ | 224 | Cft
| Plinth/Protection U/Bed | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 2.00 | × | 0.50 |  | ═ | 224 | Cft
| Toe Wall | 1 | × | 4 | × | 7.00 | × | 2.00 | × | 0.50 |  |  |  | ═ | 28 | Cft
| Steps | 1 | × | 2 | × | 10.00 | × | 6.00 | × | 0.50 |  |  |  | ═ | 60 | Cft
[13 empty] | Total | ═ | 1224 | Cft
03. | Pacca Brick work in foundation in cement sand mortar 1:4 ratio……
1st Step
| Plinth/Protection B/F | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 1.50 | × | 0.75 |  | ═ | 387 | Cft
| Plinth/Protection L/R | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 1.50 | × | 0.75 |  | ═ | 252 | Cft
2nd Step
| Plinth/Protection B/F | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 1.13 | × | 0.75 |  | ═ | 291.54 | Cft
| Plinth/Protection L/R | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 1.13 | × | 0.75 |  | ═ | 189.84 | Cft
3rd Step
| Plinth/Protection B/F | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 0.75 | × | 3.75 |  | ═ | 967.5 | Cft
| Plinth/Protection L/R | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 0.75 | × | 3.75 |  | ═ | 630 | Cft
| Toe Wall | 1 | × | 2 | × | 5.00 | × | 1.50 | × | 0.50 |  |  |  | ═ | 7.5 | Cft
| " " " " " " " | 1 | × | 2 | × | 5.00 | × | 1.13 | × | 0.50 |  |  |  | ═ | 5.65 | Cft
| " " " " " " " | 1 | × | 2 | × | 5.00 | × | 0.75 | × | 3.50 |  |  |  | ═ | 26.25 | Cft
| Entrance | 1 | × | 2 | × | 8.00 | × | 5.00 | × | 1.00 |  |  |  | ═ | 80 | Cft
| " " " " " " " | 1 | × | 2 | × | 8.00 | × | 4.00 | × | 0.50 |  |  |  | ═ | 32 | Cft
| " " " " " " " | 1 | × | 2 | × | 8.00 | × | 3.00 | × | 0.50 |  |  |  | ═ | 24 | Cft
| " " " " " " " | 1 | × | 2 | × | 8.00 | × | 2.00 | × | 0.50 |  |  |  | ═ | 16 | Cft
| " " " " " " " | 1 | × | 2 | × | 8.00 | × | 1.00 | × | 0.50 |  |  |  | ═ | 8 | Cft
[13 empty] | Total | ═ | 2917.28 | Cft
04. | Filling watering & ramming new earth…..
| Plinth/Protection B/F | 1 | × | 2 | ×( | 55.00 | + | 117.00 | )× | 1.50 | × | 4.75 |  | ═ | 2451 | Cft
| Plinth/Protection L/R | 1 | × | 2 | ×( | 84.00 | + | 28.00 | )× | 1.50 | × | 4.75 |  | ═ | 1596 | Cft
[13 empty] | Total | ═ | 4047 | Cft
05. | P/L C.C. Topping 2" thick (1:2:4)…
1-1/2" thick
| Plinth/Protection B/F | 1 | × | 55.00 | × | 117.00 | [7 empty] | ═ | 6435 | Sft
| Plinth/Protection L/R | 1 | × | 84.00 | × | 28.00 | [7 empty] | ═ | 2352 | Sft
[13 empty] | Total | ═ | 1597.5 | Sft
06. | White Washing 3 coats…..
Ceiling
| Corridor | 1 | × | 23.50 | × | 6.00 | [7 empty] | ═ | 141 | Sft
| Lobby/Ward | 1 | × | 14.25 | × | 12.00 | [7 empty] | ═ | 171 | Sft
| Entrance | 1 | × | 22.25 | × | 10.00 | [7 empty] | ═ | 222.5 | Sft
| Verandah | 1 | × | 37.25 | × | 7.00 | [7 empty] | ═ | 260.75 | Sft
| Male/Female | 2 | × | 11.00 | × | 9.00 | [7 empty] | ═ | 198 | Sft
| Opening | 5 | × | 4.00 | × | 1.25 | [7 empty] | ═ | 25 | Sft
| " " " " " | 2 | × | 5.00 | × | 1.25 | [7 empty] | ═ | 12.5 | Sft
| " " " " " | 6 | × | 3.50 | × | 1.25 | [7 empty] | ═ | 26.25 | Sft
| Front entrance | 1 | × | 12.50 | × | 8.00 | [7 empty] | ═ | 100 | Sft
| Side | 1 | × | 7.00 | × | 8.00 | [7 empty] | ═ | 56 | Sft
| Labour/Ward | 2 | × | 14.00 | × | 14.00 | [7 empty] | ═ | 392 | Sft
| WMO/EPI | 2 | × | 13.00 | × | 11.00 | [7 empty] | ═ | 286 | Sft
| M/F Waiting | 2 | × | 9.00 | × | 11.00 | [7 empty] | ═ | 198 | Sft
| Waiting/Recovery | 2 | × | 8.00 | × | 8.00 | [7 empty] | ═ | 128 | Sft
| Corridor | 1 | × | 23.50 | × | 6.00 | [7 empty] | ═ | 141 | Sft
| Scrub | 1 | × | 5.62 | × | 8.00 | [7 empty] | ═ | 44.96 | Sft
| Lobby | 1 | × | 12.00 | × | 13.00 | [7 empty] | ═ | 156 | Sft
| Entrance | 1 | × | 22.50 | × | 10.00 | [7 empty] | ═ | 225 | Sft
| Verandah | 1 | × | 30.25 | × | 7.00 | [7 empty] | ═ | 211.75 | Sft
| Disp | 1 | × | 10.00 | × | 7.00 | [7 empty] | ═ | 70 | Sft
| MO | 1 | × | 10.00 | × | 10.00 | [7 empty] | ═ | 100 | Sft
[13 empty] | Total | ═ | 3165.71 | Sft
07. | Primary coat of chalk under distemper……
(a) Inside
| L/roof | 2 | × | 2 | ×( | 14.00 | + | 14.00 | )× | 12.00 |  |  |  | ═ | 1344 | Sft
| " " " " | 1 | × | 2 | ×( | 8.00 | + | 5.63 | )× | 12.00 |  |  |  | ═ | 327.12 | Sft
| Recovery/Waiting | 2 | × | 2 | ×( | 8.00 | + | 8.00 | )× | 12.00 |  |  |  | ═ | 768 | Sft
| Lav | 2 | × | 2 | ×( | 5.63 | + | 3.79 | )× | 12.00 |  |  |  | ═ | 452.16 | Sft
| Lav | 2 | × | 2 | ×( | 5.50 | + | 4.50 | )× | 12.00 |  |  |  | ═ | 480 | Sft
| Corridor | 2 | × | 23.50 | × | 12.00 | × | 1.00 | [5 empty] | ═ | 564 | Sft
| Lobby | 1 | × | 1.00 | ×( | 14.75 | + | 12.00 | + | 14.75 | )× | 12.00 |  | ═ | 498 | Sft
| Entrance Lobby | 2 | × | 5.13 | × | 12.00 | × | 1.00 | [5 empty] | ═ | 123.12 | Sft
| " " " " " " " " " " | 2 | × | 4.00 | × | 12.00 | × | 1.00 | [5 empty] | ═ | 96 | Sft
| " " " " " " " " " " | 2 | × | 8.50 | × | 12.00 | × | 1.00 | [5 empty] | ═ | 204 | Sft
| " " " " " " " " " " | 2 | × | 11.00 | × | 12.00 | × | 1.00 | [5 empty] | ═ | 264 | Sft
| WMO/EPI | 2 | × | 2 | ×( | 13.00 | + | 11.00 | )× | 12.00 |  |  |  | ═ | 1152 | Sft
| Male/Female waiting | 2 | × | 2 | ×( | 11.00 | + | 9.00 | )× | 12.00 |  |  |  | ═ | 960 | Sft
| Verandah | 1 | × | 2 | ×( | 37.50 | + | 7.00 | )× | 12.00 |  |  |  | ═ | 1068 | Sft
| Disp | 1 | × | 2 | ×( | 10.00 | + | 7.00 | )× | 12.00 |  |  |  | ═ | 408 | Sft
| MO | 1 | × | 2 | ×( | 10.00 | + | 10.00 | )× | 12.00 |  |  |  | ═ | 480 | Sft
| Lav | 1 | × | 2 | ×( | 5.00 | + | 5.00 | )× | 12.00 |  |  |  | ═ | 240 | Sft
(b) Outside
| Back Side | 1 | × | 38.75 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 523.125 | Sft
| Side of Building | 1 | × | 38.00 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 513 | Sft
| Lav Offset | 4 | × | 5.25 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 283.5 | Sft
| Front | 1 | × | 7.00 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 94.5 | Sft
| " " " " | 1 | × | 33.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 452.25 | Sft
| Front of Verandah | 1 | × | 41.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 560.25 | Sft
| Side of Disp | 1 | × | 27.00 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 364.5 | Sft
| Back of Disp | 1 | × | 31.38 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 423.63 | Sft
| Offset | 3 | × | 5.75 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 232.875 | Sft
| " " " " | 1 | × | 12.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 168.75 | Sft
| " " " " | 1 | × | 6.75 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 91.125 | Sft
| Side of Ward/Lav | 1 | × | 23.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 317.25 | Sft
| Roof Parapet | 1 | × | 268.50 | × | 1.75 | × | 1.00 | [5 empty] | ═ | 469.875 | Sft
| Around Building | 1 | × | 246.75 | × | 3.50 | [7 empty] | ═ | 863.625 | Sft
[12 empty] | Total |  | ═ | 14786.655 | Sft
Deduction:
| MO Office | 1 | × | 33.50 | × | 1.00 | [7 empty] | ═ | 33.5 | Sft
| Opening | 1 | × | 4.00 | × | 7.00 | [7 empty] | ═ | 28 | Sft
| " " " " " | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
(A) Tile dado
| lav | 4 | × | 18.50 | × | 4.00 | [7 empty] | ═ | 296 | Sft
| Labour rece | 1 | × | 47.00 | × | 7.00 | [7 empty] | ═ | 329 | Sft
| Scrub | 1 | × | 22.25 | × | 7.00 | [7 empty] | ═ | 155.75 | Sft
| Lav | 2 | × | 17.38 | × | 4.00 | [7 empty] | ═ | 139.04 | Sft
(B) Tile dado
| Ward | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| Waiting | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| WMO/Entrance | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| Corridor | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| Lobby | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| Entrance | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| " " " " " | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| " " " " " | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| Front verandah | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| " " " " " " | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| " " " " " " | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| MO Office | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
| Disp | 2 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 24 | Sft
[13 empty] | Total | ═ | 1317.29 | Sft
|  |  | NET QTY: |  | ( | 14786.655 | ─ | 1317.29 | ) |  |  |  | Total | ═ | 13469.365 | Sft
[13 empty] | Total | ═ | 13469.365 | Sft
08. | Distempering two coats with 1st coat over primary coat 3 coats….
| Same Qty as item no. 07 | [11 empty] | Total | ═ | 13469.365 | Sft
09. | Weather coat….
(b) Outside
| Back Side | 1 | × | 38.75 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 523.125 | Sft
| Side of Building | 1 | × | 38.00 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 513 | Sft
| Lav Offset | 4 | × | 5.25 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 283.5 | Sft
| Front | 1 | × | 7.00 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 94.5 | Sft
| " " " " | 1 | × | 33.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 452.25 | Sft
| Front of Verandah | 1 | × | 41.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 560.25 | Sft
| Side of Disp | 1 | × | 27.00 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 364.5 | Sft
| Back of Disp | 1 | × | 31.38 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 423.63 | Sft
| Offset | 3 | × | 5.75 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 232.875 | Sft
| " " " " | 1 | × | 12.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 168.75 | Sft
| " " " " | 1 | × | 6.75 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 91.125 | Sft
| Side of Ward/Lav | 1 | × | 23.50 | × | 13.50 | × | 1.00 | [5 empty] | ═ | 317.25 | Sft
| Roof Parapet | 1 | × | 268.50 | × | 1.75 | × | 1.00 | [5 empty] | ═ | 469.875 | Sft
| Around Building | 1 | × | 246.75 | × | 3.50 | [7 empty] | ═ | 863.625 | Sft
[12 empty] | Total |  | ═ | 47323.64 | Sft
Deduction:
| D | 2 | × | 4.00 | × | 7.00 | [7 empty] | ═ | 56 | Sft
| W | 4 | × | 6.00 | × | 4.00 | [7 empty] | ═ | 96 | Sft
| W1 | 6 | × | 4.50 | × | 4.00 | [7 empty] | ═ | 108 | Sft
| HW | 6 | × | 2.50 | × | 1.50 | [7 empty] | ═ | 22.5 | Sft
[12 empty] | Total |  | ═ | 282.5 | Sft
|  |  | NET QTY: |  | ( | 47323.64 | ─ | 282.5 | ) |  |  |  | Total | ═ | 47041.14 | Sft
10. | S/F False ceiling of plaster of pairs, in pannels, i/c making frame….
| Labour/Ward | 2 | × | 14.00 | × | 14.00 | [7 empty] | ═ | 392 | Sft
| WMO/EPI | 2 | × | 13.00 | × | 11.00 | [7 empty] | ═ | 286 | Sft
| M/F Waiting | 2 | × | 9.00 | × | 11.00 | [7 empty] | ═ | 198 | Sft
| Waiting/Recovery | 2 | × | 8.00 | × | 8.00 | [7 empty] | ═ | 128 | Sft
| Corridor | 1 | × | 23.50 | × | 6.00 | [7 empty] | ═ | 141 | Sft
| Scrub | 1 | × | 5.62 | × | 8.00 | [7 empty] | ═ | 44.96 | Sft
| Lobby | 1 | × | 12.00 | × | 13.00 | [7 empty] | ═ | 156 | Sft
| Entrance | 1 | × | 22.50 | × | 10.00 | [7 empty] | ═ | 225 | Sft
| Verandah | 1 | × | 30.25 | × | 7.00 | [7 empty] | ═ | 211.75 | Sft
| Disp | 1 | × | 10.00 | × | 7.00 | [7 empty] | ═ | 70 | Sft
| MO | 1 | × | 10.00 | × | 10.00 | [7 empty] | ═ | 100 | Sft
[13 empty] | Total | ═ | 1952.71 | Sft
11. | S/F False ceiling of plaster of pairs, ceiling borders….
| Lobby | 1 | ×( | 12.00 | + | 13.00 | ) | [6 empty] | ═ | 25 | Sft
| W.M.O/E.P.I | 2 | ×( | 11.00 | + | 13.00 | ) | [6 empty] | ═ | 48 | Sft
| Corridor | 1 | ×( | 23.50 | + | 6.00 | ) | [6 empty] | ═ | 29.5 | Sft
[13 empty] | Total | ═ | 102.5 | Sft
12. | Painting new surface doors & windows any type 3 coats….
(A) Doors,Windows & Ventilators
| D1 | 2 | × | 4.00 | × | 7.00 | [7 empty] | ═ | 56 | Sft
| D2 | 6 | × | 3.50 | × | 7.00 | [7 empty] | ═ | 147 | Sft
| D3 | 2 | × | 3.00 | × | 7.00 | [7 empty] | ═ | 42 | Sft
| M.D | 2 | × | 5.00 | × | 8.50 | [7 empty] | ═ | 85 | Sft
| D4 | 6 | × | 2.50 | × | 7.00 | [7 empty] | ═ | 105 | Sft
| W | 8 | × | 6.00 | × | 4.00 | [7 empty] | ═ | 192 | Sft
| W1 | 9 | × | 4.50 | × | 4.00 | [7 empty] | ═ | 162 | Sft
| W2 | 3 | × | 3.00 | × | 4.00 | [7 empty] | ═ | 36 | Sft
| HW4 | 8 | × | 2.50 | × | 1.50 | [7 empty] | ═ | 30 | Sft
| F.W | 2 | × | 2.00 | × | 5.50 | [7 empty] | ═ | 22 | Sft
[13 empty] | Total | ═ | 877 | Sft
|  |  |  | 877 | × | 2 | [5 empty] | Total-A |  | ═ | 1754 | Sft
(B) Steel Grills
| W | 6 | × | 6.00 | × | 4.00 | [7 empty] | ═ | 144 | Sft
| W | 4 | × | 4.50 | × | 4.00 | [7 empty] | ═ | 72 | Sft
| F.W | 2 | × | 2.00 | × | 5.50 | [7 empty] | ═ | 22 | Sft
[12 empty] | Total-B |  | ═ | 238 | Sft
[12 empty] | Total (A+B) |  | ═ | 1992 | Sft
PART-B CIVIL WORK
13. | Laying floor of approved glazed tile….
| Lav | 2 | × | 5.62 | × | 3.82 | [7 empty] | ═ | 42.9368 | Sft
| Lav/Bath | 2 | × | 4.50 | × | 5.00 | [7 empty] | ═ | 45 | Sft
| Bath/Lav | 2 | × | 5.00 | × | 5.00 | [7 empty] | ═ | 50 | Sft
| " " | 4 | × | 2.50 | × | 1.25 | [7 empty] | ═ | 12.5 | Sft
[13 empty] | Total | ═ | 150.4368 | Sft
14. | Laying white glazed tile….
| Lav | 2 | ×( | 4.50 | + | 5.50 | )× | 5.00 | [5 empty] | ═ | 100 | Sft
| Bath | 2 | ×( | 5.62 | + | 3.82 | )× | 5.00 | [5 empty] | ═ | 94.4 | Sft
| Lav | 2 | ×( | 5.00 | + | 5.00 | )× | 5.00 | [5 empty] | ═ | 100 | Sft
[13 empty] | Total | ═ | 294.4 | Sft
15. | P/L Colour glazed tile 6" × 6" × 1/4" on floor….
(A) Floor
| Labour/Ward | 2 | × | 14.00 | × | 14.00 | [7 empty] | ═ | 392 | Sft
| WMO/EPI | 2 | × | 13.00 | × | 11.00 | [7 empty] | ═ | 286 | Sft
| M/F Waiting | 2 | × | 9.00 | × | 11.00 | [7 empty] | ═ | 198 | Sft
| Waiting/Recovery | 2 | × | 8.00 | × | 8.00 | [7 empty] | ═ | 128 | Sft
| Corridor | 1 | × | 23.50 | × | 6.00 | [7 empty] | ═ | 141 | Sft
| Scrub | 1 | × | 5.62 | × | 8.00 | [7 empty] | ═ | 44.96 | Sft
| Lobby | 1 | × | 12.00 | × | 13.00 | [7 empty] | ═ | 156 | Sft
| Entrance | 1 | × | 22.50 | × | 10.00 | [7 empty] | ═ | 225 | Sft
| Verandah | 1 | × | 30.25 | × | 7.00 | [7 empty] | ═ | 211.75 | Sft
| Disp | 1 | × | 10.00 | × | 7.00 | [7 empty] | ═ | 70 | Sft
| MO | 1 | × | 10.00 | × | 10.00 | [7 empty] | ═ | 100 | Sft
[13 empty] | Total | ═ | 1952.71 | Sft
(B) Wall dado
| Labour room | 1 | × | 47.00 | × | 7.00 | [7 empty] | ═ | 329 | Sft
| Scrub | 1 | × | 22.25 | × | 7.00 | [7 empty] | ═ | 155.75 | Sft
| Ward | 1 | × | 51.50 | × | 1.00 | [7 empty] | ═ | 51.5 | Sft
| Waiting/reception | 2 | × | 28.00 | × | 1.00 | [7 empty] | ═ | 56 | Sft
| WMO/EPI | 2 | × | 45.50 | × | 1.00 | [7 empty] | ═ | 91 | Sft
| MO Office | 1 | × | 33.50 | × | 1.00 | [7 empty] | ═ | 33.5 | Sft
| Disp | 1 | × | 32.00 | × | 1.00 | [7 empty] | ═ | 32 | Sft
[13 empty] | Total | ═ | 748.75 | Sft
[12 empty] | Total (A+B) |  | ═ | 2701.46 | Sft
16. | 1st Class deodar wood wire gauze ….
| W | 6 | × | 6.00 | × | 4.00 | [7 empty] | ═ | 144 | Sft
| W | 4 | × | 4.50 | × | 4.00 | [7 empty] | ═ | 72 | Sft
| F.W | 2 | × | 2.00 | × | 5.50 | [7 empty] | ═ | 22 | Sft
[13 empty] | Total | ═ | 238 | Sft
SUB-ENGINEER |  |  |  |  | ASSISSTANT ENGINEER | [7 empty] | EXECUTIVE ENGINEER
BUILDINGS SUB-DIVISION |  |  |  |  | BUILDINGS SUB-DIVISION | [7 empty] | BUILDINGS DIVISION
TANDO MOHAMMAD KHAN |  |  |  |  | TANDO MOHAMMAD KHAN | [7 empty] | TANDO MOHAMMAD KHAN

## Rate Analysis (R.A.A)
(Rate Analysis)
NAME OF SCHEME: CONSTRUCTION OF MATERNATY HOME AT VILLAGE PIR MOHAMMAD KHOWAJA @ SHAH KAPOOR TALUKA BULRI SHAH KARIM DISTRICT TANDO MOHAMMAD KHAN (MAIN BUILDINGS)
Cartage of Hill Sand from Bolahri Quarry to Site of work
[6 empty] | M | F |  | 1 Mile = 8 Furlog
| 01. From Quarry to N.H.Way. |  |  |  |  | 3 | 0 |  | 1Furlong = 660 foot
| 02. From Quarry to 113/0 122/0 of N.H.Way. |  |  |  |  | 9 | 0
| 03. From 0/0 4/4 of Hyd: Ring Road. |  |  |  |  | 4 | 4
| 04. From 2/0 21/4 of Hyd:T.M.Khan. |  |  |  |  | 19 | 4
| 05. From 0/0 0/0 T.M.Khan to Site 11 Miles. |  |  |  |  | 11 | 0
[5 empty] | Total | 46 | 8 | 1
[5 empty] | Say total | 47 |  | 47
Lead
| 01. Carriage of 1st 6 miles |  |  |  | Rs:- | 771.96
| 02. Remaining |  | 41 | miles
|  | @Rs. | 32.56 | per %cft | Rs:- | 1334.96
[5 empty] | Total | 2106.92 |  |  |  | 2106.92
Cartage of Stone Metal from Onger to Site of work
[6 empty] | M | F
| 01. From Quarry to N.H.way. |  |  |  |  | 3 | 0
| 02. From Quarry to 103/0 122/0 of N.H.Way. |  |  |  |  | 19 | 0
| 03. From 0/0 4/4 of Hyd: Ring Road. |  |  |  |  | 4 | 4
| 04. From 2/0 21/4 of Hyd:T.M.Khan. |  |  |  |  | 19 | 4
| 05. From 0/0 0/0 T.M.Khan to Site. |  |  |  |  | 11 | 0
[5 empty] | Total | 56 | 8 | 1
[5 empty] | Say total | 57 |  | 57
Lead
| 01. Carriage of 1st 6 miles |  |  |  | Rs:- | 771.96
| 02. Remaining |  | 51 | miles
|  | @Rs. | 32.56 | per %Cft | Rs:- | 1660.56
[5 empty] | Total | 2432.52 |  |  |  | 2432.52
Cartage of Bajri from T.M.Khan to Site of work
[6 empty] | M | F
| 01. From Quarry to 14/0 of N.H.way. |  |  |  |  | 14 | 0
| 02. From Quarry 110/40 to 122/0 of N.H.Way. |  |  |  |  | 11 | 4
| 03. From 0/0 4/4 of Hyd: Ring Road. |  |  |  |  | 4 | 4
| 04. From 2/0 21/4 of Hyd:T.M.Khan. |  |  |  |  | 19 | 4
| 05. From 0/0 0/0 T.M.Khan to Site. |  |  |  |  | 11 | 0
[5 empty] | Total | 59 | 12 | 2
[5 empty] | Say total | 61 |  | 61
Lead
| 01. Carriage of 1st 6 miles |  |  |  | Rs:- | 771.96
| 02. Remaining |  | 55 | miles
|  | @Rs. | 32.56 | per %cft | Rs:- | 1790.8
[5 empty] | Total | 2562.76 |  |  |  | 2562.76
Cartage of Cement from Zeal Pak Factory to Site of work
[6 empty] | M | F
| 01. From 2/0 21/4 of Hyd:T.M.Khan. |  |  |  |  | 17 | 4
| 02. From 0/0 0/0 T.M.Khan to Site. |  |  |  |  | 11 | 0
[5 empty] | Total | 28 | 4 | 1
[5 empty] | Say total | 29 |  | 29
Lead
| 01. Carriage of 1st 3 miles |  |  |  | Rs:- | 7.53
| 02. Remaining |  | 26 | miles
|  | @Rs. | 0.6 | per bag | Rs:- | 15.6
[5 empty] | Total | 23.13 |  |  |  | 23.13
Cartage of Brick from Kilen to Site of work
[6 empty] | M | F
| 01. From Brick Kilen 0/0 5/0 of Tando Fazal Sery Road |  |  |  |  | 5 | 6
| 02. From Sery Road 13/4 to 21/4 of Hyd:T.M.Khan. |  |  |  |  | 8 | 0
| 03. From 0/0 0/0 T.M.Khan to Site. |  |  |  |  | 11 | 0
[5 empty] | Total | 24 | 6 | FALSE
[5 empty] | Say total | 25 |  | 24
Lead
| 01. Carriage of 1st 6 miles |  |  |  | Rs:- | 771.96
| 02. Remaining |  | 19 | miles
|  | @Rs. | 32.56 | per O% Nos. | Rs:- | 618.64
[5 empty] | Total | 1390.6 |  |  |  | 1390.6
Cartage of Steel from Hyd. City to Site of work
[6 empty] | M | F
| 01. From 2/0 21/4 of Hyd:T.M.Khan. |  |  |  |  | 19 | 4
| 02. From 0/0 25/0 T.M.Khan to Site. |  |  |  |  | 11 | 0
[5 empty] | Total | 30 | 4 | 1
[5 empty] | Say total | 31 |  | 31
Lead
| 01. Carriage of 1st 6 miles |  |  |  | Rs:- | 411.38
| 02. Remaining |  | 25 | miles
|  | @Rs. | 20.5 | per Ton | Rs:- | 512.5
[5 empty] | Total | 923.88 |  |  |  | 923.88
SUB-ENGINEER |  |  |  |  | ASSISTANT ENGINEER
BUILDINGS SUB DIVISION
TANDO MUHAMMAD KHAN

## Cartage
Material Cartage Satement
CONSTRUCTION OF MATERNATY HOME AT VILLAGE PIR MOHAMMAD KHOWAJA @ SHAH KAPOOR TALUKA BULRI SHAH KARIM DISTRICT TANDO MOHAMMAD KHAN (MAIN BUILDINGS)
PART-A MAIN BUILDINGS
Sr.# | Description | Qty: | Cement |  | Hill Sand |  | Stone Metal |  | Stone Bajri |  | Steel |  | Bricks
01. | C.C S/Ballast (1:4:8) | 1152 | 9.6 | 110.592 | 48 | 353 | 96 | 1106 | - | - | - | - | -
02. | C.C S/Ballast (1:5:10) | 679 | 7.8 | 52.962 | 49 | 333 | 98 | 665 | - | - | - | - | -
03. | Birck Masonry (1:6) | 7467 | 3.44 | 256.8648 | 25.7 | 1919 | - | - | - | - | - | - | 1350 | 100805
04. | Feb: Of M/Steel | 146.57 | - | - | - | - | - | - | - | - | - | 7.3285 | -
05. | R.C.C Work (1:2:4) | 2039 | 17.6 | 358.864 | 44 | 897.16 | - | - | 88 | 1794 | - | - | -
06. | Glazed Tile Floor & Dado | 1245 | 2.16 | 26.892 | 5.2 | 64.74 | - | - | - | - | - | - | -
07. | C.Plaster (1:6) 1/2" Thick | 12995 | 0.53 | 68.8735 | 4 | 520 | - | - | - | - | - | - | -
08. | C.Plaster (1:4) 3/8" Thick | 11787 | 0.57 | 67.1859 | 3 | 354 | - | - | - | - | - | - | -
09. | Marbile Tile Floor & Dado | 2070 | 1.79 | 37.053 | 4.7 | 97 | - | - | - | - | - | - | -
10. | C.C. Plain 1:3:6… | 2751 | 13 | 357.63 | 46 | 1265 | - | - | 92 | 2531 | - | - | -
11. | P/LC.CToping2" thick | 2337 | 3 | 70.11 | 7.4 | 173 | - | - | 14.7 | 344 | - | - | -
| Total Quantity: | - | - | 1407.0272 |  | 5975.9 |  | 1771 |  | 4669 |  | 7.3285 |  | 100805
| Rate as per R.A.A |  |  | 23.13 |  | 2106.92 |  | 2432.52 |  | 2530.2 |  | 923.88 |  | 1390.6
| Amount |  |  | 32544.5391 |  | 125907.4323 |  | 43079.9292 |  | 118135.038 |  | 6770.6546 |  | 140179.433
|  | Part "A" |  | 459846.3716 |  | /=
|  | Part "B" |  | 6770.6546 |  | /=
| Total Amount |  |  | 466617.0262 |  | /=
|  | SUB-ENGINEER | [8 empty] | ASSISSTANT ENGINEER
BUILDINGS SUB-DIVISION
TANDO MOHAMMAD KHAN

## Sheet1
Material Cartage Satement
CONSTRUCTION OF MATERNATY HOME AT VILLAGE PIR MOHAMMAD KHOWAJA @ SHAH KAPOOR TALUKA BULRI SHAH KARIM DISTRICT TANDO MOHAMMAD KHAN (MAIN BUILDINGS)
PART-A CIVIL WORK (ii) PAVED COURT YARD WALL
Sr.# | Description | Qty: | Cement | Hill Sand | Stone Bajri | Stone Metal | Bricks | Steel
01. | C.C (1:4:8) | 414 | 40 | 199 | - | 397 | - | -
02. | D.P.C 3" Thick | 300 | 14 | 33 | 33 | - | - | -
03. | Febrication M/Steel | 3.01 | - | - | - | - | - | 0.15
04. | R.C.C work 1:2:4 | 71 | 12 | 31 | 62 | - | - | -
05. | P.B.Work in Foundation | 1799 | 62 | 462 | - | - | 24083 | -
07. | C.Plaster (1:6) 1/2" Thick | 4093 | 22 | 164 | - | - | - | -
| C.Plaster (1:4) 3/8" Thick | 4093 | 23 | 123 | - | - | - | -
| Total Quantity: |  | 173 | 1012 | 95 | 397 | 24083 | 0.15
| Rate as per R.A.A |  | 23.13 | 2106.92 | 2530.2 | 2432.52 | 1390.6 | 923.88
| Amount |  | 4001.49 | 21322.0304 | 2403.69 | 9657.1044 | 33489.8198 | 138.582
| Total Rs |  |  | 71012.7166
SUB-ENGINEER |  |  |  | ASSISSTANT ENGINEER
BUILDINGS SUB-DIVISION |  |  |  | BUILDINGS SUB-DIVISION
TANDO MOHAMMAD KHAN |  |  |  | TANDO MOHAMMAD KHAN