## Sheet1
TENDER FOR O&M / M&R / BID FORM
(ASSESSMENT OF RATE ONLY)
NAME OF WORK: LIST OF MATERIAL FOR O&M/ M&R OF TUBEWELLS, PUMPING STATIONS, COLONY, REPAIR OF GOVERNMENT VEHICLES & COMPUTER PARTS AND REPAIR.
Sr. | Item/Description | Quantity |  | Unit | Rate | Amount
No.
1 | 2 | 3 |  | 4 | 5 | 6
(A) MATERIAL FOR PUMP PARTS OF TUBEWELLS.
1 | Top Shaft 25 mm x 1330 mm (Stainless Steel). |  |  | Each
2 | Top Shaft 25 mm x 1370 mm (Stainless Steel). | 20 | Nos. | Each
3 | Top shaft 30 mm dia x 1490 mm (Stainless Steel). | 30 | Nos. | Each
4 | Top shaft 30 mm dia x 1530 mm (Stainless Steel). | 10 | Nos. | Each
5 | Threaded column Shaft with protective sleeve 25mm dia x 3050mm (Stainless Steel). | 52 | Nos. | Each
6 | Threaded column shaft with protective sleeve 25mm dia x 3050mm (Carbon Steel). |  |  | Each
7 | Threaded column shaft with protective sleeve 30mm dia x 3050mm (Stainless Steel). | 100 | Nos. | Each
8 | Threaded column shaft with protective sleeve 30mm dia x 3050mm (Carbon Steel). |  |  | Each
9 | Threaded coupling 25mm dia (Stainless Steel) | 145 | Nos. | Each
10 | Threaded coupling 25mm dia (Carbon Steel) | 200 | Nos. | Each
11 | Threaded coupling 30mm dia (Stainless Steel) | 90 | Nos. | Each
12 | Threaded coupling 30mm dia (Carbon Steel) |  |  | Each
13 | Stuffing box housing 25mm dia complete (L.S). | 25 | Nos. | Each
14 | Stuffing box housing 30mm dia complete (L.S). | 56 | Nos. | Each
15 | Rubber Bearing bush 32.2 dia for column shaft 25 mm (L.S). | 160 | Nos. | Each
16 | Rubber Bearing bush 38.2 mm dia for column shaft 30 mm (L.S) | 440 | Nos. | Each
17 | Rubber Bearing Bush 35.2 mm dia for Bowl Assembly (L.S) |  |  | Each
18 | Rubber Bearing Bush 45.2 mm dia for Bowl Assembly (L.S) | 20 | Nos. | Each
19 | Shaft Protective Sleeve for 25mm dia of column shaft (Stainless.Steel) |  |  | Each
20 | Shaft Protective Sleeve for 30mm dia of column shaft (Stainless Steel). |  |  | Each
21 | Column pipe C.I socket 7” dia | 31 | Nos. | Each
22 | Column pipe C.I socket 8” dia | 76 | Nos. | Each
23 | Column pipe C.I socket 10” dia | 90 | Nos. | Each
24 | Column pipe 7” dia, 10’-0 long ¼ thick, both end threaded. | 14 | Nos. | Each
25 | Column pipe 8” dia, 10’-0 long ¼ thick, both end threaded. | 35 | Nos. | Each
26 | Column pipe 10” dia, 10’-0 long ¼ thick, both end threaded. | 40 | Nos. | Each
27 | Pump shaft 35 mm dia x 775 mm long (S.S) |  |  | Each
28 | Pump shaft 35 mm dia x 840 mm long (S.S) |  |  | Each
29 | Pump shaft 35 mm dia x 955 mm long (S.S) |  |  | Each
30 | Pump shaft 35 mm dia x 1155 mm long (S.S) |  |  | Each
31 | Pump shaft 45 mm dia x 775 mm long (S.S) |  |  | Each
32 | Pump shaft 45 mm dia x 855 mm long (S.S) | 10 | Nos. | Each
33 | Pump shaft 45 mm dia x 955 mm long (S.S) | 10 | Nos. | Each
34 | Pump shaft 45 mm dia x 1155 mm long (S.S) | 10 | Nos. | Each
35 | Pump shaft 45 mm dia x 1200 mm long (S.S) |  |  | Each
36 | Bronze Impeller with clamping sleeve for 1.5 Cusec discharge. |  |  | Each
37 | Bronze Impeller with clamping sleeve for 2.0 Cusec discharge. | 10 | Nos. | Each
38 | Bronze Impeller with clamping sleeve for 3.0 Cusec discharge. | 40 | Nos. | Each
39 | Bronze Impeller with clamping sleeve for 4.0 Cusec discharge. | 25 | Nos. | Each
40 | Bronze Impeller with clamping sleeve for 5.0 Cusec discharge. | 25 | Nos. | Each
41 | Sand guard for pump shaft 35 mm dia (Bronze) |  |  | Each
42 | Sand guard for pump shaft 45 mm dia (Bronze) | 20 | Nos. | Each
43 | M.S Top Nut 25 mm dia with key | 50 | Nos. | Each
44 | M.S Top Nut 30 mm dia with key | 110 | Nos. | Each
45 | Discharge piece of Bowl Assembly pump type B8D for 1.5 Cusec discharge. |  |  | Each
46 | Intermediate piece of bowl assembly pump type B8D 1.5 cusec discharge. |  |  | Each
47 | Suction piece of bowl assembly pump type B8D for 1.5 Cusec discharge. |  |  | Each
48 | Discharge piece of bowl assembly type B10B for 2.0 Cusec discharge. |  |  | Each
49 | Intermediate piece of bowl assembly pump type B10B for 2.0 cusec discharge. |  |  | Each
50 | Suction piece of bowl assembly pump type B10B for 2.0 Cusec discharge. |  |  | Each
51 | Discharge piece of bowl assembly type B10D for 3.0 Cusec discharge | 10 | Nos. | Each
52 | Intermediate piece of bowl assembly pump type B10D for 3.0 cusec discharge. | 15 | Nos. | Each
53 | Suction piece of bowl assembly pump type B10D for 3.0 Cusec discharge. | 10 | Nos. | Each
54 | Discharge piece of bowl assembly type B12B for 4.0 Cusec discharge. | 12 | Nos. | Each
55 | Intermediate piece of bowl assembly pump type B12B for 4.0 cusec discharge. | 20 | Nos. | Each
56 | Suction piece of bowl assembly pump type B12B for 4.0 Cusec discharge. | 12 | Nos. | Each
57 | Discharge piece of bowl assembly pump type B12D for 5 Cusec discharge. | 9 | Nos. | Each
58 | Intermediate piece of bowl assembly pump type B12D for 5 cusec discharge. | 9 | Nos. | Each
59 | Suction piece of bowl assembly pump type B12D for 5 Cusec discharge. | 9 | Nos. | Each
60 | Gland Cover (cast iron) for stuffing box 25 mm dia. | 20 | Nos. | Each
61 | Gland Cover (cast iron) for stuffing box 30 mm dia. | 20 | Nos. | Each
62 | Gland packing 25 x 40 x 8 mm. |  |  | P. Kgm
63 | Gland packing 30 x 45 x 8 mm. |  |  | P. Kgm
64 | M.S delivery pipe 7” dia 1/8” thick 10'-0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 8 | Nos. | Each
65 | M.S delivery pipe 8” dia 1/8" thick 10’.0” long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 13 | Nos. | Each
66 | M.S delivery pipe 10” dia 1/8” thick 10’.0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 10 | Nos. | Each
67 | M.S delivery pipe 12” dia 1/8” thick 10’.0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 31 | Nos. | Each
68 | Repairing of column pipe of 7” dia, providing pipe piece of 6” to both ends i/c cutting, facing, welding and threading. | 10 | Jobs. | P. Job
69 | Repairing of column pipe of 8” dia, providing pipe piece of 6” to both ends i/c cutting, facing, welding and threading. | 70 | Jobs. | P. Job
70 | Repairing of column pipe 10” dia, providing pipe piece of 6” to both ends i/c cutting, facing, welding and threading. | 76 | Jobs. | P. Job
71 | Repairing of bowl assembly 1.5 cusec single stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). |  |  | P. Job
72 | Repairing of bowl assembly 2.0 cusec single stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 18 | Jobs. | P. Job
73 | Repairing of bowl assembly 3.0 cusec single stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 10 | Jobs. | P. Job
74 | Repairing of bowl assembly 3.0 cusec 2 stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 38 | Jobs. | P. Job
75 | Repairing of bowl assembly 4.0 cusec, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 26 | Jobs. | P. Job
76 | Repairing of bowl assembly 5.0 cusec, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 25 | Jobs. | P. Job
77 | Repairing of stuffing box i/c replacement of cum seal cage 25mm dia (gunmetal) also providing grease cup arrangement etc. complete (L.S). |  |  | P. Job
78 | Repairing of stuffing box i/c replacement of cum seal cage 30mm dia (gunmetal) also providing grease cup arrangement etc. complete (L.S). | 30 | Jobs. | P. Job
79 | Repairing of discharge head all sizes i/c re-threading & providing sleeve etc. complete. | 20 | Jobs. | P. Job
80 | Repairing of deteriorated portion of M/S Delivery pipe 7” dia i/c welding, pataching & painting etc. complete. |  |  | P. Job
81 | Repairing of deteriorated portion of M/S Delivery pipe 8” dia i/c welding, pataching & painting etc. complete. |  |  | P. Job
82 | Repairing of deteriorated portion of M/S Delivery pipe 10” dia i/c welding, pataching & painting etc. complete. |  |  | P. Job
83 | Repairing of deteriorated portion of M/S Delivery pipe 12” dia i/c welding, pataching & painting etc. complete. |  |  | P. Job
84 | Drilling of Tubewell Bore i/c Gravel pack, Fibre glass casing 14" dia, performated / blank pipe 8" dia (FG), alignment, etc. complete. |  |  | P.Job
85 | Dismantling / Re-fitting of pump parts & lowering into bore including scraping brushing of pipes & cleaning of bowl assembly parts, etc complete. | 10 | Jobs. | P.Job
86 | Rubber sheet packing 7”/13” dia, 5mm thick, i/c making holes. |  |  | Each
87 | Rubber sheet packing 8”/14” dia, 5mm thick, i/c making holes. |  |  | Each
88 | Rubber sheet packing 10”/16” dia, 5mm thick, i/c making holes. |  |  | Each
89 | Rubber sheet packing 12”/18” dia, 5mm thick, i/c making holes. |  |  | Each
90 | G.I Corrugated sheet size 3' x 12’, 25 gauge. | 80 | Nos. | Each
91 | Steel Graded door 3.5 x 6 ft, 1/16' thick sheeting i/c angle iron 2"x 2"x 3/8 inch frame with locking arrangement. | 20 | Nos. | Each
92 | M.S Pipe 12" dia 10' long Steel Sheet 3/16" thick with 3/8" thick flanges of 8 Nos. holes of 3/4" dia from both ends. |  |  | Each
93 | Gravel from cambulpur quarry (Attock) | 1000 | Cft. | P.Cft
(B) PANNEL PARTS OF TUBEWELLS.
1 | Magnetic contactor (Siemens Germany) 3RT 1036-1 AV04 for 15, 20 & 25 HP Electric Motor. |  |  | Each
2 | Magnetic contactor (Siemens Germany) 3RT 1044-1 AV04 for 30, 35 & 40 HP Electric Motor. |  |  | Each
3 | Magnetic Contactor DMC-50 (440 Volts) (Donga Korea). | 22 | Nos. | Each
4 | Magnetic Contactor DMC-65 (440 Volts) (Donga Korea). | 10 | Nos. | Each
5 | Magnetic Contactor DMC-85 (440 Volts) (Donga Korea). | 60 | Nos. | Each
6 | Magnetic Contactor GMC-50 (440 Volts) (LG Korea). | 5 | Nos. | Each
7 | Magnetic Contactor GMC-65 (440 Volts) (LG Korea). | 20 | Nos. | Each
8 | Magnetic Contactor GMC-85 (440 Volts) (LG Korea). | 20 | Nos. | Each
9 | Magnetic Contactor SCN2S (440 Volts) (Fuji Japan). |  |  | Each
10 | Magnetic Contactor SCN3 (440 Volts) (Fuji Japan). |  |  | Each
11 | Magnetic Contactor SCN4 (440 Volts) (Fuji Japan). |  |  | Each
12 | Magnetic Contactor SCN5 (440 Volts) (Fuji Japan). |  |  | Each
13 | Circuit Breaker (Siemens Germany) 3RV 1031-4BA10, Range (14-20A) for 15, 20 HP Electric Motor. |  |  | Each
14 | Circuit breaker (Siemens Germany) 3RV 1031-4EA10, Range (22-32A) for 20 & 25 HP Electric Motor. |  |  | Each
15 | Circuit breaker (Siemens Germany) 3RV 1031 4FA10, Range (28-40A) for 25 & 30 HP Electric Motor. |  |  | Each
16 | Circuit breaker (Siemens Germany) 3RV 1031 4GA10, Range (36-45A) for 30, 35 & 40 HP Electric Motor. |  |  | Each
17 | Circuit breaker (Siemens Germany) 3RV 1031 4HA10, Range (40-50A) for 40HP Electric Motor. |  |  | Each
18 | Circuit Breaker DB63 SB (50A) (440 Volts) (Donga Korea). | 17 | Nos. | Each
19 | Circuit Breaker DB63 SB (60A) (440 Volts) (Donga Korea). | 10 | Nos. | Each
20 | Circuit Breaker DB63 SB (100A) (440 Volts) (Donga Korea). | 36 | Nos. | Each
21 | Circuit Breaker ABE53B (50A) (440 Volts) (LG Korea). | 5 | Nos. | Each
22 | Circuit Breaker ABS63B (60A) (440 Volts) (LG Korea). | 10 | Nos. | Each
23 | Circuit Breaker ABE103B (100A) (440 Volts) (LG Korea). | 44 | Nos. | Each
24 | Thermal overload relay (Siemens Germany) 3RU 1136-4BB0, Range (14-20A) for 15 & 20 HP Electric Motor. |  |  | Each
25 | Thermal overload relay (Siemens Germany) 3RU 1136-4EB0, Range (22-32A) for 20 & 25 HP Electric Motor. |  |  | Each
26 | Thermal overload relay (Siemens Germany) 3RU 1136-4FB0, Range (28-40A) for 25 & 30 HP Electric Motor. |  |  | Each
27 | Thermal overload relay (Siemens Germany) 3RU 1136-4GB0, Range (36-45A) for 30 & 35 HP Electric Motor. |  |  | Each
28 | Thermal overload relay (Siemens Germany) 3RU 1136-4HB0, Range (36-50A) for 30, 35 & 40 HP Electric Motor. |  |  | Each
29 | Thermal Over Load Relay TK-51NH (16-22 A) (440 Volts) (Fuji Japan). |  |  | Each
30 | Thermal Over Load Relay TK-N3H (18-26 A) (440 Volts) (Fuji Japan). |  |  | Each
31 | Thermal Over Load Relay TK-N3H (24-36 A) (440 Volts) (Fuji Japan). |  |  | Each
32 | Thermal Over Load Relay TK-N3H (28-40 A) (440 Volts) (Fuji Japan). |  |  | Each
33 | Thermal Over Load Relay TK-N3H (34-50 A) (440 Volts) (Fuji Japan). |  |  | Each
34 | Thermal Over Load Relay TK-N3H (45-65 A) (440 Volts) (Fuji Japan). |  |  | Each
35 | Thermal Over Load Relay GTK-22H (16-22 A) (440 Volts) (LG Korea). |  |  | Each
36 | Thermal Over Load Relay GTK-40H (18-26 A) (440 Volts) (LG Korea). | 22 | Nos. | Each
37 | Thermal Over Load Relay GTK-40H (24-36 A) (440 Volts) (LG Korea). | 17 | Nos. | Each
38 | Thermal Over Load Relay GTK-85H (34-50 A) (440 Volts) (LG Korea). | 24 | Nos. | Each
39 | Thermal Over Load Relay GTK-85H (45-65 A) (440 Volts) (LG Korea). | 42 | Nos. | Each
40 | On/Off Push Button (Twin Set). | 60 | Nos. | Each
41 | Repair of Main Contact Set of Air Breaker 4417 Old Model (Siemens) |  |  | P. Job
42 | Repair of Main Contact Set of Air Breaker 4617 Old Model (Siemens) |  |  | P.Job
43 | Repair of Main Contact Set of Air Breaker 4817 Old Model (Siemens) |  |  | P. Job
44 | Repair of operating Coil for Air breaker 4417, Old Model (Siemens) |  |  | P. Job
45 | Repair of operating Coil for Air breaker 4617, Old Model (Siemens) |  |  | P. Job
46 | Repair of operating Coil for Air breaker 4817, Old Model (Siemens) |  |  | P. Job
47 | Locking arrangement to panel box |  |  | Each
48 | Pannel Box Complete. |  |  | Each
49 | Techanical Data Board of Tubewell size 1 1/2' x 2.0' i/c endorsement charges. |  |  | Each
50 | Name plate of Tubewell (Steel) size 3" x 6" i/c endorsement charges. |  |  | Each
(C) REWINDING OF ELECTRIC MOTOR/MOTOR PARTS OF TUBEWELLS.
1 | Rewinding of Electric Motor 15HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 10 | Jobs. | P. Job
2 | Rewinding of Electric Motor 20HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 5 | Jobs. | P. Job
3 | Rewinding of Electric Motor 25HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 21 | Jobs. | P. Job
4 | Rewinding of Electric Motor 30HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 11 | Jobs. | P. Job
5 | Rewinding of Electric Motor 35HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 10 | Jobs. | P. Job
6 | Rewinding of Electric Motor 40HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 10 | Jobs. | P. Job
7 | Repairing of upper housing of Electric motor 15 HP including turning, facing, manufacturing sleeve & fitting. | 10 | Jobs. | P. Job
8 | Repairing of upper housing of Electric motor 20 HP including turning, facing, manufacturing sleeve & fitting. | 5 | Jobs. | P. Job
9 | Repairing of upper housing of Electric motor 25 HP including turning, facing, manufacturing sleeve & fitting. | 25 | Jobs. | P. Job
10 | Repairing of upper housing of Electric motor 30 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
11 | Repairing of upper housing of Electric motor 35 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
12 | Repairing of upper housing of Electric motor 40 HP including turning, facing, manufacturing sleeve & fitting. | 20 | Jobs. | P. Job
13 | Repairing of lower housing of Electric motor 15 HP including turning, facing, manufacturing sleeve & fitting. | 10 | Jobs. | P. Job
14 | Repairing of lower housing of Electric motor 20 HP including turning, facing, manufacturing sleeve & fitting. | 5 | Jobs. | P. Job
15 | Repairing of lower housing of Electric motor 25 HP including turning, facing, manufacturing sleeve & fitting. | 25 | Jobs. | P. Job
16 | Repairing of lower housing of Electric motor 30 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
17 | Repairing of lower housing of Electric motor 35 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
18 | Repairing of lower housing of Electric motor 40 HP including turning, facing, manufacturing sleeve & fitting. | 20 | Jobs. | P. Job
19 | Cost Iron Cowl for 15 HP Electric Motor. |  |  | Each
20 | Cost Iron Cowl for 20 HP Electric Motor. |  |  | Each
21 | Cost Iron Cowl for 25 HP Electric Motor. | 18 | Nos. | Each
22 | Cost Iron Cowl for 30 HP Electric Motor. | 18 | Nos. | Each
23 | Cost Iron Cowl for 35 HP Electric Motor. | 20 | Nos. | Each
24 | Cost Iron Cowl for 40 HP Electric Motor. | 20 | Nos. | Each
25 | Cost Iron Fan for 15 HP Electric Motor. |  |  | Each
26 | Cost Iron Fan for 20 HP Electric Motor. |  |  | Each
27 | Cost Iron Fan for 25 HP Electric Motor. |  |  | Each
28 | Cost Iron Fan for 30 HP Electric Motor. |  |  | Each
29 | Cost Iron Fan for 35 HP Electric Motor. |  |  | Each
30 | Cost Iron Fan for 40 HP Electric Motor. |  |  | Each
31 | Cost Iron Ratchit Plate for 15 HP Electric Motor i/c Ratchit Pins. |  |  | Each
32 | Cost Iron Ratchit Plate for 20 HP Electric Motor i/c Ratchit Pins. |  |  | Each
33 | Cost Iron Ratchit Plate for 25 HP Electric Motor i/c Ratchit Pins. |  |  | Each
34 | Cost Iron Ratchit Plate for 30 HP Electric Motor i/c Ratchit Pins. |  |  | Each
35 | Cost Iron Ratchit Plate for 35 HP Electric Motor i/c Ratchit Pins. |  |  | Each
36 | Cost Iron Ratchit Plate for 40 HP Electric Motor i/c Ratchit Pins. |  |  | Each
37 | Cost Iron Inner Bearing plates for 15 HP Eectric Motor. |  |  | Each
38 | Cost Iron Inner Bearing plates for 20 HP Eectric Motor. |  |  | Each
39 | Cost Iron Inner Bearing plates for 25 HP Eectric Motor. |  |  | Each
40 | Cost Iron Inner Bearing plates for 30 HP Eectric Motor. |  |  | Each
41 | Cost Iron Inner Bearing plates for 35 & 40 HP Eectric Motor. |  |  | Each
42 | Cost Iron Outer Bearing plates for 15 HP Eectric Motor. |  |  | Each
43 | Cost Iron Outer Bearing plates for 20 HP Eectric Motor. |  |  | Each
44 | Cost Iron Outer Bearing plates for 25 HP Eectric Motor. |  |  | Each
45 | Cost Iron Outer Bearing plates for 30 HP Eectric Motor. |  |  | Each
46 | Cost Iron Outer Bearing plates for 35 & 40 HP Eectric Motor. |  |  | Each
47 | Connection Box with Terminals for 15 HP Electric Motor. |  |  | Each
48 | Connection Box with Terminals for 20 HP Electric Motor. |  |  | Each
49 | Connection Box with Terminals for 25 HP Electric Motor. | 15 | Nos. | Each
50 | Connection Box with Terminals for 30, 35 & 40HP Electric Motor. | 30 | Nos. | Each
51 | Electric motor coupling for 15,20,25 HP motor. | 30 | Nos. | Each
52 | Electric motor coupling for 30,35,& 40 HP motor. | 30 | Nos. | Each
53 | Ball Bearing 6319 (Upper) NTN Japan for 35 & 40 HP Electric Motor. | 53 | Nos. | Each
54 | Ball Bearing 6312 (Lower) NTN Japan for 35 & 40 HP Electric Motor. | 53 | Nos. | Each
55 | Ball Bearing 6317 (Upper) NTN Japan for 25 & 30 HP Electric Motor | 50 | Nos. | Each
56 | Ball Bearing 6310 (Lower) NTN Japan for 25 & 30 HP Electric Motor. | 50 | Nos. | Each
57 | Ball Bearing 6313 (Upper) NTN Japan for 15 & 20 HP Electric Motor. | 20 | Nos. | Each
58 | Ball Bearing 6309 (Lower) NTN Japan for 15 & 20 HP Electric Motor. | 20 | Nos. | Each
59 | Enameled Copper Wire SWG-18 & 19 (Modern). | 500 | Kgm | P. Kgm
60 | Enameled Copper Wire SWG-20 & 21 (Modern). | 500 | Kgm | P. Kgm
61 | Insulation winding paper No: 10. | 50 | Kgm | P. Kgm
62 | Insulation plastic tap Neto Japan. | 300 | Nos. | Each
63 | Empire sleave 3 MM dia | 500 | Nos. | Each
64 | Empire sleave 6 MM dia | 100 | Nos. | Each
65 | Empire sleave 8 MM dia | 200 | Nos. | Each
66 | Empire sleave 12 MM dia | 200 | Nos. | Each
67 | Cotton tap 1” | 300 | Nos. | Each
68 | Varnish Hitachi | 10 | Gallon | P. Gallon
69 | Thiner | 20 | Litre | P. Litre
70 | Kerosene oil | 40 | Litre | P. Litre
71 | Soldering wire 250 gm. | 2 | Nos. | Each
72 | Becolite Sheet | 5 | Kgm | P. Kgm
73 | Bamboo | 200 | Feet | P. Ft:
74 | Emery paper No: 1.5 | 10 | Dozen | P. Dozen
75 | Hexa Blade 1” wide, 12” long | 10 | Nos. | Each
76 | PVC Copper Wire 7/029 Single Core (Million). |  |  | P. Coil
77 | PVC Copper Wire 7/036 Single Core (Million). |  |  | P. Coil
78 | PVC Copper Wire 7/044 Single Core (Million). | 5 | Coils. | P. Coil
79 | PVC Copper Wire 7/052 Single Core (Million). | 5 | Coils. | P. Coil
80 | PVC Copper Wire 7/064 Single Core (Million). | 21 | Coils. | P. Coil
81 | Four Core Copper Wire 7/044 (Million). |  |  | P. Meter
82 | Four Core Copper Wire 7/052 (Million). |  |  | P. Meter
83 | Four Core Copper Wire 7/064 (Million). | 200 | Meters | P. Meter
84 | Grease Multi perpose (Heat Proof). |  |  | P. Kgm
85 | Hand Operated Grease Gun. |  |  | Each
86 | Motor Coupling for 15 & 20 HP, Electric Motor (Centrifugal Pump). |  |  | Each
87 | Flexible Mask pipe 2" dia. |  |  | P. Ft:
HIGHEST BID RATES.
1 | Burnt Rewinding Copper Wire (Scrap). |  |  | P. Kgm
2 | Mild Steel (Scrap). |  |  | P. Kgm
3 | Cast Iron (Scrap). |  |  | P. Kgm
4 | Bronze (Scrap). |  |  | P. Kgm
(D) REPAIR OF TRANSFORMERS 25, 50, 100 & 200KVA.
1 | Rewinding & Re-fitting of high tension (HT) Coil of 25 KVA transformer including un-recoverable burnt/old wire. | 15 | Coils. | P. Coil
2 | Rewinding & Re-fitting of low tension (LT) Coil of 25 KVA transformer including un-recoverable burnt/old wire. | 15 | Coils. | P. Coil
3 | Rewinding & Re-fitting of High tension (HT) Coil of 50 KVA transformer including un-recoverable burnt/old wire. | 51 | Coils. | P. Coil
4 | Rewinding & Re-fitting of low tension (LT) Coil of 50 KVA transformer including un-recoverable burnt/old wire. | 51 | Coils. | P. Coil
5 | Rewinding & Re-fitting of High tension (HT) Coil of 100 KVA transformer including un-recoverable burnt/old wire. | 3 | Coils. | P. Coil
6 | Rewinding & Re-fitting of low tension (LT) Coil of 100 KVA transformer including un-recoverable burnt/old wire. | 3 | Coils. | P. Coil
7 | Rewinding & Re-fitting of High tension (HT) Coil of 200 KVA transformer including un-recoverable burnt/old wire. |  |  | P. Coil
8 | Rewinding & Re-fitting of Low tension (LT) Coil of 200 KVA transformer including un-recoverable burnt/old wire. |  |  | P. Coil
9 | Supplying & Fixing Core of 25 KVA transformer (Siemens). | 3 | Nos. | Each
10 | Supplying & Fixing Core of 25 KVA transformer (PEL). |  |  | Each
11 | Supplying & Fixing Core of 50 KVA transformer (Siemens). | 6 | Nos. | Each
12 | Supplying & Fixing Core of 50 KVA transformer (PEL). |  |  | Each
13 | Supplying & Fixing HT insulator including Rod, Nut Bolts, etc complete for 25, 50, 100 & 200 KVA Transformer. | 52 | Nos. | Each
14 | Supplying & Fixing LT insulator including Rod, Nut Bolts, etc complete for 25, 50, 100 & 200 KVA Transformer. | 52 | Nos. | Each
15 | Transformer Oil (World Petrolium). | 1360 | Litres | P. Litre
16 | Welding of Transformer with Plate Form including welding of Steel Strip 2" wide to all four sides and Nuts of Transformer Cover. | 16 | Jobs. | P. Job
(E) MATERIAL FOR M&R TO COLONY(RESIDENTIAL & OFFICE BUILDING) AND WORKSHOP.
1 | Tube light 4' long complete (Philips). | 400 | Nos. | Each
2 | Bulb 100 W (Philips). | 200 | Nos. | Each
3 | Tube Rod 4' long. | 600 | Nos. | Each
4 | Energy Saver light including Holder
| (i) 12 volt. |  |  | Each
| (ii) 16 volt. |  |  | Each
| (iii) 24 volt. | 500 | Nos. | Each
5 | Bulb holder bross two pin. |  |  | Each
6 | Mercury bulb 120 W 220 V. |  |  | Each
7 | Half point switch. |  |  | P.Dozen
8 | Rubber pipe 3/4" dia. | 200 | Nos. | P.Rft
9 | Ceiling fan 56" size. |  |  | Each
10 | Bearing for Ceiling fan. |  |  | Each
11 | Fan regulator. | 100 | Nos. | Each
12 | Tape Solution 3/4" width. | 24 | Nos. | Each
13 | Electric Bell. | 12 | Nos. | Each
14 | Tube rod chowk 40 W. | 50 | Nos. | Each
15 | Gate valve 1" dia. |  |  | Each
16 | Gate valve 3" dia. |  |  | Each
17 | G.I.Pipe 3" dia. |  |  | P.Rft
18 | G.I.Pipe 2" dia. |  |  | P.Rft
19 | G.I.Pipe 1" dia. |  |  | P.Rft
20 | G.I.Pipe 1/2" dia. |  |  | P.Rft
21 | Bib cock 1/2" dia. |  |  | Each
22 | W.C (Indian type). |  |  | Each
23 | G.I. Socket 1/2" dia. |  |  | Each
24 | G.I. Socket 1" dia. |  |  | Each
25 | G.I. Socket 1.5" dia. |  |  | Each
26 | G.I. Socket 2" dia. |  |  | Each
27 | G.I. Socket 3" dia. |  |  | Each
28 | G.I. Elbow 1/2" dia. |  |  | Each
29 | G.I. Tee 1/2" dia. |  |  | Each
30 | Starter for Tube light. | 50 | Nos. | Each
31 | Capacitor for fan. | 50 | Nos. | Each
32 | Chowk for Mercury bulb. | 12 | Nos. | Each
33 | Electrical board sheet 10"x12" size. |  |  | Each
34 | Electrical board sheet 6"x7" size. |  |  | Each
35 | G.I Pipe 3/4" dia. |  |  | P.Rft
36 | G.I Tee 3/4" dia. |  |  | Each
37 | Rewinding of Electric Ceiling Fan and replacement of bearing, capacitor etc. complete. | 18 | Jobs. | P.Job
38 | Window glasses. |  |  | P.Sft
39 | Foot Volve 3" dia. |  |  | Each
40 | G.I Union 3" dia. |  |  | Each
41 | P.V.C Pipe 1" dia. | 100 | Rft | P.Rft
42 | Fiber Glass Over Head Tank 200-250 Gallon capacity. | 12 | Nos. | Each
43 | Tri-circle lock (China) (Medium size). |  |  | Each
44 | Distemper (Ordinary) any colour. |  |  | P.Litre
45 | Enamel paint (Ordinary) any colour. |  |  | P.Litre
46 | Oil Paint (Ordinary) any colour. |  |  | P.Litre
47 | Tarpentine Oil. |  |  | P.Litre
48 | Kerosene oil. |  |  | P.Litre
49 | Scrapers. |  |  | P.Dozen
50 | Wire Bursh. |  |  | P.Dozen
51 | Cotton waste. |  |  | P.lb
52 | Painting Bursh (Universal) 2" Size. |  |  | Each
53 | Painting Bursh (Universal) 3" Size. |  |  | Each
54 | Painting Bursh (Universal) 4" Size. |  |  | Each
55 | Repair of Wooden door inculding replacement of Chowkats,Town Bolts & loading arrangement etc. |  |  | P.Job
56 | Repair of Wooden Windows inculding replacement of Chowkats,Town Bolts, glasses & loading arrangement etc. |  |  | P.Job
57 | Repairing Steel Almirah. |  |  | P.Job
58 | Repairing & Colouring Office Table. |  |  | P.Job
59 | Repairing/Colouring Cupboard wooden. |  |  | P.Job
60 | Repairing/Neting Office chair. |  |  | P.Job
61 | Neting the Office chair. |  |  | P.Job
62 | Office Chair New. |  |  | Each
63 | Office Table New (3.5 x 5.0 ft). |  |  | Each
64 | Almirah Steel 20 Guage Sheet (6.0 x 3.5ft). |  |  | Each
65 | Almirah Steel 20 Guage Sheet (3.0 x 2.5ft). |  |  | Each
66 | Torche 2 cells (Ever Ready). | 6 | Nos. | Each
67 | Torche 3 cells (Ever Ready). | 6 | Nos. | Each
68 | Spade with Handle. |  |  | Each
69 | Balcha with Handle. | 10 | Nos. | Each
70 | Axes with Handle. | 10 | Nos. | Each
71 | Pick Axes (Teakum). |  |  | Each
72 | Main Swith 60 Amp: |  |  | Each
73 | Drill Machine heavy duty. |  |  | Each
74 | Champion Set (China). |  |  | Each
75 | Hand Gloves (Electric Proof). | 2 | Pairs. | P. Pair
76 | Water Cooler Plastic 10 liters. |  |  | Each
77 | Bed Sheet Single (Cotton). |  |  | Each
78 | Bed Sheet Double (Cotton). |  |  | Each
79 | Bed Sheet Single (Silk). |  |  | Each
80 | Bed Sheet Double (Silk). |  |  | Each
81 | Blanket Single (Plush Mink). |  |  | Each
82 | Blanket Double (Plush Mink). |  |  | Each
83 | Towel Bath Size. |  |  | Each
84 | Towel Meduim Size. |  |  | Each
85 | Water Set (Glass). |  |  | P.Set
86 | Tea Set (China Clay). |  |  | P.Set
87 | Tea Cup with Saucers (China clay). |  |  | P.Set
88 | Fancy Sofa Set superior quality. |  |  | Each
89 | AVO Meter 600V, 300A. |  |  | Each
90 | Kameez & Shalwar Suit for Naib Qasid, Driver, Chowkidar etc. i/c Sewing charges(Poplin). |  |  | P.Pair
91 | Kameez & Shalwar Suit for Naib Qasid, Driver, Chowkidar etc. i/c Sewing charges(Cotton). |  |  | P.Pair
92 | Jinnah Cap Superior. |  |  | Each
93 | Jai-Namaz. |  |  | Each
94 | Phynel. |  |  | P.Tin
95 | Finis. |  |  | P.Tin
96 | Vim. |  |  | P.Tin
97 | Air Freshner. |  |  | Each
98 | Supplying Wooden Penjar 8"x10' long. |  |  | Each
99 | Manjhandri Panjors 8"x10' long. |  |  | Each
100 | Bubble Munnas 8"x10' long. |  |  | Each
101 | U-clip Panjors |  |  | Each
102 | Thoonies 10'x12' long 9" to 10" girth. |  |  | Each
103 | Lia Panjors 8"x10' long. |  |  | Each
104 | Cement 50cwt: i/c cartage. |  |  | Each
105 | White Cement 50cwt: i/c cartage. |  |  | Each
106 | Hill Sand i/c cartage. |  |  | % Cft
107 | Bajri. |  |  | % Cft
108 | Bricks 9"x4.5"x3" (First Class) i/c cartage. |  |  | %0 Nos.
109 | Bricks 9"x4.5"x3" (Second Class) i/c cartage. |  |  | %0 Nos.
110 | Lime. |  |  | P.Maund
111 | PVC wire 7/064 (Pak cables). |  |  | P.Coil
112 | PVC wire 7/044 (Pak cables). |  |  | P.Coil
(F) SUPPLYING AND FIXING MATERIAL/PARTS FOR GOVERNMENT VEHICLES.
(POTOHAR/SUZUKI JEEP)
1 | Piston set. |  |  | P.Set
2 | Ring set. |  |  | P.Set
3 | Valve guide set. |  |  | P.Set
4 | Main begin set. |  |  | P.Set
5 | Engine over hauling. |  |  | P.Job
6 | S/F Fan belt. |  |  | Each
7 | S/F Timing Bearing. |  |  | Each
8 | S/F Timing belt. |  |  | Each
9 | S/F Timing Roller. |  |  | Each
10 | S/F Engine Foundation. |  |  | Each
11 | S/F Clutch plate. |  |  | Each
12 | S/F Pressure plate. |  |  | Each
13 | S/F Thrust bearing. |  |  | Each
14 | S/F Clutch bearing. |  |  | Each
15 | S/F Shock observer (Front/Rear). |  |  | Each
16 | S/F Master cylender kit. |  |  | Each
17 | S/F Packing Kit. |  |  | Each
18 | S/F Steering Cross |  |  | Each
19 | S/F Plug. |  |  | Each
20 | Plug Wire (Distribution Wire). |  |  | P.Set
21 | S/F Clutch Wire |  |  | Each
22 | S/F C.B point. |  |  | Each
23 | S/F Condenser. |  |  | Each
24 | S/F Battery 12V, 9 Plates. |  |  | Each
25 | Labour charges for over hauling of Vehicle. |  |  | P.Job
26 | Generator opening, repair & re-fitting. |  |  | P.Job
27 | S/F Generator. |  |  | Each
28 | S/F Gas Kit full. |  |  | P.Set
29 | S/F Engine Seal Set. |  |  | P.Set
30 | Self opening, repairing & re-fitting. |  |  | P.Job
31 | Denting of back door. |  |  | P.Job
32 | Painting of back door. |  |  | P.Job
33 | Denting Bonnet. |  |  | P.Job
34 | Painting Bonnet. |  |  | P.Job
35 | Denting of Side door. |  |  | P.Job
36 | Painting of Side door. |  |  | P.Job
37 | S/F Tyre with Tube 6.00-16 (6 Ply) "General" (New). |  |  | Each
38 | S/F Tyre with Tube 6.00-16 (6 Ply) "General" (Recondition). |  |  | Each
39 | S/F Water body complete. |  |  | Each
40 | Wiring complete. |  |  | P.Job
41 | S/F Brake shoe. |  |  | Each
42 | S/F Brake Washer. |  |  | Each
43 | Cylincer repair. |  |  | P.Job
44 | Welding in portion. |  |  | P.Job
45 | Dainting in portion. |  |  | P.Job
46 | S/F Kamani Bush |  |  | Each
47 | S/F Kamani Plate |  |  | Each
48 | Kamani Repairing. |  |  | P.Job
49 | S/F Paidan Rubber. |  |  | Each
50 | S/F Lock Side Door. |  |  | Each
51 | S/F Lock back door. |  |  | Each
52 | S/F Glass back door. |  |  | Each
53 | S/F Side Glass (Mirror). |  |  | Each
54 | S/F Horn. |  |  | Each
55 | S/F Door handel. |  |  | Each
56 | S/F Head lights. |  |  | Each
57 | S/F Indicators i/c Bulb cover. |  |  | Each
58 | S/F Reverse Back light. |  |  | Each
59 | S/F Wheel Bearing Front/Rear. |  |  | Each
60 | Wheel balance & alignment. |  |  | P.Job
61 | S/F Jack for Jeep. |  |  | Each
62 | S/F Air filter. |  |  | Each
63 | S/F Fuel filter. |  |  | Each
64 | S/F Fuel Pump. |  |  | Each
65 | S/F Radiator. |  |  | Each
66 | S/F Gear foundation. |  |  | Each
67 | Seat Cover Complete. |  |  | P.Set
68 | Grinding crank shaft. |  |  | P.Job
69 | S/F Cam Shaft. |  |  | Each
PICK-UP.
1 | Ring set. |  |  | P.Set
2 | Piston set. |  |  | P.Set
3 | Main begin set. |  |  | P.Set
4 | Valve set. |  |  | P.Set
5 | Engine over hauling. |  |  | P.Job
6 | S/F Fan belt. |  |  | Each
7 | S/F Clutch plate. |  |  | Each
8 | S/F Pressure plate. |  |  | Each
9 | S/F Thrust bearing. |  |  | Each
10 | S/F Engine Foundation. |  |  | Each
11 | S/F Shock observer (Front). |  |  | Each
12 | S/F Shock observer (Rear). |  |  | Each
13 | S/F Heater Plug. |  |  | Each
14 | Labour charges for over hauling of Vehicle. |  |  | P.Job
15 | S/F Tyre with Tube 3.50-14LT "10 Ply Ratting" (New). |  |  | Each
16 | S/F Tyre with Tube 3.50-14LT "10 Ply Ratting" (Recondition). |  |  | Each
17 | Wiring complete. |  |  | P.Job
18 | Cylincer repair. |  |  | P.Job
19 | Generator opening, repair & re-fitting. |  |  | P.Job
20 | Welding in portion. |  |  | P.Job
21 | Dainting in portion. |  |  | P.Job
22 | S/F Head lights. |  |  | Each
23 | S/F Indicators i/c Bulb cover. |  |  | Each
24 | Volve guide set. |  |  | P.Set
25 | S/F Clutch bearing. |  |  | Each
26 | S/F Engine tube. |  |  | Each
27 | S/F Auto Mizer Nozle. |  |  | Each
28 | S/F Cam bush. |  |  | Each
29 | Repair of idler arm bush. |  |  | P.Job
30 | Repair & reconcitioning lower arm bush with pin. |  |  | P.Job
31 | Repair of Diesel pump i/c replacement of parts etc. complete. |  |  | P.Job
32 | Repair of Break (Front & Rear) i/c replacement of break lather sets. |  |  | P.Job
33 | Self opening, repairing & re-fitting. |  |  | P.Job
34 | S/F Reverse Back light. |  |  | Each
35 | S/F Parking light. |  |  | Each
36 | Wheel balance & alignment. |  |  | P.Job
37 | Supply Jack for Pick-up. |  |  | Each
38 | S/F Air filter. |  |  | Each
39 | S/F Fuel filter. |  |  | Each
40 | S/F Gear foundation. |  |  | Each
41 | Seat Cushion. |  |  | P.Job
42 | Seat Cover. |  |  | P.Set
43 | S/F Cam Shaft. |  |  | Each
44 | S/F Staring Cross. |  |  | Each
45 | S/F Staring Box. |  |  | Each
46 | S/F Gas Kit Complete. |  |  | Each
47 | S/F Engine Seal Set. |  |  | P.Set
48 | S/F Horn Double. |  |  | Each
49 | S/F Viper Set. |  |  | Each
50 | S/F Battery 12V, 24 Plates (Exide). |  |  | Each
51 | S/F Brake shoe. |  |  | Each
52 | S/F Side Glass (Mirror). |  |  | Each
53 | Kamani Patta Repairing. |  |  | P.Job
54 | S/F Crank shaft. |  |  | Each
55 | Grinding crank shaft. |  |  | P.Job
56 | Engaging Excavator Machine (WheelType)onhirebasisforDe-Silting/De-WeedingofMainDrain,BranchDrain,Sub-Drain&DisposalChannelsofTube wells, including P.O.L etc. |  |  | P.Hour
57 | Engaging Excavator Machine (Chain Type Small Boom) on hire basis for De-Silting/De-WeedingofMainDrain,BranchDrain,Sub-Drain&DisposalChannels of Tube wells, including P.O.L etc. |  |  | P.Hour
58 | EngagingExcavatorMachine(ChainTypeLongBoom)onhirebasisforDe-Silting/De-WeedingofMainDrain,BranchDrain,Sub-Drain&DisposalChannels of Tube wells, including P.O.L etc. |  |  | P.Hour
59 | Engaging Suzuki Pick-up with Driver i/c POL. |  |  | P.Day
60 | Engaging Suzuki Pick-up with Driver without POL. |  |  | P.Day
61 | Engaging Toyota Pick-up with Driver i/c P.O.L |  |  | P.Day
62 | Engaging Toyota Pick-up with Driver without P.O.L |  |  | P.Day
63 | Engaging Tractor with Front Blade i/c Fuel & Driver. |  |  | P.Hour
64 | Engaging Tractor with Rear Blade i/c Fuel & Driver. |  |  | P.Hour
65 | Engaging Tractor with Trolly i/c Fuel & Driver. |  |  | P.Day
66 | Engaging Water Tanker i/c Tractor with POL & Driver. |  |  | P.Hour
67 | Engaging Generator i/c POL & all accessories. |  |  | P.Day
68 | Engaging (Skilled) labour. |  |  | Each
69 | Engaging (Un-skilled) labour. |  |  | Each
CONVERSION OF GOVERNMENT VEHICLES IN CNG.
1 | Supplying and Fixing CNG Cylinder 50 cum (Landy Ranzo Genuine). |  |  | Each
2 | Supplying and Fixing CNG Kit 50 cum (Landy Ranzo Genuine). |  |  | Each
3 | Supplying and Fixing CNG Switch 50 cum (Landy Ranzo Genuine). |  |  | Each
4 | Supplying and Fixing CNG Filling Valve 50 cum (Landy Ranzo Genuine). |  |  | Each
5 | Supplying and Fixing Petrol Breaker. |  |  | Each
6 | Supplying and Fixing CNG Cylinder 50 cum Bracket. |  |  | Each
(G) PRINTING OF STATIONERY, BINDING OFFICE RECORD AND REPAIR OF MACHINERY & EQUIPMENT.
1 | Photo copies on powder machine & Book Binding complete.
| (a) 0-25 Pages. |  |  | P.Job
| (b) 1-50 pages. |  |  | P.Job
| (c) 1-100 pages. |  |  | P.Job
| (d) 1-200 pages. |  |  | P.Job
2 | Photo copy on powder machine. |  |  | P.Page
3 | Photo copy on ordinary machine. |  |  | P.Page
4 | Log book 100 pages i/c printing binding etc. |  |  | P.Book
5 | Typing paper single sheet. |  |  | P.Ream
6 | Typing paper double sheet. |  |  | P.Ream
7 | Carbon paper single sheet. |  |  | P.Pocket
8 | White paper (Single Sheet) A-4 (Size). |  |  | P.Ream
9 | White paper (Single Sheet) (Legal Size). |  |  | P.Ream
10 | File cover katcha. |  |  | P.Dozen
11 | File cover pacca. |  |  | P.Dozen
12 | Register 400 pages. |  |  | Each
13 | Register 200 pages. |  |  | Each
14 | Register 100 Pages. |  |  | Each
15 | Binding of Main Cash Book. |  |  | Each
16 | Binding of Main Subsidiary Cash Book. |  |  | Each
17 | Binding of Outward/Inward Register. |  |  | Each
18 | Glass for Water for Office Use. |  |  | Each
19 | Paper pin. |  |  | P.Pocket
20 | Stapler pin. |  |  | P.Pocket
21 | Punch Machine. |  |  | Each
22 | Stapler Machine. |  |  | Each
23 | Envelops (Small size). |  |  | % Nos.
24 | Envelops (Medium size). |  |  | % Nos.
25 | Envelops (Large size). |  |  | % Nos.
26 | Ball Point Pen. |  |  | P.Pocket
27 | Tracing Paper. |  |  | P.Roll
28 | Tracing Cloth. |  |  | P.Roll
29 | Coloured Pencil. |  |  | P.Pocket
30 | Marker Pen. |  |  | Each
31 | Graph Paper. |  |  | P.Sheet
32 | Drawing Paper. |  |  | P.Sheet
33 | Rubber for Pencil. |  |  | Each
34 | Pencil. |  |  | P.Dozen
35 | Calculator (12 Digit) CASIO. |  |  | Each
36 | Red cloth. |  |  | P.Meter
37 | Cloth for flag (different colour). |  |  | P.Meter
38 | Supplying & fixing Certain complete for Doors 3.5' x 6.5'. |  |  | Each
39 | Supplying & fixing Certain complete for Windods 7' x 6.5'. |  |  | Each
40 | Room Heater. |  |  | Each
41 | Rod for Heater. |  |  | Each
42 | Stabilizer for AC (10000 watts). |  |  | Each
43 | Repair of Type writer Machine.
| (a) Genral Over Hauling. |  |  | P.Job
| (b) Tabulator Setting. |  |  | P.Job
| (c) Space-Bar. |  |  | Each
| (d) Main Grari. |  |  | Each
| (e) Penion Wheel Grari. |  |  | Each
| (f) Ribbon Carrier. |  |  | Each
| (g) Back Space. |  |  | Each
| (h) Letter Setting (P.Letter). |  |  | P.Job
| (i) Roller. |  |  | Each
| (j) Handle. |  |  | Each
| (k) Ribbon. |  |  | Each
(H) COMPUTER WITH ALL ACCESSORIES.
1 | Intel Mother Board BLKDH87MC for 4th Gen. CPU, processor Intell Corei5 Processor (6M Cache upto 3.3 GHz), Hard Disk 512 G.B, Combo Drive & DDR3 4GB. |  |  | Each
2 | LED 20" (Acer) |  |  | Each
3 | LCD 19" (View Sonic) |  |  | Each
4 | H.P LaserJet Printer 1102. |  |  | Each
5 | Stabilizer (3000W) 4 Relay. |  |  | Each
(I) COMPUTER.
1 | Toner for Printer (Laser). |  |  | Each
2 | Refilling of Toner of Printer. |  |  | P. Job
3 | Window Installation in Computer. |  |  | P.Job
4 | Service of Computer. |  |  | P. Job
5 | Computer Table with Chair. |  |  | Each
6 | Mouse with Pad (Laser). |  |  | Each
7 | Wireless Mouse with Pad. |  |  | Each
8 | Keyboard USB Port. |  |  | Each
9 | Wireless Keyboard. |  |  | Each
10 | Power/Data Cables for LED/LCD/Monitor. |  |  | Each
11 | Cables for Printer. |  |  | Each
12 | Intel Mother Board for 4th Generation |  |  | Each
13 | Intel Processor Core i5, 3.3 Ghz. |  |  | Each
14 | DDR2 or 3, 2GB (Kingston). |  |  | Each
15 | Casing ATX Handi RV. |  |  | Each
16 | External Hard Drive (Portable backup Hard Drive) (1TB, 5400 RPM) (Dell) |  |  | Each
17 | Hard Disk (250 GB "Seagate"). |  |  | Each
18 | CD-Writer (Combo Box). |  |  | Each
19 | CD-R (Blank). |  |  | Each
20 | USB Device (4 GB). |  |  | Each
21 | USB Device (8 GB). |  |  | Each
22 | USB Device (16 GB). |  |  | Each
23 | Engaging Computer Operator. |  |  | P.Day
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
TUBEWELLS DIVISION
NAUSHAHROFEROZE

## Sheet1 (2)
Schedule of Prices Rate Running Contractor upto 30th June 2016
NAME OF WORK: LIST OF MATERIAL FOR O&M/ M&R OF TUBEWELLS, PUMPING STATIONS, COLONY, REPAIR OF GOVERNMENT VEHICLES & COMPUTER PARTS AND REPAIR.
Sr. | Item/Description | Quantity |  | Unit | Rate | Amount
No.
1 | 2 | 3 |  | 4 | 5 | 6
(A) MATERIAL FOR PUMP PARTS OF TUBEWELLS/PUMPING STATIONS.
1 | Top Shaft 25 mm x 1370 mm (Stainless Steel). | 20 | Nos. | Each
2 | Top shaft 30 mm dia x 1490 mm (Stainless Steel). | 30 | Nos. | Each
3 | Top shaft 30 mm dia x 1530 mm (Stainless Steel). | 10 | Nos. | Each
4 | Threaded column Shaft with protective sleeve 25mm dia x 3050mm (Stainless Steel). | 52 | Nos. | Each
5 | Threaded column shaft with protective sleeve 30mm dia x 3050mm (Stainless Steel). | 100 | Nos. | Each
6 | Threaded coupling 25mm dia (Stainless Steel) | 145 | Nos. | Each
7 | Threaded coupling 25mm dia (Carbon Steel) | 200 | Nos. | Each
8 | Threaded coupling 30mm dia (Stainless Steel) | 90 | Nos. | Each
9 | Stuffing box housing 25mm dia complete (L.S). | 25 | Nos. | Each
10 | Stuffing box housing 30mm dia complete (L.S). | 56 | Nos. | Each
11 | Rubber Bearing bush 32.2 dia for column shaft 25 mm (L.S). | 160 | Nos. | Each
12 | Rubber Bearing bush 38.2 mm dia for column shaft 30 mm (L.S) | 440 | Nos. | Each
13 | Rubber Bearing Bush 45.2 mm dia for Bowl Assembly (L.S) | 20 | Nos. | Each
14 | Column pipe C.I socket 7” dia | 31 | Nos. | Each
15 | Column pipe C.I socket 8” dia | 76 | Nos. | Each
16 | Column pipe C.I socket 10” dia | 90 | Nos. | Each
17 | Column pipe 7” dia, 10’-0 long ¼ thick, both end threaded. | 14 | Nos. | Each
18 | Column pipe 8” dia, 10’-0 long ¼ thick, both end threaded. | 35 | Nos. | Each
19 | Column pipe 10” dia, 10’-0 long ¼ thick, both end threaded. | 40 | Nos. | Each
20 | Pump shaft 45 mm dia x 855 mm long (S.S) | 10 | Nos. | Each
21 | Pump shaft 45 mm dia x 955 mm long (S.S) | 10 | Nos. | Each
22 | Pump shaft 45 mm dia x 1155 mm long (S.S) | 10 | Nos. | Each
23 | Bronze Impeller with clamping sleeve for 2.0 Cusec discharge. | 10 | Nos. | Each
24 | Bronze Impeller with clamping sleeve for 3.0 Cusec discharge. | 40 | Nos. | Each
25 | Bronze Impeller with clamping sleeve for 4.0 Cusec discharge. | 25 | Nos. | Each
26 | Bronze Impeller with clamping sleeve for 5.0 Cusec discharge. | 25 | Nos. | Each
27 | Sand guard for pump shaft 45 mm dia (Bronze) | 20 | Nos. | Each
28 | M.S Top Nut 25 mm dia with key | 50 | Nos. | Each
29 | M.S Top Nut 30 mm dia with key | 110 | Nos. | Each
30 | Discharge piece of bowl assembly type B10D for 3.0 Cusec discharge | 10 | Nos. | Each
31 | Intermediate piece of bowl assembly pump type B10D for 3.0 cusec discharge. | 15 | Nos. | Each
32 | Suction piece of bowl assembly pump type B10D for 3.0 Cusec discharge. | 10 | Nos. | Each
33 | Discharge piece of bowl assembly type B12B for 4.0 Cusec discharge. | 12 | Nos. | Each
34 | Intermediate piece of bowl assembly pump type B12B for 4.0 cusec discharge. | 20 | Nos. | Each
35 | Suction piece of bowl assembly pump type B12B for 4.0 Cusec discharge. | 12 | Nos. | Each
36 | Discharge piece of bowl assembly pump type B12D for 5 Cusec discharge. | 9 | Nos. | Each
37 | Intermediate piece of bowl assembly pump type B12D for 5 cusec discharge. | 9 | Nos. | Each
38 | Suction piece of bowl assembly pump type B12D for 5 Cusec discharge. | 9 | Nos. | Each
39 | Gland Cover (cast iron) for stuffing box 25 mm dia. | 20 | Nos. | Each
40 | Gland Cover (cast iron) for stuffing box 30 mm dia. | 20 | Nos. | Each
41 | M.S delivery pipe 7” dia 1/8” thick 10'-0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 8 | Nos. | Each
42 | M.S delivery pipe 8” dia 1/8" thick 10’.0” long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 13 | Nos. | Each
43 | M.S delivery pipe 10” dia 1/8” thick 10’.0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 10 | Nos. | Each
44 | M.S delivery pipe 12” dia 1/8” thick 10’.0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete. | 31 | Nos. | Each
45 | Repairing of column pipe of 7” dia, providing pipe piece of 6” to both ends i/c cutting, facing, welding and threading. | 10 | Jobs. | P. Job
46 | Repairing of column pipe of 8” dia, providing pipe piece of 6” to both ends i/c cutting, facing, welding and threading. | 70 | Jobs. | P. Job
47 | Repairing of column pipe 10” dia, providing pipe piece of 6” to both ends i/c cutting, facing, welding and threading. | 76 | Jobs. | P. Job
48 | Repairing of bowl assembly 2.0 cusec single stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 18 | Jobs. | P. Job
49 | Repairing of bowl assembly 3.0 cusec single stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 10 | Jobs. | P. Job
50 | Repairing of bowl assembly 3.0 cusec 2 stage, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 38 | Jobs. | P. Job
51 | Repairing of bowl assembly 4.0 cusec, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 26 | Jobs. | P. Job
52 | Repairing of bowl assembly 5.0 cusec, providing bearing sleave & inserted Sleave / sand guard /Rubber Bearing Bush (L.S). | 25 | Jobs. | P. Job
53 | Repairing of stuffing box i/c replacement of cum seal cage 30mm dia (gunmetal) also providing grease cup arrangement etc. complete (L.S). | 30 | Jobs. | P. Job
54 | Repairing of discharge head all sizes i/c re-threading & providing sleeve etc. complete. | 20 | Jobs. | P. Job
55 | Dismantling / Re-fitting of pump parts & lowering into bore including scraping brushing of pipes & cleaning of bowl assembly parts, etc complete. | 10 | Jobs. | P.Job
56 | G.I Corrugated sheet size 3' x 12’, 25 gauge. | 80 | Nos. | Each
57 | Steel Graded door 3.5 x 6 ft, 1/16' thick sheeting i/c angle iron 2"x 2"x 3/8 inch frame with locking arrangement. | 20 | Nos. | Each
58 | Gravel from cambulpur quarry (Attock) | 1000 | Cft. | P.Cft
(B) PANNEL PARTS OF TUBEWELLS/PUMPING STATIONS.
1 | Magnetic Contactor DMC-50 (440 Volts) (Donga Korea). | 22 | Nos. | Each
2 | Magnetic Contactor DMC-65 (440 Volts) (Donga Korea). | 10 | Nos. | Each
3 | Magnetic Contactor DMC-85 (440 Volts) (Donga Korea). | 60 | Nos. | Each
4 | Magnetic Contactor GMC-50 (440 Volts) (LG Korea). | 5 | Nos. | Each
5 | Magnetic Contactor GMC-65 (440 Volts) (LG Korea). | 20 | Nos. | Each
6 | Magnetic Contactor GMC-85 (440 Volts) (LG Korea). | 20 | Nos. | Each
7 | Circuit Breaker DB63 SB (50A) (440 Volts) (Donga Korea). | 17 | Nos. | Each
8 | Circuit Breaker DB63 SB (60A) (440 Volts) (Donga Korea). | 10 | Nos. | Each
9 | Circuit Breaker DB63 SB (100A) (440 Volts) (Donga Korea). | 36 | Nos. | Each
10 | Circuit Breaker ABE53B (50A) (440 Volts) (LG Korea). | 5 | Nos. | Each
11 | Circuit Breaker ABS63B (60A) (440 Volts) (LG Korea). | 10 | Nos. | Each
12 | Circuit Breaker ABE103B (100A) (440 Volts) (LG Korea). | 44 | Nos. | Each
13 | Thermal Over Load Relay GTK-40H (18-26 A) (440 Volts) (LG Korea). | 22 | Nos. | Each
14 | Thermal Over Load Relay GTK-40H (24-36 A) (440 Volts) (LG Korea). | 17 | Nos. | Each
15 | Thermal Over Load Relay GTK-85H (34-50 A) (440 Volts) (LG Korea). | 24 | Nos. | Each
16 | Thermal Over Load Relay GTK-85H (45-65 A) (440 Volts) (LG Korea). | 42 | Nos. | Each
17 | On/Off Push Button (Twin Set). | 60 | Nos. | Each
(C) REWINDING OF ELECTRIC MOTOR/MOTOR PARTS OF TUBEWELLS/PUMPING STATIONS.
1 | Rewinding of Electric Motor 15HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 10 | Jobs. | P. Job
2 | Rewinding of Electric Motor 20HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 5 | Jobs. | P. Job
3 | Rewinding of Electric Motor 25HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 21 | Jobs. | P. Job
4 | Rewinding of Electric Motor 30HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 11 | Jobs. | P. Job
5 | Rewinding of Electric Motor 35HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 10 | Jobs. | P. Job
6 | Rewinding of Electric Motor 40HP with Modern Enameled Copper Wire (Burnt/Old Copper Wire not recoverable). | 10 | Jobs. | P. Job
7 | Repairing of upper housing of Electric motor 15 HP including turning, facing, manufacturing sleeve & fitting. | 10 | Jobs. | P. Job
8 | Repairing of upper housing of Electric motor 20 HP including turning, facing, manufacturing sleeve & fitting. | 5 | Jobs. | P. Job
9 | Repairing of upper housing of Electric motor 25 HP including turning, facing, manufacturing sleeve & fitting. | 25 | Jobs. | P. Job
10 | Repairing of upper housing of Electric motor 30 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
11 | Repairing of upper housing of Electric motor 35 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
12 | Repairing of upper housing of Electric motor 40 HP including turning, facing, manufacturing sleeve & fitting. | 20 | Jobs. | P. Job
13 | Repairing of lower housing of Electric motor 15 HP including turning, facing, manufacturing sleeve & fitting. | 10 | Jobs. | P. Job
14 | Repairing of lower housing of Electric motor 20 HP including turning, facing, manufacturing sleeve & fitting. | 5 | Jobs. | P. Job
15 | Repairing of lower housing of Electric motor 25 HP including turning, facing, manufacturing sleeve & fitting. | 25 | Jobs. | P. Job
16 | Repairing of lower housing of Electric motor 30 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
17 | Repairing of lower housing of Electric motor 35 HP including turning, facing, manufacturing sleeve & fitting. | 15 | Jobs. | P. Job
18 | Repairing of lower housing of Electric motor 40 HP including turning, facing, manufacturing sleeve & fitting. | 20 | Jobs. | P. Job
19 | Cost Iron Cowl for 25 HP Electric Motor. | 18 | Nos. | Each
20 | Cost Iron Cowl for 30 HP Electric Motor. | 18 | Nos. | Each
21 | Cost Iron Cowl for 35 HP Electric Motor. | 20 | Nos. | Each
22 | Cost Iron Cowl for 40 HP Electric Motor. | 20 | Nos. | Each
23 | Connection Box with Terminals for 25 HP Electric Motor. | 15 | Nos. | Each
24 | Connection Box with Terminals for 30, 35 & 40HP Electric Motor. | 30 | Nos. | Each
25 | Electric motor coupling for 15,20,25 HP motor. | 30 | Nos. | Each
26 | Electric motor coupling for 30,35,& 40 HP motor. | 30 | Nos. | Each
27 | Ball Bearing 6319 (Upper) NTN Japan for 35 & 40 HP Electric Motor. | 53 | Nos. | Each
28 | Ball Bearing 6312 (Lower) NTN Japan for 35 & 40 HP Electric Motor. | 53 | Nos. | Each
29 | Ball Bearing 6317 (Upper) NTN Japan for 25 & 30 HP Electric Motor | 50 | Nos. | Each
30 | Ball Bearing 6310 (Lower) NTN Japan for 25 & 30 HP Electric Motor. | 50 | Nos. | Each
31 | Ball Bearing 6313 (Upper) NTN Japan for 15 & 20 HP Electric Motor. | 20 | Nos. | Each
32 | Ball Bearing 6309 (Lower) NTN Japan for 15 & 20 HP Electric Motor. | 20 | Nos. | Each
33 | Enameled Copper Wire SWG-18 & 19 (Modern). | 500 | Kgm | P. Kgm
34 | Enameled Copper Wire SWG-20 & 21 (Modern). | 500 | Kgm | P. Kgm
35 | Insulation winding paper No: 10. | 50 | Kgm | P. Kgm
36 | Insulation plastic tap Neto Japan. | 300 | Nos. | Each
37 | Empire sleave 3 MM dia | 500 | Nos. | Each
38 | Empire sleave 6 MM dia | 100 | Nos. | Each
39 | Empire sleave 8 MM dia | 200 | Nos. | Each
40 | Empire sleave 12 MM dia | 200 | Nos. | Each
41 | Cotton tap 1” | 300 | Nos. | Each
42 | Varnish Hitachi | 10 | Gallon | P. Gallon
43 | Thiner | 20 | Litre | P. Litre
44 | Kerosene oil | 40 | Litre | P. Litre
45 | Soldering wire 250 gm. | 2 | Nos. | Each
46 | Becolite Sheet | 5 | Kgm | P. Kgm
47 | Bamboo | 200 | Feet | P. Ft:
48 | Emery paper No: 1.5 | 10 | Dozen | P. Dozen
49 | Hexa Blade 1” wide, 12” long | 10 | Nos. | Each
50 | PVC Copper Wire 7/044 Single Core (Million). | 5 | Coils. | P. Coil
51 | PVC Copper Wire 7/052 Single Core (Million). | 5 | Coils. | P. Coil
52 | PVC Copper Wire 7/064 Single Core (Million). | 21 | Coils. | P. Coil
53 | Four Core Copper Wire 7/064 (Million). | 200 | Meters | P. Meter
(D) REPAIR OF TRANSFORMERS 25, 50, 100 & 200KVA.
1 | Rewinding & Re-fitting of high tension (HT) Coil of 25 KVA transformer including un-recoverable burnt/old wire. | 15 | Coils. | P. Coil
2 | Rewinding & Re-fitting of low tension (LT) Coil of 25 KVA transformer including un-recoverable burnt/old wire. | 15 | Coils. | P. Coil
3 | Rewinding & Re-fitting of High tension (HT) Coil of 50 KVA transformer including un-recoverable burnt/old wire. | 51 | Coils. | P. Coil
4 | Rewinding & Re-fitting of low tension (LT) Coil of 50 KVA transformer including un-recoverable burnt/old wire. | 51 | Coils. | P. Coil
5 | Rewinding & Re-fitting of High tension (HT) Coil of 100 KVA transformer including un-recoverable burnt/old wire. | 3 | Coils. | P. Coil
6 | Rewinding & Re-fitting of low tension (LT) Coil of 100 KVA transformer including un-recoverable burnt/old wire. | 3 | Coils. | P. Coil
7 | Supplying & Fixing Core of 25 KVA transformer (Siemens). | 3 | Nos. | Each
8 | Supplying & Fixing Core of 50 KVA transformer (Siemens). | 6 | Nos. | Each
9 | Supplying & Fixing HT insulator including Rod, Nut Bolts, etc complete for 25, 50, 100 & 200 KVA Transformer. | 52 | Nos. | Each
10 | Supplying & Fixing LT insulator including Rod, Nut Bolts, etc complete for 25, 50, 100 & 200 KVA Transformer. | 52 | Nos. | Each
11 | Transformer Oil (World Petrolium). | 1360 | Litres | P. Litre
12 | Welding of Transformer with Plate Form including welding of Steel Strip 2" wide to all four sides and Nuts of Transformer Cover. | 16 | Jobs. | P. Job
(E) MATERIAL FOR M&R TO COLONY(RESIDENTIAL & OFFICE BUILDING) AND WORKSHOP.
1 | Tube light 4' long complete (Philips). | 400 | Nos. | Each
2 | Bulb 100 W (Philips). | 200 | Nos. | Each
3 | Tube Rod 4' long. | 600 | Nos. | Each
4 | Energy Saver light including Holder
| (i) 24 volt. | 500 | Nos. | Each
5 | Rubber pipe 3/4" dia. | 200 | Nos. | P.Rft
6 | Fan regulator. | 100 | Nos. | Each
7 | Tape Solution 3/4" width. | 24 | Nos. | Each
8 | Electric Bell. | 12 | Nos. | Each
9 | Tube rod chowk 40 W. | 50 | Nos. | Each
10 | Starter for Tube light. | 50 | Nos. | Each
11 | Capacitor for fan. | 50 | Nos. | Each
12 | Chowk for Mercury bulb. | 12 | Nos. | Each
13 | Rewinding of Electric Ceiling Fan and replacement of bearing, capacitor etc. complete. | 18 | Jobs. | P.Job
14 | P.V.C Pipe 1" dia. | 100 | Rft | P.Rft
15 | Fiber Glass Over Head Tank 200-250 Gallon capacity. | 12 | Nos. | Each
16 | Torche 2 cells (Ever Ready). | 6 | Nos. | Each
17 | Torche 3 cells (Ever Ready). | 6 | Nos. | Each
18 | Balcha with Handle. | 10 | Nos. | Each
19 | Axes with Handle. | 10 | Nos. | Each
20 | Hand Gloves (Electric Proof). | 2 | Pairs. | P. Pair
21 | Water Cooler Plastic 10 liters. | 10 | Nos. | Each
22 | Towel Bath Size. | 3 | Nos. | Each
23 | Towel Meduim Size. | 3 | Nos. | Each
24 | Water Set (Glass). | 3 | Sets. | P.Set
25 | Tea Set (China Clay). | 5 | Sets. | P.Set
26 | Tea Cup with Saucers (China clay). | 6 | Sets. | P.Set
27 | Kameez & Shalwar Suit for Naib Qasid, Driver, Chowkidar etc. i/c Sewing charges(Poplin). | 30 | Pairs. | P.Pair
28 | Kameez & Shalwar Suit for Naib Qasid, Driver, Chowkidar etc. i/c Sewing charges(Cotton). | 5 | Pairs. | P.Pair
29 | Jinnah Cap Superior. | 2 | Nos. | Each
30 | Jai-Namaz. | 2 | Nos. | Each
31 | Phynel. | 4 | Tins. | P.Tin
32 | Finis. | 5 | Tins. | P.Tin
33 | Vim. | 6 | Tins. | P.Tin
34 | Air Freshner. | 4 | Nos. | Each
35 | Supplying Wooden Penjar 8"x10' long. | 100 | Nos. | Each
36 | Manjhandri Panjors 8"x10' long. | 90 | Nos. | Each
37 | Bubble Munnas 8"x10' long. | 80 | Nos. | Each
38 | U-clip Panjors | 100 | Nos. | Each
39 | Thoonies 10'x12' long 9" to 10" girth. | 20 | Nos. | Each
40 | Lia Panjors 8"x10' long. | 100 | Nos. | Each
41 | Cement 50cwt: i/c cartage. | 50 | Nos. | Each
42 | White Cement 50cwt: i/c cartage. | 10 | Nos. | Each
43 | Hill Sand i/c cartage. | 800 | Cft. | % Cft
44 | Bajri. | 700 | Cft. | % Cft
45 | Bricks 9"x4.5"x3" (First Class) i/c cartage. | 9000 | Nos. | %0 Nos.
46 | Bricks 9"x4.5"x3" (Second Class) i/c cartage. | 6000 | Nos. | %0 Nos.
47 | Lime. | 20 | Maunds | P.Maund
48 | PVC wire 7/064 (Pak cables). | 4 | Coils. | P.Coil
49 | PVC wire 7/044 (Pak cables). | 4 | Coils. | P.Coil
(F) SUPPLYING AND FIXING MATERIAL/PARTS FOR GOVERNMENT VEHICLES.
(POTOHAR/SUZUKI JEEP)
1 | Piston set. | 3 | Sets. | P.Set
2 | Ring set. | 3 | Sets. | P.Set
3 | Valve guide set. | 3 | Sets. | P.Set
4 | Main begin set. | 3 | Sets. | P.Set
5 | Engine over hauling. | 3 | Jobs. | P.Job
6 | S/F Fan belt. | 3 | Nos. | Each
7 | S/F Timing Bearing. | 3 | Nos. | Each
8 | S/F Timing belt. | 3 | Nos. | Each
9 | S/F Timing Roller. | 3 | Nos. | Each
10 | S/F Engine Foundation. | 3 | Nos. | Each
11 | S/F Clutch plate. | 3 | Nos. | Each
12 | S/F Pressure plate. | 3 | Nos. | Each
13 | S/F Thrust bearing. | 3 | Nos. | Each
14 | S/F Clutch bearing. | 3 | Nos. | Each
15 | S/F Shock observer (Front/Rear). | 12 | Nos. | Each
16 | S/F Master cylender kit. | 3 | Nos. | Each
17 | S/F Packing Kit. | 3 | Nos. | Each
18 | S/F Steering Cross | 3 | Nos. | Each
19 | S/F Plug. | 9 | Nos. | Each
20 | Plug Wire (Distribution Wire). | 3 | Sets. | P.Set
21 | S/F Clutch Wire | 3 | Nos. | Each
22 | S/F C.B point. | 3 | Nos. | Each
23 | S/F Condenser. | 3 | Nos. | Each
24 | S/F Battery 12V, 9 Plates. | 3 | Nos. | Each
25 | Labour charges for over hauling of Vehicle. | 3 | Jobs. | P.Job
26 | Generator opening, repair & re-fitting. | 3 | Jobs. | P.Job
27 | S/F Generator. | 3 | Nos. | Each
28 | S/F Gas Kit full. | 3 | Sets. | P.Set
29 | S/F Engine Seal Set. | 3 | Sets. | P.Set
30 | Self opening, repairing & re-fitting. | 3 | Jobs. | P.Job
31 | Denting of back door. | 3 | Jobs. | P.Job
32 | Painting of back door. | 3 | Jobs. | P.Job
33 | Denting Bonnet. | 3 | Jobs. | P.Job
34 | Painting Bonnet. | 3 | Jobs. | P.Job
35 | Denting of Side door. | 3 | Jobs. | P.Job
36 | Painting of Side door. | 3 | Jobs. | P.Job
37 | S/F Tyre with Tube 6.00-16 (6 Ply) "General" (New). | 12 | Nos. | Each
38 | S/F Tyre with Tube 6.00-16 (6 Ply) "General" (Recondition). | 12 | Nos. | Each
39 | S/F Water body complete. | 3 | Nos. | Each
40 | Wiring complete. | 3 | Jobs. | P.Job
41 | S/F Brake shoe. | 6 | Nos. | Each
42 | S/F Brake Washer. | 6 | Nos. | Each
43 | Cylincer repair. | 3 | Jobs. | P.Job
44 | Welding in portion. | 3 | Jobs. | P.Job
45 | Dainting in portion. | 3 | Jobs. | P.Job
46 | S/F Kamani Bush | 3 | Nos. | Each
47 | S/F Kamani Plate | 3 | Nos. | Each
48 | Kamani Repairing. | 3 | Jobs. | P.Job
49 | S/F Paidan Rubber. | 3 | Nos. | Each
50 | S/F Lock Side Door. | 3 | Nos. | Each
51 | S/F Lock back door. | 3 | Nos. | Each
52 | S/F Glass back door. | 3 | Nos. | Each
53 | S/F Side Glass (Mirror). | 6 | Nos. | Each
54 | S/F Horn. | 3 | Nos. | Each
55 | S/F Door handel. | 9 | Nos. | Each
56 | S/F Head lights. | 6 | Nos. | Each
57 | S/F Indicators i/c Bulb cover. | 12 | Nos. | Each
58 | S/F Reverse Back light. | 3 | Nos. | Each
59 | S/F Wheel Bearing Front/Rear. | 12 | Nos. | Each
60 | Wheel balance & alignment. | 3 | Jobs. | P.Job
61 | S/F Jack for Jeep. | 3 | Nos. | Each
62 | S/F Air filter. | 3 | Nos. | Each
63 | S/F Fuel filter. | 3 | Nos. | Each
64 | S/F Fuel Pump. | 3 | Nos. | Each
65 | S/F Radiator. | 3 | Nos. | Each
66 | S/F Gear foundation. | 3 | Nos. | Each
67 | Seat Cover Complete. | 3 | Sets. | P.Set
68 | Grinding crank shaft. | 3 | Jobs. | P.Job
69 | S/F Cam Shaft. | 3 | Nos. | Each
PICK-UP.
1 | Ring set. | 1 | Set. | P.Set
2 | Piston set. | 1 | Set. | P.Set
3 | Main begin set. | 1 | Set. | P.Set
4 | Valve set. | 1 | Set. | P.Set
5 | Engine over hauling. | 1 | Job. | P.Job
6 | S/F Fan belt. | 1 | No. | Each
7 | S/F Clutch plate. | 1 | No. | Each
8 | S/F Pressure plate. | 1 | No. | Each
9 | S/F Thrust bearing. | 1 | No. | Each
10 | S/F Engine Foundation. | 1 | No. | Each
11 | S/F Shock observer (Front). | 2 | Nos. | Each
12 | S/F Shock observer (Rear). | 2 | Nos. | Each
13 | S/F Heater Plug. | 1 | No. | Each
14 | Labour charges for over hauling of Vehicle. | 1 | Job. | P.Job
15 | S/F Tyre with Tube 3.50-14LT "10 Ply Ratting" (New). | 4 | Nos. | Each
16 | S/F Tyre with Tube 3.50-14LT "10 Ply Ratting" (Recondition). | 4 | Nos. | Each
17 | Wiring complete. | 1 | Job. | P.Job
18 | Cylincer repair. | 1 | Job. | P.Job
19 | Generator opening, repair & re-fitting. | 1 | Job. | P.Job
20 | Welding in portion. | 1 | Job. | P.Job
21 | Dainting in portion. | 1 | Job. | P.Job
22 | S/F Head lights. | 2 | Nos. | Each
23 | S/F Indicators i/c Bulb cover. | 4 | Nos. | Each
24 | Volve guide set. | 1 | Set. | P.Set
25 | S/F Clutch bearing. | 1 | No. | Each
26 | S/F Engine tube. | 1 | No. | Each
27 | S/F Auto Mizer Nozle. | 4 | Nos. | Each
28 | S/F Cam bush. | 1 | No. | Each
29 | Repair of idler arm bush. | 1 | Job. | P.Job
30 | Repair & reconcitioning lower arm bush with pin. | 1 | Job. | P.Job
31 | Repair of Diesel pump i/c replacement of parts etc. complete. | 1 | Job. | P.Job
32 | Repair of Break (Front & Rear) i/c replacement of break lather sets. | 1 | Job. | P.Job
33 | Self opening, repairing & re-fitting. | 1 | Job. | P.Job
34 | S/F Reverse Back light. | 1 | No. | Each
35 | S/F Parking light. | 2 | Nos. | Each
36 | Wheel balance & alignment. | 1 | Job. | P.Job
37 | Supply Jack for Pick-up. | 1 | No. | Each
38 | S/F Air filter. | 1 | No. | Each
39 | S/F Fuel filter. | 1 | No. | Each
40 | S/F Gear foundation. | 1 | No. | Each
41 | Seat Cushion. | 1 | Job. | P.Job
42 | Seat Cover. | 1 | Sets. | P.Set
43 | S/F Cam Shaft. | 1 | No. | Each
44 | S/F Staring Cross. | 1 | No. | Each
45 | S/F Staring Box. | 1 | No. | Each
46 | S/F Gas Kit Complete. | 1 | No. | Each
47 | S/F Engine Seal Set. | 1 | Sets. | P.Set
48 | S/F Horn Double. | 1 | No. | Each
49 | S/F Viper Set. | 1 | No. | Each
50 | S/F Battery 12V, 24 Plates (Exide). | 1 | No. | Each
51 | S/F Brake shoe. | 2 | Nos. | Each
52 | S/F Side Glass (Mirror). | 2 | Nos. | Each
53 | Kamani Patta Repairing. | 1 | Job. | P.Job
54 | S/F Crank shaft. | 1 | No. | Each
55 | Grinding crank shaft. | 1 | Job. | P.Job
56 | Engaging Excavator Machine (WheelType)on hire basis for De-Silting/ De-Weeding of Main Drain, Branch Drain, Sub-Drain & Disposal Channels of Tubewells, including P.O.L etc. | 360 | Hours. | P.Hour
57 | Engaging Suzuki Pick-up with Driver i/c POL. | 15 | Days. | P.Day
58 | Engaging Suzuki Pick-up with Driver without POL. | 18 | Days. | P.Day
59 | Engaging Toyota Pick-up with Driver i/c P.O.L | 18 | Days. | P.Day
60 | Engaging Toyota Pick-up with Driver without P.O.L | 10 | Days. | P.Day
61 | Engaging Tractor with Front Blade i/c Fuel & Driver. | 350 | Hours. | P.Hour
62 | Engaging Tractor with Rear Blade i/c Fuel & Driver. | 340 | Hours. | P.Hour
63 | Engaging Tractor with Trolly i/c Fuel & Driver. | 10 | Days. | P.Day
64 | Engaging Water Tanker i/c Tractor with POL & Driver. | 60 | Hours. | P.Hour
65 | Engaging Generator i/c POL & all accessories. | 15 | Days. | P.Day
66 | Engaging (Skilled) labour. | 10 | Nos. | Each
67 | Engaging (Un-skilled) labour. | 30 | Nos. | Each
(G) PRINTING OF STATIONERY, BINDING OFFICE RECORD AND REPAIR OF MACHINERY & EQUIPMENT.
1 | Photo copies on powder machine & Book Binding complete.
| (a) 0-25 Pages. | 10 | Jobs. | P.Job
| (b) 1-50 pages. | 15 | Jobs. | P.Job
| (c) 1-100 pages. | 15 | Jobs. | P.Job
| (d) 1-200 pages. | 10 | Jobs. | P.Job
2 | Photo copy on powder machine. | 7000 | Pages. | P.Page
3 | Photo copy on ordinary machine. | 2000 | Pages. | P.Page
4 | Log book 100 pages i/c printing binding etc. | 600 | Books. | P.Book
5 | Typing paper single sheet. | 5 | Reams | P.Ream
6 | Typing paper double sheet. | 3 | Reams | P.Ream
7 | Carbon paper single sheet. | 2 | Packets | P.Pocket
8 | White paper (Single Sheet) A-4 (Size). | 20 | Reams | P.Ream
9 | White paper (Single Sheet) (Legal Size). | 15 | Reams | P.Ream
10 | File cover katcha. | 20 | Dozen | P.Dozen
11 | File cover pacca. | 25 | Dozen | P.Dozen
12 | Register 400 pages. | 10 | Nos. | Each
13 | Register 200 pages. | 10 | Nos. | Each
14 | Register 100 Pages. | 10 | Nos. | Each
15 | Binding of Main Cash Book. | 4 | Nos. | Each
16 | Binding of Main Subsidiary Cash Book. | 4 | Nos. | Each
17 | Binding of Outward/Inward Register. | 8 | Nos. | Each
18 | Glass for Water for Office Use. | 24 | Nos. | Each
19 | Paper pin. | 40 | Pockets | P.Pocket
20 | Stapler pin. | 40 | Pockets | P.Pocket
21 | Punch Machine. | 8 | Nos. | Each
22 | Stapler Machine. | 10 | Nos. | Each
23 | Envelops (Small size). | 400 | Nos. | % Nos.
24 | Envelops (Medium size). | 800 | Nos. | % Nos.
25 | Envelops (Large size). | 300 | Nos. | % Nos.
26 | Ball Point Pen. | 10 | Pockets | P.Pocket
27 | Tracing Paper. | 2 | Rolls | P.Roll
28 | Tracing Cloth. | 2 | Rolls | P.Roll
29 | Coloured Pencil. | 4 | Pockets | P.Pocket
30 | Marker Pen. | 10 | Nos. | Each
31 | Graph Paper. | 20 | Sheets | P.Sheet
32 | Drawing Paper. | 20 | Sheets | P.Sheet
33 | Rubber for Pencil. | 10 | Nos. | Each
34 | Pencil. | 2 | Dozen | P.Dozen
35 | Calculator (12 Digit) CASIO. | 8 | Nos. | Each
36 | Red cloth. | 100 | Meters | P.Meter
37 | Cloth for flag (different colour). | 200 | Meters | P.Meter
38 | Supplying & fixing Curtain complete for Doors 3.5' x 6.5'. | 20 | Nos. | Each
39 | Supplying & fixing Curtain complete for Windods 7' x 6.5'. | 40 | Nos. | Each
40 | Room Heater. | 12 | Nos. | Each
41 | Rod for Heater. | 24 | Nos. | Each
42 | Stabilizer for AC (10000 watts). | 1 | No. | Each
43 | Repair of Type writer Machine.
| (a) Genral Over Hauling. | 2 | Jobs. | P.Job
| (b) Tabulator Setting. | 2 | Jobs. | P.Job
| (c) Space-Bar. | 2 | Nos. | Each
| (d) Main Grari. | 2 | Nos. | Each
| (e) Penion Wheel Grari. | 2 | Nos. | Each
| (f) Ribbon Carrier. | 2 | Nos. | Each
| (g) Back Space. | 2 | Nos. | Each
| (h) Letter Setting (P.Letter). | 2 | Jobs. | P.Job
| (i) Roller. | 2 | Nos. | Each
| (j) Handle. | 2 | Nos. | Each
| (k) Ribbon. | 24 | Nos. | Each
(H) COMPUTER WITH ALL ACCESSORIES.
1 | Intel Mother Board BLKDH87MC for 4th Gen. CPU, processor Intell Corei5 Processor (6M Cache upto 3.3 GHz), Hard Disk 512 G.B, Combo Drive & DDR3 4GB. | 1 | No. | Each
2 | LED 20" (Acer) | 1 | No. | Each
3 | LCD 19" (View Sonic) | 1 | No. | Each
4 | H.P LaserJet Printer 1102. | 1 | No. | Each
5 | Stabilizer (3000W) 4 Relay. | 2 | Nos. | Each
(I) COMPUTER ACCESSORIES.
1 | Toner for Printer (Laser). | 4 | Nos. | Each
2 | Refilling of Toner of Printer. | 10 | Jobs. | P. Job
3 | Window Installation in Computer. | 6 | Jobs. | P.Job
4 | Service of Computer. | 4 | Jobs. | P. Job
5 | Computer Table with Chair. | 2 | Nos. | Each
6 | Mouse with Pad (Laser). | 4 | Nos. | Each
7 | Wireless Mouse with Pad. | 2 | Nos. | Each
8 | Keyboard USB Port. | 4 | Nos. | Each
9 | Wireless Keyboard. | 2 | Nos. | Each
10 | Power/Data Cables for LED/LCD/Monitor. | 6 | Nos. | Each
11 | Cables for Printer. | 6 | Nos. | Each
12 | Intel Mother Board for 4th Generation | 1 | No. | Each
13 | Intel Processor Core i5, 3.3 Ghz. | 1 | No. | Each
14 | DDR2 or 3, 2GB (Kingston). | 4 | Nos. | Each
15 | Casing ATX Handi RV. | 2 | Nos. | Each
16 | External Hard Drive (Portable backup Hard Drive) (1TB, 5400 RPM) (Dell) | 2 | Nos. | Each
17 | Hard Disk (250 GB "Seagate"). | 2 | Nos. | Each
18 | CD-Writer (Combo Box). | 4 | Nos. | Each
19 | CD-R (Blank). | 20 | Nos. | Each
20 | USB Device (4 GB). | 2 | Nos. | Each
21 | USB Device (8 GB). | 4 | Nos. | Each
22 | USB Device (16 GB). | 2 | Nos. | Each
23 | Engaging Computer Operator. | 15 | Days. | P.Day
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
TUBEWELLS DIVISION
NAUSHAHROFEROZE