|  |  |
| --- | --- |
| **NAME OF WORK :-** | **M/R TO SINDH SECRETARIAT NO-I KARACHI**  **(OFFICE OF ADDITIONAL SECRETARY O & M –SGA&CD 5TH FLOOR COLOURING, PAINTING,& FLOOR TILES.)** |

**“ SCHEDULE “B “**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.#** | **DESCRIPTION OF ITEMS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
|  | **SCHEDULE ITEMS (A)** |  |  |  |  |
| 1. | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls. ( SI.54-(b) / P-13 ). | 1048.0 | 226/88 | %Sft | 2378/- |
|  | Rupees (Two hundred twenty six & Ps. Eighty eight) only. | | | | |
| 2 | Distempering (b) Two cots. (SI.24-B/P-54) | 355.0 | 1043/90 | %Sft | 3706/- |
|  | Rupees (One thousand forty three & Ps. Ninety ) only. | | | | |
| 3 | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 1048.0 | 1772/38 | %Sft | 18575/- |
|  | Rupees (One thousand seven hundred seventy two & Ps. Thirty eight) only. | | | | |
| 4 | French polishing complete. (b) On old work.( SI. 7(b)/P-71 ). | 142.0 | 1952/50 | %Sft | 2773/- |
|  | Rupees (One thousand nine hundred fifty two & Ps. Fifty)only. | | | | |
|  |  |  | **(A) Total** | | **27432/-** |
|  | **NON-SCHEDULE ITEMS (B)** |  |  |  |  |
| 1 | P/L Porcelain tiles glazed or matt glazed Master or equivalent jointed in white cement and laid over 1:2 grey cement sand mortar ¾” thick in/c finishing & filling of joints with slurry of white cement or tile grout in desired shape in/c cutting of tiles to proper profile (on floor or facing) size 16’x16”x1/4”. | 420.50 |  | P.Sft |  |
| 2 | S/F TBS 2-40 / 36 watts TLW complete fancy tube light shade 4’-0 length with fancy cover light reflector sheet, 02 Nos rods, chocks, starters of approved quality base fitted on wall / ceiling in/c connected with 40/.076 flexible wire to existing ceiling rose as directed by the Engineer Incharge. (Phillips make) or equivalent. | 08.0 Nos |  | Each |  |
|  |  |  | **(B). Total** | |  |
|  |  |  | **(A) Total** | |  |
|  |  | **G. Total ( A + B ) Rs:** | | |  |
|  |  | **Say** | | |  |

**CONDITION.**

1). Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2). No Cartage will be paid on any items of works.

3). No premium shall be paid on Non-Schedule items.

4). Water shall be arranged by the Contractor.

**CONTRACTOR.**

|  |  |
| --- | --- |
| **ASSISTANT ENGINEER**  **PROVINCIAL BUILDINGS SUB-DIVISION-V,**  **KARACHI.** | **EXECUTIVE ENGINEER**  **PROVINCIAL BUILDINGS DIVISION-I,**  **KARACHI.** |