KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARATMENT

Tender Reference No.KMC/CM/ED/  110  /2015-16

BILL OF QUANTITIES

IMPROVEMENT / REPAIRING OF TRENCH / POT HOLES NEAR GUL

PLAZA MARKET, MAKKI MASJID & ANKLE SARIA HOSPIRAL, DISTRICT

SOUTH KARACHI.

NOTE: The Condition of contract will be available on KMC website (www.karachicity.gov.pk).

| Estimate Cost: - | Rs.9,51,000/= |
| --- | --- |
| Bid Security: - | Rs.19,100/= |
| Tender Cost: - | Rs.2,500/= |

BIDDING DATA

(This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents).

| a) | Name of Procuring Agency: | Karachi Metropolitan Corporation(KMC). |
| --- | --- | --- |
| b) | Brief Description of Works: | Improvement / Repairing of Trench / Pot Holes near Gul Plaza Market, Makki Masjid & Ankle Saria Hospiral, District South Karachi. |
| c) | Procuring Agency Address: | 4th Floor Civic Centre, Engineering Department KMC, Karachi. |
| d) | Estimated Cost: | Rs.9,51,000/= (Tender Cost Rs.2,500/=) |
| e) | Amount of Bid Security: | Rs.19,100/= (2%) |
| f) | Period of Bid validity(days): | 90 days. |
| g) | Security Deposit (Including bid security): | 10% of the total cost (2% of bid amount plus 8% from the bill). |
| h) | Percentage, if any, to be deducted from bills: | 8% |
| i) | Deadline for submission of bid along with time: | As per NIT |
| j) | Venue, Time and date of bid Opening: | Chief Engineer (South), KMC Room No. C-513, 5th Floor, Civic Centre, Gulshan-e-Iqbal, Karachi 16-05-2016 at 2.30 P.M. |
| k) | Liquidity damages: | Rs.2,500/= per day |
| l) m) | Method of Procurement: Deposit Receipt No Date & Amount: | Single Stage One Envelope Method. ___________________________ |

MINIMUM QUALIFICATION / ELIGIBILITY CRITERIA

The evidence / documents of the following minimum qualification / eligibility criteria will be checked during opening process of tender & if anyone is missing then the tender will be summarily rejected at the moment by the tender opening committee.

Eligibility / Minimum Qualification Criteria:

- NTN Certificate.

- Valid Professional TAX.

- Registered with Sindh Revenue Board.

- Statement of Turnover at least 3 years with minimum amount of Rs.1.0 Million.

- Having minimum Experience of 3 years in relevant field.

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- Proof of previous experience of works of similar nature.

Signature of the Bidder with Stamp

KARACHI METROPOLITAN CORPORATIN

ENGINEERING DEPARTMENT

| Subject:- | IMPROVEMENT / REPAIRING OF TRENCH / POT HOLES NEAR GUL PLAZA MARKET, MAKKI MASJID & ANKLE SARIA HOSPIRAL, DISTRICT SOUTH KARACHI. |
| --- | --- |

Estimated Cost:  Rs.9,51,000/=

Earnest Money:  Rs.19,100/=

Tender Cost:       Rs.2,500/=

| S.No. |  | DESCRIPTION | QTY | UNIT | Rate (in figure) | Rate (in figure) | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | Earth work excavation undressed lead up to a single throw of kassi phawarah or shovel. | 4460 | % 0 Cft | 1361.25 | Thirteen Hundred Sixty One & Paisa Twenty Five Only. | 6,071 |
| 2. |  | Cartage of 100 Cft / 5 Tones of all materials like stone aggregate, spawl, coal, lime, surkhi etc. B.G Rail fastenings points and crossing bridge girders pipes sheets Rails M.S Bars etc or 1000 Nos. bricks 10’x5’x3’ or 1000 Maunds of fuel wood by trucks or any other means owned by the contractors (lead up to 5 miles etc). | 4460 | % Cft | 714.29 | Seven Hundred Fourteen & Paisa Twenty Nine Only | 31,857 |
| 3. |  | P/L Aggregate base course in proper grade and camber having CBR 80% as per (AASHTO) standard specification i/c compacting by approved mechanical means (Motor Grader Vibratory Roller and smooth wheel roller etc) watering to maintain the moisture content the compaction of each layer shall 100 percent to the max dry density (Rate i/c all cost of materials T&P and carriage up to 3 chains). | 2931.82 | % Cft | 5542.24 | Fifty Five Hundred Forty Two & Paisa Twenty Four Only. | 1,62,489 |
| 4. |  | Providing 1½” thick (consolidated) premixed carpet in proper camber & grade including supplying 15 Cft bajri, 5 Cft Hill Sand of approved quality & grade bitumen of 80/100 Penetration i/c mixing in mechanical mixer in required proportion i/c heating materials and cleaning the road surface (Hill sand 3 Cft for mixing and 2.0 Cft for dusting) (Rates i/c all cost of materials T&P and carriage up to 3 chains.Using Crushed Bajri. | 11520 | % Sft | 5791.23 | Fifty Seven Hundred Ninety One & Paisa Twenty Three Only. | 6,67,150 |
| 5. |  | Excavation for pipe line in trenches & pits in all kind of soil of murum i/c trimming & dressing sides to true alignment & shape leveling of beds of trenches to correct level & grade cutting joint holes & disposal of surplus earth within a one chain as directed by Engineering in-charge Providing fence guards, lights flags & temporary crossing for non vehicular traffic where ever required lift up to 5 (1.52m) and lead up to one chain (30.5m). | 1350 | % 0 Cft | 4650.00 | Four Thousand Six Hundred & Fifty Only. | 6,278 |
| 6. |  | Providing laying RCC pipes with (Rubber ring joint and fitting in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure 300mm (12” dia). | 150 | P/Rft | 163.00 | One Hundred & Sixty Three Only. | 24,450 |
| 7. |  | Construction of manhole or inspection chamber for required dia and specification circular sewer and 3’-6” deep with wall thick inside wall 1” thick over benching and channel i/c fixing C.I. main hole cover with frame of clear opening ½” x 1-½” of 1.75 Cwt (88.9 Kg) embedded in plain C.C. 1:2:4 and fixing 1” Dia M.S. Steps 6” wide projecting 4” from the face of wall at 12” C/C duly painted etc complete as per specification & drawing. | 3 | Each | 14748.00 | Fourteen Thousand Seven Hundred Forty Eight Only. | 44,244 |
| 8. |  | Manufacturing and supplying of 21” dia RCC manhole cover cast 1:2:4 concrete ratio 3” deep at centre reinforced with ½” dia for steel bars at 4” dia cement concrete welded to 3/16 thick 2” wide MS plate two holes hooks of 3/8” dia for bar i/c compacting i/c curing and transportation with 10 miles. | 3 | Each | 913.63 | Nine Hundred Thirteen & Sixty Three Paisa Only. | 2,741 |
| 9. |  | Manufacturing & supplying of RCC ring slab of 21” dia inside 36” dia out side 7.5 width and 6” thick i/c 3/8” dia for steel bars two concentric rings with 3/8” dia 8 Nos. cross linked bars welded and two sunk type hooks casted in 1:1 ½.3 concrete embedded 15 kg C.I frame in precast position i/c transportation charges for an average / end 20 KM per trip from casting yard to town offices.(A minimum of 25 slabs per trip will be transported). | 3 | Each | 1906.60 | Nineteen Hundred Six & Sixty Paisa Only. | 5,720 |
|  | KARACHI METROPOLITAN CORPORATION ENGINEERING DEPARTMENT |  |  |  |  |  |  |

| Subject: | IMPROVEMENT / REPAIRING OF TRENCH / POT HOLES NEAR GUL PLAZA MARKET, MAKKI MASJID & ANKLE SARIA HOSPIRAL, DISTRICT SOUTH KARACHI. |
| --- | --- |

| Estimated Cost:- | Rs. 9,51,000/= |
| --- | --- |
| Bid Security:- | Rs. 19,100/= |
| Tender Cost: - | Rs.2,500/= |

I / We hereby quoted as follows:

| 1. | PART – A: (Items Based on S/R) amounting to Rs.9,51,000/= ________% Above / Below / At Par the S/R. | Rs.____________________ |
| --- | --- | --- |

The total amount is Rs.__________________ (Rupees_____________________________

(in Figure)						(In Words)

______________________________________________________ for complete job.

I / We have attached a pay order bearing No. _____________dated ____________issued from

____________________________________ amounting to Rs. ______________ as per NIT.		(Name of Bank)

Completion Time : 15 Days

Penalty per day: Rs. 2,500/=

Note:

- All rates quoted including the total amount of the bid shall be in figures & words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the 	authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized Person, if other than the signatory of the firm.

- All prevailing rules regarding condition of contract will be applicable.

Signature of the Contractor with Stamp

Address: _________________________

_________________________________

Checked By:-