KARACHI METROPOLITAN CORPORATION

ENGINEERING DEPARATMENT

Tender Reference No.KMC/CM/ED/  113  /2015-16

BILL OF QUANTITIES

PROVIDING PEDESTRIAN INSIDE THE BUILDING OF OLD KMC

BUILDING SITUATED AT LIGHT HOUSE IN SADDAR TOWN, KARACHI.

NOTE: The Condition of contract will be available on KMC website (www.karachicity.gov.pk).

| Estimate Cost: - | Rs.9,36,000/= |
| --- | --- |
| Bid Security: - | Rs.18,800/= |
| Tender Cost: - | Rs.2,500/= |

BIDDING DATA

(This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents).

| a) | Name of Procuring Agency: | Karachi Metropolitan Corporation(KMC). |
| --- | --- | --- |
| b) | Brief Description of Works: | Providing Pedestrian Inside the Building of Old KMC Building Situated at Light House in Saddar Town, Karachi. |
| c) | Procuring Agency Address: | 4th Floor Civic Centre, Engineering Department KMC, Karachi. |
| d) | Estimated Cost: | Rs.9,36,000/= (Tender Cost Rs.2,500/=) |
| e) | Amount of Bid Security: | Rs.18,800/= (2%) |
| f) | Period of Bid validity(days): | 90 days. |
| g) | Security Deposit (Including bid security): | 10% of the total cost (2% of bid amount plus 8% from the bill). |
| h) | Percentage, if any, to be deducted from bills: | 8% |
| i) | Deadline for submission of bid along with time: | As per NIT |
| j) | Venue, Time and date of bid Opening: | Chief Engineer (South), KMC Room No. C-513, 5th Floor, Civic Centre, Gulshan-e-Iqbal, Karachi 16-05-2016 at 2.30 P.M. |
| k) | Liquidity damages: | Rs.2,500/= per day |
| l) m) | Method of Procurement: Deposit Receipt No Date & Amount: | Single Stage One Envelope Method. ___________________________ |

MINIMUM QUALIFICATION / ELIGIBILITY CRITERIA

The evidence / documents of the following minimum qualification / eligibility criteria will be checked during opening process of tender & if anyone is missing then the tender will be summarily rejected at the moment by the tender opening committee.

Eligibility / Minimum Qualification Criteria:

- NTN Certificate.

- Valid Professional TAX.

- Registered with Sindh Revenue Board.

- Statement of Turnover at least 3 years with minimum amount of Rs.1.0 Million.

- Having minimum Experience of 3 years in relevant field.

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- Proof of previous experience of works of similar nature.

Signature of the Bidder with Stamp

KARACHI METROPOLITAN CORPORATIN

ENGINEERING DEPARTMENT

| Subject:- | PROVIDING PEDESTRIAN INSIDE THE BUILDING OF OLD KMC BUILDING SITUATED AT LIGHT HOUSE IN SADDAR TOWN, KARACHI. |
| --- | --- |

Estimated Cost:  Rs.9,36,000/=

Earnest Money:  Rs.18,800/=

Tender Cost:       Rs.2,500/=

| S.No. | DESCRIPTION | QTY | UNIT | Rate (in figure) | Rate (in figure) | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | French Polishing Complete (a) on new work. | 288 | % Sft | 3841.75 | Thirty Eight Hundred Forty One & Paisa Seventy Five Only | 11,064 |
| 2. | Distempering three coats. | 942 | % Sft | 1079.65 | One Thousand Seventy Nine & Paisa Sixty Five Only. | 10.170 |
| 3. | Preparing the surface and painting with enamel paint on masonry wall 2nd & subsequent coat. | 1024.00 | % Sft | 579.14 435.00 1014.14 | One Thousand Fourteen & Paisa Fourteen Only | 10,385 |
| 4. | Repairing / Replacing / Cleaning / Grinding/ sand papering over iron patti of collapsible gate and providing of missing flat iron patti ¾” x 1/8” revites as per section as required diagonally painting with ready mix paint i/c improving locking arrangement were necessary and fixing in floor / ceiling or wall / embedded in masonry as per instruction of Engineer complete (Top bottom T-Section 1”x1”X1/8” and arrangement lock). | 395 | P/Sft | O/R |  |  |
| 5. | Painting guard bars, gates iron bars gratings railings i/c standard braces (etc) and similar open work. | 128 | % Sft | 371.80 | Three Hundred Seventy One & Paisa Eighty Only. | 476 |
| 6. | P/L tiles glazed 6”x6”x ¼” on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾” thick including washing and filling of joints with slaury of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete including cutting tiles to proper profile. | 825 | % Sft | 30,509.77 | Thirty Thousand Five Hundred Nine & Seventy Seven Paisa Only. | 2,51,705 |
| 7. | Applying chemical polishing on existing mosaic marble flooring / dado including cleaning grinding with carborandum stone / sand paper and applying chemical polish as per requirement. | 9880 | P/Sft | 36.60 | Rupees Thirty Six & Paisa Sixty Only. | 3,61,608 |
| 8. | Providing and fixing ¾” thick marble tiles flooring of approved quality over ½” thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry cutting finishing cleaning and polishing etc complete. | 480 | P/Sft | O/R |  |  |

KARACHI METROPOLITAN CORPORATION ENGINEERING DEPARTMENT

| Subject: | PROVIDING PEDESTRIAN INSIDE THE BUILDING OF OLD KMC BUILDING SITUATED AT LIGHT HOUSE IN SADDAR TOWN, KARACHI. |
| --- | --- |

| Estimated Cost:- | Rs. 9,36,000/= |
| --- | --- |
| Bid Security:- | Rs. 18,800/= |
| Tender Cost: - | Rs.2,500/= |

I / We hereby quoted as follows:

| 1. | PART – A: (Items Based on S/R) amounting to Rs.6,45,409/= ________% Above / Below / At Par the S/R. | Rs.____________________ |
| --- | --- | --- |
| 2. | PART – B: (Items Based on O/R) | Rs.____________________ |
| TOTAL A+B |  | Rs.____________________ |

The total amount is Rs.__________________ (Rupees_____________________________

(in Figure)						(In Words)

______________________________________________________ for complete job.

I / We have attached a pay order bearing No. _____________dated ____________issued from

____________________________________ amounting to Rs. ______________ as per NIT.		(Name of Bank)

Completion Time : 15 Days

Penalty per day: Rs. 2,500/=

Note:

- All rates quoted including the total amount of the bid shall be in figures & words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the 	authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized Person, if other than the signatory of the firm.

- All prevailing rules regarding condition of contract will be applicable.

- 20% below is the maximum ceiling on schedule items 2012 by the authority.

Signature of the Contractor with Stamp

Address: _________________________

_________________________________

Checked By:-