17

Schedule-A to Bid

SCHEDULE OF PRICES

| NAME OF WORK | CONSTRUCTION OF SURFACE DRAINS & CC PAVER AT VARIOUS STREET OF NEW BEHIND GHOTO MARKET. |
| --- | --- |

| A | SURFACE DRIANS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation in foundation of building bridges and other structures i/c dag belling dressing riffling around the structure with excavated earth watering ramming lead upto one chain and lift upto 5”fit (CSI No 18 P.5) |  |  |  |  |  |
|  | 9340.00 CFT |  | RS: 3176/25 | P%0 CFT |  | RS: 29666/00 |
| 02 | Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing of stone aggregate w/o shuttering Ratio1:4:8 (CSI No 5 P.17) |  |  |  |  |  |
|  | 2200.00 CFT |  | RS: 11288/75 | P% CFT |  | RS: 248353/00 |
| 03 | Construction of standard open drain cunnette block of CC 1:2:4 in situ to design profile i/c applying floating coat of cement 1/3 thick to the exposed face finished smooth curing etc compete as per detailed drawing (PHSI No 5 P.44) |  |  |  |  |  |
|  | 2000.00 RFT TYPE-I |  | RS:94/00 | P.RFT |  | RS: 188000/00 |
|  | 1000.00 RFT TYPE-I |  | RS:174/00 | P.RFT |  | RS: 174000/00 |
| 04 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (CSI No 11 P.25) |  |  |  |  |  |
|  | 5250.00 CFT |  | RS: 11948/36 | P% CFT |  | RS: 627289/00 |
| 05 | Cement plaster 1:4 upto 20”fit height ½ thick (CSI No11 P.58) |  |  |  |  |  |
|  | 10840.00 CFT |  | RS: 2283/93 | P% CFT |  | RS: 247578/00 |
| 06 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect (CSI No 6 P.19) |  |  |  |  |  |
|  | 519.72 SFT |  | RS: 337/00 | P.SFT |  | RS: 175146/00 |
| 07 | Fabrication of M.S rain forcemeat for CC i/c cutting bending lying in position making joints and fastening i/c cost of binding wire also removal of rust from bars (CSI No 7 P.29) |  |  |  |  |  |
|  | 20.88 CWT | RS: 5001/70 |  | P CWT |  | RS: 104435/00 |
|  |  |  |  |  | TOTAL | RS: 1794467/00 |
| B | CC PAVER |  |  |  |  |  |
| 01 | Barrow pit excavation under said lead up to 100 ft( CSI No. 3 P. 11 |  |  |  |  |  |
|  | 9600.00CFT | RS: 2117/50 |  | P.%0CFT |  | RS: 20328/00 |
| 02 | Carraige of Earth (CSI No:08 P No: 02) |  |  |  |  |  |
|  | 9600.00CFT | RS: 579/41 |  | P.%CFT |  | RS: 55623/00 |
| 03 | Laying earth in 6” layer leveling dressing & watering for compaction etc complete |  |  |  |  |  |
|  | 9600.00CFT | RS: 354/00 |  | P.%0CFT |  | RS: 13695/00 |
| 04 | Supplying and filling sand under floor and plugging walls (CSI No: 29 P No: 26 ) |  |  |  |  |  |
|  | 1200.00CFT | RS: 1141/25 |  | P%CFT |  | RS: 149154/00 |
| 05 | Cement concrete Brick or Stone Ballast 1½” 2” Gauge (CSI No: 4 P No:17) |  |  |  |  |  |
|  | 1584.00CFT | RS: 9416/28 |  | P.%CFT |  | RS: 149154/00 |
| 06 | Providing fixing Cement Paving Blocks flooring having size of 197x97x60(M.M) of city Quddra / Cobble shape with natural colours having strength between 5000 PSI to 8500 PSI i/c filling the joints with hill sand and laying in specified manner / pattern & design / etc complete (CSI No: 71 P No: 49) |  |  |  |  |  |
|  | 4800.00SFT | RS: 199/77 |  | P.SFT |  | RS: 958896/00 |
|  |  |  |  | TOTAL |  | RS: 1201094/00 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Surface Drains | 1794467/00 | -- | 1794467/00 |
| 2 | CC Paver | 1201094/00 | -- | 1201094/00 |
|  | TOTAL | 2995561/00 | -- | 2995561/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |