## Schedule B
NAME OF WORK => |  | M/R TO G.O.R-II, S.M.C.H.S, KARACHI. Flat No. H-80,D-16,D-20,C-37,F-43,F-49,E-31,E-32. COLOURING PAINTING &P/F ALUMINUM WINDOW IRON GRILL WOODEN DOOR TILE WORK W/S & S/F ETC COMPLETE
SCHEDULE " B
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
Building (Schedule Items)
1 | Excavation in foundation of building
Bridges and Other structure including
Dagbelling dressing,refilling around
structure with excavated earth watering
and ramming lead upto 5 ft
| (b) In Ordinary Soil.(S.I.No.18(b)/P-4) |  | 40 | Cft | 3176 | / | 25 | %o Cft | 127 | /-
2 | Dismantling glazed or encaustic tiles
| (S.I.No.55/P-13) |  | 203 | Sft | 786 | / | 50 | % Sft | 1597 | /-
3 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 6481.28 | Sft | 226 | / | 88 | % Sft | 14705 | /-
4 | Preparing the surface & painting with matt finsih
paint of approved make to old matt finish surface.
| With three cots. (S.I.No. 36 -a+b+b P-55) |  | 6723.53 | Sft | 1772 | / | 38 | % Sft | 119166 | /-
5 | Distempering in two coats.
| (S.I.No. 24 -b P-54). |  | 2093.24 | Sft | 1043 | / | 90 | % Sft | 21851 | /-
6 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 2089 | Sft | 1160 | / | 6 | % Sft | 24234 | /-
7 | Dismantling cement block masonary.
| (S.I.No.14/P-10) |  | 21.5 | Cft | 1134 | / | 38 | % Cft | 244 | /-
8 | Providing & Laying 1:3:6 cement concrete
solid block masonry wall 6" and below in
thickness set in 1:6 cement mortar in
ground floor super structure raking out
| joints and curing etc complete.(S.I.24/19) |  | 69 | Cft | 15771 | / | 1 | % Cft | 10882 | /-
9 | Cement Plaster 1:6 upto 12" height.
| b)1/2" thick.(S.I.11-b/52) |  | 366 | Sft | 2206 | / | 60 | % Sft | 8076 | /-
10 | Cement Plaster 1:4 upto 12' Height.
| (c ) 3/4" thick (S.I.No.13(c)/P-52 |  | 366 | Sft | 3015 | / | 76 | % Sft | 11038 | /-
11 | Providing & Laying 1" thick topping
cement concrete 1:2:4 including surface
finishing and dividing into panels.
| )c) 2" thick.(S.I.no.11©/P-42) |  | 99 | Sft | 3275 | / | 50 | % Sft | 3243 | /-
12 | P/F approved quality mortice lock.
| (S.I.No.21/P-60) |  | 5 | Nos | 1786 | / | 13 | Each | 8931 | /-
13 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood frames
and 1-1/2" thick Teak wood ply shutters of 2nd
class deodar wood skeleton (solid ) styles and
rails core of partal wood and Teak ply wood
(3-ply) on both sidei/c hold fasts, hinges, iron
tower blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65) .(without frame).
| (1077/06 (-) 370/83 = 706/23) |  | 147 | Sft | 706 | / | 23 | P.Sft | 103816 | /-
14 | Supplying & fixing inposition Aluminum
channel framing for sliding windows &
ventilators of Alcop made with 5mm
thick tinted glass belgium etc complete
| (S.I.No.85(b)/P-108) |  | 442.25 | Sft | 1449 | / | 69 | P.Sft | 641125 | /-
15 | G.I expended metal 1/2" to 3/4" mesh
16 gauge fixed to chockats without deodar
| patti.(S.I.No.65 P-66). |  | 774 | Sft | 60 | / | 43 | P.Sft | 46773 | /-
16 | Providing and fixing Aluminium sheet on
door pasted with glue as per requirement.
| (S.I.No.61 P-66). |  | 70 | Sft | 63 | / | 77 | P.Sft | 4464 | /-
17 | Making & fixing steel grated door with
1/16" thick sheeting inc angle iron frame
2" x 2" 3/8"and 3/4" square bars 4" centre
| to centre with locking arrangemtnt. |  | 30 | Sft | 726 | / | 72 | P.Sft | 21802 | /-
18 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 68 | Rft | 228 | / | 90 | P.Rft | 15565 | /-
[8 empty] | Total | 1057639 | /-
Below OR Above
SI) Total
Part A-ii Civil Work Non Schedule Item
1 | P/F Iron Steel Grill of solid square vertical bar
3/8” x 3/8” at 4” center to center and ¾” x 1/4”
flat patti at all around 6-Nos horizontal bar 3/8” x
3/8” in/c red oxide paint and two coats of
| enemmelled paint to the grill at any height. |  | 747 | Sft |  |  |  | P.Sft
2 | Providing & fixing of G.I Shade of 20
B.W.G i/c iron frame 1" x 1" x 1/4"
for support in.c necessary nutsm bolts,
screws etc and welding i/c all labour and
| cartage etc complete in all respect. |  | 197.5 | Sft |  |  |  | Each
3 | P/F marble top 1” thick (botesina/Chaina verona/
teravera or equivalent) having size upto 8’-0x2’-0 in/c cutting
into proper size, making round gola & cutting for fixing vanity
basin or sink bowl and filling joints with white cement or jelly
| in/c grinding and chemical polishing etc complete as directed |  | 70.16 | Sft |  |  |  | P.Sft
4 | P/Fixing Wooden cabinet with shutter
of lassani sheet 3/4" thick and frame
work of 1st class partal wood 2" x 1"
pasted with classic farmica 18" deep
i/c necessary hinges, catchers handles
sliding windows in doors nalis screws
etc with approved design and shape.
The cost also in/c necessary tools
and plants to be used in making etc
complete as directed by Engineer
| Incharge. |  | 198.49 | Sft |  |  |  | P.Sft
5 | P/F ceiling fan 56” sweep Pak/Royal/ to
GFC or equivalent Deluxe model in/c carriage from shop
site of work, fixing & necessary lead connection as
| directed by the Engineer Incharge. |  | 8 | No |  |  |  | Each
6 | Supplying & fixing Stainless steel
stove double burner make of national
or equivalent superior quality i/c
necessary fitting etc complete as
| directed by Engineer Incharge. |  | 3 | No |  |  |  | Each
7 | Repairing of Aluminium windows with different
dimentions,the work include replacing all damage/broken
parts/material with new one as wheels.locks,handle,
stopper,glass panes,jali and frame etc complete as
instructed by engineer Incharge.(All the material
| /Parts should be adequate size and strength). |  | 4 | No |  |  |  | P.job
8 | P/F exhaust fan 12” dia size plastic / metal
body in/c making hole in wall to required size in/c
cutting, chiseling, & making corner with cement sand
(Pak/Millat/Royal) make in/c removing distmental
| concrete site to out side of Building in proper place |  | 9 | No |  |  |  | Each
9 | P/F wall bracket fan 18” dia of approved
make & quality (Royal/Pak, Millat or equivalent)
| in/c fixing on wall as directed by the Engineer Incharge. |  | 1 | No |  |  |  | Each
10 | P/F Iron distribution board double shutter to
accommodate circuit breakers i/c
| painting with enemalled paint. |  | 1 | Sft |  |  |  | Each
11 | P/L Bath room tiles glazed or matt glazed, make
having size 12”x18” Shabbir / Sonex / Karam
or equivalent jointed in white cement and laid
over 1:2 grey cement sand mortar ¾” thick in/c
finishing & filling of joints with slurry of white
cement or tile grout in desired shape in/c
| cutting of tiles to proper profile (on floor or facing) |  | 255 | Sft |  |  |  | P.Sft
12 | Making & Fixing Wardrobe with shutter of lassani
sheet 3/4" thick and frame work of 1st class partal
wood 3”x1 ¼ ” pasted 18” to 21” deep in/c necessary
hinges, catchers, handles, sliding wheels in doors,
nails, screws, draws locks etc with approved design
and shape. The cost also in/c necessary tools and plants
to be used in making etc complete as directed
| by the Engineer Incharge. |  | 366 | Sft |  |  |  | P.Sft
Total
Part B INT: W/S & S/F (Schedule Items)
1 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
2 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 1 | No | 4253 | / | 70 | Each | 4254 | /-
3 | Add extra for labour for providing &
fixing of earthen ware pedestal white
or coloured design (forgien or equ:)
| (S.I.No.9/P-3) |  | 1 | No | 938 | / | 47 | Each | 938 | /-
4 | Providing and fixing / errection in position tank of
1/8” thick G.I. sheet complete with including cost of
| (angle 1-1/4”x1-1/4”x1/8”) iron frame C.I. mosquite |  |  | No
proof required cover and frame over flow of
required size. Holes for inlet and outlet and G.I.
fitting for them including painting the tank inside
with two coats bitumen and outside two coats of
white zinc paint with pigment to match the colour of
building over a primary coat of red oxide.
| (S.I.No. 2 P-21). |  | 359.38 | Gal | 95 | / | 26 | P.Gal | 34235 | /-
5 | S/Fixing cancealed stop cock of superir
| quality with c.p head 1/2" dia.(S 11-a/18 |  | 1 | No | 478 | / | 28 | Each | 478 | /-
6 | Supplying & fixing sink mixture cock of
| superior quality with c.p head etc complete. |  | 7 | No | 2745 | / | 0 | Each | 19215 | /-
(S.I.No.17/19
7 | Supplying & Fixing swan type piller
cock of Superior quality single c.p. head
| 1/2" dia.(S.I.No.16-a/P-19) |  | 2 | No | 795 | / | 0 | Each | 1590 | /-
8 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia.(S.I.No.13-a/P-19) |  | 11 | No | 1109 | / | 46 | Each | 12204 | /-
9 | S/F fiber glass tank of approved quality
and design and wall thickness as specified
i/c the cost of nuts bolts and fixing in
plateform of cement concrete 1:3:6
and making connection for inlet and
over flow pipe etc complete 250 gallon
| wall thickness 4mm (S.I.No.3-c/P-21) |  | 4 | Nos | 21989 | / | 42 | Each | 87958 | /-
10 | Providing and fixing handle valves (china)
| 3/4" dia (S.I.No.5-ii/P-17) |  | 5 | Nos | 271 | / | 92 | Each | 1360 | /-
| 1/2" dia (S.I.No.5-i/P-17) |  | 18 | Nos | 200 | / | 42 | Each | 3608 | /-
11 | Supplying & fixing C.P Muslim Shower
| with double Bib cock & ring Pipe etc complete. |  | 2 | No | 3432 | / | 0 | Each | 6864 | /-
(S.I.No.19-a/P-17)
12 | Supplying/Fixing wash basen mixture
| of superir quality with c.p head 1/2" dia. |  | 2 | No | 2882 | / | 0 | Each | 5764 | /-
| (S.I.No.14-a/P-19) | [6 empty] | Total | 189945 | /-
Below Or Above
Total
Part B-ii Non Schedule Item(W/S & S/F)
1 | Providing & fixing UPVC soil and
vent pipe of Pak Arab make of approved
quality on wall upto height of 50' ft with plant
i/c clamps paid separately This rate including
including making joints with UPVC fitting
by using approved pest solution (A.G.M)
make etc complete as per instrution of
engineer incharge includes all cost of labour
material cartage scafolding etc complete.
(i) | 1/2" dia |  | 460 | Rft |  |  |  | P.Rft
(ii) | 3/4" DIA |  | 300 | Rft |  |  |  | P.Rft
(ii) | 1" DIA |  | 15 | Rft |  |  |  | P.Rft
(iii) | 2" dia |  | 200 | Rft |  |  |  | P.Rft
(iii) | 3" dia |  | 28 | Rft |  |  |  | P.Rft
(iii) | 4" dia |  | 60 | Rft |  |  |  | P.Rft
2 | Providing & fixing UPVC fitting
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 3"dia Elbow |  | 4 | No |  |  |  | P.Rft
| 4" dia Elbow |  | 2 | No |  |  |  | P.Rft
| 3" dia Socket |  | 2 | No |  |  |  | P.Rft
| Socket 4" dia |  | 2 | No |  |  |  | P.Rft
| P-Trap 3" dia |  | 1 | No |  |  |  | P.Rft
| P-Trap 4" dia |  | 1 | No |  |  |  | P.Rft
| Y-Tee 4" dia |  | 1 | No |  |  |  | P.Rft
3 | Providing & Fixing Floor Trap Jali
| 6" x 6" as directed by the Engineer |  | 8 | No |  |  |  | Each
4 | P/F Ball Valve 3/4" dia approved
| quality as directed by the Eng.Incharge. |  | 5 | No |  |  |  | Each
5 | Providing & fixing G.I Handle Valve
Heavy Quality Including all cost of labour
| material cartage etc complete .2" dia |  | 2 | Nos |  |  |  | Each
NSI) Total
SUMMARY OF COST
| Civil Work Schedule Item | [5 empty] | Rs.
| Civil Work Non Schedule Item | [5 empty] | Rs.
| W/S & S/F Schedule Item | [5 empty] | Rs.
| W/S & S/F Non Schedule Item | [5 empty] | Rs.
|  |  | Grand Total |  |  |  | Rs.
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates
(General)Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items
inforced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Provincial Building Sub Division-II | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.