## Overall Summary
OVERALL SUMMARY OF BILLS OF QUANTITES FOR
INTERNAL & EXTERNAL ELECTRICAL WORKS OF
MOSQUE
SINDH COLLEGE OF ARTS & DESIGN (SCAD), SUKKUR
S. No. | Description |  | Total Amount (Rs.)
1. | Internal Electrification | Rs.
2. | External Electrification | Rs.
3. | Computer Works | Rs.
TOTAL
Contractor
Project Director

## Int. Electrical Works
BILL OF QUANTITIES FOR
INTERNAL ELECTRICAL WORKS OF
MOSQUE
SINDH COLLEGE OF ARTS & DESIGN (SCAD), SUKKUR
Section "A" Internal Electrification
S.No. | ITEM DESCRIPTION | QTY. | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
Part I : Items based on Schedule Rates 2012
1. | Supply & Wiring for Main or Sub-Main with 3-2.5mmsq. (3-7/.029) S/C, PVC insulated, Cu cables in 3/4" dia PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories. (Lighting Circuit) (SI#24 Page # 04) | 620 | Mtrs. | 294 | 182280
2. | Supply & Wiring for Main or Sub-Main with 3-4mmsq. (3-7/.036) S/C, PVC insulated, Cu cables in 3/4" dia PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories. (Power Circuit) (SI#25 Page # 04) | 300 | Mtrs. | 338 | 101400
3. | Supply & Wiring for light or fan point with 2-1.5mmsq. (2-3/.029) PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories (SI#124 Page # 15) | 164 | Nos. | 1130 | 185320
4. | Providing & fixing One-Way, S.P., 5A flush type Switch. Complete in all respect with all accessories including face-plate, cable termination, & circuit tags. (SI# 219 Page#33) | 55 | Nos. | 54 | 2970
5. | Providing and fixing of flush type, three pin, 5 Amps, S.P., plug socket, switch and shoe unit. Complete in all respect with all accessories including face-plate, cable termination, & circuit tags. (SI # 226 Page # 33) | 33 | Nos. | 151 | 4983
6. | Providing, fixing and connecting of flush type, 3 pin, 10/15A, S.P., plug socket, switch and shoe unit. Complete in all respect with all accessories including face-plate, cable termination, & circuit tags. (SI # 227 Page # 33) | 1 | Nos. | 162 | 162
7. | Supply & Wiring for Main or Sub-Main with 3-6mmsq. (3-7/.044) S/C, PVC insulated, Cu cables in 3/4" dia PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories. (Power Circuit) (SI#26 Page # 04) | 0 | Mtrs. | 468 | 0
| Providing & fixing Two-Way, S.P., 5A flush type Switch. Complete in all respect with all accessories including face-plate, cable termination, & circuit tags. (SI# 220 Page#33) | 0 | Nos. | 55 | 0
| Supply & Wiring for plug point with 2-1.5mmsq (2-3/.029) S/C, PVC insulated, Cu wire in 20mm (3/4") PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories (SI#126 Page # 15) | 0 | Nos. | 985 | 0
| Providing and fixing of flush type, two pin, 5 Amps, S.P., plug socket, switch and shoe unit. Complete in all respect with all accessories including face-plate, cable termination, & circuit tags. (SI # 225 Page # 33) | 0 | Nos. | 83 | 0
Note:
For any Variation arising between the above stated BOQ items and its respective Schedule Rate items (as per Government of Sindh), the same is to be adjusted accordingly in the "Premium on Schedule Rate".
COST OF PART 'I' |  |  | (Rs.) |  | 477115
PREMIUM ___________ Above / Below |  |  | (Rs.) |  | 0
TOTAL COST OF PART 'I' |  |  | (Rs.) |  | 0
Part II : Items based on Non-Schedule Rates
8. | Providing & Fixing of Back Boxes for switches & socket outlets. To be complete in all respect with all accessories. | 131 | Nos. | 0 | 0
TOTAL COST OF PART 'II' |  |  | (Rs.) |  | 0
TOTAL COST OF SECTION "A" (PART I +PART II) |  |  | (Rs.) |  | 0
Section "B" Light Fittings & Fixtures
S.No. | ITEM DESCRIPTION | QTY. | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
1. | Providing, installing, fixing and connecting of following light fixtrues with lamps, chokes, starters, capacitors etc., complete with all internal connections and all fixing and mounting accessories. Jobs includes rod and wiring as given in drawing.
1.1 | Philips make or equivalent light fitting TMS-215/228 with 2x28 W 'T5' fluorescent lamps having high frequency and high efficiency electronic ballast, complete in respect with all accessories. Light Fixture to be installed pendant from Ceiling as shown in Drawings. | 16 | Nos. |  | 0
1.2 | Philips make or equivalent light fitting TMS-215/128 with 1x28 W 'T5' fluorescent lamps having high frequency and high efficiency electronic ballast, complete in respect with all accessories. | 53 | Nos. |  | 0
1.3 | Philips make or equivalent light fitting TMS-114 with 1x14 W 'T5' fluorescent lamp (for mirror light) having high frequency and high efficiency electronic ballast, complete in respect with all accessories. | 1 | Nos. |  | 0
1.4 | Philips make or equivalent Wall Bracket Fancy Light Fixture with 2x18W CFL lamp. To be approved by Client. | 12 | Nos. |  | 0
1.5 | Philips make or equivalent Surface-Mounted Downlighter FCS-120 with 11W CFL lamp having dicast aluminium housing with glass cover. To be approved by Client. | 5 | Nos. |  | 0
1.6 | Philips make or equivalent Wall-Mounted Bulk-Head Light Fixture "Vendalite" with 1x18W CFL lamp. To be approved by Client. | 20 | Nos. |  | 0
1.7 | Client Specified Ceiling Mounted Pendant Fancy Chandelier Light Fixture. To be approved by Client. | 1 | Nos. |  | 0
2. | Providing, installing and connecting of following fans:
2.1 | Pak Fan make 56" sweep ceiling fan complete with fan dimmer, canopy, down rod, etc. including fixing of fan dimmers and making holes on both sides of down rod and also providing of 16mm dia mild steel fan hook on RCC roof or beam as required, complete in all respects with all accessories. | 16 | Nos. |  | 0
2.2 | Pak Fan make 48" sweep ceiling fan complete with fan dimmer, canopy, down rod, etc. including fixing of fan dimmers and making holes on both sides of down rod and also providing of 16mm dia mild steel fan hook on RCC roof or beam as required, complete in all respects with all accessories. | 26 | Nos. |  | 0
| Pak Fan make 36" sweep ceiling fan complete with fan dimmer, canopy, down rod, etc. including fixing of fan dimmers and making holes on both sides of down rod and also providing of 16mm dia mild steel fan hook on RCC roof or beam as required, complete in all respects with all accessories. |  | Nos.
2.3 | Pak Fan make or equivalent 18" sweep wall-bracket fan, complete in all respect with all accessories | 5 | Nos. |  | 0
2.4 | Pak Fan make or equivalent 8" sweep exhaust fan (plastic body), complete with capacitors including making of hole in wall to accommodate the fan & repairing good the damages. | 5 | Nos. |  | 0
2.5 | Pak Fan make or equivalent 12" sweep exhaust fan (metal body), complete with capacitors including making of hole in wall to accommodate the fan & repairing good the damages. | 4 | Nos. |  | 0
| TOTAL COST OF SECTION "B" |  | (Rs.) |  | 0
Contractor
Project Director
Section "C" Earthing
S.No. | ITEM DESCRIPTION | QTY. | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
1. | Providing, making and testing of earth points with 2' x 2' x 1/8" thick copper plate buried 5 meter deep or to the depth of permanent water level whichever is less covered with charcoal and lime in specified ratio confirming to specification and drawing. | 1 | Job |  | 0
2. | Providing, drawing, connecting & testing of 2-70mm² bare copper conductor as earthing leads in 32mm dia G.I. pipe burried in ground or connected in R.C.C. or masonary as requried from Earth Terminal Block to the earth plate including making of 18"x18" cement concrete chamber duly plastered and cover with R.C.C. Slab, including, providing & fixing of plug for watering, complete with all accessories and fasteners and as per drawing & specifications. | 1 | Job |  | 0
3. | Providing, fixing and connecting of 200 x 200 x 5 mm thick copper earth terminal blocks. | 1 | Job |  | 0
4. | Providing, drawing, connecting & testing of 2-70mm² insulated copper conductor as earthing leads in 32mm dia PVC pipe burried in ground or connected in R.C.C. or masonary as requried from Earth Terminal Block to the Main Distribution Panel, complete with all accessories and fasteners and as per drawing & specifications. | 5 | Mtrs. |  | 0
5. | Supply & Wiring of Insulated ECC conductor for light, fan, or plug point with 1.5mmsq. Insulated ECC in already laid 20mm (3/4") PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories. | 1250 | Mtrs. |  | 0
| TOTAL COST OF SECTION "C" |  | (Rs.) |  | 0
Contractor
Project Director
Section "D" Sound (Public Address) System
S.No. | ITEM DESCRIPTION | QTY. | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
1. | Supply & Installation of P.A. System with 240W Mixer Power Amplifier. Complete in all respect with all accessories including all connecting cords and cables and supporting systems (modules, softwares, etc.). (TOA Make 'A Series' 240W Series Mixer Power Amplifier or Approved Eqivalent) | 1 | Nos. |  | 0
2. | Supply & Installation of 6W wall-mounted column-speakers. Complete in all respect with all accessories. (TOA Make 'BS Series' 3-6W Wall Mounted Box Speakers or Approved Equivalent) | 8 | Nos. |  | 0
3. | Supply & Installation of 30W outdoor-type horn/trumpet-speakers to be mounted on Mosque's Minar. Complete in all respect with all accessories. (TOA Make 'SC Series' 30W Outdoor Weather Proof Speaker with Built-In matching Transformer or Approved Equivalent) | 3 | Nos. |  | 0
4. | Supply & Installation of Table-Top Microphone. Complete in all respects with all accessories. (TOA Make 'DM Series' Dynamic micro-phone with stand or Approved Equivalent) | 1 | Nos. |  | 0
5. | Supply & Installation of Wireless Microphone. Complete in all respects with all accessories. (TOA Make 'WS Series' Collar Cordless micro-phone with receiver unit or Approved Equivalent) | 1 | Mtrs |  | 0
6. | Testing and Commissioning of entire Sound System and its accessories by engineers of local agent of brand installed. | 1 | Job |  | 0
7. | Supply & Wiring for P.A. System with 2.5mm2 2-Core, PVC/PVC insulated cable with copper conductor in 25mm (1") dia PVC conduit recessed in the wall or column as required. Complete in all respect with all accessories. | 300 | Mtrs |  | 0
| TOTAL COST OF SECTION "D" |  | (Rs.) |  | 0
Contractor
Project Director

## Summary of Int. Elect. Works
SUMMARY OF BILL OF QUANTITIES FOR
ELECTRICAL WORKS OF
MOSQUE
SINDH COLLEGE OF ARTS & DESIGN (SCAD), SUKKUR
S.No. | Section | Description |  | Amount (Rs.)
1. | A | Internal Electrification | Rs. | 0
2. | B | Light fittings and Fixtures | Rs. | 0
3. | C | Earthing | Rs. | 0
4. | D | Sound (Public Address) System | Rs. | 0
5. | E |  | Rs.
|  | Total Cost | Rs. | 0
Contractor
Project Director

## External Electrification
BILLS OF QUANTITES FOR
EXTERNAL ELECTRICAL WORKS OF
MOSQUE
SINDH COLLEGE OF ARTS & DESIGN (SCAD), SUKKUR
Section "A": EXTERNAL ELECTRIFICATION
S.No. | ITEM DESCRIPTION | QTY | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
Part I : Items based on Schedule Rates 2012
S/R
1. | Wiring of external lighting with 2-4mm2, S/C, PVC insulated copper cable + 1-4 mm2 copper ECC in 25mm (1") dia PVC conduit recessed in the wall or as required. Complete in all respect with all accessories. |  | Mtrs. | 252 | 0
1. | Supply & Wiring for 2-HP pump with 3-6mmsq. (3-7/.044) S/C, PVC insulated, Cu cables in 3/4" dia PVC conduit recessed in the wall or collumn as required. Complete in all respect with all accessories. (Power Circuit) (SI#26 Page # 04) | 30 | Mtrs. | 468 | 14040
Note:
For any Variation arising between the above stated BOQ items and its respective Schedule Rate items (as per Government of Sindh), the same is to be adjusted accordingly in the "Premium on Schedule Rate".
COST OF PART 'I' |  |  | (Rs.) |  | 14040
PREMIUM ___________ Above / Below |  |  | (Rs.) |  | 0
TOTAL COST OF PART 'I' |  |  | (Rs.) |  | 0
Part II : Items based on Non-Schedule Rates
2. | Providing, installing and connecting of Motor starter suitable for 2hp Motor and rated for 1-phase, 240 volts, 50Hz, AC Power supply. Complete with bimetal and instantaneous magnetic trip auxiliary contacts, push buttons, single phase protection with metallic insulated enclosure with one insulated terminal for earth, surface mounting type, complete in all respects with all accessories required. | 1 | Nos. |  | 0
3. | Providing, installing and connecting of 20Amps, Double Pole, 240 volts, MPCB as Main Disconnect switch for Pump Motors on 18 SWG sheet steel surface mounted box, anti-rust treated and painted, complete with 'ON' and 'OFF' indication lamps and all other accessories required. | 1 | Nos. |  | 0
TOTAL COST OF PART 'II' |  |  | (Rs.) |  | 0
TOTAL COST OF SECTION "A" (PART I +PART II) |  |  | (Rs.) |  | 0
Contractor
Project Director
Section "B": Distribution Boards & Feeders
S.No. | ITEM DESCRIPTION | QTY | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
1. | Providing of Main LT Panels fabricated of 14 SWG sheet steel clad, free standing, outdoor weather proof, floor mounting type for 3 phase, 500 volts, 50 Hz, A.C. Power supply and having the following configurations. (All equipment to be rated minimum 25 kA short circuit rating and 50°C ambient temperature at 415V). Panel enclosure IP-rating to comply for Weatherproof Outdoor Installation.
1.1 | MAIN DISTRIBUTION BOARD (MDB)
Short Circuit Rating 25kA (Ics) @ 400V
Incoming
1 - 32 A, T.P., M.C.C.B (Adjustable)
3 - Current Transformers 32/5A
1 - Ammeter (0-200 A) with Ammeter Selector Switch (ASS).
1 - Voltmeter (0-500 V) with Voltmeter Selector Switch (VSS).
1 - kWhr Meter
2 - ON/OFF indication lamps.
NOTE:
-i- All M.C.C.Bs, listed above shall have adjustable thermal & magnetic release
Outgoing
03 - 20 A, S.P., M.C.B
09 - 16 A, S.P., M.C.B
| 18 - 10 A, S.P., M.C.B | 1 | No. |  | 0
2. | Providing, installing, connecting & commissioning of the following Distribution Boards (DB) fabricated of 14 SWG steel clad, cubical design with hinged door cover, wall (recessed) mounted, factory assembled, suitable for 3 phase, 4 wire, 500 volts, 50 Hz A.C. Power Supply complete with copper cable lugs, glands, neutral link, earth block, terminal block etc., & having following configurations. (All equipment rated to 7.5kA short circuit rating and 50°C ambient temperature at 415V). Panel enclosure to comply with IP-50.
2.1 | DB-EXT (GROUND FLOOR)
| TOTAL COST OF SECTION "B" |  | (Rs.) |  | 0
Section "C": Main Feeder Cables
S.No. | ITEM DESCRIPTION | QTY. | UNIT | UNIT RATE (Rs) | TOTAL AMOUNT (Rs)
1. | Providing, laying & connecting of 25 mmsq., 3.5 Core, PVC/SWA/PVC from Nearest Substation to MDB laid in ground in RCC pipe including digging of earth and making of CC Manholes with covers at required distances for pulling of cables. Job also involves refilling of Earth and providing cable markers for route of LT cable as per specifications. | 100 | Mtr. |  | 0
| TOTAL COST OF SECTION "C" |  | (Rs.) |  | 0
Contractor
Project Director

## Summary of External Elect.
SUMMARY OF BILLS OF QUANTITIES FOR
EXTERNAL ELECTRICAL WORKS OF
MOSQUE
SINDH COLLEGE OF ARTS & DESIGN (SCAD), SUKKUR
S.No. | Section | Description |  | Amount (Rs.)
1. | A | External Electrification | Rs.
2. | B | Distribution Boards & Feeders | Rs.
3. | C | Main Feeder Cables | Rs.
4. | D |  | Rs.
TOTAL COST
Contractor
Project Director