## Schedule -B
SCHEDUDLE "B"
NAME OF WORK:- (ADP-134) Repair/ Renovation of Laar Museum Badin (Internal / External Electrification)
S.No. | Description of Items | Qty: | Rate | Unit | Amount
PART-A SCHEDULE ITEM
1 | Wiring for light or fan point 3/.029 PVC insulated wire in 20mm 3/4" channel patti on surface as required (S.I No. 129/P-15)
|  | 61 | 910 | No. | 55510 | /-
2 | Wiring for plug point 3/.029 PVC insulated wire in 20mm 3/4" channel patti on surface as required (S.I No. 130/P-15) | 20 | 742 | No. | 14840 | /-
3 | Wiring for call bell point 3/.029 PVC insulated wire in 20mm 3/4" channel patti on surface as required (S.I No. 131/P-15) | 1 | 1590 | No. | 1590 | /-
4 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/029 copper cunductor in 3/4" dia PVC conduit on surface (S.I.No. 03 / P-1) | 100 | 171 | P.Mtr. | 17100 | /-
5 | Providing & layig (MAIN OR SUB-MAIN) PVC insulated size 2-7/064 (16mm2) copper conductor in 1" dia PVC conduit on surface (S.I.No. 7/ P-1) | 110 | 605 | Mtr. | 66550 | /-
6 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/029 copper cunductor in 3/4" dia PVCconduet recease in the wall or column (S.I No. 10/P-02) | 90 | 252 | Mtr. | 22680 | /-
7 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/044(6mm2) copper cunductor in 1" dia PVC conduet recease in the wall or column (S.I No. 12/P-02) | 100 | 341 | Mtr. | 34100 | /-
8 | Providing & Fixing foundation box as per following specification Size of box 10"x8"5" MS plate size 16 SWG thick, Clamp with nuts & bolts., Cover plate with screw, Painting two coats of rust preentive red oxide & tow coats of ICI oil paint as per site requirement & instruction of EI (SI.No. 157/ P-24) | 8 | 1020 | P.No. | 8160 | /-
9 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper cunductor 600/1000 volts size 16mm 2 (S.I.No. 102 / P-12) | 50 | 1300 | P.Mtr. | 65000 | /-
10 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper cunductor 600/1000 volts size 25mm 2 (S.I.No. 103 / P-12) | 60 | 1909 | P.Mtr. | 114540 | /-
11 | Providing & Fixing circuit breaker 15,20,30,40,50,60,63 Amp SP (TB-5S) on prepared board as required (S.I.No.203/P-31) | 30 | 916 | No. | 27480 | /-
12 | Providing & Fixing circuit breaker 15,20,30,40,50,60,63 Amp DP (TB-5S) on prepared board as required (S.I.No.204/P-31) | 4 | 2456 | No. | 9824 | /-
13 | Providing & Fixing circuit breaker 15,20,30,40,50 &60 Amp TP (XE-100 CS) on prepared board as required (S.I.No.206/P-31) | 1 | 5521 | No. | 5521 | /-
14 | Providing & Fixing circuit breaker 15,20,30,40,50,60,63 & 100 Amp TP (XS-100 NS) on prepared board as required (S.I.No.207/P-31) | 1 | 9261 | No. | 9261 | /-
15 | Providing & Fixing circuit breaker 250 Amp TP setting 160-250Amps (XS-250 NJ) on prepared board as required (S.I.No.209/P-31) | 1 | 27411 | No. | 27411 | /-
16 | Providing & Fixing 4 No. copper crimping ferule for 16mm armoured / unarmoured cable jointing with puching tool, skilled labour taping with heat shrinkable tube & copper termination, excavation in hard/ soft soil 3' deep & 1.5ft: wide etc complete in all respect as per site requirement & instructin of EI (S.I.No. 244/ P-36) | 6 | 1193 | No. | 7158 | /-
17 | Providing & Fixing 4 No. copper crimping ferule for 25mm armoured / unarmoured cable jointing with puching tool, skilled labour taping with heat shrinkable tube & copper termination, excavation in hard/ soft soil 3' deep & 1.5ft: wide etc complete in all respect as per site requirement & instructin of EI (S.I.No. 245/ P-36) | 6 | 1331 | No. | 7986 | /-
18 | Providing & laying main or sub-main PVC insulated & PVC sheeted with 3 core copper conductor 300/500 volts size 6mm2 (S.I.No. 67/P-8) | 150 | 351 | P.Mtr. | 52650 | /-
19 | Providing & laying main or sub-main PVC insulated & PVC sheeted with 2 core copper conductor 300/500 volts size 2.5mm2 (S.I.No. 60/P-8) | 100 | 118 | P.Mtr. | 11800 | /-
20 | Providing & laying main or sub-main PVC insulated & PVC sheeted with 2 core copper conductor 300/500 volts size 6mm2 (S.I.No. 62/P-8) | 100 | 233 | P.Mtr. | 23300 | /-
21 | P/F Amare Meter size 96/96mm direct 15-60 Amps & 100 Amps as required and as per instruction of E.I (S.I.No. 284-A/P-41) | 9 | 1054 | No. | 9486 | /-
22 | P/F Volt Meter size 96/96mm 500 volt as required and as per instruction of E.I (S.I.No. 285-B/P-41) | 9 | 999 | No. | 8991 | /-
23 | P/F Back light ceiling rose with 2 terminal (S.I.28-B/P-33) | 10 | 72 | No. | 720 | /-
24 | P/F Brass Battin Holder (S.I.No. 232/P-33) | 48 | 70 | No. | 3360 | /-
25 | P/F two pin 5 Amps plug & socket flush type (S.I.No. 225-A/P-33) | 20 | 83 | No. | 1660 | /-
26 | P/F Three pin 10/15 Amps plug & socket flush type (S.I.No. 224-A/P-33) | 4 | 151 | No. | 604 | /-
27 | P/F of Street light 400 watts (Son-T) having TF 66 classification with 400 watts lamp, chowk, capacitor & internal wiring complete in all respect at the hight upto 31ft: as per side requirement and instruction of E.I make of the above light is as follow (S.I.No. 167/ P.25) | 4 | 26330 | No. | 105320 | /-
|  |  |  | Total:- | 712602 | /-
PART-B NON-SCHEDULE ITEM
1 | P/F Capsule light superior quality with plaster reflector i/c holder connection as required | 3 |  | No.
2 | P/F energy saver supior quality 25 Watts | 48 |  | No.
3 | P/F Fancy Garden Light di-casting Pole 8 ft: lenth with foundation base plate i/c nuts bolts excavation refilling with 1:2:4 C.C. complete with 01 way fitting i/c white opal glass and energy saver & holder complete in all respect (Approved by Engineer | 8 |  | No.
4 | P/F Brass Breakit Fan 18" sweep good quality (Royal /Pak) | 4 |  | No.
5 | P/F Pannel / Distribution Board suitable size 18 SWG sheet double shutter with locking arrangement i/c two coats enimalled paint (Approved by Engineer) | 4 |  | P.Sft
6 | Supply & Installation connecting on prepared board iron clade bus bar with 4 copper strips of 200 Amps in 50.8mm x 6.30mm 2"x1/4" saction with chamber of over all size 72"x20" complete in all respects(LQR) | 1 |  | No.
7 | P/F Exhaust Fan 12" Sweep complete (Royal/ Pak) | 2 |  | No.
8 | P/F Brass Ceiling Fan 56" Sweep good quality (Royal/Pak) | 4 |  | No.
9 | P/Inst: & commioning of gang switch / Socket China Made | 4 |  | No.
| i) 4 gang switch | 11 |  | No.
| ii) 6 gang switch | 4 |  | No.
Total Part-B:-
|  |  |  | Part-A total Rs. | 712602 | /-
Total (A + B):-
| CONTRACTOR |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
B A D I N