## M.S) (2)
Schedule "B"
DISTRICT PSDP
| NAME OF WORK:- | (ADP-95 ) Improvement of various Middle Schools in
Taluka T,Bago (2006-07 Prog: ) @ GBMS Sanghi Pharho (E.Work)
S.No. | Description of Items |  | Quantity | Rate |  | Unit | Amount
PART-A SCHEDULE ITEM
1 | Wiring for light or fan point 3/.029 PVC insulated wire in 20mm 3/4" channel patti on surface as required (S.I No. 129/P-15)
|  |  | 59 | @ | 910 | P.No. | 53690 | /-
2 | Wiring for plug point 3/.029 PVC insulated wire in 20mm 3/4" channel patti on surface as required (S.I No. 130/P-15)
|  |  | 12 | @ | 742 | P.No. | 8904 | /-
3 | P/F one way SP 10/15 Amps switch flush type (S.I.No. 219-A/P-33)
|  |  | 59 | @ | 54 | P.No. | 3186 | /-
4 | Wiring for call bell point 3/.029 PVC insulated wire in 20mm 3/4" channel patti on surface as required (S.I No. 131/P-15)
| Office |  | 2 | @ | 1590 | P.No. | 3180 | /-
5 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/029 copper cunductor in 3/4" dia PVC conduit on surface (S.I.No. 03 / P-1)
|  |  | 100 | @ | 171 | P.Mtr. | 17100 | /-
6 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/044(6mm2) copper cunductor in 1" dia PVC conduit on surface (S.I.No. 05 / P-1)
|  |  | 40 | @ | 305 | P.Mtr. | 12200 | /-
7 | P/F two pin 5 Amps plug & socket flush type (S.I.No. 225-A/P-33)
|  |  | 12 | @ | 83 | P.No. | 996 | /-
8 | P/F Three pin 10/15 Amps plug & socket flush type (S.I.No. 224-A/P-33)
|  |  | 3 | @ | 151 | P.No. | 453 | /-
9 | P/F Brass Battin Holder (S.I.No. 232/P-33)
|  |  | 33 | @ | 70 | P.No. | 2310 | /-
10 | P/F Volt Meter size 96/96mm 500 volt as required and as per instruction of E.I (S.I.No. 285-B/P-41)
|  |  | 1 | @ | 999 | Each | 999 | /-
11 | P/F Back light ceiling rose with 2 terminal (S.I.28-B/P-33)
|  |  | 17 | @ | 72 | P.No. | 1224 | /-
12 | Providing & Fixing circuit breaker 15,20,30,40,50,60,63 Amp SP (TB-5S) on prepared board as required (S.I.No.203/P-31)
|  |  | 8 | @ | 916 | Each | 7328 | /-
13 | Providing & Fixing circuit breaker 15,20,30,40,50 &60 Amp TP (XE-100 CS) on prepared board as required (S.I.No.206/P-31)
|  |  | 1 | @ | 5521 | Each | 5521 | /-
14 | Providing & layig (MAIN OR SUB-MAIN) PVC insulated size 2-7/052 (16mm2) copper conductor in 1" dia PVC conduit on surface (S.I.No. 6/ P-1)
|  |  | 100 |  | 428 | Mtr. | 42800 | /-
15 | P/F Brass Ceiling Fan 56" Sweep good quality (S.I.No. 235/P-34)
|  |  | 15 | @ | 3185 | Each | 47775 | /-
[6 empty] | Total:- | 207666 | /-
PART-B NON-SCHEDULE ITEM
1 | P/F Capsule light superior quality with plaster
reflector i/c holder connection as required
|  |  | 9 | @ |  | Each
2 | P/F Pilot lamp (No on sign) 200/240 Volts made in
China
|  |  | 3 | @ |  | Each
3 | P/F Main Pannel board double shutter to accommodate
heavy
|  |  | 0.83 | @ |  | P.Sft
4 | Providing and fixing energy sever superior quality
i/c fixing as required
|  |  | 33 | @ |  | Each
5 | P/F A.C ceiling fan regulator/ Dimmer fixing on
sheet i/c connection
|  |  | 15 | @ |  | Each
6 | Erriction of A.C ceiling Fan i/c wiring of down rod
with 1.13 mm (3/.029) PVC wire.
|  |  | 15 | @ |  | Each
7 | P/F A.C or DC electric bell 200/250 Volts 70mm
(LQR)
|  |  | 1 | @ |  | Each
Total Part-B:-
[6 empty] | Part-A total Rs. | 207666
G-Total:-
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
BADIN