| 01. 02. 03. | Honda Petrol Generator 2.5 KVA or Equivalent Refrigerator 7 cubic feet (Dawlance brand ) or Equivalent TRIPLE STAGE UV WATER FILTER Maximum Pressure : 125 Psi Inlet & Outlet : ¾ inches Size of the cartridges used : 20 inches Stage-1: Polypropylen Yam In-depth Sediment Filter Cartridge is used in the first stage for removal of dust, rust, silt, scale and unseen suspended particles, filtration rating of 5-micron at this stage, holds back most of the suspended particles and a minimum load of sediments is passed to the send stage. Stage-2: Granular Activate Carbon (GAC) Cartridge equipped with a post filter of 1-micron is used in send stage. If filters the water to 1-micron and the beds of Granular Activated Carbon (GAC) removes up to 99% of EDB, TCE, PCE, THMs, all orgnic chemicals, chlorine, insecticides, pesticides, herbicides and unpleasant taste and odor from drinking and cooking water. Stage-3: Ultra Violet is use in the third stage for sterilization. This is accomplished by scrambling DNA structure of micro organism, which renders them sterile. Ultra Violet is regarded as world’s simplest and most piratical mean of destroying pathogenic micro organisms. So Safe Brand or Equivalent | 01 No. 01 No. 01 No. | Rs _________ Rs _________ Rs _________ |
| --- | --- | --- | --- |