## Main
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of City Public Park ( Old Rani Bagh) Sanghar.
Part-A ( Compound Wall)
S.# | Items of Work | [8 empty] | Qty: |  | Rate | Unit | Amount
i) Part-A (Civil Work)
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | [8 empty] | 7243 | Cft | 3176.25 | %0Cft | 23006
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) | [8 empty] | 1741 | Cft | 8694.95 | %Cft | 151379
3 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe | [8 empty] | 3282 | Cft | 337 | P.Cft | 1106034
4 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 7 P-20)
| a) Tar 90% | [8 empty] | 118.68 | cwt | 5001.7 | P.cwt | 593602
| b) Mild 10% | [8 empty] | 13.19 | cwt | 4820.2 | P.cwt | 63578
5 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | [8 empty] | 3817 | Sft | 11948.36 | %Sft | 456069
6 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | [8 empty] | 3229 | Cft | 12346.65 | %Cft | 398673
7 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | [8 empty] | 14628 | Sft | 2206.6 | %Sft | 322781
8 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | [8 empty] | 14628 | Sft | 2197.52 | %Sft | 321453
9 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) | [8 empty] | 120 | Cft | 726.72 | P.Cft | 87206
10 | Providing and Fixing Steel grill solid square bars of size 1/2"x1/2" placed 4" i/c frame of flat iron path of 3/4" i/c circle shape @ 1ft apart fitting with screw ar pins i/c painting 3 coat with 1st coat of redoxide paint etc (S.I.No 30 P.No 93) | [8 empty] | 2000 | Sft | 194.16 | P.Sft | 388320
11 | Colour wash 3 Coats (S.I.No 25 P.No 53) | [8 empty] | 14628 | Sft | 1303.17 | %Sft | 190628
11 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of | [8 empty] | 192 | Sft | 34520.31 | %Sft | 66279
12 | Painting Guard Bars 3 Coats (new Surface) (S.I.No 5-d-P.No 69) | [8 empty] | 240 | Sft | 1270.83 | %Sft | 3050
|  | Amount of Schedule Items | [9 empty] | Total | Rs: | 4172039
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
[12 empty] | Total | Rs:
ii) Part-B ( W/S & S/F)
1 | Boring for tube well in all water bearing soils from ground level 100fet depth with 3" dia casing pipe (S.I.No 1-a-P.No 41) | [8 empty] | 60 | Rft | 160 | P.Rft | 9600
2 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia | [8 empty] | 30 | Rft | 73.21 | P.RRft | 2196.3
| ii) 3/4" dia | [8 empty] | 60 | Rft | 95.79 | P.RRft | 5747.4
| iii) 1" dia | [8 empty] | 30 | Rft | 128.55 | P.RRft | 3856.5
3 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) | [8 empty] | 1 | Nos | 4694.8 | Each | 4694.8
4 | P/F 33"x18" steel Sink stain less local make etc complete | [8 empty] | 1 | Nos | 5052.3 | Each | 5052.3
5 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) | [8 empty] | 2 | Nos | 2024.43 | Each | 4048.86
5 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) | [8 empty] | 2 | Nos | 447.15 | Each | 894.3
6 | Supplying and Fixing position C.P Bib cock standard (S. 2 P 16) | [8 empty] | 3 | No | 546.92 | Each | 1641
7 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). | [8 empty] | 3 | Nos | 889.46 | P.No: | 2668.38
8 | P/F: Handle valve (Chine Make)
| A---do--- 3/4" dia | [8 empty] | 1 | Nos | 271.92 | P.No: | 271.92
| B---do--- 1" dia | [8 empty] | 1 | Nos | 365.42 | P.No: | 365.42
|  | Amount of Schedule Items | [10 empty] | Total | 41037.18
Add: / Deduct _________ %Above / Below on Sanitary Items
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total
Total A
PART-B ( PATH & CANTEEN)
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | [8 empty] | 644 | Cft | 3176.25 | %0Cft | 2046
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) | [8 empty] | 2010 | Cft | 8694.95 | %Cft | 174768
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | [8 empty] | 592 | Sft | 11948.36 | %Sft | 70734
4 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | [8 empty] | 439 | Cft | 337 | P.Cft | 147943
5 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 7 P-20) (Tar) | [8 empty] | 19.59 | cwt | 5001.7 | P.cwt | 97983
6 | Filling watering and remming earth ground floor with new earth excavated from out side lead upto 1 chain and lift upto 5' feet (S.I.No. 22 P-4) | [8 empty] | 1146 | Cft | 3630 | %0 Cft | 4160
7 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) | [8 empty] | 752 | Cft | 12674.36 | %Cft | 95311
8 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | [8 empty] | 54 | Sft | 1273.76 | P.Sft | 68783.04
9 | Providing & Fixing iron steel grill door with angle iron frame of 1-1/2" x 1-1/2" X 1/4" and flat iron of 3/4" x 1/4" with approved designa nd locking arrnagment embeded in Masonry as per instruction of Engineer Incharge (S.I.No 31 P.NO 94) | [8 empty] | 56 | Sft | 231.6 | P.Sft | 12969.6
10 | Cement Concrete plain including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . | [8 empty] | 119 | Cft | 14429.25 | %Cft | 17171
11 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | [8 empty] | 2266 | Sft | 2206.6 | %Sft | 50002
12 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | [8 empty] | 2266 | Sft | 2197.52 | %Sft | 49796
13 | Providing and laying tiles glazed 6"X6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting (S.I.No 60 P.No 46) | [8 empty] | 572 | Sft | 30509.77 | %Sft | 174516
14 | Providing and Lying 3" thick C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41)
| 3" thick | [8 empty] | 8580 | Sft | 4411.82 | %Sft | 378534
| 2" thick | [8 empty] | 712 | Sft | 3275.5 | %Sft | 23322
15 | Providing and Fixing Cement Paving Blocks flooring having size of (197x97x60) mm of city cobble shave with natural colour etc complete (S.I.No 71 P.No 48) | [8 empty] | 3200 | Sft | 199.77 | P.Sft | 639264
16 | Providing & Fixing precast Edge Block 3750 PSI industrial Made size 6 inches this X 12 inches long x 12 inches high i/c the cost of cartage excavation form work for haunching 1450 PSI lean concrete 2250 PSI concrete for hunching : 1: 4 cement sand mortor (S.I.No 14 P.No 16) | [8 empty] | 400 | Sft | 297.01 | P.Sft | 118804
17 | White washing 3 coats (S.I.No 26-C-P.No 53) | [8 empty] | 476 | Sft | 829.95 | %Sft | 3951
18 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | [8 empty] | 1152 | Sft | 442.75 | %Sft | 5100
19 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | [8 empty] | 1152 | Sft | 1079.65 | %Sft | 12438
20 | Colour wash 3 Coats (S.I.No 25 P.No 53) | [8 empty] | 1224 | Sft | 1303.17 | %Sft | 15951
|  | Amount of Schedule Items | [9 empty] | Total | Rs: | 2163546.64
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
[12 empty] | Total | Rs:
PART-C ( EARTH FILLING)
i) Part-A (Schedule Item)
1 | Borrow pit excavtion undressed lead upto 100 feet Ordinary Soil (S.I.No 3-a-P.No1) | [8 empty] | 144000 | Cft | 2117.5 | %0Cft | 304920
2 | Laying earth in 6" thick layer lavelling dressing and watering for compaction etc complete. | [8 empty] | 144000 | Cft | 263 | %0 Cft | 37872
3 | Filling watering and remming earth ground floor with new earth excavated from out side lead upto 1 chain and lift upto 5' feet (S.I.No. 22 P-4) | [8 empty] | 1146 | Cft | 3630 | %0 Cft | 4160
4 | Supplying of Clean sand Revier or Pit sand (S.I.No 36 P.No 6) | [8 empty] | 110000 | Cft | 420 | %Cft | 462000
5 | Trufing slops of banks or lawns with grass sods i/c ploughing laying setting and watering (Turf got from within a distnace of 5 miles and maintenance for 15 days) (S.I.No 27 P.No 05) | [8 empty] | 110000 | Sft | 1210 | %Sft | 1331000
6 | Supplying Manure (S.I.No 44 P.No 103) | [8 empty] | 450 | Sft | 298.12 | P.Sft | 134154
|  |  |  | Amount of Schedule Items | [7 empty] | Total | Rs: | 2274106
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total
ii) Part-B ( Non-Schedule Item)
1 | Providing & Testing Duty grass Cutter Machine ( RA) | [8 empty] | 1 | Nos |  | P.No:
2 | Provinding and Installing Electric Water Coller Dispensary (R.A) | [8 empty] | 1 | Nos |  | P.No:
3 | Her Charges of Tractor will Polt | [8 empty] | 30 | Hour |  | P.Hour
4 | Tree Plantation and Maintaince of 1 Month | [8 empty] | 1 | No. |  | Each
5 | Providing and Fixing UPVC Pipe | [8 empty] | 1 | No. |  | Each
| 1" dia | [8 empty] | 150 | Rft |  | P.Rft
| 3/4" dia | [8 empty] | 100 | Rft |  | P.Rft
6 | S/F 0.5 HP 1400 Rmp With best quality pump | [8 empty] | 1 | No. |  | Each
7 | Making & Fixing Hard wooden Benchs 6" Long of approved design & quality etc complete | [8 empty] | 6 | No. |  | Each
8 | Supplying & fixing Fibre Glass Dustben | [8 empty] | 2 | No. |  | Each
Total
Total-( c )
Total A+B+C
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [9 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of Various Bungalow and Quarters in District Head Quarter Sanghar (Various Bungalows & Quarters)
Part-A (Various Bungalows)
S.# | Items of Work | [8 empty] | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | [8 empty] | 1033 | Cft | 3327.5 | %Cft | 34373
2 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) | [8 empty] | 83 | Cft | 5445 | %Cft | 4519
3 | Dismentling glazed or ercaustic Tiles etc (S.I.No: 55 P.No: 13) | [8 empty] | 1139 | Cft | 786.5 | %Sft | 8958
4 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) | [8 empty] | 396 | Sft | 1285.63 | %Sft | 5091
5 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | [8 empty] | 235 | Cft | 3176.25 | %0Cft | 746
6 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) | [8 empty] | 1426 | Cft | 8694.95 | %Cft | 123990
7 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | [8 empty] | 158 | Sft | 11948.36 | %Sft | 18878
8 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | [8 empty] | 127 | Cft | 337 | P.Cft | 42799
9 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 7 P-20) | [8 empty] | 12.96 | cwt | 4820.2 | P.cwt | 62470
10 | Removing cement palster from walls (S.I.No. 53 P-13) | [8 empty] | 6398 | Cft | 121 | %Sft | 7743
11 | Scraping in ordinary distemper oil bound distemper or paint on walls (S. 54 (b) P13) | [8 empty] | 3664 | Sft | 226.28 | %Sft | 8291
12 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | [8 empty] | 722 | Cft | 12346.65 | %Cft | 89143
13 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) | [8 empty] | 6398 | Cft | 660 | %Sft | 42227
14 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | [8 empty] | 6398 | Sft | 2206.6 | %Sft | 141178
15 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | [8 empty] | 6398 | Sft | 2197.52 | %Sft | 140597
16 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41)
| 3" thick | [8 empty] | 8300 | Sft | 4411.82 | %Sft | 366181
17 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . | [8 empty] | 411 | Sft | 14429.25 | %Sft | 59304
18 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) | [8 empty] | 651 | Sft | 28299.3 | %Sft | 184228
19 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of white gery of with cement etc complete (S.I.No 62 P.No 47) | [8 empty] | 32 | Sft | 34520.31 | %Sft | 11046
20 | Providing and laying tiles glazed 6"X6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting (S.I.No 60 P.No 46) | [8 empty] | 601 | Sft | 30509.77 | %Sft | 183364
21 | Supplying and fixing false ceilling of paster of paris in pannel I/c making fram work of deodar wood I/c pointing with galigia paint (S.I.No. 52 P-63) | [8 empty] | 431 | Sft | 25293.42 | %Sft | 109015
22 | Providing and fixing palster of paris ceilling bordar of 5"x10" with of specified design and thickness I/c fixing beside ceilling with nails screws with getties (S.I.No. 44 P-38) | [8 empty] | 114 | Sft | 104.22 | P.Sft | 11881
23 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | [8 empty] | 260 | Sft | 1273.76 | P.Sft | 331177.6
24 | First Class deodar wood wrought joinary work in wire gauge door with 22 SWG glazing wire guage 144 mesh
| Galvinized wire guage fixed to chowkats with 3/4" thick thick stips screw | [8 empty] | 23 | Sft | 454.19 | P.Sft | 10446
25 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) | [8 empty] | 72 | Sft | 190.72 | P.Sft | 13732
26 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) | [8 empty] | 66 | Sft | 180.5 | P.Sft | 11913
27 | Supplying and fixing in position Aluminium channles framing of binged door of Alcp mads with 5 mm their tinted glaze glazing belgium and Alpha (Japan) locke I/c handle stopperetc (b) lurs modle Bronze) (S.I.No. 83-b-P-107) | [8 empty] | 21 | Sft | 1507.66 | P.Sft | 31661
28 | Supplying and fixing in position Aluminium channles framing of binged door of Alcp mads with 5 mm their tinted glaze glazing belgium and Alpha (Japan) locke I/c handle stopperetc (b) lurs modle Bronze) (S.I.No. 84-b-P-107) | [8 empty] | 12 | Sft | 1647.69 | P.Sft | 19772
29 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) | [8 empty] | 36 | Cft | 726.72 | P.Cft | 26162
30 | Door Closers single action good quality (S.I.No 208(xiii-i) P.No 75) | [8 empty] | 1 | Sft | 5000 | P.Sft | 5000
31 | Door Closers Double action good quality (S.I.No 208(xiii-ii) P.No 75) | [8 empty] | 4 | Sft | 15000 | P.Sft | 60000
32 | White washing 3 coats (S.I.No 26-C-P.No 53) | [8 empty] | 2238 | Sft | 829.95 | %Sft | 18574
33 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | [8 empty] | 3664 | Sft | 442.75 | %Sft | 16222
34 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | [8 empty] | 3664 | Sft | 1079.65 | %Sft | 39558
35 | Colour wash 3 Coats (S.I.No 25 P.No 53) | [8 empty] | 5687 | Sft | 1303.17 | %Sft | 74111
36 | Painting doors and windows any type three coats (old Surface) (S.I.No.4-c P-67) | [8 empty] | 1174 | Sft | 1662.21 | %Sft | 19514
37 | Painting Guard Bars 3 Coats (old Surface) (S.I.No 4-d-P.No 68) | [8 empty] | 113 | Sft | 977.4 | %Sft | 1104
38 | Painting Guard Bars 3 Coats (new Surface) (S.I.No 5-d-P.No 69) | [8 empty] | 72 | Sft | 1270.83 | %Sft | 915
39 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry current finishing cleaning and (New work) (S.I.No 68 P.No 48) | [8 empty] | 25 | Sft | 186.04 | %Sft | 4651
|  | Amount of Schedule Items | [9 empty] | Total | Rs: | 2340554.6
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) | [8 empty] | 8 | Nos | 4846.6 | Each | 38772.8
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) | [8 empty] | 8 | Nos | 4694.8 | Each | 37558.4
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). | [8 empty] | 8 | Nos | 938.47 | Each | 7507.76
4 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) | [8 empty] | 18 | Nos | 2024.43 | Each | 36439.74
5 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) | [8 empty] | 16 | Nos | 447.15 | Each | 7154.4
6 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) | [8 empty] | 8 | Nos | 1082.95 | Each | 8663.6
7 | P/F 24"x18" bevelled edges Mirrior of belgum glass complete with 1/8" thick hard board (S.I.No 3-a-P.No 7) | [8 empty] | 8 | Nos | 1711.6 | Each | 13692.8
8 | P/F 33"x18" steel Sink stain less local make etc complete | [8 empty] | 6 | Nos | 5052.3 | Each | 30313.8
9 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia | [8 empty] | 400 | Rft | 73.21 | P.RRft | 29284
| ii) 3/4" dia | [8 empty] | 560 | Rft | 95.79 | P.RRft | 53642.4
| iii) 1" dia | [8 empty] | 400 | Rft | 128.55 | P.RRft | 51420
10 | Add: extra labour for cancelled G.I Pipe and fitting 1/2" dia | [8 empty] | 400 | Rft | 7.82 | P.RRft | 3128
11 | P/F: Handle valve (Chine Make)
| A---do--- 3/4" dia | [8 empty] | 8 | Nos | 271.92 | P.No: | 2175.36
| B---do--- 1" dia | [8 empty] | 8 | Nos | 365.42 | P.No: | 2923.36
12 | Making the connection with G.I Pipe of size 2"x6" i/c cutting the pipe (S.I.No 9 P.No 18) | [8 empty] | 8 | Nos | 761.2 | Each | 6089.6
13 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) | [8 empty] | 48 | Nos | 1109.46 | Each | 53254.08
14 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). | [8 empty] | 32 | Nos | 889.46 | P.No: | 28462.72
15 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) | [8 empty] | 16 | Nos | 509.74 | P.No: | 8155.84
16 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). | [8 empty] | 16 | Nos | 1142.24 | P.No: | 18275.84
17 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) | [8 empty] | 16 | Nos | 795 | P.No: | 12720
18 | P/F: Chamber 15" X 9" ( Inside dimension) x 24" deep for house maters with 6" thick c.c 1:2 block get on 1:6 cement morter 6" thick c,c, 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cast concrate a cover and frame 15" x 9" (inside) clear opning wt: 1"qr : etc fixed in cement concrate 1:2:4 i/c curring excavation back filling and disposal of earth etc complete (S.I.No 4 P.No 20) | [8 empty] | 3 | Nos | 4905.67 | Each | 14717.01
19 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) | [8 empty] | 160 | Nos | 136 | Each | 21760
20 | Construction of Main Hole or inspection Chamber size 2x2'x3-6" of bricks masonary without C.I Cover and frame | [8 empty] | 8 | Nos | 14748 | Each | 117984
21 | UPVC fititing 4" dia of class "B"
| a) 4" dia Tee | [8 empty] | 8 | Nos | 725 | Each | 5800
| b) 4" Elblow | [8 empty] | 24 | Nos | 577 | Each | 13848
22 | Excavation for pipe line in trenches etc complete | [8 empty] | 225 | Cft | 3600 | %0Cft | 810
23 | Providing and Fixing RCC Pipe 6" dia (S.I.No 2-P.No 23)
a) | 9" dia | [8 empty] | 50 | Rft | 250.6 | Each | 12530
b) | 6" dia | [8 empty] | 50 | Rft | 199.25 | Each | 9962.5
24 | Refillining the excavated strup watering in trenches 6" thick layer | [8 empty] | 75 | Rft | 2760 | %0Cft | 207
25 | Fixing laverty basin of all size with trap and brackets etc complete i/c labour of connecting up waste and west pipe etc complete (S.i.No 5 P.No 25) | [8 empty] | 8 | Nos | 748.66 | Each | 5989.28
26 | Fixing Shink all size with bracket and west trap chain & plug etc complete (S.I.No 7 P.No 14) | [8 empty] | 2 | Nos | 763.4 | Each | 1526.8
27 | M/F of 24" RCC Main Hole Cover cast in 1:2:4 concrete , 3" thick and reinforcement with 1/2" dia bar at 4" center to center (S.I.No 1 P.No 30) | [8 empty] | 5 | Nos | 1051.25 | Each | 5256.25
28 | S/F: C.P Mulism Shower with double bib cock and ring pipe complete (S.I.No: 19-a P-19). | [8 empty] | 1 | Nos | 3432 | P.No: | 3432
29 | S/F Bath Room accesseries set 7 pieces i/c towel rod burish holder soap tray shelf of approved quality and design (S.i.No 22 P.No 19) | [8 empty] | 1 | Nos | 8122.4 | P.No: | 8122
30 | S/F Shink mixture cock with C.P head etc complete (S.I.No 17 P.No 19) | [8 empty] | 1 | Nos | 2745.6 | P.No: | 2746
31 | S/F wash basin mixture with 1/2" dia C.P h C.P head etc complete (S.I.No 14-a- P.No 19) | [8 empty] | 1 | Nos | 2882 | P.No: | 2882
32 | Boring for tube well in all water bearing soils from ground level 100fet depth with 3" dia casing pipe (S.I.No 1-a-P.No 41) | [8 empty] | 60 | Rft | 160 | P.Rft | 9600
|  | Amount of Schedule Items | [10 empty] | Total | #VALUE!
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
[13 empty] | Total | #VALUE!
Cost Non-Schedule Item.
33 | S/F 0.50 HP Motor 1800 RPM with piston pump set of approved quality i/c making plate form in C.C 1:2:4 (M.R) | [8 empty] | 3 | No |  | Each
Total
Total A
Part-B (Various Quarters)
Part-A (Civil Work)
1 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | [8 empty] | 1583 | Cft | 3327.5 | %Cft | 52674
2 | Dismentling glazed or ercaustic Tiles etc (S.I.No: 55 P.No: 13) | [8 empty] | 217 | Cft | 786.5 | %Sft | 1707
3 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) | [8 empty] | 38 | Sft | 1285.63 | %Sft | 489
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | [8 empty] | 457 | Cft | 3176.25 | %0Cft | 1452
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) | [8 empty] | 5096 | Cft | 8694.95 | %Cft | 443095
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | [8 empty] | 428 | Sft | 11948.36 | %Sft | 51139
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe | [8 empty] | 197 | Cft | 337 | P.Cft | 66389
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 7 P-20) | [8 empty] | 12.96 | cwt | 4820.2 | P.cwt | 62470
9 | Removing cement palster from walls (S.I.No. 53 P-13) | [8 empty] | 13631 | Cft | 121 | %Sft | 16494
10 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) | [8 empty] | 404 | Cft | 12346.65 | %Cft | 49880
11 | Applying floating Coat of H.I Bond (S.I.No 13 P.No 13) | [8 empty] | 2811 | Cft | 1029.05 | %Sft | 28927
12 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) | [8 empty] | 10820 | Cft | 660 | %Sft | 71412
13 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | [8 empty] | 11639 | Sft | 2206.6 | %Sft | 256826
14 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | [8 empty] | 13799 | Sft | 2197.52 | %Sft | 303236
15 | Cement plaster 3/4" thick ratio 1:4 (S.I.No 11-c-P.No 51) | [8 empty] | 1761 | Cft | 3015.76 | %Sft | 53108
16 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41)
(a) | 3" thick | [8 empty] | 5311 | Sft | 4411.82 | %Sft | 234312
(B) | 2" thick | [8 empty] | 8671 | Sft | 3275.5 | %Sft | 284019
17 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . | [8 empty] | 260 | Sft | 14429.25 | %Sft | 37516
18 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) | [8 empty] | 153 | Cft | 12674.36 | %Cft | 19392
19 | Cement Jali 2" thick (S.I.No 11 P.No 17) | [8 empty] | 191 | Sft | 226.02 | P.Sft | 43170
20 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) | [8 empty] | 1316 | Sft | 28299.3 | %Sft | 372419
21 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57)
| a) only Door | 4 | x | 2 | x | 3.25 | x | 7 | = | 322 | Sft | 1273.76 | P.Sft | 410150.72
| (B) only Shulter | [8 empty] | 110 | Sft | 370.83 | P.Sft | 40791
22 | First Class deodar wood wrought joinary work in wire gauge door with 22 SWG glazing wire guage 144 mesh
| Galvinized wire guage fixed to chowkats with 3/4" thick thick stips screw | [8 empty] | 209 | Sft | 454.19 | P.Sft | 94926
23 | White washing 3 coats (S.I.No 26-C-P.No 53) | [8 empty] | 4219 | Sft | 829.95 | %Sft | 35016
24 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | [8 empty] | 5791 | Sft | 442.75 | %Sft | 25640
25 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | [8 empty] | 5791 | Sft | 1079.65 | %Sft | 62523
25 | Providing and Fixing Brass Spring hinges to wire gauzed door (S.i.No 18 P.No 59) | [8 empty] | 2 | Sft | 801.35 | P.Sft | 1603
26 | Providing and Fixing approved quality mortice lock (S.I.No 21 P.No 59) | [8 empty] | 1 | Sft | 1786.13 | P.Sft | 1786
27 | Colour wash 3 Coats (S.I.No 25 P.No 53) | [8 empty] | 4789 | Sft | 1303.17 | %Sft | 62409
28 | Painting doors and windows any type three coats (old Surface) (S.I.No.4-c P-67) | [8 empty] | 1360 | Sft | 1662.21 | %Sft | 22606
29 | Painting Guard Bars 3 Coats (old Surface) (S.I.No 4-d-P.No 68) | [8 empty] | 338 | Sft | 977.4 | %Sft | 3304
Amount of Schedule Items
[12 empty] | Total | Rs: | 3210802.72
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total(A)
Part-B ( Non-Schedule Item)
1 | Supplying and fixing best quality circuit breaker 3 phase ( Japan) | [8 empty] | 3 | Nos |  | P.No.
2 | Supplying and Fixing 60 to 70 Amps auto matic (OPR) of 380 to 440 volt of best quality. | [8 empty] | 4 | Nos |  | P.No.
3 | Removing and Re-fixing pump set 3x4" pump i/c turning of shafts and replacement of ball bearing etc complete in all respect | [8 empty] | 2 | Nos |  | P.No.
4 | Supplying and fixing Amp meter size 72x72 | [8 empty] | 3 | Nos |  | P.No.
5 | Making and Fixing Wooden pannel board i/c 4 Nos motor to board connection with 16mm insulated wire i/c all labour & material etc complete | [8 empty] | 1 | Job |  | P.No.
Total B
Total A+B
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [9 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Demolish / Re-Construction of Shah Abdul Latif Bhitai Public Library Tando Adam District Sanghar.
Part-A
S.# | Items of Work | [8 empty] | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentling Mud Concreate (S.I.No 16 P.No 16) | [8 empty] | 2378 | Cft | 605 | %Cft | 14387
2 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) | [8 empty] | 1744 | Cft | 3327.5 | %Cft | 58032
3 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) | [8 empty] | 2540 | Cft | 5445 | %Cft | 138303
4 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) | [8 empty] | 13663 | Sft | 1285.63 | %Sft | 175656
5 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | [8 empty] | 9628 | Cft | 3176.25 | %0Cft | 30581
6 | Erection and removal of centering for R.C.C or C.C plain cement concrete works of deadar wood (ii class vertical) (S.I.No. 19-b-P-17) | [8 empty] | 3548 | Sft | 3127.41 | %Sft | 110961
7 | Supplying Pid Sand (S.I.No 49 Basic Material) | [8 empty] | 2022 | Cft | 900 | %Cft | 18198
8 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | [8 empty] | 12011 | Cft | 337 | P.Cft | 4047707
|  |  |  | Amount of Schedule Items | [8 empty] | Total | 4593825
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total (A)
Part-B
(Civil Work)
1 | Cement concrete brick work or stone ballast 1:4:8 (S.I.No.4 ( B ) P-15) | [8 empty] | 1883 | Cft | 9416.28 | %Cft | 177309
2 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) | [8 empty] | 3616 | Sft | 12674.36 | %Sft | 458305
3 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | [8 empty] | 536.21 | cwt | 5001.7 | P.cwt | 2681962
4 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) | [8 empty] | 54 | Sft | 180.5 | P.Sft | 9747
5 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) | [8 empty] | 39 | Sft | 190.72 | P.Sft | 7438
6 | S/F iron Windows printed blinds horizentla / vertical with plain design and approved coloure i/c fixing (S.I.No 71 P.No 66) | [8 empty] | 174 | Sft | 91.11 | P.Sft | 15853
|  | Amount of Schedule Items | [10 empty] | Total | 3350614
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total (B)
Part-C
(Civil Work)
1 | Cement concrete Plain i/c placing, compacting finishing & curing complete ( i/c screeing & washing of stone aggregate without shuttering) (h) ratio 1:3:6 (S.I.No 5 (h) P.No 18 | [8 empty] | 1798 | Cft | 12595 | %Cft | 226458
2 | Supplying Earth or Mud (S.I.No 262 Basic Material) | [8 empty] | 15166 | Cft | 500 | %Cft | 75830
3 | Cement Concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:5:10.(S.I.No 4 (C) P.No 14) | [8 empty] | 2110 | Sft | 8694.95 | %Sft | 183463
4 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | [8 empty] | 10624 | Cft | 2206.6 | %Sft | 234429
5 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | [8 empty] | 10624 | Sft | 2197.52 | %Sft | 233465
6 | Providing and Fixing G.I frame chowkat of size 7"x2" or 4-1/2" x 3" for door using 20 gauge G.I Sheet i/c selded hinges and fixing at site with necessary holders fasts, filling with cement sand slurry of ratio 1:6 (S.I.No: 29 P.No: 92) | [8 empty] | 115 | Sft | 228.9 | P.Sft | 26324
7 | Providing and Fixing G.I frame chowkat of size 7"x2" or 4-1/2" x 3" for windows using 20 gauge G.I Sheet i/c selded hinges and fixing at site with necessary holders fasts, filling with cement sand slurry of ratio 1:6 (S.I.No: 28 P.No: 92) | [8 empty] | 99 | Sft | 240.5 | P.Sft | 23810
8 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) only Shulter | [8 empty] | 195 | Sft | 902.93 | P.Sft | 176071.35
9 | Supplying and fixing in position Aluminium channles framing of binged door of Alcp mads with 5 mm their tinted glaze glazing belgium and Alpha (Japan) locke I/c handle stopperetc (b) lurs modle Bronze) (S.I.No. 83-B-P-107) | [8 empty] | 144 | Sft | 1507.66 | P.Sft | 217103
10 | Supplying and fixing in position Aluminium channles framing of binged door of Alcp mads with 5 mm their tinted glaze glazing belgium and Alpha (Japan) locke I/c handle stopperetc (b) lurs modle Bronze) (S.I.No. 84-b-P-107) | [8 empty] | 174 | Sft | 1647.69 | P.Sft | 286698
11 | S/F iron steel gril using solid square bars of size 1/2" x 1/2" placed at 4" i/c and frame of flat iron patti of size 3/4" x 3/4" i/c circule shape at 1-0 apart (S.I.No 30 P.No 93) | [8 empty] | 174 | Sft | 194.16 | P.Sft | 33784
12 | Supplying and fixing false ceilling of paster of paris in pannel I/c making fram work of deodar wood I/c pointing with galigia paint (S.I.No. 52 P-63) | [8 empty] | 1870 | Sft | 25293.42 | %Sft | 472987
13 | Providing and fixing palster of paris ceilling bordar of 5"x10" with of specified design and thickness I/c fixing beside ceilling with nails screws with getties (S.I.No. 44 P-38) | [8 empty] | 178 | Sft | 104.22 | P.Rft | 18551
14 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . | [8 empty] | 688 | Cft | 14429.25 | %Cft | 99273.24
15 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) | [8 empty] | 472 | Sft | 567.48 | P.Sft | 267851
16 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) | [8 empty] | 78 | Sft | 186.04 | P.Sft | 14511
17 | Providing and laying tiles glazed 6"X6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting (S.I.No 60 P.No 46) | [8 empty] | 2086 | Sft | 30509.77 | %Sft | 636434
18 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) | [8 empty] | 841 | Sft | 28299.3 | %Sft | 237997
19 | Providing & Fixing precast Edge Block 3750 PSI industrial Made size 6 inches this X 12 inches long x 12 inches high i/c the cost of cartage excavation form work for haunching 1450 PSI lean concrete 2250 PSI concrete for hunching : 1: 4 cement sand mortor (S.I.No 14 P.No 16) | [8 empty] | 80 | Sft | 297.01 | P.Sft | 23761
20 | Mosaic Chequer Tiles 8"x8"x 1-1/4" of approve shade laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2 (S.I.No 57 P.No 47) | [8 empty] | 80 | Sft | 5361.14 | %Sft | 4289
21 | Providing and Lying 3" thick C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41)
| 2" thick | [8 empty] | 4488 | Sft | 3275.5 | %Sft | 147004
22 | Providing and laying HALA or Pattern tiles glazed 6"X6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | [8 empty] | 378 | Sft | 47651 | %Sft | 180121
23 | White washing 3 coats (S.I.No 26-P.No 53) | [8 empty] | 4049 | Sft | 829.95 | %Sft | 33605
24 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | [8 empty] | 10624 | Sft | 442.75 | %Sft | 47038
25 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | [8 empty] | 10624 | Sft | 1079.65 | %Sft | 114702
26 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) | [8 empty] | 1987 | Sft | 2567.95 | %Sft | 51025
27 | Preparing the surface and painting with Matt Finish i.c rubbing the surface with etc complete (S.I.No 37 P.No 54) | [8 empty] | 2136 | Sft | 2499.76 | %Sft | 53395
28 | Painting doors and windows any type three coats (old Surface) (S.I.No.4-c P-67) | [8 empty] | 390 | Sft | 1662.21 | %Sft | 6483
29 | Glazing with pans (24 OZ to 26 OZ ) using putting and deodar wooden 1sst Class etc complete (S.I.No 46 P.No 63) | [8 empty] | 288 | Sft | 163.9 | P.Sft | 47203.2
|  |  | Amount of Schedule Items | [9 empty] | Total | 4173665.79
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total
Total (A+B+C)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [9 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
Note on P106: Anwer ali:
Note on P482: Anwer ali:

## W.S
S.# | Items of Work | Qty: |  | Rate | Unit | Amount
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1)
| in Bath | 1 | Nos | 4846.6 | Each | 4846.6
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4)
| in Bath | 1 | Nos | 4694.8 | Each | 4694.8
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). | 1 | Nos | 938.47 | Each | 938.47
4 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6)
|  | 1 | Nos | 2042.43 | Each | 2042.43
5 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6)
| for bath | 2 | Nos | 447.15 | Each | 894.3
6 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7)
|  | 1 | Nos | 1082.95 | Each | 1082.95
7 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
i) 1/2" dia
| in Bath | 20 | Rft | 73.21 | P.RRft | 1464.2
ii) 3/4" dia
| in outside | 20 | Rft | 95.79 | P.RRft | 1915.8
iii) 1" dia
| in outside | 10 | Rft | 128.55 | P.RRft | 1285.5
8 | Add: extra labour for cancelled G.I Pipe and fitting 1/2" dia
|  | 20 | Rft | 7.82 | P.RRft | 156.4
9 | P/F: Handle valve (Chine Make)
| A---do--- 3/4" dia | 1 | Nos | 271.92 | P.No: | 271.92
| B---do--- 1" dia | 1 | Nos | 365.42 | P.No: | 365.42
10 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19)
|  | 2 | Nos | 1109.46 | Each | 2218.92
11 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14).
|  | 1 | Nos | 889.46 | P.No: | 889.46
12 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18)
|  | 2 | Nos | 509.74 | P.No: | 1019.48
13 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19).
|  | 1 | Nos | 1142.24 | P.No: | 1142.24
14 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19)
|  | 1 | Nos | 877.8 | P.No: | 877.8
15 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23)
|  | 10 | Nos | 136 | Each | 1360
16 | UPVC fititing 4" dia of class "B"
a) 4" dia Tee
| for WC | 1 | Nos | 725 | Each | 725
b) 4" Elblow
| for Floor Trap | 1 | Nos | 577 | Each | 577
[5 empty] | Total | 28768.69
SUB-ENGINEER |  |  |  | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
KHIPRO

## extMaterial
NAME OF WORK: - |  | #REF!
MATERIAL STATEMENT
S.NO: | NAME OF ITEM | QTY | CEMENT | SAND | BAJRI | STONE | STEEL | BRICKS
1 | C.C 1:5:10 | #REF! | #REF! | #REF! | 0 | #REF! | 0 | 0
2 | RCC + CC Plain 1:2:4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #REF! | 0
3 | P.B work (1:6) | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #VALUE!
4 | C.P Plaster 3/4" thick(1:4) | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0
|  | Total | #REF! | #REF! | #VALUE! | #REF! | #REF! | #VALUE!
|  | Rate | 55.53 | 3879.77 | 3507 | 4205.37 | 32.46 | 982.24
|  | Amounts | #REF! | #REF! | #VALUE! | #REF! | #REF! | #VALUE!
#REF!
SUB-ENGINEER | [5 empty] | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
KHIPRO

## Carrig
NAME OF WORK: - |  |  |  | #REF!
CARRIAGE OF MATERIAL
1 | Cement
| Lead from Hyderabad to Site work | [5 empty] | 82 | Miles
| Cartage of First |  | 2 | Miles |  | Rs: | 7.53
| Remaing of | 80 | Miles | 0.6 | Per Miles | Rs: | 48
55.53
2 | Hill Sand
| Lead from Bhullary to site work | [5 empty] | 97 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 91 | Miles | 32.56 | Per Miles | Rs: | 2962.96
| Add: 25% of hill area |  |  |  |  | Rs: | 144.85
3879.77
3 | Crush Bajri.
| Lead from Jam Shoro crush to site work | [5 empty] | 90 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 84 | Miles | 32.56 | Per Miles | Rs: | 2735.04
3507
4 | Stone Metal
| Lead from onger to site work | [5 empty] | 107 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 101 | Miles | 32.56 | Per Miles | Rs: | 3288.56
| Add: 25% of hill area |  |  |  |  | Rs: | 144.85
4205.37
5 | Steel
| Lead from Latifabad (HYD) to site of work | [5 empty] | 82 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 76 | Miles | 32.56 | Per Miles | Rs: | 2474.56
[7 empty] | 3246.52 | ÷ 100 = | 32.46
6 | Bricks
Units = 1000 Nos:
| Lead from Tando Adam to site of work. | [5 empty] | 20 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 617.54
| Remaining of | 14 | Mil | 26.05 |  | Rs: | 364.7
982.24
7 | Earth
| Lead from source to site work | [5 empty] | 3 | Miles
| Cartage of First Three Miles |  |  |  |  | Rs: | 579.41
579.41
SUB-ENGINEER | [6 empty] | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
KHIPRO

## Summary
SUMMARY OF COST
Name of Work: |  | #REF!
PART-A. (Civil Works)
| 1 | Cost of Schedule Items |  | Rs: | #REF!
|  |  | Total Rs: |  | #REF!
| 4 | Add: Carttage |  | Rs: | #REF!
|  |  | Total Rs: |  | #REF!
|  |  | SAY |  | #REF!
SUB-ENGINEER |  |  | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
KHIPRO.

## Face Sheet (2)
DISTRICT OFFICE | :► |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
TALUKA OFFICE | :► |  | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
JAM NAWAZ ALI.
FUND HEAD | :► |  | PROVINCIAL GOVERNMENT.
SERVICE HEAD |  | :► | #REF!
#REF!
This detailed estimate has been framed in the office of the Executive Engineer Buildings Division Sanghar, for probable expenses that will be incurred on the carry-out the above said work.
FACE SHEET