**SCHEUDULE “B” CONSTRUCTION OF SURFACE DRAINS AT REHMANI PARO AND KHIPRO ROAD UPTO DISPOSAL FOR RURAL DRAINAGE SCHEME KHAHI DISTRICT SANGHAR.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.# | Description | Qty | Rate | Unit | Amount |

1. Excavation in foundation of building and other structure i/c dag belling dressing refilling around the structure with excavated earth watering and ramming lead upto one chain and lift upto 5’ (In ordinary soil) (GSI No: 18(b)P/5).

16755.0 Cft. Rs.3176/25 P% 0 Cft. Rs. 53218/-

2. Cement concrete plain i/c placing compacting finishing curing etc complete i/c screening and washing or stone aggregate without shuttering Ratio 1:4:8 (GSI No:5(i) P-18).

2640.0 Cft. Rs:11288/75 P% Cft. Rs: 298079/-

3. Pucca brick work in foundation and plinth in cement sand mortor (1:6) (GSINo:4(e)P/24)

8438.50 Cft Rs: 11948/36 P% Cft Rs: 1008203/-

4. Cement plaster (1:4) upto 20’ height ½” thick.(GSI No:11(b)P/55).

11220.00 Sft Rs: 2283/93 P% Sft Rs: 256257/-

5. Construction of standard open drains conute block of CC (1:2:4) in situ to design profile i/c cost of mould as per drawing i/c s/f cost of cement 1/32” thick to the exposed surface finishing smooth curing etc complete as detailed drawing (PHSI NO 17 P/44)

Type I

1500.0 Rft Rs: 94/- P/Rft Rs: 141000/-

Type II

1500.0 Rft Rs: 309/- P/Rft Rs: 463500/-

6. RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms mould lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle)a RCC work in roofs slabs beams columns rafts lintels and other structural members laid in situ or precast laid in position complete the all respect (I) Ratio 1:2:4 90 lbs cement 2cft sand 4 cft shingle 1/8” to ¼”guage.(GSI No: 6 (a) P-19).

399.0 Cft. Rs: 337/- P/Cft. Rs: 134463/-

7. Fabrication of mild steel reinforcement cement concrete i/c cutting bending

laying in position and fastening i/c cost of binding wire etc.(GSI No:7(b)P-19)

14.25 Cwt. Rs: 5001/70 P/Cwt. Rs.71274/-

Total Rs. 2425994/-

**CONDITIONS.**

1. Any error omission in the specification quantity and unit will be governed by the relevant schedule items.
2. The rates should be inclusive of all taxes i.e sales tax octori tax etc.
3. No separate carriage will be paid to the contractor
4. No premium will be allowed for no-schedule items.
5. The decision of the Superintending Engineer, Public health Engineering Circle Mirpurkhas will be final and binding the parties if in any dispute.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

SANGHAR