SCHEDULE "B"

| NAME OF WORK | C.C ROAD IN MESHWARI MOHALLAH UMERKOT TOWN DISTRICT UMERKOT |
| --- | --- |

| ###### S.# | DESCRIPTION | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

| 1. | Excavation in foundation of building of Bridges and other structures i/c dag-belling dressing refilling around structure with excavated earth watering and ramming lead upto 5’ ft in ordinary soil (GSI No. - page -). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 494.0Cft | @ Rs. 3176/25 |  | P. % 0 Cft |  |  | Rs. 1569/- |
| 2. | Cement concrete plain i/c planning compacting finishing and curing complete i/c screening & washing of stone aggregate without (GSI No. 5 P-16) |  |  |  |  |  |  |
|  | Ratio (1:4:8) |  |  |  |  |  |  |
|  | 494.0 Cft | @ Rs. 11288/75 |  | P. % Cft |  |  | Rs. 55766/- |
|  | Ratio (1:2:4) |  |  |  |  |  |  |
|  | 1580.0 Cft | @ Rs. 14429/25 |  | P. % Cft |  |  | Rs. 227982/- |
| 3. | Pacca Brick work in foundation and plinth in cement samd mortar Ratio (1:6) GSI No. 4/e P-21). |  |  |  |  |  |  |
|  | 1185.0Cft | @ Rs. 11948/36 |  | P. % Cft |  |  | Rs. 141588/- |
| 4. | Barrow pit excavation undressed lead upto 100 ft in ordinary soil (G.S.I No. 3 P-1 ) |  |  |  |  |  |  |
|  | 3837.0Cft | @ Rs. 2117/50 |  | P. % 0 Cft |  |  | Rs. 8125/- |
| 5. | Earth work compaction (Soft, ordinary or hard soil) (b) Laying earth in 6” layers leveling dressing and watering for compaction etc complete ( G SI NO.13/B P-3) |  |  |  |  |  |  |
|  | 3837.0Cft | @ Rs. 263/- |  | P. % 0 Cft |  |  | Rs. 1009/- |
| 6. | Cement concrete brick or stone ballast ratio 1 -1/2” to 2” guage (1:4:8 ) (GSI NO.4/b P-15) |  |  |  |  |  |  |
|  | 2338.0Cft | @ Rs. 9416/28 |  | P. % 0 Cft |  |  | Rs. 220153/- |
| 7 | Erection and removal of centering for RCC or plain cement concrete work of Deodar wood (2nd class) for Partal wood Ho Vertical (GSI No.19/b-ii P-18) |  |  |  |  |  |  |
|  | 473.0 Cft | @ Rs. 3127/41 |  | P. % Sft |  |  | Rs. 14793/- |
|  |  | TOTAL |  |  |  |  | Rs.670985/- |

| CONDITIONS |  |
| --- | --- |
| 1. | The rate should inclusive of all the taxes i.e Sales Tax, Octroi, royalties etc. if any |
| 2. | No separate carriage will be allowed to the firms/ contractors. |
| 3. | No Premium will be allowed on non schedule items. |
| 4. | Steel Shuttering will be used in RCC works. |
| 5. | For RCC & Plain Cement concrete the mixture machine will be used. |
| 6. | The testing of the work will be arranged by the contractor at his own cost, no separate payment will be made. |
| 7. | Any error or omission in the specification item will be governed by the relevant specification and schedule items. |
| 8. | The decision of the undersigned shall be final and binding on all the parties in any dispute. |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG. DIVISION UMERKOT |
| --- | --- |