SCHEDULE "B"

| NAME OF WORK | CONSTRUCTION OF SURFACE DRAINS TYPE-I IN CHANDI RAM MOHALLAH, SONARA MOHALAH AND MEHSHWARI MOAHALLAH UMERKOT TOWN |
| --- | --- |

| ###### S.# | DESCRIPTION | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

| 1. | Excavation in foundation of building of Bridges and other structures i/c dag-belling dressing refilling around structure with excavated earth watering and ramming lead upto 5’ ft in ordinary soil (GSI No. - page -). |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 3659.0Cft |  |  |  | @ Rs. 3176/25 |  | P. % 0 Cft |  |  | Rs. 11622/- |
| 2. | Cement concrete plain i/c planning compacting finishing and curing complete i/c screening & washing of stone aggregate without (GSI No. P- ) |  |  |  |  |  |  |  |  |  |
|  | 817.00Cft |  |  |  | @ Rs. 11288/75 |  | P. % Cft |  |  | Rs. 92229/- |
| 3. | Pacca Brick work in foundation and plinth in cement samd mortar Ratio (1:6) GSI No. 4/e P-21). |  |  |  |  |  |  |  |  |  |
|  | 2531.0Cft |  |  |  | @ Rs. 11948/36 |  | P. % Cft |  |  | Rs. 302413/- |
| 4. | Construction of standard open type drain cunette blank of cement concrete (1:2:4) in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32”to the exposed face finished smooth curring etc complete as per det ailed drawing (PHSI NO;1 PAGE-58) |  |  |  |  |  |  |  |  |  |
|  | TYPE- I |  |  |  |  |  |  |  |  |  |
|  | 1350.0 Rft |  |  | @ Rs. 94/- |  |  | P. Rft |  |  | Rs. 126900/- |
| 5. | Cement Plaster (1:4) up top 12’ ft height ½ thick (GSI No. 11 /b P-52). |  |  |  |  |  |  |  |  |  |
|  | 4509.00 Sft |  |  | @ Rs. 2283/93 |  |  | P. % Sft |  |  | Rs. 102982/- |
| 6. | R.CC work i/c labour and material except the cost of steel reinforcement and its labour for bending includes all kinds of forms mould lifting shuttering curing rendering and screening finishing of exposed surface i/c screening and washing of shingle (a) Rcc Work in roofs slabs beams columns rafts lintels and other structural members laid in situ or pre-cost laid in position complete in all respect (I) Ratio (1:2:4) (GSI No. 6/a P-17). |  |  |  |  |  |  |  |  |  |
|  | 201.46 Cft |  |  | @ Rs. 337/- |  |  | P. Cft |  | Rs. 67737/- |  |
| 7. | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars using torbars (GSI No.8/b P-17). |  |  |  |  |  |  |  |  |  |
|  | 8.07 Cwt |  |  | @ Rs. 5001/70 |  |  | P. Cwt |  | Rs. 40364/- |  |
|  | TOTAL == |  |  |  |  |  |  |  | Rs. 744247/- |  |

| CONDITIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. |  | The rate should inclusive of all the taxes i.e Sales Tax, Octroi, royalties etc. if any |  |  |
| 2. |  | No separate carriage will be allowed to the firms/ contractors. |  |  |
| 3. |  | No Premium will be allowed on non schedule items. |  |  |
| 4. |  | Steel Shuttering will be used in RCC works. |  |  |
| 5. |  | For RCC & Plain Cement concrete the mixture machine will be used. |  |  |
| 6. |  | The testing of the work will be arranged by the contractor at his own cost, no separate payment will be made. |  |  |
| 7. |  | Any error or omission in the specification item will be governed by the relevant specification and schedule items. |  |  |
| 8. |  | The decision of the undersigned shall be final and binding on all the parties in any dispute. |  |  |
|  | CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG. DIVISION UMERKOT |  |