## Sb
M&R to District Jail Sanghar. (Barracks No: 01). (E.I Work)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 77 | -Nos: | 1130 | P.Point. | 87010 | 87010
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 10 | -Nos: | 985 | P.Point. | 9850 | 9850
3 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 70 | -Met: | 222 | P.Met: | 15540 | 15540
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 150 | -Met: | 341 | P.Met: | 51150 | 51150
5 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 15 | -Nos: | 916 | P.No: | 13740 | 13740
6 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) | 3 | -Nos: | 9261 | P.No: | 27783 | 27783
7 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 25 | -Nos: | 72 | Each. | 1800 | 1800
8 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 50 | -Nos: | 70 | P.No: | 3500 | 3500
|  | T o t a l :- |  |  |  | 210373 | 210373
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 50 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 26 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 26 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 26 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 10 | -Nos: |  | Each. | 0
6 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. | 9 | Sft |  | P-Sft | 0
7 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 4 | -No: |  | Each. | 0
8 | S/F mix metallic switch socket & bell push etc as required. | 87 | -Nos: |  | Each. | 0
9 | P/F flash type light flash type dimmer imported quality. | 24 | -Nos: |  | Each. | 0
10 | P/F 1/2'' H.P Moter Pump complete with copper rewinding (standard quality) | 1 | -Nos: |  | P.No: | 0
11 | P/F SNF (HPIT) fuxture (Philips) type complete, with sun lamp bolts ingnitor chowk dapacitor futher more 99% pure aluminum used for reflector & tempered glass with heat resistant gas kit ensuring 400 watt lights required (Philips or German made Parts) | 1 | -No: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
Contractor |  |  | Executive Engineer Provincial Buildings Division Shaeed Banazirabad

## Sb (2)
M&R to District Jail Sanghar. (Barracks No: 02). (E.I Work)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 77 | -Nos: | 1130 | P.Point. | 87010 | 87010
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 10 | -Nos: | 985 | P.Point. | 9850 | 9850
3 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 70 | -Met: | 222 | P.Met: | 15540 | 15540
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 150 | -Met: | 341 | P.Met: | 51150 | 51150
5 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 15 | -Nos: | 916 | P.No: | 13740 | 13740
6 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) | 3 | -Nos: | 9261 | P.No: | 27783 | 27783
7 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 25 | -Nos: | 72 | Each. | 1800 | 1800
8 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 50 | -Nos: | 70 | P.No: | 3500 | 3500
|  | T o t a l :- |  |  |  | 210373 | 210373
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 50 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 26 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 26 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 26 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 10 | -Nos: |  | Each. | 0
6 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. | 9 | Sft |  | P-Sft | 0
7 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 4 | -No: |  | Each. | 0
8 | S/F mix metallic switch socket & bell push etc as required. | 87 | -Nos: |  | Each. | 0
9 | P/F flash type light flash type dimmer imported quality. | 24 | -Nos: |  | Each. | 0
10 | P/F 1/2'' H.P Moter Pump complete with copper rewinding (standard quality) | 1 | -Nos: |  | P.No: | 0
11 | P/F SNF (HPIT) fuxture (Philips) type complete, with sun lamp bolts ingnitor chowk dapacitor futher more 99% pure aluminum used for reflector & tempered glass with heat resistant gas kit ensuring 400 watt lights required (Philips or German made Parts) | 1 | -No: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
Contractor |  |  | Executive Engineer Provincial Buildings Division Shaeed Banazirabad