NAME OF WORK:- M/R TO SOIL AND WATER TESTING LABORTARY AT SAKRAND.

SCHEDULE-B.

-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No:19). = 438.Cft. 11948/36 %Cft. 52334/=

2/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28©P.No:19)

= 219.Sft. 4982/18 %Sft. 10910/=

3/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 873.Cft. 12346/65 %Cft. 107786/=

4/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 800.Sft. 121/- %Sft. 968/=

5/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 3178Sft. 2206/60 %Sft. 70126/=

6/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 3178Sft. 2197/52 %Sft. 69537/=

7/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11©P.No:53). = 976.Sft. 3015/76 %Sft. 29434/=

8/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16©P.No:41). = 240.Sft. 4411/82 %Sft. 10588/=

9/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 3.16Cwt. 5001/70 PCwt. 15805/=

10/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 94.Cft. 337/- PCft. 5403/=

11/- P/F ornamental cement jalli 3”thick 1:2:4 without steel.

(S.I.No: 11 P.No:18). = 144.Sft. 226/02 %Sft. 32553/=

12/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 18.Rft. 228/90 PRft. 4120/=

13/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 37.Sft. 902/93 PSft. 33408/=

14/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 175Sft. 2401/58 %Sft. 4203/=

15/- Colouring washing walls 2.coats over one coat of white wash.

(S.I.No:25 P.No:52). = 4152Sft. 1303/11 %Sft. 54122/=

16/- Colour washing walls 2.coats.(S.I.No:25(b)P.N0:52). = 1540Sft. 859/90 %Sft. 13243/=

17/- White washing walls 2.coats.(S.I.No:24(b)P.No:52). = 922Sft. 425/84 %Sft. 3926/=

18/- Distempering walls 2.coats.(S.I.No:26(b)P.No:52). = 2594Sft. 1043/90 %Sft. 27079/=

19/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 36Sft. 190/72 PSft. 6912/=

20/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 472.Sft. 1160/06 %Sft. 5475/=

21/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

= 147.Sft. 674/19 %Sft. 991/=

22/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 176.Sft. 674/60 %Sft. 1187/=

23/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 2800.Sft. 1887/40 %Sft. 52847/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 6,45,949/=

PART “B” INT:W/S & S/F.

1/- Providing GI pipe specials and clamps etc i/c fixing cutting

& fitting complete with and i/c the cost of breaking walls

And roof making good etc painting two coats after cleaning

The pipe etc with white zink paint with pigment to match the

Colour of the building and testing with water to a presasure

Head of 200’ft:and handling 1” dia.(S.I.No:1 P.No:12). = 20.Rft. 116/20 PRft. 2324/=

2/- P/F handle valve.(S.I.No:5 P.No:17).

1. ¾” dia. = 6.Nos. 271/92 Each. 1632/=
2. 1” dia. = 4.Nos. 365/42 Each. 1462/=

3/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

4/- S/F concealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 2.Nos. 889/46 Each. 1779/=

5/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 1.No. 1290/- Each. 1290/=

6/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 1.No. 835/- Each. 835/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 10.Rft. 344/- PRFt. 3340/=
2. ¾”dia. = 50.Rft. 126/- PRFT. 6300/=
3. 1” dia. = 30.Rft. 165/- PRFT. 4950/=

8/- P/L RCC pipes & collars of class “B” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15). = 30.Rft. 163/- PRft. 4890/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 31,021/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO GRAIN GODOWN AT SAKRAND (COMPOUND WALL).

SCHEDULE-B.

.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No:19). = 1108.Cft. 11948/36 %Cft. 132388/=

2/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28©P.No:19)

= 554.Sft. 4982/18 %Sft. 27601/=

3/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 2205.Cft. 12346/65 %Cft. 272244/=

4/- Erection and removal ofcentering for RCC or plain cement concrete

Works or Deodar wood(2nd class(ii)Vertical.(S.I.No:19(ii)P.No:18).

= 540.Sft. 3127/41 %Sft. 16888/=

5/- Cement concrete plain i/c placing compacting trenching and curing

Concrete i/c screening and washing at stone aggregate without

Shuttering 1:2:4.(S.I.No:5 P.No:16). = 237.Cft. 14429/25 %Cft. 34197/=

6/- P/F angle iron vertical plsts for barbed wire fencing of size

2”x2”x1/4”embedded in RCC/Masonry pillars i/c making

Cuts/holders @ 12” i/c fixing in pillars by chiseling and filling

The with cement sand mixtar saprining & finishing the surface.

(S.I.No:8 P.No:95) = 126.Rft. 169/18 PRFt. 21317/=

7/- P/F barbed wire trenching with 12guage points @ 6”a part barbed

Wire i/c strighening & fixing in angle iron vertical posts.

(S.I.No:9 P.No:96). = 1440.Rft. 8/38 PRFT. 12067/=

8/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 6615Sft. 2206/60 %Sft. 145967/=

9/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 6615Sft. 2197/52 %Sft. 145366/=

10/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11©P.No:52) = 1960Sft. 3015/76 %Sft. 59109/=

11/- Cement concrete brick or stone ballast 1-1/2” to 2”guage ratio 1:4:8.

(S.I.No:4 P.No:15). = 36.Cft. 9416/28 %Cft. 3390/=

12/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 3.59Cwt. 5001/70 PCwt. 17956/=

13/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 168.Cft. 337/- PCft. 56616/=

14/- M/F steel grated doors complete with locking arrangement angle

Iron frame 2”x2”x3/8” and ¾” sq: bars 4” centre to centre.

(S.I.No: 22 P.No: 92). = 120.Sft. 594/57 %Sft. 71348/=

15/- Colour washing walls 2.coats over one coat of white wash.

(S.I.No: 25 P.No:53). = 8575Sft. 1303/11 %Sft. 111742/=

16/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

3.coats(New surface)(S.I.No:5(d)P.No:69). = 120Sft. 1290/83 %Sft. 1525/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 10,11,765/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO PROFESSOR BUNGALOW NO:3, 20-GRADE P:M:C NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 1515Cft. 3630/- %oCft. 5499/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 952.Cft. 8122/95 %Cft. 77330/=

3/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 1640.Sft. 3275/50 %Sft. 53718/=

4/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No: 19). = 17.Cft. 11948/36 %Cft. 2031/=

5/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same.

(S.I.No:20 P.No:16). = 42.Cft. 5445/- %Cft. 2287/=

6/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 48.Cft. 337/- PCft. 16176/=

7/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 252.Sft. 30509/77 %Sft. 76885/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 2,33,926/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO B-TYPE STAFF QUARTERS 1,2,3,16,17,19 AND 13,20,P:M:C & H NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling brick work lime or cement mortar. (S:13 P.10) = 180.Cft. 1285/63 %Cft. 2314/=

2/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 180.Cft. 12346/65 %Cft. 22224/=

3/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 1326.Sft. 121/- %Sft. 1604/=

4/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (SN:13(a)P53 = 1806Sft. 2206/60 %Sft. 39851/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.(S.:11(a)P.53 = 1806Sft. 2197/52 %Sft. 39687/=

6/- s/f Girder 4”x6”size (S.M.I.No:140 P.No:72). = 5.35Cwt. 3850/- P.Cwt. 20598/=

7/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S:29 P.92) = 600.Rft. 228/90 PRft. 34335/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 132.Sft. 902/93 PSft. 137245/=

9/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 153Sft. 190/72 PSft. 29212/=

10/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.16©P.41) = 1712.Sft. 3275/50 %Sft. 56081/=

11/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 154.Sft. 231/60 PSft. 35666/=

12/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 7600.Sft. 1887/40 %Sft. 143442/=

13/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.:6(a)P.15) = 8.Cft. 337/- PCft. 2696/=

14/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 0.89Cwt. 5001/70 PCwt. 4452/=

15/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 4050Sft. 425/84 %Sft. 17247/=

16/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete. = 39.Sft. 27678/86 %Sft. 10795/=

17/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing. (S.:37 P.44) = 140.Sft. 28253/61 %Sft. 39555/=

18/- Distempering walls 2.coats.(S.I.No:26(b)P.No:53). = 17240Sft. 1043/90 %Sft. 179968/=

19/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 24200Sft. 859/90 %Sft. 208096/=

20/- Preparing surface painting doors and windows any type i/c edges

2coats (old Surface).(S.I.No:5 P.No:69). = 2486.Sft. 1160/06 %Sft. 28839/=

21/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats.(S.I.No:5(b)P.No:68). = 153.Sft. 1270/83 %Sft. 1944/=

22/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

3.coats(New surface)(S.I.No:5(d)P.No:69). = 208.Sft. 1270/83 %Sft. 2643/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 10,29,655/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 4.No. 5088/20 Each. 20353/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 2.Nos. 4694/80 Each. 9390/=

3/- S/F long bib cock of superior quality with CP head ½”dia. = 15.Nos. 1109/46 Each. 16642/=

4/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 50Rft. 344/- PRFt. 16700/=
2. ¾”dia. = 20Rft. 126/- PRFT. 2520/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 65,605/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO B-TYPE QUARTERS NO:4 BEHIND OLD D.H.O P.M.C AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work ground floor in cement sand mortar 1:6. = 72.Cft. 12674/36 %Cft. 9126/=

2/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 240Cft. 11948/36 %Cft. 28676/=

3/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 4.77Cwt. 5001/70 PCwt. 23858/=

4/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.:6(a)P.15) = 82.Cft. 337/- PCft. 27634/=

5/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 92Sft. 2401/58 %Sft. 2209/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.:13(a)P.:53) = 204Sft. 2206/60 %Sft. 4501/=

7/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 587.Sft. 3275/50 %Sft. 19229/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 41.Sft. 902/93 PSft. 37020/=

9/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 23.Sft. 231/60 PSft. 5327/=

10/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.11(a)P.52) = 132Sft. 2197/52 %Sft. 2901/=

11/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick. = 220Sft. 3015/76 %Sft. 6635/=

12/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 162Sft. 190/72 PSft. 30931/=

13/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 722Sft. 425/84 %Sft. 3075/=

14/- Distempering walls 2.coats.(S.I.No:26(b)P.No:53). = 6750Sft. 1043/90 %Sft. 70463/=

15/- Preparing surface painting doors and windows any type i/c edges

2coats (old Surface).(S.I.No:5 P.No:69). = 862.Sft. 1160/06 %Sft. 10000/=

16/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 228.Sft. 674/60 %Sft. 1538/=

17/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats.(S.I.No:5(b)P.No:68). = 184.Sft. 674/19 %Sft. 1241/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 2,84,364/=

PART “B” INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia. = 2.Nos. 1109/46 Each. 2218/=

2/- S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 1.Nos. 889/46 Each. 889/=

3/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 1.Nos. 1142/24 Each. 1142/=

4/- P/F handlve valve (china)3/4”dia.(S.I.No:5 P.No:17). = 2.Nos. 271/92 Each. 1088/=

5/- Excavation for pipe line in trenches and pits in soft soils i/c

Trimming and dressing sides to true aligment and shape

Leveling of beds of trenches to correct level and grade

Cutting joint holes and disposal of surplus earth within a

One chain as directed by Engineer Incharge providing fence

guards lights flags and temporary crossing for non vehicular

traffic where ever req:lift upto 5’ft:(1.52m)and lead upto

one chain(30.5m).(P.H.S.I.No:1 P.No:60). = 520.Cft. 3600/- %oCft. 1872/=

6/- P/L RCC pipes & collars of class “A” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15). = 130.Rft. 163/- PRft. 21190/=

7/- Refilling the excavated stuff in trenches 6”thick layer i/c

watering ramming to full compaction etc complete.

(P.H.S.I.No:24 P.No:77). = 468.Cft. 2760/- %oCft. 1292/=

8/- Making the connection with the G.I pipe size larger than

2” to 6” dia i/c cutting the pipe & P/F necessary fitting. = 1.No. 761/20 Each. 761/=

9/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 20Rft. 344/- PRFt. 6680/=
2. ¾”dia. = 150Rft. 126/- PRFT. 18900/=

10/- P/F water pump mono block suction and delivery 1-1/4”x1”single

Phase 220volt delivery upto 50’ft:i/c making CC plain 1:3:6 platform

Of required fixing with nute and bolts etc in all respect.1.H.P.(Q.R) = 1No. 25000/- Each. 25000/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 81.032/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO F-TYPE FLATS NO: 49,58,68,61,62 & 64 P.M.C & H AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Nicking concrete surface(a)Cement concrete surface.

(S.I.No:17(a)P.No:18). = 346Sft. 272/25 %Sft. 942/=

2/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 346.Sft. 27678/86 %Sft. 95768/=

3/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 100.Sft. 28253/61 %Sft. 28254/=

4/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 68.Cft. 12674/36 %Cft. 8619/=

5/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 83.Cft. 11948/36 %Cft. 9917/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 1283Sft. 2206/60 %Sft. 28311/=

7/- Cement plaster(1:4)upto 20’ ft:ht:3/8”thick.

(S.I.No:13©P.No:52). = 1283Sft. 2197/52 %Sft. 28194/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11(a)P.No:52). = 220.Sft. 3015/76 %Sft. 6635/=

9/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 470Sft. 3275/50 %Sft. 15395/=

10/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 60Sft. 190/72 PSft. 11456/=

11/- P/F ornamental cement jalli 3”thick 1:2:4 without steel.

(S.I.No: 11 P.No:18). = 291.Sft. 226/02 %Sft. 6781/=

12/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 15.Sft. 902/93 PSft. 13544/=

13/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 3972Sft. 425/84 %Sft. 16914/=

14/- Distempering walls 2.coats.(S.I.No:26(b)P.No:53). = 20245Sft. 1043/90 %Sft. 211338/=

15/- Preparing surface painting doors and windows any type i/c edges

(Old surface)3.coats.(S.I.No:5(c)P.No:69). = 2925Sft. 1160/06 %Sft. 33932/=

16/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface).

(S.I.No:5(b)P.No:68). = 60Sft. 674/19 %Sft. 405/=

17/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 210Sft. 674/60 %Sft. 1417/=

18/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 6120Sft. 859/90 %Sft. 52626/=

19/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 47.Cft. 337/- PCft. 15835/=

20/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 4.82Cwt. 5001/70 PCwt. 24108/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 6,10,395/=

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 3.NoS. 5088/20 Each. 15265/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 3.Nos. 4694/80 Each. 14084/=

3/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 24.Nos. 1109/46 Each. 26627/=

4/- S/F concealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 3.Nos. 889/46 Each. 2668/=

5/- P/F steel sinks stainless local make complete with cast iron or

Wraught iron brackets 6”inches built in wall 1-1/2” c.P rubber

Plug chrome plated brass chain 1-1/2”C.P brass waste with 1-1/2”

PVC waste pipe & making req:number of holes in wall & plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(b)Steel sink stainless sized 36”x18”local make (Std:patterns).

(S.I.No:19(c)P.No:6). = 1.No. 5162/30 Each. 5162/=

6/- P/F handle valve (China)3/4”dia.(S.I.No:5(b)P.No:17). = 12.Nos. 271/92 Each. 3263/=

7/- P/L RCC pipes & collars of class “A” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15). = 160.Rft. 163/- PRft. 26080/=

8/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 15.Nos. 1290/= Each. 19350/=

13/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge 4” DIA Plain BEND. = 15.Nos. 922/- Each. 13830/=

14/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 300Rft. 344/- PRFt. 100200/=

1. ¾”dia. = 200Rft. 126/- PRFT. 25200/=
2. 1-1/2” dia. = 350Rft. 165/- PRFT. 49500/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 3,01,229/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO PROFESSOR BUNGALOW NO:4,GRAD 20 P.M.C AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling brick work lime or cement mortar. (S.N:13 P.10) = 490.Cft. 1285/63 %Cft. 6300/=

2/- Dismantling glazed or encaustic tiles etc. (S.N:55 P.13) = 829.Sft. 786/50 %Sft. 7175/=

3/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No: 19). = 490.Cft. 11948/36 %Cft. 58547/=

4/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars) = 2.08Cwt. 5001/70 PCwt. 10404/=

5/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.:6(a)P.15) = 76.Cft. 337/- PCft. 25612/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. = 1035Sft. 2206/60 %Sft. 22838/=

7/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. = 1035Sft. 2197/52 %Sft. 22744/=

8/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 319Cft. 3630/- %oCft. 1158/=

9/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). *= 210.Cft.* 9416/28 %Cft. 17058/=

10/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S:16©P.41) = 788Sft. 3275/50 %Sft. 25813/=

11/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting. (S.:60 P.:46) = 414.Sft. 30509/77 %Sft. 126310/=

12/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete. = 112.Sft. 27678/86 %Sft. 31000/=

13/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing. = 330.Sft. 28253/61 %Sft. 432280/=

14/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.:29 P.:92) = 51.Rft. 228/90 PRft. 11674/=

15/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary Hold fasts

filling with cement sand slurry of ratio 1:6 and repairing the Jambs. The cost

also i/c all carriage tools and plants used in making fixing.(S.I:28 P:92 = 63.Rft. 240/50 PRft. 15152/=

16/- First class deodar wood wrought joinery in doors and windows

Etc fixed in position i/c chowkats hold fasts hinges iron tower

bolts chocks cleats handles and cords with hooks etc. Deodar

paneled or paneled and glazed or fully glazed 1-3/4”thick.

(Only Shutter)(S.I.No:7(b)P.NoL:57). = 25.Sft 902/93 PSft. 22573/=

17/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 114Sft. 190/72 PSft. 21766/=

18/- Distempering walls 2.coats.(S.I.No:26(b)P.No:53). = 2034Sft. 1043/90 %Sft. 21233/=

19/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat. = 5564.Sft. 1772/38 %Sft. 98615/=

20/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.No:38(b)P.55) = 7034Sft. 1498/48 %Sft. 7620/=

21/- Preparing surface painting doors and windows any type i/c edges

2.caots(Old Surface) .(S.I.No:5 P.No:69). = 1639.Sft. 1160/06 %Sft. 19013/=

22/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 354.Sft. 674/60 %Sft. 2388/=

23/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface) (S.:5(b)P.68) = 391.Sft. 674/19 %Sft. 2636/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 6,70,866/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 2.No. 5088/20 Each. 10176/=

2/- P/F European white glazed earthn ware wash down W.C pan

Comp: with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Conn:making good in cement concrete 1:2:4 (Foreign Quality) = 1.No. 11477/40 Each. 11477/=

3/- P/F floor trap jail(UPVC type)size 6”x6” of approved color & design

(Master “A” class)equivalent as directed by the Eng:Incharge.

= 4.Nos. 245/- Each. 980/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4418/=

5/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 2.Nos. 3432/- Each. 6864/=

6/- S/F cancealed tee-stop cock of sup: qlty:with CP head ½”dia. = 13.Nos. 889/46 Each. 11563/=

7/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 2.Nos. 1142/24 Each. 2284/=

8/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 6.Nos. 447/15 Each. 2683/=

9/- S/F UPVC soil & vent pipe AGM make of approved quality on walls

& in CC flooring work upto 90’ft;ht;jointing with UPVC fitting by

Using approved paste/solution making good etc in complete as per

Instruction of Engineer incharge. = 4.Nos. 1290/- Each. 5160/=

10/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plug Elbow 4” dia. = 4.Nos. 922/- Each. 3688/=

11/- P/F handlve valve (china)3/4” DIA.(S.I.No:5 P.No:17) = 4.Nos. 271/92 Each. 802/=

12/- P/F upvc fitting of schedule 40(E)(AGM or pak Arab Make)i/c

Jointing with PVC solvent/JTI solution and fixing at any height

/floor using jhoola or long ladder in horizontal or vertical pipe

Directed by the Engineer incharge 3” dia. = 4.Nos. 950/- Each. 3800/=

13/- P/F 15”x12” bavelled edge mirror of Belgium glass complete with

1/8” thick hard board and C.P screws fixed to wooden pleat(Std:

Pattern)(S.I.No:4(a)P.No:7). = 2.Nos. 1161/60 Each. 2323/=

14/- P/F chrome plated brass towel rail complete with brackets

fixing on wooden cleats with 1”long CP brass screws ¾”dia

round or square(Std: pattern)(S.I.No:1(ii)a P.No:7). = 2.Nos. 1082/95 Each. 2166/=

15/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 100Rft. 344/- PRFt. 34400/=
2. ¾”dia. = 100Rft. 126/- PRFT. 14400/=

16/- Add:extra labour for concealed G.I pipe & fittings i/c making recess

In the wall for pipe & making good in cement mortor etc complete.

(ii) 3/4” dia.(S.I.No:2 (ii)P.No:12). = 100.Rft. 8/45 PRft. 845/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,16,888/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO MARRIED DOCTOR FLAT NO:40,50,59 P:M:C AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 42.Cft. 3327/50 %Cft. 1398/=

2/- Nicking concrete surface(a)Cement concrete surface.

(S.I.No:17(a)P.No:18). = 828Sft. 272/25 %Sft. 2254/=

3/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 673.Sft. 27678/86 %Sft. 168279/=

4/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 1404Sft. 28253/61 %Sft. 396681/=

5/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 943.Sft. 30509/77 %Sft. 287707/=

6/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 101.Cft. 11948/36 %Cft. 12068/=

7/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 30.Cft. 12346/65 %Cft. 3704/=

8/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 330Sft. 2206/60 %Sft. 7282/=

9/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 330Sft. 2197/52 %Sft. 7252/=

10/- Filling, Watering and Ramming earth in Floor with surplus

earth from foundation lead up to one Chain and lift up to 5‘ft:.

(S.I.No:21 P.No:4). = 1013.Cft. 1512/50 %oCft. 1532/=

11/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 446.Cft. 8122/95 %Cft. 36228/=

12/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 1350.Sft. 3275/50 %Sft. 44233/=

13/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 17.Rft. 228/90 PRft. 3891/=

14/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 41.Sft. 902/93 PSft. 37020/=

15/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 23.Sft. 231/60 PSft. 5327/=

16/- P/F approved quality mortice lock.(S.I.No:21 P.No:60).

= 9.Nos. 1786/13 Each. 16075/=

17/- 1-1/2”thick deodar wood framing i/c wire gauze with ordinary hinges.

1. Door. (S.I.No:14(b)P.No:59). = 20.Sft. 562/98 PSft. 11260/=

18/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 191Sft. 190/72 PSft. 36468/=

19/- Distempering walls 2.coats.(S.I.No:26(b)P.No:53). = 1462Sft. 1043/90 %Sft. 15262/=

20/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc comp:(New surface)2nd & subsequent coat. (S.36(b)P.54) = 3951Sft. 1772/38 %Sft. 70027/=

21/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 1069Sft. 1498/48 %Sft. 15923/=

22/- Preparing surface painting doors and windows any type i/c edges

(Old surface)3.coats.(S.I.No:5(c)P.No:69). = 1214.Sft. 1160/06 %Sft. 14083/=

23/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface).

(S.I.No:5(b)P.No:68). = 334.Sft. 674/19 %Sft. 2252/=

24/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 511.Sft. 674/60 %Sft. 3447/=

25/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 1.15Cwt. 5001/70 PCwt. 5752/=

26/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.:6(a)P.15) = 12.Cft. 337/- PCft. 4044/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 13,27,688/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 5.No. 5088/20 Each. 25441/=

2/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 2.No. 11477/40 Each. 22955/=

3/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 4.Nos. 4694/80 Each. 18780/=

4/- S/F wash beain mixture of superior quality with CP head ½”dia.

(S.I.No:14(b)P.No:19). = 5.Nos. 3179/- Each. 15895/=

5/- S/F sink mixture cock of superior quality with CP head etc complete.

(S.I.No:17 P.No:19). = 3.Nos. 2745/60 Each. 8237/=

6/- S/F concealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 2.Nos. 889/46 Each. 26684/=

7/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

8/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 4.Nos. 3432/- Each. 13728/=

9/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 1.Nos. 1142/24 Each. 4569/=

10/- S/F Bath rom accessories set(7pieces i/c towel rod,brush holder,

soap tray,shelf of approved quality and design etc complete.

(S.I.No:22 P.No:19). = 3.Nos. 8122/40 Each. 24367/=

11/- P/F handle valve (Chaina).(S.I.No:5 P.No:17).

1. ¾” dia. = 5.Nos. 271/92 Each. 1360/=
2. ½” dia. = 2.Nos. 200/42 Each. 401/=

12/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 6.No. 1290/- Each. 7740/=

13/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge 4”dia.Plain bend. = 4.Nos. 922/- Each. 3688/=

14/- P/F upvc fitting of schedule 40(E)(AGM or pak Arab Make)i/c

Jointing with PVC solvent/JTI solution and fixing at any height

/floor using jhoola or long ladder in horizontal or vertical pipe

Directed by the Engineer incharge 3” dia. = 7.Nos. 950/- Each. 6650/=

15/- P/F floor trap jail(UPVC type)size 6”x6” of approved color & design

(Master “A” class)equivalent as directed by the Eng:Incharge.

= 7.Nos. 245/- Each. 1715/=

16/- P/F steel sinks stainless local make complete with cast iron or

Wraught iron brackets 6”inches built in wall 1-1/2” c.P rubber

Plug chrome plated brass chain 1-1/2”C.P brass waste with 1-1/2”

PVC waste pipe & making req:number of holes in wall & plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(b)Steel sink stainless sized 36”x18”local make (Std:patterns).

(S.I.No:19(c)P.No:6). = 2.Nos. 5162/30 Each. 10325/=

17/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 180Rft. 344/- PRFt. 61920/=
2. ¾”dia. = 517Rft. 126/- PRFT. 65142/=
3. ½” dia. = 60.Rft. 105/35 PRFT. 6300/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO MANGO AND CITRUS RESEARCH CENTRE SAKRAND.

SCHEDULE-B.

-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement plaster or lime.(S.I.No:53 P.No:13). = 280.Sft. 121/- %Sft. 339/=

2/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11(a)P.No:53). = 280.Sft. 3015/76 %Sft. 8444/=

3/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 154.Cft. 3327/50 %Cft. 5124/=

4/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 903.Sft. 3275/50 %Sft. 29578/=

5/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 194.Sft. 30509/77 %Sft. 59189/=

6/- P/F GI frame/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling with cement sand slurry ratio 1:6 and reparing the

Jambs.The cost also i/c all carriage tools and plants used in making/

Fixing.(S.I.No:28 P.No:92). = 91.Rft. 240/50 PRft. 21840/=

7/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 50.Rft. 228/90 PRft. 11445/=

8/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 126Sft. 190/72 PSft. 24057/=

9/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 2644Sft. 425/84 %Sft. 11259/=

10/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 11163Sft. 1043/90 %Sft. 116531/=

11/- Scraping of Distmper.(S.I.No:54(b)P.No:13). = 3271Sft. 226/88 %Sft. 7421/=

12/- Preparing surface painting doors and windows any type i/c edges

2.coats(Old surface)(S.I.No:5 P.No:69). = 1150.Sft. 1160/06 %Sft. 13341/=

13/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)2.coats(Old surface).

(S.I.No:5(b)P.No:68). = 261Sft. 674/19 %Sft. 1760/=

14/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 879.Sft. 674/60 %Sft. 5930/=

15/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 224Sft. 2401/58 %Sft. 5380/=

16/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 76.Sft. 231/60 PSft. 17602/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 3,39,240/=

PART “B” INT:W/S & S/F.

1/- P/F handle valve (China)3/4”dia.(S.I.No:5(b)P.No:17).

1. ¾” dia. = 2.Nos. 271/92 Each. 544/=
2. 1” dia. = 3.Nos. 365/42 Each. 1096/=

2/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

3/- S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 2.Nos. 889/46 Each. 1779/=

4/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 2.Nos. 447/15 Each. 894/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 6,532/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BASIC HEALTH UNIT MAJEED KERIO.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 7425.Cft. 3176/25 %ocft. 2358/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). *= 101.Cft.* 8694/95 %Cft. 8804/=

3/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 657.Sft. 121/- %Sft. 795/=

4/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 2743Sft. 2206/60 %Sft. 60527/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 2743Sft. 2197/52 %Sft. 60278/=

6/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 848.Cft. 12346/65 %Cft. 104700/=

7/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No: 19). = 239,Cft. 11948/36 %Cft. 28557/=

8/- Pertorated pacca brick walling 4-1/2”thick in ground floor in cement

Sand mortar 1:5.(S.I.No:15(ii)P.No:23). = 48.Sft. 3935/75 %Sft. 1889/=

9/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 72.Sft. 3275/50 %Sft. 2358/=

10/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 59.Cft. 337/- PCft. 19883/=

11/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 1.6Cwt. 5001/70 PCwt. 8038/=

12/- Constt:of main hole or inspection chamber for the req:diameter

Of circular sewer and 3’-6”(1067mm)depth with walls of B.B in

Cement sand mortar 1:3 cement plaster 1:3 ½”thick inside of

Walls and 1”(25mm)thick over benching and channel i/c fixing

C.I manhole cover with frame of clear opening 1-1/2”x1-1/2”

(457x457mm)of 1.75Cwt (88.9KG)embaded in plain C.C 1:2:4

And fixing 1”(25mm)dia M.S steps 6”(150mm)wide projecting

4”(102mm)from the face of wall at 12”(305mm)c/c duly

Painted etc complete as per standard specification and

Drawing 4” to 12”dia 2’x2’x3’-6”(Without cover).

(P.H.S.I.No: 1 P.No:46). = 4.Nos. 14748/- Each. 58992/=

13/- P/L RCC pipes & collars of class “B” and digging the trenches to

Req:depth & fixing in position i/c cutting fitting & jointing with

Masphalt composition & cement mortar 1:1 and testing with

Water pressure to a head of 4ft: above the top of the heghest

Pipe & refilling with excavated staff 9” dia.(S.I.No:2 (d)P.No:24).

= 100.Rft. 250/60 PRft. 25060/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 382,239/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO GRAIN GODOWN AT MAJEED KERIO.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 520.Cft. 3327/50 %Cft. 17303/=

2/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 3625Sft. 121/- %Sft. 4398/=

3/- Pacca brick work in foundation/plinth in cement sand

Mortar 1:6.(S.I.No:4 P.No:19). = 1226Cft. 11948/36 %Cft. 146487/=

4/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16 P.No:41).

1. 3” thick. = 5355.Sft. 4411/82 %Sft. 236253/=
2. 2”thick. = 1117.Sft. 3275/50 %Sft. 36587/=

5/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 35.08Cwt. 5001/70 PCwt. 175460/=

6/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.6(a)P.15) = 846.Cft. 337/- PCft. 285102/=

7/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 3635Sft. 2206/60 %Sft. 80210/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 3635Sft. 2197/52 %Sft. 79880/=

9/- Scraping colour wash.(S.I.No:54(b)P.No:13). = 8253Sft. 75/63 %Sft. 6241/=

10/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 420.Sft. 674/60 %Sft. 2833/=

11/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 8253Sft. 1043/90 %Sft. 86153/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 11,93,003/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO GRAIN GODOWN AT ALIABAD.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No: 19). = 804.Cft. 11948/36 %Cft. 96065/=

2/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 1057Cft. 3630/- %oCft. 3837/=

3/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No: 4 P.No:15). = 785.Cft. 8122/95 %Cft. 63765/=

4/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels.

(S.I.No:16©P.No:41).

1. 3”thick. = 1319.Sft. 4411/82 %Sft. 58588/=
2. 2”thick. = 1057.Sft. 3275/50 %Sft. 34622/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No: 11©P.No:53). = 1699Sft. 3015/76 %Sft. 51238/=

6/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 165.Cft. 3327/50 %Cft. 5490/=

7/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 6.58Cwt. 5001/70 PCwt. 32911/=

8/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 158.Cft. 337/- PCft. 53246/=

9/- S/F fibre glass tank of approved quality and design and wall

Thickness as specified i/c cost of nutes,bolts and fixing in

Plateform of cement concerete 1:3:6 and making connection

For in let & Out-let & over flow pipes etc complete 250Gall”.

(S.I.No:3 P.No:21). = 1.No. 21989/61 Each. 21990/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,21,752/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO S-TYPE FLATS NO:13,14,16,17 & 18 P.M.C & H NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

--.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-1/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 135.Cft. 12346/65 %Cft. 16668/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.(SN:13(a)P.:53) = 360Sft. 2206/60 %Sft. 7944/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.:11(a)P53 = 360Sft. 2197/52 %Sft. 7911/=

4/- Removing cement or lime plaster.(S.I.No:53 P.No: 13). = 1200Sft. 121/- %Sft. 1452/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick. (S.:11©P.53) = 1200Sft. 3015/76 %Sft. 36189/=

6/- Nicking concrete surface(a)Cement concrete surface. = 737Sft. 272/25 %Sft. 2006/=

7/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing. = 737.Sft. 28253/61 %Sft. 208229/=

8/- Glazed tile dado ¼”thick laid in pigment over 1:2 cement sand

Mortar ¾”thick i/c finishing.(S.I.No:38 P.No:44). = 923.Sft. 28299/30 %Sft. 261203/=

9/- P/F ornamental cement jalli 3”thick 1:2:4 without steel.

(S.I.No: 11 P.No:18). = 30.Sft. 226/02 %Sft. 6781/=

10/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 2814Sft. 425/84 %Sft. 11983/=

11/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.:29 P.92) = 102.Rft. 228/90 PRft. 23348/=

13/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 150.Sft. 902/93 PSft. 135440/=

14/- 1-1/2”thick deodar wood framing i/c wire gauze with ordinary hinges.

(S.I.No:14(a)P.No:59). = 142.Sft. 454/19 PSft. 64495/=

15/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 441Sft. 190/72 PSft. 84108/=

16/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 2243.Sft. 1160/06 %Sft. 5475/=

17/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 791.Sft. 674/19 %Sft. 5333/=

18/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 818.Sft. 674/60 %Sft. 5518/=

19/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 11393Sft. 1043/90 %Sft. 118932/=

20/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 21.Sft. 231/60 PSft. 4864/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 10,28,424/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 1.No. 5088/20 Each. 5088/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 1.Nos. 4694/80 Each. 4694/=

3/- S/F concealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 6.Nos. 889/46 Each. 5334/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 12.Nos. 1109/46 Each. 13314/=

5/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 4.No. 1290/- Each. 7960/=

6/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 4.No. 835/- Each. 3540/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 50.Rft. 344/- PRFt. 16700/=
2. ¾”dia. = 50.Rft. 126/- PRFT. 6300/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 62.930/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO MARRIED DOCTOR FLAT NO;30,41,44,54,60 & 73 P.M.C NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4. (S.I.:19©P.:10). = 42.Cft. 3327/50 %Cft. 1398/=

2/- Nicking concrete surface(a)Cement concrete surface. = 828Sft. 272/25 %Sft. 2254/=

3/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 1620Cft. 3630/- %oCft. 5881/=

4/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 713.Cft. 8122/95 %Cft. 57917/=

5/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.16©P.41) = 4800.Sft. 3275/50 %Sft. 157224/=

6/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete. = 774.Sft. 27678/86 %Sft. 214234/=

7/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing. (S.:37 P.44) = 1244.Sft. 28253/61 %Sft. 379729/=

8/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting. (S.:60 P.46) = 461.Sft. 30509/77 %Sft. 140650/=

9/- Pacca brick work in ground floor in cement sand mortar 1:6.

(12674/36+438/13) (S.I.No:5 P.No:20). = 102.Cft. 13112/99 %Cft. 13375/=

10/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per inst: of E-Incharge. (S.21 P.94) = 154.Sft. 231/60 PSft. 11348/=

11/- 1-1/2”thick deodar wood framing i/c wire gauze with ordinary hinges.

(S.I.No:14(a)P.No:59). = 142.Sft. 454/19 PSft. 64495/=

12/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 225Sft. 190/72 PSft. 43484/=

13/- Laying white marble flooring fine dressed on the surface

Without winding set in lime mortar 1:2 i/c rubbing and

Polishing of the joints ¾”thick flooring. (S.N:28(a)P.42) = 60.Sft. 567/48 %Sft. 34049/=

14/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 5994Sft. 425/84 %Sft. 25525/=

15/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat. = 8241Sft. 1772/38 %Sft. 146062/=

16/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 5232Sft. 1043/90 %Sft. 54617/=

17/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.No:4(a)P.68) = 2988Sft. 1072/06 %Sft. 32033/=

18/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 8025.Sft. 1160/06 %Sft. 93095/=

19/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

(S.I.No:5 P.No:69).

1. 2.coats. = 1247Sft. 674/60 %Sft. 8412/=
2. 3.coats. = 98.Sft. 1270/83 %Sft. 1245/=

20/- Preparing surface painting sashes fan light glazed or gauzed doors

And windows any type 3coat (New Surface)(S.No:5 P.68) = 20.Sft. 1270/83 %Sft. 254/=

21/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.N:13(a)P.53) = 540Sft. 2206/60 %Sft. 11916/=

6/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.N:11(a)P.N.53) = 540Sft. 2197/52 %Sft. 11867/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 14,52,185/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape. (S.N:1(A)P.1) = 9.Nos. 5044/60 Each. 45793/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 4.Nos. 4694/80 Each. 18780/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 4.Nos. 938/47 Each. 3754/=

4/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 72.Nos. 843/92 Each. 10127/=

5/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 20.Nos. 1109/46 Each. 22189/=

6/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 1.No. 11477/40 Each. 11477/=

7/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 1.Nos. 1142/24 Each. 1142/=

8/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 2.Nos. 3432/- Each. 3432/=

9/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Floor Trap. = 12.No. 874/- Each. 10438/=

10/- P/F floor trap jail(UPVC type)size 6”x6” of approved color & design

(Master “A” class)equivalent as directed by the Eng:Incharge.

= 12.Nos. 221/- Each. 2652/=

11/- P/F steel sinks stainless local make complete with cast iron or

Wraught iron brackets 6”inches built in wall 1-1/2” c.P rubber

Plug chrome plated brass chain 1-1/2”C.P brass waste with 1-1/2”

PVC waste pipe & making req:number of holes in wall & plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(b)Steel sink stainless sized 36”x18”local make (Std:patterns).

(S.I.No:19(c)P.No:6). = 1.No. 5162/30 Each. 5162/=

12/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 10.Nos. 447/15 Each. 44715/=

13/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 6.No. 1290/- Each. 7740/=

14/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 1.No. 835/- Each. 10020/=

15/- P/F handle valve.(S.I.No:5 P.No:17).

1. ¾” dia. = 3.Nos. 271/92 Each. 816/=
2. 1” dia. = 3.Nos. 365/42 Each. 1096/=

16/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 250.Rft. 344/- PRFt. 83500/=
2. ¾”dia. = 390.Rft. 126/- PRFT. 49140/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 2,63,401/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO MARRIED DOCTOR FLAT NO:1,2,3,13,14, & 23 P.M.C & H NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4. (S.I.:19©P.10). = 42.Cft. 3327/50 %Cft. 1398/=

2/- Removing lime or cement plaster.(S.I.No:53 P.No:13). = 1108Sft. 121/- %Sft. 1341/=

3/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 1200.Sft. 3275/50 %Sft. 39306/=

4/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No: 5 P.No:20). = 72.Cft. 12674/36 %Cft. 9126/=

5/- P/F ornamental cement jalli 3”thick 1:2:4 without steel.

(S.I.No: 11 P.No:18). = 45.Sft. 226/02 %Sft. 10172/=

6/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 376.Sft. 27678/86 %Sft. 104073/=

7/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing. = 902.Sft. 28253/61 %Sft. 254848/=

8/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 188Sft. 2401/58 %Sft. 5415/=

9/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 74.Sft. 902/93 PSft. 66787/=

10/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 900Sft. 190/72 PSft. 171648/=

11/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.13(a)P:53) = 1040Sft. 2206/60 %Sft. 22949/=

12/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.:11(a)P:53) = 3178Sft. 2197/52 %Sft. 228554/=

13/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting. = 105.Sft. 30509/77 %Sft. 32035/=

14/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 5800Sft. 425/84 %Sft. 24699/=

15/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 26264Sft. 1043/90 %Sft. 274170/=

16/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 9689.Sft. 1160/06 %Sft. 112451/=

17/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 176.Sft. 674/60 %Sft. 11549/=

18/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 2787.Sft. 674/19 %Sft. 18790/=

2.coats(Old surface).

19/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.:4(a)P.68) = 7992Sft. 1072/06 %Sft. 85722/=

20/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 0.96Cwt. 5001/70 PCwt. 4802/=

10/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 9.Cft. 337/- PCft. 3033/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 13,07,752/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape.

(S.I.No:1(A)P.No:1). = 5.Nos. 5044/60 Each. 25223/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4).= 3.Nos. 4694/80 Each. 14084/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3).

= 3.Nos. 938/47 Each. 2815/=

4/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 2.NoS. 11477/40 Each. 22955/=

5/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 2.Nos. 3432/- Each. 6864/=

6/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 8.Nos. 843/92 Each. 40508/=

7/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 36.Nos. 1109/46 Each. 39941/=

8/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 4.Nos. 1142/24 Each. 4560/=

9/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Floor Trap. = 12.No. 874/- Each. 13984/=

10/- P/F floor trap jail(UPVC type)size 6”x6” of approved color & design

(Master “A”class)equivalent as directed by the Eng:Incharge. = 16.Nos. 221/- Each. 3536/=

11/- P/F steel sinks stainless local make complete with cast iron or

Wraught iron brackets 6”inches built in wall 1-1/2” c.P rubber

Plug chrome plated brass chain 1-1/2”C.P brass waste with 1-1/2”

PVC waste pipe & making req:number of holes in wall & plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(b)Steel sink stainless sized 36”x18”local make (Std:patterns).

(S.I.No:19(c)P.No:6). = 4.NoS. 5162/30 Each. 20649/=

12/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 12.No. 1290/- Each. 15480/=

13/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 12.No. 835/- Each. 10020/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 160.Rft. 344/- PRFt. 53440/=
2. ¾”dia. = 200.Rft. 126/- PRFT. 325200/=

8/- P/L RCC pipes & collars of class “B” and fixing in trenches i/c

Cutting fitting and jointing with maxphalt composition and

Cement mortor (1:1)i/c testing with water to a head of 4.5

Meter or 15’ft: 9”dia.(P.S.I.No:1(d)P.No:15). = 30.Rft. 163/- PRft. 4890/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 3,04,156/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO S & F TYPE FLAT NEW DOCTOR COLONY P.M.C NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 90.Cft. 12346/65 %Cft. 1157/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 283Sft. 2206/60 %Sft. 6245/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 283Sft. 2197/52 %Sft. 6219/=

4/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 594Sft. 190/72 PSft. 113288/=

5/- 1-1/2”thick deodar wood framing i/c wire gauze with ordinary hinges.

(S.I.No:14(a)P.No:59). = 24.Sft. 454/19 PSft. 10901/=

6/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 84.Rft. 228/90 PRft. 19228/=

7/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.16©P.41) = 300.Sft. 3275/50 %Sft. 9827/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 132.Sft. 902/93 PSft. 119187/=

9/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 8900Sft. 425/84 %Sft. 37900/=

10/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 32985Sft. 1043/90 %Sft. 34397/=

11/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 7991.Sft. 1160/06 %Sft. 92743/=

21/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

= 1664.Sft. 674/19 %Sft. 11219/=

22/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 840.Sft. 674/60 %Sft. 5667/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,56,804/=

PART “B” INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 12.Nos. 1109/46 Each. 13314/=

2/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 12.Nos. 843/92 Each. 10127/=

3/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 12.Nos. 1142/24 Each. 13708/=

4/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 1.Nos. 4694/80 Each. 4695/=

5/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape. (SN:1(A)P.1) = 3.Nos. 5044/60 Each. 12134/=

6/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 1.No. 11477/40 Each. 11477/=

7/- P/F steel sinks stainless local make complete with cast iron or

Wraught iron brackets 6”inches built in wall 1-1/2” c.P rubber

Plug chrome plated brass chain 1-1/2”C.P brass waste with 1-1/2”

PVC waste pipe & making req:number of holes in wall & plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(b)Steel sink stainless sized 36”x18”local make (Std:patterns).

(S.I.No:19(c)P.No:6). = 1.No. 5162/30 Each. 5162/=

8/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 1.Nos. 3432/- Each. 3432/=

9/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 100.Rft. 344/- PRFt. 3340/=
2. ¾”dia. = 60.Rft. 126/- PRFT. 7560/=

10/- P/F handle valve ¾” dia.(S.I.No:5 P.No:17). = 2.Nos. 271/92 Each. 544/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,15,553/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO AGRICULTURE ENGINEERING WORKSHOP AT NAWABSHAH SHAHEED

BENAZIRABAD(PROVIDING INTERNAL E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).

1. Light Point. = 20.Nos. 910/- Each. 18200/=
2. Fan Point. = 5.Nos. 910/- Each. 4550/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:130 P.No:15).

1. Plug point. = 5.Nos. 742/- Each. 3710/=

3/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(E.S.I.No:3 P.No:1).

= 40.Meter. 171/- P.Meter. 6840/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 33,300/=

PART “B” NON SCHEDULE ITEM.

1/- P/F energy saver approved quality. = 40.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO CIVIL COURT BUILDING MORO(PROVIDING INTERNAL E.I)(MORO PS KANDIARO).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).

1. Light Point. = 20.Nos. 910/- Each. 18200/=
2. Fan Point. = 5.Nos. 910/- Each. 4550/=

2/- Wiring for call bell point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:131 P.No:15).

= 1.No. 1590/- Each. 1590/=

3/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:130 P.No:15).

1. Plug point. = 6.Nos. 742/- Each. 4452/=

4/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(S.I.No:3 P.:1) = 80.Meter. 171/- P.Meter. 13680/=

5/- P/L(main or Sub-Main)PVC insulated with size 2-7/.036(4mm2)

Copper conductor in ¾” dia PVC conduit on surface.

(E.S.I.No:4 P.No:1). = 93Mtr:. 200/- P.Mtr:. 18600/=

6/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 15.Nos. 80/- Each. 1200/=

7/- P/F three pin 10/15 Amp: plug & socket flush type.

(E.S.I.No:227 P.No: 33). = 6.Nos. 162/- Each. 972/=

8/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 5.Nos. 916/- Each. 4580/=

9/- P/F Circuit breaker 15,20,30,40,50 & 60Amp TP(XE-100CS[CB])

On prepared board as required.(E.S.I.No:206 P.No:31). = 1.NoS. 5521/- Each. 5521/=

10/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 5.Nos. 3185/- Each. 15925/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total:- 89,270/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F Energy saver superior quality . = 38.Nos. Each.

2/- P/L of over head service wire PVC slected Aluminum conductor

With the sign of 2-7/.064 i/c connection of main supply. = 150Mtr:. P.Mtr:.

3/- P/F of fancy wall bracket light with internal connection complete

In all respect etc complete. = 10.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO TWO COURT BUILDING NAUSHERO FEROZE (PROVIDING INTERNAL E.I).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).

1. Light Point. = 30.Nos. 910/- Each. 27300/=
2. Fan Point. = 10.Nos. 910/- Each. 9100/=

2/- Wiring for call bell point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.:131 P.15) = 3.No. 1590/- Each. 4770/=

3/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(S.:130 P.:15) = 15.Nos. 742/- Each. 11130/=

4/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(S.No:3 P.:1) = 90.Meter. 171/- P.Meter. 15390/=

5/- P/L(main or Sub-Main)PVC insulated with size 2-7/.036(4mm2)

Copper conductor in ¾” dia PVC conduit on surface. (S:4 P.1) = 95Mtr:. 200/- P.Mtr:. 19000/=

6/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 40.Nos. 80/- Each. 3200/=

7/- P/F three pin 10/15 Amp: plug & socket flush type. (S.227 P. 33) = 15.Nos. 162/- Each. 2430/=

8/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 8.Nos. 916/- Each. 7328/=

9/- P/F Circuit breaker 15,20,30,40,50,60,75 & 100amp: TP

(XS-100NS)on prepared board as required. (S.:207 P.:31) = 1.Nos. 9261/- Each. 9261/=

10/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 6.Nos. 3185/- Each. 19110/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total:- 1,28,019/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F energy saver superior quality. = 38.Nos. Each.

2/- P/L of over head service wire PVC slected Alumunium conductor with

The sign of 2-70.64 i/c connection of main supply etc complete. = 30Mtr:. Each.

3/- P/F of fancy wall bracket light with internal connection complete in all

Respect etc complete. = 6.Nos. Each.

4/- P/F double tube light 40walts 4’long with G.I rod,chock,starter,plastic

Shade with chana,clamp electric connection with 2-3/.029 copper

Conductor made by chaina etc complete. = 10.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO JUDGES BUNGALOW(3.Nos)AT MORO (PROVIDING INTERNAL E.I).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).

1. Light Point. = 30.Nos. 910/- Each. 27300/=
2. Fan Point. = 15.Nos. 910/- Each. 13650/=

2/- Wiring for call bell point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:131 P.No:15).

= 3.No. 1590/- Each. 2730/=

3/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:130 P.No:15).

1. Plug point. = 9.Nos. 742/- Each. 6678/=

4/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(E.S.I.No:3 P.No:1).

= 120.Meter. 171/- P.Meter. 20520/=

5/- P/L(main or Sub-Main)PVC insulated with size 2-7/.036(4mm2)

Copper conductor in ¾” dia PVC conduit on surface.

(E.S.I.No:4 P.No:1). = 75Mtr:. 200/- P.Mtr:. 15000/=

6/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 45.Nos. 80/- Each. 3600/=

7/- P/F three pin 10/15 Amp: plug & socket flush type.

(E.S.I.No:227 P.No: 33). = 9.Nos. 162/- Each. 1458/=

8/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 9.Nos. 916/- Each. 8244/=

9/- P/F Circuit breaker 15,20,30,40,50 & 60Amp TP(XE-100CS[CB])

On prepared board as required.(E.S.I.No:206 P.No:31). = 3.NoS. 5521/- Each. 16563/=

10/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 9.Nos. 3185/- Each. 28665/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total:- 1,44,408/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F Energy saver superior quality. = 36.Nos. Each.

2/- P/L of over head service wire PVC slected Alumunium conductor with

The sign of 2-70.64 i/c connection of main supply etc complete.

= 225Mtr:. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO JUDGES BUNGALOW(2.Nos)AT KANDIARO (PROVIDING INTERNAL E.I).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).

1. Light Point. = 20.Nos. 910/- Each. 18200/=
2. Fan Point. = 10.Nos. 910/- Each. 9100/=

2/- Wiring for call bell point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(S.I.N:131 P.15). = 2.No. 1590/- Each. 3180/=

3/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:130 P.No:15).

1. Plug point. = 12.Nos. 742/- Each. 8904/=

4/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(S.No:3 P.N:1) = 80.Meter. 171/- P.Meter. 13680/=

5/- P/L(main or Sub-Main)PVC insulated with size 2-7/.036(4mm2)

Copper conductor in ¾” dia PVC conduit on surface.

(E.S.I.No:4 P.No:1). = 80Mtr:. 200/- P.Mtr:. 16000/=

6/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 30.Nos. 80/- Each. 2400/=

7/- P/F three pin 10/15 Amp: plug & socket flush type.

(E.S.I.No:227 P.No: 33). = 6.Nos. 162/- Each. 972/=

8/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 8.Nos. 916/- Each. 7328/=

9/- P/F Circuit breaker 15,20,30,40,50 & 60Amp TP(XE-100CS[CB])

On prepared board as required.(E.S.I.No:206 P.No:31). = 2.NoS. 5521/- Each. 11042/=

10/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 4.Nos. 3185/- Each. 12740/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total:- 1,03,546/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F Energy saver superior quality. = 30.Nos. Each.

2/- P/L of over head service wire PVC slected Alumunium conductor with

The sign of 2-70.64 i/c connection of main supply etc complete.

= 160Mtr:. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO JUDGES BUNGALOW(5.Nos)AT NAUSHERO FEROZE (PROVIDING INTERNAL E.I).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).

1. Light Point. = 60.Nos. 910/- Each. 54600/=
2. Fan Point. = 20.Nos. 910/- Each. 18200/=

2/- Wiring for call bell point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:131 P.No:15).

= 5.No. 1590/- Each. 7950/=

3/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:130 P.No:15).

1. Plug point. = 25.Nos. 742/- Each. 18550/=

4/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(E.S.I.No:3 P.No:1).

= 200.Meter. 171/- P.Meter. 34200/=

5/- P/L(main or Sub-Main)PVC insulated with size 2-7/.036(4mm2)

Copper conductor in ¾” dia PVC conduit on surface.

(E.S.I.No:4 P.No:1). = 125Mtr:. 200/- P.Mtr:. 25000/=

6/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 80.Nos. 80/- Each. 6400/=

7/- P/F three pin 10/15 Amp: plug & socket flush type. (S..227 P. 33) = 15.Nos. 162/- Each. 2430/=

8/- P/F Circuit breaker 6,10,15,20,30,40,50 & 63Amp: SP(TB-5S)

On prepared board as required.(E.S.I.No:203 P.No:31). = 20.Nos. 916/- Each. 18320/=

9/- P/F Circuit breaker 15,20,30,40,50 & 60Amp TP(XE-100CS[CB])

On prepared board as required.(E.S.I.No:206 P.No:31). = 5.NoS. 5521/- Each. 27605/=

10/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 15.Nos. 3185/- Each. 47775/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total:- 1,03,546/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F Energy saver superior quality. = 50.Nos. 497/- Each. 24850/=

2/- P/L of over head service wire PVC slected Alumunium conductor with

The sign of 2-70.64 i/c connection of main supply etc complete.

= 100Mtr:. 196/- Each. 19600/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 44,450/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- RENOVATION OF DISTRICT JAIL NAWABSHAH (PROVIDING LIVE WIRE E.I WORK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- P/F Circuit breaker 15,20,30,40,50,60,75 & 100amp: TP

(XS-100NS)on prepared board as required.

(E.S.I.No:207 P.No:31). = 1.Nos. 9261/- Each. 9261/=

2/- P/L (Main or Sub-Main)PVC insulated with 2.7/044 copper

Conductor in ¾” PVC conduit recessed in the wall or Col: as

Required.(E.S.I.No: 121 P.No:2). = 40.Mtr:. 341/- P.Mtr:. 13640/=

3/- P/L (Main or Sub-Main)PVC insulated with 2.7/.029 copper

Conductor in ¾”dia PVC conduit recessed in the wall & col:

As required.(E.S.I.No:101 P.No;2). = 80.Mtr. 222/- P.Mtr:. 7770/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 40,661/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F shackle insulator and meduim pressure(3”x3”)single without nuts

Bolts and strip etc as required. = 200.Nos. Each.

2/- P/F shackle (D)iron clamps B baltes made galvarized mild street plate

(1/4”x3/4”)size heavy boltes with nuts(3”x3/”)size of clamps(1/2”x1/4”

X1/2”)etc complete. = 200.Nos. Each.

3/- S/F G.I Strips B baltes for shackle insulator heavying(7-1/2”) long Double

Strips(1/6”x1-1/2”)size for the use porcline insulator(3/6”x3/6”)etc

Complete. = 200.Nos. Each.

4/- P/F Earthing set with 2”x2”x1/4”copper plate burried in the ground at

The depth of 12’ or class i/c water comes out frome the soil with salt

Chorcoil etc earth plate to be connected with SWG No:8 copper

Conductor in g.i PIPE ½”DIA ETC complete. = 2.Nos. Each.

5/- S/F pendint type fitting cuplato with shade brass holder i/c reducing

Socket(2”dia ¾”)with G.I pipe ¾”duly painted and required length i/c

Reducing niple or wire with 2-7/.029 copper PVC insulated light

Canductor as required with proper conductor etc complete. = 40.Nos. Each.

6/- S/F angle iron frame with size 2”x2”x1’long burried in the

Compound wall upto 2’below complete with making C.C

Foundation of ratio 1:2:4 duly painted with two coats of

Silver etc complete. = 9.Nos. Each.

7/- Binding of insulator with copper conductor SWG No:16

Etc complete. = 200.Nos. Each.

8/- Making of C.C foundation size (2’x2’x5”)depth round or squire

Shape as required with ratio 1:2:4 i/c plastering and finishing

Etc complete. = 9.Nos. Each.

9/- P/F energy saver 25Walts superior quality. = 80.Nos. Each.

10/- S/F bare copper conductor SWG No:7 in all types of poles

Etc complete. = 4500Rft. PRFT.

11/- P/F Bruglar Alarm system with 4.Nos. Alaram Biggals emergncy

Burron and wiring etc complete. = 1.Job. P.Job.

12/- P/F So-Safe water filter with cottege filter on carban filter connection

Pipe etc complete. = 4.Nos. Each.

13/- P/F Steblizer 8500walts 220volts 20% updown copper winding with

Auto Relays etc complete. = 4.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BASIC HEALTH UNIT HAMAL FAQEER.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No: 53 P.No:13). = 676.Sft. 121/- %Sft. 818/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.No:13(a)P.53) = 1021Sft. 2206/60 %Sft. 22529/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.No:11(a)P.53) = 1021Sft. 2197/52 %Sft. 22437/=

4/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik. = 176Sft. 2401/58 %Sft. 4227/=

5/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.(S.N:13 P.34) = 1896.Sft. 1887/40 %Sft. 35785/=

6/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 12.Sft. 180/50 PSft. 2166/=

7/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 270Sft. 190/72 PSft. 51494/=

8/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.:38(b)P.:55) = 2912Sft. 1498/48 %Sft. 43636/=

9/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 3799Sft. 1043/90 %Sft. 39658/=

10/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 1099Sft. 425/84 %Sft. 4680/=

11/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 1073.Sft. 1160/06 %Sft. 12447/=

12/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

1. 3.Coats. = 270.Sft. 1270/83 %Sft. 3431/=
2. 2.Coats. = 75.Sft. 674/19 %Sft. 506/=

13/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 303.Sft. 674/60 %Sft. 2044/=

14/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 1200Sft. 8122/95 %Cft. 97475/=

15/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16©P.No:41). = 2400.Sft. 4411/82 %Sft. 105884/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,49,217/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BASIC HEALTH UNIT GUPCHANI.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 54.Cft. 3176/25 %ocft. 172/=

2/- Dismantling brick work lime or cement mortar.

(S.I.No:13 P.No:10). = 64.Cft. 1285/63 %Cft. 825/=

3/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 534.Cft. 12346/65 %Cft. 67290/=

4/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). = 9.Cft. 8694/95 %Cft. 783/=

5/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.I.No:28©P.No:19)

= 12.Sft. 4982/18 %Sft. 628/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 2528Sft. 2206/60 %Sft. 55785/=

7/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 2528Sft. 2197/52 %Sft. 55553/=

8/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16©P.No:41). = 240.Sft. 4411/82 %Sft. 10588/=

9/- M/F steel grated door with 1/16”thick sheeting i/c angle iron

Frame 2”x2”x3/8” and ¾” square bars 4”centre to centre with

Locking arrangement.(S.I.No:24 P.No:92). = 72.Sft. 726/72 PSft. 52324/=

10/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 40.Sft. 902/93 PSft. 36101/=

11/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 6804Sft. 859/90 %Sft. 58508/=

12/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4822Sft. 1043/90 %Sft. 50337/=

13/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 1422.Sft. 425/84 %Sft. 6055/=

14/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 813.Sft. 1160/06 %Sft. 9431/=

15/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 208.Sft. 674/19 %Sft. 1402/=

16/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

3.coats(New surface)(S.I.No:5(d)P.No:69). = 144.Sft. 1270/83 %Sft. 1830/=

17/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 1449.Sft. 1887/40 %Sft. 27348/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,73,334/=

PART “B” INT:W/S & S/F.

1/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 1-1/2” dia. = 120.Rft. 160/- PRFt. 19200/=
2. ¾”dia. = 100.Rft. 126/- PRFT. 12600/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 31,800/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BASIC HEALTH UNIT JAM SAHAB.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same.

(S.I.No:20 P.No:16). = 100.Cft. 5445/- %Cft. 5445/=

2/- Removing cement or lime plaster.(S.I.No:53 P.No:13).= 1960Sft. 121/- %Sft. 2372/=

3/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No: 19). = 170.Cft. 11948/36 %Cft. 20316/=

4/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No: 5 P.No:20). = 178.Cft. 12674/36 %Cft. 22560/=

5/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 188.Cft. 337/- PCft. 63356/=

6/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 9.Cwt. 5001/70 PCwt. 47016/=

7/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 2328Sft. 2206/60 %Sft. 51370/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 2328Sft. 2197/52 %Sft. 57158/=

9/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 216Sft. 2401/58 %Sft. 5187/=

10/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 26.Sft. 902/53 PSft. 23466/=

11/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 1986Sft. 1498/48 %Sft. 29760/=

12/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4822Sft. 1043/90 %Sft. 50337/=

13/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 1422Sft. 425/84 %Sft. 6055/=

14/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 813.Sft. 1160/06 %Sft. 9431/=

15/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 208.Sft. 674/19 %Sft. 1402/=

2.coats(Old surface).

16/- Cement concrete brick or stone ballast 1-1/2” to 2”guage ratio 1:5:10.

(S.I.No: 4 P.No: 15). = 86.Cft. 8694/95 %Sft. 7478/=

17/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.

(S.I.No:16©P.No:41). = 1460.Sft. 4411/82 %Sft. 64413/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,61,122/=

PART “B” INT:W/S & S/F.

1/- Manutacturing and supplying of 21’ RCC manhole cover cast in

1:2:4 concrete ratio 3 inch deep at center reinforced with ½”dia

For steel bars at 4”c/c welded to 3/16”thick 2” wide M.S plate

Two hook of 3/8” dia for bar i/c compacting i/c curing and

Transportation with in 10 miles.(P.B.S.I.No: 1(a)P.No:31).

1. 30”inch dia. = 2.Nos. 1830/94 Each. 3662/=

2/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 100.Rft. 344/- PRFt. 34400/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 38,062/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO GOVERNMENT DISPENSARY KHADHAR.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 975.Cft. 12346/65 %Cft. 120380/=

2/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 869.Sft. 121/- %Sft. 1052/=

3/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 3469Sft. 2206/60 %Sft. 76547/=

4/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 3469Sft. 2197/52 %Sft. 76232/=

5/- P/F iron collapsible gate with channel framing of section ¾’x5/16”

At 4” i/c revitted with ¾”x1/8” flat iron patti placed diagonally and

Provided with top & bottom T-section 1”x1” 1/8”along with rollers

Also i/c locking arrangement and fixing in floor/ceiling or wall etc

Completed.(S.I.No:32 P.No:94). = 35.Sft. 387/04 PSft. 13546/=

6/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same.

(S.I.No:20 P.No:16). = 12.Cft. 5445/- %Cft. 653/=

7/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 12.Cft. 337/- PCft. 4044/=

8/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 0.86Cwt. 5001/70 PCwt. 4301/=

9/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 3040Sft. 1043/90 %Sft. 31735/=

10/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 7775Sft. 425/84 %Sft. 33109/=

11/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55).

= 2067Sft. 1498/48 %Sft. 30994/=

12/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.(S.I.No:13 P.No:34).

= 1200.Sft. 1887/40 %Sft. 22657/=

13/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 1200.Sft. 3275/50 %Sft. 39306/=

14/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 604.Sft. 1160/06 %Sft. 7007/=

15/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 204.Sft. 674/60 %Sft. 1376/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,62,919/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BASIC HEALTH UNIT 60TH MILE.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 1973Sft. 121/= %Sft. 2387/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 1973Sft. 2206/60 %Sft. 43536/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 1973Sft. 2197/52 %Sft. 43357/=

4/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 104Sft. 2401/58 %Sft. 2498/=

5/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.(S.13 P.34) = 2169.Sft. 1887/40 %Sft. 40938/=

6/- Cement concrete brick or stone ballast 1-1/2”to 2”guage ratio 1:5:10.

(S.I.No:4©P.No:15). = 1500Cft. 8694/95 %cft. 130424/=

7/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 3”thick.(S.16©P.41) = 3000.Sft. 4411/82 %Sft. 132355/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(S.I.No:7(b)P.No:58). = 36.Sft. 1273/76 PSft. 45855/=

9/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 93Sft. 190/72 PSft. 17737/=

10/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.N:38(b)P.:55) = 1986Sft. 1498/48 %Sft. 29760/=

11/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 6172Sft. 1043/90 %Sft. 64430/=

12/- Scraping of distemper.(S.I.No:54(b)P.No:13). = 2468Sft. 226/88 %Sft. 5601/=

13/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 1656.Sft. 1160/06 %Sft. 19211/=

14/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats.(S.I.No:5(b)P.No:68). = 93.Sft. 1270/83 %Sft. 1182/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,79,271/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO GOVERNMENT DISPENSARY BROHI COTTON FACTORY.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 998.Sft. 121/- %Sft. 1208/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.No:13(a)P.:53) = 2298Sft. 2206/60 %Sft. 50708/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.(S.No:11(a)P.53) = 2298Sft. 2197/52 %Sft. 50500/=

4/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 404.Cft. 12346/65 %Cft. 49819/=

5/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 216Sft. 2401/58 %Sft. 5187/=

6/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4©P.No:15). = 960Cft. 8694/95 %Sft. 83472/=

7/- Cement concrete plain i/c placing compacting trenching and curing

Concrete i/c screening and washing at stone aggregate without

Shuttering 1:2:4.(S.I.No:5 P.No:16). = 480.Cft. 14429/25 %Cft. 69260/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(S.I.No:7(b)P.No:58). = 54.Sft. 1273/76 PSft. 68783/=

9/- Distempering on walls 2.coats.(S.I.No:24(b)P.No:53). = 3367Sft. 1043/90 %Sft. 35149/=

10/- White washing walls 2.coats.(S.I.No:26(b)P.No:53). = 1015Sft. 425/84 %Sft. 4322/=

11/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 3700Sft. 859/- %Sft. 31783/=

12/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc comp:New surface)2nd & subsequent coat. (S:36(b)P.54) = 1799Sft. 1772/38 %Sft. 31885/=

13/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 561.Sft. 1160/06 %Sft. 6508/=

14/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 238.Sft. 674/60 %Sft. 1606/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,90,190/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO RURAL HEALTH CENTRE DAULATPUR.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 750.Cft. 12346/65 %Cft. 92600/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

1:5:10.(S.I.No:4 P.No:15). = 9.Cft. 8694/95 %Cft. 783/=

3/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.No:13(a)P.53) = 3128Sft. 2206/60 %Sft. 69022/=

4/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.No:11(a)P.53) = 3128Sft. 2197/52 %Sft. 68738/=

5/- M/F steel grated door with 1/16”thick sheeting i/c angle iron

Frame 2”x2”x3/8” and ¾” square bars 4”centre to centre with

Locking arrangement.(S.I.No:24 P.No:92). = 90.Sft. 726/72 PSft. 65405/=

6/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No:4 P.No:19). = 452Cft. 11948/36 %Cft. 54007/=

7/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 181.Cft. 337/- PCft. 60997/=

8/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 9.Cwt. 5001/70 PCwt. 45265/=

9/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 6000Sft. 859/90 %Cft. 51594/=

10/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

3.coats(New surface)(S.I.No:5(d)P.No:69). = 180.Sft. 1270/83 %Sft. 2288/=

11/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

3.coats(New surface)(S.I.No:5(d)P.No:69). = 180.Sft. 1270/83 %Sft. 2288/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,10,699/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO DEMONSTRATOR BUNGALOW NO:5 P.M.C NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 1254.Sft. 3275/50 %Sft. 41074/=

2/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 150.Sft. 121/- %Sft. 182/=

3/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 150Sft. 2206/60 %Sft. 3310/=

4/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 150Sft. 2197/52 %Sft. 3296/=

5/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 42.Sft. 231/60 PSft. 9727/=

6/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 215Sft. 190/72 PSft. 41005/=

7/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 15.Sft. 902/93 PSft. 13544/=

8/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 1472Sft. 425/84 %Sft. 6268/=

9/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 6546Sft. 1043/90 %Sft. 68334/=

10/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 1255Sft. 1160/06 %Sft. 14559/=

11/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats.(S.I.No:5(b)P.No:68). = 222.Sft. 1270/83 %Sft. 2821/=

12/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 125.Sft. 674/60 %Sft. 843/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 2,94,963/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO COMPOUND WALL WHEAT RESEARCH INSTITUTE AT SAKRAND RESIDENCE SIDE.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling brick work lime or cement mortar.

(S.I.No:13 P.No:10). = 180.Cft. 1285/63 %Cft. 2314/=

2/- Dismantling cement concrete plain 1:3:6.

(S.I.No:19(b)P.No:10). = 390.Cft. 1306/80 %cft. 5097/=

3/- Pacca brick work in foundation/plinth in cement sand

Mortar 1:6.(S.I.No:4 P.No:19). = 588.Cft. 11948/36 %Cft. 70256/=

4/- D:P:C with(cement sand and shingle concrete 1:2:4)i/c

2.coats of asphaltic mixture 3”thick.(S.No:28©P.19) = 294.Sft. 4982/18 %Sft. 14648/=

5/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 1170.Cft. 12346/65 %Cft. 144456/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 3120Sft. 2206/60 %Sft. 68846/=

7/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 3120Sft. 2197/52 %Sft. 68563/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11©P.No:53). = 1040Sft. 3015/76 %Sft. 31364/=

9/- Colour washing walls 2.coats over one coat of white wash.

(S.I.No: 25 P.No:53). = 4160Sft. 1303/11 %Sft. 5409/=

10/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 43.Sft. 902/93 PSft. 3826/=

11/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 35.Rft. 228/90 PRft. 8012/=

12/- Preparing surface painting doors and windows any type i/c edges

3.coats (New Surface)(S.I.No:5 P.No:69). = 86.Sft. 2116/41 %Sft. 1820/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,62,375/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO TRAINING HALL A:T:I SAKRAND.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 1060Sft. 121/- %Sft. 1283/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 1060Sft. 2206/60 %Sft. 23390/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 1060Sft. 2197/52 %Sft. 23294/=

4/- Rough cost/stucco cement plaster ¾” thick in proportion of

1:1-1/2”x1-1/2” in cement hill sand and bajri pattern.

(S.I.No:32 P.No:55). = 96.Sft. 4178/02 %Sft. 4011/=

5/- 1-1/2”thick deodar wood framing i/c wire gauze with ordinary hinges.

(S.I.No:14(a)P.No:59). = 61.Sft. 454/19 PSft. 27706/=

6/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 116Sft. 190/72 PSft. 22124/=

7/- Glazing with panes (16oz to 18)using deodar wooden(Ist class)

Fillets and putty.(S.I.No:45(b)P.No:63). = 10.Sft. 142/90 PSft. 429/=

8/- /- Scraping of colour wash or white wash.

(S.I.No:54(a)P.No:13). = 2320Sft. 75/63 %Sft. 1755/=

9/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 622Sft. 425/84 %Sft. 2649/=

10/- Scraping od distemper.(S.I.No:53(b)P.No:13). = 3541Sft. 226/88 %Sft. 8034/=

11/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 5185Sft. 1043/90 %Sft. 54126/=

12/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).

= 680Sft. 1072/06 %Sft. 7290/=

13/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 555.Sft. 1160/06 %Sft. 6438/=

14/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5 P.No:69). = 222Sft. 674/60 %Sft. 1498/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,84,027/=

PART “B” INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

2/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 2.Nos. 843/92 Each. 1688/=

3/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 1.No. 447/15 Each. 447/=

4/- P/F 24”x18”bavelled edge mirror of belgium glass complete with

1/8”thick hard board and CP screws fixed to wooden pleat.(Std:

Pattern)(S.I.No:3(a)P.No:7). = 1.No. 1171/60 Each. 1172/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,526/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO STAFF QUARTER GRAIN GODOWN AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling brick work lime or cement mortar. (S.:13 P.10) = 96.Cft. 1285/63 %Cft. 1234/=

2/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 1218Sft. 121/- %Sft. 1474/=

3/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.:13(a)P.53) = 2312Sft. 2206/60 %Sft. 51017/=

4/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.:11(a)P.53) = 2312Sft. 2197/52 %Sft. 50807/=

5/- Applying flooring coat of cement 1/32”thick. (S.:14 P.53) = 2312Sft. 660/- %Sft. 15260/=

6/- Mud plaster on floor or roof 1”thick.(S.I.No:2 P.No:51). = 884.Sft. 555/- %Sft. 4908/=

7/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 42.Sft. 1278/76 PSft. 53498/=

8/- M/F steel grated door with 1/16”thick sheeting i/c angle iron

Frame 2”x2”x3/8” and ¾” square bars 4”centre to centre with

Locking arrangement.(S.I.No:24 P.No:92). = 49.Sft. 726/72 PSft. 35609/=

9/- Distemper on walls 2.coats.(S.I.No:26(b)P.No:53). = 3352Sft. 1043/90 %Sft. 34992/=

10/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 1815.Sft. 859/90 %Sft. 15607/=

11/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 45Sft. 190/72 PSft. 8582/=

12/- Preparing surface painting doors and windows any type i/c edges

.(S.I.No:5 P.No:69).

1. 2.coats. = 265Sft. 1160/06 %Sft. 30711/=
2. 3.coats. = 49.Sft. 2116/41 %Sft. 1037/=

13/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 168.Sft. 674/60 %Sft. 1133/=

14/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats.(S.I.No:5(b)P.No:68). = 90.Sft. 1270/83 %Sft. 1144/=

15/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.16©P41) = 439.Sft. 3275/50 %Sft. 14380/=

16/- Dismantling cement concrete plain 1:2:4. (S.No:19©P.10) = 75.Cft. 3327/50 %Cft. 2496/=

17/- Pacca brick work in ground floor in cement sand mortar 1:6. = 96.Cft. 12674/36 %Cft. 11913/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 3,08,160/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO GRAIN GODOWN AT NAWABSHAH.

SCHEDULE-B.

.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 1998.Cft. 3176/25 %ocft. 6346/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). *= 440.Cft.* 8694/95 %Cft. 38258/=

3/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4(d)P.No:15). = 832.Cft. 8122/95 %Cft. 67583/=

4/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S:16©P.41) = 1512.Sft. 3275/50 %Sft. 495256/=

5/- Pacca brick work in foundation/plinth in cement sand

Mortar 1:6.(S.I.No:4 P.No:19). = 1134Cft. 11948/36 %Cft. 135529/=

6/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No: 5 P.No: 20). = 846Cft. 12674/36 %Cft. 107162/=

7/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 846.Cft. 12346/65 %Cft. 142604/=

8/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 121.Cft. 337/- PCft. 40777/=

9/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 5.5Cwt. 5001/70 PCwt. 26212/=

10/- Dismantling brick work lime or cement mortar.

(S.I.No:13 P.No:10). = 900.Cft. 1285/63 %Cft. 11571/=

11/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 3962Sft. 121/- %Sft. 4794/=

12/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 11487Sft. 2206/60 %Sft. 253472/=

13/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 11487Sft. 2197/52 %Sft. 252429/=

14/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of Engineer incharge.

(S.I.No:21 P.No:94). = 18.Sft. 231/60 PSft. 4169/=

15/- Colour washing walls 2.coats.

(S.I.No:25(b)P.No:53). = 32762Sft. 859/90 %Sft. 281720/=

16/- Mud plaster on floor or roof 1”thick.(S.I.No:2 P.No:51). = 96600.Sft. 555/- %Sft. 536130/=

17/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 2142.Cft. 3327/50 %Cft. 71275/=

18/- Applying flooring coat of cement 1/32”thick.

(S.I.No:14 P.No:53). = 11487Sft. 660/- %Sft. 75814/=

19/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 6764.Sft. 674/60 %Sft. 45630/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 25,96,731/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO CIRCUIT HOUSE AT NAWABSHAH DISTRICT SHAHEED BENAZIRABAD(E.I WROK).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- P/F brass bottan holder.(E.S.I.No:232 P.No:33). = 40.Nos. 70/- Each. 1400/=

2/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 40.Nos. 80/- Each. 2320/=

3/- P/F Two pin 5Amp:plug Socket(E.S.I.No:222 P.No:33). = 10.Nos. 83/- Each. 3320/=

4/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(S.:3 P.1) = 54.Meter. 171/- P.Meter. 9234/=

5/- P/L (Main or Sub-Main) PVC insulated with size 2-7/.036 (4mm)2

Copper conductor in ¾” dia PVC conduit on surface. (.S.N:5 P:1) = 88.Mtr:. 305/- P.Meter. 26840/=

6/- P/F three pin 10/15 Amp: plug & socket flush type. (S:227 P. 33) = 10.Nos. 162/- Each. 1620/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 46,139/=

PART “B” NON-SCHEDULE ITEMS.

1/- Rewinding of ½ H.P motor i/c bearing capicitor and copper

Animal Winding wire etc complete. = 6.Nos. Each.

2/- Rewinding of ceiling fan i/c bearing capicitors and copper

Animal winding wire etc complete. = 10.Nos. Each.

3/- P/F energy saver good quality. = 150.Nos. Each.

4/- Oil changing PSO Brand Genrator i/c oil filter Modiloil. = 3.Times. Each.

5/- P/F Double tube lite china made electronic chowk,grill frame

And 2Nos tube rod 4’long etc complete. = 10.Nos. Each.

6/- P/F Energy saver 85W.220V thread type. = 24.Nos. Each.

7/- P/F split A/C Gas charging i/c service over ralling. = 13.Nos. Each.

8/- Repair of Deep Freezer with new compressior conenser complete

With incharging & carring etc complete. = 2.Nos. Each.

9/- P/F of suection pump 1-1/4”x1” delevery complete with nut,bolts

Etc complete. = 2.Nos. Each.

10/- Repair of steblizers 10000walts for A/C i/c relays winding & pin

Swetich etc complete. = 4.Nos. Each.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO MARRIED DOCTOR FLAT NO:62 AND 64 P.M.C AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4. (S.No:19©P.N:10). = 39.Cft. 3327/50 %Cft. 1298/=

2/- Removing lime or cement plaster. (S.I.No:53 P.No: 13). = 305Sft. 121/- %Sft. 369/=

3/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 257.Sft. 27678/86 %Sft. 71135/=

4/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 456.Sft. 28253/61 %Sft. 128836/=

5/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 690Cft. 3630/- %oCft. 2505/=

6/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 304.Cft. 8122/95 %Cft. 24694/=

7/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.16©P.41) = 920.Sft. 3275/50 %Sft. 30135/=

8/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No: 20). = 395.Cft. 12674/36 %Cft. 50064/=

9/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.:13(a)P.53) = 1050Sft. 2206/60 %Sft. 23169/=

10/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.(S.:11(a)P.53 = 1050Sft. 2197/52 %Sft. 23074/=

11/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 1310Sft. 425/84 %Sft. 5579/=

12/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4814Sft. 1043/90 %Sft. 50295/=

13/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 1213.Sft. 1160/06 %Sft. 14072/=

14/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 215.Sft. 674/19 %Sft. 1692/=

15/- P/F iron steel grill door with angle iron frame of 1-1/2”x1-1/2”x1/4”

And flat iron or ¾”x1/4”with approved design and locking arrangement

Embedded in masonry as per instructions of E-incharge. = 23.Sft. 231/60 PSft. 5327/=

16/- /- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

(S.I.No:5 P.No:69).

1. 2.coats. = 342.Sft. 674/60 %Sft. 2307/=
2. 3.coats. = 46.Sft. 1270/83 %Sft. 586/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,35,133/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape.

(S.I.No:1(A)P.No:1). = 2.Nos. 5044/60 Each. 10089/=

2/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 1.No. 11477/40 Each. 11477/=

3/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 1.No. 3432/- Each. 3434/=

4/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 1.No. 4694/80 Each. 4695/=

5/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 1.No. 938/47 Each. 938/=

6/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 6.Nos. 1109/46 Each. 6657/=

7/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 15.Nos. 843/92 Each. 12510/=

8/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 50.Rft. 344/- PRFt. 16700/=
2. ¾”dia. = 50.Rft. 126/- PRFT. 5300/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 72,800/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO F-TYPE FLAT NEAR D.H.O OFFICE P.M.C AT NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No:53 p.No:13). = 600Sft. 121/- %Sft. 726/=

2/- Applying flooring coat of cement 1/32”thick.

(S.I.No:14 P.No:53). = 600Sft. 660/- %Sft. 3960/=

3/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 600Sft. 2206/60 %Sft. 13240/=

4/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 600Sft. 2197/52 %Sft. 13185/=

5/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 15.Sft. 902/93 PSft. 13544/=

6/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 24Sft. 190/72 PSft. 4577/=

7/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 3216Sft. 425/84 %Sft. 13695/=

8/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 10710Sft. 1043/90 %Sft. 111802/=

9/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 472.Sft. 1160/06 %Sft. 5475/=

10/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 144.Sft. 674/19 %Sft. 971/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,95,015/=

PART “B” INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4438/=

2/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 72.Nos. 843/92 Each. 10127/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,282/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO DEPUTY DIRECTOR AGRICULTURE OFFICE NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same. = 63.Cft. 5445/- %Cft. 3430/=

2/- Dismantling brick work lime or cement mortar. (S:13 P.10) = 151.Cft. 1285/63 %Cft. 1941/=

3/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 4944Sft. 121/- %Cft. 5982/=

4/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.(S.13(a)P53) = 5387Sft. 2206/60 %Sft. 118870/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (S.N.11(a)P.53) = 5387Sft. 2197/52 %Sft. 118380/=

6/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:5 P.No:20). = 181.Cft. 12674/36 %Sft. 22972/=

7/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 45.Cft. 12346/65 %Cft. 5556/=

8/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.6(a)P.15) = 83.Cft. 337/- PCft. 27971/=

9/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars) = 4.25Cwt. 5001/70 PCwt. 21213/=

10/- DPC with cement sand ratio(1:2)mixed with dampo ¾”thik.

(S.I.No:69(b)P.No:106). = 191Sft. 2401/58 %Sft. 4587/=

11/- Cement concrete plain i/c placing compacting trenching and curing

Concrete i/c screening and washing at stone aggregate without

Shuttering 1:2:4.(S.I.No:5 P.No:16). = 16.Cft. 14429/25 %Cft. 2309/=

12/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 188.Sft. 30509/77 %Sft. 57358/=

13/- Applying flooring coat of cement 1/32”thick.

(S.I.No:14 P.No:53). = 5387Sft. 660/- %Sft. 35554/=

14/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 303Sft. 190/72 PSft. 57788/=

15/- White washing 2.coats.(S.I.No:24(b)P.No:53). = 1573Sft. 425/84 %Sft. 6698/=

16/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4096Sft. 1043/90 %Sft. 42758/=

17/- Scraping of distemper.(S.I.No:54(b)P.No:53). = 4096Sft. 226/88 %Sft. 9293/=

18/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 3493Sft. 659/90 %Sft. 30036/=

19/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 736.Sft. 1160/06 %Sft. 8538/=

20/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats.(S.I.No:5(b)P.No:68) = 303.Sft. 1270/83 %Sft. 3851/=

21/- Mud plaster on floor or roof 1”thick.(S.I.No:2 P.No:51). = 1760.Sft. 555/- %Sft. 9768/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 5,94,843/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 1.No. 5088/20 Each. 5088/=

2 /- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 1.No. 4253/70 Each. 4254/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3) = 1.No. 938/47 Each. 938/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2218/=

5/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection. = 4.Nos. 447/15 Each. 1789/=

6/- /- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. ¾”dia. = 50.Rft. 126/- PRFT. 6300/=

7/- S/F wash beain mixture of superior quality with CP head ½”dia.

(S.I.No:14(b)P.No:19). = 1.No. 3179/- Each. 3179/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 23,766/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO DISTRICT JAIL(RESDENCE) NAWABSHAH.

SCHEDULE-B

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same.

(S.I.No:20 P.No:16). = 132.Cft. 5445/- %Cft. 7187/=

2/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 409.Cft. 3327/50 %Cft. 13612/=

3/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 1626Sft. 121/- %Sft. 1967/=

4/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 132.Cft. 337/- PCft. 44484/=

5/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 6. Cwt. 5001/70 PCwt. 30725/=

6/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 1626Sft. 2206/60 %Sft. 35880/=

7/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 1626Sft. 2197/52 %Sft. 35732/=

8/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 2412Sft. 3275/50 %Sft. 79005/=

9/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(S.I.No:7(b)P.No:58). = 37.Sft. 1273/76 PSft. 47129/=

10/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 124Sft. 190/72 PSft. 23650/=

11/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 1520.Sft. 1887/40 %Sft. 28688/=

12/- White washing 2.coats.(S.I.No:24(b)P.No:53). = 1590Sft. 425/84 %Sft. 6771/=

13/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 3975Sft. 859/90 %Sft. 34181/=

14/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4501Sft. 1043/90 %Sft. 46986/=

15/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 1316.Sft. 1160/06 %Sft. 15266/=

16/- Preparing surface painting sashes fan light glazed or gauzed doors

And windows any type (S.I.No:5 P.No:68).

1. 3.coats. = 124.Sft. 1270/83 %Sft. 1576/=
2. 2.coats. = 135.Sft. 674/19 %Sft. 910/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,19,568/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO ANTI CRUPPTION CIRCLE OFFICE NAWABSHAH DISTRICT

SHAHEED BENAZIRABAD.(PROVIDING INTERNAL E.I)

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Wiring for light or fan point with 3/.029 PVC insulated wire in

20mm(3/4”)channel patti on surface as required.

(E.S.I.No:129 P.No:15).Fan Point. = 14.Nos. 910/- Each. 19290/=

2/- Wiring for plug point with 3/.029 PVC insulated wire in 20mm

(3/4”)channel patti on surface as required.(E.S.I.No:130 P.No:15).

1. Plug point. = 28.Nos. 742/- Each. 20776/=

3/- P/L(MAIN OR SUB MAIN)PVC insulated with size 2-7/.029 copper

Conductor in ¾”dia PVC conduit on surface.(E.S.I.No:3 P.No:1).

= 82.Meter. 171/- P.Meter. 14022/=

4/- P/F one way SP 5Amps switch flush type(E.S.I.No:218 P.No:33).

= 37.Nos. 58/- Each. 2146/=

5/- P/F Two Pin 5Amp: plug & socket.(E.S.I.No:222 P.No:33). = 18.Nos. 80/- Each. 1440/=

6/- P/F three pin 10/15 Amp: plug & socket flush type.

(E.S.I.No:227 P.No: 33). = 10.Nos. 162/- Each. 1620/=

7/- P/F brass bottan holder.(E.S.I.No:232 P.No:33). = 20.Nos. 70/- Each. 1610/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 58,904/=

PART “B” NON SCHEDULE ITEMS.

1/- P/F of Energy saver 25Walts superior quality. = 65.Nos. Each.

2/- P/F PVC service wire Aluminum conductor with size 2.7/.52. = 32Meter. P.Mtr:.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:-

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO (20.NOS)FLATS A:T:I SAKRAND.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:3:6.

(S.I.No:19(b)P.No:10). = 102.Cft. 1306/80 %cft. 1333/=

2/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 600.Sft. 3275/50 %Sft. 19653/=

3/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 22.Sft. 902/93 PSft. 19864/=

4/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 72Sft. 190/72 PSft. 13732/=

5/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 710.Sft. 27678/86 %Sft. 196520/=

6/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 1748.Sft. 28253/61 %Sft. 493873/=

7/- Scraping oil or distemper.(S.I.No:54(b)P.No:53). = 4919.Sft. 226/80 %Sft. 11160/=

8/- Distempering walls 2.coats.(S.I.No:26(b)P.No:53). = 4919.Sft. 1043/90 %Sft. 51349/=

9/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68).= 556Sft. 1072/06 %Sft. 5961/=

10/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 574.Sft. 1160/06 %Sft. 6659/=

11/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

= 147.Sft. 674/19 %Sft. 324/=

12/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 148.Sft. 674/60 %Sft. 998/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 8,21,426/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape.

(S.I.No:1(A)P.No:1). = 2.Nos. 5044/60 Each. 5045/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 1.Nos. 4694/80 Each. 4695/=

3/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4438/=

4/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 6.Nos. 843/92 Each. 5064/=

5/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 6.Nos. 938/47 Each. 5631/=

6/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 2.No. 1290/- Each. 2580/=

7/- S/F Jet shower with rod of superior quality single CP head ½”dia.

(S.I.No:15 P.No:19). = 1.Nos. 1142/24 Each. 1142/=

8/- S/F sink mixture cock of superior quality with CP head etc complete.

(S.I.No:17 P.No:19). = 1.Nos. 2745/60 Each. 2746/=

9/- S/F wash basin mixture of superior quality with CP head ½” dia.

(S.I.No:14(a)P.No:19). = 1.No. 2882/- Each. 2882/=

10/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 200.Rft. 344/- PRFt. 66800/=
2. ¾”dia. = 100.Rft. 126/- PRFT. 12600/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 1,14,823/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BOYS HOSTEL A:T:I SAKRAND.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 67.Sft. 902/93 PSft. 60496/=

2/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 25.Sft. 180/50 PSft. 4513/=

3/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 416Sft. 190/72 PSft. 79340/=

4/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 105.Rft. 228/90 PRft. 38937/=

5/- Pacca brick work in foundation/plinth in cement sand mortar 1:6.

(S.I.No: 4 P.No: 19). = 75.Cft. 11948/36 %Cft. 8961/=

6/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 2.08Cwt. 5001/70 PCwt. 10404/=

7/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 83.Cft. 337/- PCft. 27971/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11©P.No:53). = 106Sft. 3015/75 %Sft. 3197/=

9/- Cleaning of septic tank/soak pit i/c dewatering,removing the sewage

And soald wastes sand throuwing outside the municpal limits and

Cleaning the walls ceilings and bottom of tank.(S.I.No:95 P.No:11).

= 151.Sft. 13/31 PSft. 2010/=

10/- Cleaning/desilting of manholl inspection chambers i/c cleaning and

Rodding of connected sewers(Average 50’00)per M.Hole removing

Sewage and solid wastes and throwing outside KMC limits.

(S.I.No: 96 P.No: 110). = 4.Nos. 443/67 P.M.Holle 1775/=

11/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.(S.I.No:16©P.No:41).

= 167.Sft. 3275/50 %Sft. 5470/=

12/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 167.Sft. 1887/40 %Sft. 3152/=

13/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 9460Sft. 425/84 %Sft. 40284/=

14/- Distemper on walls 2.coats.(S.I.No:26(b)P.No:53). = 35187Sft.1043/90 %Sft. 367317/=

15/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 8778.Sft. 1160/06 %Sft. 101830/=

16/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

= 713.Sft. 674/19 %Sft. 4810/=

17/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 224.Sft. 674/60 %Sft. 1511/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 7,39,292/=

PART “B”INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4438/=

2/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 3.Nos. 843/92 Each. 2532/=

3/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 4.Nos. 447/15 Each. 1789/=

4/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 1.Nos. 4694/80 Each. 4695/=

5/- P/F handlve valve (china).(S.I.No:5 P.No:17).

1. 1-1/2” dia. = 2.Nos. 640/- Each. 1281/=
2. 1” dia. = 3.Nos. 365/42 Each. 1095/=

6/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 1-1/2” dia. = 100.Rft. 165/- P.Rft. 16500/=
2. ¾”dia. = 30.Rft. 126/- PRFT. 3780/=
3. 1” dia. = 50.Rft. 165/- PRFT. 7450/=

7/- Constt:of main hole or inspection chamber for the req:diameter

Of circular sewer and 3’-6”(1067mm)depth with walls of B.B in

Cement sand mortar 1:3 cement plaster 1:3 ½”thick inside of

Walls and 1”(25mm)thick over benching and channel i/c fixing

C.I manhole cover with frame of clear opening 1-1/2”x1-1/2”

(457x457mm)of 1.75Cwt (88.9KG)embaded in plain C.C 1:2:4

And fixing 1”(25mm)dia M.S steps 6”(150mm)wide projecting

4”(102mm)from the face of wall at 12”(305mm)c/c duly

Painted etc complete as per standard specification and

Drawing 4” to 12”dia 2’x2’x3’-6”(Without cover).

(P.H.S.I.No: 1 P.No:46). = 1.No. 2524/25 Each. 2524/=

8 /- P/L RCC pipes & collars of class “B” and digging the trenches to

Req:depth & fixing in position i/c cutting fitting & jointing with

Masphalt composition & cement mortar 1:1 and testing with

Water pressure to a head of 4ft: above the top of the heghest

Pipe & refilling with excavated staff 9” dia.(S.I.No:2 (d)P.No:24).

= 20.Rft. 250/60 PRft. 5000/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 52,839/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BASIC HEALTH UNIT KHAIR SHAH.

SCHEDULE-B.

.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No: 53 P.No:13). = 965.Sft. 121/- %Sft. 1168/=

2/- Dismantling glazed or encaustic tiles etc. (S.No:55 P.13) = 113.Sft. 786/50 %Sft. 889/=

3/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.(SN.60 P.46) = 113.Sft. 30509/77 %Sft. 34476/=

4/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick. (S.N:13(a)P.:53) = 965Sft. 2206/60 %Sft. 21294/=

5/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick. (SN:11(a)P.:53). = 965Sft. 2197/52 %Sft. 21206/=

6/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.:6(a)P.15) = 16.Cft. 337/- PCft. 5392/=

7/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 0.73Cwt. 5001/70 PCwt. 5617/=

8/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 51.Sft. 902/93 PSft. 46050/=

9/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 1428Sft. 425/84 %Sft. 6081/=

10/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4522Sft. 1043/90 %Sft. 47205/=

11/- Scraping of ordinary distemper.(S.I.No:54(b)P.No:53). = 4522Sft. 226/88 %Sft. 10260/=

12/- Colour washing walls 2coats.(S.I.No:25(b)P.No:53). = 12915Sft. 859/90 %Sft. 111056/=

13/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.(S.N:13 P.34) = 1540Sft. 1887/40 %Sft. 29066/=

14/- Galvanized wire gauze fixed to chowkats with ¾” teak wood

Strip and screws.(S.I.No:4(c)P.No:58). = 40.Sft. 345/53 PSft. 13994/=

15/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 96Sft. 190/72 PSft. 18309/=

16/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 750.Sft. 1160/06 %Sft. 8700/=

17/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges)3.coats.(S.I.No:5(b)P.No:68). = 136.Sft. 1270/83 %Sft. 1728/=

18/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 316.Sft. 674/60 %Sft. 2132/=

19/- P/F iron collapsible gate with channel framing of section ¾’x5/16”

At 4” i/c revitted with ¾”x1/8” flat iron patti placed diagonally and

Provided with top & bottom T-section 1”x1” 1/8”along with rollers

Also i/c locking arrangement and fixing in floor/ceiling or wall etc

Completed.(S.I.No:32 P.No:94). = 60.Sft. 387/04 PSft. 23222/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,05,845/=

PART “B” INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia. = 2.Nos. 1109/46 Each. 2219/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 1.No. 4253/70 Each. 4254/=

3/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3) = 1.No. 938/47 Each. 938/=

4/- S/F wash beain mixture of superior quality with CP head ½”dia.

(S.I.No:14(b)P.No:19). = 4.Nos. 3179/- Each. 12716/=

5/- S/F swan type piller cock of superior quality with crystal head

½”dia.(S.I.No:16(b)P.No:19). = 4.Nos. 877/80 Each. 3511/=

6/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 6.Nos. 447/15 Each. 2683/=

7/- Flush tank low level plastic 3gallons I.C.L(Master brand 2nd

Quality.(M.S.I.No:27 (b)P.No:122). = 2.Nos. 2300/- Each. 4600/=

8/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete ¾” dia. = 200.Rft. 126/- PRFT. 25200/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 62,778/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BUREAU OF STATISTICS NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling brick work lime or cement mortar.

(S.I.No:13 P.No:10). = 155.Cft. 1285/63 %Cft. 1993/=

2/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same.

(S.I.No:20 P.No:16). = 11.Cft. 5445/- %Cft. 613/=

3/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 480Sft. 121/- %Sft. 581/=

4/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 543.Cft. 12346/65 %Cft. 67042/=

5/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 52.Cft. 337/- PCft. 17524/=

6/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 2.71Cwt. 5001/70 PCwt. 13576/=

7/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 3280Sft. 2206/60 %Sft. 72376/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 3280Sft. 2197/52 %Sft. 72079/=

9/- Dismantling glazed or encaustic tiles etc.

(S.I.No:55 P.No:13). = 98.Sft. 786/50 %Sft. 771/=

10/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 22.Sft. 27678/86 %Sft. 6089/=

11/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 76.Sft. 28253/61 %Sft. 21477/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 2,74,121/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 1.No. 5088/20 Each. 5088/=

2/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 1.No. 11477/40 Each. 11477/=

3/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

4/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 2.Nos. 447/15 Each. 2683/=

5/- S/F concealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 2.Nos. 889/46 Each. 1779/=

6/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 2.Nos. 835/- Each. 1670/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 20.Rft. 344/- PRFt. 6680/=
2. ¾”dia. = 30.Rft. 126/- PRFT. 3780/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 35,273/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO BUREAU OF STATISTICS(RESIDENCE) NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 442Sft. 121/- %Sft. 535/=

2/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 442Sft. 2206/60 %Sft. 9753/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 442 Sft. 2197/52 %Sft. 9713/=

4/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 442.Cft. 3327/50 %Cft. 226/=

5/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 40.Sft. 27678/86 %Sft. 11072/=

6/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 104.Sft. 28253/61 %Sft. 29384/=

7/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 72Sft. 190/72 PSft. 13732/=

8/- Pacca brick work ground floor in cement sand mortar 1:6.

(S.I.No: 5 P.No:20). = 18.Cft. 12674/36 %Cft. 2281/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 76,696/=

PART “B”INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 1.No. 5088/20 Each. 5088/=

2/- P/F 24”x18”lavatory basin in white glazed earthen ware complete

With & i/c the cost of WI or CI cantilever bracket 6”inches built

Into walls painted white in 2 coats after a primary coat of red lead

Paint a pair of ½”rubber plug & chrome brass waste of approved

Pattern 1-1/4”dia malleable iron or CP brass traps malleable iron

Or brass unions and making req: number of holes in walls plinth &

Floor for pipe connection & making good in cement concrete 1:2:4

(Std: Pattern).)(S.I.No:8 P.No: 4). = 1.No. 4253/70 Each. 4254/=

3/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 2.Nos. 1109/46 Each. 2219/=

4/- S/P C.P Muslim Showeer with double Bib Cock & ring pipe etc

Complete.(S.I.No:19(a)P.No:19). = 1.No. 3432/- Each. 3432/=

5/- S/F concealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 2.Nos. 889/46 Each. 1779/=

6/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 30.Rft. 344/- PRFt. 10020/=
2. ¾”dia. = 50.Rft. 126/- PRFT. 6300/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 33,092/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO INSERVICE HOSTEL A:T:I SAKRAND.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing cement or lime plaster.(S.I.No:53 P.No:13). = 1604Sft. 121/- %Sft. 1941/=

2/- Applying flooring coat of cement 1/32”thick.

(S.I.No:14 P.No:53). = 1604Sft. 660/- %Sft. 10586/=

3/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No:11(c)P.No:53). = 1604Sft. 3015/75 %Sft. 48373/=

4/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 29.Rft. 228/90 PRft. 6638/=

5/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 80.Sft. 902/93 PSft. 72234/=

6/- P/F Aluminum sheet 6” to 9”with V-Notch for expansion joints i/c

Fixing with nails/screws.(S.I.No:88 P.No:109). = 318.Rft. 207/51 PRft. 65988/=

7/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 15083Sft. 425/84 %Sft. 64229/=

8/- Scraping of distemper.(S.I.No:54(b)P.No:13). = 34239Sft. 226/88 %Sft. 77681/=

9/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 34239Sft. 1043/90 %Sft. 357421/=

10/- Preparing surface painting doors and windows any type i/c edges

3.coats (New Surface)(S.I.No:5 P.No:69). = 160.Sft. 2116/41 %Sft. 3386/=

11/- Preparing surface painting doors and windows any type i/c edges

(Old surface)2.coats.(S.I.No:5(c)P.No:69). = 472.Sft. 1160/06 %Sft. 61274/=

12/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68).

= 1608.Sft. 674/19 %Sft. 10841/=

13/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 1666.Sft. 674/60 %Sft. 11239/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 7,91,831/=

PART “B” INT:W/S & S/F.

1/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4438/=

2/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 6.Nos. 843/92 Each. 5010/=

3/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 4.Nos. 447/15 Each. 1789/=

4/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 4.No. 1290/- Each. 5160/=

6/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 4.No. 835/- Each. 3340/=

7/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 80.Rft. 344/- PRFt. 30060/=
2. 1” dia. = 50.Rft. 134/- PRFT. 6700/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 53,157/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD