## Sb-1
Estimate for M&R to Rest House / Circuit House Sanghar (int: & Ext: Electric Work)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Item.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") Channal Patti on Surface as required. (S.I.No.129, P-15) |  | 16 | -Nos: | 910 | P.Point. | 14560 | 14560
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' Channal patti on surface as required. (S.I.No.130, P-15) |  | 20 | -Nos: | 742 | P.Point. | 14840 | 14840
3 | P/L (MAIN SUB MAIN) PVC insulated with size 2-3/.029 cpper conductor in 3/4'' dia PVC conduit on surface. As required.(S.I.No.1, P-1) |  | 80 | Mtr | 121 | P.Rft: | 9680 | 9680
4 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper condition in 3/4'' dia PVC conduit recessed in the wall or coloum as required. (S.12 P-2) |  | 60 | Mtr | 341 | P-Mtr | 20460 | 20460
5 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.052 (10mm2) copper conductor in 1'' dia PVC conduit on surface(S.I.No.6 P-1) |  | 40 | Mtr | 428 | P.Rft: | 17120 | 17120
6 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required.. (S.I.No.203, P-31) |  | 20 | -No: | 916 | Each. | 18320 | 18320
7 | P/F circuit breaker 15, 20 30, 40, 50 & 60 amp TP (XE-100CS(CB)) on prepared board as required. (S.I.No.206, P-31) |  | 2 | -No: | 5521 | P.No: | 11042 | 11042
8 | P/F Voltmeter size 96/96mm 500 volt as required & as per instuction of E.I (S.I.No.285 P-41) |  | 2 | -No: | 999 | Each. | 1998 | 1998
9 | P/F DP I/C Change over Switch 500 volt 60 amp on a prepared board.(S.I.No.196 P-30) |  | 1 | -No: | 3559.5 | Each. | 3559.5 | 3560
10 | P/F flood light 400 watts (HPIT) having IP65 Clasification with 400q lamp, choke, capacitor, igniter & internal wiring complete in all respect at the height up to 40ft with the help hydraulic crane and manual labour as per site requirement and instruction of EI.(S.167 P-26) |  | 3 | -No: | 16980 | Each. | 50940 | 50940
|  |  | T o t a l :- |  |  |  | #REF! | 162520
Part (B) E.I Non Shedule Item.
1 | P/F Energy Saver 24 watts superior quality an existing holder as required. |  | 45 | -Nos: |  | Each. | 0
2 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. |  | 2 | -Sft: |  | -P-Sft: | 0
3 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. |  | 12 | -Nos: |  | Each.
4 | P/F Switch fancy type imported quality as required. |  | 25 | -Nos: |  | Each. | 0
5 | P/F three pin 15 amp plug socket Fancy type imported quality as requirede. |  | 8 | -No: |  | Each. | 0
6 | Supply battery 12.watt 30.Amp (Exide Compony) as required. |  | 1 | -No: |  | Each. | 0
7 | S/F Gate light (Globe light) i/c holder with sever base etc complete as required. |  | 2 | -Nos: |  | Each. | 0
8 | S/F sprit AC 1.50 ton (standerd quality) Gree compony with necessary connection with Steplizer as required. |  | 1 | -No: |  | Each. | 0
|  |  | T o t a l :- |  |  |  | #REF!
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Provincial Buildings Division Shaheed Benazirabad

## Sb.2
M&R to Bachelor Barracks District Jail Sanghar (Electric Work)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Item.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") Channal Patti on Surface as required. (S.I.No.129, P-15) |  | 50 | -Nos: | 910 | P.Point. | 45500 | 45500
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' Channal patti on surface as required. (S.I.No.130, P-15) |  | 15 | -Nos: | 742 | P.Point. | 11130 | 11130
3 | P/L (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit on surface. (S.I.No.03, P-01) |  | 200 | -Met: | 171 | P.Met: | 34200 | 34200
4 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.052 (19mm2) copper condition in 3/4'' dia PVC conduit recessed in the wall or coloum as required. (S.I.No.13 P-2) |  | 26 | Mtr | 463 | P.Mtr | 12038 | 12038
5 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) |  | 84 | -No: | 58 | Each. | 4872 | 4872
6 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) |  | 21 | -No: | 83 | Each. | 1743 | 1743
7 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required.. (S.I.No.203, P-31) |  | 14 | -No: | 916 | Each. | 12824 | 12824
8 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp DP (TB-5S) on prepared board as required.. (S.I.No.204, P-31) |  | 3 | -No: | 2456 | Each. | 7368 | 7368
9 | P/F Circuit Circuit breaker 15,20,30,40,50,60,75 & 100 amp TP (XE-100NS) on prepared board as required.. (S.I.No.207, P-31) |  | 2 | -No: | 9261 | Each. | 18522 | 18522
10 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 35 | -Nos: | 70 | P.No: | 2450 | 2450
11 | P/F Bakelit celling rose with two terminals. (S.I.No B-228, P-33) |  | 25 | -No: | 72 | Each. | 1800 | 1800
12 | P/F Voltmeter size 96/96mm 500 volt as required & as per instuction of E.I (S.I.No.285 P-41) |  | 2 | -No: | 999 | Each. | 1998 | 1998
|  |  | T o t a l :- |  |  |  | #REF! | 154445
Part (B) E.I Non Shedule Item.
1 | P/F Energy Saver 24 watts superior quality an existing holder as required. |  | 24 | -Nos: | 550 | Each. | 13200 | 13200
2 | P/f 1-40 watts tube light complete with chock starter, patti fitting superior quality etc as required. |  | 6 | -No: | 770 | Each. | 4620 | 4620
3 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. |  | 3 | -Sft: | 2400 | -P-Sft: | 7200 | 7200
4 | P/F Pilot Lamp as required. |  | 6 | -Nos: | 300 | Each. | 1800 | 1800
5 | P/F Ceiling fan 56" sweep Celling Fan complete with rod fald canopy etc as required. Pak Royal G.F.C etc complete. |  | 5 | -No: | 5000 | Each. | 25000 | 25000
6 | Errection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 5 | -No: | 280 | Each. | 1400 | 1400
7 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. |  | 14 | -No: | 240 | Each. | 3360 | 3360
8 | S/F Capsol light plastic body with Energy sever 24 watt fancy glass shade holder etc as required. |  | 11 | -No: | 1000 | Each. | 11000 | 11000
9 | P/F universal 15 amp fixed on a board and necessary connection as required. |  | 7 | -Nos: | 690 | Each. | 4830 | 4830
10 | P/F Bulb 40 wttas required. |  | 12 | -Nos: | 60 | Each. | 720 | 720
11 | P/F automatic push button type starter three phase 440 volts 5 HP to 10 HP 3 Phase morter 5 amps adjustment i/c fixing on a prepared board and necessary connection etc complete as required |  | 2 | -No: | 8900 | Each. | 17800 | 17800
|  |  | T o t a l :- |  |  |  | #REF! | 90930
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Provincial Buildings Division Shaheed Benazirabad

## Sb.3
M&R to Jail Superintended / Deputy Superintended Bungalow District Jail Sanghar (Electric Work)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) E.I Schedule Item.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20mm (3/4") Channal Patti on Surface as required. (S.I.No.129, P-15) |  | 27 | -Nos: | 910 | P.Point. | 24570 | 24570
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20mm 3/4' Channal patti on surface as required. (S.I.No.130, P-15) |  | 20 | -Nos: | 742 | P.Point. | 14840 | 14840
3 | Wiring for call bell with (3/.029) PVC insulated wire in 20mm (3/4") Channal patti as required. (S.I.No.131, P-15) |  | 2 | -No: | 1590 | P.Point. | 3180 | 3180
4 | P/L (MAIN OR SUB MAIN) PVC insulated with size 2-7/.029 copper condition in 3/4'' dia PVC conduit recessed in the wall or coloum as required. (S.I.No 10 P-2) |  | 45 | Mtr | 222 | P.Rft: | 9990 | 9990
5 | P/F One way SP 10/15 amp switch surface type. (S.I.No A-218, P-33) |  | 40 | -No: | 58 | Each. | 2320 | 2320
6 | P/F Two pin 5 amp plug & Socket Flush type.. (S.I.No 225, P-33) |  | 20 | -No: | 83 | Each. | 1660 | 1660
7 | P/F Circuit 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required.. (S.I.No.203, P-31) |  | 7 | -No: | 916 | Each. | 6412 | 6412
8 | P/F circuit breaker 15, 20 30, 40, 50 & 60 amp TP (XE-100CS(CB)) on prepared board as required. (S.I.No.206, P-31) |  | 2 | -No: | 5521 | P.No: | 11042 | 11042
9 | P/F brass battern holder.(S.I.No 232, P-33). |  | 17 | -No: | 70 | Each. | 1190 | 1190
10 | P/F Bakelit celling rose with two terminals. (S.I.No B-228, P-33) |  | 10 | -No: | 72 | Each. | 720 | 720
11 | P/F Voltmeter size 96/96mm 500 volt as required & as per instuction of E.I (S.I.No.285 P-41) |  | 1 | Mtr | 999 | P.Rft: | 999 | 999
12 | P/F flood light 400 watts (HPIT) having IP65 Classification with 400q lamp, choke, capacitor, igniter & internal wiring complete in all respect at the height up to 40ft with the help hydraulic crane and manual labour as per site requirement and instruction of EI.(S.I.No.167 P-26) |  | 1 | -No: | 16980 | P.Rft: | 16980 | 16980
|  |  | T o t a l :- |  |  |  | #REF! | 93903
Part (B) E.I Non Shedule Item.
1 | P/F Energy Saver 24 watts superior quality an existing holder as required. |  | 20 | -Nos: |  | Each. | 0
2 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. |  | 2 | -Sft: |  | -P-Sft: | 0
3 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Royal, G.F.C. |  | 1 | -Nos: |  | Each. | 0
4 | S/F A.C fancy wall breaket fan i/c egulator etc complete. |  | 1 | -No: |  | Each. | 0
5 | Providing & fixing A.C. Ceiling fan regulator on S.W. Board. |  | 7 | -No: |  | Each. | 0
6 | S/F Gate light (Globe light) i/c holder with sever base etc complete as required. |  | 2 | -Nos: |  | Each. | 0
7 | P/F universal 15 amp fixed on a board and necessary connection as required. |  | 6 | -Nos: |  | Each. | 0
8 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. |  | 14 | -Nos: |  | Each.
9 | P/F Morter Pump 1/2" Superior Quality as required. |  | 1 | -Nos: |  | Each. | 0
10 | S/F Street Light metlic body plastic reflector holder and G.I breaket 1'' dia for holding street i/c fixin 85 watts saver |  | 1 | -No: |  | Each. | 0
|  |  | T o t a l :- |  |  |  | #REF!
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Provincial Buildings Division Shaheed Benazirabad