## F.S
FACE SHEET
FUND HEAD | : | PROVINCIAL
MAJOR HEAD | : | 9-314 BUILDING & STRUCTURE
CAPITAL (DEVELOPMENT)
MINOR HEAD | : | BUILDING & STRUCTURE.
SERVICE HEAD | : | CAPITAL (DEVELOPMENT)
DEPTT. HEAD | : | REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDREN AT BLOCK-20, F.B. AREA KARACHI.
AMOUNT RS. | : | 3.243 | (Million)
The Estimate has been framed in the office of the Executive Engineer, Provincial Buildings Division No. I, Karachi for the probable Expenditure that will be incurred in the current financial year under the Head / Sub Head Mentioned above on the above noted work.
SPECIFICATION.
The work will been carried out as per comosite Schedule of Rates for finished items issued by Standing Rate Committee Sindh 2012, for Civil, Water Supply Public Health Engineering and Electrification and where necessary those Non-Schedule items which are not available in the composite schedule of Rates.
GENERAL DESCRIPTON
The Detailed Estimate amountto Rs. |  |  |  | 3.243 | (M) has been prepared keeping in view the
Provision in view the Provision in approved Rough Cost Estimate of the scheme. The estimate is part work of Non ADP Scheme.
| Assistant Engineer |  |  |  |  | Executive Engineer
| Provincial Building Sub-Division-V |  |  |  |  | Provincial Building Division-II
| Karachi |  |  |  |  | Karachi

## SOC (Balance Work)
NAME OF WORK => |  |  | REPAIR/RENOVATION OF REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDREN AT BLOCK-20, F.B. AREA KARACHI.
SUMMARY OF COST
(a) Civil Works
|  | (i) Schedule Item |  |  |  |  | 2822725 | /-
|  | (ii) Non Schedule Item |  |  |  |  | 121854 | /-
[6 empty] | a) Total Rs. | 2944579 | /-
(b) W/S & S/F
|  | (i) Non Schedule Item |  |  |  |  | 127742 | /-
[6 empty] | b) Total Rs. | 127742 | /-
(c) Electrification
|  | (i) Schedule Item |  |  |  |  | 114989 | /-
|  | (ii) Non Schedule Item |  |  |  |  | 55225 | /-
[6 empty] | c) Total Rs. | 170214 | /-
|  |  |  | Total (a + b + c) |  | G.TOTAL (A+B) RS: | 3242535 | /-
[6 empty] | Say Rs. | 3243000 | /-
[6 empty] | Rs. In Million | 3.243 | (M)
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
|  | Provincial Buildings Sub-Division-I |  |  | Provincial Buildings Division-I
|  | Karachi. |  |  | Karachi.

## F.R
FINANCIAL REVIEW
NAME OF WORK:- |  | STRENGTHEINING / UPGRADATION OF EXISTING REHABILITATION CENTER FOR PHYSICALLY HANDICAPPED PERSONS & REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDERN THROUGHOUT SINDH.
Reference of Scheme:- |  | ADP # 1621 OF PSDP 2015-16
Rs. In (Million)
S. No. | Description of Items. |  |  |  | As per Approved REC | As per Detailed Working Estimates | Remarks.
1 | Renovation of RCMHC Sumer Kindoi Goth Malir, Karachi. |  |  |  | 10.7922 | 10.7922 | Anticipated
2 | Renovation of RCMHC Pan Goth Mullah Lyari, Karachi. |  |  |  | 3.2822 | 3.2056 | Already sanctioned.
3 | Renovation of RCMHC @ F.B. Area, Karachi. |  |  |  | 2.6491 | 3.004 | Now Submitted for sanction.
4 | Renovation of RCMHC @ Asifabad Near Park Colony, Karachi. |  |  |  | 3.8038 | 3.8038 | Anticipated
|  |  |  | Total | 20.5273 | 20.8056 | Excess of Rs.
| Add | 2% | contigencies. |  | 0.4105 | 0.4161
| Add | 1% | party monitoring |  | 0.2053 | 0.2081
[5 empty] | 21.1431 | 21.4298
| Add | Escalation |  |  | 0.7242 | 0
[5 empty] | 21.8673 | 21.4298 | Saving | of Rs. | 0.4375 | (M) i.e. within
|  |  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
|  |  | PROVINCIAL BUILDINGS SUB-DIVISION-V, |  |  | PROVINCIAL BUILDINGS DIVISION-I,
|  |  | KARACHI. |  |  | KARACHI.

## (Handicaped) SB
NAME OF WORK => |  | REPAIR/RENOVATION OF REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDREN AT BLOCK-20, F.B. AREA KARACHI.
SCHEDULE "B"
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
Part "A-i" Civil work(S.I)
1 | Dismantling cement concrete plain 1: 2: 4.
| (S.I.No. 19 -c P-10). |  | 749 | Cft | 3327 | / | 50 | %Cft | 24923 | /-
2 | Dismantling cement block masonary.
| (S.I.No. 14 P-10). |  | 599 | Cft | 1134 | / | 38 | %Cft | 6795 | /-
3 | Dismantling cement concrete reinforced
separating reinfor cement from concrete
cleaning and straightening the same.
| (S.I.No. 20 P-10). |  | 1301 | Cft | 5445 | / | 0 | %Cft | 70839 | /-
4 | R.C.C work including all labour and material
except the cost of steel reinforcement and its
labour for bending and binding which will be
paid separatelt. This rate also includeda all
kind of forms moulds lifting shuttering curring
rendering and finishing the exposed surface
including screeening and washing of shingle.
(a) RCC work in roof slab, beams columns
rafts lintels and other structural member laid
in situ or precast laid in position complete in
all respect (I) Ratio (1 : 2: 4 ) 90 Lbs.cement
2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.
| (S.I.No. 6-a-i P-17). |  | 1301 | Cft | 337 | / | 0 | P.Cft | 438437 | /-
5 | Febrication of mild Steel reinforcement fo cement concrete i/c cutting bending and laying in position making joints and fastening including cost of binding wire (also i/c removal of rust of bars).
|  |  | 91.07 | Cwt | 5001 | / | 70 | P.Cwt | 455505 | /-
(S.I.No. 8-b P-17).
6 | Cement concrete plain including placing
compacting, finishing and curing, comlete
(including screening and washing at stone
aggregate without shuttering.
| (f) Ratio. 1:2 :4. (S.I.No. 5-f P-16). |  | 30 | Cft | 14429 | / | 25 | %Cft | 4329 | /-
7 | Erection and removal of centering for R.C.C
or plain cement concrete works of Deodar
wood (2nd-Class). (ii) Vertical.
| (S.I.No. 19-a-ii P-18). |  | 130 | Sft | 3127 | / | 41 | %Sft | 4066 | /-
8 | Laying white marble flooring fine dressed
on the surface without winding set in lime
mortar 1:2 including rubbing and polishing
of the joints. (a) 3/4" thick flooring.
| (S.I.No. 28-a P-43). |  | 1631 | Sft | 567 | / | 48 | P.Sft | 925560 | /-
9 | Providing and fixing 3/8" thick marble tiles
of approved quality and colour and shade
size 8" x 4" /6" x 4" in dado skirting and
facing removal /tucking of existing plaster
surface ete. Over 1/2" thick base of cement
mortar 1:3 setting of tiles in slurry of white
cement over mortar base including filling
the joints and washing the tiles with white
cement slurry , curring finishing, cleaning
and polishing etc. complete. (ii) For old works.
| (S.I.No. 68-b P-49). |  | 220 | Sft | 201 | / | 7 | P.Sft | 44235 | /-
10 | Providing and laying 1 : 3 : 6 cement concrete
solid block masonary wall 6" and below in
thickness set in 1: 6 cement mortar in ground
floor Super Structure including raking out
joints & currring etc, complete.
| (S.I.No. 24 P-19). |  | 120 | Cft | 15771 | / | 1 | %Cft | 18925 | /-
11 | Cement plaster 1:4 upto 20' height.
| ( c) 3/4" thick. (S.I.No. 11-c P-52). |  | 1557 | Sft | 3015 | / | 76 | %Sft | 46955 | /-
12 | Providing and laying 1" thick topping cement
concrete (1:2:4 ) including Surface finishing
and dividiing into panels: (c.) 2" thick.
| (S.I.No. 16-c P-42). |  | 2787 | Sft | 3275 | / | 50 | %Sft | 91288 | /-
13 | Two coats of bitumen laid hot using 34 Lbs
for % Sft. Ober roof and blinded with sand
| at one Cft. Per % Sft. (S.I.No. 13 P-35). |  | 2787 | Sft | 1887 | / | 40 | %Sft | 52602 | /-
14 | Dismantling glazed or encaustic tiles etc.
| (S.I.No. 55 P-13). |  | 546 | Sft | 786 | / | 50 | %Sft | 4294 | /-
15 | Providing and laying tiles glazed 6" x 6" x
1/4" on floor or wall facing in required colour
and apttern of STILE specification jointed
in white cement and pigment over a base of
1:2 grey cement mortar 3/4" thick including
washing and filling of joints with slaurry of
white cement and pigment in desired shape
with finishing, clearing and cost of wax
polish etc. complete including cutting tiles
| to proper profile. (S.I.No. 60 P-47). |  | 546 | Sft | 30509 | / | 77 | %Sft | 166583 | /-
16 | Removing door with chowket.
| (S.I.No. 33-a P-12). |  | 8 | Nos | 142 | / | 18 | P.No | 1137 | /-
17 | Providing and fixing G.I frames /Choukhats
of size 7" x 2" or 4 1/2" x 3" for door using
20 gauge G.I sheet I/c welded hinges and
fixing at site with necessary hold fasts, filling
with cement sand slurry of ratio 1:6 and
repairing the jambs. The cost also i/c all
carriage , tools and plants used in making
| and fixing. (S.I.No. 29 P-93). |  | 134 | Rft | 228 | / | 90 | P.Rft | 30673 | /-
18 | Providing and fixing in position doors,
windows and ventilators of 1st. Class deodar
wood frames and 1-1/2" thick Teak wood
ply shutters of 2nd class deodar wood
skeleton (solid ) styles and rails core of
partal wood and Teak ply wood (3-ply) on
both side i/c hold fasts, hinges, iron tower
blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65).
| (S.I.No. 58 P-65) (-) (S.I.No. 25-b P-61). |  | 130 | Sft | 706 | / | 23 | P.Sft | 91810 | /-
19 | Supplying & fixing in position Aluminium
channels framing for slidding windows &
ventilators of Alcop made with 5 mm thick
tinted glass glazing (Belgium) & Aluminium
fly screen I/c handles stoppers & locking
arrangement etc. complete.
| (S.I.No. 84-b P-108). |  | 185 | Sft | 1647 | / | 69 | P.Sft | 304823 | /-
20 | Providing and fixing with sunk iron screws
wooden Architrave approved design/ shape
having width not less than 2- 1/2 inches as
directed by Engineer Incharge.
| (S.I.No. 60 P-66). |  | 267 | Rft | 49 | / | 97 | P.Rft | 13342 | /-
21 | Painting old surfaces. (c ) Painting doors
and windows any type. Two coats.
| (S.I.No. 4c-i+ii P-68). |  | 301 | Sft | 1160 | / | 6 | %Sft | 3492 | /-
22 | Painting old surfaces. (d) Painting guard bars,
gates iron bars gratings , railings including
standard braces (etc.) and similar open work.
| (S.I.No. 4dii P-69). |  | 305 | Sft | 674 | / | 60 | %Sft | 2058 | /-
23 | SCRAPING. (b) Ordinary distemper, for
bound distemper or paint on walls.
| (S.I.No. 4dii P-69). |  | 8601 | Sft | 226 | / | 88 | %Sft | 19514 | /-
24 | Preparing the surface & painting with matt
finsih paint of approved make to old matt
| finish surface. (S.I.No. 37a+b P-55). |  | 5788 | Sft | 1772 | / | 38 | %Sft | 102585 | /-
25 | Providing & fixing colour crete jto wall
surface to provide, durable crust and aesthetics
having thickness upto 3/4" with specified
colour having water, fire and temite
resistance (upto 20' -0 height).
| (S.I.No. 44 P-56). |  | 2813 | Sft | 6319 | / | 50 | %Sft | 177768 | /-
26 | Providing and fixing Aluminum sheet on
doors pasted with glue as per requirement.
| (S.I.No. 61 P-66). |  | 35 | Sft | 63 | / | 77 | P.Sft | 2232 | /-
[8 empty] | Total Rs. | 3104770 | /-
Add % Above/Below
Less on item No.8,9,15,18 & 19
Part "Ai" (Civil Wrok S.I.) Total Rs.
Part "Aii" (Civil Wrok N.S.I.)
2 | Removing debries from in/c: collecting from
different floors throwing to stair to ground
floor at place and then loading on truck and
throwing out of city government premisses,
fuel & hire charges of truck, loading &
| unloading etc complete. |  | 17 | Trucks |  |  |  | Each
Part "Aii" (N.S.I.) Total Rs.
Part "Bi" (WS & SF N.S.I.)
1 | P/F white/colored glazed earthen ware
squatting/Indian type W.C pan of not less
than 23” (ACL make or equivalent) with
low level flush tank (Push button type)
having capacity of 3.0 gallon in/c necessary
lead connection with pipe & bend etc making
requisite number of holes in wall, plinth &
floor for pipe connection and making good
in c.c. 1:2:4 as per instruction of the
| Engineer Incharge. |  | 1 | No |  |  |  | Each
2 | Supplying & fixing white or colored glazed
earthen ware European commode set (ACL
make or equivalent) coupled with flush tank
of 3.0-gallon capacity & seat cover complete
with internal fittings, fixtures, clamps,
necessary lead connection and making
requisite No of holes in wall, plinth or floor
for pipe connection & making good CC 1:2:4
| as directed by the Engineer Incharge. |  | 2 | Nos |  |  |  | Each
3 | P/F white/colored glazed earthen ware
wash basin of 24”x18” size(ACL or equivalent )
with pedestal in/c necessary lead connection
C.P. waste, waste pipe, in/c making requisite
number of holes in wall plinth or floor for
pipe connection & making good in c.c. 1:2:4.
| as per instruction of Engineer Incharge. |  | 2 | Nos |  |  |  | Each
4 | P/F Double Bib Cock / Long Bib Cock
1/2” dia plastic coated A Class as directed
| by the Engineer Incharge. (Irfan Make) |  | 2 | Nos |  |  |  | Each
5 | P/F sanitary fitting chrome plated heavy
gauge of approved quality (Sonex / Master
make) fitted with completed accessories as
directed by the Engineer Incharge.
| Muslim shower. ½” dia. |  | 2 | Nos |  |  |  | Each
6 | P/F sanitary fitting chrome plated heavy
gauge of approved quality (Irfan or equivalent
make) fitted with completed accessories as
directed by the Engineer Incharge.
| Stop Cock /Bib Cock / Tee Cock . ½” dia |  | 6 | Nos |  |  |  | Each
7 | P/F UPVC fitting of schedule 40(E) ASTM-
D-1785 Standard (AGM) or Pak Arab make)
with the cost of breaking through walls and
roof in/c: jointing with PVC solvent / JTG
solution and fixing at any height/floor using
jhoola or long ladder or scaffolding in horizontal
or vertical position as directed by the Engineer
| Incharge. (a) 4" dia. Floor Trap. |  | 4 | Nos |  |  |  | Each
8 | P/F UPVC floor trap jali or top tile size
6”x 6”of approved color & design as directed
| by the Engineer Incharge. |  | 4 | Nos |  |  |  | Each
9 | P/F UPVC soil and vent pipe of AGM or
Pak Arab make schedule SDR- 41(B) pipe
without fittings which will be paid separately.
This includes fixing on walls with clamps
or Jubilee clips upto height 50’-0 in vertical
or horizontal position using Jhoola or long
ladder or scaffolding and jointing pipe &
fittings with approved cement solvent / JTG
solution. The rate includes all cost of labour,
material, and cartage, as directed by Engineer
| Incharge. (a) 4” dia. |  | 45 | Rft |  |  |  | P.Rft
10 | P/F UPVC fitting of schedule 40(E) ASTM-
D-1785 Standard (AGM) or Pak Arab make)
with the cost of breaking through walls and
roof in/c: jointing with PVC solvent / JTG
solution and fixing at any height/floor using
jhoola or long ladder or scaffolding in horizontal
or vertical position as directed by the Engineer
| Incharge. (a) 4" dia. Plain Bend. |  | 4 | Nos |  |  |  | Each
11 | P/F UPVC fittings of schedule 40(E) ASTM–
D-1785 Standard (AGM or Pak Arab make)
with the cost of breaking through walls and
roof in/c jointing with PVC solvent/JTG
solution and fixing at any height/floor using
Jhoola or long ladder or scaffolding in
horizontal or vertical position as directed by
| the Engineer Incharge. (a) 4” dia plain Tee. |  | 3 | Nos |  |  |  | Each
12 | P/F UPVC fittings of schedule 40(E) ASTM–
D-1785 Standard (AGM or Pak Arab make)
with the cost of breaking through walls and
roof in/c jointing with PVC solvent/JTG
solution and fixing at any height/floor using
Jhoola or long ladder or scaffolding in
horizontal or vertical position as directed by
| the Engineer Incharge. (a) 4” dia cowel. |  | 3 | Nos |  |  |  | Each
13 | P/F GI pipe of IIL (L) or equivalent with
fittings of TG or equivalent recessed in wall
or columns in/c cutting pipe, the threading,,
fixing and wrapping bitumen tape all around
and making required No. of holes in wall,
floor or plinth for pipe connection and making
good in CC 1:2:4 as directed by Engineer
| Incharge., (a) 1/2" dia pipe. |  | 40 | Rft |  |  |  | P.Rft
14 | P/F UPVC water supply pipe of AGM or
Pak Arab make schedule 40(E) ASTM
standard D-1785 with all necessary fittings
like elbow, bend, tee etc . This includes
fixing on walls with clamps or Jubilee clips
upto height of 50’-0 in vertical or horizontal
position using Jhoola or long ladder or
scaffolding and jointing pipe & fittings with
approved solvent / JTG solution. The rate
includes all cost of labour, material, and
cartage, as directed by Engineer Incharge.
| (a) 3/4” dia. |  | 86 | Rft |  |  |  | P.Rft
15 | Providing & Fixing G.I Gate Valve 3/4” dia
Heavy of approved quality & make as
| directed by the Engineer Incharge. |  | 2 | Nos |  |  |  | Each
Part "Bi" (WS & SF N.S.I.) Total Rs.
Part "Ci" (Electrification S.I.)
1 | Wiring for light or fan point with 3/.029
PVC insulated wire in 20mm(3/4") PVC
conduit recessed in the wall or column as
| required. (S.I.No.124 P-15). |  | 42 | Nos | 1130 | / | 0 | P.Pont | 47460 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
recessed in the wall or column as required.
| (S.I.No.126 P-15). |  | 14 | Nos | 985 | / | 0 | P.Pont | 13790 | /-
3 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
recessed in the wall or column as required.
| (S.I.No.128 P-15). |  | 2 | Nos | 1764 | / | 0 | P.Pont | 3528 | /-
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on
| surface. (S.I.No.3 P-1). |  | 124 | Mtr | 171 | / | 0 | P.Mtr | 21204 | /-
5 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
| surface. (S.I.No.5 P-1). |  | 36.1 | Mtr | 305 | / | 0 | P.Mtr | 11011 | /-
6 | Providing & fixing one way SP 5amp switch
| flush type (S.I.No.219 P-33). |  | 44 | Nos | 54 | / | 0 | P.No. | 2376 | /-
7 | P/F Switch 5-Amp Plug Socket with fancy type
sheet (Imported make) including plastic board
with necessary electric connetction etc complete
| (Clipsal or equivalent) |  | 14 | Nos | 160 | / | 0 | Each | 2240 | /-
8 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
| prepard board as required. (S.I.No.203 P-31). |  | 10 | Nos | 916 | / | 0 | P.No. | 9160 | /-
9 | Providing & fixing circuit breaker 15, 20,
30, 40, 50, & 60amp TP (XE-100CS[CB] )
on prepard board as required.
| (S.I.No.203 P-31). |  | 1 | No | 5521 | / | 0 | Each | 5521 | /-
10 | Providing & fixing Bakelite ceiling rose with
| two terminals. (S.I.No.228 P-33). |  | 8 | Nos | 72 | / | 0 | P. No | 576 | /-
11 | Providing & fixing Brass Battern holder
| (S.I.No.232 P-33). |  | 35 | Nos | 70 | / | 0 | P. No | 2450 | /-
[8 empty] | Total Rs. | 119316 | /-
Add % Above/Below
Part "Ci" (Electrification S.I.) Total Rs.
Part "Cii" (Electrification N.S.I.)
1 | P/F fan dimmer of ceiling fan Pak / Royal /
GFC of approved quality & make as directed
| by the Engineer Incharge |  | 7 | Nos |  |  |  | Each
2 | S/F 5/8" dia fan hook mild steel with box fitted
on existing fabrication framing at the time of
C.C. pouring as directed by the Engineer
| Incharge. |  | 7 | Nos |  |  |  | Each
3 | S/F 3 pin 10 to 15 amps switch socket power
plug / universal 220 volts fitted with
| sheet (SoGo make / Imported). |  | 1 | No |  |  |  | Each
4 | S/F Light plug with board & fiber sheet 8"x 6"
| as directed by the Engineer Incharge. |  | 6 | Nos |  |  |  | Each
5 | S/F 1.5mm PVC insulated copper wire single
conductor in existing concealed /open surface
conduit as each continuity conductor in/c:
connecting main copper wire to metallic body
| as directed by the Engineer Incharge. |  | 505.12 | Mtr |  |  |  | P.Mtr
6 | P/F Earthing set with 24"x24"x1/4" copper
plate buried in ground upto depth of 15' or
lees if water come upt from the ground level,
earth plate connected with 8 nos SWG bare
copper wire run in 3/4" G.I pipe straigth from
the earth plate to ground level of bldg: and
fitted G.I Tee for watering and then connected
to metallic body in/c. spreading power tech
earth powder 100 KG as per specification
and refilling excavated earth in three layer
and pouring water for compacting between
each two layers as directed by the engineer
| incharge. |  | 1 | No |  |  |  | Each
7 | S/F Energy saver lamp 220 volts of approved
quality (Phillips or equivalent make) fitted on
wall, ceiling, & pendent upto required height
in existing holder as directed by the Engineer
| Incharge. (a)Energy Saver 24 watts. |  | 35 | Nos |  |  |  | Each
8 | P/F distribution board 16 gauge of accommodate
for mains or sub-mains, circuit breaker, bus
bar, and other similar Job double shutter
painted with enemelled paint as directed by
| the Engineer Incharge. |  | 3 | Sft |  |  |  | P.Sft
Part "Ci" (N.S.I.) Total Rs.
ABSTRACT OF COST
(a) Civil Works
(i) Schedule Item
(ii) Non Schedule Item
a) Total Rs.
(b) W/S & S/F
(i) Non Schedule Item
b) Total Rs.
(c) Electrification
(i) Schedule Item
(ii) Non Schedule Item
c) Total Rs.
|  |  | (a+b+c) |  |  |  |  | G. Total Rs.
TERMS AND CONDITIONS:
1 | Any typographical errers in the schedule 'B' are subject to correction with the reference to the schedule of rates General Item & Water Supply.
2 | 100% well graded crushed bajri shall be used in item of RCC 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No premium shall be paid on Non-Schedule item.
5 | No Cartage on any items of material either supplied by the Department or arranged by the contractor shall be paid.
6 | C.C Block shall be machine made.
7 | All RCC/CC cast in situ shall be mechanically vibrated.
8 | Contractor has to bring sample of the material and handed to the Engineer incharge free of cost.
9 | All buildings debries & surplus stuff not required for use and construction shall be removed from the site the suitable disposal off by the contractors for which no extra cartages shall be paid.
10 | The work will be carried out as per PWD specification.
CONTRACTOR |  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
|  | Provincial Buildings Sub-Division-V |  |  | Provincial Buildings Division-I
|  | Karachi. |  |  | Karachi.

## (Handicaped) Abs
NAME OF WORK => |  | REPAIR/RENOVATION OF REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDREN AT BLOCK-20, F.B. AREA KARACHI.
ABSTRUCT SHEET
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
Part "A-i" Civil work(S.I)
1 | Dismantling cement concrete plain 1: 2: 4.
| (S.I.No. 19 -c P-10). |  | 749 | Cft | 3327 | / | 50 | %Cft | 24923 | /-
2 | Dismantling cement block masonary.
| (S.I.No. 14 P-10). |  | 599 | Cft | 1134 | / | 38 | %Cft | 6795 | /-
3 | Dismantling cement concrete reinforced
separating reinfor cement from concrete
cleaning and straightening the same.
| (S.I.No. 20 P-10). |  | 1301 | Cft | 5445 | / | 0 | %Cft | 70839 | /-
4 | R.C.C work including all labour and material
except the cost of steel reinforcement and its
labour for bending and binding which will be
paid separatelt. This rate also includeda all
kind of forms moulds lifting shuttering curring
rendering and finishing the exposed surface
including screeening and washing of shingle.
(a) RCC work in roof slab, beams columns
rafts lintels and other structural member laid
in situ or precast laid in position complete in
all respect (I) Ratio (1 : 2: 4 ) 90 Lbs.cement
2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.
| (S.I.No. 6-a-i P-17). |  | 1301 | Cft | 337 | / | 0 | P.Cft | 438437 | /-
5 | Febrication of mild Steel reinforcement fo cement concrete i/c cutting bending and laying in position making joints and fastening including cost of binding wire (also i/c removal of rust of bars).
|  |  | 91.07 | Cwt | 5001 | / | 70 |  | 455505 | /-
(S.I.No. 8-b P-17).
6 | Cement concrete plain including placing
compacting, finishing and curing, comlete
(including screening and washing at stone
aggregate without shuttering.
| (f) Ratio. 1:2 :4. (S.I.No. 5-f P-17). |  | 30 | Cft | 14429 | / | 25 | %Cft | 4329 | /-
7 | Erection and removal of centering for R.C.C
or plain cement concrete works of Deodar
wood (2nd-Class). (ii) Vertical.
| (S.I.No. 19-a-ii P-18). |  | 130 | Sft | 7000 | / | 0 | %Sft | 9100 | /-
8 | Laying white marble flooring fine dressed
on the surface without winding set in lime
mortar 1:2 including rubbing and polishing
of the joints. (a) 3/4" thick flooring.
| (S.I.No. 28-a P-43). |  | 1631 | Sft | 567 | / | 48 | P.Sft | 925560 | /-
9 | Providing and fixing 3/8" thick marble tiles
of approved quality and colour and shade
size 8" x 4" /6" x 4" in dado skirting and
facing removal /tucking of existing plaster
surface ete. Over 1/2" thick base of cement
mortar 1:3 setting of tiles in slurry of white
cement over mortar base including filling
the joints and washing the tiles with white
cement slurry , curring finishing, cleaning
and polishing etc. complete. (ii) For old works.
| (S.I.No. 68-b P-49). |  | 220 | Sft | 201 | / | 7 | P.Sft | 44235 | /-
10 | Providing and laying 1 : 3 : 6 cement concrete
solid block masonary wall 6" and below in
thickness set in 1: 6 cement mortar in ground
floor Super Structure including raking out
joints & currring etc, complete.
| (S.I.No. 24 P-19). |  | 120 | Cft | 15771 | / | 1 | %Cft | 18925 | /-
11 | Cement plaster 1:4 upto 20' height.
| ( c) 3/4" thick. (S.I.No. 11-c P-52). |  | 1557 | Sft | 3015 | / | 76 | %Sft | 46955 | /-
12 | Providing and laying 1" thick topping cement
concrete (1:2:4 ) including Surface finishing
and dividiing into panels: (c.) 2" thick.
| (S.I.No. 16-c P-42). |  | 2787 | Sft | 3275 | / | 50 | %Sft | 91288 | /-
13 | Two coats of bitumen laid hot using 34 Lbs
for % Sft. Ober roof and blinded with sand
| at one Cft. Per % Sft. (S.I.No. 13 P-35). |  | 2787 | Sft | 1887 | / | 40 | %Sft | 52602 | /-
14 | Dismantling glazed or encaustic tiles etc.
| (S.I.No. 55 P-13). |  | 507 | Sft | 786 | / | 50 | %Sft | 3988 | /-
15 | Providing and laying tiles glazed 6" x 6" x
1/4" on floor or wall facing in required colour
and apttern of STILE specification jointed
in white cement and pigment over a base of
1:2 grey cement mortar 3/4" thick including
washing and filling of joints with slaurry of
white cement and pigment in desired shape
with finishing, clearing and cost of wax
polish etc. complete including cutting tiles
| to proper profile. (S.I.No. 60 P-47). |  | 507 | Sft | 30509 | / | 77 | %Sft | 154685 | /-
16 | Removing door with chowket.
| (S.I.No. 33-a P-12). |  | 8 | Nos | 142 | / | 18 | P.No | 1137 | /-
17 | Providing and fixing G.I frames /Choukhats
of size 7" x 2" or 4 1/2" x 3" for door using
20 gauge G.I sheet I/c welded hinges and
fixing at site with necessary hold fasts, filling
with cement sand slurry of ratio 1:6 and
repairing the jambs. The cost also i/c all
carriage , tools and plants used in making
| and fixing. (S.I.No. 29 P-93). |  | 134 | Rft | 228 | / | 90 | P.Rft | 30673 | /-
18 | Providing and fixing in position doors,
windows and ventilators of 1st. Class deodar
wood frames and 1-1/2" thick Teak wood
ply shutters of 2nd class deodar wood
skeleton (solid ) styles and rails core of
partal wood and Teak ply wood (3-ply) on
both side i/c hold fasts, hinges, iron tower
blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65).
| (S.I.No. 58 P-65) (-) (S.I.No. 25-b P-61). |  | 130 | Sft | 706 | / | 23 | P.Sft | 91810 | /-
19 | Supplying & fixing in position Aluminium
channels framing for slidding windows &
ventilators of Alcop made with 5 mm thick
tinted glass glazing (Belgium) & Aluminium
fly screen I/c handles stoppers & locking
arrangement etc. complete.
| (S.I.No. 84-b P-108). |  | 185 | Sft | 1647 | / | 69 | P.Sft | 304823 | /-
20 | Providing and fixing with sunk iron screws
wooden Architrave approved design/ shape
having width not less than 2- 1/2 inches as
directed by Engineer Incharge.
| (S.I.No. 60 P-66). |  | 267 | Rft | 49 | / | 97 | P.Rft | 13342 | /-
21 | Painting old surfaces. (c ) Painting doors
and windows any type. Two coats.
| (S.I.No. 4c-i+ii P-68). |  | 301 | Sft | 1160 | / | 6 | %Sft | 349 | /-
22 | Painting old surfaces. (d) Painting guard bars,
gates iron bars gratings , railings including
standard braces (etc.) and similar open work.
| (S.I.No. 4dii P-69). |  | 305 | Sft | 674 | / | 60 | %Sft | 206 | /-
23 | SCRAPING. (b) Ordinary distemper, for
bound distemper or paint on walls.
| (S.I.No. 4dii P-69). |  | 8601 | Sft | 226 | / | 88 | %Sft | 1951 | /-
24 | Preparing the surface & painting with matt
finsih paint of approved make to old matt
| finish surface. (S.I.No. 37a+b P-55). |  | 5788 | Sft | 1772 | / | 38 | %Sft | 10259 | /-
25 | Providing & fixing colour crete jto wall
surface to provide, durable crust and aesthetics
having thickness upto 3/4" with specified
colour having water, fire and temite
resistance (upto 20' -0 height).
| (S.I.No. 44 P-56). |  | 2813 | Sft | 6319 | / | 50 | %Sft | 17777 | /-
26 | Providing and fixing Aluminum sheet on
doors pasted with glue as per requirement.
| (S.I.No. 61 P-66). |  | 35 | Sft | 63 | / | 77 | P.Sft | 2232 | /-
[9 empty] | 2822725 | /-
Add: 5% above on item no.5 Rs.
[8 empty] | Part "Ai" (Civil Wrok S.I.) Total Rs. | 5620527 | /-
Part "Aii" (Civil Wrok N.S.I.)
2 | Removing dismentle concrete
xxxxxxxxxxx
xxxxxxxxxxx
xxxxxxxxxxx
| xxxxxxxxxxx |  | 26.49 | Truck | 4600 | / | 0 | Each | 121854 | /-
[8 empty] | Part "Aii" (N.S.I.) Total Rs. | 121854 | /-
Part "Bi" (WS & SF N.S.I.)
1 | P/F white/colored glazed earthen ware
squatting/Indian type W.C pan of not less
than 23” (ACL make or equivalent) with
low level flush tank (Push button type)
having capacity of 3.0 gallon in/c necessary
lead connection with pipe & bend etc making
requisite number of holes in wall, plinth &
floor for pipe connection and making good
in c.c. 1:2:4 as per instruction of the
| Engineer Incharge. |  | 1 | No | 9000 | / | 0 | Each | 9000 | /-
2 | Supplying & fixing white or colored glazed
earthen ware European commode set (ACL
make or equivalent) coupled with flush tank
of 3.0-gallon capacity & seat cover complete
with internal fittings, fixtures, clamps,
necessary lead connection and making
requisite No of holes in wall, plinth or floor
for pipe connection & making good CC 1:2:4
| as directed by the Engineer Incharge. |  | 2 | Nos | 9500 | / | 0 | Each | 19000 | /-
3 | P/F white/colored glazed earthen ware
wash basin of 24”x18” size(ACL or equivalent )
with pedestal in/c necessary lead connection
C.P. waste, waste pipe, in/c making requisite
number of holes in wall plinth or floor for
pipe connection & making good in c.c. 1:2:4.
| as per instruction of Engineer Incharge. |  | 2 | Nos | 7450 | / | 0 | Each | 14900 | /-
4 | P/F Double Bib Cock / Long Bib Cock
1/2” dia plastic coated A Class as directed
| by the Engineer Incharge. (Irfan Make) |  | 2 | Nos | 1250 | / | 0 | Each | 2500 | /-
5 | P/F sanitary fitting chrome plated heavy
gauge of approved quality (Sonex / Master
make) fitted with completed accessories as
directed by the Engineer Incharge.
| Muslim shower. ½” dia. |  | 2 | Nos | 1910 | / | 0 | Each | 3820 | /-
6 | P/F sanitary fitting chrome plated heavy
gauge of approved quality (Irfan or equivalent
make) fitted with completed accessories as
directed by the Engineer Incharge.
| Stop Cock /Bib Cock / Tee Cock . ½” dia |  | 6 | Nos | 550 | / | 0 | Each | 3300 | /-
7 | Floor trap
xxxxxxxxxxxx
| xxxxxxxxxxxx |  | 4 | Nos | 1248 | / | 0 | Each | 4992 | /-
8 | P/F UPVC floor trap jali or top tile size
6”x 6”of approved color & design as directed
| by the Engineer Incharge. |  | 4 | Nos | 330 | / | 0 | Each | 1320 | /-
9 | P/F UPVC soil and vent pipe of AGM or
Pak Arab make schedule SDR- 41(B) pipe
without fittings which will be paid separately.
This includes fixing on walls with clamps
or Jubilee clips upto height 50’-0 in vertical
or horizontal position using Jhoola or long
ladder or scaffolding and jointing pipe &
fittings with approved cement solvent / JTG
solution. The rate includes all cost of labour,
material, and cartage, as directed by Engineer
| Incharge. (a) 4” dia. |  | 45 | Rft | 410 | / | 0 | P.Rft | 18450 | /-
10 | Plain Bend
xxxxxxxxxx
xxxxxxxxxx
| xxxxxxxxxx |  | 4 | Nos | 675 | / | 0 | Each | 2700 | /-
11 | P/F UPVC fittings of schedule 40(E) ASTM–
D-1785 Standard (AGM or Pak Arab make)
with the cost of breaking through walls and
roof in/c jointing with PVC solvent/JTG
solution and fixing at any height/floor using
Jhoola or long ladder or scaffolding in
horizontal or vertical position as directed by
| the Engineer Incharge. (a) 4” dia plain Tee. |  | 3 | Nos | 795 | / | 0 | Each | 2385 | /-
12 | P/F UPVC fittings of schedule 40(E) ASTM–
D-1785 Standard (AGM or Pak Arab make)
with the cost of breaking through walls and
roof in/c jointing with PVC solvent/JTG
solution and fixing at any height/floor using
Jhoola or long ladder or scaffolding in
horizontal or vertical position as directed by
| the Engineer Incharge. (a) 4” dia cowel. |  | 3 | Nos | 455 | / | 0 | Each | 1365 | /-
13 | P/F GI pipe of IIL (L) or equivalent with
fittings of TG or equivalent recessed in wall
or columns in/c cutting pipe, the threading,,
fixing and wrapping bitumen tape all around
and making required No. of holes in wall,
floor or plinth for pipe connection and making
good in CC 1:2:4 as directed by Engineer
| Incharge., (a) 1/2" dia pipe. |  | 40 | Rft | 144 | / | 0 | P.Rft | 5760 | /-
14 | P/F UPVC water supply pipe of AGM or
Pak Arab make schedule 40(E) ASTM
standard D-1785 with all necessary fittings
like elbow, bend, tee etc . This includes
fixing on walls with clamps or Jubilee clips
upto height of 50’-0 in vertical or horizontal
position using Jhoola or long ladder or
scaffolding and jointing pipe & fittings with
approved solvent / JTG solution. The rate
includes all cost of labour, material, and
cartage, as directed by Engineer Incharge.
| (a) 3/4” dia. |  | 86 | Rft | 135 | / | 0 | P.Rft | 11610 | /-
15 | Providing & Fixing G.I Gate Valve 3/4” dia
Heavy of approved quality & make as
| directed by the Engineer Incharge. |  | 2 | Nos | 13320 | / | 0 | Each | 26640 | /-
[8 empty] | Part "Bi" (WS & SF N.S.I.) Total Rs. | 127742 | /-
Part "Ci" (Electrification S.I.)
1 | Wiring for light or fan point with 3/.029
PVC insulated wire in 20mm(3/4") PVC
conduit recessed in the wall or column as
| required. (S.I.No.124 P-15). |  | 42 | Nos | 1130 | / | 0 | P.Pont | 47460 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
recessed in the wall or column as required.
| (S.I.No.126 P-15). |  | 14 | Nos | 985 | / | 0 | P.Pont | 13790 | /-
3 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
recessed in the wall or column as required.
| (S.I.No.128 P-15). |  | 2 | Nos | 1764 | / | 0 | P.Pont | 3528 | /-
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on
| surface. (S.I.No.3 P-1). |  | 124 | Mtr | 171 | / | 0 | P.Mtr | 21204 | /-
5 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
| surface. (S.I.No.5 P-1). |  | 30 | Mtr | 305 | / | 0 | P.Mtr | 9150 | /-
6 | Providing & fixing one way SP 5amp switch
| flush type (S.I.No.219 P-33). |  | 44 | Nos | 54 | / | 0 | Each | 2376 | /-
7 | P/F Switch 5-Amp Plug Socket with fancy type
sheet (Imported make) including plastic board
with necessary electric connetction etc complete
| (Clipsal or equivalent) |  | 14 | Nos | 160 | / | 0 | Each | 2240 | /-
8 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
| prepard board as required. (S.I.No.203 P-31). |  | 10 | Nos | 916 | / | 0 | Each | 9160 | /-
9 | Providing & fixing circuit breaker 15, 20,
30, 40, 50, & 60amp TP (XE-100CS[CB] )
on prepard board as required.
| (S.I.No.203 P-31). |  | 1 | No | 5521 | / | 0 | Each | 5521 | /-
10 | Ceiling rose
xxxxxxxxxxx
| xxxxxxxxxxx |  | 8 | Nos | 70 | / | 0 | Each | 560 | /-
11 | Brass hosder
xxxxxxxxxxx
| xxxxxxxxxxx |  | 35 | Nos | 0 | / | 0 | Each | 0 | /-
[8 empty] | Part "Ci" (Electrification S.I.) Total Rs. | 114989 | /-
Part "Cii" (Electrification N.S.I.)
1 | P/F fan dimmer of ceiling fan Pak / Royal /
GFC of approved quality & make as directed
| by the Engineer Incharge |  | 7 | Nos | 150 | / | 0 | Each | 1050 | /-
2 | S/F 5/8" dia fan hook mild steel with box fitted
on existing fabrication framing at the time of
C.C. pouring as directed by the Engineer
| Incharge. |  | 7 | Nos | 200 | / | 0 | Each | 1400 | /-
3 | S/F 3 pin 10 to 15 amps switch socket power
plug / universal 220 volts fitted with
| sheet (SoGo make / Imported). |  | 1 | No | 1280 | / | 0 | Each | 1280 | /-
4 | Light plug
xxxxxxxxxx
xxxxxxxxxx
| xxxxxxxxxx |  | 6 | Nos | 0 | / | 0 | Each | 0 | /-
5 | 1.50mm wire
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
| xxxxxxxxxx |  | 0 | Mtr | 25 | / | 0 | P.Mtr | 0 | /-
6 | P/F Earthing set with 24"x24"x1/4" copper
plate buried in ground upto depth of 15' or
lees if water come upt from the ground level,
earth plate connected with 8 nos SWG bare
copper wire run in 3/4" G.I pipe straigth from
the earth plate to ground level of bldg: and
fitted G.I Tee for watering and then connected
to metallic body in/c. spreading power tech
earth powder 100 KG as per specification
and refilling excavated earth in three layer
and pouring water for compacting between
each two layers as directed by the engineer
| incharge. |  | 1 | No | 26900 | / | 0 | Each | 26900 | /-
7 | S/F Energy saver lamp 220 volts of approved
quality (Phillips or equivalent make) fitted on
wall, ceiling, & pendent upto required height
in existing holder as directed by the Engineer
| Incharge. (a)Energy Saver 24 watts. |  | 35 | Nos | 425 | / | 0 | Each | 14875 | /-
8 | P/F distribution board 16 gauge of accommodate
for mains or sub-mains, circuit breaker, bus
bar, and other similar Job double shutter
painted with enemelled paint as directed by
| the Engineer Incharge. |  | 3 | Sft | 3240 | / | 0 | P.Sft | 9720 | /-
[8 empty] | Part "Ci" (N.S.I.) Total Rs. | 55225 | /-
Sub-Engineeer
|  | Assistant Engineer | [5 empty] | Executive Engineer
|  | Provincial Building Sub-Division-V | [5 empty] | Provincial Building Division-II
|  | Karachi | [5 empty] | Karachi

## Mes (Handicaped)
NAME OF WORK => |  | REPAIR/RENOVATION OF REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDREN AT BLOCK-20, F.B. AREA KARACHI.
MEASUREMENT SHEET
S.No | Description of items |  |  | NO . L . B . H / D |  |  |  | Quantity
Part "A-i" Civil work(S.I)
1 | Dismantling cement concrete plain 1: 2: 4.
(S.I.No. 19 -c P-10).
| Roof topping |  | 1x53.33x44.75x0.17 |  |  |  |  | 406 | Cft | 405.708
| Porch |  | 1x15.33x14.00x0.17 |  |  |  |  | 36 | Cft | 36.4854
| Dummy column |  | 12x1.50x0.67x2.50 |  |  |  |  | 30 | Cft | 30.15
| Office / Assistant Director |  | 2x14.25x15.00x0.17 |  |  |  |  | 73 | Cft | 72.675
| Office lobby |  | 1x14.00x17.00x0.17 |  |  |  |  | 40 | Cft | 40.46
| Porch |  | 1x14.00x15.00x0.17 |  |  |  |  | 36 | Cft | 35.7
| Class Room |  | 1x49.50x15.25x0.17 |  |  |  |  | 128 | Cft | 128.3288
[7 empty] | 1) Total | 749 | Cft
2 | Dismantling cement block masonary.
(S.I.No. 14 P-10).
| Chokidar room |  | 2x15.00x0.50x10.00 |  |  |  |  | 150 | Cft | 150
| Chokidar room |  | 2x12.00x0.50x10.00 |  |  |  |  | 120 | Cft | 120
| Parapit wall |  | 2x54.33x0.50x3.00 |  |  |  |  | 163 | Cft | 162.99
| Parapit wall |  | 2x44.00x0.50x3.00 |  |  |  |  | 132 | Cft | 132
| Partition |  | 1x15.00x0.50x7.00 |  |  |  |  | 53 | Cft | 52.5
[7 empty] | 2-a) Total | 618 | Cft
Deduction
| Door |  | 1x3.00x0.50x7.00 |  |  |  |  | 11 | Cft | 10.5
| Window |  | 1x4.00x0.50x4.00 |  |  |  |  | 8 | Cft | 8
[7 empty] | 2-b) Total | 19 | Cft
|  |  | Qty (A - B) |  |  |  | 2) Total | 599 | Cft
3 | Dismantling cement concrete reinforced
separating reinfor cement from concrete
cleaning and straightening the same.
(S.I.No. 20 P-10).
| O.H.T top & bottom |  | 2x5.50x7.00x0.50 |  |  |  |  | 39 | Cft | 38.5
| Wall |  | 2x7.00x0.50x4.00 |  |  |  |  | 28 | Cft | 28
| Wall |  | 2x4.50x0.50x4.00 |  |  |  |  | 18 | Cft | 18
| M.Building Slab |  | 1x54.33x44.75x0.50 |  |  |  |  | 1216 | Cft | 1215.6337
[7 empty] | 3) Total | 1301 | Cft
4 | R.C.C work including all labour and material
except the cost of steel reinforcement and its
labour for bending and binding which will be
paid separatelt. This rate also includeda all
kind of forms moulds lifting shuttering curring
rendering and finishing the exposed surface
including screeening and washing of shingle.
(a) RCC work in roof slab, beams columns
rafts lintels and other structural member laid
in situ or precast laid in position complete in
all respect (I) Ratio (1 : 2: 4 ) 90 Lbs.cement
2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge.
(S.I.No. 6-a-i P-17).
| Qty same as item no.3 |  | 1301 |  |  |  |  | 1301 | Cft
[7 empty] | 4) Total | 1301 | Cft
5 | Febrication of mild steel reinforcement
| Qty same as item no.3 |  | 1301.0x7.0 |  | 91.07 Cwt
100
6 | Cement concrete plain including placing
compacting, finishing and curing, comlete
(including screening and washing at stone
aggregate without shuttering.
(f) Ratio. 1:2 :4. (S.I.No. 5-f P-17).
| Dummy column |  | 12x1.50x0.67x2.50 |  |  |  |  | 30 | Cft | 30.15
[7 empty] | 5) Total | 30 | Cft
7 | Erection and removal of centering for R.C.C
or plain cement concrete works of Deodar
wood (2nd-Class). (ii) Vertical.
(S.I.No. 19-a-ii P-18).
| Dummy column |  | 12x4.33x2.50 |  |  |  |  | 130 | Sft | 129.9
[7 empty] | 6) Total | 130 | Sft
8 | Laying white marble flooring fine dressed
on the surface without winding set in lime
mortar 1:2 including rubbing and polishing
of the joints. (b) 1" thick flooring.
(S.I.No. 28-b P-43).
| Office / Assistant Director |  | 2x14.25x15.00 |  |  |  |  | 428 | Sft | 427.5
| Office lobby |  | 1x14.00x17.00 |  |  |  |  | 238 | Sft | 238
| Porch |  | 1x14.00x15.00 |  |  |  |  | 210 | Sft | 210
| Class Room |  | 1x49.50x15.25 |  |  |  |  | 755 | Sft | 754.875
[7 empty] | 7) Total | 1631 | Sft
9 | Providing and fixing 3/8" thick marble tiles
of approved quality and colour and shade
size 8" x 4" /6" x 4" in dado skirting and
facing removal /tucking of existing plaster
surface ete. Over 1/2" thick base of cement
mortar 1:3 setting of tiles in slurry of white
cement over mortar base including filling
the joints and washing the tiles with white
cement slurry , curring finishing, cleaning
and polishing etc. complete. (ii) For old works.
(S.I.No. 68-b P-49).
| Office / Assistant Director |  | 2x2x(14.25+15.00)x0.50 |  |  |  |  | 59 | Sft | 58.5
| Office lobby |  | 2x2x(14.00+17.00)x0.50 |  |  |  |  | 62 | Sft | 62
| Class Room |  | 1x2x(49.50+15.25)x0.50 |  |  |  |  | 65 | Sft | 64.75
| Partition wall |  | 2x2x10.00x0.50 |  |  |  |  | 20 | Sft | 20
| Porch |  | 1x(15.00+6.00+6.00)x0.50 |  |  |  |  | 14 | Sft | 13.5
[7 empty] | 8) Total | 220 | Sft
10 | Providing and laying 1 : 3 : 6 cement concrete
solid block masonary wall 6" and below in
thickness set in 1: 6 cement mortar in ground
floor Super Structure including raking out
joints & currring etc, complete.
(S.I.No. 24 P-19).
| Partition wall |  | 2x54.33x0.33x1.50 |  |  |  |  | 54 | Cft | 53.7867
| Partition wall |  | 2x44.00x0.33x1.50 |  |  |  |  | 44 | Cft | 43.56
| Porch wall |  | 2x15.00x0.33x1.50 |  |  |  |  | 15 | Cft | 14.85
| Porch wall |  | 1x14.00x0.33x1.50 |  |  |  |  | 7 | Cft | 6.93
[7 empty] | 9) Total | 120 | Cft
11 | Cement plaster 1:4 upto 20' height.
( c) 3/4" thick. (S.I.No. 11-c P-52).
| Perapit wall o/o +top |  | 2x2x(54.33+44.75)x1.83 |  |  |  |  | 725 | Sft | 725.2656
| Perapit wall i/i +top |  | 2x2x(54.00+44.42)x1.50 |  |  |  |  | 591 | Sft | 590.52
| Tower existing wall |  | 1x10.00x8.00 |  |  |  |  | 80 | Sft | 80
| Porch wall |  | 2x2x15.00x1.83 |  |  |  |  | 110 | Sft | 109.8
| Porch wall |  | 1x2x14.00x1.83 |  |  |  |  | 51 | Sft | 51.24
[7 empty] | 10) Total | 1557 | Sft
12 | Providing and laying 1" thick topping cement
concrete (1:2:4 ) including Surface finishing
and dividiing into panels: (c.) 2" thick.
(S.I.No. 16-c P-42).
| Main Roof |  | 1x54.33x44.75 |  |  |  |  | 2431 | Sft | 2431.2675
| Porch |  | 1x15.00x14.00 |  |  |  |  | 210 | Sft | 210
| Existing stair tower |  | 1x19.50x7.50 |  |  |  |  | 146 | Sft | 146.25
[7 empty] | 11) Total | 2787 | Sft
13 | Two coats of bitumen laid hot using 34 Lbs
for % Sft. Ober roof and blinded with sand
at one Cft. Per % Sft. (S.I.No. 13 P-35).
| Qty same as item no.11 |  | 2787 |  |  |  |  | 2787 | Sft
[7 empty] | 12) Total | 2787 | Sft
14 | Dismantling glazed or encaustic tiles etc.
(S.I.No. 55 P-13).
| Staff bath floor |  | 2x5.50x3.50 |  |  |  |  | 39 | Sft | 38.5
| Staff bath wall |  | 2x2x(5.50+3.50)x6.00 |  |  |  |  | 216 | Sft | 216
| Toilet floor |  | 1x7.00x7.50 |  |  |  |  | 53 | Sft | 52.5
| Toilet wall |  | 1x2x(7.00+7.50)x6.00 |  |  |  |  | 174 | Sft | 174
| H.D bath floor |  | 1x5.50x5.00 |  |  |  |  | 28 | Sft | 27.5
| H.D bath wall |  | 1x2x(5.50+5.00)x6.00 |  |  |  |  | 126 | Sft | 126
[7 empty] | 13-a) Total | 597 | Sft
Deduction
|  |  | 2x2x2.50x6.00 |  |  |  |  | 60 | Sft | 60
|  |  | 2x1x2.50x6.00 |  |  |  |  | 30 | Sft | 30
[7 empty] | 13-b) Total | 90 | Sft
|  |  | Qty (A - B) |  |  |  | 13) Total | 507 | Sft
15 | Providing and laying tiles glazed 6" x 6" x
1/4" on floor or wall facing in required colour
and apttern of STILE specification jointed
in white cement and pigment over a base of
1:2 grey cement mortar 3/4" thick including
washing and filling of joints with slaurry of
white cement and pigment in desired shape
with finishing, clearing and cost of wax
polish etc. complete including cutting tiles
to proper profile. (S.I.No. 60 P-47).
| Qty same as item no.13 |  | 507 |  |  |  |  | 507 | Sft
[7 empty] | 14) Total | 507 | Sft
16 | Removing door with chowket.
(S.I.No. 33-a P-12).
| Bath & Store |  | 5x1 |  |  |  |  | 5 | Nos
| Offices |  | 3x1 |  |  |  |  | 3 | Nos
[7 empty] | 15) Total | 8 | Nos
17 | Providing and fixing G.I frames /Choukhats
of size 7" x 2" or 4 1/2" x 3" for door using
20 gauge G.I sheet I/c welded hinges and
fixing at site with necessary hold fasts, filling
with cement sand slurry of ratio 1:6 and
repairing the jambs. The cost also i/c all
carriage , tools and plants used in making
and fixing. (S.I.No. 29 P-93).
| Bath |  | 5x(7.0+2.50+7.0) |  |  |  |  | 83 | Rft | 82.5
| Office |  | 3x(7.0+3.0+7.0) |  |  |  |  | 51 | Rft | 51
[7 empty] | 16) Total | 134 | Rft
18 | Providing and fixing in position doors,
windows and ventilators of 1st. Class deodar
wood frames and 1-1/2" thick Teak wood
ply shutters of 2nd class deodar wood
skeleton (solid ) styles and rails core of
partal wood and Teak ply wood (3-ply) on
both side i/c hold fasts, hinges, iron tower
blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65).
(S.I.No. 58 P-65) (-) (S.I.No. 25-b P-61).
| Bath & Store |  | 5x2.17x6.83 |  |  |  |  | 74 | Sft | 74.1055
| Office |  | 3x2.75x6.83 |  |  |  |  | 56 | Sft | 56.3475
[7 empty] | 17) Total | 130 | Sft
19 | Supplying & fixing in position Aluminium
channels framing for slidding windows &
ventilators of Alcop made with 5 mm thick
tinted glass glazing (Belgium) & Aluminium
fly screen I/c handles stoppers & locking
arrangement etc. complete.
(S.I.No. 84-b P-108).
| W |  | 8x4.00x4.00 |  |  |  |  | 128 | Sft | 128
| W |  | 2x6.00x4.00 |  |  |  |  | 48 | Sft | 48
| V |  | 3x2.00x1.50 |  |  |  |  | 9 | Sft | 9
[7 empty] | 18) Total | 185 | Sft
20 | Providing and fixing with sunk iron screws
wooden Architrave approved design/ shape
having width not less than 2- 1/2 inches as
directed by Engineer Incharge.
(S.I.No. 60 P-66).
| Bath & Store |  | 5x2x(7.0+2.50+7.0) |  |  |  |  | 165 | Rft | 165
| Office |  | 3x2x(7.0+3.0+7.0) |  |  |  |  | 102 | Rft | 102
[7 empty] | 19) Total | 267 | Rft
21 | Painting old surfaces. (c ) Painting doors
and windows any type. Two coats.
(S.I.No. 4c-i+ii P-68).
| Door |  | 5x2x2.50x7.00 |  |  |  |  | 175 | Sft | 175
| Door |  | 3x2x3.00x7.00 |  |  |  |  | 126 | Sft | 126
[7 empty] | 20) Total | 301 | Sft
22 | Painting old surfaces. (d) Painting guard bars,
gates iron bars gratings , railings including
standard braces (etc.) and similar open work.
(S.I.No. 4dii P-69).
| W |  | 8x4.00x4.00 |  |  |  |  | 128 | Sft | 128
| W |  | 2x6.00x4.00 |  |  |  |  | 48 | Sft | 48
| V |  | 3x2.00x1.50 |  |  |  |  | 9 | Sft | 9
| Collapsible gate |  | 1x15.00x8.00 |  |  |  |  | 120 | Sft | 120
[7 empty] | 21) Total | 305 | Sft
23 | SCRAPING. (b) Ordinary distemper, for
bound distemper or paint on walls.
(S.I.No. 4dii P-69).
| A.D & Staff office |  | 2x2x(14.25+15.00)x10.00 |  |  |  |  | 1170 | Sft | 1170
| Lobby |  | 1x2x(14.00+17.00)x10.00 |  |  |  |  | 620 | Sft | 620
| General bath |  | 2x2x(5.50+3.50)x4.00 |  |  |  |  | 144 | Sft | 144
| General bath |  | 1x2x(7.00+7.50)x4.00 |  |  |  |  | 116 | Sft | 116
| A.D bath |  | 1x2x(5.00+5.50)x4.00 |  |  |  |  | 84 | Sft | 84
| Store |  | 1x2x(5.00+8.50)x10.00 |  |  |  |  | 270 | Sft | 270
| Stair |  | 1x2x(19.50+7.50)x20.00 |  |  |  |  | 1080 | Sft | 1080
| Class Room |  | 1x2x(49.50+15.25)x10.00 |  |  |  |  | 1295 | Sft | 1295
| Class Room partition |  | 3x2x12.25x10.00 |  |  |  |  | 735 | Sft | 735
| Beams |  | 3x2x15.25x2.00 |  |  |  |  | 183 | Sft | 183
| Porch |  | 1x2x(14.00+15.00)x8.00 |  |  |  |  | 464 | Sft | 464
[7 empty] | 22-ai) Total | 6161 | Sft
Deduction
| Bath D |  | 3x2x2.50x1.00 |  |  |  |  | 15 | Sft | 15
| Bath D |  | 2x2x3.00x1.00 |  |  |  |  | 12 | Sft | 12
| Store D |  | 1x2x2.50x7.00 |  |  |  |  | 35 | Sft | 35
| Offices D |  | 3x2x3.00x7.00 |  |  |  |  | 126 | Sft | 126
| Offices W |  | 8x1x4.00x4.00 |  |  |  |  | 128 | Sft | 128
| Offices W |  | 2x6.00x4.00 |  |  |  |  | 48 | Sft | 48
| Offices V |  | 3x1x2.00x1.50 |  |  |  |  | 9 | Sft | 9
[7 empty] | 22-aii) Total | 373 | Sft
|  |  | Qty (ai - aii) |  |  |  | 22-a) Total | 5788 | Sft
| o/o wall |  | 1x2x(54.33+44.75)x14.00 |  |  |  |  | 2774 | Sft | 2774.24
| Porch x/w |  | 2x2x7.00x8.00 |  |  |  |  | 224 | Sft | 224
[7 empty] | 22-bi) Total | 2998 | Sft
Deduction
| W |  | 8x4.00x4.00 |  |  |  |  | 128 | Sft | 128
| W |  | 2x6.00x4.00 |  |  |  |  | 48 | Sft | 48
| V |  | 3x2.00x1.50 |  |  |  |  | 9 | Sft | 9
[7 empty] | 22-bii) Total | 185 | Sft
|  |  | Qty (bi - bii) |  |  |  | 22-b) Total | 2813 | Sft
|  |  | Qty (a + b) |  |  |  | 22) Total | 8601 | Sft
24 | Preparing the surface & painting with matt
finsih paint of approved make to old matt
finish surface. (S.I.No. 37a+b P-55).
| Qty same as item no.22-a |  | 5788 |  |  |  |  | 5788 | Sft
[7 empty] | 23) Total | 5788 | Sft
25 | Providing & fixing colour crete jto wall
surface to provide, durable crust and aesthetics
having thickness upto 3/4" with specified
colour having water, fire and temite
resistance (upto 20' -0 height).
(S.I.No. 44 P-56).
| Qty same as item no.22-b |  | 2813 |  |  |  |  | 2813 | Sft
[7 empty] | 24) Total | 2813 | Sft
26 | Providing and fixing Aluminum sheet on
doors pasted with glue as per requirement.
(S.I.No. 61 P-66).
| Bath Door |  | 3x2x2.17x2.00 |  |  |  |  | 26 | Sft | 26.04
| Bath Door |  | 2x1x2.17x2.00 |  |  |  |  | 9 | Sft | 8.68
[7 empty] | 25) Total | 35 | Sft
Part "Aii" (Civil Wrok N.S.I.)
2 | Removing dismentle concrete
xxxxxxxxxxx
xxxxxxxxxxx
xxxxxxxxxxx
xxxxxxxxxxx
| Qty same as item no.1 |  | 749 |  |  |  |  | 749 | Cft
| Qty same as item no.2 |  | 599 |  |  |  |  | 599 | Cft
| Qty same as item no.3 |  | 1301 |  |  |  |  | 1301 | Cft
[7 empty] | 2) Total | 2649 | Cft
|  |  | 2649.00 /100 |  | 26.49
Part "Bi" (WS & SF N.S.I.)
1 | P/F white/colored glazed earthen ware
squatting/Indian type W.C pan of not less
than 23” (ACL make or equivalent) with
low level flush tank (Push button type)
having capacity of 3.0 gallon in/c necessary
lead connection with pipe & bend etc making
requisite number of holes in wall, plinth &
floor for pipe connection and making good
in c.c. 1:2:4 as per instruction of the
Engineer Incharge.
|  |  | 1x1 |  |  |  |  | 1 | No
[7 empty] | 1) Total | 1 | No
2 | Supplying & fixing white or colored glazed
earthen ware European commode set (ACL
make or equivalent) coupled with flush tank
of 3.0-gallon capacity & seat cover complete
with internal fittings, fixtures, clamps,
necessary lead connection and making
requisite No of holes in wall, plinth or floor
for pipe connection & making good CC 1:2:4
as directed by the Engineer Incharge.
|  |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 2) Total | 2 | Nos
3 | P/F white/colored glazed earthen ware
wash basin of 24”x18” size(ACL or equivalent )
with pedestal in/c necessary lead connection
C.P. waste, waste pipe, in/c making requisite
number of holes in wall plinth or floor for
pipe connection & making good in c.c. 1:2:4.
as per instruction of Engineer Incharge.
|  |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 3) Total | 2 | Nos
4 | P/F Double Bib Cock / Long Bib Cock
1/2” dia plastic coated A Class as directed
by the Engineer Incharge. (Irfan Make)
|  |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 4) Total | 2 | Nos
5 | P/F sanitary fitting chrome plated heavy
gauge of approved quality (Sonex / Master
make) fitted with completed accessories as
directed by the Engineer Incharge.
Muslim shower. ½” dia.
|  |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 5) Total | 2 | Nos
6 | P/F sanitary fitting chrome plated heavy
gauge of approved quality (Irfan or equivalent
make) fitted with completed accessories as
directed by the Engineer Incharge.
Stop Cock /Bib Cock / Tee Cock . ½” dia
| For flush tank |  | 3x1 |  |  |  |  | 3 | Nos
| For W.C |  | 1x1 |  |  |  |  | 1 | No
| For Basin |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 6) Total | 6 | Nos
7 | Floor trap
xxxxxxxxxxxx
xxxxxxxxxxxx
|  |  | 4x1 |  |  |  |  | 4 | Nos
[7 empty] | 7) Total | 4 | Nos
8 | P/F UPVC floor trap jali or top tile size
6”x 6”of approved color & design as directed
by the Engineer Incharge.
|  |  | 4x1 |  |  |  |  | 4 | Nos
[7 empty] | 8) Total | 4 | Nos
9 | P/F UPVC soil and vent pipe of AGM or
Pak Arab make schedule SDR- 41(B) pipe
without fittings which will be paid separately.
This includes fixing on walls with clamps
or Jubilee clips upto height 50’-0 in vertical
or horizontal position using Jhoola or long
ladder or scaffolding and jointing pipe &
fittings with approved cement solvent / JTG
solution. The rate includes all cost of labour,
material, and cartage, as directed by Engineer
Incharge. (a) 4” dia.
| Staff bath |  | 1x20.00 |  |  |  |  | 20 | Rft
| A.D bath |  | 1x5.00 |  |  |  |  | 5 | Rft
| O/s |  | 2x10.00 |  |  |  |  | 20 | Rft
[7 empty] | 9) Total | 45 | Rft
10 | Plain Bend
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
|  |  | 4x1 |  |  |  |  | 4 | Nos
[7 empty] | 10) Total | 4 | Nos
11 | P/F UPVC fittings of schedule 40(E) ASTM–
D-1785 Standard (AGM or Pak Arab make)
with the cost of breaking through walls and
roof in/c jointing with PVC solvent/JTG
solution and fixing at any height/floor using
Jhoola or long ladder or scaffolding in
horizontal or vertical position as directed by
the Engineer Incharge. (a) 4” dia plain Tee.
|  |  | 3x1 |  |  |  |  | 3 | Nos
[7 empty] | 11) Total | 3 | Nos
12 | P/F UPVC fittings of schedule 40(E) ASTM–
D-1785 Standard (AGM or Pak Arab make)
with the cost of breaking through walls and
roof in/c jointing with PVC solvent/JTG
solution and fixing at any height/floor using
Jhoola or long ladder or scaffolding in
horizontal or vertical position as directed by
the Engineer Incharge. (a) 4” dia cowel.
|  |  | 3x1 |  |  |  |  | 3 | Nos
[7 empty] | 12) Total | 3 | Nos
13 | P/F GI pipe of IIL (L) or equivalent with
fittings of TG or equivalent recessed in wall
or columns in/c cutting pipe, the threading,,
fixing and wrapping bitumen tape all around
and making required No. of holes in wall,
floor or plinth for pipe connection and making
good in CC 1:2:4 as directed by Engineer
Incharge., (a) 1/2" dia pipe.
|  |  | 1x40.00 |  |  |  |  | 40 | Rft
[7 empty] | 13) Total | 40 | Rft
14 | P/F UPVC water supply pipe of AGM or
Pak Arab make schedule 40(E) ASTM
standard D-1785 with all necessary fittings
like elbow, bend, tee etc . This includes
fixing on walls with clamps or Jubilee clips
upto height of 50’-0 in vertical or horizontal
position using Jhoola or long ladder or
scaffolding and jointing pipe & fittings with
approved solvent / JTG solution. The rate
includes all cost of labour, material, and
cartage, as directed by Engineer Incharge.
(a) 3/4” dia.
| Roof to bath |  | 1x20.00 |  |  |  |  | 20 | Rft
| A.D bath |  | 1x(54.00+12.00) |  |  |  |  | 66 | Rft
[7 empty] | 14) Total | 86 | Rft
15 | Providing & Fixing G.I Gate Valve 3/4” dia
Heavy of approved quality & make as
directed by the Engineer Incharge.
|  |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 15) Total | 2 | Nos
Part "Ci" (Electrification S.I.)
1 | Wiring for light or fan point with 3/.029
PVC insulated wire in 20mm(3/4") PVC
conduit recessed in the wall or column as
required. (S.I.No.124 P-15).
| Porch |  | 1x1 |  |  |  |  | 1 | No
| Lobby |  | 1x3 |  |  |  |  | 3 | Nos
| Offices |  | 2x5 |  |  |  |  | 10 | Nos
| Stair |  | 1x2 |  |  |  |  | 2 | Nos
| Class |  | 4x5 |  |  |  |  | 20 | Nos
| Staff Bath |  | 1x3 |  |  |  |  | 3 | Nos
| A.D Bath |  | 1x2 |  |  |  |  | 2 | Nos
| Store |  | 1x1 |  |  |  |  | 1 | No
[7 empty] | 1) Total | 42 | Nos
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
recessed in the wall or column as required.
(S.I.No.126 P-15).
| In offices |  | 2x2 |  |  |  |  | 4 | Nos
| Lobby |  | 1x2 |  |  |  |  | 2 | Nos
| Class |  | 4x2 |  |  |  |  | 8 | Nos
[7 empty] | 2) Total | 14 | Nos
3 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
recessed in the wall or column as required.
(S.I.No.128 P-15).
| A.D & Staff |  | 2x1 |  |  |  |  | 2 | Nos
[7 empty] | 3) Total | 2 | Nos
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on
surface. (S.I.No.3 P-1).
| Qty same as item no.1 |  | 42 | x 7 / 3.28 |  |  |  | 90 | Mtr | 90.4615
| Qty same as item no.2 |  | 14 | x 7 / 3.28 |  |  |  | 30 | Mtr | 30.1538
| Qty same as item no.3 |  | 2 | x 7 / 3.28 |  |  |  | 4 | Mtr | 4.3077
[7 empty] | 4) Total | 124 | Mtr
5 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
surface. (S.I.No.5 P-1).
| A.D office |  | 1x30.00 |  |  |  |  | 30 | Mtr
[7 empty] | 5) Total | 30 | Mtr
6 | Providing & fixing one way SP 5amp switch
flush type (S.I.No.219 P-33).
| Qty same as item no.1 |  | 42 |  |  |  |  | 42 | Nos | 90.4615
| Qty same as item no.3 |  | 2 |  |  |  |  | 2 | Nos | 4.3077
[7 empty] | 6) Total | 44 | Nos
7 | P/F Switch 5-Amp Plug Socket with fancy type
sheet (Imported make) including plastic board
with necessary electric connetction etc complete
(Clipsal or equivalent)
| Qty same as item no.2 |  | 14 |  |  |  |  | 14 | Nos | 30.1538
[7 empty] | 7) Total | 14 | Nos
8 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
prepard board as required. (S.I.No.203 P-31).
| Qty same as item no.1 |  | 42 |  |  |  |  | 42 | Nos | 90.4615
| Qty same as item no.2 |  | 14 |  |  |  |  | 14 | Nos | 30.1538
| Qty same as item no.3 |  | 2 |  |  |  |  | 2 | Nos | 4.3077
[7 empty] | 8-a) Total | 58 | Nos
|  |  | 58 | / 6 |  |  | 8) Total | 10 | Nos | 9.6667
9 | Providing & fixing circuit breaker 15, 20,
30, 40, 50, & 60amp TP (XE-100CS[CB] )
on prepard board as required.
(S.I.No.203 P-31).
|  |  | 1x1 |  |  |  |  | 1 | No
[7 empty] | 9) Total | 1 | No
10 | Ceiling rose
xxxxxxxxxxx
xxxxxxxxxxx
|  |  | 8x1 |  |  |  |  | 8 | Nos
[7 empty] | 10) Total | 8 | Nos
11 | Brass hosder
xxxxxxxxxxx
xxxxxxxxxxx
| Porch |  | 1x1 |  |  |  |  | 1 | No
| Lobby |  | 1x2 |  |  |  |  | 2 | Nos
| Offices |  | 2x4 |  |  |  |  | 8 | Nos
| Stair |  | 1x2 |  |  |  |  | 2 | Nos
| Class |  | 4x4 |  |  |  |  | 16 | Nos
| Bath |  | 1x5 |  |  |  |  | 5 | Nos
| Store |  | 1x1 |  |  |  |  | 1 | No
[7 empty] | 11) Total | 35 | Nos
Part "Cii" (Electrification N.S.I.)
1 | P/F fan dimmer of ceiling fan Pak / Royal /
GFC of approved quality & make as directed
by the Engineer Incharge
| Porch |  | 1x1 |  |  |  |  | 1 | No
| Offices |  | 1x2 |  |  |  |  | 2 | Nos
| Clsss |  | 1x4 |  |  |  |  | 4 | Nos
[7 empty] | 1) Total | 7 | Nos
2 | S/F 5/8" dia fan hook mild steel with box fitted
on existing fabrication framing at the time of
C.C. pouring as directed by the Engineer
Incharge.
|  |  | 1x7 |  |  |  |  | 7 | Nos
[7 empty] | 2) Total | 7 | Nos
3 | S/F 3 pin 10 to 15 amps switch socket power
plug / universal 220 volts fitted with
sheet (SoGo make / Imported).
| A.D office |  | 1x1 |  |  |  |  | 1 | No
[7 empty] | 3) Total | 1 | No
4 | Light plug
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
| In offices |  | 2x3 |  |  |  |  | 6 | Nos
[7 empty] | 4) Total | 6 | Nos
5 | 1.50mm wire
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
xxxxxxxxxx
| Qty as schedule item no. |  | 0 |  |  |  |  | 0 | Rft
| Qty as schedule item no. |  | 0 |  |  |  |  | 0 | Rft
[7 empty] | 5) Total | 0 | Rft
6 | P/F Earthing set with 24"x24"x1/4" copper
plate buried in ground upto depth of 15' or
lees if water come upt from the ground level,
earth plate connected with 8 nos SWG bare
copper wire run in 3/4" G.I pipe straigth from
the earth plate to ground level of bldg: and
fitted G.I Tee for watering and then connected
to metallic body in/c. spreading power tech
earth powder 100 KG as per specification
and refilling excavated earth in three layer
and pouring water for compacting between
each two layers as directed by the engineer
incharge.
|  |  | 1x1 |  |  |  |  | 1 | No
[7 empty] | 6) Total | 1 | No
7 | S/F Energy saver lamp 220 volts of approved
quality (Phillips or equivalent make) fitted on
wall, ceiling, & pendent upto required height
in existing holder as directed by the Engineer
Incharge. (a)Energy Saver 24 watts.
| Qty same as item no. 11 |  | 35 |  |  |  |  | 35 | Nos
[7 empty] | 7) Total | 35 | Nos
8 | P/F distribution board 16 gauge of accommodate
for mains or sub-mains, circuit breaker, bus
bar, and other similar Job double shutter
painted with enemelled paint as directed by
the Engineer Incharge.
|  |  | 1x1.50x2.00 |  |  |  |  | 3 | Sft
[7 empty] | 8) Total | 3 | Sft
| SUB-ENGINEER |  |  |  |  | ASSISTANT ENGINEER
PROVINCIAL BUILDINGS SUB-DIVISION-V
KARACHI

## BarBebdubg
NAME OF WORK => |  | REPAIR/RENOVATION OF REHABILITATION CENTRE FOR MULTIPLE HANDICAPPED CHILDREN AT BLOCK-20, F.B. AREA KARACHI.
BAR BENDING SCHEDULE
S.No | Description of items |  |  | NO . L . B . H / D |  |  | Quantity
5 | Febrication of mild steel reinforcement
| Class Room Main 1/2"dia |  | 1x151x17.50x0.667 |  |  |  | 1762.55 | Lbs | 1762.5475
| Class Room L/S 1/2"dia |  | 1x32x(28.0+28.0)x0.667 |  |  |  | 1195.26 | Lbs | 1195.264
| Lobby Main 1/2"dia |  | 1x41x16.50x0.667 |  |  |  | 451.22 | Lbs | 451.2255
| Lobby L/S 3/8"dia |  | 1x29x19.00x0.376 |  |  |  | 207.17 | Lbs | 207.176
| Toilet Main 1/2"dia |  | 1x27x10.00x0.376 |  |  |  | 101.52 | Lbs | 101.52
| Toilet L/S 3/8"dia |  | 1x16x15.00x0.376 |  |  |  | 90.24 | Lbs | 90.24
| Office/Asstt: Main 1/2"dia |  | 2x37x16.50x0.667 |  |  |  | 814.4 | Lbs | 814.407
| Office/Asstt: L/S 3/8"dia |  | 2x30x17.00x0.376 |  |  |  | 383.52 | Lbs | 383.52
| Bath & Store Main 3/8"dia |  | 1x31x7.00x0.376 |  |  |  | 81.59 | Lbs | 81.592
| Bath & Store L/S 3/8"dia |  | 1x8x17.00x0.376 |  |  |  | 51.13 | Lbs | 51.136
| Porch Main 1/2"dia |  | 1x29x15.00x0.667 |  |  |  | 290.14 | Lbs | 290.145
| Porch L/S 1/2"dia |  | 1x31x16.00x0.667 |  |  |  | 330.83 | Lbs | 330.832
| Tower Main 3/8"dia |  | 1x47x9.50x0.376 |  |  |  | 167.88 | Lbs | 167.884
| Tower L/S 3/8"dia |  | 1x15x21.50x0.376 |  |  |  | 121.26 | Lbs | 121.26
| Extra Chajja 3/8"dia |  | 1x319x6.50x0.667 |  |  |  | 1383.02 | Lbs | 1383.0245
| Distt: 3/8"dia |  | 1x8x53.50x0.376 |  |  |  | 160.92 | Lbs | 160.928
| Distt: 3/8"dia |  | 2x8x43.00x0.376 |  |  |  | 258.68 | Lbs | 258.688
| Distt: 3/8"dia |  | 2x8x18.25x0.376 |  |  |  | 109.79 | Lbs | 109.792
| Extra on beam C/R 1/2"dia |  | 1x100x8.25x0.667 |  |  |  | 550.27 | Lbs | 550.275
| Extra on beam lobby 1/2"dia |  | 1x29x6.75x0.667 |  |  |  | 130.56 | Lbs | 130.5652
| Extra on beam office 1/2"dia |  | 2x46x7.75x0.667 |  |  |  | 475.57 | Lbs | 475.571
| Top Distt. 3/8"dia |  | 1x6x50.00x0.376 |  |  |  | 112.8 | Lbs | 112.8
| Top Distt. 3/8"dia |  | 2x(5+5)x24.00x0.376 |  |  |  | 180.48 | Lbs | 180.48
| Chairs 1/2"dia |  | 1x263x4.50x0.667 |  |  |  | 789.39 | Lbs | 789.3945
[6 empty] | 7-a) Total | 10200.19 | Lbs
|  |  | 10200.19 |  |  | 7) Total | 91.0731 | Cwt
112
| SUB-ENGINEER |  |  |  | ASSISTANT ENGINEER
PROVINCIAL BUILDINGS SUB-DIVISION-V
KARACHI