Name of Work:	M/R TO JUDGES FLATS BLOCK-A, AT CITY COURT BUILDING KARACHI (ELECTRIFICATION WORK)

ABSTRACT SHEET

PART – A	ELECTRIC WORK (Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4’’) channelpatti on surface as required. (S.I. 129/15). | 483 Points | 910/- | P. Points | 439530/- |
|  | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4’’) channelpatti on surface as required. (S.I. 130/15). | 336 Nos. | 742/- | Each | 249312/- |
|  | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4’’) channelpatti on surface as required. (S.I. 131/15) | 7 Nos. | 1590/- | P. Points | 11130/- |
|  | CEILING ROSEProviding & fixing Bakelite ceiling rose with two terminals | 182 Nos. | 72/- | Each | 13104/- |
|  | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepared board as required. (S.I. 207/31). | 14 Nos. | 9261/- | Each | 129654/- |
|  | Providing & fixing circuit breaker 6,10,15,20 &30amp DPon prepared board as required. (S.I. 204/31). | 28 Nos. | 2456/- | Each | 68768/- |
|  | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required. (S.I. 203/31). | 126 Nos. | 916/- | Each | 115416/- |
|  | Providing and Laying (main or sub main) PVC insulated with single core copper conductor 250/440 volts size 2-7/029 (S.I. 46/6). | 2639.91 Mtr. | 118/- | P. Mtr. | 311509/- |
|  | Providing and Laying (main or sub main) PVC Insulated with single core copper conductor 250/440 volts Size (2-7/0.44)/6mm2 (S.I. 47/6). | 535.64 Mtr. | 213/- | P. Mtr. | 114091/- |
|  | Providing and Fixing Channel Patti ¾” as required as per instruction of Engineer Incharge. | 8659.0 Rft. | 34/- | P. Rft. | 294406/- |
|  | Providing and Fixing Channel Patti 1” as required as per instruction of Engineer Incharge. | 1757.0 Rft. | 40/- | P. Rft. | 70280/- |
| TOTAL Part-A Rs. |  |  |  |  | 1817200/- |

PART – B	ELECTRIC WORK (Non-Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Providing and Fixing Flush Type Call Bell Buzzer etc. complete. | 7 Nos. | 250/- | Each | 1750/- |
|  | Providing and Fixing Flush Type bell push etc. complete. | 7 Nos. | 85/- | Each | 595/- |
|  | Providing and Fixing 2-40 watts Double Tube light complete with (40-W) 4’-0 long rod chock, starter and putty with Philips equivalent components in/c. necessary electric connection and fixing on wall or ceiling etc. complete. | 70 Nos. | 2900/- | Each | 203000/- |
|  | Providing and fixing Wall Bracket Light fancy type round shape (Double holder) superior quality in/c. electric connection and fixing on wall or ceiling etc. | 294 Nos. | 980/- | Each | 288120/- |
|  | Providing and fixing Energy Sever Superior Quality including fixing on existing holder etc. complete. | 108 Nos. | 496/- | Each | 86800/- |
|  | Providing and Fixing Iron Distribution Metal Board double Shutter to accommodate circuit breaker in/c. painting with enameled paints. | 28.0 Sft. | 2200/- | P. Sft. | 61600/- |
|  | Providing and fixing fancy type switch etc. complete. | 483 Nos. | 150/- | Each | 72450/- |
|  | Providing and fixing Plug Socket etc. complete. | 336 Nos. | 245/- | Each | 82320/- |
|  | Providing and Fixing 3 pin 15 Amp Plug Socket. | 7 Nos. | 359/- | Each | 2513/- |
|  | Providing and fixing Fan Dimmer fancy type imported. | 70 Nos. | 302/- | Each | 21140/- |
|  | Providing and Fixing Exhaust Fan Plastic Body best quality complete in/c. electric connection as per required. | 35 Nos. | 2450/- | Each | 85750/- |
|  | Providing and Fixing ceiling fan 56 sweep of approved make (Pak Millat Royal) in/c. making electric connection etc. complete. | 70 Nos. | 3600/- | Each | 252000/- |
|  | Providing and fixing three phase selector 60 Amps superior quality 2.5mm lead wing complete following work as per required approved by site incharge. | 21 Nos. | 600/- | Each | 75600/- |
| TOTAL Part-B Rs. |  |  |  |  | 1233638/- |
| G. TOTAL Part (A+B) Rs. |  |  |  |  | 3050838/- |

| ASSISTANT ENGINEER Provincial Building Sub-Division-X Karachi. | EXECUTIVE ENGINEER Provincial Buildings Division No. III Karachi.. |
| --- | --- |

Name of Work:	M/R TO JUDGES FLATS BLOCK-A, AT CITY COURT BUILDING KARACHI (ELECTRIFICATION WORK)

MEASUREMENT SHEET

PART – A	ELECTRIC WORK (Schedule Item):

1.	Wiring for light or fan point with 3/.029 PVC (S.I. 129/15).

Bed Room No. 1			Light Point		1x7		=	7 Nos.

-do-				Fan Point		1x1		=	1

Bath					Light Point		1x2		=	2

-do-			Ex.	Fan Point		1x1		=	1

Bed Room No. 2 			Light Point		1x6		=	6

-do-			Ex.	Fan Point		1x1		=	1

Bath					Light Point		1x4		=	4

-do-			Ex.	Fan Point		1x2		=	2

Store					Light Point		1x1		=	1

T.V. Lounge 				Light Point		1x6		=	6

-do-				Fan Point		1x1		=	1

Passage 				Light Point		1x1		=	1

Kitchen 				Light Point		1x6		=	6

-do-			Ex.	Fan Point		1x3		=	3

Dining Room 				Light Point		1x4		=	4

-do-				Fan Point		1x1		=	1

Dining Hall				Light Point		1x7		=	7

-do-				Fan Point		1x2		=	2

Gallery 				Light Point		1x2		=	2

Bed Room No. 3 			Light Point		1x3		=	3

-do-				Fan Point		1x1		=	1

Bath 					Light Point		1x2		=	2

-do-				Fan Point		1x1		=	1

Lobby					Light Point		1x2		=	2

-do-				Fan Point		1x1		=	1

Outside 				Light Point		1x1		=	1

Net Qty=        69 Nos.

69 x 7 = 	Total	=       486 Nos

2.	Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4’’) (S.I. 130/15).

Bed Room No. 1 						1x12		=	12 Nos.

“	“	2						1x2		=	  2

Bath								1x1		=	  1

T.V. Lounge							1x4		=	  4

Kitchen							1x5		=	  5

Dining Room 							1x4		=	  4

Dining Hall							1x10		=	10

Bed Room No. 3 						1x7		=	  7

Net Qty=         48 Nos.

48x 7 = 	Total	=  336 Nos

3.	Wiring for call bell point with 3/.029 PVC insulated wire in 20mm  (S.I. 131/15)

Lobby 							1x1			=	  1

Net Qty=           1 Nos.

1x 7 	= 	Total	=      7 Nos.

4.	CEILING ROSE Providing & fixing Bakelite ceiling rose with two terminals

Bed Room No. 1 						1x2		=	  2 Nos.

Bath								1x1		=	  1

Bed Room No. 2 						1x3		=	  3

Bath								1x4		=	  4

T.V. Lounge							1x1		=	  1

Kitchen							1x3		=	  3

Dining Room							1x3		=	  3

Dining Hall 							1x5		=	  5

Bed Room No. 3 						1x2		=	  2

Bath								1x1		=	  1

Lobby								1x1		=	  1

Net Qty=         26 Nos.

26 x 7 	= 	Total	=       182 Nos.

5.	Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (S.I. 207/31).

Lobby								1x1		=	  1 No

Stair Main Point 						1x1		=	  1

Net Qty=           2 Nos.

2 x 7 	= 	Total	=          14 Nos.

6.	Providing & fixing circuit breaker 6,10,15,20 &30amp DP (S.I. 204/31).

Bed Room No. 1 						1x1		=	  1 No

Bed Room No. 2 						1x1		=	  1

Dining Room 							1x1		=	  1

Bed Room No. 3 						1x1		=	  1

Net Qty=           4 Nos.

4 x 7 	= 	Total	=         28 Nos.

7.	Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (S.I. 203/31).

Lobby								1x18		=	 18 Nos

Net Qty=          18 Nos.

18 x 7 	= 	Total	=        126 Nos.

8.	Providing and Laying (main or sub main) PVC insulated (S.I. 46/6).

DB to Bed Room 1 S/B 1 		2x(3+5+39+5+2)			=	108.00

DB to Bed Room 1 S/B 2 		2x(3+4+1+8+6+1+3+39+5+2)	=	144.00

DB to Bed Room 1 P/B 1 		2x(9+9+28+8+8)			=	124.00

DB to Bed Room 2 S/B 1 		2x(3+2+1+1+10+1+32+5+2)		=	114.00

1x(3+2+1+7+7+1+1+3)		=	  25.00

DB to TV Lounge S/B 1 		2x(3+5+24+5+2)			=	  78.00

DB to TV Lounge S/B 2 		2x(3+6+39+5+2)			=	110.00

DB to Kitchen S/B 1 			2x(1+12+1+9+1+9+9+3+2)		=	  94.00

PP15A			2x(7+9+3+2+2+5+1+10+3+1)	=	72.00

DB to Dinning Room S/B 1  		2x(3+12+1+9+1+9+9+3+2)		=	  98.00

DB to Dinning Room S/B 2 		2x(3+2+3+1+9+9+3+2)		=	  64.00

DB to Drawing Hall S/B 1 		2x(3+9+3+2)				=	  34.00

“	do	“	P/B 1 		2(6+9+9+3+2)				=	  58.00

DB to Bed Room 3 S/B 1   		2x(3+4+3+2)				=	  24.00

“	do	“	S/B 2 		2x(3+5+2+5+5+2+4+3+2)		=	  62.00

DB to Lobby S/B 			2x(3+4+3+2)				=	  24.00

DB to Outside S/B 			2x2					=	    4.00

Net Qty 	=	1237.00

1237.0 / 3.28 	= 	  377.00

377.0 x 7 	Total	= 	2639.91Mtr

9.	Providing and Laying (main or sub main) PVC Insulated (S.I. 47/6).

DB to G.F Main P.B			2x(2+7+1+19+2+19+3+1)		=	  108.00

DB to Bed Room No. 1 PP15A	3+2+1+39+5+2			=	    52.00

DB to Bed Room No. 2 PP15A	4+14+1+1+10+1+32+5+2		=	    70.00

DB to Dinning Room PP15A		2+7+7+9+1+9+9+3+2			=	  49.00

DB to Bed Room No. 3 PP15A	10+9+3+2				=	    24.00

Net Qty 	=	303.00

251.0 / 3.28 	= 	92.38

92.38 x 7 	Total	= 	646.66Mtr

10.	Providing and Fixing Channel Patti ¾” as required

DB to Bed Room 1 S/B 1 		2x(3+5+39+5+2)			=	108.00

DB to Bed Room 1 S/B 2 		2x(3+4+1+8+6+1+3+39+5+2)	=	144.00

DB to Bed Room 1 P/B 1 		2x(9+9+28+8+8)			=	124.00

DB to Bed Room 2 S/B 1 		2x(3+2+1+1+10+1+32+5+2)		=	114.00

1xloop(3+2+1+7+7+1+1+3)		=	  25.00

DB to TV Lounge S/B 1 		2x(3+5+24+5+2)			=	  78.00

DB to TV Lounge S/B 2 		2x(3+6+39+5+2)			=	110.00

DB to Kitchen S/B 1 			2x(1+12+1+9+1+9+9+3+2)		=	  94.00

PP15A			2x(9+3+2+2+5+1+10+3+1)		=	72.00

DB to Dinning Room S/B 1  		2x(3+12+1+9+1+9+9+3+2)		=	  98.00

DB to Dinning Room S/B 2 		2x(3+2+3+1+9+9+3+2)		=	  64.00

DB to Drawing Hall S/B 1 		2x(3+9+3+2)				=	  34.00

“	do	“	P/B 1 		2(6+9+9+3+2)				=	  58.00

DB to Bed Room 3 S/B 1   		2x(3+4+3+2)				=	  24.00

“	do	“	S/B 2 		2x(3+5+2+5+5+2+4+3+2)		=	  62.00

DB to Lobby S/B 			2x(3+4+3+2)				=	  24.00

DB to Outside S/B 			2x2					=	    4.00

Net Qty 	=        1237.00

1237.00 x 7	=        8659.00 Rft

11.	Providing and Fixing Channel Patti 1” as required

DB to G.F Main P.B			2x(2+7+1+19+2+19+3+1)		=	  108.00

DB to Bed Room No. 1 PP15A	3+2+1+39+5+2			=	    52.00

DB to Bed Room No. 2 PP15A	4+14+1+1+10+1+32+5+2		=	    70.00

DB to Dinning Room PP15A		2+7+7+9+1+9+9+3+2			=	    49.00

DB to Bed Room No. 3 PP15A	10+9+3+2				=	    24.00

Net Qty 	=	303.00

303.0 x 7	= 	2121.00 Rft

PART – B	ELECTRIC WORK (Non-Schedule Item):

1.	Providing and Fixing Flush Type Call Bell Buzzer etc. complete.

Lobby								1x1		=	   1 No

Net Qty=            1 No.

1 x 7 	= 	Total	=            7 Nos.

2.	Providing and Fixing Flush Type bell push etc. complete.

Lobby								1x1		=	   1 No

Net Qty=            1 No.

1 x 7 	= 	Total	=            7 Nos.

3.	Providing and Fixing 2-40 watts Double Tube light complete with (40-W) 4’-0.

Bed Room No. 1 						1x1		= 	    1 No.

Bed Room No. 2 						1x1		= 	    1

T.V. Lounge 							1x2		= 	    2

Dining Room 							1x2		= 	    2

Dining Hall							1x2		= 	    2

Bed Room No. 3 						1x1		= 	    1

Net Qty=            10 Nos.

10 x 7 	= 	Total	=             70 Nos.

4.	Providing and fixing Wall Bracket Light fancy type round shape (Double holder).

Bed Room No. 1 						1x6		= 	    6 Nos

Bath								1x2		= 	    2

Bed Room No. 2 						1x4		=	    4

Bath								1x4		=	    4

Store								1x1		=	    1

TV Lounge							1x4		=	    4

Passage							1x1		=	    1

Kitchen							1x4		=	    4

Dinning Room 						1x2		=	    2

Dinning Hall 							1x5		=	    5

Galleries 							1x2		=	    2

Bed Room No. 3 						1x2		=	    2

Bath								1x2		=	    2

Lobby								1x2		=	    2

Outside							1x1		=	    1

Net Qty=           42 Nos.

42 x 7 	= 	Total	=         294 Nos.

5.	Providing and fixing Energy Sever Superior Quality including fixing on existing holder etc.

Bed Room No. 1 						1x4		= 	    4 Nos

Bath								1x2		= 	    2

Bed Room No. 2 						1x2		=	    2

Bath								1x3		=	    3

TV Lounge							1x2		=	    2

Dinning Hall							1x5		=	    5

Bed Room No. 3 						1x3		=	    3

Bath								1x2		=	    2

Lobby								1x2		=	    2

Outside							1x1		=	    1

Net Qty=           25 Nos.

25x 7 	= 	Total	=         175 Nos.

6.	Providing and Fixing Iron Distribution Metal Board double Shutter.

Lobby							1x(1.50x2.00)		=	3.00

Main Panel						1x(1.00x1.00)		=	1.00

Net Qty=          4.00 Sft

4 x 7 	= 	Total	=        28.00 Sft.

7.	Providing and fixing fancy type switch etc. complete.

Same Qty Item No.1  	69 x 7		=	483 Nos.

8.	Providing and fixing Plug Socket etc. complete.

Same Qty Item No.1  	48 x 7		=	336 Nos.

9.	Providing and Fixing 3 pin 15 Amp Plug Socket.

1x1		=	1 No.

Net Qty=          1 No.

1 x 7 	= 	Total	=           7 Nos.

10.	Providing and fixing Fan Dimmer fancy type imported.

Bed Room No. 1 						1x2		= 	2Nos

Bed Room No. 2 						1x1		= 	    1

TV Lounge							1x1		=	1

Kitchen							1x1		=	    1

Dinning Room							1x1		=	    1

Dinning Hall							1x1		=	1

Bed Room No. 3 						1x1		=	1

Lobby								1x1		=	1

Net Qty=         10 Nos.

10 x 7 	= 	Total	=     70Nos.

11.	Providing and Fixing Exhaust Fan Plastic Body best quality complete.

Bed Room No. 1 	Bath 					1x1		= 	    1

Bed Room No. 2 	Bath					1x2		= 	    2

Kitchen							1x1		=	    1

Bed Room No. 3 	Bath					1x1		=	    1

Net Qty=             5 Nos.

5 x 7 	= 	Total	=            35 Nos.

12.	Providing and Fixing ceiling fan 56 sweep of approved make (Pak Millat Royal).

Bed Room No. 1 						1x2		= 	    2 Nos

Bed Room No. 2 						1x1		= 	    1

TV Lounge							1x1		=	    1

Kitchen							1x1		=	    1

Dinning Room							1x1		=	    1

Dinning Hall							1x2		=	    2

Bed Room No. 3 						1x1		=	    1

Lobby								1x1		=	    1

Net Qty=            10 Nos.

10 x 7 	= 	Total	=            70 Nos.

13.	Providing and fixing three phase selector 60 Amps superior quality.

Lobby								1x3		=	    3

Net Qty=             3 Nos.

3 x 7 	= 	Total	=            21 Nos.

ASSISTANT ENGINEER Provincial Building Sub-Division-X Karachi.