NAME OF WORK:-		INSTALLATION OF LIFTS AT CITY COURT PREMISES KARACHI

(5-NOS) (CIVIL WORK  &  ADDITIONAL WORK).

schedule “b”

| S/No | Description |  |  | Qty | Rate | Unit |  | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PART-A-I( SCHEDULE ITEM) |  |  |  |  |  |  |  |
| 1. | Removing door with chowkats(33-a/12) |  |  | 01-Nos. | 142/18 | P.No. |  | 142/- |
| 2. | Removing window sky light with chowkats ( 33-b/12 |  |  | 03-Nos. | 102/85 | P.NO. |  | 309/- |
| 3. | Cement concrete plain including placing compacting , finishing and curing complete including screening and washing at stone aggregate without shuttering. ( 5-f/16 ). |  |  | 31.91 Cft. | 14429/25 | %Cft. |  | 4604/- |
| 4. | Cement plaster 1:6 upto 12’ height c) ¾” thick ( 13-c/52 ). |  |  | 185.74 Sft. | 2590/50 | %Sft. |  | 4812/- |
| 5. | Distempering Two coats ( 24-b/54). |  |  | 1876.41 Sft. | 1043/90 | %Sft. |  | 19588/- |
| 6. | Painting new surface (d) Preparing surface and painting guard bars , gates of iron bars, gratings, railing including standards braces etc and similar open work. (SI.NO. 5-d-i+ii+ii/70) |  |  | 131.38 Sft | 1270/83 | %Sft. |  | 1669/- |
| Total Part-A-I, Rs. |  |  |  |  |  |  |  | 31124/- |
| PART-A-II( SCHEDULE ITEMS ) |  |  |  |  |  |  |  |  |
| 1. |  | Supplying and fixing inposition aluminum channels framing for sliding windows and ventilators of alcop made with 5mm thick tinted glass glazing (Belguim) etc complete. (b) Deluxe model Bronze). (85-b/108). |  | 48.00 Sft. | 1449/69 | P.Sft. |  | 69585/- |
| Rs. |  |  |  |  |  |  |  | 69585/- |
| Total A-II,Rs. |  |  |  |  |  |  |  |  |
|  |  | PART-A-III(SCHEDULE ITEM ) |  |  |  |  |  |  |
| 1. |  | M/f steel grated door 1/16” thick sheeting including angle iron frame 2”x2” 3/8” and ¾” square bars 4” centre to centre with locking arrangements( 24/92). |  | 28.00 Sft. | 726/72 | P.Sft. |  | 20348/- |
| Rs. |  |  |  |  |  |  |  | 20348/- |
| Total A-III,Rs. |  |  |  |  |  |  |  |  |
|  |  | PART-A-IV(NON-SCHEDULE ITEM ) |  |  |  |  |  |  |
| 1. |  | Providing and fixing Granite tile( Master make) 16”x16” i/c cutting wastage fixing dado upto 14’-0 i/c plaster ¾” thick etc complete . | 290.89 Sft. |  |  |  | P.Sft. |  |
| 2. |  | Removing of dismantle material from site to out of K.M.C. limit. i/c arranging Vehicle & labour for loading unloading etc complete. | 02-Nos. |  |  |  | P/Trip |  |
| 3. |  | P/F iron steel grill using solid square bars of size ½”x1/2” placed @ 4” centre to centre in approved design and pattern in/c frame of flat iron patti of ¾” x3/4” fixed with screws or pins and painting with two or required coats after first coat of red oxide . The cost of in/c all cartage tools, plants, welding machine etc used in making as directed by the Engineer Incharge | 75.38 Sft. |  |  |  | P.Sft. |  |
| Part-A-IV,RS. |  |  |  |  |  |  |  |  |
| PART-A-I+II+III+IV, RS. |  |  |  |  |  |  |  |  |
|  |  | PART-B-I(ELECTRIC WORKS) |  |  |  |  |  |  |
| 1. |  | Wiring for light or fan point with 3/.029) PVC insulated wire in 20mm ¾” channel patti on surface as required.(129/15). | 09-Nos. |  | 910/- |  | P.Point | 8190/- |
| 2. |  | Wiring for plug point with 3/.029 pvc insulated wire in 20mm (3/4”)channel patti on surface as required.(130/15). | 04-Nos. |  | 742/- |  | P.Point | 2968/- |
| 3. |  | Providing and laying (Main or sub main) pvc insulated with size 2-7/044 6mm2 copper conductor in ¾” dia pvc conduct recessed in the wall or column as required. ( 2-7/0.44)(12/2). | 12.09 Meter |  | 341/- |  | P.Meter | 4123/- |
| 4. |  | Providing and laying main or sub main pvc insulated with size 2-7/029 copper conductor in ¾” dia pvc conduct recessed in the wall or column as required ( 10/2). | 12.09 Meter. |  | 222/- |  | P.Meter | 2684/- |
| 5. |  | Providing and fixing channel patti ¾” as required as per instruction of E.i.(295/43). | 39.66 Rft. |  | 34/- |  | P.Rft. | 1348/- |
| 6. |  | Providing and fixing bakelite ceiling rose with two terminal .(228/33). | 02-Nos. |  | 72/- |  | P.No. | 144/- |
| 7. |  | Providing and fixing brass battern holder ( 232/33 ) | 07-Nos. |  | 70/- |  | P.No. | 490/- |
| 8. |  | Providing and fixing circuit breaker 6,10,15,20, 30, 40,50 & 63 amp DP (TB-5S) on prepared board as required. (204/31 ). | 02-Nos. |  | 2456/- |  | P.No. | 4912/- |
| 9. |  | Providing and fixing circuit breaker 15,20,30 40,50, and 60 amp TP. (XS-100NS) on prepared board as required. (207/31). | 02-Nos. |  | 9261/- |  | P.NO. | 18522/- |
| Part-B-I,RS. |  |  |  |  |  |  |  | 43381/- |
|  |  | PART-B-II(NON-SCHEDULE ITEMS ) |  |  |  |  |  |  |
| 1. |  | Providing and fixing switch fancy type imported quality. | 07-Nos. |  |  |  | Each. |  |
| 2. |  | Providing and fixing plug socket fancy type imported quality. | 04-Nos. |  |  |  | Each. |  |
| 3. |  | Providing and fixing 3 pin 15 amps plug socket fancy type imported quality. | 02-Nos. |  |  |  | Each. |  |
| 4. |  | Providing and fixing main panel board double shutter to accommodate heavy duty circuit breaker bus bars i/c painting with enameled paint for other similar jobs on surface etc complete. | 3.68 Sft. |  |  |  | P.Sft. |  |
| 5. |  | Providing and laying 70mm 600/1000 volts 4 core unarmored pvc / pvc cable (make Pakistan cable pioneer age) and laying in ground and partly fitted on surface and connected to KESC switches and breakers with brass lux to required size in/c excavating trench upto 3.0 depth and 18” wide and spreading sand 6” thick and 6” on cable at bottom and then laying hard brick tile size 1.0x1.0x1/4” on sand after job refilling excavated earth compacting leveling etc complete as directed by the engineer incharge. | 330.00 Rft. |  |  |  | P.Rft. |  |
| 6. |  | Supplying and fixing 16mm 600/1000 volts 4 core unarmored pvc/pvc cable (make Pakistan cable age pioneer fitted on surface in 2” dia pvc pipe with brass lux to required size as directed by the engineer incharge. | 778.00 Rft. |  |  |  | P.Rft. |  |
| 7. |  | Providing and fixing 10 mm copper Earth wire in/c making copper Earth rod etc complete. | 1128.00 Rft. |  |  |  | P.Rft. |  |
| 8. |  | Providing & fixing Copper Earth rod 1” dia 10.00 Rft long in/c Polishing and connected with clips copper Earth wire etc complete. | 50.00 Rft. |  |  |  | P.Rft. |  |
| 9. |  | Providing and fixing 35mm copper Earth wire in/c making copper Earth rod etc complete. | 475.00 Rft. |  |  |  | P.Rft |  |
| 10. |  | P/F Energy sever superior quality including fixing on existing holder etc complete. | 4-Nos |  |  |  | Each. |  |
| Part-B-II,RS. |  |  |  |  |  |  |  |  |
| Part-B-I+II , RS. |  |  |  |  |  |  |  |  |
|  |  | PART-C-I(SCHEDULE ITEMS ) |  |  |  |  |  |  |
| 1. |  | Boring for tube well in all water bearing soils from ground level upto 200 ft or 60.0 meter depth i/c sinking and with drawing of casing pipe. (d) 150mm (6” dia) SI.NO.2(b)/42)(PHE ) | 600.00 Rft. |  | 516/- |  | P.Rft. | 309600/- |
| 2. |  | Supplying and installing pvc strainers “B” class of approved design quality and make i/c necessary sockets etc complete. (b) 100mm (4” dia) 9(b)/43)(P..H.E ) | 600.00 Rft. |  | 209/95 |  | P.Rft. | 125970/- |
| 3. |  | Shrouding with graded bajri (3/8” to 1/8”) or (9 to 3mm) in between bore and blind pipe for the following diameters of strainers. (d) 150mm (6” dia) ( 13-d/45)(PHE ). | 600.00 Rft. |  | 102/- |  | P.Rft. | 61200/- |
| Part-C-,RS. |  |  |  |  |  |  |  | 496770/- |
| Add: 5% above. RS. |  |  |  |  |  |  |  |  |
| Part-C-Total. RS. |  |  |  |  |  |  |  |  |
| G.TOTAL. RS. |  |  |  |  |  |  |  |  |
| Say RS. |  |  |  |  |  |  |  |  |

TERMS AND CONDITION

1. 	Any typographical errors in the schedule ‘B’ are subjected to any correction with the 	reference to the schedule of Rates General item 2012 in force from 12-07-2012 as 	approved by the standing rates committee Sindh Karachi.

2.	100% well graded crushed bajri shall be used in item of RCC 1:2:4.

3.	No Premium shall be paid on Non schedule items.

4.	The work will be carried out as per PWD Specifications.

| Contractor. | --s/d-- ASSISTANT ENGINEER Provincial Building Sub Division-XI, Karachi | --s/d-- EXECUTIVE ENGINEER Provincial Building Division-No.III Karachi |
| --- | --- | --- |