** KARACHI WATER AND SEWERAGE BOARD**

**OFFICE OF THE EXECUTIVE ENGINEER (W/D)**

**(JAMSHED TOWN EAST )**

SUBJECT: -**REPAIR OF F15”DIA AND D12”DIA HEAVY** Issued to M/s.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

**WATER LEAKAGES AND REPAIR OF DEFEC-** Receipt No.\_\_\_\_\_Dated:\_\_\_\_\_\_\_\_\_ **TIVE SIZE SPINDLE AT U.C.NO.02 & U.C.NO.5** Amount of Rs. 1000/- Time limit 20 days. **MANZOOR COLONY, KAECHS FOR IMP.** Sig.of Issuing Authority.\_\_\_\_\_\_\_\_\_\_\_\_

**OF WATER SUPPLY IN JAMSHED TOWN.**

**Estimate Cost. Rs.8,08,417/=/=**

**Tender Cost. Rs.1000/=**

**Time Limit. 20 days.**

**Penalty. Rs.1000/=**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.NO** | **DESCRIPTION** | **QUANTITY** | **RATE** | | **PER**  **UNIT/ ITEM** | **AMOUNT** |
| **RUPEES IN**  **FIGURES** | **RUPEES IN**  **WORDS** |
| 1. | Dismantling and removing road matte ling. | 1181.5 Cft |  |  | %Cft |  |
| 2. | Excavation for pipe line in trenches and pits in all kind of soils of murum including trimming and dressing site of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain ( 30.5m). | 1772.25 Cft. |  |  | %0Cft |  |
| 3. | Excavation for pipe line in trenches and pits in wet silt soils clay or mud including trimming and dressing site of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain ( 30.5m). …………………..0’-5’ | 2801.88 Cft |  |  | %0Cft |  |

Con’t Page No…..2…

.

Page No…..2……

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4. | Full hire charges of the pumping set per day inclusive of wage of driver and assistant fuel or electric energy plate forms required for placing pumps etc. at lower depth with suction and delivery pipes for pumping out water found at various depths from trenches including the cost of erection and dismantling after completion of the job. Hire charges of pumping set out water from 10 HP deep trenches. | 65 days |  |  | p/day |  |
| 5. | Repair of spindle by manufacturing S.Steel spindle gun matel i/c nuts & bolts rubber packing etc………………………...18”dia  ……………………………12”dia.  ……………………………10”dia.  …………………………….8”dia  …………………………….6”dia  …………………………….4”dia | 01 No  02 Nos  03 Nos  03 Nos  05 Nos  07 Nos |  |  | Each  Each  Each  Each  Each  Each |  |
| 6. | Providing & fixing 0-9” long 3/8”thick M.S neck to existing M.S pipe of to a split collar the having a total weight as mentioned against each item it i.c the cost of fabrication and welding to the split collar tee..Net weight14.13 Kgs…10”dia.  ..12.31Kgs………………….8”dia  ..10.49 Kgs…………………6”dia  ..8.68Kgs…………………..4”dia | 20 Nos  18 Nos  15 Nos  25 Nos |  |  | Each  Each  Each  Each |  |

Cont Page No…….3………

Page No……4……..

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7. | Refilling the excavated stuff in trenches 6” thick layer including watering ramming to full compaction etc. complete. | 4573.88 Cft |  |  | %0Cft |  |
| 8. | Repair of leaking joints (External vattaa) on PRCC pipe of various diameter it i/c the cost of excavation, labor sealing material gunny bags de-watering and refitting of the excavated stuff etc complete………………..15”dia.  …………………………..12”dia. | 20 Nos  17 Nos |  |  | Each  Each |  |
|  | |  | **Total Rs.** | | | |

EXECUTIVE ENGINEER (W/D)

JAMSHED TOWN, K.W. &.S.B

Total Bid Amounting to Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Inwards).\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature of Contractor\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

E-Mail Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Telephone No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 **KARACHI WATER AND SEWERAGE BOARD**

**OFFICE OF THE EXECUTIVE ENGINEER (W/D)**

**(JAMSHED TOWN EAST )**

SUBJECT: -**REPLACEMENT OF 4”DIA A.C PIPE LINE** Issued to M/s.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

**BY 110 MM P.E PIPE LINE AND REPAIR** Receipt No.\_\_\_\_\_Dated:\_\_\_\_\_\_\_\_\_ **OF 24”DIA, 18”DIA & 15”DIA HEAVY** Amount of Rs. 500/- Time limit 10 days. **WATER LEAKAGES AT THARO LANE** Sig.of Issuing Authority.\_\_\_\_\_\_\_\_\_\_\_\_

**GARDEN WEST FOR IMPROVEMENT**

**OF WATER SUPPLY IN JAMSHED TOWN.**

**Estimate Cost. Rs.4,33,132/=**

**Tender Cost. Rs.500/=**

**Time Limit. 10 days.**

**Penalty. Rs.500/=**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.NO** | **DESCRIPTION** | **QUANTITY** | **RATE** | | **PER**  **UNIT/ ITEM** | **AMOUNT** |
| **RUPEES IN**  **FIGURES** | **RUPEES IN**  **WORDS** |
| 1. | Dismantling and removing road matte ling. | 600 Cft |  |  | %Cft |  |
| 2. | Excavation for pipe line in trenches and pits in all kind of soils of murum including trimming and dressing site of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain ( 30.5m). | 900 Cft. |  |  | %0Cft |  |
| 3. | Excavation for pipe line in trenches and pits in wet silt soils clay or mud including trimming and dressing site of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain ( 30.5m). …….0’-5’ | 1500 Cft |  |  | %0Cft |  |
| 4. | Full hire charges of the pumping set per day inclusive of wage of driver and assistant fuel or electric energy plate forms required for placing pumps etc. at lower depth with suction and delivery pipes for pumping out water found at various depths from trenches including the cost of erection and dismantling after completion of the job. Hire charges of pumping set out water from 10 HP deep trenches. | 12 days |  |  | p/day |  |

Con’t Page No…..2….

Page No…..2……

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5. | Providing laying & fixing in trench including fitting joining & testing etc complete in all respect the high density polythene PE pipes (HDPE-100) for W/S confirming ISO 4427/Din8074/8075 B.S 3580 & PSI 3051. PN-10….........110 MM | 300 Rft |  |  | p/Rft |  |
| 6. | C.I sluice valve heavy pattern )Test Pressure 21.0kg/sq. com or 300 lb/sq.inch) (imported……………4”dia | 01 No |  |  | Each |  |
| 7. | Fixing of sluice valves with 2cast iron tailpieces one end flanged and other with socked including the cost of nuts bolts and rubber packing, labour etc complete)……….4”dia | 01 No |  |  | Each |  |
| 8. | Refilling excavated stuff in trenches 6”thick layer including watering ramming to full compaction etc complete. | 2359.26 Cft |  |  | %0Cft |  |
| 9. | Repair of leaking joints (External vatta) on PRCC pipe of various diameter it i/c the cost of excavation, labor, sealing material gunny bags de-watering and refilling of the excavated stuff etc complete……………………….24”dia ………………………………...18”dia  ………………………………...15”dia | 05 Nos  10 Nos  07 Nos |  |  | Each  Each  Each |  |
|  | |  | **Total Rs.** | | | |

EXECUTIVE ENGINEER (W/D)

JAMSHED TOWN, K.W. &.S.B

Total Bid Amounting to Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Inwards).\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature of Contractor\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

E-Mail Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_